GSA SUPPLEMENT TO MASTERSPEC
GSA
9/99

Retain this section only if subparagraph 1.1.B.2 in Section 01400 refers to quality control requirements for coordinated or systematic construction activities not related principally to a single individual section, and references this section.  Use this section for required testing, inspection or other quality control services that are not included in only one technical section, either because the primary components of the assembly to be tested are specified in two or more sections, or because the condition to be tested is produced as a result of the work of two or more sections.  For example, this might include the following services when they concern the work of many sections:

?Testing of composite mockups for compliance with structural, wind and moisture resistance, blast or ballistic resistance, or seismic criteria.

?Measurement of total acoustical performance for compliance with functional criteria.

?Verification of the relative absence of contaminants or other unwanted substances for compliance with health standards or cleanliness criteria.

?Determination of envelope heat transfer or air infiltration sources and rates for compliance with environmental criteria.

Such quality control tests add to the project cost and should only be considered for verification of those critical programmatic requirements that can not be adequately assured by standard submittals and routine practices.

SECTION 01405 - SYSTEM QUALITY ASSURANCE
PART 1 -  GENERAL

1.1 SUMMARY

A. This section includes quality control requirements for coordinated or systematic construction activities not related principally to a single individual section in Divisions 2 through 16.

B. The administrative and procedural requirements of Division 1 Section "Quality Control" apply to the work of this section.

Add an article, beginning with 1.2, for each mockup or other preconstruction system test, inspection or service, if any.  Include paragraphs with a description of the procedure, identification or qualifications of the testing agency, extent and timing of the activities, criteria to be met for acceptable results, and other information for a full explanation.  Add "Government will arrange and pay for these services" only if the Government is responsible for providing the test, inspection or service.

PART 2 -  PRODUCTS (Not applicable)

PART 3 -  EXECUTION

Add an article, beginning with 3.1, for each system test, inspection or service during or after construction, if any.  Include paragraphs with a description of the procedure, identification or qualifications of the testing agency, extent and timing of the activities, criteria to be met for acceptable results, and other information for a full explanation.  Add "Government will arrange and pay for these services" only if the Government is responsible for providing the test, inspection or services.

END OF SECTION 01405

SYSTEM QUALITY ASSURANCE
01405 - 1

