GSA SUPPLEMENT TO MASTERSPEC
GSA
9/99

Retain this section if any of the work is to be performed in a security area

SECTION 01593 - SECURITY REGULATIONS
PART 1 -  GENERAL

Edit the following paragraphs, subparagraphs and sub-subparagraphs to suit the requirements.

1.1 GENERAL SECURITY REQUIREMENTS

A. Bidding Clearances:  Bidders will be required to comply with security regulations imposed by the occupying agency including any necessary clearances.  Access to the project site will be limited to specific times established by the Government.

B. Construction Clearances:  After award of the Contract, all Contractor employees shall be required to furnish information for security clearances and shall comply with security regulations as imposed by the occupying agency.

Revise the time in the following paragraph if required by the agency.

C. Notification:  Notify the Contracting Officer, or his designated representative, not less than 48 hours prior to performing work in a security area.  Include the following:

1. Companies:  Name of each company performing the work.

2. Personnel:  Name, social security number and date of birth of each individual who is to work.

3. Time:  The exact time, date, and hours of work.

4. Areas:  Specific areas of the building in which work is to be performed.

1.2 GENERAL SECURITY REGULATIONS

A. Nonpublicity:  It is a specific condition of this Contract that the Contractor, or any subcontractors performing work on this project, shall not use or allow to be used any aspect of this project for publicity or advertising brochures.

B. Agency Security Regulations:  All persons employed within the boundaries of the property or restricted-access areas therein, and all persons permitted to enter such property and areas shall comply with the security regulations that have been established for this Contract.

1. The Contractor agrees on behalf of himself and all subcontractors that the following security regulations will be observed by Contractor and subcontractor personnel on the property.  The Contractor shall make it a specific provision of his subcontracts that these regulations be accepted.

2. At the commencement of the work under this Contract, the following security facilities and procedures will apply:

a. The Contractor shall provide information about all Contractor and subcontractor personnel and others who require continuing access to the site, before access is required and when access ceases.

Retain one of the following set of sub-subparagraphs b. thru d., as applicable for the agency requirements.  Edit and revise times, if required.

b. Within 10 calendar days after the award of the Contract, the Contractor shall submit a list on the Contractor's letterhead stationary of all employees, subcontractors and their employees, and others who will perform work or otherwise require access to the site.  Personnel shall be listed in alphabetical order by company.  The list shall include the full name, social security number and date of birth for each individual.

c. Name of any employee added later to the original list shall be submitted with the same information on the Contractor's letterhead stationary at least 8 calendar days in advance of the date of access by the employee.

d. The Contractor shall notify the Government in writing when personnel are no longer employed by the Contractor or a subcontractor.  Individual's name, social security number and date of birth, and company who employed the individual, shall be included.

Retain the following set of sub-subparagraphs b. thru d. if the set above is not retained.  Edit and revise times, if required.

e. In order to permit the Government to supply badges for on-site personnel, the Contractor shall cause each individual to complete a personnel identification form.  These forms will be provided by the Government to the Contractor at the pre-construction conference.  Processing of the forms will be performed by the Government at Government expense.

f. At a time designated by the Contracting Officer or when an individual reports to the site for work the first time, a period of 2 hours will be required for security processing, including review of identification forms and fabrication of a permanent badge.  Personnel will then be permitted to go to work without further processing of identification forms by the Government, but 15 minutes should be allowed each day for signing in with security to obtain access to the site.

g. The permanent badge furnished by the Government to each Contractor employee or other person granted access to the site will serve to authorize the wearer to enter and leave the security area.  The badge must be worn so as to be clearly visible at all times when on the work site.  The badge will be retained by the individual as long as he requires continued admittance to the site, but the Contractor will arrange for its immediate return to the Government when such need ceases.  Temporary or visitor badges will be provided for persons who are identified as having an infrequent or temporary legitimate business need for access to the site.

3. At the commencement of the work under this contract, the following security procedures shall apply to the Contractor and all subcontractors.

Retain the following sub-subparagraphs that apply.  Edit for specific requirements.

a. Do not enter the building without building passes or park without parking permits.  Vehicle authorization requests shall be required for any vehicle entering the site, and shall be submitted 24 hours before the date and time of access.  Access shall be restricted to picking up and dropping off materials and supplies, and, with a permit issued by the Government, to parking in designated areas.

b. Comply with the security regulations of the building.

c. In the case of any questions as to the eligibility of an individual to obtain a pass, notify the Contracting Officer, who will obtain a determination whether the individual can obtain a pass.

d. Cameras are not permitted without written permission from the Occupant Agency and the Contracting Officer or his designated representative.  If approved, permission will be granted in writing and will provide additional guidelines.  In any case, all film will be turned over to the Contracting Officer or his designated representative.  The Contractor shall be responsible for the costs of developing film.

e. Personnel may be subject to inspection of their personal effects when entering and leaving the facility.  In addition, unscheduled inspections of personnel may be made while on site.

f. In any work is canceled, notify the Contracting Officer or his designated representative.

4. The Occupant Agency reserves the right to close down the job site and order Contractor personnel off the premises in the event of a national emergency or a shut-down, for as long as security problems persist.  The Contractor may only return to the site with verbal approval from the Occupant Agency and the Contracting Officer or his authorized representative.

5. The Government reserves the right to exclude or remove from the site or building any employee of the Contractor or a subcontractor whom the Government deems incompetent, careless, insubordinate or otherwise objectionable, or whose continued employment on the work is deemed by the Government to be contrary to the public interests.  The Government further reserves the right to complete processing of the security documentation for personnel assigned to work within restricted access areas prior to access to such areas by the personnel.

6. No interviews shall be conducted within the secured area.  The Contractor and subcontractors will be required to maintain a field office, outside the limits established by the security area, for all public contacts.  Applicants for employment and other persons not entitled to access to the secured area shall be required to contact the Contractor or subcontractor at these offices.

Edit the following subparagraph and revise time if required.

7. For overtime work, the Contractor shall give the Contracting Officer or his designated representative at least 3 calendar days notice.  This notice is required so that security escorts may be provided and is separate and distinct from any notices required for utility shutdown or other outages.  Also, the Contractor shall notify the Government if personnel will not report to the job site on a particular day so that the security escort can be released for other duties.

Retain the following subparagraph if required.

8. A detailed weekly schedule shall be submitted once a week by the close of business on the last day of the previous week's work.  The schedule shall include the following:

a. Specific location of work for each trade.

b. Description of work for each trade.

c. Number of persons who will be on site for each location and trade.

d. Specific impacts required, such as equipment or utility shutdowns.

e. Hours of operation.

PART 2 -  PRODUCTS (Not used)

PART 3 -  EXECUTION (Not used)

END OF SECTION 01593

SECURITY REGULATIONS
01593 - 3

