GSA SUPPLEMENT TO MASTERSPEC
GSA
9/99

SECTION 01595 - SAFETY AND HEALTH
PART 1 -  GENERAL

1.1 SUMMARY

A. References:  In addition to publications referenced in the Construction Contract Clauses, the following Code of Federal Regulations (CFR) publications designate and define hazardous materials and conditions, and establish procedures for handling these materials and conditions.

1. 29 CFR, Part 1910:  Occupational Safety and Health Administration (OSHA) General Industry and Health Standards.

2. 29 CFR, Part 1926:  OSHA Construction Industry Standards.

3. 40 CFR, Part 61:  National Emission Standards for Hazardous Air Pollutants.

4. 40 CFR, Part 261:  Environmental Protection Agency (EPA) Characteristics of Hazardous Waste.

5. 40 CFR, Part 761, EPA Polychlorinated Biphenyls (PCBs), Manufacturing, Processing, Distribution in Commerce and Use Prohibitions.

6. 40 CFR, Part 763:  EPA Asbestos.

B. Hazardous Materials:  Some hazardous and toxic materials and substances are included in 29 CFR Part 1910, subparts H and Z, and in 29 CFR Part 1926.  Commonly encountered hazardous materials include but are not limited to asbestos, PCBs, explosives and radioactive material.

1. Asbestos may be found in spray-on fireproofing, insulation, boiler lagging, pipe coverings and other materials.

2. PCBs may be contained in transformers, capacitors, voltage regulators, oil switches, mechanical insulation and other materials.

C. Acquisition of Publications:  Referenced CFR publications may be purchased from the Superintendent of Documents, U.S. Government Printing Office, Washington, D.C. 20402.

1.2 SAFETY MEETING

A. Prior to commencing construction, representatives of the Contractor, including the principal on-site project representative and one or more safety representatives, shall meet with designated representatives of the Contracting Officer for the purpose of reviewing the Contract's safety and health requirements.

B. The Contractor's safety and health program shall be reviewed, and implementation of safety and health provisions pertinent to the Work shall be discussed.

1.3 COMPLIANCE WITH REGULATIONS

A. The Work, including contact with or handling of hazardous materials, disturbance or dismantling of structures containing hazardous materials, and disposal of hazardous materials, shall comply with the applicable requirements of 29 CFR Parts 1910 and 1926, and 40 CFR Parts 61, 261, 761 and 763.

1. Work involving disturbance or dismantling of asbestos or asbestos containing materials, demolition of structures containing asbestos and removal of asbestos, shall comply with 40 CFR Part 61, Subparts A and M, and 40 CFR Part 763, as applicable

2. Work shall additionally comply with applicable state and local safety and health regulations.

3. In case of a conflict between applicable regulations, the more stringent requirements shall apply.

B. Contractor Responsibility:  The Contractor shall assume full responsibility and liability for compliance with all applicable codes, standards and regulations pertaining to the health and safety of personnel during execution of the Work, and shall hold the Government harmless for any action on the Contractor's part, or that of the Contractor's employees or subcontractors, that results in illness, injury or death.

1. The Contractor shall have written safety and health programs in compliance with 29 CFR Parts 1910 and 1926.

1.4 SUBMITTALS

A. Safety and Health Programs:  The Contractor shall submit, for approval, copies of the project safety and health programs, as applicable to the work scope, or required as a result of the safety meeting, including but not necessarily limited to the following:

1. Occupational Noise Exposure.

2. Fall Protection.

3. Personnel Protective Equipment.

4. Control of Hazardous Energy.

5. Electrical Safety Related Work Practices.

Add the following and others, as applicable for the project.

6. Lead.

7. Asbestos.

8. Respirator Protection.

9. Confined spaces.

B. Contractor's Safety Plan:  In addition to specific safety and health programs applicable to the project, Contractor shall submit firm's general safety plan listing emergency procedures and contact persons with home addresses and telephone numbers.

C. Permits:  If hazardous materials are disposed of off-site, submit copies of shipping manifests and permits from applicable federal, state or local authorities and disposal facilities, and submit certificates that the material has been disposed of in accordance with regulations.

D. Accident Reporting:  Submit a copy of each accident report that the Contractor or Subcontractors submits to their insurance carriers, within seven calendar days after the date of the accident.

PART 2 -  PRODUCTS

2.1 PERSONNEL PROTECTIVE EQUIPMENT

A. Special facilities, devices, equipment and similar items used by the Contractor in execution of the Work shall comply with 29 CFR Part 1910, Subpart I and other applicable regulations.

2.2 HAZARDOUS MATERIALS

A. The Contractor shall bring to the attention of the Contracting Officer, or the Contracting Officer's authorized representative, any material encountered during execution of the Work that the Contractor suspects is hazardous.

B. The Contracting Officer shall determine whether the Contractor shall perform tests to determine if the material is hazardous.

C. If the Contracting Officer directs the Contractor to perform tests and the material is found to be hazardous, or if the material is found to be hazardous without Contractor testing, a change to the Contract price may be provided, subject to the applicable provisions of the Contract.

PART 3 -  EXECUTION

3.1 EMERGENCY SUSPENSION OF WORK

A. When the Contractor is notified by the Contracting Officer, or the Contracting Officer's authorized representative, of non-compliance with the safety or health provisions of the Contract, the Contractor shall immediately, unless otherwise instructed, correct the unsafe or unhealthy condition.

1. If the Contractor fails to comply promptly, all or part of the Work will be stopped by notice from the Contracting Officer or the Contracting Officer's authorized representative.

2. When, in the opinion of and by notice given by the Contracting Officer or the Contracting Officer's authorized representative, satisfactory corrective action has been taken by the Contractor, work shall resume.

3. The Contractor shall not be allowed any extension of time or compensation for damages in connection with a work stoppage for an unsafe or unhealthy condition.

3.2 PROTECTION OF PERSONNEL

A. The Contract shall take all necessary precautions to prevent injury to the public, occupants, or damage to property of others.  The public and occupants includes all persons not employed by the Contractor or a subcontractor.

B. Wherever practical, the work area shall be fenced, barricaded or otherwise blocked off from the public or occupants to prevent unauthorized entry into the work area.

1. Provide traffic barricades and traffic control signage where construction activities occur in vehicular areas.

2. Corridors, aisles, stairways, doors and exitways shall not be obstructed or used in a manner to encroach upon routes of ingress or egress utilized by the public or occupants, or to present an unsafe or unhealthy condition to the public or occupants.

3. Store, position and use equipment, tools, materials, scraps and trash in a manner that does not present a hazard to the public or occupants by accidental shiftings, ignition or other hazardous activity.

4. Store and transport refuse and debris in a manner to prevent unsafe and unhealthy conditions for the public and occupants.  Cover refuse containers, and remove refuse on a frequent regular basis acceptable to the Contracting Officer.  Use tarpaulins or other means to prevent loose transported materials from dropping from trucks.

3.3 ENVIRONMENTAL PROTECTION

A. Dispose of solid, liquid and gaseous contaminants in accordance with local codes, laws, ordinances and regulations.

B. Comply with applicable federal, state and local noise control laws, ordinances and regulations, including but not limited to 29 CFR 1910.95 and 29 CFR 1926.52.

END OF SECTION 01595

SAFETY AND HEALTH
01595 - 4

