GSA SUPPLEMENT TO MASTERSPEC
GSA
9/99

SECTION 01600 - PRODUCT REQUIREMENTS
PART 1 -  GENERAL

1.1 SUMMARY

A. This Section includes administrative and procedural requirements governing the Contractor's selection of products for use in the Project, including manufacturers' standard warranties on products and special warranties.

B. The following definitions are not intended to change the meaning of other terms used in the Contract Documents, such as "specialties," "systems," "structure," "finishes," "accessories," and similar terms that are self-explanatory and have well-recognized meanings in the construction industry.

1. "Products" are items purchased for incorporation in the Work, whether purchased for the Project or taken from previously purchased stock.  The term "product" includes the terms "material," "equipment," "system," and other terms of similar intent.

2. "Materials" are products substantially shaped, cut, worked, mixed, finished, refined or otherwise fabricated, processed, or installed to form a part of the Work.

3. "Equipment" are products with operational parts, whether motorized or manually operated, and products that require service connections, such as wiring or piping.

C. Substitutions:  Changes in products, materials, equipment, and methods of construction required by the Contract Documents proposed by the Contractor after award of the Contract are considered to be requests for substitutions.  The following are not considered to be requests for substitutions:

1. Substitutions requested during the bidding period and accepted by Addendum prior to award of the Contract.

2. Revisions to the Contract Documents requested by the Contracting Officer.

3. Specified options for products and construction methods included in the Contract Documents.

4. The Contractor's determination of and compliance with governing regulations and orders issued by governing authorities.

D. Warranties:  Standard and special warranties required by the individual sections of the Specifications shall provide guarantees in terms of time limits or rights of the Government in addition to those contained in the Construction Contract Clauses.

1. Standard product warranties shall be preprinted written warranties published by individual manufacturers for particular products, and shall be specifically endorsed to the Government by the manufacturer.

2. Special warranties shall be specifically written to incorporate particular requirements of the Contract Documents, and shall be endorsed to the Government by the entities responsible for the work, as stated in the individual section.

1.2 SUBMITTALS

A. Submittals shall comply with the requirements of the Construction Contract Clauses, Division 1 section "Submittal Procedures" and the individual sections specifying the work.

B. Substitution requests shall be submitted in accordance with the requirements of the Construction Contract Clauses.

Edit number of copies in the following paragraph to suit project requirements.

1. Submit 3 copies of each request for substitution.

2. Identify the product or the fabrication or installation method to be replaced in each request.  Include related specification section and Drawing numbers.

3. Provide complete documentation including but not limited to the following information, as appropriate:

a. Coordination information, including a list of changes or modifications needed to other parts of the Work and to construction performed by others that will be necessary to accommodate the proposed substitution.

b. A detailed comparison of the significant qualities of the proposed substitution with those of the Work specified.  Significant qualities may include performance, weight, size, durability and visual effect.

c. Test reports and manufacturer's certifications substantiating performance of the proposed substitution.

d. Product data and drawings, including descriptions of products and fabrication and installation procedures.

e. Samples, where applicable or requested.

f. A statement indicating the substitution's effect on the Contractor's Construction Schedule compared to the schedule without approval of the substitution.  Indicate the effect of the proposed substitution on overall Contract Time.

g. Cost information, including a proposal of the net change, if any, in the Contract price.

h. The Contractor's certification that the proposed substitution conforms to requirements in the Contract Documents in every respect and is appropriate for the applications indicated.

4. Contracting Officer's Action:  If necessary, the Contracting Officer will request additional information or documentation for evaluation.  The Contracting Officer will notify the Contractor of acceptance or rejection of the substitution.  Acceptance will be in the form of a change order.

C. Submit written warranties to the Contracting Officer prior to the date for Project Completion, unless an earlier time of submission is specified elsewhere in the Contract Documents or requested by the Contracting Officer.  When a designated portion of the Work is completed and occupied or used by the Government, by a separate agreement with the Contractor during the construction period, submit properly executed warranties within 15 days after completion of that designated portion of the Work.

1. When the Contract Documents require the Contractor, or the Contractor and a subcontractor, supplier or manufacturer to execute a special warranty, provide a written document that contains the appropriate terms and identification, executed by the required parties.

2. Refer to Division 2 through 16 sections for specific content requirements and particular requirements for submitting special warranties.

1.3 QUALITY ASSURANCE

A. Source Limitations:  To the fullest extent possible, provide products of the same kind from a single source.  Equipment of the same function shall be manufactured by the same entity, unless otherwise indicated.

B. Compatibility of Options:  When the Contractor is given the option of selecting between 2 or more products for use on the Project, the product selected shall be compatible with products previously selected, even if previously selected products were also options.

C. Labels and nameplates:  Except for required labels and operating data, do not attach or imprint manufacturer's or producer's nameplates or trademarks on surfaces of products that will be exposed to view in occupied spaces or on the exterior.

1. Labels:  Locate required product labels and stamps on concealed surfaces or, where required for observation after installation, on accessible surfaces that are not conspicuous.

2. Equipment Nameplates: Provide a permanent nameplate on each item of service-connected or power-operated equipment.  Locate nameplate on an easily accessible surface that is inconspicuous in occupied spaces.  The nameplate shall contain the following information:

a. Name of product manufacturer.

b. Model and serial numbers.

c. Operating data such as capacity, speed and ratings.

3. Protection:  Labels and nameplates shall be protected from defacement and other damage during the remainder of the Work.

1.4 PRODUCT DELIVERY, STORAGE AND HANDLING

A. Deliver, store and handle products according to the manufacturer's recommendations, using means and methods that will prevent damage, deterioration and loss, including theft.

1. Schedule product delivery to minimize long-term storage at the site and to prevent overcrowding of construction spaces.

2. Coordinate delivery with installation time to provide minimum holding time for items that are flammable, hazardous, easily damaged, or sensitive to deterioration, theft and other losses.

3. Deliver products to the site in an undamaged condition, in the manufacturer's original sealed container or other packaging system, complete with labels and instructions for handling, storing, unpacking, protecting and installing.

4. Inspect products upon delivery to ensure compliance with the Contract Documents and to ensure that products are undamaged and properly protected.

5. Store products at the site in a manner that will facilitate inspection and measurement of quantity or counting of units.

6. Store heavy materials away from the Project structure in a manner that will not endanger the supporting construction.

7. Store products subject to damage by the elements above ground, under cover in a weather-tight enclosure, with ventilation adequate to prevent condensation.  Maintain temperature and humidity within range required by manufacturer's instructions.

PART 2 -  PRODUCTS

2.1 PRODUCT COMPLIANCE AND REQUIREMENTS

A. Provide products complete with accessories, trim, finish, safety guards, devices and other items needed for a complete installation and the intended use and effect.  Where specified and available, provide standard products of types that have been produced and used successfully in similar situations on other projects.

B. Product Selection Procedures:  The Contract Documents, including the Construction Contract Clauses, govern product selection.  Requirements for product selection include the following:

In accordance with the Contracting Agency's policy, retain, revise or delete the following paragraph with subparagraphs to suit the specific methods used when specifying manufacturers by name and products by proprietary designation in the sections of Division 2 through 16.  The following paragraph and subparagraphs are intended for use with AIA MASTERSPEC Division 2-16 sections.  Include subparagraph "e. Basis of design" only if permitted and if a section requires that one particular proprietary product be provided.  Delete subparagraphs "a. Manufacturers" and "c. Products", and the corresponding paragraphs throughout the specifications, if manufacturers and products can be listed for information only.  Delete the following paragraph with subparagraphs in total, if manufacturers' names and product designations are not used in the specifications.

1. Where the Specifications lists manufacturers' names or product designations, the Contractor may provide any product that complies with the requirements, subject to the following conditions:

a. Manufacturers:  Where a Specification paragraph or subparagraph titled "Manufacturers" lists manufacturers' names, provide a compliant product by one of the manufacturers named, or request a Substitution of another compliant product by another manufacturer.

b. Available Manufacturers:  Where a Specification paragraph or subparagraph titled "Available Manufacturers" lists manufacturers' names, provide a compliant product by one of the manufacturers named or by another manufacturer.

c. Products:  Where a Specification paragraph or subparagraph titled "Products" lists product designations, provide one of the products designated, or request a Substitution of another compliant product.

d. Available Products:  Where a Specification paragraph or subparagraph titled "Available Products" lists product designations, provide one of the products designated or another compliant product.

e. Basis of Design:  Where a Specification paragraph or subparagraph titled "Basis of Design" includes a product designation, provide the product designated, or request a Substitution of another compliant product by one of the other manufacturers named, if any, or by another manufacturer.

2. Descriptive Requirements:  Where Specifications describe a product or assembly, listing exact characteristics required, provide a product or assembly that provides the characteristics and otherwise complies with Contract requirements.

3. Performance Requirements:  Where Specifications require compliance with performance requirements, provide products that comply with these requirements and are recommended by the manufacturer for the application indicated.  Manufacturer's recommendations may be contained in published product literature or by the manufacturer's certification of performance.

4. Prescriptive Requirements:  Where Specifications require products that are produced using specified ingredients and components, including specific requirements for mixing, fabricating, curing, finishing, testing and similar operations in the manufacturing process, provide products produced in accordance with the prescriptive requirements that otherwise comply with Contract requirements.

5. Codes, Standards and Regulations:  Where Specifications require compliance with an imposed code, standard or regulation, select a product that complies with the codes, standards or regulations specified.

6. Visual Matching:  Where Specifications require matching an established Sample, the Contracting Officer's Representative's decision will be final on whether a proposed product matches satisfactorily.  Where no product available within the specified category matches satisfactorily and complies with other specified requirements, comply with provisions concerning "substitutions" for selections of a matching product in another product category.

7. Visual Selection:  Where specified product requirements include the phrase " as selected from manufacturer's standard colors, patterns, textures .." or a similar phrase, select a product and manufacturer that complies with other specified requirements.  The Contracting Officer's Representative will select the color, pattern and texture from the manufacturer's product line.

2.2 SUBSTITUTIONS

A. Conditions:  The Contracting Officer will receive and consider the Contractor's request for substitution when one or more of the following conditions are satisfied.  If the following conditions are not satisfied, the Contracting Officer will return the requests without action except to record noncompliance with these requirements.

1. Extensive revisions to the Contract Documents are not required.

2. Proposed changes are in keeping with the general intent of the Contract Documents.

3. The request is timely, fully documented, and properly submitted.

4. The specified product or method of construction cannot be provided within the Contract Time.  The Contracting Officer will not consider the request if the product or method cannot be provided as a result of failure to pursue the Work promptly or coordinate activities properly.

5. The requested substitution offers the Government a substantial advantage, in cost, time, energy conservation, or other considerations, after deducting additional responsibilities the Government must assume as a result of the substitution.

6. The specified product or method of construction cannot receive necessary approval by a governing authority, and the requested substitution can be approved.

7. The specified product or method of construction cannot be provided in a manner that is compatible with other materials and where the Contractor certifies that the substitution will overcome the incompatibility.

8. The specified product or method of construction cannot be coordinated with other materials and where the Contractor certifies that the proposed substitution can be coordinated.

9. The specified product or method of construction cannot provide a warranty required by the Contract Documents and where the Contractor certifies that the proposed substitution provides the required warranty.

B. The Contractor's submittal and the Contracting Officer's Representative's acceptance of Shop Drawings, Product Data, or Samples for construction activities not complying with Contract Documents do not constitute an acceptable or valid request for substitution, nor do they constitute approval.

2.3 WARRANTY REQUIREMENTS

A. Related Damages and Losses:  When correcting failed or damaged warranted construction, remove and replace construction that has been damaged as a result of such failure or must be removed and replaced to provide access for correction of warranted construction.

B. Reinstatement of Warranty:  When Work covered by a warranty has failed and been corrected by replacement or rebuilding, reinstate the warranty by written endorsement.  The reinstated warranty shall be equal to the original warranty with an equitable adjustment for depreciation.

C. Replacement Cost:  Upon determination that Work covered by a warranty has failed, replace or rebuild the Work to an acceptable condition complying with requirements of the Contract Documents.  The Contractor is responsible for the cost of replacing or rebuilding defective Work.

D. Rejection of Warranties:  The Contracting Officer reserves the right to reject warranties and to limit selection to products with warranties not in conflict with requirements of the Contract Documents.

E. Where the Contract Documents require a special warranty, or similar commitment for the Work or part of the Work, the Contracting Officer reserves the right to refuse to accept the Work in behalf of the Government until the Contractor presents evidence that entities required to countersign such commitments are willing to do so.

PART 3 -  EXECUTION (Not Applicable)

END OF SECTION 01600

PRODUCT REQUIREMENTS
01600 - 1

