Copyright 1999 AIA
MASTERSPEC
11/99


Devoe Paint (1/02)

Copyright 1999, The American Institute of Architects (AIA)

This PRODUCT MASTERSPEC section is licensed by ARCOM(1/02) for distribution by Devoe Paint. Changes made to MASTERSPEC by the manufacturer are indicated using underline/strikeout text. Review and accept changes according to project requirements and specifier's practice. The products listed are those considered by   Devoe Paint to be comparable in quality to the products listed in MASTERSPEC. ARCOM and AIA do not recommend or endorse any manufacturers or products. For more information contact Devoe Paint, 925 Euclid Avenue, Cleveland, OH 44115. Phone: 216-344-8912. Fax: 216-263-0413.
SECTION 09912 - PAINTING (PROFESSIONAL LINE PRODUCTS)
This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 1 Specification Sections, apply to this Section.

1.2 SUMMARY

A. This Section includes surface preparation and field painting of exposed [exterior] [and] [interior] items and surfaces.

1. Surface preparation, priming, and finish coats specified in this Section are in addition to shop priming and surface treatment specified in other Sections.

B. Paint exposed surfaces, except where these Specifications indicate that the surface or material is not to be painted or is to remain natural.  If an item or a surface is not specifically mentioned, paint the item or surface the same as similar adjacent materials or surfaces.  If a color of finish is not indicated, Architect will select from standard colors and finishes available.

1. Painting includes field painting of exposed bare and covered pipes and ducts (including color coding), hangers, exposed steel and iron supports, and surfaces of mechanical and electrical equipment that do not have a factory-applied final finish.

Revise paragraph below to suit Project.

C. Do not paint prefinished items, concealed surfaces, finished metal surfaces, operating parts, and labels.

1. Prefinished items include the following factory-finished components:

Review list of prefinished items below.  Delete items not in Project; insert additional items to suit Project.

a. Architectural woodwork.

b. Acoustical wall panels.

c. Metal toilet enclosures.

d. Metal lockers.

e. Unit kitchens.

f. Elevator entrance doors and frames.

g. Elevator equipment.

h. Finished mechanical and electrical equipment.

i. Light fixtures.

j. <Insert other prefinished items if required.>

2. Concealed surfaces include walls or ceilings in the following generally inaccessible spaces:

Review list of spaces below that contain concealed surfaces not usually painted.  Delete spaces not in Project; insert additional spaces to suit Project.

a. Foundation spaces.

b. Furred areas.

c. Ceiling plenums.

d. Utility tunnels.

e. Pipe spaces.

f. Duct shafts.

g. Elevator shafts.

h. <Insert other concealed surfaces if required.>

3. Finished metal surfaces include the following:

Review list of finished metals below.  Delete metal surfaces not in Project; insert additional metal surfaces to suit Project.

a. Anodized aluminum.

b. Stainless steel.

c. Chromium plate.

d. Copper and copper alloys.

e. Bronze and brass.

f. <Insert other finished metal surfaces if required.>

4. Operating parts include moving parts of operating equipment and the following:

Review list of operating parts below.  Delete parts not in Project; insert additional parts to suit Project.

a. Valve and damper operators.

b. Linkages.

c. Sensing devices.

d. Motor and fan shafts.

e. <Insert other operating parts if required.>

5. Labels:  Do not paint over UL, FMG, or other code-required labels or equipment name, identification, performance rating, or nomenclature plates.

D. Related Sections include the following:

List below contains items that are usually shop primed and materials that might be specified in this Section.  List should only include products that the reader might expect to find in this Section but are specified elsewhere.  Revise to suit Project.

1. Division 2 Section "Hot-Mix Asphalt Paving" for traffic-marking paint.

2. Division 2 Section "Cement Concrete Pavement" for traffic-marking paint.

3. Division 5 Section "Structural Steel" for shop priming structural steel.

4. Division 5 Section "Metal Fabrications" for shop priming ferrous metal.

5. Division 6 Section "Exterior Architectural Woodwork" for shop priming exterior architectural woodwork.

6. Division 6 Section "Interior Architectural Woodwork" for shop priming interior architectural woodwork.

7. Division 8 Section "Steel Doors and Frames" for factory priming steel doors and frames.

8. Division 8 Section "Custom Steel Doors and Frames" for factory priming steel doors and frames.

9. Division 8 Section "Wood Windows" for shop priming unclad wood windows.

10. Division 9 Section "Gypsum Board Assemblies" for surface preparation of gypsum board.

11. Division 9 Section "Exterior Wood Stain."

12. Division 9 Section "Multicolored Interior Coatings" for spray-applied multicolored coatings.

13. Division 9 Section "Wall Coverings" for substrate sealer under wall coverings.

14. Division 9 Section "High-Performance Coatings" for industrial paints and maintenance and for special coatings.

Retain paragraph below if alternates are specified in Division 1 Section for work in this Section.

E. Alternates:  Refer to Division 1 Section "Alternates" for description of Work in this Section affected by alternates.

If allowances or unit prices apply to work of this Section, insert brief paragraphs here to alert Contractor and reference appropriate Division 1 Section for specific details.

1.3 DEFINITIONS

Standard terms used by the coatings industry are defined in ASTM D 16.

A. General:  Standard coating terms defined in ASTM D 16 apply to this Section.

Delete gloss ranges below not required for Project.  Standard gloss ranges were developed by the National Paint and Coatings Association.

1. Flat refers to a lusterless or matte finish with a gloss range below 15 when measured at an 85-degree meter.

2. Eggshell refers to low-sheen finish with a gloss range between 20 and 35 when measured at a 60-degree meter.

3. Semigloss refers to medium-sheen finish with a gloss range between 35 and 70 when measured at a 60-degree meter.

4. Full gloss refers to high-sheen finish with a gloss range more than 70 when measured at a 60-degree meter.

1.4 SUBMITTALS

Revise paragraph and subparagraphs below to suit Project and products required.

A. Product Data:  For each paint system indicated.  Include block fillers and primers.

1. Material List:  An inclusive list of required coating materials.  Indicate each material and cross-reference specific coating, finish system, and application.  Identify each material by manufacturer's catalog number and general classification.

2. Manufacturer's Information:  Manufacturer's technical information, including label analysis and instructions for handling, storing, and applying each coating material.

B. Samples for Initial Selection:  For each type of finish-coat material indicated.

Revise subparagraph below if Architect reserves the right to make final color selection from field-applied Samples.

1. After color selection, Architect will furnish color chips for surfaces to be coated.

Delete paragraph and subparagraph above if colors are preselected and specified or scheduled.  Retain paragraph and subparagraphs below with or without above.

C. Samples for Verification:  For each color and material to be applied, with texture to simulate actual conditions, on representative Samples of the actual substrate.

1. Provide stepped Samples, defining each separate coat, including block fillers and primers.  Use representative colors when preparing Samples for review.  Resubmit until required sheen, color, and texture are achieved.

2. Provide a list of materials and applications for each coat of each Sample.  Label each Sample for location and application.

Division 1 Section "Submittal Procedures" specifies submission of three Samples as the default requirement.  Insert number below only if it differs from the number retained or inserted in the Division 1 Section.

3. Submit <Insert number> Samples on the following substrates for Architect's review of color and texture only:

Select sample Submittals from list below to suit substrates in Project.  Add other substrates or special requirements to suit Project.  Insert below the number of samples required if different from that specified in Division 1 Section "Submittal Procedures."

a. Concrete:  [4-inch- (100-mm-) square] [4-by-6-inch (100-by-150-mm)] <Insert size and shape> Samples for each color and finish.

b. Concrete Unit Masonry:  [4-by-8-inch (100-by-200-mm)] [6-by-10-inch (150-by-250-mm)] <Insert size> Samples of masonry, with mortar joint in the center, for each finish and color.

c. Painted Wood:  [8-inch- (200-mm-)] [12-inch- (300-mm-)] <Insert size> square Samples for each color and material on hardboard.

d. Stained or Natural Wood:  [4-by-8-inch (100-by-200-mm)] [6-by-10-inch (150-by-250-mm)] <Insert size> Samples of natural- or stained-wood finish on representative <Insert species of wood to be used> surfaces.

e. Ferrous Metal:  [3-inch- (75-mm-)] [4-inch- (100-mm-)] <Insert size> square Samples of flat metal and [6-inch- (150-mm-)] [8-inch- (200-mm-)] <Insert size> long Samples of solid metal for each color and finish.

Coordinate below with qualification requirements retained in "Quality Assurance" Article.

D. Qualification Data:  For Applicator.

1.5 QUALITY ASSURANCE

A. Applicator Qualifications:  A firm or individual experienced in applying paints and coatings similar in material, design, and extent to those indicated for this Project, whose work has resulted in applications with a record of successful in-service performance.

Always retain paragraph below.  Systems could fail if coats are incompatible.

B. Source Limitations:  Obtain [block fillers] [and] [primers] for each coating system from the same manufacturer as the finish coats.

Requirements in paragraph and subparagraphs below can be expensive if not specified carefully.  Delete on small projects and on simple projects where such requirements are unreasonable.  Retain on large projects and when Applicator must possess special skills or take unusual care in application.  Revise to suit Project.

C. Benchmark Samples (Mockups):  Provide a full-coat benchmark finish sample for each type of coating and substrate required.  Comply with procedures specified in PDCA P5.  Duplicate finish of approved sample Submittals.

1. Architect will select one room or surface to represent surfaces and conditions for application of each type of coating and substrate.

a. Wall Surfaces:  Provide samples on at least [100 sq. ft. (9 sq. m)] <Insert size>.

b. Small Areas and Items:  Architect will designate items or areas required.

2. Apply benchmark samples, according to requirements for the completed Work, after permanent lighting and other environmental services have been activated.  Provide required sheen, color, and texture on each surface.

a. After finishes are accepted, Architect will use the room or surface to evaluate coating systems of a similar nature.

Revise below if Architect reserves the right to make final color selection from benchmark samples.

3. Final approval of colors will be from benchmark samples.

1.6 DELIVERY, STORAGE, AND HANDLING

A. Deliver materials to Project site in manufacturer's original, unopened packages and containers bearing manufacturer's name and label and the following information:

Add other requirements to suit Project.

1. Product name or title of material.

2. Product description (generic classification or binder type).

3. Manufacturer's stock number and date of manufacture.

4. Contents by volume, for pigment and vehicle constituents.

5. Thinning instructions.

6. Application instructions.

7. Color name and number.

8. VOC content.

B. Store materials not in use in tightly covered containers in a well-ventilated area at a minimum ambient temperature of 45 deg F (7 deg C).  Maintain storage containers in a clean condition, free of foreign materials and residue.

1. Protect from freezing.  Keep storage area neat and orderly.  Remove oily rags and waste daily.

Add special requirements for fire protection, heating, ventilation, and other special conditions for on-site storage areas, if necessary.

1.7 PROJECT CONDITIONS

Revise first two paragraphs below to suit Project and materials to be used.

A. Apply waterborne paints only when temperatures of surfaces to be painted and surrounding air are between 50 and 90 deg F (10 and 32 deg C).

B. Apply solvent-thinned paints only when temperatures of surfaces to be painted and surrounding air are between 45 and 95 deg F (7 and 35 deg C).

C. Do not apply paint in snow, rain, fog, or mist; or when relative humidity exceeds 85 percent; or at temperatures less than 5 deg F (3 deg C) above the dew point; or to damp or wet surfaces.

1. Painting may continue during inclement weather if surfaces and areas to be painted are enclosed and heated within temperature limits specified by manufacturer during application and drying periods.

1.8 EXTRA MATERIALS

Extra materials may not be allowed for publicly funded projects.

A. Furnish extra paint materials from the same production run as the materials applied and in the quantities described below.  Package with protective covering for storage and identify with labels describing contents.  Deliver extra materials to Owner.

Two alternate subparagraphs below specify the quantity of extra materials required.  Select one and delete the other.  Retain first subparagraph for projects that require large quantities of several categories of extra materials.

1. Quantity:  Furnish Owner with extra paint materials in quantities indicated below:

List below is an example only.  Add or delete materials and revise quantities to suit Project.  Some manufacturers use both 2- and 4-gal. (7.5- and 15.1-L) cases; if so, designate the number of gallons (liters) required per case.

a. Exterior, Flat Acrylic Paint:  [1 gal. (3.8 L)] [2 gal. (7.5 L)] [One case] [<Insert other number> cases] of each color applied.

b. Exterior, Low-Luster Acrylic Finish:  [1 gal. (3.8 L)] [2 gal. (7.5 L)] [One case] [<Insert other number> cases] of each color applied.

c. Exterior, Semigloss Acrylic Enamel:  [1 gal. (3.8 L)] [2 gal. (7.5 L)] [One case] [<Insert other number> cases] of each color applied.

d. Exterior, Full-Gloss Alkyd Enamel:  [1 gal. (3.8 L)] [2 gal. (7.5 L)] [One case] [<Insert other number> cases] of each color applied.

e. Interior, Flat Acrylic Paint:  [1 gal. (3.8 L)] [2 gal. (7.5 L)] [One case] [<Insert other number> cases] of each color applied.

f. Interior, Low-Luster Acrylic Finish:  [1 gal. (3.8 L)] [2 gal. (7.5 L)] [One case] [<Insert other number> cases] of each color applied.

g. Interior, Semigloss Acrylic Enamel:  [1 gal. (3.8 L)] [2 gal. (7.5 L)] [One case] [<Insert other number> cases] of each color applied.

h. Interior, Full-Gloss Alkyd Enamel:  [1 gal. (3.8 L)] [2 gal. (7.5 L)] [One case] [<Insert other number> cases] of each color required.

Retain below for projects that require only limited quantities of extra materials.  If necessary, replace percentage with a specific number of gallons (liters) or cases and include an expanded description of the quantity of each material and color.

2. Quantity:  Furnish Owner with an additional [3] [5] [7] <Insert percent> percent, but not less than 1 gal. (3.8 L) or 1 case, as appropriate, of each material and color applied.

PART 2 -  PRODUCTS

2.1 MANUFACTURERS

See Editing Instruction No. 1 in the Evaluations in Division 9 Section "Painting" for cautions about naming manufacturers and products.

A. Available Products:  Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, products listed in other Part 2 articles.

Retain above for nonproprietary or below for semiproprietary specification.  Refer to Division 1 Section "Product Requirements."

B. Products:  Subject to compliance with requirements, provide one of the products listed in other Part 2 articles.

C. Manufacturers' Names:  Shortened versions (shown in parentheses) of the following manufacturers' names are used in other Part 2 articles:

Manufacturers listed in paint schedules produce an extensive line of nationally distributed paint products that are usually available locally.  Add local and regional paint manufacturers, if desired.  Edit Part 2 articles to suit Project and local product availability.

1. Benjamin Moore & Co. (Benjamin Moore).

2. Coronado Paint Company (Coronado).

3. Devoe Paint (Devoe).

4. ICI Dulux Paint Centers (ICI Dulux Paints).

5. Kelly-Moore Paint Co. (Kelly-Moore).

Depending on the location of Project, retain Kelly-Moore above or M. A. Bruder below.  Kelly-Moore and M. A. Bruder have entered into a strategic alliance to serve the entire U.S.  See the Evaluations in Division 9 Section "Painting."

6. M. A. Bruder & Sons, Inc. (M. A. B. Paint).

7. PPG Industries, Inc. (Pittsburgh Paints).

8. Sherwin-Williams Co. (Sherwin-Williams).

9. <Insert manufacturer's name.>

2.2 PAINT MATERIALS, GENERAL

Always retain first paragraph below.  Systems could fail if coatings are incompatible.

A. Material Compatibility:  Provide block fillers, primers, and finish-coat materials that are compatible with one another and with the substrates indicated under conditions of service and application, as demonstrated by manufacturer based on testing and field experience.

B. Material Quality:  Provide manufacturer's best-quality paint material of the various coating types specified that are factory formulated and recommended by manufacturer for application indicated.  Paint-material containers not displaying manufacturer's product identification will not be acceptable.

Delete subparagraph below if Project requirements prohibit naming manufacturer's products.

1. Proprietary Names:  Use of manufacturer's proprietary product names to designate colors or materials is not intended to imply that products named are required to be used to the exclusion of equivalent products of other manufacturers.  Furnish manufacturer's material data and certificates of performance for proposed substitutions.

C. Colors:  [Match Architect's samples] [As indicated by manufacturer's designations] [As selected by Architect from manufacturer's full range].

Indicate paint colors in a separate schedule or show location and extent on Drawings.  The number of colors used on a project and use of deep-tone colors will affect Project cost.  See the Evaluations in Division 9 Section "Painting."

Products listed in succeeding Part 2 articles have been researched and evaluated and are believed to be comparable to products of other manufacturers listed.  However, due to differences among manufacturers' individual product formulas, some products may have advantages or disadvantages when compared to similar products of other manufacturers.  Base selection of product on coating-performance characteristics required.

2.3 CONCRETE UNIT MASONRY BLOCK FILLERS

A. Concrete Unit Masonry Block Filler:  Factory-formulated high-performance latex block fillers.

1. Benjamin Moore; Moorcraft Super Craft Latex Block Filler No. 285:  Applied at a dry film thickness of not less than 8.1 mils (0.206 mm).

Benjamin Moore recommends using filler below under high-gloss finishes.

2. Benjamin Moore; Moore's IMC Latex Block Filler No. M88:  Applied at a dry film thickness of not less than 8.1 mils (0.206 mm).

3. Coronado; 946-11 Super Kote 5000 Commercial Latex Block Filler:  Applied at a dry film thickness of not less than 8.4 mils (0.214 mm).

4. Devoe; DP89301 Bloktex Heavy Duty Acrylic Block Filler;  Applied at a dry film thickness of not less than 7.0 mils to 14.0 mils (0.178 mm  to 0.356 mm).

5. ICI Dulux Paints; Bloxfil 4000-1000 Interior/Exterior Heavy Duty Acrylic Block Filler:  Applied at a dry film thickness of not less than 7.0 to 14.5 mils (0.178 to 0.368 mm).

6. Kelly-Moore; 521 Fill and Prime Acrylic Block Filler:  Applied at a dry film thickness of not less than 10.0 mils (0.254 mm).

7. M. A. B. Paint; Block Kote No. 1000 Acrylic Latex Block Filler 064-145:  Applied at a dry film thickness of not less than 12.0 mils (0.305 mm).

8. Pittsburgh Paints; 6-7 SpeedHide Interior/Exterior Masonry Latex Block Filler:  Applied at a dry film thickness of not less than 6.0 to 12.5 mils (0.152 to 0.318 mm).

9. Sherwin-Williams; PrepRite Interior/Exterior Block Filler B25W25:  Applied at a dry film thickness of not less than 8.0 mils (0.203 mm).

10. <Insert manufacturer's block filler.>

2.4 EXTERIOR PRIMERS

Retain primer below over exterior concrete and masonry substrates, and mineral-fiber-reinforced cement panels.

A. Exterior Concrete and Masonry Primer:  Factory-formulated alkali-resistant acrylic-latex primer for exterior application.

1. Benjamin Moore; Moore's Acrylic Masonry Sealer No. 066:  Applied at a dry film thickness of not less than 0.7 mils (0.018 mm).

Benjamin Moore recommends using primer below rather than primer above over mineral-fiber-reinforced cement panels.

2. Benjamin Moore; Moore's Alkyd Masonry Sealer No. 077:  Applied at a dry film thickness of not less than 2.7 mils (0.069 mm).

3. Coronado; 48-11 Elast-O-Meric Acrylic Masonry Sealer:  Applied at a dry film thickness of not less than 1.2 mils (0.031 mm).

4. Devoe; DR51801 Kilstain-WB Primer-Sealer;  Applied at a dry film thickness of not less than 1.7 mils (0.043 mm).

5. Devoe; DR1502 Wonder Shield Exterior Acrylic Primer;  Applied at a dry film thickness of not less than 1.4 mils (0.036mm).

6. ICI Dulux Paints; 2000-1200 Dulux Professional Exterior 100 Percent Acrylic Latex Primer:  Applied at a dry film thickness of not less than 1.6 mils (0.041 mm).

7. Kelly-Moore; 247 Chem-Guard Acrylic Masonry Primer:  Applied at a dry film thickness of not less than 1.9 mils (0.048 mm).

8. M. A. B. Paint; Lok Tite Latex Masonry Primer 056-125:  Applied at a dry film thickness of not less than 1.5 mils (0.038 mm).

9. Pittsburgh Paints; 6-603 SpeedHide Interior/Exterior Acrylic Latex Alkali Resistant Primer:  Applied at a dry film thickness of not less than 1.5 mils (0.038 mm).

10. Sherwin-Williams; Loxon Exterior Masonry Acrylic Primer A24W300:  Applied at a dry film thickness of not less than 3.0 mils (0.076 mm).

Sherwin-Williams recommends using primer below over mineral-fiber-reinforced cement panels.

11. Sherwin-Williams; A-100 Latex Exterior Wood Primer B42W41:  Applied at a dry film thickness of not less than 1.4 mils (0.036 mm).

12. <Insert manufacturer's exterior primer.>

Retain primer below over exterior gypsum soffit boards.

B. Exterior Gypsum Soffit Board Primer:  Factory-formulated alkyd- or alkali-resistant acrylic-latex primer for exterior application.

1. Benjamin Moore; Moorcraft Super Spec Alkyd Exterior Primer No. 176:  Applied at a dry film thickness of not less than 1.8 mils (0.046 mm).

2. Coronado; 8-11 Supreme Acrylic Bonding Primer:  Applied at a dry film thickness of not less than 1.4 mils (0.036 mm).

3. Devoe; DR1502 Wonder Shield Exterior Acrylic Primer;  Applied at a dry film thickness of not less than 1.4 mils (0.036mm).

4. ICI Dulux Paints; 2000-1200 Dulux Professional Exterior 100 Percent Acrylic Latex Primer:  Applied at a dry film thickness of not less than 1.6 mils (0.041 mm).

5. Kelly-Moore; 250 Color Shield Exterior Acrylic Primer:  Applied at a dry film thickness of not less than 1.7 mils (0.043 mm).

6. M. A. B. Paint; Lok Tite Latex Masonry Primer 056-125:  Applied at a dry film thickness of not less than 1.5 mils (0.038 mm).

7. Pittsburgh Paints; 6-603 SpeedHide Interior/Exterior Acrylic Latex Alkali Resistant Primer:  Applied at a dry film thickness of not less than 1.5 mils (0.038 mm).

8. Sherwin-Williams; A-100 Exterior Latex Wood Primer B42W41:  Applied at a dry film thickness of not less than 1.4 mils (0.036 mm).

9. <Insert manufacturer's exterior primer.>

Retain primer below under acrylic topcoats over exterior wood siding, wood trim, and other smooth wood substrates, including bleeding woods such as cedar and redwood, and over exterior plywood.

C. Exterior Wood Primer for Acrylic Enamels:  Factory-formulated alkyd or latex wood primer for exterior application.

1. Benjamin Moore; Moorcraft Super Spec Alkyd Exterior Primer No. 176:  Applied at a dry film thickness of not less than 1.8 mils (0.046 mm).

2. Coronado; 8-11 Supreme Acrylic Bonding Primer:  Applied at a dry film thickness of not less than 2.0 mils (0.051 mm).

3. Devoe; DR1502 Wonder Shield Exterior Acrylic Primer;  Applied at a dry film thickness of not less than 1.4 mils (0.036mm).

4. ICI Dulux Paints; 2000-1200 Dulux Professional Exterior 100 Percent Acrylic Latex Primer:  Applied at a dry film thickness of not less than 1.6 mils (0.041 mm).

5. Kelly-Moore; 255 Stain--Lock II Stain Resistant Acrylic Primer:  Applied at a dry film thickness of not less than 2.0 mils (0.051 mm).

6. M. A. B. Paint; Sea Shore/Four Seasons Latex Primer Coat 056-958:  Applied at a dry film thickness of not less than 1.6 mils (0.041 mm).

7. Pittsburgh Paints; 6-609 SpeedHide Exterior House & Trim Wood Primer 100 Percent Acrylic Latex:  Applied at a dry film thickness of not less than 1.6 mils (0.041 mm).

8. Sherwin-Williams; A-100 Exterior Latex Wood Primer B42W41:  Applied at a dry film thickness of not less than 1.4 mils (0.036 mm).

9. <Insert manufacturer's exterior primer.>

Retain primer below under alkyd topcoats over exterior wood siding, wood trim, and other smooth wood substrates, including bleeding woods such as cedar and redwood, and over exterior plywood.  Consult manufacturer's recommendations if deep-tone colors are required; some manufacturers require a different primer under deep-tone colors.

D. Exterior Wood Primer for Alkyd Enamels:  Factory-formulated alkyd or latex wood primer for exterior application.

1. Benjamin Moore; Moorcraft Super Spec Alkyd Exterior Primer No. 176:  Applied at a dry film thickness of not less than 1.8 mils (0.046 mm).

2. Coronado; 5-11 Supreme Collection Oil House Paint Primer:  Applied at a dry film thickness of not less than 2.2 mils (0.056 mm).

3. Devoe;  DR1102  All-Weather Exterior Alkyd House Paint Primer;  Applied at a dry film thickness of not less than 2.0 mils (0.051 mm).

4. ICI Dulux Paints; 2110-1200 Ultra-Hide Durus Exterior Alkyd Primecoat:  Applied at a dry film thickness of not less than 1.9 mils (0.048 mm).

5. Kelly-Moore; 220 Weather Shield Exterior Alkyd Primer:  Applied at a dry film thickness of not less than 2.3 mils (0.058 mm).

6. M. A. B. Paint; Sea Shore/Four Seasons Latex Primer Coat 056-958:  Applied at a dry film thickness of not less than 1.5 mils (0.039 mm).

7. Pittsburgh Paints; 6-609 SpeedHide Exterior House & Trim Wood Primer 100 Percent Acrylic Latex:  Applied at a dry film thickness of not less than 1.6 mils (0.041 mm).

8. Sherwin-Williams; A-100 Exterior Latex Wood Primer B42W42:  Applied at a dry film thickness of not less than 1.4 mils (0.036 mm).

9. <Insert manufacturer's exterior primer.>

Retain primer below over exterior ferrous-metal substrates.

E. Exterior Ferrous-Metal Primer:  Factory-formulated rust-inhibitive metal primer for exterior application.

1. Benjamin Moore; Moore's IMC Alkyd Metal Primer No. M06:  Applied at a dry film thickness of not less than 2.0 mils (0.051 mm).

2. Coronado; 35-147 Rust Scat Alkyd Metal Primer:  Applied at a dry film thickness of not less than 2.0 mils (0.051 mm).

3. Devoe; DP279XX Surmax High Solids Primer; Applied at a dry film thickness of not less than 4.0 mils (0.102 mm).

4. ICI Dulux Paints; 4160-XXXX Devguard Multi-Purpose Tank & Structural Primer.  Applied at a dry film thickness of not less than 2.0 mils (0.051 mm).

5. Kelly-Moore; 1711 Kel-Guard Alkyd White Rust Inhibitive Primer:  Applied at a dry film thickness of not less than 2.0 mils (0.051 mm).

Kelly-Moore recommends using primer below under full-gloss acrylic-enamel coatings.

6. Kelly-Moore; 5725 DTM-Acrylic Metal Primer:  Applied at a dry film thickness of not less than 1.8 mils (0.048 mm).

7. M. A. B. Paint; Rust-O-Lastic Anti-Corrosive Primer 073-132:  Applied at a dry film thickness of not less than 2.0 mils (0.051 mm).

8. Pittsburgh Paints; 90-712 Pitt-Tech One Pack Interior/Exterior Primer Finish DTM Industrial Enamel:  Applied at a dry film thickness of not less than 3.0 mils (0.076 mm).

9. Sherwin-Williams; Kem Kromik Universal Metal Primer B50NZ6/B50WZ1:  Applied at a dry film thickness of not less than 3.0 mils (0.076 mm).

10. <Insert manufacturer's exterior primer.>

Retain primer below over exterior zinc-coated metal substrates.

F. Exterior Galvanized Metal Primer:  Factory-formulated galvanized metal primer for exterior application.

1. Benjamin Moore; Moore's IMC Acrylic Metal Primer No. M04:  Applied at a dry film thickness of not less than 2.0 mils (0.051 mm).

2. Coronado; 36-11 Rust Scat Latex Metal Primer:  Applied at a dry film thickness of not less than 1.4 mils (0.036 mm).

3. ICI Dulux Paints; 4020-XXXX Devflex DTM Flat Interior/Exterior Waterborne Primer & Finish:  Applied at a dry film thickness of not less than 2.2 mils (0.056 mm).

Dulux Paint recommends using primer below rather than primer above over zinc-coated metal under alkyd finishes.

4. Devoe; DP13201 Mirrolac All Purpose Metal & Galvanized Primer; Applied at a dry film thickness of not less than 2.0 mils (0.051 mm).

5. Devoe; DP8502  Mirrolac-WB DTM Primer & Finish;  Applied at a dry film thickness of not less than 2.2 mils (0.056 mm).

6. ICI Dulux Paints; 4160-XXXX Devguard Multi-Purpose Tank & Structural Primer:  Applied at a dry film thickness of not less than 2.0 mils (0.051 mm).

7. Kelly-Moore; 1722 Kel-Guard Acrylic Galvanized Iron Primer:  Applied at a dry film thickness of not less than 1.8 mils (0.046 mm).

Kelly-Moore recommends using primer below under full-gloss acrylic-enamel coatings.

8. Kelly-Moore; 5725 DTM-Acrylic Metal Primer:  Applied at a dry film thickness of not less than 1.8 mils (0.046 mm).

9. M. A. B. Paint; Rust-O-Lastic Hydro-Prime II Acrylic (DTM) Maintenance Primer 073-189:  Applied at a dry film thickness of not less than 2.0 mils (0.051 mm).

10. Pittsburgh Paints; 90-709 Pitt-Tech One Pack Interior/Exterior Primer/Finish DTM Industrial Enamel:  Applied at a dry film thickness of not less than 3.0 mils (0.076 mm).

Retain primer below for all but full-gloss acrylic-enamel and full-gloss alkyd-enamel finishes over galvanized metal substrates.

11. Sherwin-Williams; primer not required over this substrate.

Sherwin-Williams recommends using primer below under full-gloss acrylic-enamel and full-gloss alkyd-enamel finishes.

12. Sherwin-Williams; Galvite HS Paint B50WZ3:  Applied at a dry film thickness of not less than 2.0 mils (0.051 mm).

13. <Insert manufacturer's exterior primer.>

Retain primer below over exterior aluminum substrates under semigloss and full-gloss acrylic finishes.

G. Exterior Aluminum Primer under Acrylic Finishes:  Factory-formulated acrylic-based metal primer for exterior application.

1. Benjamin Moore; Moore's IMC Acrylic Metal Primer No. M04:  Applied at a dry film thickness of not less than 2.0 mils (0.051 mm).

2. Coronado; 36-11 Rust Scat Latex Metal Primer:  Applied at a dry film thickness of not less than 2.0 mils (0.051 mm).

3. Devoe;  DP8502 Mirrolac-WB DTM Primer & Finish;  Applied at a dry film thickness of not less than 2.2 mils (0.056mm).
4. ICI Dulux Paints; 4020-XXXX Devflex DTM Flat Interior/Exterior Waterborne Primer & Finish:  Applied at a dry film thickness of not less than 2.2 mils (0.056 mm).

Dulux Paint recommends using primer below rather than primer above over aluminum under full-gloss acrylic-enamel finishes.

5. ICI Dulux Paints; 4160-XXXX Devguard Multi-Purpose Tank & Structural Primer:  Applied at a dry film thickness of not less than 2.0 mils (0.051 mm).

6. Kelly-Moore; 1722 Kel-Guard Acrylic Galvanized Iron Primer:  Applied at a dry film thickness of not less than 1.8 mils (0.046 mm).

Kelly-Moore recommends using primer below under full-gloss acrylic-enamel coatings.

7. Kelly-Moore; 5725 DTM-Acrylic Metal Primer:  Applied at a dry film thickness of not less than 1.8 mils (0.046 mm).

8. M. A. B. Paint; Rust-O-Lastic Hydro-Prime II Acrylic (DTM) Maintenance Primer 073-189:  Applied at a dry film thickness of not less than 2.0 mils (0.051 mm).

9. Pittsburgh Paints; 90-709 Pitt-Tech One Pack Interior/Exterior Primer/Finish DTM Industrial Enamel:  Applied at a dry film thickness of not less than 3.0 mils (0.076 mm).

Sherwin-Williams does not require a primer over aluminum substrates under a semigloss finish.

10. Sherwin-Williams; primer not required over this substrate.

Sherwin-Williams recommends using primer below over aluminum substrates under a full-gloss acrylic finish.

11. Sherwin-Williams; DTM Acrylic Primer/Finish B66W1:  Applied at a dry film thickness of not less than 2.5 mils (0.064 mm).

12. <Insert manufacturer's exterior primer.>

Retain primer below over exterior aluminum substrates under alkyd finishes.

H. Exterior Aluminum Primer under Alkyd Finishes:  Factory-formulated acrylic-based metal primer for exterior application.

1. Benjamin Moore; Moore's IMC Acrylic Metal Primer No. M04:  Applied at a dry film thickness of not less than 2.0 mils (0.051 mm).

2. Coronado; 180-11 High Performance Acrylic Metal Primer:  Applied at a dry film thickness of not less than 2.0 mils (0.051 mm).

3. Devoe;  DP8502  Mirrolac-WB DTM Primer & Finish;  Applied at a dry film thickness of not less than 2.2 mils (0.056 mm).

4. ICI Dulux Paints; 4020-XXXX Devflex DTM Flat Interior/Exterior Waterborne Primer & Finish:  Applied at a dry film thickness of not less than 2.2 mils (0.056 mm).

5. Kelly-Moore; 1722 Kel-Guard Acrylic Galvanized Iron Primer:  Applied at a dry film thickness of not less than 1.8 mils (0.046 mm).

6. M. A. B. Paint; Rust-O-Lastic Hydro-Prime II Acrylic (DTM) Maintenance Primer 073-189:  Applied at a dry film thickness of not less than 2.0 mils (0.051 mm).

7. Pittsburgh Paints; 90-709 Pitt-Tech One Pack Interior/Exterior Primer/Finish DTM Industrial Enamel:  Applied at a dry film thickness of not less than 3.0 mils (0.076 mm).

8. Sherwin-Williams; DTM Wash Primer B71Y1:  Applied at a dry film thickness of not less than 2.5 mils (0.064 mm).

9. <Insert manufacturer's exterior primer.>

2.5 INTERIOR PRIMERS

Retain primer below over interior concrete and masonry substrates under acrylic and alkyd enamels.  Most manufacturers offer a low or zero VOC product for use where local regulations require coatings with no VOCs.  Consult manufacturers for availability.

A. Interior Concrete and Masonry Primer:  Factory-formulated alkali-resistant acrylic-latex interior primer for interior application.

1. Benjamin Moore; Moorcraft Super Spec Latex Enamel Undercoater & Primer Sealer No. 253:  Applied at a dry film thickness of not less than 1.2 mils (0.030 mm).

2. Coronado; 40-11 Super Kote 5000 Latex Primer-Sealer:  Applied at a dry film thickness of not less than 1.2 mils (0.030 mm).

3. Devoe;  DR51801 Kilstain-WB Primer-Sealer;  Applied at a dry film thickness of not less than 1.7 mils (0.043 mm).

4. ICI Dulux Paints; 3030-1200 Bond-Prep Interior/Exterior Waterborne Pigmented Bonding Primer:  Applied at a dry film thickness of not less than 1.8 mils (0.046 mm).

5. Kelly-Moore; 971 Acry-Prime Interior Latex Primer/Sealer:  Applied at a dry film thickness of not less than 1.6 mils (0.041 mm).

6. M. A. B. Paint; Fresh Kote Vinyl Primer 037-100:  Applied at a dry film thickness of not less than 1.5 mils (0.038 mm).

7. Pittsburgh Paints; 6-2 SpeedHide Interior Quick-Drying Latex Sealer:  Applied at a dry film thickness of not less than 1.0 mil (0.025 mm).

8. Sherwin-Williams; PrepRite Masonry Primer B28W300:  Applied at a dry film thickness of not less than 3.0 mils (0.076 mm).

9. <Insert manufacturer's interior primer.>

Retain primers below over interior gypsum board substrates.  Most manufacturers offer a low or zero VOC product for use where local regulations require coatings with no VOCs.  Consult manufacturers for availability.

B. Interior Gypsum Board Primer:  Factory-formulated latex-based primer for interior application.

1. Benjamin Moore; Moorcraft Super Spec Latex Enamel Undercoater & Primer Sealer No. 253:  Applied at a dry film thickness of not less than 1.2 mils (0.030 mm).

2. Coronado; 40-11 Super Kote 5000 Latex Primer-Sealer:  Applied at a dry film thickness of not less than 1.2 mils (0.030 mm).

3. Devoe;  DR50801 Wonder-Tones Interior Vinyl Latex Primer-Sealer; Applied at a dry film thickness of not less than 1.5 mils (0.038 mm).

4. ICI Dulux Paints; 1000-1200 Dulux Ultra Basecoat Interior Latex Wall Primer:  Applied at a dry film thickness of not less than 1.2 mils (0.031 mm).

Dulux Paint recommends using primer below under full-gloss alkyd-enamel finishes on gypsum board.

5. ICI Dulux Paints; 1030-1200 Ultra-Hide PVA Interior Primer Sealer General Purpose Wall Primer:  Applied at a dry film thickness of not less than 1.9 mils (0.048 mm).

6. Kelly-Moore; 971 Acry-Prime Interior Latex Primer/Sealer:  Applied at a dry film thickness of not less than 1.6 mils (0.041 mm).

7. M. A. B. Paint; Fresh Kote Vinyl Primer 037-100:  Applied at a dry film thickness of not less than 1.5 mils (0.038 mm).

8. Pittsburgh Paints; 6-2 SpeedHide Interior Quick-Drying Latex Sealer:  Applied at a dry film thickness of not less than 1.0 mil (0.025 mm).

9. Sherwin-Williams; PrepRite 200 Latex Wall Primer B28W200 Series:  Applied at a dry film thickness of not less than 1.6 mils (0.041 mm).

10. <Insert manufacturer's interior primer.>

Retain primers below over interior plaster substrates.  Most manufacturers offer a low or zero VOC product for use where local regulations require coatings with no VOCs.  Consult manufacturers for availability.

C. Interior Plaster Primer:  Factory-formulated latex-based primer for interior application.

1. Benjamin Moore; Moorcraft Super Spec Latex Enamel Undercoater & Primer Sealer No. 253:  Applied at a dry film thickness of not less than 1.2 mils (0.030 mm).

2. Coronado; 40-11 Super Kote 5000 Latex Primer-Sealer:  Applied at a dry film thickness of not less than 1.2 mils (0.030 mm).

3. Devoe;  DR51701 Wonder Prime Multi-Purpose Acrylic Primer-Sealer;  Applied at a dry film thickness of not less than 1.3 mils (0.033 mm)
4. ICI Dulux Paints; 3210-1200 Ultra-Hide Aquacrylic GRIPPER Stain Killer Primer Sealer:  Applied at a dry film thickness of not less than 1.8 mils (0.046 mm).

5. Kelly-Moore; 247 Chem-Guard Acrylic Masonry Primer:  Applied at a dry film thickness of not less than 1.9 mils (0.048 mm).

6. M. A. B. Paint; Fresh Kote Vinyl Primer 037-100:  Applied at a dry film thickness of not less than 1.5 mils (0.038 mm).

7. Pittsburgh Paints; 6-2 SpeedHide Interior Quick-Drying Latex Sealer:  Applied at a dry film thickness of not less than 1.0 mil (0.025 mm).

8. Sherwin-Williams; PrepRite 200 Latex Wall Primer B28W200 Series:  Applied at a dry film thickness of not less than 1.6 mils (0.041 mm).

9. <Insert manufacturer's interior primer.>

Retain primer below over interior wood and hardboard substrates under acrylic-enamel and semigloss alkyd-enamel finishes.

D. Interior Wood Primer for Acrylic-Enamel and Semigloss Alkyd-Enamel Finishes:  Factory-formulated alkyd- or acrylic-latex-based interior wood primer.

1. Benjamin Moore; Moorcraft Super Spec Alkyd Enamel Underbody and Primer Sealer No. 245:  Applied at a dry film thickness of not less than 1.5 mils (0.038 mm).

2. Coronado; 78-11 Super Kote 5000 Acrylic Enamel Undercoat:  Applied at a dry film thickness of not less than 2.0 mils (0.051 mm).

3. Devoe;  DR51701 Wonder Prime Multi-Purpose Acrylic Primer-Sealer;  Applied at a dry film thickness of not less than 1.3 mils (0.033 mm).

4. ICI Dulux Paints; 3210-1200 Ultra-Hide Aquacrylic GRIPPER Stain Killer Primer Sealer:  Applied at a dry film thickness of not less than 1.8 mils (0.046 mm).

5. Kelly-Moore; 975 Acry Plex Interior Latex Enamel Undercoat:  Applied at a dry film thickness of not less than 1.6 mils (0.041 mm).

6. M. A. B. Paint; Rich Lux Latex Undercoat 037-154:  Applied at a dry film thickness of not less than 1.5 mils (0.038 mm).

7. Pittsburgh Paints; 6-855 SpeedHide Latex Enamel Undercoater:  Applied at a dry film thickness of not less than 1.0 mil (0.025 mm).

8. Sherwin-Williams; PrepRite Wall and Wood Primer B49W200 Series:  Applied at a dry film thickness of not less than 1.6 mils (0.041 mm).

Sherwin Williams recommends using primer below under semigloss acrylic-enamel finishes.

9. Sherwin-Williams; PrepRite Classic Interior Primer B28W101 Series:  Applied at a dry film thickness of not less than 1.6 mils (0.041 mm).

10. <Insert manufacturer's interior primer.>

Retain primer below over interior wood and hardboard substrates under full-gloss alkyd-enamel finishes.

E. Interior Wood Primer for Full-Gloss Alkyd-Enamel Finishes:  Factory-formulated alkyd- or acrylic-latex-based interior wood primer.

1. Benjamin Moore; Moorcraft Super Spec Alkyd Enamel Underbody and Primer Sealer No. 245:  Applied at a dry film thickness of not less than 1.5 mils (0.038 mm).

2. Coronado; 78-11 Super Kote 5000 Acrylic Enamel Undercoat:  Applied at a dry film thickness of not less than 2.0 mils (0.051 mm).

3. Devoe;  DR51701 Wonder Prime Multi-Purpose Acrylic Primer-Sealer;  Applied at a dry film thickness of not less than 1.3 mils (0.033 mm).

4. ICI Dulux Paints; 1120-1200 Ultra-Hide Oil/Alkyd Interior Wood Undercoat:  Applied at a dry film thickness of not less than 2.0 mils (0.051 mm).

5. Kelly-Moore; 985 Flo-Cote Alkyd Enamel Undercoater:  Applied at a dry film thickness of not less than 2.5 mils (0.064 mm).

6. M. A. B. Paint; Rich Lux Latex Undercoater 037-154:  Applied at a dry film thickness of not less than 1.5 mils (0.038 mm).

7. Pittsburgh Paints; 6-6 SpeedHide Interior Quick-Drying Enamel Undercoater:  Applied at a dry film thickness of not less than 1.4 mils (0.036 mm).

8. Sherwin-Williams; PrepRite Wall and Wood Primer B49W200 Series:  Applied at a dry film thickness of not less than 1.6 mils (0.041 mm).

9. <Insert manufacturer's interior primer.>

Retain primer below over interior ferrous-metal substrates.

F. Interior Ferrous-Metal Primer:  Factory-formulated quick-drying rust-inhibitive alkyd-based metal primer.

1. Benjamin Moore; Moore's IMC Alkyd Metal Primer No. M06:  Applied at a dry film thickness of not less than 2.0 mils (0.051 mm).

2. Coronado; 35-147 Rust Scat Alkyd Metal Primer:  Applied at a dry film thickness of not less than 2.0 mils (0.051 mm).

3. ICI Dulux Paints; 4130-6130 Devshield Rust Penetrating Metal Primer:  Applied at a dry film thickness of not less than 2.2 mils (0.056 mm).

Dulux Paint recommends using primer below over ferrous-metal substrates under semigloss alkyd-enamel and full-gloss acrylic-enamel and alkyd-enamel finishes.

4. Devoe; DP13201 Mirrolac All Purpose Metal & Galvanized Primer; Applied at a dry film thickness of not less than 2.0 mils (0.051 mm).

5. ICI Dulux Paints; 4160-6130 Devguard Multi-Purpose Tank & Structural Primer:  Applied at a dry film thickness of not less than 2.0 mils (0.051 mm).

6. Kelly-Moore; 1711 Kel-Guard Alkyd White Rust Inhibitive Primer:  Applied at a dry film thickness of not less than 2.0 mils (0.051 mm).

7. M. A. B. Paint; Rust-O-Lastic Anti-Corrosive Primer 073-132:  Applied at a dry film thickness of not less than 2.0 mils (0.051 mm).

8. Pittsburgh Paints; 90-709 Pitt-Tech One Pack Interior/Exterior Primer/Finish DTM Industrial Enamel:  Applied at a dry film thickness of not less than 1.5 mils (0.038 mm).

9. Sherwin-Williams; Kem Kromik Universal Metal Primer B50NZ6/B50WZ1:  Applied at a dry film thickness of not less than 3.0 mils (0.076 mm).

10. <Insert manufacturer's interior primer.>

Retain primer below over interior zinc-coated metal substrates.

G. Interior Zinc-Coated Metal Primer:  Factory-formulated galvanized metal primer.

1. Benjamin Moore; Moore's IMC Acrylic Metal Primer No. M04:  Applied at a dry film thickness of not less than 2.0 mils (0.051 mm).

2. Coronado; 36-11 Rust Scat Acrylic Metal Primer:  Applied at a dry film thickness of not less than 2.0 mils (0.051 mm).

3. Devoe; DP13201 Mirrolac All Purpose Metal & Galvanized Primer; Applied at a dry film thickness of not less than 2.0 mils (0.051 mm).

4. ICI Dulux Paints; 4160-6130 Devguard Multi-Purpose Tank & Structural Primer:  Applied at a dry film thickness of not less than 2.0 mils (0.051 mm).

5. Kelly-Moore; 1722 Kel-Guard Acrylic Galvanized Iron Primer:  Applied at a dry film thickness of not less than 1.8 mils (0.046 mm).

6. M. A. B. Paint; Rust-O-Lastic Hydro-Prime II Acrylic (DTM) Maintenance Primer 073-189:  Applied at a dry film thickness of not less than 2.0 mils (0.051 mm).

7. Pittsburgh Paints; 90-709 Pitt-Tech One Pack Interior/Exterior Primer/Finish DTM Industrial Enamel:  Applied at a dry film thickness of not less than 3.0 mils (0.076 mm).

Sherwin-Williams does not require a primer over galvanized metal surfaces under acrylic topcoats.

8. Sherwin-Williams; primer not required over this substrate.

Sherwin-Williams recommends using primer below over galvanized metal surfaces under alkyd finishes.

9. Sherwin-Williams; Galvite HS B50WZ30:  Applied at a dry film thickness of not less than 3.0 mils (0.076 mm).

10. <Insert manufacturer's interior primer.>

2.6 EXTERIOR FINISH COATS

Retain finish-coat materials below for a flat acrylic finish over exterior concrete, stucco, masonry, concrete masonry units, mineral-fiber-reinforced cement panels, gypsum soffit boards, and smooth wood and plywood, unless otherwise indicated.

A. Exterior Flat Acrylic Paint:  Factory-formulated flat acrylic-emulsion latex paint for exterior application.

1. Benjamin Moore; Moorcraft Super Spec Flat Latex House Paint No. 171:  Applied at a dry film thickness of not less than 1.2 mils (0.030 mm).

2. Coronado; 8-Line Supreme Acrylic Latex Flat:  Applied at a dry film thickness of not less than 1.3 mils (0.033 mm).

3. Devoe; DR15XX Wonder-Shield Flat Exterior Acrylic Latex;   Applied at a dry film thickness of not less than 1.5 mils (0.038 mm).

4. Devoe;  DRW63XX WeatherKing II Exterior 100% Acrylic Low Temp Flat;  Applied at a dry film thickness of not less than 1.8 mils (0.045 mm).
5. ICI Dulux Paints; 2200-XXXX Dulux Professional Exterior 100 Percent Acrylic Flat Finish:  Applied at a dry film thickness of not less than 1.4 mils (0.036 mm).

6. Kelly-Moore; 1205 Color Shield Exterior Flat Acrylic House Paint:  Applied at a dry film thickness of not less than 1.9 mils (0.048 mm).

7. M. A. B. Paint; Fresh Kote Latex House Paint 409 Line:  Applied at a dry film thickness of not less than 1.7 mils (0.043 mm).

8. Pittsburgh Paints; 6-600 Series SpeedHide Exterior House Paint Flat Latex:  Applied at a dry film thickness of not less than 1.3 mils (0.033 mm).

9. Sherwin-Williams; A-100 Exterior Latex Flat House & Trim Paint A6 Series:  Applied at a dry film thickness of not less than 1.3 mils (0.033 mm).

10. <Insert manufacturer's comparable exterior finish-coat material.>
 Retain finish-coat materials below for a low-luster (eggshell) acrylic finish over exterior concrete, stucco, masonry, concrete masonry units, gypsum soffit boards, smooth wood, plywood, and ferrous and zinc-coated metal.

B. Exterior Low-Luster Acrylic Paint:  Factory-formulated low-sheen (eggshell) acrylic-latex paint for exterior application.

1. Benjamin Moore; Moorcraft Super Spec Low Lustre Latex House Paint No. 185:  Applied at a dry film thickness of not less than 1.0 mil (0.025 mm).

2. Coronado; 408-Line Supreme Acrylic Satin Exterior:  Applied at a dry film thickness of not less than 1.3 mils (0.033 mm).

3. Devoe;  DRW68XX WeatherKing II Exterior 100% Acrylic Low Temp Low-Lustre;  Applied at a dry film thickness of not less than 2.2 mils (0.056 mm).

4. Devoe; DR16XX Wonder-Shield Satin Exterior Acrylic Latex;   Applied at a dry film thickness of not less than 1.5 mils (0.038 mm).

5. ICI Dulux Paints; 2402-XXXX Dulux Professional Exterior 100 Percent Acrylic Satin Finish:  Applied at a dry film thickness of not less than 1.4 mils (0.036 mm).

6. Kelly-Moore; 1245 Acry-Velvet Exterior Low Sheen Acrylic Finish:  Applied at a dry film thickness of not less than 1.8 mils (0.046 mm).

7. M. A. B. Paint; Fresh Kote Latex Eggshell 405 Line:  Applied at a dry film thickness of not less than 1.5 mils (0.038 mm).

8. Pittsburgh Paints; 6-2000 Series SpeedHide Exterior House & Trim Satin--Acrylic Latex:  Applied at a dry film thickness of not less than 1.0 mil (0.025 mm).

Pittsburgh Paints recommends using coating below for a low-luster acrylic finish over zinc-coated metal.

9. Pittsburgh Paints; 90-400 Series Pitt-Tech One Pack High Performance Waterborne Satin DTM Industrial Enamels:  Applied at a dry film thickness of not less than 3.0 mils (0.076 mm).

10. Sherwin-Williams; A-100 Exterior Latex Satin House & Trim Paint A82 Series:  Applied at a dry film thickness of not less than 1.5 mils (0.038 mm).

11. <Insert manufacturer's comparable exterior finish-coat material.>

Retain finish-coat materials below for a semigloss acrylic-enamel finish, including medium shades, over concrete, stucco, masonry, concrete masonry units, gypsum soffit boards, smooth wood, medium-shade wood trim, ferrous and zinc-coated metal, and aluminum.

C. Exterior Semigloss Acrylic Enamel:  Factory-formulated semigloss waterborne acrylic-latex enamel for exterior application.

1. Benjamin Moore; Moorcraft Super Spec Latex House & Trim Paint No. 170:  Applied at a dry film thickness of not less than 1.1 mils (0.028 mm).

2. Coronado; 12-Line Supreme Acrylic Semi-Gloss:  Applied at a dry film thickness of not less than 1.5 mils (0.038 mm).

3. Devoe;  DRW64XX WeatherKing II Exterior 100% Acrylic Low Temp Semi Gloss;  Applied at a dry film thickness of not less than 1.4 mils (0.035 mm).

4. Devoe; DR17XX Wonder-Shield  Semi-Gloss  Exterior Acrylic Latex;   Applied at a dry film thickness of not less than 1.5 mils (0.038 mm).

5. ICI Dulux Paints; 2406-XXXX Dulux Professional Exterior 100 Percent Acrylic Semi-Gloss Finish: Applied at a dry film thickness of not less than 1.3 mils (0.033 mm).

6. Kelly-Moore; 1250 Acry-Lustre Exterior Semi-Gloss Acrylic Finish:  Applied at a dry film thickness of not less than 1.6 mils (0.041 mm).

7. M. A. B. Paint; Sea Shore/Four Seasons Acrylic Latex Trim Enamel 024 Line:  Applied at a dry film thickness of not less than 1.5 mils (0.038 mm).

8. Pittsburgh Paints; 6-900 Series SpeedHide Exterior House & Trim Semi-Gloss Acrylic Latex Paint:  Applied at a dry film thickness of not less than 1.5 mils (0.038 mm).

9. Sherwin-Williams; A-100 Latex Gloss A8 Series:  Applied at a dry film thickness of not less than 1.3 mils (0.033 mm).

10. <Insert manufacturer's comparable exterior finish-coat material.>

Retain finish-coat materials below for a full-gloss acrylic-enamel finish over concrete, stucco, masonry, concrete masonry units, gypsum soffit boards, smooth wood, and wood trim.  Consult manufacturers if deep-tone-color full-gloss finishes are required.  Some deep-tone-color products require use of a different base or a different primer.

D. Exterior Full-Gloss Acrylic Enamel for Concrete, Masonry, and Wood:  Factory-formulated full-gloss waterborne acrylic-latex enamel for exterior application.

1. Benjamin Moore; Moore's IMC Acrylic Gloss Enamel M28:  Applied at a dry film thickness of not less than 2.0 mils (0.051 mm).

2. Coronado; 414 Super Kote 5000 Acrylic Gloss Enamel:  Applied at a dry film thickness of not less than 1.5 mils (0.038 mm).

3. Devoe;  DR18XX Wonder-Shield Gloss Exterior Acrylic Latex;   Applied at a dry film thickness of not less than 1.3 mils (0.033 mm).

4. ICI Dulux Paints; 3028-XXXX Dulux Interior/Exterior Acrylic Gloss Finish:  Applied at a dry film thickness of not less than 1.6 mils (0.041 mm).

5. Kelly-Moore; 1780 Kel-Guard Acrylic Gloss Enamel:  Applied at a dry film thickness of not less than 1.5 mils (0.038 mm).

6. M. A. B. Paint; Rust-O-Lastic Gloss Acrylic (DTM) Maintenance Finish 043 Line:  Applied at a dry film thickness of not less than 1.6 mils (0.041 mm).

7. Pittsburgh Paints; 90 Line Pitt-Tech One Pack Interior/Exterior High Performance Waterborne High Gloss DTM Industrial Enamels:  Applied at a dry film thickness of not less than 3.0 mils (0.076 mm).

8. Sherwin-Williams; DTM Acrylic Coating Gloss (Waterborne) B66W100 Series:  Applied at a dry film thickness of not less than 2.4 mils (0.061 mm).

Sherwin-Williams recommends using product below as the finish coat over exterior wood trim only.

9. Sherwin-Williams; SuperPaint Exterior High Gloss Latex Enamel A85 Series:  Applied at a dry film thickness of not less than 1.2 mils (0.031 mm).

10. <Insert manufacturer's comparable exterior finish-coat material.>

Retain finish-coat materials below for a full-gloss acrylic-enamel finish over ferrous and zinc-coated metal and aluminum.  Consult manufacturers if deep-tone-color full-gloss finishes are required.  Some deep-tone-color products require use of a different base or a different primer.

E. Exterior Full-Gloss Acrylic Enamel for Ferrous and Other Metals:  Factory-formulated full-gloss waterborne acrylic-latex enamel for exterior application.

1. Benjamin Moore; Moore's IMC Acrylic Gloss Enamel M28:  Applied at a dry film thickness of not less than 2.0 mils (0.051 mm).

2. Coronado; 80 Line Rust Scat Acrylic Latex High Gloss Enamel:  Applied at a dry film thickness of not less than 1.4 mils (0.036 mm).

3. Devoe;  DP84XX  Mirrolac-WB High Gloss Enamel;  Applied at a dry film thickness of not less than 1.5 mils (0.038 mm).

4. ICI Dulux Paints; 3028-XXXX Dulux Interior/Exterior Acrylic Gloss Finish:  Applied at a dry film thickness of not less than 1.6 mils (0.041 mm).

5. Kelly-Moore; 5780 DTM Acrylic Gloss Enamel:  Applied at a dry film thickness of not less than 1.7 mils (0.043 mm).

6. M. A. B. Paint; Rust-O-Lastic Gloss Acrylic (DTM) Maintenance Finish 043 Line:  Applied at a dry film thickness of not less than 3.0 mils (0.076 mm).

7. Pittsburgh Paints; 90-300 Series Pitt-Tech One Pack Interior/Exterior High Performance Waterborne High Gloss DTM Industrial Enamels:  Applied at a dry film thickness of not less than 3.0 mils (0.076 mm).

8. Sherwin-Williams; DTM Acrylic Coating Gloss (Waterborne) B66W100 Series:  Applied at a dry film thickness of not less than 2.4 mils (0.061 mm).

9. <Insert manufacturer's comparable exterior finish-coat material.>

F. Exterior Full-Gloss Alkyd Enamel:  Factory-formulated full-gloss alkyd enamel for exterior application.

1. Benjamin Moore; Moore's IMC Urethane Alkyd Enamel M22:  Applied at a dry film thickness of not less than 2.0 mils (0.051 mm).

2. Coronado; 1223 Line Super Kote 5000 High Gloss Alkyd Enamel:  Applied at a dry film thickness of not less than 1.5 mils (0.038 mm).

3. Devoe;  DP70XX Mirrolac Alkyd Urethane Gloss Enamel;  Applied at a dry film thickness of not less than 1.6 mils (0.040 mm).

4. Devoe;  DP74XX  Mirrolac Speed Advanced Alkyd Low VOC Gloss Enamel;  Applied at a dry film thickness of not less than 1.5 mils (0.038 mm).

5. ICI Dulux Paints; 4308-XXXX Devguard Alkyd Industrial Gloss Enamel:  Applied at a dry film thickness of not less than 2.0 mils (0.051 mm).

6. Kelly-Moore; 1700 Kel-Guard Gloss Alkyd Rust Inhibitive Enamel:  Applied at a dry film thickness of not less than 2.0 mils (0.051 mm).

7. M. A. B. Paint; Rust-O-Lastic Finish Coating 074 Line:  Applied at a dry film thickness of not less than 2.0 mils (0.051 mm).

8. Pittsburgh Paints; 7-814 Pittsburgh Paints Industrial Gloss-Oil Interior/Exterior Enamel:  Applied at a dry film thickness of not less than 1.5 mils (0.038 mm).

9. Sherwin-Williams; Industrial Enamel B-54 Series:  Applied at a dry film thickness of not less than 2.0 mils (0.051 mm).

10. <Insert manufacturer's comparable exterior finish-coat material.>

2.7  INTERIOR FINISH COATS

Retain finish-coat materials below for a flat acrylic finish over interior concrete, stucco, masonry, concrete masonry units, mineral-fiber-reinforced cement panels, gypsum board, plaster, acoustic plaster, and ferrous and zinc-coated metal.

A. Interior Flat Acrylic Paint:  Factory-formulated flat acrylic-emulsion latex paint for interior application.

1. Benjamin Moore; Moorecraft Super Spec Latex Flat No. 275:  Applied at a dry film thickness of not less than 1.2 mils (0.031 mm).

2. Coronado; 28 Line Super Kote 5000 Latex Flat Paint:  Applied at a dry film thickness of not less than 1.2 mils (0.031 mm).

3. Devoe;  DR36XX Wonder Tones Flat Interior Latex;  Applied at a dry film thickness of not less than 1.2 mils (0.031 mm).

4. Devoe; DR31XX Wonder Pure No Odor/No VOC Interior Flat;  Applied at a dry film thickness of not less than 1.3 mils (0.033 mm).

5. ICI Dulux Paints; 1200-XXXX Dulux Professional Velvet Matte Interior Flat Latex Wall & Trim Finish:  Applied at a dry film thickness of not less than 1.4 mils (0.036 mm).

6. Kelly-Moore; 450 Pro-Wall Interior Flat Latex Wall Paint:  Applied at a dry film thickness of not less than 1.8 mils (0.046 mm).

7. M. A. B. Paint; Fresh Kote Latex Flat 402 Line:  Applied at a dry film thickness of not less than 1.5 mils (0.038 mm).

8. Pittsburgh Paints; 6-70 Line SpeedHide Interior Wall Flat-Latex Paint:  Applied at a dry film thickness of not less than 1.0 mil (0.025 mm).

9. Sherwin-Williams; ProMar 200 Interior Latex Flat Wall Paint B30W200 Series:  Applied at a dry film thickness of not less than 1.4 mils (0.036 mm).

10. <Insert manufacturer's comparable interior finish-coat material.>

Retain finish-coat materials below for a flat latex-emulsion size over an all-service jacket insulation covering.  If plastic jackets are used as covering over insulation, consult manufacturers to determine that products specified are suitable; if not, insert suitable products in and add plastic jackets to the Interior Paint Schedule.

B. Interior Flat Latex-Emulsion Size:  Factory-formulated flat latex-based interior paint.

1. Benjamin Moore; Moorecraft Super Spec Latex Flat No. 275:  Applied at a dry film thickness of not less than 1.2 mils (0.031 mm).

2. Coronado; 28 Line Super Kote 5000 Vinyl Latex Flat Wall:  Applied at a dry film thickness of not less than 1.2 mils (0.031 mm).

3. Devoe;  DR36XX Wonder Tones Flat Interior Latex;  Applied at a dry film thickness of not less than 1.2 mils (0.031 mm).

4. Devoe; DR31XX Wonder Pure No Odor/No VOC Interior Flat;  Applied at a dry film thickness of not less than 1.3 mils (0.033 mm).

5. ICI Dulux Paints; 1200-XXXX Dulux Professional Velvet Matte Interior Flat Latex Wall & Trim Finish:  Applied at a dry film thickness of not less than 1.4 mils (0.036 mm).

6. Kelly-Moore; 450 Pro-Wall Interior Flat Latex Wall Paint:  Applied at a dry film thickness of not less than 1.8 mils (0.046 mm).

7. M. A. B. Paint; Fresh Kote Latex Flat 402 Line:  Applied at a dry film thickness of not less than 1.5 mils (0.038 mm).

8. Pittsburgh Paints; 6-70 Line SpeedHide Interior Wall Flat-Latex Paint:  Applied at a dry film thickness of not less than 1.0 mil (0.025 mm).

9. Sherwin-Williams; ProMar 200 Interior Latex Flat Wall Paint B30W200 Series:  Applied at a dry film thickness of not less than 1.4 mils (0.036 mm).

10. <Insert manufacturer's comparable interior finish-coat material.>

Retain finish-coat materials below for a low-luster acrylic finish over interior concrete, stucco, masonry, concrete masonry units, gypsum board, plaster, wood, hardboard, and ferrous and zinc-coated metal.

C. Interior Low-Luster Acrylic Enamel:  Factory-formulated eggshell acrylic-latex interior enamel.

1. Benjamin Moore; Moorcraft Super Spec Latex Eggshell Enamel No. 274:  Applied at a dry film thickness of not less than 1.3 mils (0.033 mm).

2. Coronado; 30-Line Super Kote 5000 Latex Eggshell Enamel:  Applied at a dry film thickness of not less than 1.3 mils (0.033 mm).

3. Devoe; DR34XX Wonder Tones Eggshell Interior Latex;  Applied at a dry film thickness of not less than 1.25 mils (0.032 mm).

4. Devoe; DR32XX Wonder Pure No Odor/No VOC Interior Eggshell;  Applied at a dry film thickness of not less than 1.6 mils (0.041 mm).

5. ICI Dulux Paints; 1402-XXXX Dulux Professional Acrylic Eggshell Interior Wall & Trim Enamel:  Applied at a dry film thickness of not less than 1.4 mils (0.036 mm).

6. Kelly-Moore; 1610 Sat-N-Sheen Interior Latex Low Sheen Wall and Trim Finish:  Applied at a dry film thickness of not less than 1.6 mils (0.041 mm).

Kelly-Moore recommends using finish-coat material below for a low-luster finish over interior woodwork and ferrous metal.

7. Kelly-Moore; 1686 Dura-Poxy Eggshell Acrylic Enamel:  Applied at a dry film thickness of not less than 1.6 mils (0.041 mm).

8. M. A. B. Paint; Fresh Kote Latex Satin Eggshell Enamel 405 Line:  Applied at a dry film thickness of not less than 1.5 mils (0.038 mm).

9. Pittsburgh Paints; 6-400 Series SpeedHide Eggshell Acrylic Latex Enamel:  Applied at a dry film thickness of not less than 1.25 mils (0.032 mm).

10. Sherwin-Williams; ProMar 200 Interior Latex Egg-Shell Enamel B20W200 Series:  Applied at a dry film thickness of not less than 1.6 mils (0.041 mm).

11. <Insert manufacturer's comparable interior finish-coat material.>

Retain finish-coat materials below for a semigloss acrylic finish over interior concrete, stucco, masonry, concrete masonry units, gypsum board, plaster, wood, hardboard, and ferrous and zinc-coated metal.

D. Interior Semigloss Acrylic Enamel:  Factory-formulated semigloss acrylic-latex enamel for interior application.

1. Benjamin Moore; Moorcraft Super Spec Latex Semi-Gloss Enamel No. 276:  Applied at a dry film thickness of not less than 1.2 mils (0.031 mm).

2. Coronado; 32-Line Super Kote 5000 Latex Semi-Gloss Enamel:  Applied at a dry film thickness of not less than 1.3 mils (0.033 mm).

3. Devoe; DR39XX Wonder Tones Semi Gloss Interior Latex;  Applied at a dry film thickness of not less than 1.4 mils (0.036 mm).

4. Devoe; DR33XX Wonder Pure No Odor/No VOC Interior Semi Gloss;  Applied at a dry film thickness of not less than 1.4mils (0.036 mm).
5. ICI Dulux Paints; 1406-XXXX Dulux Professional Acrylic Semi-Gloss Interior Wall & Trim Enamel:  Applied at a dry film thickness of not less than 1.5 mils (0.038 mm).

6. Kelly-Moore; 1649 Acrylic-Latex Semi-Gloss Enamel:  Applied at a dry film thickness of not less than 1.7 mils (0.043 mm).

Kelly-Moore recommends using finish-coat material below for a semigloss finish over interior wood and ferrous metal.

7. Kelly-Moore; 1685 Dura-Poxy Semi-Gloss Acrylic Enamel:  Applied at a dry film thickness of not less than 1.5 mils (0.038 mm).

8. M. A. B. Paint; Fresh Kote Latex Semi-Gloss 410 Line:  Applied at a dry film thickness of not less than 1.5 mils (0.038 mm).

9. Pittsburgh Paints; 6-500 Series SpeedHide Interior Semi-Gloss Latex:  Applied at a dry film thickness of not less than 1.0 mil (0.025 mm).

10. Sherwin-Williams; ProMar 200 Interior Latex Semi-Gloss Enamel B31W200 Series:  Applied at a dry film thickness of not less than 1.3 mils (0.033 mm).

11. <Insert manufacturer's comparable interior finish-coat material.>

Retain finish-coat materials below for a full-gloss acrylic-enamel finish over interior gypsum board, plaster walls and ceilings, wood, and ferrous and zinc-coated metal.  This finish is an alternative to solvent-based full-gloss enamel.

E. Interior Full-Gloss Acrylic Enamel:  Factory-formulated full-gloss acrylic-latex interior enamel.

1. Benjamin Moore; Moore's IMC Acrylic Gloss Enamel No. M28:  Applied at a dry film thickness of not less than 2.0 mils (0.051 mm).

2. Coronado; 414 Line Super Kote 5000 Acrylic High Gloss Enamel:  Applied at a dry film thickness of not less than 1.4 mils (0.036 mm).

3. Devoe;  DP84XX  Mirrolac-WB High Gloss Enamel;  Applied at a dry film thickness of not less than 1.5 mils (0.038 mm).

4. ICI Dulux Paints; 3028-XXXX Dulux Interior/Exterior Acrylic Gloss Finish:  Applied at a dry film thickness of not less than 1.6 mils (0.041 mm).

5. Kelly-Moore; 1680 Dura-Poxy Gloss Acrylic Enamel:  Applied at a dry film thickness of not less than 1.6 mils (0.041 mm).

6. M. A. B. Paint; Rich Lux Architectural High Gloss Latex Enamel 022-127 Line:  Applied at a dry film thickness of not less than 1.5 mils (0.038 mm).

7. Pittsburgh Paints; 6-8534 SpeedHide Interior Latex 100 Percent Acrylic Gloss Enamels:  Applied at a dry film thickness of not less than 1.0 mil (0.025 mm).

Pittsburgh recommends using product below for a high-gloss finish over ferrous and zinc-coated metal.

8. Pittsburgh Paints; 90-374 Pitt-Tech One Pack Interior/Exterior High Performance Waterborne High Gloss DTM Industrial Enamel:  Applied at a dry film thickness of not less than 3.0 mils (0.076 mm).

9. Sherwin-Williams; ProMar 200 Interior Latex Gloss Enamel B21W201:  Applied at a dry film thickness of not less than 1.5 mils (0.038 mm).

10. <Insert manufacturer's comparable interior finish-coat material.>

Retain finish-coat materials below for a semigloss alkyd finish over interior concrete, stucco, masonry, concrete masonry units, gypsum board, plaster, wood, and ferrous and zinc-coated metal.

F. Interior Semigloss Alkyd Enamel:  Factory-formulated semigloss alkyd enamel for interior application.

1. Benjamin Moore; Moorcraft Super Spec Alkyd Semi-Gloss Enamel No. 271:  Applied at a dry film thickness of not less than 1.4 mils (0.036 mm).

2. Coronado; 27-Line Super Kote 5000 Alkyd Semi-Gloss Enamel:  Applied at a dry film thickness of not less than 2.0 mils (0.051 mm).

3. Devoe;  DP73XX  Mirrolac Speed Advanced Alkyd Semi Gloss Low VOC Enamel;  Applied at a dry film thickness of not less than 1.5 mils (0.038 mm).

4. ICI Dulux Paints; 1516-XXXX Ultra-Hide Alkyd Semi-Gloss Interior Wall & Trim Enamel:  Applied at a dry film thickness of not less than 1.7 mils (0.043 mm).

5. Kelly-Moore; 1630--Kel-Cote Interior Alkyd Semi-Gloss Enamel:  Applied at a dry film thickness of not less than 2.2 mils (0.056 mm).

6. M. A. B. Paint; Fresh Kote Semi-Gloss 403 Line:  Applied at a dry film thickness of not less than 2.0 mils (0.051 mm).

7. Pittsburgh Paints; 6-1110 Series SpeedHide Interior Enamel Wall & Trim Semi-Gloss Oil:  Applied at a dry film thickness of not less than 1.4 mils (0.036 mm).

8. Sherwin-Williams; ProMar 200 Interior Alkyd Semi-Gloss Enamel B34W200 Series:  Applied at a dry film thickness of not less than 1.7 mils (0.043 mm).

9. <Insert manufacturer's comparable interior finish-coat material.>

Retain finish-coat materials below for a full-gloss low-odor alkyd-enamel finish over interior gypsum board and plaster walls and ceilings.

G. Interior Full-Gloss Alkyd Enamel for Gypsum Board and Plaster:  Factory-formulated full-gloss alkyd interior enamel.

1. Benjamin Moore; Moore's IMC Urethane Alkyd Enamel No. M22:  Applied at a dry film thickness of not less than 2.0 mils (0.051 mm).

2. Coronado; 1223 Line Super Kote 5000 High Gloss Alkyd Enamel:  Applied at a dry film thickness of not less than 1.7 mils (0.043 mm).

3. Devoe;  DP74XX  Mirrolac Speed Advanced Alkyd Low VOC Gloss Enamel;  Applied at a dry film thickness of not less than 1.5 mils (0.038 mm).

4. ICI Dulux Paints; 4308-XXXX Devguard Alkyd Industrial Gloss Enamel:  Applied at a dry film thickness of not less than 2.0 mils (0.051 mm).

5. Kelly-Moore; 1700 Kel-Guard Gloss Alkyd Rust Inhibitive Enamel:  Applied at a dry film thickness of not less than 2.0 mils (0.051 mm).

6. M. A. B. Paint; Rich Lux Architectural Bright White Enamel 026-127 Line:  Applied at a dry film thickness of not less than 1.9 mils (0.048 mm).

7. Pittsburgh Paints; 7-814 Series Pittsburgh Paints Industrial Gloss-Oil Interior/Exterior Enamel:  Applied at a dry film thickness of not less than 1.5 mils (0.038 mm).

8. Sherwin-Williams; ProMar 200 Alkyd Gloss Enamel B35W200 Series:  Applied at a dry film thickness of not less than 1.6 mils (0.041 mm).

9. <Insert manufacturer's comparable interior finish-coat material.>

Retain finish-coat materials below for a full-gloss alkyd-enamel finish over interior wood and ferrous and zinc-coated metal.

H. Interior Full-Gloss Alkyd Enamel for Wood and Metal Surfaces:  Factory-formulated full-gloss alkyd interior enamel.

1. Benjamin Moore; Moore's IMC Urethane Alkyd Enamel No. M22:  Applied at a dry film thickness of not less than 2.0 mils (0.051 mm).

2. Coronado; 1223 Line Super Kote 5000 High Gloss Alkyd Enamel:  Applied at a dry film thickness of not less than 1.7 mils (0.043 mm).

3. Devoe;  DP74XX  Mirrolac Speed Advanced Alkyd Low VOC Gloss Enamel;  Applied at a dry film thickness of not less than 1.5 mils (0.038 mm).

4. ICI Dulux Paints; 4308-XXXX Devguard Alkyd Industrial Gloss Enamel:  Applied at a dry film thickness of not less than 2.0 mils (0.051 mm).

5. Kelly-Moore; 1630--Kel-Cote Interior Alkyd Semi-Gloss Enamel:  Applied at a dry film thickness of not less than 2.2 mils (0.056 mm).

6. M. A. B. Paint; Rich Lux Architectural Bright White Enamel 026-127 Line:  Applied at a dry film thickness of not less than 1.9 mils (0.048 mm).

7. Pittsburgh Paints; 7-814 Series Pittsburgh Paints Industrial Gloss-Oil Interior/Exterior Enamel:  Applied at a dry film thickness of not less than 1.5 mils (0.038 mm).

8. Sherwin-Williams; ProMar 200 Alkyd Gloss Enamel B35W200 Series:  Applied at a dry film thickness of not less than 1.6 mils (0.041 mm).

9. <Insert manufacturer's comparable interior finish-coat material.>

2.8 INTERIOR WOOD STAINS AND VARNISHES

A. Open-Grain Wood Filler:  Factory-formulated paste wood filler applied at spreading rate recommended by manufacturer.

1. Benjamin Moore; Benwood Paste Wood Filler No. 238.

2. Coronado; none required.

3. Devoe; none required.

4. ICI Dulux Paints; none required.

5. Kelly-Moore; none required.

6. M. A. B. Paint; Paste Wood Filler.

7. Pittsburgh Paints; none required.

8. Sherwin-Williams; Sher-Wood Fast-Dry Filler.

Retain first subparagraph below under waterborne full-gloss varnish finish.  Sherwin-Williams does not recommend using a wood filler under water-based full-gloss varnish finishes.

9. Sherwin-Williams; none recommended.

10. <Insert manufacturer's comparable wood filler.>

B. Interior Wood Stain:  Factory-formulated alkyd-based penetrating wood stain for interior application applied at spreading rate recommended by manufacturer.

1. Benjamin Moore; Benwood Penetrating Stain No. 234.

2. Coronado; 3601-Line Quick-Seal Alkyd Stain.

3. Devoe; DF2XX  Penchrome Interior Solventborne Semi-Transparent Oil Stain.

4. ICI Dulux Paints; 1700-XXX WoodPride Interior Solventborne Wood Finishing Stain.

5. Kelly-Moore; McCloskey Stain.

6. M. A. B. Paint; Wood Stain 062 Line.

7. Pittsburgh Paints; 77-560 Rez Interior Semi-Transparent Oil Stain.

8. Sherwin-Williams; Wood Classics Interior Oil Stain A-48 Series.

9. <Insert manufacturer's comparable interior wood stain.>

C. Clear Sanding Sealer:  Factory-formulated fast-drying alkyd-based clear wood sealer applied at spreading rate recommended by manufacturer.

Benjamin Moore does not recommend using product below under polyurethane coatings.

1. Benjamin Moore; Moore's Interior Wood Finishes Quick-Dry Sanding Sealer No. 413.

2. Coronado; 81-10 Dual Seal.

3. Devoe;  DF300 Penchrome Solventborne Quick Dry Sanding Sealer.

4. ICI Dulux Paints; 1902-0000 WoodPride Interior Satin Polyurethane Varnish.

5. Kelly-Moore; 2164 E Z Sand Alkyd Q. D. Sealer.

6. M. A. B. Paint; Minit Dri Sanding Sealer 037-005 Line.

7. Pittsburgh Paints; 6-10 SpeedHide Quick-Drying Interior Sanding Wood Sealer and Finish.

8. Sherwin-Williams; Wood Classics Fast Dry Sanding Sealer B26V43.

9. <Insert manufacturer's comparable clear sanding sealer.>

D. Interior Alkyd- or Polyurethane-Based Clear Satin Varnish:  Factory-formulated alkyd- or polyurethane-based clear varnish.

1. Benjamin Moore; Benwood Interior Wood Finishes Polyurethane Finishes Low Lustre No. 435.

2. Coronado; 67-100 Polyurethane Liquid Plastic Satin Varnish.

3. Devoe;  DF500 Penchrome Interior Solventborne Polyurethane Satin Finish.

4. ICI Dulux Paints; 1902-0000 WoodPride Interior Satin Polyurethane Varnish.

5. Kelly-Moore; 2050 Kel--Aqua Stain Base.

6. M. A. B. Paint; Rich Lux Water Based Satin Polyurethane.

7. Pittsburgh Paints; 77-7 Rez Varnish, Interior Satin Oil Clear.

8. Sherwin-Williams; Wood Classics Fast Dry Oil Varnish, Satin A66-300 Series.

9. <Insert manufacturer's comparable clear satin varnish.>

E. Interior Waterborne Clear Satin Varnish:  Factory-formulated clear satin acrylic-based polyurethane varnish applied at spreading rate recommended by manufacturer.

1. Benjamin Moore; Stays Clear Acrylic Polyurethane No. 423, Satin.

2. Coronado; 70-100 Aqua-Plastic Urethane Clear Satin.

3. Devoe;  DF400 Penchrome Interior Acrylic Satin Finish.

4. ICI Dulux Paints; 1802-0000 WoodPride Interior Waterborne Aquacrylic Satin Varnish.

5. Kelly-Moore; 2097 Kel-Thane II Clear Acrylic Urethane--Satin.

6. M. A. B. Paint; Rich Lux Water Based Satin Polyurethane 088-900s.

7. Pittsburgh Paints; 77-49 Rez Satin Acrylic Clear Polyurethane.

8. Sherwin-Williams; Wood Classics Waterborne Polyurethane Satin, A68 Series.

9. <Insert manufacturer's comparable clear satin varnish.>

F. Interior Waterborne Clear Gloss Varnish:  Factory-formulated clear gloss acrylic-based polyurethane varnish applied at spreading rate recommended by manufacturer.

1. Benjamin Moore; Benwood Interior Wood Finishes Polyurethane Finishes High Gloss No. 428.

2. Coronado; 70-10 Aqua-Plastic Urethane Clear Gloss.

3. ICI Dulux Paints; 1808-0000 WoodPride Interior Waterborne Aquacrylic Gloss Varnish.

4. Kelly-Moore; 2096 Kel-Thane II Clear Acrylic Urethane--Gloss.

5. M. A. B. Paint; Rich Lux Water Based Gloss Polyurethane 088-899 Line.

6. Pittsburgh Paints; 77-45 Rez Full-Gloss Acrylic Clear Polyurethane.

7. Sherwin-Williams; Wood Classics Waterborne Polyurethane Gloss, A68 Series.

8. <Insert manufacturer's comparable clear gloss varnish.>

G. Paste Wax:  As recommended by manufacturer.

PART 3 -  EXECUTION

3.1 EXAMINATION

A. Examine substrates, areas, and conditions, with Applicator present, for compliance with requirements for paint application.  Comply with procedures specified in PDCA P4.

1. Proceed with paint application only after unsatisfactory conditions have been corrected and surfaces receiving paint are thoroughly dry.

2. Start of painting will be construed as Applicator's acceptance of surfaces and conditions within a particular area.

Coordinate primers specified in other Sections with undercoats and finish materials specified in this Section to ensure compatibility of materials.  Some finish-coat materials, such as lacquers and epoxies, lift oil and oleoresinous air-dry primers.  A long-oil finish coat may crawl and have poor adhesion when used over zinc-dust phenolic or baked primers.

B. Coordination of Work:  Review other Sections in which primers are provided to ensure compatibility of the total system for various substrates.  On request, furnish information on characteristics of finish materials to ensure use of compatible primers.

1. Notify Architect about anticipated problems when using the materials specified over substrates primed by others.

3.2 PREPARATION

Revise first paragraph and subparagraph below if additional requirements are necessary to suit Project.

A. General:  Remove hardware and hardware accessories, plates, machined surfaces, lighting fixtures, and similar items already installed that are not to be painted.  If removal is impractical or impossible because of size or weight of the item, provide surface-applied protection before surface preparation and painting.

1. After completing painting operations in each space or area, reinstall items removed using workers skilled in the trades involved.

B. Cleaning:  Before applying paint or other surface treatments, clean substrates of substances that could impair bond of the various coatings.  Remove oil and grease before cleaning.

1. Schedule cleaning and painting so dust and other contaminants from the cleaning process will not fall on wet, newly painted surfaces.

Always retain first paragraph and subparagraphs below for surface preparation.  Proper surface preparation is essential for satisfactory coating performance.  If necessary, revise requirements to include special procedures requested by manufacturers or to suit Project.

C. Surface Preparation:  Clean and prepare surfaces to be painted according to manufacturer's written instructions for each particular substrate condition and as specified.

Coordination of shop-applied primers with finish coats is critical.  See "Coordination of Work" Paragraph in "Examination" Article.  If compatibility problems develop, it may be necessary to provide barrier coats over shop-applied primers or to remove the primer and reprime the substrate.

1. Provide barrier coats over incompatible primers or remove and reprime.

Delete subparagraph and associated subparagraphs below if cementitious surfaces are not to be painted, or revise to suit Project.

2. Cementitious Materials:  Prepare concrete, concrete unit masonry, cement plaster, and mineral-fiber-reinforced cement panel surfaces to be painted.  Remove efflorescence, chalk, dust, dirt, grease, oils, and release agents.  Roughen as required to remove glaze.  If hardeners or sealers have been used to improve curing, use mechanical methods of surface preparation.

a. Use abrasive blast-cleaning methods if recommended by paint manufacturer.

b. Determine alkalinity and moisture content of surfaces by performing appropriate tests.  If surfaces are sufficiently alkaline to cause the finish paint to blister and burn, correct this condition before application.  Do not paint surfaces if moisture content exceeds that permitted in manufacturer's written instructions.

Delete subparagraph below if not required.

c. Clean concrete floors to be painted with a 5 percent solution of muriatic acid or other etching cleaner.  Flush the floor with clean water to remove acid, neutralize with ammonia, rinse, allow to dry, and vacuum before painting.

Delete subparagraph and associated subparagraphs below if wood surfaces are not to be painted, or revise to suit Project.

3. Wood:  Clean surfaces of dirt, oil, and other foreign substances with scrapers, mineral spirits, and sandpaper, as required.  Sand surfaces exposed to view smooth and dust off.

a. Scrape and clean small, dry, seasoned knots, and apply a thin coat of white shellac or other recommended knot sealer before applying primer.  After priming, fill holes and imperfections in finish surfaces with putty or plastic wood filler.  Sand smooth when dried.

Delete four subparagraphs below if specified in other Sections.

b. Prime, stain, or seal wood to be painted immediately on delivery.  Prime edges, ends, faces, undersides, and back sides of wood, including cabinets, counters, cases, and paneling.

c. If transparent finish is required, backprime with spar varnish.

d. Backprime paneling on interior partitions where masonry, plaster, or other wet wall construction occurs on back side.

e. Seal tops, bottoms, and cutouts of unprimed wood doors with a heavy coat of varnish or sealer immediately on delivery.

Revise first subparagraph and associated subparagraphs below to suit Project.

4. Ferrous Metals:  Clean ungalvanized ferrous-metal surfaces that have not been shop coated; remove oil, grease, dirt, loose mill scale, and other foreign substances.  Use solvent or mechanical cleaning methods that comply with SSPC's recommendations.

Delete subparagraph below if blast cleaning is not required.  SSPC-SP 10/NACE No. 2 requires a higher level of preparation than is often justified.  Reduce preparation level to SSPC-SP 6/NACE No. 3 if warranted.

a. Blast steel surfaces clean as recommended by paint system manufacturer and according to [SSPC-SP 6/NACE No. 3] [SSPC-SP 10/NACE No. 2].

Delete subparagraph below if treatment is not required.

b. Treat bare and sandblasted or pickled clean metal with a metal treatment wash coat before priming.

Delete first subparagraph below if touchup painting of shop-applied primers will be done by material erector or Installer.

c. Touch up bare areas and shop-applied prime coats that have been damaged.  Wire-brush, clean with solvents recommended by paint manufacturer, and touch up with same primer as the shop coat.

5. Galvanized Surfaces:  Clean galvanized surfaces with nonpetroleum-based solvents so surface is free of oil and surface contaminants.  Remove pretreatment from galvanized sheet metal fabricated from coil stock by mechanical methods.

D. Material Preparation:  Mix and prepare paint materials according to manufacturer's written instructions.

1. Maintain containers used in mixing and applying paint in a clean condition, free of foreign materials and residue.

2. Stir material before application to produce a mixture of uniform density.  Stir as required during application.  Do not stir surface film into material.  If necessary, remove surface film and strain material before using.

3. Use only thinners approved by paint manufacturer and only within recommended limits.

If tinting is not required, delete below.  Different tints will show through as topcoat erodes.

E. Tinting:  Tint each undercoat a lighter shade to simplify identification of each coat when multiple coats of same material are applied.  Tint undercoats to match the color of the finish coat, but provide sufficient differences in shade of undercoats to distinguish each separate coat.

3.3 APPLICATION

Revise this Article to suit Project.  Add special restrictions on application methods if required.

A. General:  Apply paint according to manufacturer's written instructions.  Use applicators and techniques best suited for substrate and type of material being applied.

1. Paint colors, surface treatments, and finishes are indicated in the paint schedules.

2. Do not paint over dirt, rust, scale, grease, moisture, scuffed surfaces, or conditions detrimental to formation of a durable paint film.

3. Provide finish coats that are compatible with primers used.

4. The term "exposed surfaces" includes areas visible when permanent or built-in fixtures, grilles, convector covers, covers for finned-tube radiation, and similar components are in place.  Extend coatings in these areas, as required, to maintain system integrity and provide desired protection.

5. Paint surfaces behind movable equipment and furniture the same as similar exposed surfaces.  Before final installation of equipment, paint surfaces behind permanently fixed equipment or furniture with prime coat only.

6. Paint interior surfaces of ducts with a flat, nonspecular black paint where visible through registers or grilles.

7. Paint back sides of access panels and removable or hinged covers to match exposed surfaces.

8. Finish exterior doors on tops, bottoms, and side edges the same as exterior faces.

Delete first subparagraph below if casework is prefinished.

9. Finish interior of wall and base cabinets and similar field-finished casework to match exterior.

10. Sand lightly between each succeeding enamel or varnish coat.

B. Scheduling Painting:  Apply first coat to surfaces that have been cleaned, pretreated, or otherwise prepared for painting as soon as practicable after preparation and before subsequent surface deterioration.

Insert restrictions or limits on using spray equipment if necessary to suit Project.

1. The number of coats and film thickness required are the same regardless of application method.  Do not apply succeeding coats until previous coat has cured as recommended by manufacturer.  If sanding is required to produce a smooth, even surface according to manufacturer's written instructions, sand between applications.

2. Omit primer over metal surfaces that have been shop primed and touchup painted.

3. If undercoats, stains, or other conditions show through final coat of paint, apply additional coats until paint film is of uniform finish, color, and appearance.  Give special attention to ensure that edges, corners, crevices, welds, and exposed fasteners receive a dry film thickness equivalent to that of flat surfaces.

4. Allow sufficient time between successive coats to permit proper drying.  Do not recoat surfaces until paint has dried to where it feels firm, and does not deform or feel sticky under moderate thumb pressure, and until application of another coat of paint does not cause undercoat to lift or lose adhesion.

Revise first paragraph and subparagraphs below if the use of spray equipment for paint application is limited or restricted.  Some owners prohibit or restrict the use of spray on their projects.  Spray application of paints can damage sensitive electronic operating equipment and might cause problems for personnel in occupied buildings.

C. Application Procedures:  Apply paints and coatings by brush, roller, spray, or other applicators according to manufacturer's written instructions.

1. Brushes:  Use brushes best suited for type of material applied.  Use brush of appropriate size for surface or item being painted.

2. Rollers:  Use rollers of carpet, velvet-back, or high-pile sheep's wool as recommended by manufacturer for material and texture required.

3. Spray Equipment:  Use airless spray equipment with orifice size as recommended by manufacturer for material and texture required.

D. Minimum Coating Thickness:  Apply paint materials no thinner than manufacturer's recommended spreading rate to achieve dry film thickness indicated.  Provide total dry film thickness of the entire system as recommended by manufacturer.

First paragraph below is an example of painting requirements for mechanical and electrical work.  Revise to suit Project.

E. Mechanical and Electrical Work:  Painting of mechanical and electrical work is limited to items exposed in equipment rooms and occupied spaces.

F. Mechanical items to be painted include, but are not limited to, the following:

List below contains mechanical items that are usually field painted.  Add other items to suit Project.

1. Uninsulated metal piping.

2. Uninsulated plastic piping.

3. Pipe hangers and supports.

4. Tanks that do not have factory-applied final finishes.

5. Visible portions of internal surfaces of metal ducts, without liner, behind air inlets and outlets.

6. Duct, equipment, and pipe insulation having "all-service jacket" or other paintable jacket material.

7. Mechanical equipment that is indicated to have a factory-primed finish for field painting.

8. <Insert mechanical items to be painted.>

G. Electrical items to be painted include, but are not limited to, the following:

List below contains electrical items that are usually field painted.  Add other items to suit Project.

1. Switchgear.

2. Panelboards.

3. Electrical equipment that is indicated to have a factory-primed finish for field painting.

4. <Insert electrical items to be painted.>

H. Block Fillers:  Apply block fillers to concrete masonry block at a rate to ensure complete coverage with pores filled.

I. Prime Coats:  Before applying finish coats, apply a prime coat, as recommended by manufacturer, to material that is required to be painted or finished and that has not been prime coated by others.  Recoat primed and sealed surfaces where evidence of suction spots or unsealed areas in first coat appears, to ensure a finish coat with no burn-through or other defects due to insufficient sealing.

J. Pigmented (Opaque) Finishes:  Completely cover surfaces as necessary to provide a smooth, opaque surface of uniform finish, color, appearance, and coverage.  Cloudiness, spotting, holidays, laps, brush marks, runs, sags, ropiness, or other surface imperfections will not be acceptable.

Delete transparent finishes below if not applicable.  Indicate locations in finish schedules.

K. Transparent (Clear) Finishes:  Use multiple coats to produce a glass-smooth surface film of even luster.  Provide a finish free of laps, runs, cloudiness, color irregularity, brush marks, orange peel, nail holes, or other surface imperfections.

1. Provide satin finish for final coats.

L. Stipple Enamel Finish:  Roll and redistribute paint to an even and fine texture.  Leave no evidence of rolling, such as laps, irregularity in texture, skid marks, or other surface imperfections.

M. Completed Work:  Match approved samples for color, texture, and coverage.  Remove, refinish, or repaint work not complying with requirements.

3.4 FIELD QUALITY CONTROL

A. Owner reserves the right to invoke the following test procedure at any time and as often as Owner deems necessary during the period when paint is being applied:

1. Owner will engage a qualified independent testing agency to sample paint material being used.  Samples of material delivered to Project will be taken, identified, sealed, and certified in the presence of Contractor.

2. Testing agency will perform appropriate tests for the following characteristics as required by Owner:

Insert a list of salient characteristics that are subject to testing.  See the Evaluations in Division 9 Section "Painting."

a. <Insert salient characteristics.>

3. Owner may direct Contractor to stop painting if test results show material being used does not comply with specified requirements.  Contractor shall remove noncomplying paint from Project site, pay for testing, and repaint surfaces previously coated with the noncomplying paint.  If necessary, Contractor may be required to remove noncomplying paint from previously painted surfaces if, on repainting with specified paint, the two coatings are incompatible.

3.5 CLEANING

A. Cleanup:  At the end of each workday, remove empty cans, rags, rubbish, and other discarded paint materials from Project site.

Delete below if final cleaning is not done by painter.

1. After completing painting, clean glass and paint-spattered surfaces.  Remove spattered paint by washing and scraping without scratching or damaging adjacent finished surfaces.

3.6 PROTECTION

A. Protect work of other trades, whether being painted or not, against damage from painting.  Correct damage by cleaning, repairing or replacing, and repainting, as approved by Architect.

B. Provide "Wet Paint" signs to protect newly painted finishes.  After completing painting operations, remove temporary protective wrappings provided by others to protect their work.

1. After work of other trades is complete, touch up and restore damaged or defaced painted surfaces.  Comply with procedures specified in PDCA P1.

3.7 EXTERIOR PAINT SCHEDULE

Use schedule below as a guide only.  See suggested procedures in "Writing Guide" Article in the Evaluations in Division 9 Section "Painting" for guidance before editing schedule.  Below includes examples of paint systems for different exterior substrates.  Retain only substrates and paint systems suitable for Project.

A. Concrete, Stucco, and Masonry (Other Than Concrete Unit Masonry):  Provide the following finish systems over exterior concrete, stucco, and brick masonry substrates:

Two finish coats over a primer are normally adequate over concrete, stucco, and masonry substrates subject to normal use and moderate environments; however, in some situations, additional coats may be necessary to obtain good coverage.

Retain paint system below for a flat acrylic finish over exterior concrete, stucco, brick masonry, and other cementitious substrates subject to normal use and moderate environments.  Not all manufacturers require using a primer over this substrate.  Revise subparagraphs below if none of the manufacturers selected requires a primer with this system.

1. Flat Acrylic Finish:  [One finish coat] [Two finish coats] [<Insert number> finish coats] over a primer.

a. Primer:  Exterior concrete and masonry primer.

b. Finish Coats:  Exterior flat acrylic paint.

Retain paint system below for a low-luster (eggshell) acrylic finish over exterior concrete, stucco, and masonry surfaces subject to normal use and moderate environments.

2. Low-Luster Acrylic Finish:  [One finish coat] [Two finish coats] [<Insert number> finish coats] over a primer.

a. Primer:  Exterior concrete and masonry primer.

b. Finish Coats:  Exterior low-luster acrylic paint.

Retain paint system below for a semigloss acrylic-enamel finish over exterior concrete, stucco, masonry, and other cementitious surfaces subject to normal use and moderate environments.

3. Semigloss Acrylic-Enamel Finish:  [One finish coat] [Two finish coats] [<Insert number> finish coats] over a primer.

a. Primer:  Exterior concrete and masonry primer.

b. Finish Coats:  Exterior semigloss acrylic enamel.

Retain paint system below for a full-gloss acrylic-latex-enamel finish over exterior concrete, stucco, masonry, and other cementitious surfaces subject to normal use and moderate environments.  Full-gloss finishes are seldom used over exterior concrete, stucco, or masonry surfaces; however, most full-gloss paints function properly when used over these substrates.  Consult manufacturers for suitable systems before specifying these finishes.

4. Full-Gloss Acrylic-Enamel Finish:  [One finish coat] [Two finish coats] [<Insert number> finish coats] over a primer.

a. Primer:  Exterior concrete and masonry primer.

b. Finish Coats:  Exterior full-gloss acrylic enamel for concrete, masonry, and wood.

B. Concrete Unit Masonry:  Provide the following finish systems over exterior concrete unit masonry:

Two finish coats over a block filler are normally adequate over concrete unit masonry subject to normal use and moderate environments; however, in some situations, additional coats may be necessary to obtain good coverage.

Retain paint system below for a flat acrylic finish over exterior concrete unit masonry subject to normal use and moderate environments.

1. Flat Acrylic Finish:  [One finish coat] [Two finish coats] [<Insert number> finish coats] over a block filler.

a. Block Filler:  Concrete unit masonry block filler.

b. Finish Coats:  Exterior flat acrylic paint.

Retain paint system below for a low-luster (eggshell) acrylic finish over exterior concrete unit masonry subject to normal use and moderate environments.

2. Low-Luster Acrylic Finish:  [One finish coat] [Two finish coats] [<Insert number> finish coats] over a block filler.

a. Block Filler:  Concrete unit masonry block filler.

b. Finish Coats:  Exterior low-luster acrylic paint.

Retain paint system below for a semigloss acrylic-enamel finish over exterior concrete unit masonry subject to normal use and moderate environments.

3. Semigloss Acrylic-Enamel Finish:  [One finish coat] [Two finish coats] [<Insert number> finish coats] over a block filler.

a. Block Filler:  Concrete unit masonry block filler.

b. Finish Coats:  Exterior semigloss acrylic enamel.

Retain paint system below for a full-gloss acrylic-enamel finish over exterior concrete unit masonry subject to normal use and moderate environments.  Full-gloss finishes are seldom used over exterior concrete unit masonry surfaces; however, several manufacturers offer full-gloss systems for this substrate.  Consult manufacturers for suitable systems before specifying a full-gloss finish over this substrate.

4. Full-Gloss Acrylic-Enamel Finish:  [One finish coat] [Two finish coats] [<Insert number> finish coats] over a block filler.

a. Block Filler:  Concrete unit masonry block filler.

b. Finish Coats:  Exterior full-gloss acrylic enamel for concrete, masonry, and wood.

C. Mineral-Fiber-Reinforced Cement Panels:  Provide the following finish systems over exterior, mineral-fiber-reinforced cement panels:

Two finish coats over a primer are normally adequate over mineral-fiber-reinforced cement panels subject to normal use and moderate environments; however, in some situations, additional coats may be necessary to obtain good coverage.

Not all manufacturers require using a primer over exterior mineral-fiber-reinforced cement panels.  Revise subparagraph and associated subparagraphs below if none of the manufacturers selected requires a primer with this system.

Retain paint system below for a flat acrylic finish over exterior mineral-fiber-reinforced cement panels and shingles subject to normal use and moderate environments.

1. Flat Acrylic Finish:  [One finish coat] [Two finish coats] [<Insert number> finish coats] over a primer.

a. Primer:  Exterior concrete and masonry primer.

b. Finish Coats:  Exterior flat acrylic paint.

Low-luster (eggshell), semigloss, and full-gloss enamel finishes are seldom used over exterior mineral-fiber-reinforced cement panels and shingles.  Consult manufacturers for suitable systems before specifying these finishes.

D. Exterior Gypsum Soffit Board:  Provide the following finish systems over exterior gypsum soffit board:

Two finish coats over a primer are normally adequate over exterior gypsum soffit boards subject to normal use and moderate environments; however, in some situations, additional coats may be necessary to obtain good coverage.

Retain paint system below for a flat acrylic finish over exterior gypsum soffit boards subject to normal use and moderate environments.

1. Flat Acrylic Finish:  [One finish coat] [Two finish coats] [<Insert number> finish coats] over an exterior alkyd- or alkali-resistant primer.

a. Primer:  Exterior gypsum soffit board primer.

b. Finish Coats:  Exterior flat acrylic paint.

Retain paint system below for a low-luster (eggshell) acrylic finish over exterior gypsum soffit boards subject to normal use and moderate environments.

2. Low-Luster Acrylic Finish:  [One finish coat] [Two finish coats] [<Insert number> finish coats] over a primer.

a. Primer:  Exterior gypsum soffit board primer.

b. Finish Coats:  Exterior low-luster acrylic paint.

Retain paint system below for a semigloss acrylic-enamel finish over exterior gypsum soffit boards subject to normal use and moderate environments.

3. Semigloss Acrylic-Enamel Finish:  [One finish coat] [Two finish coats] [<Insert number> finish coats] over a primer.

a. Primer:  Exterior gypsum soffit board primer.

b. Finish Coats:  Exterior semigloss acrylic enamel.

Retain paint system below for a full-gloss acrylic-enamel finish over exterior gypsum soffit boards subject to normal use and moderate environments.  Full-gloss finishes are seldom used over gypsum soffit boards; however, most full-gloss paints function properly when used over this substrate.  Verify availability with manufacturers before specifying.

4. Full-Gloss Acrylic-Enamel Finish:  [One finish coat] [Two finish coats] [<Insert number> finish coats] over a primer.

a. Primer:  Exterior gypsum soffit board primer.

b. Finish Coats:  Exterior full-gloss acrylic enamel for concrete, masonry, and wood.

E. Smooth Wood:  Provide the following finish systems over smooth wood siding, wood trim, and other smooth exterior wood surfaces:

Most manufacturers recommend two finish coats over a primer over open-grain and unpainted wood subject to normal use and moderate environments; however, in some situations, additional coats may be necessary to obtain good coverage.

Retain paint system below for a flat acrylic finish over exterior wood siding and other smooth exterior wood surfaces, including bleeding woods such as cedar and redwood, subject to normal use and moderate environments.

1. Flat Acrylic Finish:  [One finish coat] [Two finish coats] [<Insert number> finish coats] over a primer.

a. Primer:  Exterior wood primer for acrylic enamels.

b. Finish Coats:  Exterior flat acrylic paint.

Retain paint system below for a low-luster (eggshell) acrylic finish over exterior wood siding and other smooth exterior wood surfaces, including bleeding woods such as cedar and redwood, subject to normal use and moderate environments.

2. Low-Luster Acrylic Finish:  [One finish coat] [Two finish coats] [<Insert number> finish coats] over a primer.

a. Primer:  Exterior wood primer for acrylic enamels.

b. Finish Coats:  Exterior low-luster acrylic paint.

Retain paint system below for a waterborne low-VOC semigloss acrylic-enamel finish over exterior wood siding and other smooth exterior wood surfaces, including bleeding woods such as cedar and redwood, subject to normal use and moderate environments.

3. Semigloss Acrylic-Enamel Finish:  [One finish coat] [Two finish coats] [<Insert number> finish coats] over a primer.

a. Primer:  Exterior wood primer for acrylic enamels.

b. Finish Coats:  Exterior semigloss acrylic enamel.

Retain paint system below for a waterborne full-gloss acrylic-enamel finish over exterior wood siding and other smooth exterior wood surfaces, including bleeding woods such as cedar and redwood, subject to normal use and moderate environments.  This finish is a low-VOC alternative to solvent-based full-gloss alkyd enamels.

4. Full-Gloss Acrylic-Enamel Finish:  [One finish coat] [Two finish coats] [<Insert number> finish coats] over a primer.

a. Primer:  Exterior wood primer for acrylic enamels.

b. Finish Coats:  Exterior full-gloss acrylic enamel for concrete, masonry, and wood.

Retain paint system below for a full-gloss alkyd-enamel finish over exterior wood siding and other smooth exterior wood surfaces, including bleeding woods such as cedar and redwood, subject to normal use and moderate environments.

5. Full-Gloss Alkyd-Enamel Finish:  [One finish coat] [Two finish coats] [<Insert number> finish coats] over a primer.

a. Primer:  Exterior wood primer for alkyd enamels.

b. Finish Coats:  Exterior full-gloss alkyd enamel.

F. Wood Trim:  Provide the following finish systems over exterior wood trim:

Most manufacturers recommend two finish coats over a primer over open-grain and unpainted wood trim subject to normal use and moderate environments; however, in some situations, additional coats may be necessary to obtain good coverage.

Retain paint system below for a waterborne semigloss acrylic-enamel finish over exterior wood trim, including bleeding woods such as cedar and redwood, subject to normal use and moderate environments.  This finish is a low-VOC alternative to solvent-based semigloss alkyd enamels.

1. Semigloss Acrylic-Enamel Finish:  [One finish coat] [Two finish coats] [<Insert number> finish coats] over a primer.

a. Primer:  Exterior wood primer for acrylic enamels.

b. Finish Coats:  Exterior semigloss acrylic enamel.

Retain paint system below for a waterborne full-gloss acrylic-enamel finish over exterior wood trim, including bleeding woods such as cedar and redwood, subject to normal use and moderate environments.  This finish is a low-VOC alternative to solvent-based full-gloss alkyd enamels.

2. Full-Gloss Acrylic-Enamel Finish:  [One finish coat] [Two finish coats] [<Insert number> finish coats] over a primer.

a. Primer:  Exterior wood primer for acrylic enamels.

b. Finish Coats:  Exterior full-gloss acrylic enamel for concrete, masonry, and wood.

Retain paint system below for a full-gloss alkyd-enamel finish over exterior wood trim, including bleeding woods such as cedar and redwood, subject to normal use and moderate environments.

3. Full-Gloss Alkyd-Enamel Finish:  [One finish coat] [Two finish coats] [<Insert number> finish coats] over a primer.

a. Primer:  Exterior wood trim primer for full-gloss alkyd enamels.

b. Finish Coats:  Exterior full-gloss alkyd enamel.

G. Plywood:  Provide the following finish systems over exterior plywood:

Some types of plywood can be difficult to paint unless properly prepared.  Some wood species, particularly fir, absorb most of the resin in the primer unless a sealer is first applied to the surface; however, not all manufacturers recommend using a sealer over plywood.  Revise subparagraphs in systems below if none of the manufacturers selected requires a primer over this substrate.  Follow manufacturers' written instructions closely when painting plywood.  Most manufacturers recommend a minimum of two coats over unpainted plywood subject to normal use and moderate environments regardless of the number of undercoats; however, in some situations, additional coats may be necessary to obtain good coverage.

Retain paint system below for a flat acrylic finish over exterior plywood subject to normal use and moderate environments.

1. Flat Acrylic Finish:  [One finish coat] [Two finish coats] [<Insert number> finish coats] over a primer.

a. Primer:  Exterior wood primer for acrylic enamels.

b. Finish Coats:  Exterior flat acrylic paint.

Retain paint system below for a low-luster (eggshell) finish over exterior plywood subject to normal use and moderate environments.

2. Low-Luster Finish:  [One finish coat] [Two finish coats] [<Insert number> finish coats] over a primer.

a. Primer:  Exterior wood primer for acrylic enamels.

b. Finish Coats:  Exterior low-luster acrylic paint.

H. Ferrous Metal:  Provide the following finish systems over exterior ferrous metal.  Primer is not required on shop-primed items.

Most manufacturers recommend two finish coats over a suitable primer over exterior ferrous metal subject to normal use and moderate environments; however, in some situations, additional coats may be necessary to obtain good coverage.

Retain paint system below for a low-luster (eggshell) acrylic finish over exterior ferrous metal subject to normal use and moderate environments.

1. Low-Luster Acrylic Finish:  [One finish coat] [Two finish coats] [<Insert number> finish coats] over a rust-inhibitive primer.

a. Primer:  Exterior ferrous-metal primer.

b. Finish Coat:  Exterior low-luster acrylic paint.

Retain paint system below for a semigloss acrylic-enamel finish over exterior ferrous metal subject to normal use and moderate environments.

2. Semigloss Acrylic-Enamel Finish:  [One finish coat] [Two finish coats] [<Insert number> finish coats] over a rust-inhibitive primer.

a. Primer:  Exterior ferrous-metal primer.

b. Finish Coats:  Exterior semigloss acrylic enamel.

Retain paint system below for a full-gloss waterborne low-VOC acrylic-enamel finish over exterior ferrous metal subject to normal use and moderate environments.

3. Full-Gloss Acrylic-Enamel Finish:  [One finish coat] [Two finish coats] [<Insert number> finish coats] over a rust-inhibitive primer.

a. Primer:  Exterior ferrous-metal primer.

b. Finish Coats:  Exterior full-gloss acrylic enamel for ferrous and other metals.

Retain paint system below for a full-gloss alkyd-enamel finish over exterior ferrous metal subject to normal use and moderate environments.

4. Full-Gloss Alkyd-Enamel Finish:  [One finish coat] [Two finish coats] [<Insert number> finish coats] over a rust-inhibitive primer.

a. Primer:  Exterior ferrous-metal primer.

b. Finish Coats:  Exterior full-gloss alkyd enamel.

I. Zinc-Coated Metal:  Provide the following finish systems over exterior zinc-coated metal surfaces:

Most manufacturers recommend two finish coats over a primer over exterior zinc-coated metal subject to normal use and moderate environments; however, in some situations, additional coats may be necessary to obtain good coverage.

Retain paint system below for a low-luster (eggshell) finish over exterior zinc-coated metal subject to normal use and moderate environments.

1. Low-Luster Finish:  [One finish coat] [Two finish coats] [<Insert number> finish coats] over a galvanized metal primer.

a. Primer:  Exterior galvanized metal primer.

b. Finish Coat:  Exterior low-luster acrylic paint.

Retain paint system below for a semigloss acrylic-enamel finish over exterior galvanized metal subject to normal use and moderate environments.

2. Semigloss Acrylic-Enamel Finish:  [One finish coat] [Two finish coats] [<Insert number> finish coats] over a galvanized metal primer.

a. Primer:  Exterior galvanized metal primer.

b. Finish Coats:  Exterior semigloss acrylic enamel.

Retain paint system below for a full-gloss waterborne low-VOC acrylic-enamel finish over exterior zinc-coated metal subject to normal use and moderate environments.

3. Full-Gloss Acrylic-Enamel Finish:  [One finish coat] [Two finish coats] [<Insert number> finish coats] over a galvanized metal primer.

a. Primer:  Exterior galvanized metal primer.

b. Finish Coats:  Exterior full-gloss acrylic enamel for ferrous and other metals.

Retain paint system below for a full-gloss alkyd-enamel finish over exterior galvanized metal subject to normal use and moderate environments.

4. Full-Gloss Alkyd-Enamel Finish:  [One finish coat] [Two finish coats] [<Insert number> finish coats] over a galvanized metal primer.

a. Primer:  Exterior galvanized metal primer.

b. Finish Coats:  Exterior full-gloss alkyd enamel.

J. Aluminum:  Provide the following finish systems over exterior aluminum surfaces:

Most manufacturers recommend two finish coats over a suitable primer over exterior aluminum subject to normal use and moderate environments; however, in some situations, additional coats may be necessary to obtain good coverage.

Retain paint system below for a semigloss acrylic-enamel finish over exterior aluminum subject to normal use and moderate environments.

1. Semigloss Acrylic-Enamel Finish:  [One finish coat] [Two finish coats] [<Insert number> finish coats] over a primer.

a. Primer:  Exterior aluminum primer under acrylic finishes.

b. Finish Coats:  Exterior semigloss acrylic enamel.

Retain paint system below for a full-gloss waterborne low-VOC acrylic-enamel finish over exterior aluminum subject to normal use and moderate environments.

2. Full-Gloss Acrylic-Enamel Finish:  [One finish coat] [Two finish coats] [<Insert number> finish coats] over a primer.

a. Primer:  Exterior aluminum primer under acrylic finishes.

b. Finish Coats:  Exterior full-gloss acrylic enamel for ferrous and other metals.

Retain paint system below for a full-gloss alkyd-enamel finish over exterior aluminum subject to normal use and moderate environments.

3. Full-Gloss Alkyd-Enamel Finish:  [One finish coat] [Two finish coats] [<Insert number> finish coats] over a primer.

a. Primer:  Exterior aluminum primer under alkyd finishes.

b. Finish Coats:  Exterior full-gloss alkyd enamel.

3.8 INTERIOR PAINT SCHEDULE

Use schedule below as a guide only.  See suggested procedures in "Writing Guide" Article in the Evaluations in Division 9 Section "Painting" for guidance before editing schedule.  Below includes examples of paint systems for different interior substrates.  Retain only substrates and paint systems suitable for Project.

A. Concrete and Masonry (Other Than Concrete Unit Masonry):  Provide the following paint systems over interior concrete and brick masonry substrates:

Most manufacturers recommend using a primer or block filler over rough and porous masonry substrates.  Some manufacturers do not require using a primer over interior masonry substrates if surface is smooth and otherwise acceptable.  Even without a primer, two finish coats are normally adequate over these substrates; however, in some situations, additional coats may be necessary to obtain good coverage.  Revise paint systems below if none of the manufacturers selected requires using a primer over these substrates if surface is smooth and otherwise acceptable.

Retain paint system below for a flat acrylic finish over interior concrete, brick masonry, and other cementitious substrates subject to normal use and moderate environments.

1. Flat Acrylic Finish:  [One finish coat] [Two finish coats] [<Insert number> finish coats] over a primer.

a. Primer:  Interior concrete and masonry primer.

b. Finish Coats:  Interior flat acrylic paint.

Retain paint system below for a low-luster (eggshell) acrylic-enamel finish over interior concrete, brick masonry, and other cementitious substrates subject to normal use and moderate environments.

2. Low-Luster Acrylic-Enamel Finish:  [One finish coat] [Two finish coats] [<Insert number> finish coats] over a primer.

a. Primer:  Interior concrete and masonry primer.

b. Finish Coats:  Interior low-luster acrylic enamel.

Retain paint system below for an acrylic-latex-based semigloss enamel finish over interior concrete, brick masonry, and other cementitious substrates subject to normal use and moderate environments.  This finish is an alternative to solvent-based semigloss enamels.

3. Semigloss Acrylic-Enamel Finish:  [One finish coat] [Two finish coats] [<Insert number> finish coats] over a primer.

Pittsburgh Paints requires a primer over this substrate only if the substrate is highly alkaline.

a. Primer:  Interior concrete and masonry primer.

b. Finish Coats:  Interior semigloss acrylic enamel.

Retain paint system below for a semigloss low-odor alkyd-enamel finish over interior concrete, brick masonry, and other cementitious substrates subject to normal use and moderate environments.

4. Semigloss Alkyd-Enamel Finish:  [One finish coat] [Two finish coats] [<Insert number> finish coats] over a primer.

a. Primer:  Interior concrete and masonry primer.

b. Finish Coats:  Interior semigloss alkyd enamel.

Most manufacturers make full-gloss finishes that function properly over these substrates if applied correctly.  However, full-gloss finishes are seldom used over interior concrete or brick masonry except as special coatings.  (See Division 9 Section "High-Performance Coatings" for examples of full-gloss special coatings.) If Project requires full-gloss acrylic-latex or alkyd finishes over interior concrete or brick masonry, consult manufacturers selected for suitable systems.

B. Concrete Unit Masonry:  Provide the following finish systems over interior concrete masonry:

A second coat of block filler may be needed over very coarse concrete masonry substrates.  Manufacturers recommend test painting an inconspicuous area before applying paint.  Two finish coats are normally adequate for concrete unit masonry subject to normal use and moderate environments; however, in some situations, additional coats may be necessary to obtain good coverage.

Retain paint system below for a flat acrylic finish over interior concrete unit masonry subject to normal use and moderate environments.

1. Flat Acrylic Finish:  [One finish coat] [Two finish coats] [<Insert number> finish coats] over a block filler.

a. Block Filler:  Concrete unit masonry block filler.

b. Finish Coats:  Interior flat acrylic paint.

Retain paint system below for a low-luster (eggshell or satin) acrylic-enamel finish over interior concrete unit masonry subject to normal use and moderate environments.

2. Low-Luster Acrylic-Enamel Finish:  [One finish coat] [Two finish coats] [<Insert number> finish coats] over a block filler.

a. Block Filler:  Concrete unit masonry block filler.

b. Finish Coats:  Interior low-luster acrylic enamel.

Retain paint system below for an acrylic-latex-based semigloss enamel finish over interior concrete unit masonry subject to normal use and moderate environments.  This finish is an alternative to solvent-based semigloss enamels.

3. Semigloss Acrylic-Enamel Finish:  [One finish coat] [Two finish coats] [<Insert number> finish coats] over a block filler.

a. Block Filler:  Concrete unit masonry block filler.

b. Finish Coats:  Interior semigloss acrylic enamel.

Retain paint system below for a semigloss low-odor alkyd-enamel finish over interior concrete unit masonry subject to normal use and moderate environments.

4. Semigloss Alkyd-Enamel Finish:  [One finish coat] [Two finish coats] [<Insert number> finish coats] over a filled surface.

a. Block Filler:  Concrete unit masonry block filler.

b. Finish Coat:  Interior semigloss alkyd enamel.

Most manufacturers make full-gloss finishes that function properly over these substrates if applied correctly.  However, full-gloss finishes are seldom used over interior concrete or brick masonry except as special coatings.  (See Division 9 Section "High-Performance Coatings" for examples of full-gloss special coatings.) If Project requires full-gloss acrylic-latex or alkyd finishes over interior concrete or brick masonry, consult manufacturers selected for suitable systems.

C. Mineral-Fiber-Reinforced Cement Panels:  Provide the following finish systems over interior mineral-fiber-reinforced cement panels:

Retain paint system below for a flat acrylic finish over interior mineral-fiber-reinforced cement panels subject to normal use and moderate environments.  Even without a primer, two finish coats are normally adequate over this substrate; however, in some situations, additional coats may be necessary to obtain good coverage.

1. Flat Acrylic Finish:  [One finish coat] [Two finish coats] [<Insert number> finish coats].

a. Finish Coats:  Interior flat acrylic paint.

Low-luster (eggshell) semigloss and full-gloss enamel finishes are seldom used over mineral-fiber-reinforced cement panels and shingles on the interior.  Consult manufacturers for suitable systems before specifying these finishes.

D. Gypsum Board:  Provide the following finish systems over interior gypsum board surfaces:

Two finish coats are normally adequate for interior gypsum board wall and ceiling surfaces subject to normal use and moderate environments; however, in some situations, additional coats may be necessary to obtain good coverage.

Retain paint system below for a flat acrylic finish over interior gypsum board wall and ceiling surfaces subject to normal use and moderate environments.

1. Flat Acrylic Finish:  [One finish coat] [Two finish coats] [<Insert number> finish coats] over a primer.

a. Primer:  Interior gypsum board primer.

b. Finish Coats:  Interior flat acrylic paint.

Retain paint system below for a low-luster (eggshell) acrylic-enamel finish over interior gypsum board wall and ceiling surfaces subject to normal use and moderate environments.

2. Low-Luster Acrylic-Enamel Finish:  [One finish coat] [Two finish coats] [<Insert number> finish coats] over a primer.

a. Primer:  Interior gypsum board primer.

b. Finish Coats:  Interior low-luster acrylic enamel.

Retain paint system below for an acrylic-latex-based semigloss enamel finish over interior gypsum board wall and ceiling surfaces subject to normal use and moderate environments.  This finish system is an alternative to solvent-based semigloss enamels.

3. Semigloss Acrylic-Enamel Finish:  [One finish coat] [Two finish coats] [<Insert number> finish coats] over a primer.

a. Primer:  Interior gypsum board primer.

b. Finish Coats:  Interior semigloss acrylic enamel.

Retain paint system below for a semigloss low-odor alkyd-enamel finish over interior gypsum board wall and ceiling surfaces subject to normal use and moderate environments.

4. Semigloss Alkyd-Enamel Finish:  [One finish coat] [Two finish coats] [<Insert number> finish coats] over a primer.

a. Primer:  Interior gypsum board primer.

b. Finish Coats:  Interior semigloss alkyd enamel.

Because full-gloss finishes highlight imperfect joint treatment, they are typically used over gypsum board surfaces only on projects that require frequent cleaning, such as hospitals and nursing homes.  Specify a Level 5 finish over gypsum board and construction of a mockup before installation to minimize surface problems if a full-gloss finish is required.

Retain paint system below for a full-gloss acrylic-enamel finish over interior gypsum board wall and ceiling surfaces subject to normal use and moderate environments.  This finish system is an alternative to solvent-based full-gloss enamels.

5. Full-Gloss Acrylic-Enamel Finish:  [One finish coat] [Two finish coats] [<Insert number> finish coats] over a primer.

a. Primer:  Interior gypsum board primer.

b. Finish Coats:  Interior full-gloss acrylic enamel.

Retain paint system below for a full-gloss low-odor alkyd-enamel finish over interior gypsum board wall and ceiling surfaces subject to normal use and moderate environments.

6. Full-Gloss Alkyd-Enamel Finish:  [One finish coat] [Two finish coats] [<Insert number> finish coats] over a primer.

a. Primer:  Interior gypsum board primer.

b. Finish Coats:  Interior full-gloss alkyd enamel for gypsum board and plaster.

E. Plaster:  Provide the following finish systems over new interior plaster surfaces:

Paint systems below assume new construction.  All manufacturers recommend allowing new plaster to cure for at least 30 days before coating.  Consult manufacturers for system recommendations if plaster will cure substantially longer or for previously coated plaster.  Two finish coats are normally adequate for plaster subject to normal use and moderate environments.

Retain paint system below for a flat acrylic finish over interior plaster surfaces subject to normal use and moderate environments.

1. Flat Acrylic Finish:  [One finish coat] [Two finish coats] [<Insert number> finish coats] over a primer.

a. Primer:  Interior plaster primer.

b. Finish Coats:  Interior flat acrylic paint.

Retain paint system below for a low-luster (eggshell) acrylic-enamel finish over interior plaster surfaces subject to normal use and moderate environments.

2. Low-Luster Acrylic-Enamel Finish:  [One finish coat] [Two finish coats] [<Insert number> finish coats] over a primer.

a. Primer:  Interior plaster primer.

b. Finish Coats:  Interior low-luster acrylic enamel.

Retain paint system below for an acrylic-latex-based semigloss enamel finish over interior plaster surfaces subject to normal use and moderate environments.  This finish system is an alternative to solvent-based semigloss enamels.

3. Semigloss Acrylic-Enamel Finish:  [One finish coat] [Two finish coats] [<Insert number> finish coats] over a primer.

a. Primer:  Interior plaster primer.

b. Finish Coats:  Interior semigloss acrylic enamel.

Retain paint system below for a semigloss alkyd-enamel finish over interior plaster surfaces subject to normal use and moderate environments.

4. Semigloss Alkyd-Enamel Finish:  [One finish coat] [Two finish coats] [<Insert number> finish coats] over a primer.

a. Primer:  Interior plaster primer.

b. Finish Coats:  Interior semigloss alkyd enamel.

Retain paint system below for a full-gloss acrylic-enamel finish over interior plaster surfaces subject to normal use and moderate environments.  This finish system is an alternative to solvent-based full-gloss enamels.

5. Full-Gloss Acrylic-Enamel Finish:  [One finish coat] [Two finish coats] [<Insert number> finish coats] over a primer.

a. Primer:  Interior plaster primer.

b. Finish Coats:  Interior full-gloss acrylic enamel.

Retain paint system below for a full-gloss alkyd-enamel finish over interior plaster surfaces subject to normal use and moderate environments.

6. Full-Gloss Alkyd-Enamel Finish:  [One finish coat] [Two finish coats] [<Insert number> finish coats] over a primer.

a. Primer:  Interior plaster primer.

b. Finish Coats:  Interior full-gloss alkyd enamel for gypsum board and plaster.

F. Acoustical Plaster:  Provide the following finish system over interior acoustical plaster surfaces:

Retain paint system below for a flat acrylic-latex finish over acoustical plaster subject to normal use and moderate environments.  Two finish coats are normally adequate over this substrate; however, in some situations, additional coats may be necessary to obtain good coverage.

1. Flat Acrylic-Latex Finish:  [Two] <Insert number> finish coats.

a. Finish Coats:  Interior flat acrylic paint.

G. Wood and Hardboard:  Provide the following paint finish systems over new interior wood surfaces:

Most manufacturers recommend spot priming knots on new wood before applying primer.  Two finish coats are normally adequate over wood and hardboard subject to normal use and moderate environments; however, in some situations, additional coats may be necessary to obtain good coverage.

Retain paint system below for a low-luster (eggshell) acrylic-enamel finish over interior wood subject to normal use and moderate environments.

1. Low-Luster Acrylic-Enamel Finish:  [One finish coat] [Two finish coats] [<Insert number> finish coats] over a primer.

a. Primer:  Interior wood primer for acrylic-enamel and semigloss alkyd-enamel finishes.

b. Finish Coats:  Interior low-luster acrylic enamel.

Retain paint system below for an acrylic-latex-based semigloss enamel finish over interior wood subject to normal use and moderate environments.  This finish system is an alternative to solvent-based semigloss enamels.

2. Semigloss Acrylic-Enamel Finish:  [One finish coat] [Two finish coats] [<Insert number> finish coats] over a wood undercoater.

a. Primer:  Interior wood primer for acrylic-enamel and semigloss alkyd-enamel finishes.

b. Finish Coats:  Interior semigloss acrylic enamel.

Retain paint system below for a low-odor semigloss alkyd-enamel finish over interior wood subject to normal use and moderate environments.

3. Semigloss Alkyd-Enamel Finish:  [One finish coat] [Two finish coats] [<Insert number> finish coats] over a primer.

a. Primer:  Interior wood primer for acrylic-enamel and semigloss alkyd-enamel finishes.

b. Finish Coats:  Interior semigloss alkyd enamel.

Retain paint system below for an acrylic-latex-based full-gloss enamel finish over interior wood subject to normal use and moderate environments.  This finish system is an alternative to solvent-based full-gloss enamels.

4. Full-Gloss Acrylic-Enamel Finish:  [One finish coat] [Two finish coats] [<Insert number> finish coats] over a wood primer.

a. Primer:  Interior wood primer for acrylic-enamel and semigloss alkyd-enamel finishes.

b. Finish Coats:  Interior full-gloss acrylic enamel.

Retain paint system below for a full-gloss alkyd-enamel finish over interior wood subject to normal use and moderate environments.

5. Full-Gloss Alkyd-Enamel Finish:  [One finish coat] [Two finish coats] [<Insert number> finish coats] over a wood primer.

a. Primer:  Interior wood primer for full-gloss alkyd-enamel finishes.

b. Finish Coats:  Interior full-gloss alkyd enamel for wood and metal surfaces.

H. Ferrous Metal:  Provide the following finish systems over ferrous metal:

Most architectural coatings withstand surface temperatures to approximately 200 deg F (93 deg C) without problems.  For hot-water and steam piping systems that are expected to exceed 200 deg F (93 deg C), insert a suitable acrylic or alkyd organic coating or a suitable epoxy coating from Division 9 Section "High-Temperature-Resistant Coatings"; refer to that Section for suitable coatings if higher temperatures are anticipated.

Two finish coats are normally adequate over interior ferrous metal subject to normal use and moderate environments; however, in some situations, additional coats may be necessary to obtain good coverage.

Retain paint system below for a flat acrylic finish over interior ferrous metal subject to normal use and moderate environments.

1. Flat Acrylic Finish:  [One finish coat] [Two finish coats] [<Insert number> finish coats] over a primer.

a. Primer:  Interior ferrous-metal primer.

b. Finish Coats:  Interior flat acrylic paint.

Retain paint system below for a low-luster (eggshell) acrylic-enamel finish over interior ferrous metal subject to normal use and moderate environments.

2. Low-Luster Acrylic-Enamel Finish:  [One finish coat] [Two finish coats] [<Insert number> finish coats] over a primer.

a. Primer:  Interior ferrous-metal primer.

b. Finish Coats:  Interior low-luster acrylic enamel.

Retain paint system below for an acrylic-latex-based semigloss enamel finish over interior ferrous metal subject to normal use and moderate environments.  This finish is an alternative to solvent-based semigloss enamels.

3. Semigloss Acrylic-Enamel Finish:  [One finish coat] [Two finish coats] [<Insert number> finish coats] over a primer.

a. Primer:  Interior ferrous-metal primer.

b. Finish Coats:  Interior semigloss acrylic enamel.

Retain paint system below for a semigloss alkyd-enamel finish over interior ferrous metal subject to normal use and moderate environments.

4. Semigloss Alkyd-Enamel Finish:  [One finish coat] [Two finish coats] [<Insert number> finish coats] over a primer.

a. Primer:  Interior ferrous-metal primer.

b. Finish Coats:  Interior semigloss alkyd enamel.

Retain paint system below for an acrylic-latex-based full-gloss enamel finish over interior ferrous metal subject to normal use and moderate environments.  This finish system is an alternative to solvent-based full-gloss enamels.

5. Full-Gloss Acrylic-Enamel Finish:  [One finish coat] [Two finish coats] [<Insert number> finish coats] over a primer.

a. Primer:  Interior ferrous-metal primer.

b. Finish Coats:  Interior full-gloss acrylic enamel.

Retain paint system below for a full-gloss alkyd-enamel finish over interior ferrous metal subject to normal use and moderate environments.

6. Full-Gloss Alkyd-Enamel Finish:  [One finish coat] [Two finish coats] [<Insert number> finish coats] over a primer.

a. Primer:  Interior ferrous-metal primer.

b. Finish Coats:  Interior full-gloss alkyd enamel for wood and metal surfaces.

I. Zinc-Coated Metal:  Provide the following finish systems over interior zinc-coated metal surfaces:

Two finish coats are normally adequate over interior zinc-coated metal subject to normal use and moderate environments; however, in some situations, additional coats may be necessary to obtain good coverage.

Retain paint system below for a flat acrylic finish over interior galvanized metal subject to normal use and moderate environments.

1. Flat Acrylic Finish:  [One finish coat] [Two finish coats] [<Insert number> finish coats] over a primer.

a. Primer:  Interior zinc-coated metal primer.

b. Finish Coats:  Interior flat acrylic paint.

Retain paint system below for a low-luster (eggshell) acrylic-enamel finish over interior galvanized metal subject to normal use and moderate environments.

2. Low-Luster Acrylic-Enamel Finish:  [One finish coat] [Two finish coats] [<Insert number> finish coats] over a primer.

a. Primer:  Interior zinc-coated metal primer.

b. Finish Coats:  Interior low-luster acrylic enamel.

Retain paint system below for an acrylic-latex-based semigloss enamel finish over interior galvanized metal subject to normal use and moderate environments.  This finish is an alternate to solvent-based semigloss enamels.

3. Semigloss Acrylic-Enamel Finish:  [One finish coat] [Two finish coats] [<Insert number> finish coats] over a primer.

a. Primer:  Interior zinc-coated metal primer.

b. Finish Coats:  Interior semigloss acrylic enamel.

Retain paint system below for a semigloss alkyd-enamel finish over interior galvanized metal subject to normal use and moderate environments.

4. Semigloss Alkyd-Enamel Finish:  [One finish coat] [Two finish coats] [<Insert number> finish coats] over a primer.

a. Primer:  Interior zinc-coated metal primer.

b. Finish Coats:  Interior semigloss alkyd enamel.

Retain paint system below for an acrylic-latex-based full-gloss enamel finish over interior galvanized metal subject to normal use and moderate environments.  This finish is an alternative to solvent-based full-gloss enamels.

5. Full-Gloss Acrylic-Enamel Finish:  [One finish coat] [Two finish coats] [<Insert number> finish coats] over a primer.

a. Primer:  Interior zinc-coated metal primer.

b. Finish Coats:  Interior full-gloss acrylic enamel.

Retain paint system below for a full-gloss alkyd-enamel finish over interior galvanized metal subject to normal use and moderate environments.

6. Full-Gloss Alkyd-Enamel Finish:  [One finish coat] [Two finish coats] [<Insert number> finish coats] over a primer.

a. Primer:  Interior zinc-coated metal primer.

b. Finish Coats:  Interior full-gloss alkyd enamel for wood and metal surfaces.

J. All-Service Jacket over Insulation:  Provide the following finish system on cotton or canvas insulation covering:

Retain paint system below for a flat latex-emulsion size over insulation covering the exterior subject to normal use and moderate environments.

1. Flat Acrylic Finish:  [Two] <Insert number> finish coats.  Add fungicidal agent to render fabric mildew proof.

a. Finish Coats:  Interior flat latex-emulsion size.

If plastic jackets are used as covering over insulation, consult manufacturers to determine that products specified are suitable; if not, insert suitable products and add plastic jackets to schedule.

3.9 INTERIOR STAIN AND NATURAL-FINISH WOODWORK SCHEDULE

Use schedule below as a guide only.  See suggested procedures in "Writing Guide" Article in the Evaluations in Division 9 Section "Painting" for guidance before editing schedule.  Below includes examples of finish systems over wood substrates.  Retain only finish systems suitable for Project.

A. Stained Woodwork:  Provide the following stained finishes over new interior woodwork:

Retain finish system below for an alkyd-based clear-satin-varnish finish over interior woodwork stained with an interior wood stain.  Revise finish system to suit products selected for Project.  Two finish coats of varnish are normal but more coats may be needed for some projects.

1. Alkyd-Based Stain Satin-Varnish Finish:  [Two] <Insert number> finish coats of alkyd-based clear satin varnish over a sealer coat and interior wood stain.  Wipe wood filler before applying stain.

Delete paste wood filler coat below for tight-grained wood such as birch or poplar.  Retain filler coat for oak and walnut and similar open-grain woods.

a. Filler Coat:  Open-grain wood filler.

b. Stain Coat:  Interior wood stain.

c. Sealer Coat:  Clear sanding sealer.

d. Finish Coats:  Interior alkyd- or polyurethane-based clear satin varnish.

Retain finish system below for a waterborne clear-stain-varnish finish over interior woodwork.  Revise finish system to suit products selected for Project.  Two finish coats of varnish are normal but more coats may be needed for some projects.  This finish is a waterborne alternative to solvent-based finishes.

2. Waterborne Stain Satin-Varnish Finish:  [Two] <Insert number> finish coats of waterborne clear satin varnish over a sealer coat and waterborne interior wood stain.  Wipe wood filler before applying stain.

Delete paste wood filler coat below for tight-grained wood such as birch or poplar.  Retain filler coat for oak and walnut and similar open-grain woods.

a. Filler Coat:  Open-grain wood filler.

b. Stain Coat:  Interior wood stain.

c. Sealer Coat:  Clear sanding sealer.

d. Finish Coats:  Interior waterborne clear satin varnish.

Retain finish system below for a waterborne full-gloss varnish finish over interior woodwork.  Revise finish system to suit products selected for Project.  Two finish coats of varnish are normal but more coats may be needed for some projects.  This finish is a waterborne alternative to solvent-based finishes.

3. Waterborne Stain Full-Gloss Varnish Finish:  [Two] <Insert number> finish coats of waterborne clear full-gloss varnish over a sealer coat and interior wood stain.  Wipe filler before applying stain.

Delete paste wood filler coat below for tight-grained wood such as birch or poplar.  Retain filler coat for oak and walnut and similar open-grain woods.

a. Filler Coat:  Open-grain wood filler.

b. Stain Coat:  Interior wood stain.

c. Sealer Coat:  Clear sanding sealer.

d. Finish Coats:  Interior waterborne clear gloss varnish.

Retain finish system below for a stain wax-polished finish over interior woodwork subject to normal use and moderate environments.  Three coats of wax are usually adequate for most work.

4. Alkyd-Based Stain Wax-Polished Finish:  [Three] <Insert number> finish coats of paste wax over a sealer coat and alkyd-based interior wood stain.

a. Stain Coat:  Interior wood stain.

b. Sealer Coat:  Clear sanding sealer.

c. Finish Coats:  Paste wax.

B. Natural-Finish Woodwork:  Provide the following natural finishes over new interior woodwork:

Retain finish system below for a rubbed-varnish finish over interior woodwork subject to normal use and moderate environments.  Revise finish system to suit products selected for Project.  Two finish coats of varnish are normal but more coats may be needed for some projects.

1. Alkyd-Based Satin-Varnish Finish:  [Two] <Insert number> finish coats of alkyd-based clear satin varnish over a sanding sealer.  Provide wood filler on open-grain wood before applying first varnish coat.

Delete paste wood filler coat below for tight-grained wood such as birch or poplar.  Retain filler coat for oak and walnut and similar open-grain woods.

a. Filler Coat:  Open-grain wood filler.

b. Sealer Coat:  Clear sanding sealer.

c. Finish Coats:  Interior alkyd- or polyurethane-based clear satin varnish.

Retain finish system below for a waterborne clear-stain-varnish finish over interior woodwork.  Revise finish system to suit products selected for Project.  Two finish coats of varnish are normal but more coats may be needed for some projects.  This finish is a waterborne alternative to solvent-based finishes.

2. Waterborne Satin-Varnish Finish:  [Two] <Insert number> finish coats of waterborne clear satin varnish over a sanding sealer.  Wipe wood filler before applying stain.

Delete paste wood filler coat below for tight-grained wood such as birch or poplar.  Retain filler coat for oak and walnut and similar open-grain woods.

a. Filler Coat:  Open-grain wood filler.

b. Sealer Coat:  Clear sanding sealer.

c. Finish Coats:  Interior waterborne clear satin varnish.

Retain finish system below for a waterborne full-gloss varnish finish over interior woodwork.  Revise finish system to suit products selected for Project.  Two finish coats of varnish are normal but more coats may be needed for some projects.  This finish is a waterborne alternative to solvent-based finishes.

3. Waterborne Full-Gloss Varnish Finish:  [Two] <Insert number> finish coats of waterborne clear full-gloss varnish over a sealer coat.  Wipe filler before applying stain.

Delete paste wood filler coat below for tight-grained wood such as birch or poplar.  Retain filler coat for oak and walnut and similar open-grain woods.

a. Filler Coat:  Open-grain wood filler.

b. Sealer Coat:  Clear sanding sealer.

c. Finish Coats:  Interior waterborne clear gloss varnish.

Retain finish system below for a wax-polished finish over interior woodwork subject to normal use and moderate environments.  Three coats of wax are usually adequate for most work.

4. Wax-Polished Finish:  [Three] <Insert number> finish coats of paste wax over a sanding-sealer first coat.

a. Sealer Coat:  Clear sanding sealer.

b. Finish Coats:  Paste wax.

END OF SECTION 09912

PAINTING (PROFESSIONAL LINE PRODUCTS)
09912 - 18

