Copyright 1998 AIA
MASTERSPEC
5/98

Devoe Paint (1/02)

Copyright 1998, The American Institute of Architects (AIA)

This PRODUCT MASTERSPEC section is licensed by ARCOM (1/02) for distribution by Devoe Paint. Changes made to MASTERSPEC by the manufacturer are indicated using underline/strikeout text. Review and accept changes according to project requirements and specifier's practice. The products listed are those considered by Devoe Paint to be comparable in quality to the products listed in MASTERSPEC. ARCOM and AIA do not recommend or endorse any manufacturers or products. For more information contact Devoe Paint, 925 Euclid Avenue, Cleveland, OH 44115. Phone: 216-344-8912. Fax: 216-263-0413.
SECTION 09960 - HIGH-PERFORMANCE COATINGS
This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 1 Specification Sections, apply to this Section.

1.2 SUMMARY

A. This Section includes surface preparation and field application of high-performance coating systems to items and surfaces scheduled.

B. Related Sections include the following:

List below only products and construction that the reader might expect to find in this Section but are specified elsewhere.

Primers in other Sections must be coordinated for compatibility with finish coats specified in this Section.  Review other Sections for shop-primed products and insert references for coordinating primers.

1. Division 5 Section "Structural Steel" for shop priming structural steel.

2. Division 5 Section "Formed-Metal Fabrications" for shop-primed ferrous metal.

3. Division 9 Section "Painting" for general field painting.

Retain below if alternates are specified in Division 1 for work in this Section.

C. Alternates:  Refer to Division 1 Section "Alternates" for description of Work in this Section affected by alternates.

If allowances or unit prices apply to work of this Section, insert brief paragraphs here to alert the Contractor and reference the appropriate Division 1 Section for specific details.

1.3 DEFINITIONS

Standard terms used by the coatings industry are defined in ASTM D 16.

A. Standard coating terms defined in ASTM D 16 apply to this Section.

B. Gloss ranges used in this Section include the following:

Delete gloss ranges below not required for Project.  Standard ranges were developed by NPCA.

1. Semigloss refers to medium-sheen finish with a gloss range between 30 and 65 when measured at a 60-degree meter.

2. High gloss refers to high-sheen finish with a gloss range more than 65 when measured at a 60-degree meter.

C. Environments:  The following terms are used in Part 2 of this Section to distinguish between different corrosive exposures:

1. "Severe environments" are highly corrosive industrial atmospheres with sustained exposure to high humidity and condensation and with frequent cleaning using strong chemicals.  Environments with heavy concentrations of strong chemical fumes and frequent splashing and spilling of harsh chemical products are severe environments.

2. "Moderate environments" are corrosive industrial atmospheres with intermittent exposure to high humidity and condensation, occasional mold and mildew development, and regular cleaning with strong chemicals.  Environments with exposure to heavy concentrations of chemical fumes and occasional splashing and spilling of chemical products are moderate environments.

3. "Mild environments" are industrial atmospheres with normal exposure to moderate humidity and condensation, occasional mold and mildew development, and infrequent cleaning with strong chemicals.  Environments with low levels of mild chemical fumes and occasional splashing and spilling of chemical products are mild environments.  Normal outdoor weathering is also considered a mild environment.

Coatings of the same generic type produced by different manufacturers may not perform identically.  If necessary, insert a "System Description" Article to specify performance requirements or limit selection only to manufacturers producing products that satisfy performance criteria higher than what is normally required.  See Evaluations for further discussion.

1.4 SUBMITTALS

Edit paragraph and subparagraphs below to suit Project and products required.

A. Product Data:  For each coating system indicated.  Include block fillers and primers.

1. Material List:  An inclusive list of required coating materials.  Indicate each material and cross-reference the specific coating, finish system, and application.  Identify each material by manufacturer's catalog number and general classification.

2. Manufacturer's Information:  Manufacturer's technical information, including label analysis and instructions for handling, storing, and applying each material specified.

Delete paragraph below if authorities having jurisdiction do not regulate use of VOCs or if no limits for VOC content are indicated elsewhere in this Section.  See Evaluations for further discussion.

B. Certification by manufacturer that products supplied comply with requirements indicated that limit the amount of VOCs in coating products.

Delete paragraph below if colors are preselected and specified or scheduled.

C. Samples for Initial Selection:  Manufacturer's color charts showing the full range of colors available for each type of finish-coat material indicated.

Revise subparagraph below if Architect reserves the right to make final color selection from field-applied samples.

1. After color selection, Architect will furnish color chips for surfaces to be coated.

Retain paragraph and subparagraphs below with or without paragraph and subparagraph above.

D. Samples for Verification:  For each color and material to be applied, with texture to simulate actual conditions, on representative samples of the actual substrate.

1. Provide stepped Samples defining each separate coat, including block fillers and primers.  Use representative colors when preparing Samples for review.  Resubmit until required sheen, color, and texture are achieved.

2. List of material and application for each coat of each sample.  Label each sample for location and application.

3. Submit samples on the following substrates for Architect's review of color and texture:

Select sample Submittals from those listed below to suit substrates required.

a. Concrete:  Provide two 4-inch- (100-mm-) square samples for each color and finish.

b. Concrete Masonry:  Provide two 8-inch- (200-mm-) square samples of masonry, with mortar joint in the center, for each finish and color.

c. Wood:  Provide two 12-inch- (300-mm-) square samples of each color and material on hardboard.

d. Ferrous and Nonferrous Metal:  Provide two 4-inch- (100-mm-) square samples of flat metal and two 8-inch- (200-mm-) long samples of solid metal for each color and finish.

E. Qualification Data:  For firms and persons specified in "Quality Assurance" Article to demonstrate their capabilities and experience.  Include lists of completed projects with project names and addresses, names and addresses of architects and owners, and other information specified.

1.5 QUALITY ASSURANCE

A. Applicator Qualifications:  Engage an experienced applicator who has completed high-performance coating system applications similar in material and extent to those indicated for Project and whose work has a record of successful in-service performance.

Always retain paragraph below.  Coating systems could fail if separate coats are incompatible.

B. Source Limitations:  Obtain primers and undercoat materials for each coating system from the same manufacturer as the finish coats.

Requirements in paragraph and subparagraphs below can be expensive if not carefully specified.  Delete if such requirements are unreasonable.  Retain for large projects and if applicator must possess special skills or take unusual care in application.  Revise to suit Project conditions.

C. Benchmark Samples (Mockups):  Provide a full-coat benchmark finish sample of each type of coating and substrate required.  Comply with procedures specified in PDCA P5.  Duplicate finish of approved sample Submittals.

1. Architect will select one room, area, or surface to represent surfaces and conditions for application of each type of coating and substrate.

a. Wall Surfaces:  Provide samples on at least 100 sq. ft. (9 sq. m) of wall surface.

b. Small Areas and Items:  Architect will designate items or areas required.

2. After permanent lighting and other environmental services have been activated, apply coatings in this room or to each surface as specified.  Provide the required sheen, color, and texture of each surface.

a. After finishes are accepted, Architect will use the room or surface to evaluate coating systems of a similar nature.

Revise below if Architect reserves the right to make final color selection from benchmark samples.

3. Final approval of colors will be from benchmark samples.

1.6 DELIVERY, STORAGE, AND HANDLING

A. Deliver materials to Project site in manufacturer's original, unopened packages and containers bearing manufacturer's name and label with the following information:

Add other label requirements to suit Project.

1. Name or title of material.

2. Product description (generic classification or binder type).

3. Manufacturer's stock number and date of manufacture.

4. Contents by volume, for pigment and vehicle constituents.

5. Thinning instructions.

6. Application instructions.

7. Color name and number.

8. Handling instructions and precautions.

B. Store materials not in use in tightly covered containers in a well-ventilated area at a minimum ambient temperature of 45 deg F (7 deg C).  Maintain containers used in storage in a clean condition, free of foreign materials and residue.

1. Protect materials from freezing.  Keep storage area neat and orderly.  Remove oily rags and waste daily.  Take necessary measures to ensure that workers and work areas are protected from fire and health hazards resulting from handling, mixing, and applying coatings.

If necessary, add special requirements for fire protection, heating, ventilation, and other conditions for storage areas on-site.

1.7 PROJECT CONDITIONS

Some manufacturers' products may require higher temperatures for proper curing.  Consult manufacturers and revise paragraph below to suit requirements for specific products, if necessary.

A. Apply coatings only when temperature of surfaces to be coated and surrounding air temperatures are between 45 and 95 deg F (7 and 35 deg C).

B. Do not apply coatings in snow, rain, fog, or mist; when relative humidity exceeds 85 percent; at temperatures less than 5 deg F (3 deg C) above the dew point; or to damp or wet surfaces.

1. Allow wet surfaces to dry thoroughly and attain temperature and conditions specified before proceeding with or continuing coating operation.

Delete below if application will not be permitted in inclement weather under any circumstances.

2. Work may continue during inclement weather only if areas and surfaces to be coated are enclosed and temperature within the area can be maintained within limits specified by manufacturer during application and drying periods.

1.8 EXTRA MATERIALS

Extra materials may not be allowed for publically funded projects.

A. Furnish extra high-performance coating materials from the same production run as materials applied and in quantities described below.  Package coating materials in unopened, factory-sealed containers for storage and identify with labels describing contents.

Two alternative subparagraphs below specify the quantity of extra materials required.  Select one and delete other.

Retain subparagraph below for projects that require large quantities of several categories of extra materials.

1. Quantity:  Furnish extra coating materials in quantities indicated below:

List below is an example only.  Add or delete coating materials and revise quantities to suit Project.  Some manufacturers use both 2- and 4-gal. 7.57- and 15.14-L cases.

a. High-Gloss, Aliphatic Polyurethane Enamel:  One case of each color applied.

b. Semigloss, Aliphatic Polyurethane Enamel:  2 gal. (7.57 L) of each color applied.

c. High-Gloss, Waterborne, Acrylic Enamel:  One case of each color applied.

d. Semigloss, Waterborne, Acrylic Enamel:  1 gal. (3.785 L) of each color applied.

e. High-Gloss, Polyamide Epoxy Coatings:  One case of each color applied.

f. Semigloss, Polyamide Epoxy Coatings:  One case of each color applied.

Retain subparagraph below for projects that require only limited quantities of extra materials.  If necessary, replace percentage with a specific number of gallons liters or cases and include an expanded description of the quantity of each material and color.

2. Quantity:  Furnish an additional 5 percent, but not less than 1 gal. (3.785 L) or 1 case, as appropriate, of each material and color applied.

PART 2 -  PRODUCTS

2.1 MANUFACTURERS

A. Available Products:  Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, products indicated in the coating system descriptions.

Retain above for nonproprietary or below for semiproprietary Specification.  Refer to Division 1 Section "Materials and Equipment."

B. Products:  Subject to compliance with requirements, provide one of the products indicated in the coating system descriptions.

C. Manufacturers' Names:  The following manufacturers are referred to in the coating system descriptions by shortened versions of their names shown in parenthesis:

Manufacturers in coating system descriptions produce an extensive line of nationally distributed high-performance coatings that are usually available locally.  Add local and regional manufacturers that produce similar products if appropriate.  Not every manufacturer produces every coating type contained in this Section.  Edit system description lists to suit Project requirements and local availability.  See Editing Instruction No. 1 in the Evaluations for cautions about naming products and manufacturers.

1. Carboline Company (Carboline).

2. Devoe Paint (Devoe).

3. DuPont Company, High Performance Coatings (DuPont).

4. ICI Dulux Paints; Devoe Coatings (ICI).

5. International Protective Coatings; Courtaulds Coatings (International).

6. Moore:  Benjamin Moore & Co. (Moore).

7. Pittsburgh Paint; PPG Industries, Inc. (PPG).

8. Rust-Oleum Corporation (R-O).

9. Sherwin Williams; Industrial and Marine Coatings (S-W).

10. Tnemec Company, Inc. (Tnemec).

11. <Insert manufacturer.>

2.2 COATINGS MATERIALS, GENERAL

Always retain paragraph below.  Systems could fail if coatings are incompatible.

A. Material Compatibility:  Provide primers, undercoats, and finish-coat materials that are compatible with one another and substrates indicated under conditions of service and application, as demonstrated by manufacturer based on testing and field experience.

B. Material Quality:  Provide manufacturer's highest grade of the various high-performance coatings specified.  Materials not displaying manufacturer's product identification are not acceptable.

Delete subparagraph below if Project requirements prohibit mentioning manufacturer's products.

1. Proprietary Names:  Use of manufacturer's proprietary product names to designate colors or materials is not intended to imply that products named are required to be used to the exclusion of equivalent products of other manufacturers.  Furnish manufacturer's material data and certificates of performance for proposed substitutions.

VOC rating below is limit proposed by the EPA for industrial maintenance coatings.  Some state and local jurisdictions may have more stringent requirements; other jurisdictions have no regulations.  Revise VOC rating to suit local regulations or Owner's requirements.  Consult manufacturers of products specified to verify that products comply with VOC limits indicated.

C. VOC Classification:  Provide high-performance coating materials, including primers, undercoats, and finish-coat materials, that have a VOC classification of 450 g/L or less.

2.3 COLORS

Retain one of three paragraphs below.  Note that color selection is often limited because some coating materials yellow or degrade under some environmental conditions.

A. Colors:  As indicated by manufacturer's designations.

B. Colors:  Match Architect's samples.

C. Colors:  As selected by Architect from manufacturer's full range.

2.4 EXTERIOR HIGH-PERFORMANCE COATING SYSTEMS

See Editing Instruction Nos. 2 through 5 in the Evaluations for guidance before editing systems below.  Consult coating manufacturers to determine product's suitability for intended application.  This Article includes examples of high-performance coating systems for different exterior substrates.  Retain only substrates and coating systems suitable for Project.

Flat finishes are not in this Article because flat high-performance coatings are seldom used on exteriors.  If flat finish is required, consult manufacturers for recommendation.  Most manufacturers make flat high-performance coatings that perform satisfactorily in these circumstances.

A. Concrete and Masonry (Other Than Concrete Masonry Units):  Provide the following finish systems over exterior concrete and brick masonry surfaces:

Retain system below for high-gloss polyurethane finish over concrete or brick masonry surfaces in severe and moderate environments.

1. Severe and Moderate Environments (High-Gloss Finish):  One finish coat over an intermediate coat and a primer.

a. Primer:  Epoxy primer applied at spreading rate recommended by manufacturer.

1) Carboline:  890 2-Component Epoxy.

2) Devoe:  Gardcote DP23U935 100% Solids Epoxy Penetrating Sealer.
3) DuPont:  25P High Solids Epoxy Mastic.

4) ICI:  Pre-Prime 167 100% Solids Epoxy Penetrating Sealer.

5) International:  Intergard 345 DTM Semi-Gloss Epoxy.

6) Moore:  M36-00/M37 Polyamide Epoxy Clear Sealer/Finish.

7) PPG:  97-14XX Series Pitt-Guard DTR Polyamide Epoxy Coating.

8) R-O:  9100 System High Performance Epoxy.

9) S-W:  Heavy Duty Epoxy B67W300 Series.

10) Tnemec:  Series 27 F. C. Typoxy Polyamide Epoxy.

System recommendations vary among manufacturers.  Retain subparagraph and associated subparagraphs below if manufacturer recommends epoxy intermediate coat.

b. Intermediate Coat:  Epoxy applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 3.0 to 8.0 mils (0.076 to 0.203 mm).

1) Carboline:  890 2-Component Epoxy.

2) Devoe:  High Glaze II DP56UXXX High Build Epoxy.
3) DuPont:  25P High Solids Epoxy Mastic.

4) ICI:  Devran 224HS High Build Epoxy.

5) S-W:  Heavy Duty Epoxy B67W300 Series.

6) Tnemec:  Series 84 H. S. Epoxy.

System recommendations vary among manufacturers.  Retain subparagraph and associated subparagraphs below if manufacturer recommends polyurethane intermediate coat.

c. Intermediate Coat:  Aliphatic polyurethane enamel applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 1.5 to 4.0 mils (0.038 to 0.102 mm).

1) Devoe:  Alithane DP52UXXX Aliphatic Urethane Gloss Enamel.

2) International:  Interthane 990 Low VOC Thin Film Polyurethane.

3) Moore:  M74/M75 Aliphatic Acrylic Urethane Gloss.

4) PPG:  97-8XXX Series Pitthane Acrylic-Aliphatic Urethane.

5) R-O:  9700 System High Solids Polyurethane Coating.

d. Topcoat:  High-gloss, aliphatic polyurethane enamel applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 1.5 to 4.0 mils (0.038 to 0.102 mm).

1) Carboline:  134-HS 2-Component Acrylic-Aliphatic Urethane.

2) Devoe:  Alithane DP52UXXX Aliphatic Urethane Gloss Enamel.

3) DuPont:  Imron 333 High Gloss Polyurethane Enamel.

4) ICI:  Devthane 369 Aliphatic Urethane Gloss Enamel.

5) International:  Interthane 990 Low VOC Thin Film Polyurethane.

6) Moore:  M74/M75 Aliphatic Acrylic Urethane Gloss.

7) PPG:  Pitthane Acrylic-Aliphatic Urethane 97-8XXX Series.

8) R-O:  9700 System High Solids Polyurethane Coatings.

9) S-W:  Corothane II Gloss B65W400 Series.

10) Tnemec:  Series 74 Endurashield Aliphatic Acrylic Polyurethane.

Retain system below for semigloss polyurethane finish over concrete or brick masonry surfaces in severe and moderate environments.  International and R-O do not make polyurethane semigloss products for use in these environments; contact these manufacturers if epoxy or another product is acceptable.

2. Severe and Moderate Environments (Semigloss Finish):  One finish coat over an intermediate coat and a primer.

a. Primer:  Epoxy primer/sealer applied at spreading rate recommended by manufacturer.

1) Carboline:  890 2-Component Epoxy.

2) DuPont:  25P High Solids Epoxy Mastic.

3) ICI:  Pre-Prime 167 100% Solids Epoxy Penetrating Sealer.

4) Moore:  M36-00/M37 Polyamide Epoxy Clear Sealer/Finish.

5) PPG:  97-14XX Series Pitt-Guard DTR Polyamide Epoxy Coating.

6) S-W:  Heavy Duty Epoxy B67W300 Series.

7) Tnemec:  Series 27 F. C. Typoxy Polyamide Epoxy.

System recommendations vary among manufacturers.  Retain subparagraph and associated subparagraphs below if manufacturer recommends epoxy intermediate coat.

b. Intermediate Coat:  Epoxy applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 3.0 to 8.0 mils (0.076 to 0.203 mm).

1) Carboline:  890 2-Component Epoxy.

2) DuPont:  25P High Solids Epoxy Mastic.

3) ICI:  Devran 224HS High Build Epoxy.

4) S-W:  Heavy Duty Epoxy B67W300 Series.

5) Tnemec:  Series 66 Hi-Build Epoxoline Polamidoamine Epoxy.

System recommendations vary among manufacturers.  Retain subparagraph and associated subparagraphs below if manufacturer recommends polyurethane intermediate coat.

c. Intermediate Coat:  Aliphatic polyurethane enamel applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 2.0 to 4.0 mils (0.051 to 0.102 mm).

1) Moore:  M73/M75 Aliphatic Acrylic Urethane Semi-Gloss.

2) PPG:  97-8XXX Series Pitthane High Build Acrylic-Aliphatic Urethane.

d. Topcoat:  Semigloss, aliphatic polyurethane enamel applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 2.0 to 4.0 mils (0.051 to 0.102 mm).

1) Carboline:  133-HB 2-Component Aliphatic Polyurethane.

2) DuPont:  Imron 326 (13P) Semi-Gloss Polyurethane Enamel.

3) ICI:  Devthane 378 Aliphatic Urethane Semi-Gloss Enamel.

4) Moore:  M73/M75 Aliphatic Acrylic Urethane Semi-Gloss.

5) PPG:  97-8XXX Series Pitthane High Build Acrylic-Aliphatic Urethane.

6) S-W:  Corothane II Low VOC Satin Finish B65W200 Series.

7) Tnemec:  Series 75 Endurashield Aliphatic Acrylic Polyurethane.

Retain system below for high-gloss acrylic finish over concrete or brick masonry surfaces in mild environment.  Carboline does not make high-gloss acrylic products for use in this environment; contact Carboline if alternative product is acceptable.

3. Mild Environment (High-Gloss Finish):  One finish coat over an intermediate coat and a primer.

a. Primer:  Acrylic primer applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 1.5 to 3.0 mils (0.038 to 0.076 mm).

1) Devoe:  DP8502; Mirrolac–WB Interior /Exterior Waterborne DTM Primer and Finish.

2) DuPont:  310 Acrylic Emulsion.

3) ICI:  Devflex 4020 DTM Flat Interior/Exterior Waterborne Primer and Finish.

4) International:  Interlock 6015 Waterborne Acrylic Sealer.

5) Moore:  M04 Acrylic Primer.

6) PPG:  6-603 Speedhide Interior/Exterior Acrylic Latex Alkali Resistant Primer.

7) R-O:  5269/5281 System Labor Saver Industrial Enamel High Performance Acrylic Primers.

8) S-W:  Loxon Exterior Masonry Acrylic Primer A24W300.

9) Tnemec:  Series 18 Enviroprime.

b. Intermediate Coat:  Acrylic enamel applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 1.5 to 4.0 mils (0.038 to 0.102 mm).

1) Devoe:  Mirrolac WB DP84XX High Performance Acrylic Int. / Ext. Gloss Finish.

2) DuPont:  Tufcote 72P Waterborne Acrylic Enamel.

3) ICI:  Devflex 4208 Interior/Exterior Waterborne Acrylic Gloss Enamel.

4) International:  Intercryl 530 WB Waterborne Acrylic Gloss Finish.

5) Moore:  M28 Acrylic Gloss Enamel.

6) PPG:  90-3XX Series Pitt-Tech One Pack Interior/Exterior High Performance Waterborne High Gloss DTM Industrial Enamel.

7) R-O:  5200 System Labor Saver Industrial Enamel High Performance Acrylic Gloss Finish.

8) S-W:  DTM Acrylic Gloss Coating B66W100 Series.

9) Tnemec:  Series 28 Tufcryl Acrylic Emulsion.

c. Topcoat:  Acrylic enamel applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 1.5 to 4.0 mils (0.038 to 0.102 mm).

1) Devoe:  Mirrolac WB DP84XX High Performance Acrylic Int. / Ext. Gloss Finish.

2) DuPont:  Tufcote 72P Waterborne Acrylic Enamel.

3) ICI:  Devflex 4208 Interior/Exterior Waterborne Acrylic Gloss Enamel.

4) International:  Intercryl 530 WB Waterborne Acrylic Gloss Finish.

5) Moore:  M28 Acrylic Gloss Enamel.

6) PPG:  90-3XX Series Pitt-Tech One Pack Interior/Exterior High Performance Waterborne High Gloss DTM Industrial Enamel.

7) R-O:  5200 System Labor Saver Industrial Enamel High Performance Acrylic Gloss Finish.

8) S-W:  DTM Acrylic Gloss Coating B66W100 Series.

9) Tnemec:  Series 28 Tufcryl Acrylic Emulsion.

Retain system below for semigloss acrylic finish over concrete or brick masonry surfaces in mild environment.

4. Mild Environment (Semigloss Finish):  One finish coat over an intermediate coat and a primer.

a. Primer:  Acrylic primer applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 1.5 to 3.5 mils (0.038 to 0.089 mm).

1) Carboline:  Multi-Bond 120 Waterborne Acrylic Primer.

2) Devoe:  DP8502; Mirrolac–WB Interior /Exterior Waterborne DTM Primer and Finish.

3) DuPont:  310 Acrylic Emulsion.

4) ICI:  Devflex 4020 DTM Flat Interior/Exterior Waterborne Primer and Finish.

5) International:  Interlock 6015 Waterborne Acrylic Sealer.

6) Moore:  M04 Acrylic Primer.

7) PPG:  6-603 Speedhide Interior/Exterior Acrylic Latex Alkali Resistant Primer.

8) R-O:  5269/5281 System Labor Saver Industrial Enamel High Performance Acrylic Primers.

9) S-W:  Loxon Exterior Masonry Acrylic Primer A24W300.

10) Tnemec:  Series 18 Enviroprime.

b. Intermediate Coat:  Acrylic enamel applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 1.5 to 4.0 mils (0.038 to 0.102 mm).

1) Carboline:  3359 Waterborne Acrylic.

2) Devoe:  Mirrolac WB DP83XX High Performance Acrylic Int. / Ext. Semi-Gloss Finish.

3) DuPont:  Tufcote 72P Waterborne Acrylic Enamel.

4) ICI:  Devflex 4206 Interior/Exterior Waterborne Acrylic Semi-Gloss Enamel.

5) International:  Intercryl 520 WB Waterborne Acrylic Semi-Gloss Finish.

6) Moore:  M29 D.T.M. Acrylic Semi-Gloss.

7) PPG:  90-4XX Series Pitt-Tech One Pack Interior/Exterior High Performance Waterborne Satin DTM Industrial Enamel.

8) R-O:  5200 System Labor Saver Industrial Enamel High Performance Acrylic Semigloss Finish.

9) S-W:  DTM Acrylic Semi-Gloss Coating B66W200 Series.

10) Tnemec:  Series 29 Tufcryl Acrylic Emulsion.

c. Topcoat:  Acrylic enamel applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 1.5 to 4.0 mils (0.038 to 0.102 mm).

1) Carboline:  3359 Waterborne Acrylic.

2) Devoe:  Mirrolac WB DP83XX High Performance Acrylic Int. / Ext. Semi- Gloss Finish.

3) DuPont:  Corlar 76P 2-Component Waterborne Acrylic Epoxy Enamel.

4) ICI:  Devflex 4206 Interior/Exterior Waterborne Acrylic Semi-Gloss Enamel.

5) International:  Intercryl 520 WB Waterborne Acrylic Semi-Gloss Finish.

6) Moore:  M29 D.T.M. Acrylic Semi-Gloss.

7) PPG:  90-4XX Series Pitt-Tech One Pack Interior/Exterior High Performance Waterborne Satin DTM Industrial Enamel.

8) R-O:  5200 System Labor Saver Industrial Enamel High Performance Acrylic Semigloss Finish.

9) S-W:  DTM Acrylic Semi-Gloss Coating B66W200 Series.

10) Tnemec:  Series 28 Tufcryl Acrylic Emulsion.

B. Concrete Masonry Units:  Provide the following finish systems over exterior concrete masonry block:

Retain system below for high-gloss polyurethane finish over concrete masonry block in severe and moderate environments.

1. Severe and Moderate Environments (High-Gloss Finish):  One finish coat over an intermediate coat and a block filler.

a. Block Filler:  Acrylic or epoxy block filler applied at spreading rate recommended by manufacturer as sufficient to fill pores.

1) Carboline:  Flexide Masonry Block Filler.

2) Devoe:  High Glaze II DP56UXXX High Build Epoxy.
3) DuPont:  300P Latex Block Filler.

4) ICI:  Devran 224HS High Build Epoxy.

5) International:  Interlac 895 Epoxy Ester Block Filler.

6) Moore:  M31/M32 Waterborne Epoxy Block Filler.

7) PPG:  97-68X Series Aquapon Polyamide-Epoxy Block Filler.

8) R-O:  5199 Block Filler Surfa-Sele.

9) S-W:  Epoxy Ester Masonry Filler/Sealer B61W2.

10) Tnemec:  Series 130 Envirofill Waterborne Cementitious Acrylic.

System recommendations vary among manufacturers.  Retain subparagraph and associated subparagraphs below if manufacturer recommends epoxy intermediate coat.

b. Intermediate Coat:  Epoxy applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 3.0 to 8.0 mils (0.076 to 0.203 mm).

1) Carboline:  890 2-Component Epoxy.

2) Devoe:  High Glaze II DP56UXXX High Build Epoxy.
3) DuPont:  25P High Solids Epoxy Mastic.

4) ICI:  Devran 224HS High Build Epoxy.

5) R-O:  9100 System High Performance Epoxy.

6) S-W:  Heavy Duty Epoxy B67W300 Series.

7) Tnemec:  Series 66 Hi-Build Epoxoline Polamidoamine Epoxy.

System recommendations vary among manufacturers.  Retain subparagraph and associated subparagraphs below if manufacturer recommends polyurethane intermediate coat.

c. Intermediate Coat:  Aliphatic polyurethane enamel applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 1.5 to 4.0 mils (0.038 to 0.102 mm).

1) Devoe:  Alithane DP52UXXX Aliphatic Urethane Gloss Enamel.

2) International:  Interthane 990 Low VOC Thin Film Polyurethane.

3) Moore:  M74/M75 Aliphatic Acrylic Urethane Gloss.

4) PPG:  97-8XXX Series Pitthane Acrylic-Aliphatic Urethane Enamel.

d. Topcoat:  High-gloss, aliphatic polyurethane enamel applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 1.5 to 4.0 mils (0.038 to 0.102 mm).

1) Carboline:  134-HS 2-Component Acrylic-Aliphatic Urethane.

2) Devoe:  Alithane DP52UXXX Aliphatic Urethane Gloss Enamel.

3) DuPont:  Imron 333 High Gloss Polyurethane Enamel.

4) ICI:  Devthane 369 Aliphatic Urethane Gloss Enamel.

5) International:  Interthane 990 Low VOC Thin Film Polyurethane.

6) Moore:  M74/M75 Aliphatic Acrylic Urethane Gloss.

7) PPG:  97-8XXX Series Pitthane Acrylic-Aliphatic Urethane Enamel.

8) R-O:  9700 System High Solids Polyurethane Coating.

9) S-W:  Corothane II Gloss B65W400 Series.

10) Tnemec:  Series 74 Endura-Shield Gloss Aliphatic Acrylic Polyurethane.

Retain system below for semigloss polyurethane finish over concrete masonry block in severe environment.  International and R-O do not make polyurethane semigloss products for use in this environment; contact these manufacturers if epoxy or another product is acceptable.

2. Severe and Moderate Environments (Semigloss Finish):  One finish coat over an intermediate coat and a block filler.

a. Block Filler:  Acrylic or epoxy block filler applied at spreading rate recommended by manufacturer as sufficient to fill pores.

1) Carboline:  Flexide Masonry Block Filler.

2) DuPont:  300P Latex Block Filler.

3) ICI:  Devran 224HS High Build Epoxy.

4) Moore:  M31/M32 Waterborne Epoxy Block Filler.

5) PPG:  97-68X Series Aquapon Polyamide-Epoxy Block Filler.

6) S-W:  Epoxy Ester Masonry Filler/Sealer B61W2.

7) Tnemec:  Series 130 Envirofill Waterborne Cementitious Acrylic.

System recommendations vary among manufacturers.  Retain subparagraph and associated subparagraphs below if manufacturer recommends epoxy intermediate coat.

b. Intermediate Coat:  Epoxy applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 3.0 to 8.0 mils (0.076 to 0.203 mm).

1) Carboline:  890 2-Component Epoxy.

2) DuPont:  25P High Solids Epoxy Mastic.

3) ICI:  Devran 224HS High Build Epoxy.

4) Tnemec:  Series 66 Hi-Build Epoxoline Polamidoamine Epoxy.

System recommendations vary among manufacturers.  Retain subparagraph and associated subparagraphs below if manufacturer recommends polyurethane intermediate coat.

c. Intermediate Coat:  Aliphatic polyurethane enamel applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 1.5 to 4.0 mils (0.038 to 0.102 mm).

1) Moore:  M74/M75 Aliphatic Acrylic Urethane Gloss.

2) PPG:  97-84XX Series Pitthane High Build Acrylic-Aliphatic Urethane Enamel.

3) S-W:  Corothane II Gloss B65W400 Series.

d. Topcoat:  Semigloss, aliphatic polyurethane enamel applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 1.5 to 4.0 mils (0.038 to 0.102 mm).

1) Carboline:  133-HB 2-Component Aliphatic Polyurethane.

2) DuPont:  Imron 326 (13P) Semi-Gloss Polyurethane Enamel.

3) ICI:  Devthane 378 Aliphatic Urethane Semi-Gloss Enamel.

4) Moore:  M73/M75 Aliphatic Acrylic Urethane Semi-Gloss.

5) PPG:  97-84XX Series Pitthane High Build Acrylic-Aliphatic Urethane Enamel.

6) S-W:  Corothane II Low VOC Satin Finish B65W200 Series.

7) Tnemec:  Series 75 Endura-Shield Semi-Gloss Aliphatic Acrylic Polyurethane.

Retain system below for high-gloss acrylic finish over concrete masonry block in mild environment.  Carboline does not make high-gloss acrylic products for use in this environment; contact Carboline if alternative product is acceptable.

3. Mild Environment (High-Gloss Finish):  One finish coat over an intermediate coat and a block filler.

a. Block Filler:  Acrylic or epoxy block filler applied at spreading rate recommended by manufacturer as sufficient to fill pores.

1) Devoe:  DP89301; Bloktex Heavy Duty Interior / Exterior Acrylic Block Filler.

2) DuPont:  300P Latex Block Filler.

3) ICI:  Bloxfil 4000 Interior/Exterior Heavy Duty Acrylic Block Filler.

4) International:  Acri-Fil 896 Acrylic Block Filler.

5) Moore:  M88-01 Acrylic Latex Block Filler.

6) PPG:  16-90 Pitt-Glaze High Performance Acrylic Latex Block Filler.

7) R-O:  5199 Block Filler Surfa-Sele.

8) S-W:  Heavy Duty Block Filler B42W46.

9) Tnemec:  Latex Masonry Block Filler.

b. Intermediate Coat:  Acrylic enamel applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 1.5 to 4.0 mils (0.038 to 0.102 mm).

1) Devoe:  Mirrolac WB DP84XX High Performance Acrylic Int. / Ext. Gloss Finish.

2) DuPont:  Tufcote 72P Waterborne Acrylic Enamel.

3) ICI:  Devflex 4208 Interior/Exterior Waterborne Acrylic Gloss Enamel.

4) International:  Intercryl 530 WB Waterborne Acrylic Gloss Finish.

5) Moore:  M28 Acrylic Gloss Enamel.

6) PPG:  90-3XX Series Pitt-Tech One Pack Interior/Exterior High Performance Waterborne High Gloss DTM Industrial Enamels.

7) R-O:  5200 System Labor Saver Industrial Enamel High Performance Acrylic Gloss Finish.

8) S-W:  DTM Acrylic Gloss Coating B66W100 Series.

9) Tnemec:  Series 28 Tufcryl Acrylic Emulsion.

c. Topcoat:  High-gloss acrylic enamel applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 1.5 to 4.0 mils (0.038 to 0.102 mm).

1) Devoe:  Mirrolac WB DP84XX High Performance Acrylic Int. / Ext. Gloss Finish.

2) DuPont:  Tufcote 72P Waterborne Acrylic Enamel.

3) ICI:  Devflex 4208 Interior/Exterior Waterborne Acrylic Gloss Enamel.

4) International:  Intercryl 530 WB Waterborne Acrylic Gloss Finish.

5) Moore:  M28 Acrylic Gloss Enamel.

6) PPG:  90-3XX Series Pitt-Tech One Pack Interior/Exterior High Performance Waterborne High Gloss DTM Industrial Enamels.

7) R-O:  5200 System Labor Saver Industrial Enamel High Performance Acrylic Gloss Finish.

8) S-W:  DTM Acrylic Gloss Coating B66W100 Series.

9) Tnemec:  Series 28 Tufcryl Acrylic Emulsion.

Retain system below for semigloss acrylic finish over concrete masonry block in mild environment.

4. Mild Environment (Semigloss Finish):  One finish coat over an intermediate coat and a block filler.

a. Block Filler:  Acrylic or epoxy block filler applied at spreading rate recommended by manufacturer as sufficient to fill pores.

1) Carboline:  Flexide Masonry Block Filler.

2) Devoe:  DP89301; Bloktex Heavy Duty Interior / Exterior Acrylic Block Filler

3) DuPont:  300P Latex Block Filler.

4) ICI:  Bloxfil 4000 Interior/Exterior Heavy Duty Acrylic Block Filler.

5) International:  Acri-Fil 896 Acrylic Block Filler.

6) Moore:  M31/M32 Waterborne Epoxy Block Filler.

7) PPG:  16-90 Pitt-Glaze High Performance Acrylic Latex Block Filler.

8) R-O:  5199 Block Filler Surfa-Sele.

9) S-W:  Heavy Duty Block Filler B42W46.

10) Tnemec:  Latex Masonry Block Filler.

b. Intermediate Coat:  Acrylic enamel applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 1.5 to 4.0 mils (0.038 to 0.102 mm).

1) Carboline:  3350 Acrylic Latex.

2) Devoe:  Mirrolac WB DP83XX High Performance Acrylic Int. / Ext. Semi- Gloss Finish.

3) DuPont:  Tufcote 72P Waterborne Acrylic Enamel.

4) ICI:  Devflex 4206 Interior/Exterior Waterborne Acrylic Semi-Gloss Enamel.

5) International:  Intercryl 520 WB Waterborne Acrylic Semi-Gloss Finish.

6) Moore:  M29 D.T.M. Acrylic Semi-Gloss.

7) PPG:  90-4XX Series Pitt-Tech One Pack Interior/Exterior High Performance Waterborne Satin DTM Industrial Enamel.

8) R-O:  5200 System Labor Saver Industrial Enamel High Performance Acrylic Semigloss Finish.

9) S-W:  DTM Acrylic Semi-Gloss Coating B66W200 Series.

10) Tnemec:  Series 29 Tufcryl Acrylic Emulsion.

c. Topcoat:  Semigloss acrylic enamel applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 1.5 to 4.0 mils (0.038 to 0.102 mm).

1) Carboline:  3350 Acrylic Latex.

2) Devoe:  Mirrolac WB DP83XX High Performance Acrylic Int. / Ext. Semi- Gloss Finish.

3) DuPont:  Corlar 76P 2-Component Waterborne Acrylic Epoxy Enamel.

4) ICI:  Devflex 4206 Interior/Exterior Waterborne Acrylic Semi-Gloss Enamel.

5) International:  Intercryl 520 WB Waterborne Acrylic Semi-Gloss Finish.

6) Moore:  M29 D.T.M. Acrylic Semi-Gloss.

7) PPG:  90-4XX Series Pitt-Tech One Pack Interior/Exterior High Performance Waterborne Satin DTM Industrial Enamel.

8) R-O:  5200 System Labor Saver Industrial Enamel High Performance Acrylic Semigloss Finish.

9) S-W:  DTM Acrylic Semi-Gloss Coating B66W200 Series.

10) Tnemec:  Series 29 Tufcryl Acrylic Emulsion.

C. Wood:  Provide the following finish systems over exterior wood surfaces:

High-performance coating systems for use on wood in severe and moderate exterior environments are not in this Section.  Wood is seldom used on the exterior in situations where applying high-performance coatings is advisable.  Consult manufacturers for recommendation if wood is used in such situations.  Most manufacturers can recommend products that will perform satisfactorily in severe or moderate environments.

Retain system below for high-gloss acrylic finish over wood in mild environment.  Carboline does not make high-gloss products for use in this environment; contact Carboline if alternative product is acceptable.

1. Mild Environment (High-Gloss Finish):  One finish coat over an intermediate coat and a primer.

a. Primer:  Acrylic or alkyd primer applied at spreading rate recommended by manufacturer.

1) Devoe:  DR51801 Kilstain-WB Primer-Sealer.

2) DuPont:  310 Acrylic Emulsion.

3) ICI:  Ultra-Hide 3210 Aquacrylic Gripper Stain Killer Primer-Sealer.

4) International:  515 Acrylic Bonding Primer.

5) Moore:  M04 Acrylic Primer.

6) PPG:  17-21 Seal Grip Interior/Exterior Acrylic Latex Stain Blocking Primer.

7) R-O:  5269/5281 System Labor Saver Industrial Enamel High Performance Acrylic Primers.

8) S-W:  A-100 Alkyd Exterior Wood Primer Y24W20.

9) Tnemec:  Series 51-792 PVA Sealer.

b. Intermediate Coat:  Acrylic enamel applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 1.5 to 4.0 mils (0.038 to 0.102 mm).

1) Devoe:  Mirrolac WB DP84XX High Performance Acrylic Int. / Ext. Gloss Finish.

2) DuPont:  Tufcote 72P Waterborne Acrylic Enamel.

3) ICI:  Devflex 4208 Interior/Exterior Waterborne Acrylic Gloss Enamel.

4) International:  Intercryl 530 WB Waterborne Acrylic Gloss Finish.

5) Moore:  M28 Acrylic Gloss Enamel.

6) PPG:  90-3XX Series Pitt-Tech One Pack Interior/Exterior High Performance Waterborne Gloss DTM Industrial Enamel.

7) R-O:  5200 System Labor Saver Industrial Enamel High Performance Acrylic Gloss Finish.

8) S-W:  DTM Acrylic Gloss Coating B66W100 Series.

9) Tnemec:  Series 28 Tufcryl Acrylic Emulsion.

c. Topcoat:  High-gloss acrylic enamel applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 1.5 to 4.0 mils (0.038 to 0.102 mm).

1) Devoe:  Mirrolac WB DP84XX High Performance Acrylic Int. / Ext. Gloss Finish.

2) DuPont:  Tufcote 72P Waterborne Acrylic Enamel.

3) ICI:  Devflex 4208 Interior/Exterior Waterborne Acrylic Gloss Enamel.

4) International:  Intercryl 530 WB Waterborne Acrylic Gloss Finish.

5) Moore:  M28 Acrylic Gloss Enamel.

6) PPG:  90-3XX Series Pitt-Tech One Pack Interior/Exterior High Performance Waterborne Gloss DTM Industrial Enamel.

7) R-O:  5200 System Labor Saver Industrial Enamel High Performance Acrylic Gloss Finish.

8) S-W:  DTM Acrylic Gloss Coating B66W100 Series.

9) Tnemec:  Series 28 Tufcryl Acrylic Emulsion.

Retain system below for semigloss acrylic finish over wood in mild environment.

2. Mild Environment (Semigloss Finish):  One finish coat over an intermediate coat and a primer.

a. Primer:  Acrylic emulsion or alkyd primer applied at spreading rate recommended by manufacturer.

1) Carboline:  Multi-Bond 120.

2) Devoe:  DR51801 Kilstain-WB Primer-Sealer.

3) DuPont:  310 Acrylic Emulsion.

4) ICI:  Ultra-Hide 3210 Aquacrylic Gripper Stain Killer Primer-Sealer.

5) International:  515 Acrylic Bonding Primer.

6) Moore:  M04 Acrylic Primer.

7) PPG:  17-21 Seal Grip Interior/Exterior Acrylic Latex Stain Blocking Primer.

8) R-O:  5269/5281 System Labor Saver Industrial Enamel High Performance Acrylic Primers.

9) S-W:  A-100 Alkyd Exterior Wood Primer Y24W20.

10) Tnemec:  Series 51-792 PVA Sealer.

b. Intermediate Coat:  Acrylic enamel applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 1.5 to 4.0 mils (0.038 to 0.102 mm).

1) Carboline:  3350 Acrylic Latex. 

2) Devoe:  Mirrolac WB DP83XX High Performance Acrylic Int. / Ext. Semi- Gloss Finish.

3) DuPont:  Tufcote 72P Waterborne Acrylic Enamel.

4) ICI:  Devflex 4206 Interior/Exterior Waterborne Acrylic Semi-Gloss Enamel.

5) International:  Intercryl 520 WB Waterborne Acrylic Semi-Gloss Finish.

6) Moore:  M29 D.T.M. Acrylic Semi-Gloss.

7) PPG:  90-4XX Series Pitt-Tech One Pack Interior/Exterior High Performance Waterborne Satin DTM Industrial Enamel.

8) R-O:  5200 System Labor Saver Industrial Enamel High Performance Acrylic Semigloss Finish.

9) S-W:  DTM Acrylic Semi-Gloss Coating B66W200 Series.

10) Tnemec:  Series 29 Tufcryl Acrylic Emulsion.

c. Topcoat:  Acrylic enamel applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 1.5 to 4.0 mils (0.038 to 0.102 mm).

1) Carboline:  3350 Acrylic Latex.

2) Devoe:  Mirrolac WB DP83XX High Performance Acrylic Int. / Ext. Semi- Gloss Finish

3) DuPont:  Corlar 76P 2-Component Waterborne Acrylic Epoxy Enamel.

4) ICI:  Devflex 4206 Interior/Exterior Waterborne Acrylic Semi-Gloss Enamel.

5) International:  Intercryl 520 WB Waterborne Acrylic Semi-Gloss Finish.

6) Moore:  M29 D.T.M. Acrylic Semi-Gloss.

7) PPG:  90-4XX Series Pitt-Tech One Pack Interior/Exterior High Performance Waterborne Satin DTM Industrial Enamel.

8) R-O:  5200 System Labor Saver Industrial Enamel High Performance Acrylic Semigloss Finish.

9) S-W:  DTM Acrylic Semi-Gloss Coating B66W200 Series.

10) Tnemec:  Series 28 Tufcryl Acrylic Emulsion.

D. Ferrous Metal:  Provide the following finish systems over exterior ferrous-metal surfaces:

Retain system below for high-gloss polyurethane finish over ferrous metal in severe environment.

1. Severe Environment (High-Gloss Finish):  One finish coat over an intermediate coat and a primer.

a. Primer:  Epoxy primer applied at spreading rate recommended by manufacturer.

1) Carboline:  893 2-Component Cross-Linked Epoxy.

2) Devoe:  High Glaze II DP56UXXX High Build Epoxy.
3) DuPont:  25P High Solids Epoxy Mastic.

4) ICI:  Devran 224HS High Build Epoxy.

5) International:  Intergard 251 Thin Film Polyamide Epoxy Rust Inhibitive Primer.

6) Moore:  M36-00/M37 Polyamide Epoxy Clear Sealer/Finish.

7) PPG:  97-14XX Series Pitt-Guard DTR Polyamide Epoxy Coating.

8) R-O:  9100 System High Performance Epoxy.

9) S-W:  Recoatable Epoxy Primer B67 Series/B67V5.

10) Tnemec:  Series 27 F. C. Typoxy Polyamide Epoxy.

System recommendations vary among manufacturers.  Retain subparagraph and associated subparagraphs below if manufacturer recommends epoxy intermediate coat.

b. Intermediate Coat:  Epoxy applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 3.0 to 8.0 mils (0.076 to 0.203 mm).

1) Carboline:  890 2-Component Epoxy.

2) Devoe:  High Glaze II DP56UXXX High Build Epoxy.
3) DuPont:  25P High Solids Epoxy Mastic.

4) International:  Intergard 345 DTM Semi-Gloss Epoxy.

5) S-W:  Heavy Duty Epoxy B67W300 Series.

6) Tnemec:  Series 66 Hi-Build Epoxoline II Polyamide Epoxy.

System recommendations vary among manufacturers.  Retain subparagraph and associated subparagraphs below if manufacturer recommends polyurethane intermediate coat.

c. Intermediate Coat:  Aliphatic polyurethane enamel applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 1.5 to 4.0 mils (0.038 to 0.1.02 mm).

1) ICI:  Devthane 369 Aliphatic Urethane Gloss Enamel.

2) Devoe:  Alithane DP52UXXX Aliphatic Urethane Gloss Enamel

3) Moore:  M74/M75 Aliphatic Acrylic Urethane Gloss.

4) PPG:  97-8XXX Series Pitthane Acrylic-Aliphatic Urethane Enamel.

5) R-O:  9700 System High Solids Polyurethane Coating.

d. Topcoat:  Aliphatic polyurethane enamel applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 1.5 to 4.0 mils (0.038 to 0.102 mm).

1) Carboline:  134-HS 2-Component Acrylic-Aliphatic Urethane.

2) Devoe:  Alithane DP52UXXX Aliphatic Urethane Gloss Enamel.

3) DuPont:  Imron 333 High Gloss Polyurethane Enamel.

4) ICI:  Devthane 369 Aliphatic Urethane Gloss Enamel.

5) International:  Interthane 990 Low VOC Thin Film Polyurethane.

6) Moore:  M74/M75 Aliphatic Acrylic Urethane Gloss.

7) PPG:  97-8XXX Series Pitthane Acrylic-Aliphatic Urethane Enamel.

8) R-O:  9700 System High Solids Polyurethane Coating.

9) S-W:  Corothane II Gloss B65W400 Series.

10) Tnemec:  Series 74 Endura-Shield.

Retain system below for semigloss polyurethane finish over ferrous metal in severe environment.  International and R-O do not make polyurethane semigloss products for use in this environment; contact these manufacturers if epoxy or another product is acceptable.

2. Severe Environment (Semigloss Finish):  One finish coat over an intermediate coat and a primer.

a. Primer:  Epoxy primer applied at spreading rate recommended by manufacturer.

1) Carboline:  893 2-Component Cross-Linked Epoxy.

2) DuPont:  25P High Solids Epoxy Mastic.

3) ICI:  Devran 224HS High Build Epoxy.

4) Moore:  M36-00/M37 Polyamide Epoxy Clear Sealer/Finish.

5) PPG:  97-14XX Series Pitt-Guard DTR Polyamide Epoxy Coating.

6) S-W:  Recoatable Epoxy Primer B67 Series/B67V5.

7) Tnemec:  Series 27 F. C. Typoxy Polyamide Epoxy.

System recommendations vary among manufacturers.  Retain subparagraph and associated subparagraphs below if manufacturer recommends epoxy intermediate coat.

b. Intermediate Coat:  Epoxy applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 3.0 to 5.0 mils (0.076 to 0.127 mm).

1) Carboline:  890 2-Component Epoxy.

2) DuPont:  25P High Solids Epoxy Mastic.

3) S-W:  Heavy Duty Epoxy B67W300 Series.

4) Tnemec:  Series 66 Hi-Build Epoxoline.

System recommendations vary among manufacturers.  Retain subparagraph and associated subparagraphs below if manufacturer recommends polyurethane intermediate coat.

c. Intermediate Coat:  Aliphatic polyurethane enamel applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 1.5 to 4.0 mils (0.038 to 0.102 mm).

1) ICI:  Devthane 378 Aliphatic Urethane Semi-Gloss Enamel.

2) Moore:  M73/M75 Aliphatic Acrylic Urethane Semi-Gloss.

3) PPG:  97-84XX Series Pitthane High Build Acrylic-Aliphatic Urethane Enamel.

d. Topcoat:  Aliphatic polyurethane enamel applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 1.5 to 4.0 mils (0.038 to 0.102 mm).

1) Carboline:  133-HB 2-Component Aliphatic Polyurethane.

2) DuPont:  Imron 326 (13P) Semi-Gloss Polyurethane Enamel.

3) ICI:  Devthane 378 Aliphatic Urethane Semi-Gloss Enamel.

4) Moore:  M73/M75 Aliphatic Acrylic Urethane Semi-Gloss.

5) PPG:  97-84XX Series Pitthane High Build Acrylic-Aliphatic Urethane Enamel.

6) S-W:  Corothane II Satin B65W400 Series.

7) Tnemec:  Series 75 Endura-Shield.

Retain system below for high-gloss polyurethane finish over ferrous metal in moderate environment.

3. Moderate Environment (High-Gloss Finish):  One finish coat over an intermediate coat and a primer.

a. Primer:  Epoxy primer applied at spreading rate recommended by manufacturer.

1) Carboline:  893 2-Component Cross-Linked Epoxy.

2) Devoe:  High Glaze II DP56UXXX High Build Epoxy
3) DuPont:  25P High Solids Epoxy Mastic.

4) ICI:  Devran 224HS High Build Epoxy Coating.

5) International:  Intergard 251 Thin Film Polyamide Epoxy Rust Inhibitive Primer.

6) Moore:  M36-00/M37 Polyamide Epoxy Clear Sealer/Finish.

7) PPG:  97-14XX Series Pitt-Guard DTR Polyamide Epoxy Coating.

8) R-O:  9100 System High Performance Epoxy.

9) S-W:  Recoatable Epoxy Primer B67 Series/B67V5.

10) Tnemec:  Series 27 F. C. Typoxy Polyamide Epoxy.

System recommendations vary among manufacturers.  Retain subparagraph and associated subparagraphs below if manufacturer recommends epoxy intermediate coat.

b. Intermediate Coat:  Epoxy applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 3.0 to 5.0 mils (0.076 to 0.127 mm).

1) Carboline:  890 2-Component Epoxy.

2) Devoe:  High Glaze II DP56UXXX High Build Epoxy.
3) DuPont:  25P High Solids Epoxy Mastic.

4) S-W:  Heavy Duty Epoxy B67W300 Series.

5) Tnemec:  Series 66 Hi-Build Epoxoline Polamidoamine Epoxy.

System recommendations vary among manufacturers.  Retain subparagraph and associated subparagraphs below if manufacturer recommends polyurethane intermediate coat.

c. Intermediate Coat:  Aliphatic polyurethane enamel applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 1.5 to 4.0 mils (0.038 to 0.102 mm).

1) Devoe:  Alithane DP52UXXX Aliphatic Urethane Gloss Enamel.

2) ICI:  Devthane 369 Aliphatic Urethane Gloss Enamel.

3) International:  Interthane 990 Low VOC Thin Film Polyurethane.

4) Moore:  M74/M75 Aliphatic Acrylic Urethane Gloss.

5) PPG:  97-8XXX Series Pitthane Acrylic-Aliphatic Urethane Enamel.

6) R-O:  9700 System High Solids Aliphatic Polyurethane Enamel.

7) Tnemec:  Series 74 Endura-Shield.

d. Topcoat:  Aliphatic polyurethane enamel applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 1.5 to 4.0 mils (0.038 to 0.102 mm).

1) Carboline:  134-HS 2-Component Acrylic-Aliphatic Urethane.

2) Devoe:  Alithane DP52UXXX Aliphatic Urethane Gloss Enamel.

3) DuPont:  Imron 333 High Gloss Polyurethane Enamel.

4) ICI:  Devthane 369 Aliphatic Urethane Gloss Enamel.

5) International:  Interthane 990 Low VOC Thin Film Polyurethane.

6) Moore:  M74/M75 Aliphatic Acrylic Urethane Gloss.

7) PPG:  97-8XXX Series Pitthane Acrylic-Aliphatic Urethane Enamel.

8) R-O:  9700 System High Solids Aliphatic Polyurethane Enamel.

9) S-W:  Corothane II Gloss B65W400 Series.

10) Tnemec:  Series 74 Endura-Shield.

Retain system below for semigloss polyurethane finish over ferrous metal in moderate environment.  International and R-O do not make polyurethane semigloss products for use in this environment; contact these manufacturers if epoxy or another product is acceptable.

4. Moderate Environment (Semigloss Finish):  One finish coat over an intermediate coat and a primer.

a. Primer:  Epoxy primer applied at spreading rate recommended by manufacturer.

1) Carboline:  893 2-Component Cross-Linked Epoxy.

2) DuPont:  25P High Solids Epoxy Mastic.

3) ICI:  Devran 224HS High Build Epoxy.

4) Moore:  M36-00/M37 Polyamide Epoxy Clear Sealer/Finish.

5) PPG:  97-14XX Series Pitt-Guard DTR Polyamide Epoxy Coating.

6) S-W:  Recoatable Epoxy Primer B67 Series/B67V5.

7) Tnemec:  Series 27 F. C. Typoxy Polyamide Epoxy.

System recommendations vary among manufacturers.  Retain subparagraph and associated subparagraphs below if manufacturer recommends epoxy intermediate coat.

b. Intermediate Coat:  Epoxy applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 3.0 to 8.0 mils (0.076 to 0.203 mm).

1) Carboline:  890 2-Component Epoxy.

2) DuPont:  25P High Solids Epoxy Mastic.

3) S-W:  Heavy Duty Epoxy B67W300 Series.

4) Tnemec:  Series 66 Hi-Build Epoxoline Polamidoamine Epoxy.

System recommendations vary among manufacturers.  Retain subparagraph and associated subparagraphs below if manufacturer recommends polyurethane intermediate coat.

c. Intermediate Coat:  Aliphatic polyurethane enamel applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 1.5 to 4.0 mils (0.038 to 0.102 mm).

1) ICI:  Devthane 378 Aliphatic Urethane Semi-Gloss Enamel.

2) Moore:  M73/M75 Aliphatic Acrylic Urethane Semi-Gloss.

3) PPG:  97-84XX Series Pitthane High Build Acrylic-Aliphatic Urethane Enamel.

d. Topcoat:  Aliphatic polyurethane enamel applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 1.5 to 4.0 mils (0.038 to 0.102 mm).

1) Carboline:  Carboline 133 HB Aliphatic Polyurethane.

2) DuPont:  Imron 326 (13P) Semi-Gloss Polyurethane Enamel.

3) ICI:  Devthane 378 Aliphatic Urethane Semi-Gloss Enamel.

4) Moore:  M73/M75 Aliphatic Acrylic Urethane Semi-Gloss.

5) PPG:  97-84XX Series Pitthane High Build Acrylic-Aliphatic Urethane Enamel.

6) S-W:  Corothane II Satin B65W400 Series.

7) Tnemec:  Series 75 Endura-Shield.

Retain system below for high-gloss acrylic finish over ferrous metal in mild environment.  Carboline does not make high-gloss acrylic products for use in this environment; contact Carboline if alternative product is acceptable.

5. Mild Environment (High-Gloss Finish):  One finish coat over an intermediate coat and a primer.

a. Primer:  Acrylic primer applied at spreading rate recommended by manufacturer.

1) Devoe:  Mirrolac-WB DP8502 Interior / Exterior Waterborne DTM Flat Primer And Finish.

2) DuPont:  Tufcote 72P Waterborne Acrylic Enamel.

3) ICI:  Devflex 4020 DTM Flat Interior/Exterior Waterborne Primer and Finish.

4) International:  Intercryl 520 WB Waterborne Acrylic Primer or Finish.

5) Moore:  M04 Acrylic Primer.

6) PPG:  90-7XX Series Pitt-Tech One Pack Interior/Exterior Primer Finish DTM Industrial Enamel.

7) R-O:  5269/5281 System Labor Saver Industrial Enamel High Performance Acrylic Primers.

8) S-W:  Kem Kromik Universal Metal Primer B50Z Series.

9) Tnemec:  Series 18 Enviroprime.

b. Intermediate Coat:  Acrylic enamel applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 1.5 to 4.0 mils (0.038 to 0.102 mm).

1) Devoe:  Mirrolac WB DP84XX High Performance Acrylic Int. / Ext. Gloss Finish

2) DuPont:  Tufcote 72P Waterborne Acrylic Enamel.

3) ICI:  Devflex 4208 Interior/Exterior Waterborne Acrylic Gloss Enamel.

4) International:  Intercryl 530 WB Waterborne Acrylic Gloss Finish.

5) Moore:  M28 Acrylic Gloss Enamel.

6) PPG:  90-3XX Series Pitt-Tech One Pack Interior/Exterior High Performance Waterborne High Gloss DTM Industrial Enamels.

7) R-O:  5200 System Labor Saver Industrial Enamel High Performance Acrylic Semi-Gloss Finishes.

8) S-W:  DTM Acrylic Gloss Coating B66W100 Series.

9) Tnemec:  Series 28 Tufcryl Acrylic Emulsion.

c. Topcoat:  High-gloss acrylic enamel applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 1.5 to 4.0 mils (0.038 to 0.102 mm).

1) Devoe:  Mirrolac WB DP84XX High Performance Acrylic Int. / Ext. Gloss Finish.

2) DuPont:  Tufcote 72P Waterborne Acrylic Enamel.

3) ICI:  Devflex 4208 Interior/Exterior Waterborne Acrylic Gloss Enamel.

4) International:  Intercryl 530 WB Waterborne Acrylic Gloss Finish.

5) Moore:  M28 Acrylic Gloss Enamel.

6) PPG:  90-3XX Series Pitt-Tech One Pack Interior/Exterior High Performance Waterborne High Gloss DTM Industrial Enamels.

7) R-O:  5200 System Labor Saver Industrial Enamel High Performance Acrylic Semi-Gloss Finishes.

8) S-W:  DTM Acrylic Gloss Coating B66W100 Series.

9) Tnemec:  Series 28 Tufcryl Acrylic Emulsion.

Retain system below for semigloss acrylic finish over ferrous metal in mild environment.

6. Mild Environment (Semigloss Finish):  One finish coat over an intermediate coat and a primer.

a. Primer:  Acrylic primer applied at spreading rate recommended by manufacturer.

1) Carboline:  Multi-Bond 120.

2) Devoe:  Mirrolac-WB DP8502 Interior / Exterior Waterborne DTM Flat Primer And Finish.

3) DuPont:  Tufcote 72P Waterborne Acrylic Enamel.

4) ICI:  Devflex 4020 DTM Flat Waterborne Primer and Finish.

5) International:  Intercryl 520 WB Waterborne Acrylic Primer or Finish.

6) Moore:  M04 Acrylic Primer.

7) PPG:  90-7XX Series Pitt-Tech One Pack Interior/Exterior Primer Finish DTM Industrial Enamel.

8) R-O:  5281 Industrial Enamel High Performance Acrylic Primers.

9) S-W:  Kem Kromik Universal Metal Primer B50Z Series.

10) Tnemec:  Series 18 Enviroprime.

b. Intermediate Coat:  Semigloss acrylic enamel applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 1.5 to 4.0 mils (0.038 to 0.102 mm).

1) Carboline:  3359 Waterborne Acrylic.

2) Devoe:  Mirrolac WB DP83XX High Performance Acrylic Int. / Ext.Semi- Gloss Finish.

3) DuPont:  Tufcote 72P Waterborne Acrylic Enamel.

4) ICI:  Devflex 4206 Interior/Exterior Waterborne Acrylic Semi-Gloss Enamel.

5) International:  Intercryl 520 WB Waterborne Acrylic Semi-Gloss Finish.

6) Moore:  M29 D.T.M. Acrylic Semi-Gloss.

7) PPG:  90-4XX Series Pitt-Tech One Pack Interior/Exterior High Performance Waterborne Satin DTM Industrial Enamels.

8) R-O:  5200 System Labor Saver Industrial Enamel High Performance Acrylic Finishes.

9) S-W:  DTM Acrylic Semi-Gloss Coating B66W200 Series.

10) Tnemec:  Series 29 Tufcryl Acrylic Emulsion.

c. Topcoat:  Semigloss acrylic enamel applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 1.5 to 4.0 mils (0.038 to 0.102 mm).

1) Carboline:  3359 Waterborne Acrylic.

2) Devoe:  Mirrolac WB DP83XX High Performance Acrylic Int. / Ext Semi-. Gloss Finish.

3) DuPont:  Corlar 76P 2-Component Waterborne Acrylic Epoxy Enamel.

4) ICI:  Devflex 4206 Interior/Exterior Waterborne Acrylic Semi-Gloss Enamel.

5) International:  Intercryl 520 WB Waterborne Acrylic Semi-Gloss Finish.

6) Moore:  M29 D.T.M. Acrylic Semi-Gloss.

7) PPG:  Pitt-Tech One Pack Interior/Exterior 90-4XX Series High Performance Waterborne Satin DTM Industrial Enamels.

8) R-O:  5200 System Labor Saver Industrial Enamel High Performance Acrylic Finishes.

9) S-W:  DTM Acrylic Semi-Gloss Coating B66W200 Series.

10) Tnemec:  Series 29 Tufcryl Acrylic Emulsion.

E. Nonferrous Metal:  Provide the following finish systems over exterior nonferrous-metal surfaces:

Retain system below for high-gloss finish over nonferrous metal in severe environment.

For this substrate in this environment, Tnemec recommends an epoxy system consisting of a single topcoat applied over primer at spreading rate indicated.

1. Severe Environment (High-Gloss Finish):  One finish coat over an intermediate coat and a primer.

a. Primer:  Epoxy primer applied at spreading rate recommended by manufacturer.

1) Carboline:  Rustbond Penetrating Sealer SG.

2) Devoe:  Gardcote DP54U735 Universal Epoxy Primer.

3) DuPont:  25P High Solids Epoxy Mastic.

4) ICI:  Devran 4170 Corrosion Resistant Epoxy Primer.

5) International:  Intergard 251 Thin Film Polyamide Epoxy Rust Inhibitive Primer.

6) Moore:  M36-00/M37 Polyamide Epoxy Clear Sealer/Finish.

7) PPG:  97-14XX Series Pitt-Guard DTR Polyamide Epoxy Coating.

8) R-O:  9100 System High Performance Epoxy.

9) S-W:  DTM Wash Primer B71Y1.

10) Tnemec:  Series 27 F. C. Typoxy Polyamide Epoxy.

System recommendations vary among manufacturers.  Retain subparagraph and associated subparagraphs below if manufacturer recommends epoxy intermediate coat.

b. Intermediate Coat:  Epoxy applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 3.0 to 8.0 mils (0.076 to 0.203 mm).

1) Carboline:  890 2-Component Epoxy.

2) DuPont:  25P High Solids Epoxy Mastic.

3) International:  Intergard 475 Semi-Gloss Polyamide Epoxy Intermediate/Finish.

4) S-W:  Heavy Duty Epoxy B67W300 Series.

5) Tnemec:  Intermediate coat not required.

System recommendations vary among manufacturers.  Retain subparagraph and associated subparagraphs below if manufacturer recommends polyurethane intermediate coat.

c. Intermediate Coat:  Aliphatic polyurethane enamel applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 1.5 to 4.0 mils (0.038 to 0.102 mm).

1) Devoe:  Alithane DP52UXXX Aliphatic Urethane Gloss Enamel.

2) ICI:  Devthane 369 Aliphatic Urethane Gloss Enamel.

3) Moore:  M74/M75 Aliphatic Acrylic Urethane Gloss.

4) PPG:  97-8XXX Series Pitthane Acrylic-Aliphatic Urethane Enamel.

5) R-O:  9800 System Urethane High Build Mastic Coatings.

6) Tnemec:  Intermediate coat not required.

d. Topcoat:  Aliphatic polyurethane enamel applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 1.5 to 4.0 mils (0.038 to 0.102 mm).

1) Carboline:  134-HS 2-Component Acrylic-Aliphatic Urethane.

2) Devoe:  Alithane DP52UXXX Aliphatic Urethane Gloss Enamel.

3) DuPont:  Imron 333 High Gloss Polyurethane Enamel.

4) ICI:  Devthane 369 Aliphatic Urethane Gloss Enamel.

5) International:  Interthane 990 Low VOC Thin Film Polyurethane.

6) Moore:  M74/M75 Aliphatic Acrylic Urethane Gloss.

7) PPG:  97-8XXX Series Pitthane Acrylic-Aliphatic Urethane Enamel.

8) R-O:  9800 System Urethane High Build Mastic Coatings.

9) S-W:  Corothane II Gloss B65W400 Series.

10) Tnemec:  Series 74 Endura-Shield.

Retain system below for semigloss finish over nonferrous metal in severe environment.  International and R-O do not make polyurethane semigloss products for use in this environment; contact these manufacturers if epoxy or another product is acceptable.

For this substrate in this environment, Tnemec recommends an epoxy system consisting of a single topcoat applied over primer at spreading rate indicated.

2. Severe Environment (Semigloss Finish):  One finish coat over an intermediate coat and a primer.

a. Primer:  Epoxy primer applied at spreading rate recommended by manufacturer.

1) Carboline:  Rustbond Penetrating Sealer SG.

2) DuPont:  25P High Solids Epoxy Mastic.

3) ICI:  Devran 4170 Corrosion Resistant Epoxy Primer.

4) Moore:  M36-00/M37 Polyamide Epoxy Clear Sealer/Finish.

5) PPG:  97-14XX Series Pitt-Guard DTR Polyamide Epoxy Coating.

6) S-W:  DTM Wash Primer, B71Y1.

7) Tnemec:  Series 27 F. C. Typoxy Polyamide Epoxy.

System recommendations vary among manufacturers.  Retain subparagraph and associated subparagraphs below if manufacturer recommends epoxy intermediate coat.

b. Intermediate Coat:  Epoxy applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 3.0 to 8.0 mils (0.076 to 0.203 mm).

1) Carboline:  890 2-Component Epoxy.

2) DuPont:  25P High Solids Epoxy Mastic.

3) S-W:  Heavy Duty Epoxy B67W300 Series.

4) Tnemec:  Intermediate coat not required.

System recommendations vary among manufacturers.  Retain subparagraph and associated subparagraphs below if manufacturer recommends polyurethane intermediate coat.

c. Intermediate Coat:  Aliphatic polyurethane enamel applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 1.5 to 4.0 mils (0.038 to 0.102 mm).

1) ICI:  Devthane 378 Aliphatic Urethane Semi-Gloss Enamel.

2) Moore:  M73/M75 Aliphatic Acrylic Urethane Semi-Gloss.

3) PPG:  97-84XX Series Pitthane High Build Acrylic-Aliphatic Urethane Enamel.

4) Tnemec:  Intermediate coat not required.

d. Topcoat:  Aliphatic polyurethane enamel applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 1.5 to 4.0 mils (0.038 to 0.102 mm).

1) Carboline:  Carboline 133 HB Aliphatic Polyurethane.

2) DuPont:  Imron 326 (13P) Imron Semi-Gloss Polyurethane Enamel.

3) ICI:  Devthane 378 Aliphatic Urethane Semi-Gloss Enamel.

4) Moore:  M73/M75 Aliphatic Acrylic Urethane Semi-Gloss.

5) PPG:  97-84XX Series Pitthane High Build Acrylic-Aliphatic Urethane Enamel.

6) S-W:  Corothane II Satin B65W200 Series.

7) Tnemec:  Series 75 Endura-Shield.

Retain system below for high-gloss finish over nonferrous metal in moderate environment.

For this substrate in this environment, Tnemec recommends an epoxy system consisting of a single topcoat applied over primer at spreading rate indicated.

3. Moderate Environment (High-Gloss Finish):  One finish coat over an intermediate coat and a primer.

a. Primer:  Epoxy primer applied at spreading rate recommended by manufacturer.

1) Carboline:  Rustbond Penetrating Sealer SG.

2) Devoe:  Gardcote DP54U735 Universal Epoxy Primer.

3) DuPont:  25P High Solids Epoxy Mastic.

4) ICI:  Devran 4170 Corrosion Resistant Epoxy Primer.

5) International:  Intergard 251 Thin Film Polyamide Epoxy Rust Inhibitive Primer.

6) Moore:  M36-00/M37 Polyamide Epoxy Clear Sealer/Finish.

7) PPG:  97-14XX Series Pitt-Guard DTR Polyamide Epoxy Coating.

8) R-O:  System 5369/5381 Water-Based Epoxy Primer.

9) S-W:  DTM Wash Primer B71Y1.

10) Tnemec:  Series 27 F. C. Typoxy Polyamide Epoxy.

System recommendations vary among manufacturers.  Retain subparagraph and associated subparagraphs below if manufacturer recommends epoxy intermediate coat.

b. Intermediate Coat:  Epoxy applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 3.0 to 5.0 mils (0.076 to 0.127 mm).

1) Carboline:  890 2-Component Epoxy.

2) Devoe:  Gardcote DP54U735 Universal Epoxy Primer.

3) DuPont:  25P High Solids Epoxy Mastic.

4) International:  Intergard 475 Semi-Gloss Polyamide Epoxy Intermediate/Finish.

5) Tnemec:  Intermediate coat not required.

System recommendations vary among manufacturers.  Retain subparagraph and associated subparagraphs below if manufacturer recommends polyurethane intermediate coat.

c. Intermediate Coat:  Aliphatic polyurethane enamel applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 1.5 to 4.0 mils (0.038 to 0.102 mm).

1) Devoe:  Alithane DP52UXXX Aliphatic Urethane Gloss Enamel.

2) ICI:  Devthane 369 Aliphatic Urethane Gloss Enamel.

3) Moore:  M74/M75 Aliphatic Acrylic Urethane Gloss.

4) PPG:  97-8XXX Series Pitthane Acrylic-Aliphatic Urethane Enamel.

5) R-O:  9800 System Urethane High Build Mastic Coatings.

6) S-W:  Corothane II Gloss B65W400 Series.

7) Tnemec:  Intermediate coat not required.

d. Topcoat:  Aliphatic polyurethane enamel applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 1.5 to 4.0 mils (0.038 to 0.102 mm).

1) Carboline:  134 HS 2-Component Acrylic-Aliphatic Urethane.

2) Devoe:  Alithane DP52UXXX Aliphatic Urethane Gloss Enamel.

3) DuPont:  Imron 333 High Gloss Polyurethane Enamel.

4) ICI:  Devthane 369 Aliphatic Urethane Gloss Enamel.

5) International:  Interthane 990 Low VOC Thin Film Polyurethane.

6) Moore:  M74/M75 Aliphatic Acrylic Urethane Gloss.

7) PPG:  97-8XXX Series Pitthane Acrylic-Aliphatic Urethane Enamel.

8) R-O:  9800 System Urethane High Build Mastic Coatings.

9) S-W:  Corothane II Gloss B65W400 Series.

10) Tnemec:  Series 74 Endura-Shield.

Retain system below for semigloss finish over nonferrous metal in moderate environment.  International and R-O do not make polyurethane semigloss products for use in this environment; contact these manufacturers if alternative product is acceptable.

For this substrate in this environment, Tnemec recommends an epoxy system consisting of a single topcoat applied over primer at spreading rate indicated.

4. Moderate Environment (Semigloss Finish):  One finish coat over an intermediate coat and a primer.

a. Primer:  Epoxy primer applied at spreading rate recommended by manufacturer.

1) Carboline:  Rustbond Penetrating Sealer SG.

2) DuPont:  25P High Solids Epoxy Mastic.

3) ICI:  Devran 4170 Corrosion Resistant Epoxy Primer.

4) Moore:  M36-00/M37 Polyamide Epoxy Clear Sealer/Finish.

5) PPG:  97-14XX Series Pitt-Guard DTR Polyamide Epoxy Coating.

6) S-W:  DTM Wash Primer B71Y1.

7) Tnemec:  Series 27 F. C. Typoxy Polyamide Epoxy.

System recommendations vary among manufacturers.  Retain subparagraph and associated subparagraphs below if manufacturer recommends epoxy intermediate coat.

b. Intermediate Coat:  Epoxy applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 3.0 to 5.0 mils (0.076 to 0.127 mm).

1) Carboline:  890 2-Component Epoxy.

2) DuPont:  25P High Solids Epoxy Mastic.

3) Tnemec:  Intermediate coat not required.

System recommendations vary among manufacturers.  Retain subparagraph and associated subparagraphs below if manufacturer recommends polyurethane intermediate coat.

c. Intermediate Coat:  Aliphatic polyurethane enamel applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 1.5 to 4.0 mils (0.038 to 0.102 mm).

1) ICI:  Devthane 378 Aliphatic Urethane Semi-Gloss Enamel.

2) Moore:  M73/M75 Aliphatic Acrylic Urethane Semi-Gloss.

3) PPG:  97-84XX Series Pitthane High Build Acrylic-Aliphatic Urethane Enamel.

4) S-W:  Corothane II Satin B65W200 Series.

5) Tnemec:  Intermediate coat not required.

d. Topcoat:  Aliphatic polyurethane enamel applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 1.5 to 4.0 mils (0.038 to 0.102 mm).

1) Carboline:  133 HB Aliphatic Polyurethane.

2) DuPont:  Imron 326 (13P) Semi-Gloss Polyurethane Enamel.

3) ICI:  Devthane 378 Aliphatic Urethane Semi-Gloss Enamel.

4) Moore:  M73/M75 Aliphatic Acrylic Urethane Semi-Gloss.

5) PPG:  97-84XX Series Pitthane High Build Acrylic-Aliphatic Urethane Enamel.

6) S-W:  Corothane II Satin B65W200 Series.

7) Tnemec:  Series 75 Endura-Shield.

Retain system below for high-gloss acrylic finish over nonferrous metal in mild environment.  Carboline does not make high-gloss acrylic products for use in this environment; contact Carboline if alternative product is acceptable.

5. Mild Environment (High-Gloss Finish):  One finish coat over an intermediate coat and a primer.

a. Primer:  Acrylic primer applied at spreading rate recommended by manufacturer.

1) Devoe:  Mirrolac-WB DP8502 Interior / Exterior Waterborne DTM Flat Primer And Finish.

2) DuPont:  Tufcote 72P Waterborne Acrylic Enamel.

3) ICI:  Devflex 4020 DTM Flat Interior/Exterior Waterborne Primer and Finish.

4) International:  Intercryl 520 WB Waterborne Acrylic Primer or Finish.

5) Moore:  M04 Acrylic Primer.

6) PPG:  90-7XX Series Pitt-Tech One Pack Interior/Exterior Primer Finish DTM Industrial Enamel.

7) R-O:  5269/5281 System Labor Saver Industrial Enamel High Performance Acrylic Primers.

8) S-W:  DTM Wash Primer B71Y1.

9) Tnemec:  Series 18 Enviroprime.

b. Intermediate Coat:  Acrylic enamel applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 1.5 to 4.0 mils (0.038 to 0.102 mm).

1) Devoe:  Mirrolac WB DP 84XX High Performance Acrylic Int. / Ext. Gloss Finish.

2) DuPont:  Intermediate coat not required.

3) ICI:  Devflex 4208 Interior/Exterior Waterborne Acrylic Gloss Enamel.

4) International:  Intercryl 530 WB Waterborne Acrylic Gloss Finish.

5) Moore:  M28 Acrylic Gloss Enamel.

6) PPG:  90-3XX Series Pitt-Tech One Pack Interior/Exterior High Performance Waterborne High Gloss DTM Industrial Enamels.

7) R-O:  5200 System Labor Saver Industrial Enamel High Performance Acrylic Finishes.

8) S-W:  DTM Acrylic Gloss Coating B66W100 Series.

9) Tnemec:  Intermediate coat not required.

c. Topcoat:  High-gloss acrylic enamel applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 1.5 to 4.0 mils (0.038 to 0.102 mm).

1) Devoe:  Mirrolac WB DP 84XX High Performance Acrylic Int. / Ext. Gloss Finish.

2) DuPont:  Tufcote 72P Waterborne Acrylic Enamel.

3) ICI:  Devflex 4208 Interior/Exterior Waterborne Acrylic Gloss Enamel.

4) International:  Intercryl 530 WB Waterborne Acrylic Gloss Finish.

5) Moore:  M28 Acrylic Gloss Enamel.

6) PPG:  90-3XX Series Pitt-Tech One Pack Interior/Exterior High Performance Waterborne High Gloss DTM Industrial Enamels.

7) R-O:  5200 System Labor Saver Industrial Enamel High Performance Acrylic Finishes.

8) S-W:  DTM Acrylic Gloss Coating B66W100 Series.

9) Tnemec:  Series 28 Tufcryl Acrylic Emulsion.

Retain system below for semigloss acrylic finish over nonferrous metal in mild environment.

6. Mild Environment (Semigloss Finish):  One finish coat over an intermediate coat and a primer.

a. Primer:  Acrylic primer applied at spreading rate recommended by manufacturer.

1) Carboline:  Multi-Bond 120 Waterborne Acrylic Primer.

2) Devoe:  Mirrolac-WB DP8502 Interior / Exterior Waterborne DTM Flat Primer And Finish.

3) DuPont:  Tufcote 72P Waterborne Acrylic Enamel.

4) ICI:  Devflex 4020 DTM Flat Interior/Exterior Waterborne Primer and Finish.

5) International:  Intercryl 520 WB Waterborne Acrylic Primer or Finish.

6) Moore:  M04 Acrylic Primer.

7) PPG:  90-7XX Series Pitt-Tech One Pack Interior/Exterior Primer Finish DTM Industrial Enamel.

8) R-O:  5269/5281 Industrial Enamel High Performance Acrylic Primers.

9) S-W:  DTM Wash Primer B71Y1.

10) Tnemec:  Series 18 Enviroprime.

b. Intermediate Coat:  Unless otherwise indicated, acrylic enamel applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 1.5 to 4.0 mils (0.038 to 0.102 mm).

1) Carboline:  3350 Acrylic Latex.

2) Devoe:  Mirrolac WB DP 83XX High Performance Acrylic Int. / Ext Semi-. Gloss Finish.

3) DuPont:  Intermediate coat not required.

4) ICI:  Devflex 4206 Interior/Exterior Waterborne Acrylic Semi-Gloss Enamel.

5) International:  Intercryl 520 WB Waterborne Acrylic Semi-Gloss Finish.

6) Moore:  M29 D.T.M. Acrylic Semi-Gloss.

7) PPG:  90-4XX Series Pitt-Tech One Pack Interior/Exterior High Performance Waterborne Satin DTM Industrial Enamels.

8) R-O:  5200 System Labor Saver Industrial Enamel Semi-Gloss High Performance Acrylic Finishes.

9) S-W:  DTM Acrylic Semi-Gloss Coating B66W200 Series.

10) Tnemec:  Intermediate coat not required

c. Topcoat:  Semigloss acrylic enamel applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 1.5 to 4.0 mils (0.038 to 0.102 mm).

1) Carboline:  3350 Acrylic Latex.

2) Devoe:  Mirrolac WB DP83XX High Performance Acrylic Int. / Ext Semi-. Gloss Finish.

3) DuPont:  Corlar 76P 2-Component Waterborne Acrylic Epoxy Enamel.

4) ICI:  Devflex 4206 Interior/Exterior Waterborne Acrylic Semi-Gloss Enamel.

5) International:  Intercryl 520 WB Waterborne Acrylic Semi-Gloss Finish.

6) Moore:  M29 D.T.M. Acrylic Semi-Gloss.

7) PPG:  90-4XX Series Pitt-Tech One Pack Interior/Exterior High Performance Waterborne Satin DTM Industrial Enamels.

8) R-O:  5200 System Labor Saver Industrial Enamel Semi-Gloss High Performance Acrylic Finishes.

9) S-W:  DTM Acrylic Semi-Gloss Coating B66W200 Series.

10) Tnemec:  Series 29 Tufcryl Acrylic Emulsion.

2.5 INTERIOR HIGH-PERFORMANCE COATING SYSTEMS

See Editing Instruction Nos. 2 through 5 in the Evaluations for guidance before editing systems below.  Consult coating manufacturers to determine product's suitability for intended application.  This Article includes examples of high-performance coating systems for different interior substrates.  Retain only substrates and coating systems suitable for Project.

A. Concrete and Masonry (Other Than Concrete Masonry Units):  Provide the following finish systems over interior concrete and brick masonry surfaces:

Retain system below for high-gloss finish over interior concrete or brick masonry surfaces in severe environment.

For this substrate in this environment, R-O and Tnemec recommend a high-build epoxy system consisting of a single topcoat applied over primer at spreading rate indicated.

1. Severe Environment (High-Gloss Finish):  One finish coat over an intermediate coat and a primer.

a. Primer:  Epoxy primer applied at spreading rate recommended by manufacturer.

1) Carboline:  890 2-Component Epoxy.

2) Devoe:  Gardcote DP23U935 100% Solids Epoxy Penetrating Sealer.
3) DuPont:  25P High Solids Epoxy Mastic.

4) ICI:  Pre-Prime 167 100% Solids Epoxy Penetrating Sealer.

5) International:  Intergard 475 Semi-Gloss Polyamide Epoxy Intermediate/Finish.

6) Moore:  M36-00/M37 Polyamide Epoxy Clear Sealer/Finish.

7) PPG:  97-14XX Series Pitt-Guard DTR Epoxy.

8) R-O:  9100 System Labor Saver High Performance Epoxy.

9) S-W:  Heavy Duty Epoxy B67W300 Series/B60V3.

10) Tnemec:  Series 84 H. S. Epoxy.

b. Intermediate Coat:  Epoxy applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 2.0 to 5.0 mils (0.051 to 0.127 mm).

1) Carboline:  890 2-Component Epoxy.

2) Devoe:  High Glaze II DP56UXXX High Build Epoxy.
3) DuPont:  Corlar 26P HB DTM High Build Epoxy Enamel.

4) ICI:  Devran 224HS High Build Epoxy.

5) International:  Intermediate coat not required.

6) Moore:  M36/M37 Polyamide Epoxy Gloss Coating.

7) PPG:  97-1XXX Series Aquapon Polyamide-Epoxy Coating.

8) R-O:  Intermediate coat not required.

9) S-W:  Tile Clad II High Solids B62WZ Series/B60VZ70.

10) Tnemec:  Intermediate coat not required.

c. Topcoat:  High-gloss epoxy applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 2.0 to 5.0 mils (0.051 to 0.127 mm).

1) Carboline:  890 2-Component Epoxy.

2) Devoe:  Gardcote Epoxy Coating DP34UXXX.

3) DuPont:  Corlar 26P HB DTM High Build Epoxy Enamel.

4) ICI:  Devthane 250 Direct-to Metal (DTM) Gloss Epoxy.

5) International:  Intergard 607 HS High Build Gloss Polyamine Epoxy Finish at 8.0-mil (0.203-mm) dry film thickness.

6) Moore:  M36/M37 Polyamide Epoxy Gloss Coating.

7) PPG:  97-1XXX Series Aquapon Polyamide-Epoxy Coating.

8) R-O:  9100 System Labor Saver High Performance Polyamine Epoxy at 5.0- to 8.0-mil (0.127- to 0.203-mm) dry film thickness.

9) S-W:  Tile Clad II High Solids B62WZ Series B60VZ70.

10) Tnemec:  Series 84 H. S. Epoxy.

Retain system below for semigloss finish over interior concrete or brick masonry surfaces in severe environment.

For this substrate in this environment, R-O recommends a high-build epoxy system consisting of a single topcoat applied over primer at spreading rate indicated.

2. Severe Environment (Semigloss Finish):  One finish coat over an intermediate coat and a primer.

a. Primer:  Epoxy primer applied at spreading rate recommended by manufacturer.

1) Carboline:  888 2-Component Polyamide Epoxy.

2) Devoe:  Gardcote DP23U935 100% Solids Epoxy Penetrating Sealer.
3) DuPont:  25P High Solids Epoxy Mastic.

4) ICI:  Pre-Prime 167 100% Solids Epoxy Penetrating Sealer.

5) International:  Intergard 475 Semi-Gloss Polyamide Epoxy Intermediate/Finish.

6) Moore:  M36-00/M37 Polyamide Epoxy Clear Sealer/Finish.

7) PPG:  97-14XX Series Pitt-Guard DTR Epoxy.

8) R-O:  9500 System High Build Polyamide Epoxy.

9) S-W:  Primer not required.

10) Tnemec:  Series 66 Hi-Build Epoxoline Polamidoamine Epoxy.

b. Intermediate Coat:  Epoxy applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 2.0 to 5.0 mils (0.051 to 0.127 mm).

1) Carboline:  888 2-Component Polyamide Epoxy.

2) Devoe:  High Glaze II DP56UXXX High Build Epoxy.
3) DuPont:  25P High Solids Epoxy Mastic.

4) ICI:  Devran 224HS High Build Epoxy.

5) International:  Intergard 345 DTM Semi-Gloss Epoxy.

6) Moore:  M36/M38 Polyamide Epoxy Semi-Gloss Coating.

7) PPG:  97-1XXX Series Aquapon High Build Semi-Gloss Polyamide Epoxy Coating.

8) R-O:  Intermediate coat not required.

9) S-W:  Epolon II Multi-Mil Epoxy Series B62V800.

10) Tnemec:  Intermediate coat not required.

c. Topcoat:  Semigloss polyamide epoxy applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 2.0 to 5.0 mils (0.051 to 0.127 mm).

1) Carboline:  888 2-Component Polyamide Epoxy.

2) Devoe:  High Glaze II DP56UXXX High Build Epoxy.
3) DuPont:  25P High Solids Epoxy Mastic.

4) ICI:  Devran 224HS High Build Epoxy.

5) International:  Intergard 345 DTM Semi-Gloss Epoxy.

6) Moore:  M36/M38 Polyamide Epoxy Semi-Gloss Coating.

7) PPG:  97-1XXX Series Aquapon High Build Semi-Gloss Polyamide Epoxy Coating.

8) R-O:  9500 System High Build Polyamide Epoxy at 5.0- to 8.0-mil (0.127- to 0.203-mm) dry film thickness.

9) S-W:  Epolon II Multi-Mil Epoxy Series B62V800.

10) Tnemec:  Series 66 Hi-Build Epoxoline Polamidoamine Epoxy.

Retain system below for high-gloss finish over interior concrete or brick masonry surfaces in moderate environment.

For this substrate in this environment, R-O and Tnemec recommend an epoxy system consisting of a single topcoat applied over primer at spreading rate indicated.

3. Moderate Environment (High-Gloss Finish):  One finish coat over an intermediate coat and a primer.

a. Primer:  Epoxy primer applied at spreading rate recommended by manufacturer.

1) Carboline:  890 2-Component Epoxy.

2) Devoe:  Gardcote WB Waterborne Epoxy Primer DP24U935.

3) DuPont:  25P High Solids Epoxy Mastic.

4) ICI:  Tru-Glaze-WB 4408 Waterborne Epoxy Gloss Coating.

5) International:  Intergard 475 Semi-Gloss Polyamide Epoxy Intermediate/Finish.

6) Moore:  M43-00/M44-84 Acrylic Epoxy Clear Gloss Coating.

7) PPG:  97-14XX Series Pitt-Guard DTR Epoxy.

8) R-O:  9100 System Labor Saver High Performance Epoxy.

9) S-W:  Heavy Duty Epoxy B67W300 Series/B60V3.

10) Tnemec:  Series 84 H. S. Epoxy.

b. Intermediate Coat:  Epoxy applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 2.0 to 5.0 mils (0.051 to 0.127 mm).

1) Carboline:  890 2-Component Epoxy.

2) Devoe:  Gardcote-WB Waterborne Epoxy Gloss Coating DP25U9XX.

3) DuPont:  Corlar 26P High Solids Epoxy Enamel.

4) ICI:  Tru-Glaze-WB 4408 Waterborne Epoxy Gloss Coating.

5) International:  Intergard 740 Thin Film Gloss Polyamide Epoxy.

6) Moore:  M43/M44 Acrylic Epoxy Gloss Coating.

7) PPG:  97-1XXX Series Aquapon Polyamide-Epoxy Coating.

8) R-O:  Intermediate coat not required.

9) S-W:  Tile Clad II High Solids B62WZ Series B60VZ70.

10) Tnemec:  Intermediate coat not required.

c. Topcoat:  High-gloss epoxy applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 2.0 to 5.0 mils (0.051 to 0.127 mm).

1) Carboline:  890 2-Component Epoxy.

2) Devoe:  Gardcote-WB Waterborne Epoxy Gloss Coating DP25U9XX.

3) DuPont:  Corlar 26P High Solids Epoxy Enamel.

4) ICI:  Tru-Glaze-WB 4408 Waterborne Epoxy Gloss Coating.

5) International:  Intergard 740 Thin Film Gloss Polyamide Epoxy.

6) Moore:  M43/M44 Acrylic Epoxy Gloss Coating.

7) PPG:  97-1XXX Series Aquapon Polyamide-Epoxy Coating.

8) R-O:  9100 System Labor Saver High Performance Polyamine Epoxy at 5.0- to 8.0-mil (0.127- to 0.203-mm) dry film thickness.

9) S-W:  Tile Clad II High Solids B62WZ Series B60VZ70.

10) Tnemec:  Series 84 H. S. Epoxy.

Retain system below for semigloss finish over interior concrete or brick masonry surfaces in moderate environment.  Moore does not make semigloss products for use in this environment; contact Moore if alternative product is acceptable.

For this substrate in this environment, R-O and Tnemec recommend a high-build epoxy system consisting of a single topcoat applied over primer at spreading rate indicated.

4. Moderate Environment (Semigloss Finish):  One finish coat over an intermediate coat and a primer.

a. Primer:  Epoxy primer applied at spreading rate recommended by manufacturer.

1) Carboline:  888 2-Component Polyamide Epoxy.

2) Devoe:  Gardcote WB Waterborne Epoxy Primer DP24U935.

3) DuPont:  25P High Solids Epoxy Mastic.

4) ICI:  Tru-Glaze-WB 4406 Waterborne Epoxy Semigloss Coating.

5) International:  Intergard 475 Semi-Gloss Polyamide Epoxy Intermediate/Finish.

6) PPG:  97-14XX Series Pitt-Guard DTR Epoxy.

7) R-O:  9500 System High Build Polyamide Epoxy.

8) S-W:  Primer not required.

9) Tnemec:  Series 66 Hi-Build Epoxoline Polamidoamine Epoxy.

b. Intermediate Coat:  Epoxy applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 2.0 to 5.0 mils (0.051 to 0.127 mm).

1) Carboline:  888 2-Component Polyamide Epoxy.

2) Devoe:  Gardcote-WB Waterborne Epoxy Semi-Gloss Coating DP25U8XX.

3) DuPont:  25P High Solids Epoxy Mastic.

4) ICI:  Tru-Glaze-WB 4406 Waterborne Epoxy Semigloss Coating.

5) International:  Intergard 475 Semi-Gloss Polyamide Epoxy Intermediate/Finish.

6) PPG:  97-1XXX Series Aquapon High Build Semi-Gloss Polyamide Epoxy Coating.

7) R-O:  Intermediate coat not required.

8) S-W:  Epolon II Multi-Mil Epoxy Series B62V800.

9) Tnemec:  Intermediate coat not required.

c. Topcoat:  Semigloss polyamide epoxy applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 2.0 to 5.0 mils (0.051 to 0.127 mm), unless otherwise indicated.

1) Carboline:  888 2-Component Polyamide Epoxy.

2) Devoe:  Gardcote-WB Waterborne Epoxy Semi-Gloss Coating DP25U9XX.

3) DuPont:  25P High Solids Epoxy Mastic.

4) ICI:  Tru-Glaze-WB 4406 Waterborne Epoxy Semigloss Coating.

5) International:  Intergard 475 Semi-Gloss Polyamide Epoxy Intermediate/Finish.

6) PPG:  97-1XXX Series Aquapon High Build Semi-Gloss Polyamide Epoxy Coating.

7) R-O:  9500 System High Build Polyamide Epoxy at 5.0- to 8.0-mil (0.127- to 0.203-mm) dry film thickness.

8) S-W:  Epolon II Multi-Mil Epoxy Series B62V800.

9) Tnemec:  Series 66 Hi-Build Epoxoline Polamidoamine Epoxy.

Retain system below for high-gloss finish over interior concrete or brick masonry surfaces in mild environment.  Carboline does not make high-gloss products for use in this environment; contact Carboline if alternative product is acceptable.

5. Mild Environment (High-Gloss Finish):  One finish coat over an intermediate coat and a primer.

a. Primer:  Acrylic or epoxy primer, as recommended by manufacturer for this substrate, applied at spreading rate recommended by manufacturer.

1) Devoe:  Mirrolac-WB DP8502 Interior / Exterior Waterborne DTM Flat Primer And Finish.

2) DuPont:  25P High Solids Epoxy Mastic.

3) ICI:  Devflex 4020 DTM Flat Interior/Exterior Waterborne Primer and Finish.

4) International:  Intercryl 520 WB Waterborne Acrylic Primer or Finish.

5) Moore:  M04 Acrylic Metal Primer.

6) PPG:  6-603 Speedhide Interior/Exterior Acrylic Latex Alkali Resistant Primer.

7) R-O:  5269/5281 System Labor Saver Industrial Enamel High Performance Acrylic Primers.

8) S-W:  PrepRite Masonry Primer B28W300 Series.

9) Tnemec:  Series 28 Tufcryl Acrylic Emulsion.

b. Intermediate Coat:  Acrylic enamel applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 1.0 to 4.0 mils (0.025 to 0.102 mm).

1) Devoe:  Mirrolac WB DP 84XX High Performance Acrylic Int. / Ext Gloss Finish.

2) DuPont:  Corlar 76P 2-Component Waterborne Acrylic Epoxy Enamel.

3) ICI:  Devflex 4208 Interior/Exterior Waterborne Acrylic Gloss Enamel.

4) International:  Intercryl 530 WB Waterborne Acrylic Gloss Finish.

5) Moore:  M28 Acrylic Gloss Enamel.

6) PPG:  90-3XX Series Pitt-Tech One Pack Interior/Exterior High Performance Waterborne High Gloss DTM Industrial Enamel.

7) R-O:  5200 System Labor Saver Industrial Enamel High Performance Acrylic Finishes.

8) S-W:  DTM Acrylic Gloss Coating B66W100 Series.

9) Tnemec:  Intermediate coat not required.

c. Topcoat:  High-gloss acrylic enamel applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 1.0 to 4.0 mils (0.025 to 0.102 mm).

1) Devoe:  Mirrolac WB DP 84XX High Performance Acrylic Int. / Ext Gloss Finish.

2) DuPont:  Corlar 76P 2-Component Waterborne Acrylic Epoxy Enamel.

3) ICI:  Devflex 4208 Interior/Exterior Waterborne Acrylic Gloss Enamel.

4) International:  Intercryl 530 WB Waterborne Acrylic Gloss Finish.

5) Moore:  M28 Acrylic Gloss Enamel.

6) PPG:  90-3XX Series Pitt-Tech One Pack Interior/Exterior High Performance Waterborne High Gloss DTM Industrial Enamel.

7) R-O:  5200 System Labor Saver Industrial Enamel High Performance Acrylic Finishes.

8) S-W:  DTM Acrylic Gloss Coating B66W100 Series.

9) Tnemec:  Series 28 Tufcryl Acrylic Emulsion.

Retain system below for semigloss finish over interior concrete or brick masonry surfaces in mild environment.

6. Mild Environment (Semigloss Finish):  One finish coat over an intermediate coat and a primer.

a. Primer:  Acrylic primer applied at spreading rate recommended by manufacturer.

1) Carboline:  Multi-Bond 120 Waterborne Acrylic Primer.

2) Devoe:  Mirrolac-WB DP8502 Interior / Exterior Waterborne DTM Flat Primer And Finish.

3) DuPont:  25P High Solids Epoxy Mastic.

4) ICI:  Devflex 4020 DTM Flat Interior/Exterior Waterborne Primer and Finish.

5) International:  Intercryl 520 WB Waterborne Acrylic Primer or Finish.

6) Moore:  M04 Acrylic Metal Primer.

7) PPG:  6-603 Speedhide Interior/Exterior Acrylic Latex Alkali Resistant Primer.

8) R-O:  5269/5281 System Labor Saver Industrial Enamel High Performance Acrylic Primer.

9) S-W:  PrepRite Masonry Primer B28W300 Series.

10) Tnemec:  Series 29 Tufcryl Acrylic Emulsion.

b. Intermediate Coat:  Waterborne acrylic enamel applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 1.5 to 4.0 mils (0.038 to 0.102 mm).

1) Carboline:  3359 Water-Borne Acrylic.

2) Devoe:  Mirrolac WB DP83XX High Performance Acrylic Int. / Ext Semi-. Gloss Finish.

3) DuPont:  Intermediate coat not required.

4) ICI:  Devflex 4206 Interior/Exterior Waterborne Acrylic Semigloss Enamel.

5) International:  Intercryl 520 WB Waterborne Acrylic Semi-Gloss Finish.

6) Moore:  M29 D.T.M. Acrylic Semi-Gloss Finish.

7) PPG:  90-4XX Series Pitt-Tech One Pack Interior/Exterior High Performance Waterborne Satin DTM Industrial Enamel.

8) R-O:  5200 System Labor Saver Industrial Enamel High Performance Semi-Gloss Acrylic Finishes.

9) S-W:  DTM Acrylic Semi-Gloss Coating B66W200 Series.

10) Tnemec:  Intermediate coat not required.

c. Topcoat:  Semigloss acrylic emulsion applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 1.5 to 4.0 mils (0.038 to 0.102 mm).

1) Carboline:  3359 Water-Borne Acrylic.

2) Devoe:  Mirrolac WB DP83XX High Performance Acrylic Int. / Ext Semi-. Gloss Finish.

3) DuPont:  Tufcote 72P Waterborne DTM Acrylic Enamel.

4) ICI:  Devflex 4206 Interior/Exterior Waterborne Acrylic Semigloss Enamel.

5) International:  Intercryl 520 WB Waterborne Acrylic Semi-Gloss Finish.

6) Moore:  M29 D.T.M. Acrylic Semi-Gloss Finish.

7) PPG:  90-4XX Series Pitt-Tech One Pack Interior/Exterior High Performance Waterborne Satin DTM Industrial Enamel.

8) R-O:  5200 System Labor Saver Industrial Enamel High Performance Semi-Gloss Acrylic Finishes.

9) S-W:  DTM Acrylic Semi-Gloss Coating B66W200 Series.

10) Tnemec:  Series 29 Tufcryl Acrylic Emulsion.

B. Concrete Masonry Units:  Provide the following finish systems over interior concrete masonry block:

Retain system below for high-gloss finish over interior concrete masonry block in severe environment.

For this substrate in this environment, International recommends a high-build system consisting of a single topcoat applied over block filler at spreading rate indicated.

1. Severe Environment (High-Gloss Finish):  One finish coat over an intermediate coat and a block filler.

a. Block Filler:  Acrylic or epoxy block filler applied at spreading rate recommended by manufacturer as sufficient to fill pores.

1) Carboline:  Flexide Masonry Block Filler.

2) Devoe:  Confil HD Interior / Exterior Waterproofing Masonary Coating 88902.

3) DuPont:  300P Acrylic Emulsion Block Filler.

4) ICI:  Tru-Glaze 4010 Waterproofing Base Coat and Filler.

5) International:  Interlac 895 Epoxy Ester Block Filler.

6) Moore:  M31/M32 Waterborne Epoxy Block Filler.

7) PPG:  97-68X Series Aquapon Polyamide-Epoxy Block Filler.

8) R-O:  5199 Block Filler Surfa-Sele.

9) S-W:  Epoxy Ester Masonry Filler Sealer B61W2 Series.

10) Tnemec:  Series 130 Envirofill Waterborne Cementitious Acrylic.

b. Intermediate Coat:  Epoxy applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 2.0 to 5.0 mils (0.051 to 0.127 mm), unless otherwise indicated.

1) Carboline:  890 2-Component Epoxy.

2) Devoe:  High Glaze II DP56UXXX High Build Epoxy.
3) DuPont:  Corlar 26P HB DTM High Build Epoxy Enamel.

4) ICI:  Devran 224HS High Build Epoxy.

5) International:  Intermediate coat not required.

6) Moore:  M36/M37 Polyamide Epoxy Gloss Coating.

7) PPG:  97-1XXX Series Aquapon Polyamide-Epoxy Coating.

8) R-O:  9100 System Labor Saver High Performance Polyamine Epoxy at 5.0- to 8.0-mil (0.127- to 0.203-mm) dry film thickness.

9) S-W:  Tile Clad II High Solids B62WX Series B60V3.

10) Tnemec:  Series 84 H. S. Epoxy.

c. Topcoat:  High-gloss epoxy applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 2.0 to 5.0 mils (0.051 to 0.127 mm), unless otherwise indicated.

1) Carboline:  890 2-Component Epoxy.

2) Devoe:  Gardcote Epoxy Coating DP34UXXX.

3) DuPont:  Corlar 26P HB DTM High Build Epoxy Enamel.

4) ICI:  Devran 250 Direct to Metal Gloss Enamel.

5) International:  Intergard 607 HS High Build Gloss Polyamine Epoxy Finish at 8.0-mil (0.203-mm) dry film thickness.

6) Moore:  M36/M37 Polyamide Epoxy Gloss Coating.

7) PPG:  97-1XXX Series Aquapon Polyamide-Epoxy Coating.

8) R-O:  9100 System Labor Saver High Performance Polyamine Epoxy at 5.0- to 8.0-mil (0.127- to 0.203-mm) dry film thickness.

9) S-W:  Tile Clad II High Solids B62WX Series B60V3.

10) Tnemec:  Series 84 H. S. Epoxy.

Retain system below for semigloss finish over interior concrete masonry block in severe environment.

2. Severe Environment (Semigloss Finish):  One finish coat over an intermediate coat and a block filler.

a. Block Filler:  Acrylic or epoxy block filler applied at spreading rate recommended by manufacturer as sufficient to fill pores.

1) Carboline:  Flexide Masonry Block Filler.

2) Devoe:  Confil HD Interior / Exterior Waterproofing Masonary Coating 88902.

3) DuPont:  300P Acrylic Emulsion Block Filler.

4) ICI:  Tru-Glaze 4010 Waterproofing Base Coat and Filler.

5) International:  Interlac 895 Epoxy Ester Block Filler.

6) Moore:  M31/M32 Waterborne Epoxy Block Filler.

7) PPG:  97-68X Series Aquapon Polyamide-Epoxy Block Filler.

8) R-O:  5199 Block Filler Surfa-Sele.

9) S-W:  Epoxy Ester Masonry Filler Sealer B61W2 Series.

10) Tnemec:  Series 130 Envirofill Waterborne Cementitious Acrylic.

b. Intermediate Coat:  Epoxy applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 2.0 to 5.0 mils (0.051 to 0.127 mm), unless otherwise indicated.

1) Carboline:  888 2-Component Polyamide Epoxy.

2) Devoe:  High Glaze II DP56UXXX High Build Epoxy.
3) DuPont:  25P High Solids Epoxy Mastic.

4) ICI:  Devran 224HS High Build Epoxy.

5) International:  Intergard 345 DTM Semi-Gloss Epoxy.

6) Moore:  M36/M38 Polyamide Epoxy Semi-Gloss Coating.

7) PPG:  97-1XXX Series Aquapon High Build Semi-Gloss Polyamide Epoxy Coating.

8) R-O:  9500 System High Build Polyamide Epoxy at 5.0- to 8.0-mil (0.127- to 0.203-mm) dry film thickness.

9) S-W:  Epolon II Multi-Mil Epoxy Series B62V800.

10) Tnemec:  Series 66 Hi-Build Epoxoline Polamidoamine Epoxy.

c. Topcoat:  Semigloss epoxy applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 2.0 to 5.0 mils (0.051 to 0.127 mm), unless otherwise indicated.

1) Carboline:  2-Component Polyamide Epoxy.

2) Devoe:  High Glaze II DP56UXXX High Build Epoxy.
3) DuPont:  25P High Solids Epoxy Mastic.

4) ICI:  Devran 224HS High Build Epoxy.

5) International:  Intergard 345 DTM Semi-Gloss Epoxy.

6) Moore:  M36/M38 Polyamide Epoxy Semi-Gloss Coating.

7) PPG:  97-1XXX Series Aquapon High Build Semi-Gloss Polyamide Epoxy Coating.

8) R-O:  9500 System High Build Polyamide Epoxy at 5.0- to 8.0-mil (0.127- to 0.203-mm) dry film thickness.

9) S-W:  Epolon II Multi-Mil Epoxy Series B62V800.

10) Tnemec:  Series 66 Hi-Build Epoxoline Polamidoamine Epoxy.

Retain system below for high-gloss finish over interior concrete masonry block in moderate environment.

3. Moderate Environment (High-Gloss Finish):  One finish coat over an intermediate coat and a block filler.

a. Block Filler:  Acrylic or epoxy block filler applied at spreading rate recommended by manufacturer as sufficient to fill pores.

1) Carboline:  Flexide Masonry Block Filler.

2) Devoe:  DP89301 Bloktex Heavy Duty Interior / Exterior Acrylic Block Filler.

3) DuPont:  300P Acrylic Emulsion Block Filler.

4) ICI:  Bloxfil 4000 Interior/Exterior Heavy Duty Acrylic Block Filler.

5) International:  Interlac 895 Epoxy Ester Block Filler.

6) Moore:  M31/M32 Waterborne Epoxy Block Filler.

7) PPG:  97-68X Series Aquapon Polyamide-Epoxy Block Filler.

8) R-O:  5199 Block Filler Surfa-Sele.

9) S-W:  Epoxy Ester Masonry Filler Sealer B61W2 Series.

10) Tnemec:  Series 130 Envirofill Waterborne Cementitious Acrylic.

b. Intermediate Coat:  Epoxy applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 2.0 to 6.0 mils (0.051 to 0.152 mm), unless otherwise indicated.

1) Carboline:  890 2-Component Epoxy.

2) Devoe:  High Glaze II DP56UXXX High Build Epoxy.
3) DuPont:  Corlar 26P HB DTM High Build Epoxy Enamel.

4) ICI:  Devran 224 HS High Build Epoxy Enamel.

5) International:  Intergard 740 Thin Film Gloss Polyamide Epoxy.

6) Moore:  M36/M37 Polyamide Epoxy Gloss Coating.

7) PPG:  97-1XXX Series Aquapon Polyamide-Epoxy Coatings.

8) R-O:  9100 System Labor Saver High Performance Epoxy at 5.0- to 8.0-mil (0.127- to 0.203-mm) dry film thickness.

9) S-W:  Tile Clad II High Solids B62WZ Series B60VZ70.

10) Tnemec:  Series 84 H. S. Epoxy.

c. Topcoat:  High-gloss epoxy applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 2.0 to 6.0 mils (0.051 to 0.152 mm), unless otherwise indicated.

1) Carboline:  890 2-Component Epoxy.

2) Devoe:  Gardcote Epoxy Coating DP34UXXX.

3) DuPont:  Corlar 26P HB DTM High Build Epoxy Enamel.

4) ICI:  Devran 250 Direct to Metal Gloss Epoxy.

5) International:  Intergard 740 Thin Film Gloss Polyamide Epoxy.

6) Moore:  M36/M37 Polyamide Epoxy Gloss Coating.

7) PPG:  97-1XXX Series Aquapon Polyamide-Epoxy Coating.

8) R-O:  9100 System Labor Saver High Performance Polyamine Epoxy at 5.0- to 8.0-mil (0.127- to 0.203-mm) dry film thickness.

9) S-W:  Tile Clad II High Solids B62WZ Series B60VZ70.

10) Tnemec:  Series 84 H. S. Epoxy.

Retain system below for semigloss finish over interior concrete masonry block in moderate environment.  Moore does not make flat products for use in this environment; contact Moore if alternative product is acceptable.

4. Moderate Environment (Semigloss Finish):  One finish coat over an intermediate coat and a block filler.

a. Block Filler:  Acrylic or epoxy block filler applied at spreading rate recommended by manufacturer as sufficient to fill pores.

1) Carboline:  Flexide Masonry Block Filler.

2) Devoe:  DP89301 Bloktex Heavy Duty Interior / Exterior Acrylic Block Filler.

3) DuPont:  300P Acrylic Emulsion Block Filler.

4) ICI:  Bloxfil 4000 Interior/Exterior Heavy Duty Acrylic Block Filler.

5) International:  Interlac 895 Epoxy Ester Block Filler.

6) PPG:  97-68X Series Aquapon Polyamide-Epoxy Block Filler.

7) R-O:  5199 Block Filler Surfa-Sele.

8) S-W:  Epoxy Ester Masonry Filler Sealer B61W2 Series.

9) Tnemec:  Series 130 Envirofill Waterborne Cementitious Acrylic.

b. Intermediate Coat:  Epoxy applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 2.0 to 5.0 mils (0.051 to 0.127 mm), unless otherwise indicated.

1) Carboline:  Sanitile 250 WB Finish Waterborne Epoxy-Acrylic.

2) Devoe:  High Glaze II DP56UXXX High Build Epoxy.
3) DuPont:  25P High Solids Epoxy Mastic.

4) ICI:  Devran 224 HS High Build Epoxy Enamel.

5) International:  Intergard 475 Semi-Gloss Polyamide Epoxy Intermediate/Finish.

6) PPG:  97-1XXX Series Aquapon High Build Semi-Gloss Polyamide Epoxy Coating.

7) R-O:  9500 System High Build Polyamide Epoxy at 5.0- to 8.0-mil (0.127- to 0.203-mm) dry film thickness.

8) S-W:  Epolon II Multi-Mil Epoxy Series B62V800.

9) Tnemec:  Series 66 Hi-Build Epoxoline Polamidoamine Epoxy.

c. Topcoat:  Semigloss epoxy applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 2.0 to 5.0 mils (0.051 to 0.127 mm), unless otherwise indicated.

1) Carboline:  Sanitile 250 WB Finish Waterborne Epoxy-Acrylic.

2) Devoe:  High Glaze II DP56UXXX High Build Epoxy.
3) DuPont:  25P High Solids Epoxy Mastic.

4) ICI:  Devran 224 HS High Build Epoxy Enamel.

5) International: Intergard 475 Semi-Gloss Polyamide Epoxy Intermediate/Finish.

6) PPG:  97-1XXX Series Aquapon High Build Semi-Gloss Polyamide Epoxy Coating.

7) R-O:  9500 System High Build Polyamide Epoxy at 5.0- to 8.0-mil (0.127- to 0.203-mm) dry film thickness.

8) S-W:  Epolon II Multi-Mil Epoxy Series B62V800.

9) Tnemec:  Series 66 Hi-Build Epoxoline Polamidoamine Epoxy.

Retain system below for high-gloss finish over interior concrete masonry block in mild environment.  Carboline does not make high-gloss products for use in this environment; contact Carboline if alternative product is acceptable.

5. Mild Environment (High-Gloss Finish):  One finish coat over an intermediate coat and a block filler.

a. Block Filler:  Acrylic or epoxy block filler applied at spreading rate recommended by manufacturer as sufficient to fill pores.

1) Devoe:  DP89301 Bloktex Heavy Duty Interior / Exterior Acrylic Block Filler.

2) DuPont:  300P Acrylic Emulsion Block Filler.

3) ICI:  Bloxfil 4000 Interior/Exterior Heavy Duty Acrylic Block Filler.

4) International:  Porter Acri-Fil 896 Acrylic Block Filler.

5) Moore:  M88 Latex Block Filler.

6) PPG:  16-90 Pitt-Glaze High Performance Acrylic Latex Block Filler.

7) R-O:  5199 Block Filler Surfa-Sele.

8) S-W:  Heavy Duty Block Filler B42W46.

9) Tnemec:  Latex Masonry Block Filler.

b. Intermediate Coat:  Acrylic enamel applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 1.0 to 4.0 mils (0.025 to 0.102 mm).

1) Devoe:  Mirrolac WB DP 84XX High Performance Acrylic Int. / Ext. Gloss Finish.

2) DuPont:  Corlar 76P 2-Component Waterborne Acrylic Epoxy Enamel.

3) ICI:  Devflex 4208 Interior/Exterior Waterborne Acrylic Gloss Enamel.

4) International:  Intercryl 530 WB Waterborne Acrylic Gloss Finish.

5) Moore:  M28 Acrylic Gloss Enamel.

6) PPG:  90-3XX Series Pitt-Tech One Pack Interior/Exterior High Performance Waterborne High Gloss DTM Industrial Enamel.

7) R-O:  5200 System Labor Saver Industrial Enamel High Performance Acrylic Finishes.

8) S-W:  DTM Acrylic Gloss Coating B66W100 Series.

9) Tnemec:  Series 28 Tuf-Cryl Water Based Acrylic Emulsion.

c. Topcoat:  High-gloss acrylic enamel applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 1.0 to 4.0 mils (0.025 to 0.102 mm).

1) Devoe:  Mirrolac WB DP84XX High Performance Acrylic Int. / Ext  Gloss Finish.

2) DuPont:  Corlar 76P 2-Component Waterborne Acrylic Epoxy Enamel.

3) ICI:  Devflex 4208 Interior/Exterior Waterborne Acrylic Gloss Enamel.

4) International:  Intercryl 530 WB Waterborne Acrylic Gloss Finish.

5) Moore:  M28 Acrylic Gloss Enamel.

6) PPG:  90-3XX Series Pitt-Tech One Pack Interior/Exterior High Performance Waterborne High Gloss DTM Industrial Enamel.

7) R-O:  5200 System Labor Saver Industrial Enamel High Performance Acrylic Finishes.

8) S-W:  DTM Acrylic Gloss Coating B66W100 Series.

9) Tnemec:  Series 28 Tuf-Cryl Water Based Acrylic Emulsion.

Retain system below for semigloss finish over interior concrete masonry block in mild environment.

6. Mild Environment (Semigloss Finish):  One finish coat over an intermediate coat and a block filler.

a. Block Filler:  Acrylic or epoxy block filler applied at spreading rate recommended by manufacturer as sufficient to fill pores.

1) Carboline:  Flexide Masonry Block Filler.

2) Devoe:  DP89301 Bloktex Heavy Duty Interior / Exterior Acrylic Block Filler.

3) DuPont:  300P Acrylic Emulsion Block Filler.

4) ICI:  Bloxfil 4000 Interior/Exterior Heavy Duty Acrylic Block Filler.

5) International:  Porter Acri-Fil 896 Acrylic Block Filler.

6) Moore:  M88 Latex Block Filler.

7) PPG:  16-90 Pitt-Glaze High Performance Acrylic Latex Block Filler.

8) R-O:  5199 Block Filler Surfa-Sele.

9) S-W:  Heavy Duty Block Filler B42W46.

10) Tnemec:  Latex Masonry Block Filler.

b. Intermediate Coat:  Acrylic enamel applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 1.5 to 4.0 mils (0.038 to 0.102 mm).

1) Carboline:  3359 Water-Borne Acrylic.

2) Devoe:  Mirrolac WB DP83XX  High Performance Acrylic Int. / Ext. Semi - Gloss Finish.

3) DuPont:  Intermediate coat not required.

4) ICI:  Devflex 4206 Interior/Exterior Waterborne Acrylic Semigloss Enamel.

5) International:  Intercryl 520 WB Waterborne Acrylic Semi-Gloss Finish.

6) Moore:  M29 D.T.M. Acrylic Semi-Gloss Finish.

7) PPG:  90-4XX Series Pitt-Tech One Pack Interior/Exterior High Performance Waterborne Satin DTM Industrial Enamel.

8) R-O:  5200 System Labor Saver Industrial Enamel High Performance Semi-Gloss Acrylic Finishes.

9) S-W:  DTM Acrylic Semi-Gloss Coating B66W200 Series.

10) Tnemec:  Series 29 Tuf-Cryl Water Based Acrylic Emulsion.

c. Topcoat:  Semigloss acrylic enamel applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 1.5 to 4.0 mils (0.038 to 0.102 mm).

1) Carboline:  3359 Water-Borne Acrylic.

2) Devoe:  Mirrolac WB DP83XX High Performance Acrylic Int. / Ext.Semi- Gloss Finish.

3) DuPont:  Tufcote 72P Waterborne DTM Acrylic Enamel.

4) ICI:  Devflex 4206 Interior/Exterior Waterborne Acrylic Semigloss Enamel.

5) International:  Intercryl 520 WB Waterborne Acrylic Semi-Gloss Finish.

6) Moore:  M29 D.T.M. Acrylic Semi-Gloss Finish.

7) PPG:  90-4XX Series Pitt-Tech One Pack Interior/Exterior High Performance Waterborne Satin DTM Industrial Enamel.

8) R-O:  5200 System Labor Saver Industrial Enamel High Performance Semi-Gloss Acrylic Finishes.

9) S-W:  DTM Acrylic Semi-Gloss Coating B66W200 Series.

10) Tnemec:  Series 28 Tuf-Cryl Water Based Acrylic Emulsion.

C. Wood:  Provide the following finish systems over interior wood surfaces:

Retain system below for high-gloss finish over interior wood surfaces in severe environment.  PPG and R-O do not make high-gloss products for use over wood in this environment.

For this substrate in this environment, International recommends a high-build system consisting of a single topcoat applied over primer at spreading rate indicated.

1. Severe Environment (High-Gloss Finish):  One finish coat over an intermediate coat and a primer.

a. Primer:  Epoxy primer applied at spreading rate recommended by manufacturer.

1) Carboline:  890 2-Component Epoxy.

2) Devoe:  High Glaze II DP56UXXX High Build Epoxy.
3) DuPont:  25P High Solids Epoxy Mastic.

4) ICI:  Devran 224HS High Build Epoxy.

5) International:  Intergard 475 Semi-Gloss Polyamide Epoxy Intermediate/Finish thinned 15 percent.

6) Moore:  M08/M09 Waterborne Epoxy Primer.

7) S-W:  Heavy Duty Epoxy B67W300 Series/B60V3.

8) Tnemec:  Series 151 Elasto-Grip Waterborne Polyamide Epoxy.

b. Intermediate Coat:  Epoxy applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 2.0 to 5.0 mils (0.051 to 0.127 mm).

1) Carboline:  890 2-Component Epoxy.

2) Devoe:  High Glaze II DP56UXXX High Build Epoxy.
3) DuPont:  Corlar 26P High Solids Epoxy Enamel.

4) ICI:  Devran 224 HS High Build Epoxy Enamel.

5) International:  Intermediate coat not required.

6) Moore:  M36/M37 Polyamide Epoxy Gloss Coating.

7) S-W:  Tile Clad II High Solids B62WZ Series/B60VZ70.

8) Tnemec:  Series 84 H. S. Epoxy.

c. Topcoat:  High-gloss polyamide epoxy applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 2.0 to 8.0 mils (0.051 to 0.127 mm).

1) Carboline:  890 2-Component Epoxy.

2) Devoe:  Gardcote Epoxy Coating DP34UXXX.

3) DuPont:  Corlar 26P High Solids Epoxy Enamel.

4) ICI:  Devran 250 Direct to Metal Gloss Epoxy.

5) International:  Intergard 607 HS High Build Gloss Polyamine Epoxy Finish at 8.0-mil (0.203-mm) dry film thickness.

6) Moore:  M36/M37 Polyamide Epoxy Gloss Coating.

7) S-W:  Tile Clad II High Solids B62WZ Series/B60VZ70.

8) Tnemec:  Series 84 H. S. Epoxy.

Retain system below for semigloss finish over interior wood surfaces in severe environment.  PPG and R-O do not make semigloss products for use over wood in this environment.

2. Severe Environment (Semigloss Finish):  One finish coat over an intermediate coat and a primer.

a. Primer:  Epoxy primer applied at spreading rate recommended by manufacturer.

1) Carboline:  888 2-Component Polyamide Epoxy.

2) Devoe:  High Glaze II DP56UXXX High Build Epoxy.
3) DuPont:  25P High Solids Epoxy Mastic.

4) ICI:  Devran 224HS High Build Epoxy.

5) International:  Intergard 475 Semi-Gloss Polyamide Epoxy Intermediate/Finish thinned 15 percent.

6) Moore:  M08/M09 Waterborne Epoxy Primer.

7) S-W:  Heavy Duty Epoxy B67W300 Series/B60V3.

8) Tnemec:  Series 151 Elasto-Grip Waterborne Polyamide Epoxy.

b. Intermediate Coat:  Epoxy applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 2.0 to 5.0 mils (0.051 to 0.127 mm).

1) Carboline:  888 2-Component Polyamide Epoxy.

2) Devoe:  High Glaze II DP56UXXX High Build Epoxy.
3) DuPont:  25P High Solids Epoxy Mastic.

4) ICI:  Devran 224HS High Build Epoxy.

5) International:  Intergard 345 DTM Semi-Gloss Epoxy.

6) Moore:  M36/M38 Polyamide Epoxy Semi-Gloss Coating.

7) S-W:  Epolon II Multi-Mil Epoxy Series B62V800.

8) Tnemec:  Series 66 Hi-Build Epoxoline Polamidoamine Epoxy.

c. Topcoat:  Semigloss polyamide epoxy applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 2.0 to 5.0 mils (0.051 to 0.127 mm).

1) Carboline:  888 2-Component Polyamide Epoxy.

2) Devoe:  High Glaze II DP56UXXX High Build Epoxy.
3) DuPont:  25P High Solids Epoxy Mastic.

4) ICI:  Devran 224HS High Build Epoxy Enamel.

5) International:  Intergard 345 DTM Semi-Gloss Epoxy.

6) Moore:  M36/M38 Polyamide Epoxy Semi-Gloss Coating.

7) S-W:  Epolon II Multi-Mil Epoxy Series B62V800.

8) Tnemec:  Series 66 Hi-Build Epoxoline Polamidoamine Epoxy.

Retain system below for high-gloss finish over interior wood surfaces in moderate environment.  PPG does not make high-gloss products for use over wood in this environment.

For this substrate in this environment, R-O recommends a high-solids system consisting of a single topcoat applied over primer at spreading rate indicated.

3. Moderate Environment (High-Gloss Finish):  One finish coat over an intermediate coat and a primer.

a. Primer:  Epoxy primer applied at spreading rate recommended by manufacturer.

1) Carboline:  890 2-Component Epoxy.

2) Devoe:  Gardcote-WBWaterborne Epoxy Gloss Coating DP25U9XX.

3) DuPont:  25P High Solids Epoxy Mastic.

4) ICI:  Tru-Glaze-WB 4408 Waterborne Epoxy Gloss Coating.

5) International:  Intergard 475 Semi-Gloss Polyamide Epoxy Intermediate/Finish thinned 15 percent.

6) Moore:  M08/M09 Waterborne Epoxy Primer.

7) R-O:  9100 System Labor Saver High Performance Epoxy.

8) S-W:  Heavy Duty Epoxy B67W300 Series/B60V3.

9) Tnemec:  Series 151 Elasto-Grip Waterborne Polyamide Epoxy.

b. Intermediate Coat:  Epoxy applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 2.0 to 5.0 mils (0.051 to 0.127 mm).

1) Carboline:  890 2-Component Epoxy.

2) Devoe:  Gardcote-WBWaterborne Epoxy Gloss Coating DP25U9XX.

3) DuPont:  Corlar 26P High Solids Epoxy Enamel.

4) ICI:  Tru-Glaze-WB 4408 Waterborne Epoxy Gloss Coating (129XX).

5) International:  Intergard 740 Thin Film Gloss Polyamide Epoxy.

6) Moore:  M43/M44 Acrylic Epoxy Gloss Coating.

7) R-O:  Intermediate coat not required.

8) S-W:  Tile Clad II High Solids B62WZ Series/B60VZ70.

9) Tnemec:  Series 28 Tuf-Cryl Water Based Acrylic Emulsion.

c. Topcoat:  High-gloss epoxy applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 2.0 to 5.0 mils (0.051 to 0.127 mm), unless otherwise indicated.

1) Carboline:  890 2-Component Epoxy.

2) Devoe:  Gardcote-WBWaterborne Epoxy Gloss Coating DP25U9XX.

3) DuPont:  Corlar 26P High Solids Epoxy Enamel.

4) ICI:  Tru-Glaze-WB 4408 Waterborne Epoxy Gloss Coating (129XX).

5) International:  Intergard 740 Thin Film Gloss Polyamide Epoxy.

6) Moore:  M43/M44 Acrylic Epoxy Gloss Coating.

7) R-O:  9100 System Labor Saver High Performance Epoxy at 5.0- to 8.0-mil (0.127- to 0.203-mm) dry film thickness.

8) S-W:  Tile Clad II High Solids B62WZ Series/B60VZ70.

9) Tnemec:  Series 28 Tuf-Cryl Water Based Acrylic Emulsion.

Retain system below for semigloss finish over interior wood surfaces in moderate environment.  Moore and PPG do not make semigloss products for use over wood in this environment.

For this substrate in this environment, R-O recommends a high-build system consisting of a single topcoat applied over primer at spreading rate indicated.

4. Moderate Environment (Semigloss Finish):  One finish coat over an intermediate coat and a primer.

a. Primer:  Acrylic or epoxy primer, as recommended by manufacturer for this substrate, applied at spreading rate recommended by manufacturer.

1) Carboline:  Multi-Bond 120 Waterborne Acrylic Primer.

2) Devoe:  Gardcote-WBWaterborne Epoxy Semi-Gloss Coating DP25U8XX.

3) DuPont:  25P High Solids Epoxy Mastic.

4) ICI:  Tru-Glaze-WB 4406 Waterborne Epoxy Semigloss Coating (128XX).

5) International:  Intergard 475 Semi-Gloss Polyamide Epoxy Intermediate/Finish thinned 15 percent.

6) R-O:  9500 System High Build Polyamide Epoxy.

7) S-W:  Heavy Duty Epoxy B67W300 Series/B60V3.

8) Tnemec:  Series 151 Elasto-Grip Waterborne Polyamide Epoxy.

b. Intermediate Coat:  Epoxy applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 1.5 to 6.0 mils (0.038 to 0.152 mm).

1) Carboline:  Sanitile 250 WB Finish Waterborne Epoxy-Acrylic.

2) Devoe:  Gardcote-WBWaterborne Epoxy Semi-Gloss Coating DP25U8XX.

3) DuPont:  25P High Solids Epoxy Mastic.

4) ICI:  Tru-Glaze-WB 4406 Waterborne Epoxy Semigloss Coating (128XX).

5) International:  Intergard 475 Semi-Gloss Polyamide Epoxy Intermediate/Finish.

6) R-O:  Intermediate coat not required.

7) S-W:  Epolon II Multi-Mil Epoxy Series B62V800.

8) Tnemec:  Series 29 Tuf-Cryl Water Based Acrylic Emulsion.

c. Topcoat:  Semigloss acrylic enamel applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 2.0 to 6.0 mils (0.051 to 0.152 mm), unless otherwise indicated.

1) Carboline:  Sanitile 250 WB Finish Waterborne Epoxy-Acrylic.

2) Devoe:  Gardcote-WBWaterborne Epoxy Semi-Gloss Coating DP25U8XX.

3) DuPont:  25P High Solids Epoxy Mastic.

4) ICI:  Tru-Glaze-WB 4406 Waterborne Epoxy Semigloss Coating (128XX).

5) International:  Intergard 475 Semi-Gloss Polyamide Epoxy Intermediate/Finish.

6) R-O:  9500 System High Build Polyamide Epoxy at 5.0- to 8.0-mil (0.127- to 0.203-mm) dry film thickness.

7) S-W:  Epolon II Multi-Mil Epoxy Series B62V800.

8) Tnemec:  Series 29 Tuf-Cryl Water Based Acrylic Emulsion.

Retain system below for high-gloss finish over interior wood surfaces in mild environment.  Carboline does not make high-gloss products for use in this environment; contact Carboline if alternative product is acceptable.

5. Mild Environment (High-Gloss Finish):  One finish coat over an intermediate coat and a primer.

a. Primer:  Acrylic or alkyd primer, as recommended by manufacturer for this substrate, applied at spreading rate recommended by manufacturer.

1) Devoe:  Mirrolac-WB DP8502 Interior / Exterior Waterborne DTM Flat Primer And Finish.

2) DuPont:  310 Exterior Flat Industrial Acrylic Emulsion.

3) ICI:  Devflex 4020 DTM Flat Interior/Exterior Waterborne Primer and Finish.

4) International:  Porter 515 Acrylic Bonding Primer.

5) Moore:  Super-Hide Latex Primer-Undercoater 284.

6) PPG:  6-855 Speedhide Interior Latex Enamel Undercoater.

7) R-O:  5269/5281 System Labor Saver Industrial Enamel High Performance Acrylic Primers.

8) S-W:  ProMar 200 Alkyd Enamel Undercoater B49W200.

9) Tnemec:  Series 51-792 PVA Sealer.

b. Intermediate Coat:  Acrylic enamel applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 1.5 to 4.0 mils (0.025 to 0.102 mm).

1) Devoe:  Mirrolac WB DP 84XX High Performance Acrylic Int. / Ext  Gloss Finish.

2) DuPont:  Intermediate coat not required.

3) ICI:  Devflex 4208 Interior/Exterior Waterborne Acrylic Gloss Enamel.

4) International:  Intercryl 530 WB Waterborne Acrylic Gloss Finish.

5) Moore:  M28 Acrylic Gloss Enamel.

6) PPG:  90-3XX Series Pitt-Tech One Pack Interior/Exterior High Performance Waterborne High Gloss DTM Industrial Enamel.

7) R-O:  5200 System Labor Saver Industrial Enamel High Performance Acrylic Finishes.

8) S-W:  DTM Acrylic Gloss Coating B66W100 Series.

9) Tnemec:  Series 28 Tuf-Cryl Water Based Acrylic Emulsion.

c. Topcoat:  High-gloss acrylic enamel applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 1.0 to 4.0 mils (0.025 to 0.102 mm).

1) Devoe:  Mirrolac WB DP 84XX High Performance Acrylic Int. / Ext  Gloss Finish.

2) DuPont:  Corlar 76P Waterborne Acrylic Epoxy Enamel.

3) ICI:  Devflex 4208 Interior/Exterior Waterborne Acrylic Gloss Enamel.

4) International:  Intercryl 530 WB Waterborne Acrylic Gloss Finish.

5) Moore:  M28 Acrylic Gloss Enamel.

6) PPG:  90-3XX Series Pitt-Tech One Pack Interior/ Exterior High Performance Waterborne High Gloss DTM Industrial Enamel.

7) R-O:  5200 System Labor Saver Industrial Enamel High Performance Acrylic Finishes.

8) S-W:  DTM Acrylic Gloss Coating B66W100 Series.

9) Tnemec:  Series 28 Tuf-Cryl Water Based Acrylic Emulsion.

Retain system below for semigloss finish over interior wood surfaces in mild environment.

6. Mild Environment (Semigloss Finish):  One finish coat over an intermediate coat and a primer.

a. Primer:  Acrylic or alkyd primer, as recommended by manufacturer for this substrate, applied at spreading rate recommended by manufacturer.

1) Carboline:  Multi-Bond 120 Waterborne Acrylic Primer.

2) Devoe:  Mirrolac-WB DP8502 Interior / Exterior Waterborne DTM Flat Primer And Finish.

3) DuPont:  310 Exterior Flat Industrial Acrylic Emulsion.

4) ICI:  Devflex 4020 DTM Flat Interior/Exterior Waterborne Primer and Finish.

5) International:  Porter 515 Acrylic Bonding Primer.

6) Moore:  Super-Hide Latex Primer-Undercoater 284.

7) PPG:  6-855 Speedhide Interior Latex Enamel Undercoater.

8) R-O:  5269/5281 System Labor Saver Industrial Enamel High Performance Acrylic Primers.

9) S-W:  ProMar 200 Alkyd Enamel Undercoater B49W200.

10) Tnemec:  Series 51-792 PVA Sealer.

b. Intermediate Coat:  Acrylic enamel applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 1.5 to 4.0 mils (0.038 to 0.102 mm).

1) Carboline:  3359 Water-Borne Acrylic.

2) Devoe:  Mirrolac WB DP83XX High Performance Acrylic Int. / Ext. Semi Gloss Finish.

3) DuPont:  Intermediate coat not required.

4) ICI:  Devflex 4206 Interior/Exterior Waterborne Acrylic Semigloss Enamel.

5) International:  Intercryl 520 WB Waterborne Acrylic Semi-Gloss Finish.

6) Moore:  M29 D.T.M. Acrylic Semi-Gloss Finish.

7) PPG:  90-4XX Series Pitt-Tech One Pack Interior/Exterior High Performance Waterborne Satin DTM Industrial Enamel.

8) R-O:  5200 System Labor Saver Industrial Enamel High Performance Semi-Gloss Acrylic Finishes.

9) S-W:  DTM Acrylic Semi-Gloss Coating B66W200 Series.

10) Tnemec:  Series 29 Tuf-Cryl Water Based Acrylic Emulsion.

c. Topcoat:  Semigloss acrylic enamel applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 1.5 to 4.0 mils (0.038 to 0.102 mm).

1) Carboline:  3359 Water-Borne Acrylic.

2) Devoe:  Mirrolac WB DP83XX High Performance Acrylic Int. / Ext. Semi Gloss Finish.

3) DuPont:  Tufcote 72P DTM Waterborne Acrylic Enamel.

4) ICI:  Devflex 4206 Interior/Exterior Waterborne Acrylic Semigloss Enamel.

5) International:  Intercryl 520 WB Waterborne Acrylic Semi-Gloss Finish.

6) Moore:  M29 D.T.M. Acrylic Semi-Gloss Finish.

7) PPG:  90-4XX Series Pitt-Tech One Pack Interior/Exterior High Performance Waterborne Satin DTM Industrial Enamel.

8) R-O:  5200 System Labor Saver Industrial Enamel High Performance Semi-Gloss Acrylic Finishes.

9) S-W:  DTM Acrylic Semi-Gloss Coating B66W2100 Series.

10) Tnemec:  Series 29 Tuf-Cryl Water Based Acrylic Emulsion.

D. Ferrous Metal:  Provide the following finish systems over interior ferrous-metal surfaces:

Retain system below for high-gloss finish over interior ferrous-metal surfaces in severe environment.

For this substrate in this environment, International and R-O recommend a system consisting of a single topcoat applied over primer at spreading rate indicated.

1. Severe Environment (High-Gloss Finish):  One finish coat over an intermediate coat and a primer.

a. Primer:  Epoxy primer applied at spreading rate recommended by manufacturer.

1) Carboline:  893 2-Component, High Build Epoxy Primer.

2) Devoe:  High Glaze II DP56UXXX High Build Epoxy.
3) DuPont:  25P High Solids Epoxy Mastic.

4) ICI:  Devran 224HS High Build Epoxy.

5) International:  Intergard 251 Thin Film Polyamide Epoxy Rust Inhibitive Primer.

6) Moore:  M33/M34 Polyamide Epoxy Metal Primer.

7) PPG:  97-14XX Series Pitt-Guard DTR Polyamide Epoxy Coating.

8) R-O:  9100 System Labor Saver High Performance Epoxy.

9) S-W:  Recoatable Epoxy Primer B67 Series/B67V5.

10) Tnemec:  27 F. C. Typoxy Polyamide Epoxy.

b. Intermediate Coat:  Epoxy applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 2.0 to 5.0 mils (0.051 to 0.127 mm).

1) Carboline:  890 2-Component Epoxy.

2) Devoe:  High Glaze II DP56UXXX High Build Epoxy.
3) DuPont:  Corlar 26P HB DTM High Build Epoxy Enamel.

4) ICI:  Devran 224HS High Build Epoxy.

5) International:  Intermediate coat not required.

6) Moore:  M36/M38 Polyamide Epoxy Semi-Gloss Coating.

7) PPG:  97-1XXX Series Aquapon Polyamide-Epoxy Coating.

8) R-O:  Intermediate coat not required.

9) S-W:  Tile Clad II High Solids B62WZ Series/B60VZ70.

10) Tnemec:  Series 84 H. S. Epoxy.

c. Topcoat:  High-gloss epoxy applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 2.0 to 5.0 mils (0.051 to 0.127 mm), unless otherwise indicated.

1) Carboline:  890 2-Component Epoxy.

2) Devoe:  Gardcote Epoxy Coating DP34UXXX.

3) DuPont:  Corlar 26P HB DTM High Build Epoxy Enamel.

4) ICI:  Devthane 250 Direct-to Metal (DTM) Gloss Epoxy.

5) International:  Intergard 607 HS High Build Gloss Polyamine Epoxy Finish at 8.0-mil (0.203-mm) dry film thickness.

6) Moore:  M36/M37 Polyamide Epoxy Gloss Coating.

7) PPG:  97-1XXX Series Aquapon Polyamide-Epoxy Coating.

8) R-O:  9100 System Labor Saver High Performance Epoxy at 5.0- to 8.0-mil (0.127- to 0.203-mm) dry film thickness.

9) S-W:  Tile Clad II High Solids B62WZ Series/B60VZ70.

10) Tnemec:  Series 84 H. S. Epoxy.

Retain system below for semigloss finish over interior ferrous-metal surfaces in severe environment.

For this substrate in this environment, R-O recommends a high-build system consisting of a single topcoat applied over primer at spreading rate indicated.

2. Severe Environment (Semigloss Finish):  One finish coat over an intermediate coat and a primer.

a. Primer:  Epoxy primer applied at spreading rate recommended by manufacturer.

1) Carboline:  888 2-Component Polyamide Epoxy at 2.0 to 4 mils (0.051 to 0.102 mm).

2) Devoe:  High Glaze II DP56UXXX High Build Epoxy at 4.0 mil (0.102mm) dry film thickness.
3) DuPont:  25P High Solids Epoxy Mastic at 4.0-mil (0.102-mm) dry film thickness.

4) ICI:  Devran 224HS High Build Epoxy at 4.0-mil (0.102-mm) dry film thickness.

5) International:  Intergard 251 Thin Film Polyamide Epoxy Rust Inhibitive Primer at 2.0-mil (0.051-mm) dry film thickness.

6) Moore:  M33/M34 Polyamide Epoxy Metal Primer at 2.0-mil (0.051-mm) dry film thickness.

7) PPG:  97-14XX Series Pitt-Guard DTR Polyamide Epoxy Coating at 6.0-mil (0.152-mm) dry film thickness.

8) R-O:  9500 System High Build Polyamide Epoxy at 5.0- to 8.0-mil (0.127- to 0.203-mm) dry film thickness.

9) S-W:  Recoatable Epoxy Primer B67 Series/B67V5 at 4.0- to 6.0-mil (0.102- to 0.152-mm) dry film thickness.

10) Tnemec:  27 F. C. Typoxy Polyamide Epoxy.

b. Intermediate Coat:  Epoxy applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 2.0 to 4.0 mils (0.051 to 0.102 mm).

1) Carboline:  888 2-Component Polyamide Epoxy.

2) Devoe:  High Glaze II DP56UXXX High Build Epoxy.
3) DuPont:  25P High Solids Epoxy Mastic.

4) ICI:  Devran 224HS High Build Epoxy.

5) International:  Intergard 345 DTM Semi-Gloss Epoxy.

6) Moore:  M36/M38 Polyamide Epoxy Semi-Gloss Coating.

7) PPG:  97-1XXX Series Aquapon High Build Semi-Gloss Polyamide Epoxy Coating.

8) R-O:  Intermediate coat not required.

9) S-W:  Epolon II Multi-Mil Epoxy Series B62V800.

10) Tnemec:  Series 66 Hi-Build Epoxoline Polamidoamine Epoxy.

c. Topcoat:  Semigloss epoxy applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 2.0 to 5.0 mils (0.051 to 0.127 mm).

1) Carboline:  888 2-Component Polyamide Epoxy.

2) Devoe:  High Glaze II DP56UXXX High Build Epoxy.
3) DuPont:  25P High Solids Epoxy Mastic.

4) ICI:  Devran 224HS High Build Epoxy.

5) International:  Intergard 345 DTM Semi-Gloss Epoxy.

6) Moore:  M36/M38 Polyamide Epoxy Semi-Gloss Coating.

7) PPG:  97-1XXX Series Aquapon High Build Semi-Gloss Polyamide Epoxy Coating.

8) R-O:  9500 System High Build Polyamide Epoxy at 5.0- to 8.0-mil (0.127- to 0.203-mm) dry film thickness.

9) S-W:  Epolon II Multi-Mil Epoxy Series B62V800.

10) Tnemec:  Series 66 Hi-Build Epoxoline Polamidoamine Epoxy.

Retain system below for high-gloss finish over interior ferrous-metal surfaces in moderate environment.

For this substrate in this environment, R-O recommends a high-solids system consisting of a single topcoat applied over primer at spreading rate indicated.

3. Moderate Environment (High-Gloss Finish):  One finish coat over an intermediate coat and a primer.

a. Primer:  Epoxy primer applied at spreading rate recommended by manufacturer.

1) Carboline:  888 2-Component Polyamide Epoxy.

2) Devoe:  Gardcote WBWaterborne Epoxy Primer DP24U935.

3) DuPont:  25P High Solids Epoxy Mastic.

4) ICI:  Tru-Glaze-WB 4030 Waterborne Epoxy Primer.

5) International:  Intergard 251 Thin Film Polyamide Epoxy Rust Inhibitive Primer.

6) Moore:  M08/M09 Waterborne Epoxy Primer.

7) PPG:  97-14XX Series Pitt-Guard DTR Polyamide Epoxy Coating.

8) R-O:  9100 System Labor Saver High Performance Epoxy.

9) S-W:  Recoatable Epoxy Primer B67 Series/B67V5.

10) Tnemec:  27 F. C. Typoxy Polyamide Epoxy.

b. Intermediate Coat:  Epoxy applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 1.0 to 4.0 mils (0.025 to 0.102 mm).

1) Carboline:  890 2-Component Epoxy.

2) Devoe:  Gardcote-WBWaterborne Epoxy Gloss Coating DP25U9XX.

3) DuPont:  Corlar 26P High Solids Epoxy Enamel.

4) ICI:  Tru-Glaze-WB 4408 Waterborne Epoxy Gloss Coating (129XX).

5) International:  Intergard 740 Thin Film Gloss Polyamide Epoxy.

6) Moore:  M43/M44 Acrylic Epoxy Gloss Coating.

7) PPG:  97-1XXX Series Aquapon Polyamide-Epoxy Coating.

8) R-O:  Intermediate coat not required.

9) S-W:  Tile Clad II High Solids B62WZ Series/B60VZ70.

10) Tnemec:  Series 84 H. S. Epoxy.

c. Topcoat:  High-gloss epoxy applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 1.0 to 4.0 mils (0.025 to 0.102 mm), unless otherwise indicated.

1) Carboline:  890 2-Component Epoxy.

2) Devoe:  Gardcote-WBWaterborne Epoxy Gloss Coating DP25U9XX.

3) DuPont:  Corlar 26P High Solids Epoxy Enamel.

4) ICI:  Tru-Glaze-WB 4408 Waterborne Epoxy Gloss Coating (129XX).

5) International:  Intergard 740 Thin Film Gloss Polyamide Epoxy.

6) Moore:  M43/M44 Acrylic Epoxy Gloss Coating.

7) PPG:  97-1XXX Series Aquapon Polyamide-Epoxy Coating.

8) R-O:  9100 System Labor Saver High Performance Epoxy at 5.0- to 8.0-mil (0.127- to 0.203-mm) dry film thickness.

9) S-W:  Tile Clad II High Solids B62WZ Series/B60VZ70.

10) Tnemec:  Series 84 H. S. Epoxy.

Retain system below for semigloss finish over interior ferrous-metal surfaces in moderate environment.  Moore does not make flat products for use over wood in this environment; contact Moore if alternative product is acceptable.

For this substrate in this environment, R-O recommends a high-solids system consisting of a single topcoat applied over primer at spreading rate indicated.

4. Moderate Environment (Semigloss Finish):  One finish coat over an intermediate coat and a primer.

a. Primer:  Epoxy primer applied at spreading rate recommended by manufacturer.

1) Carboline:  888 2-Component Polyamide Epoxy.

2) Devoe:  Gardcote WBWaterborne Epoxy Primer DP24U935.

3) DuPont:  25P High Solids Epoxy Mastic.

4) ICI:  Tru-Glaze-WB 4030 Waterborne Epoxy Primer.

5) International:  Intergard 251 Thin Film Polyamide Epoxy Rust Inhibitive Primer.

6) PPG:  97-14XX Series Pitt-Guard DTR Polyamide Epoxy Coating.

7) R-O:  9500 System High Build Polyamide Epoxy.

8) S-W:  Recoatable Epoxy Primer B67 Series/B67V5.

9) Tnemec:  Series 27 F. C. Typoxy Polyamide Epoxy.

b. Intermediate Coat:  Epoxy applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 2.0 to 5.0 mils (0.051 to 0.127 mm).

1) Carboline:  Sanitile 250 WB Finish Waterborne Epoxy-Acrylic.

2) Devoe:  Gardcote-WBWaterborne Epoxy Semi-Gloss Coating DP25U8XX.

3) DuPont:  25P High Solids Epoxy Mastic.

4) ICI:  Tru-Glaze-WB 4406 Waterborne Epoxy Semigloss Coating (128XX).

5) International:  Intergard 475 Semi-Gloss Polyamide Epoxy Intermediate/Finish.

6) PPG:  97-1XXX Series Aquapon High Build Semi-Gloss Polyamide Epoxy Coating.

7) R-O:  Intermediate coat not required.

8) S-W:  Epolon II Multi-Mil Epoxy Series B62V800.

9) Tnemec:  Series 66 Hi-Build Epoxoline.

c. Topcoat:  Semigloss epoxy applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 2.0 to 5.0 mils (0.051 to 0.127 mm), unless otherwise indicated.

1) Carboline:  Sanitile 250 WB Finish Waterborne Epoxy-Acrylic.

2) Devoe:  Gardcote-WBWaterborne Epoxy Semi-Gloss Coating DP25U8XX.

3) DuPont:  25P High Solids Epoxy Mastic.

4) ICI:  Tru-Glaze-WB 4406 Waterborne Epoxy Semigloss Coating (128XX).

5) International:  Intergard 475 Semi-Gloss Polyamide Epoxy Intermediate/Finish.

6) PPG:  97-1XXX Series Aquapon High Build Semi-Gloss Polyamide Epoxy Coating.

7) R-O:  9500 System High Build Polyamide Epoxy at 5.0- to 8.0-mil (0.127- to 0.203-mm) dry film thickness.

8) S-W:  Epolon II Multi-Mil Epoxy Series B62V800.

9) Tnemec:  Series 66 Hi-Build Epoxoline.

Retain system below for high-gloss finish over interior ferrous-metal surfaces in mild environment.  Carboline does not make high-gloss products for use in this environment; contact Carboline if alternative product is acceptable.

5. Mild Environment (High-Gloss Finish):  One finish coat over an intermediate coat and a primer.

a. Primer:  Acrylic, alkyd, or epoxy primer, as recommended by manufacturer for this substrate, applied at spreading rate recommended by manufacturer.

1) Devoe:  Mirrolac-WB DP8502 Interior / Exterior Waterborne DTM Flat Primer And Finish.

2) DuPont:  25P High Solids Epoxy Mastic.

3) ICI:  Devflex 4020 DTM Flat Interior/Exterior Waterborne Primer and Finish.

4) International:  Intercryl 520 WB Waterborne Acrylic Primer or Finish.

5) Moore:  M04 Acrylic Metal Primer.

6) PPG:  90-7XX Series Pitt-Tech One Pack Interior/Exterior Primer Finish DTM Industrial Enamel.

7) R-O:  5269/5281 System Labor Saver Industrial Enamel High Performance Acrylic Primers.

8) S-W:  Kem Kromik Universal Metal Primer B50Z Series.

9) Tnemec:  Series 18 Enviroprime.

b. Intermediate Coat:  Acrylic enamel applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 1.0 to 4.0 mils (0.025 to 0.102 mm).

1) Devoe:  Mirrolac WB DP84XX High Performance Acrylic Int. / Ext  Gloss Finish.

2) DuPont:  Intermediate coat not required.

3) ICI:  Devflex 4208 Interior/Exterior Waterborne Acrylic Gloss Enamel.

4) International:  Intercryl 530 WB Waterborne Acrylic Gloss Finish.

5) Moore:  M28 Acrylic Gloss Enamel.

6) PPG:  90-3XX Series Pitt-Tech One Pack Interior/Exterior High Performance Waterborne High Gloss DTM Industrial Enamel.

7) R-O:  5200 System Labor Saver Industrial Enamel High Performance Acrylic Finishes.

8) S-W:  DTM Acrylic Gloss Coating B66W100 Series.

9) Tnemec:  Series 28 Tuf-Cryl Water Based Acrylic Emulsion.

c. Topcoat:  High-gloss acrylic enamel applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 1.5 to 4.0 mils (0.038 to 0.102 mm).

1) Devoe:  Mirrolac WB DP84XX High Performance Acrylic Int. / Ext  Gloss Finish.

2) DuPont:  Corlar 76P Waterborne Acrylic Epoxy Enamel.

3) ICI:  Devflex 4208 Interior/Exterior Waterborne Acrylic Gloss Enamel.

4) International:  Intercryl 530 WB Waterborne Acrylic Gloss Finish.

5) Moore:  M28 Acrylic Gloss Enamel.

6) PPG:  90-3XX Series Pitt-Tech One Pack Interior/Exterior High Performance Waterborne High Gloss DTM Industrial Enamel.

7) R-O:  5200 System Labor Saver Industrial Enamel High Performance Acrylic Finishes.

8) S-W:  DTM Acrylic Gloss Coating B66W100 Series.

9) Tnemec:  Series 28 Tuf-Cryl Water Based Acrylic Emulsion.

Retain system below for semigloss finish over interior ferrous-metal surfaces in mild environment.

6. Mild Environment (Semigloss Finish):  One finish coat over an intermediate coat and a primer.

a. Primer:  Acrylic or epoxy primer, as recommended by manufacturer for this substrate, applied at spreading rate recommended by manufacturer.

1) Carboline:  888 2-Component Polyamide Epoxy.

2) Devoe:  Mirrolac-WB DP8502 Interior / Exterior Waterborne DTM Flat Primer And Finish.

3) DuPont:  25P High Solids Epoxy Mastic.

4) ICI:  Devflex 4020 DTM Flat Interior/Exterior Waterborne Primer and Finish.

5) International:  Intercryl 520 WB Waterborne Acrylic Primer or Finish.

6) Moore:  M04 Acrylic Metal Primer.

7) PPG:  90-7XX Series Pitt-Tech One Pack Interior/Exterior Primer Finish DTM Industrial Enamel.

8) R-O:  5269/5281 System Labor Saver Industrial Enamel High Performance Acrylic Primers.

9) S-W:  Kem Kromik Universal Metal Primer B50Z Series.

10) Tnemec:  Series 18 Enviroprime.

b. Intermediate Coat:  Acrylic enamel applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 1.0 to 4.0 mils (0.025 to 0.102 mm).

1) Carboline:  3359 Water-Borne Acrylic.

2) Devoe:  Mirrolac WB DP83XX High Performance Acrylic Int. / Ext. Semi - Gloss Finish.

3) DuPont:  Intermediate coat not required.

4) ICI:  Devflex 4206 Interior/Exterior Waterborne Acrylic Semigloss Enamel.

5) International:  Intercryl 520 WB Waterborne Acrylic Semi-Gloss Finish.

6) Moore:  M29 D.T.M. Acrylic Semi-Gloss Finish.

7) PPG:  90-4XX Series Pitt-Tech One Pack Interior/Exterior High Performance Waterborne Satin DTM Industrial Enamel.

8) R-O:  5200 System Labor Saver Industrial Enamel Semi-Gloss High Performance Acrylic Finishes.

9) S-W:  DTM Acrylic Semi-Gloss Coating B66W200 Series.

10) Tnemec:  Series 29 Tuf-Cryl Water Based Acrylic Emulsion.

c. Topcoat:  Semigloss acrylic enamel applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 1.0 to 4.0 mils (0.025 to 0.102 mm).

1) Carboline:  3359 Water-Borne Acrylic.

2) Devoe:  Mirrolac WB DP83XX High Performance Acrylic Int. / Ext. Semi Gloss Finish.

3) DuPont:  Tufcote 72P DTM Waterborne Acrylic Enamel.

4) ICI:  Devflex 4206 Interior/Exterior Waterborne Acrylic Semigloss Enamel.

5) International:  Intercryl 520 WB Waterborne Acrylic Semi-Gloss Finish.

6) Moore:  M29 D.T.M. Acrylic Semi-Gloss Finish.

7) PPG:  90-4XX Series Pitt-Tech One Pack Interior/Exterior High Performance Waterborne Satin DTM Industrial Enamel.

8) R-O:  5200 System Labor Saver Industrial Enamel Semi-Gloss High Performance Acrylic Finishes.

9) S-W:  DTM Acrylic Semi-Gloss Coating B66W200 Series.

10) Tnemec:  Series 29 Tuf-Cryl Water Based Acrylic Emulsion.

E. Nonferrous Metal:  Provide the following finish systems over interior nonferrous-metal surfaces:

Retain system below for high-gloss finish over interior nonferrous-metal surfaces in severe environment.

For this substrate in this environment, International, R-O, and Tnemec recommend a single topcoat applied over primer at spreading rate indicated.

1. Severe Environment (High-Gloss Finish):  One finish coat over an intermediate coat and a primer.

a. Primer:  Acrylic or epoxy primer, as recommended by manufacturer for this substrate, applied at spreading rate recommended by manufacturer.

1) Carboline:  Rustbond Penetrating Sealer SG.

2) Devoe:  Gardcote DP54U735 Universal Epoxy Primer.

3) DuPont:  25P High Solids Epoxy Mastic.

4) ICI:  Devran 4170 Corrosion Resistant Epoxy Primer.

5) International:  Intergard 251 Thin Film Polyamide Epoxy Rust Inhibitive Primer.

6) Moore:  M33/M34 Polyamide Epoxy Metal Primer.

7) PPG:  97-14XX Series Pitt-Guard DTR Epoxy.

8) R-O:  9100 System Labor Saver High Performance Epoxy.

9) S-W:  DTM Wash Primer B71Y1.

10) Tnemec:  Series 27 F. C. Typoxy Polyamide Epoxy.

b. Intermediate Coat:  Epoxy applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 1.0 to 5.0 mils (0.025 to 0.127 mm).

1) Carboline:  890 2-Component Epoxy.

2) Devoe:  High Glaze II DP56UXXX High Build Epoxy.
3) DuPont:  Corlar 26P High Solids Epoxy Enamel.

4) ICI:  Devran 224HS High Build Epoxy.

5) International:  Intermediate coat not required.

6) Moore:  M36/M38 Polyamide Epoxy Semi-Gloss Coating.

7) PPG:  97-1XXX Series Aquapon Polyamide-Epoxy Coating.

8) R-O:  Intermediate coat not required.

9) S-W:  Tile Clad II High Solids B62WZ Series/B60VZ70.

10) Tnemec:  Intermediate coat not required.

c. Topcoat:  High-gloss epoxy applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 1.0 to 5.0 mils (0.025 to 0.127 mm), unless otherwise indicated.

1) Carboline:  890 2-Component Epoxy.

2) Devoe:  Gardcote Epoxy Coating DP34UXXX.

3) DuPont:  Corlar 26P High Solids Epoxy Enamel.

4) ICI:  Devran 250 Direct-to Metal (DTM) Gloss Epoxy.

5) International:  Intergard 607 HS High Build Gloss Polyamine Epoxy Finish at 8.0-mil (0.203-mm) dry film thickness.

6) Moore:  M36/M37 Polyamide Epoxy Gloss Coating.

7) PPG:  97-1XXX Series Aquapon Polyamide-Epoxy Coating.

8) R-O:  9100 System Labor Saver High Performance Epoxy at 5.0- to 8.0-mil (0.127- to 0.203-mm) dry film thickness.

9) S-W:  Tile Clad II High Solids B62WZ Series/B60VZ70.

10) Tnemec:  Series 84 H. S. Epoxy.

Retain system below for semigloss finish over interior nonferrous-metal surfaces in severe environment.  Moore does not make semigloss products for use in this environment; contact Moore if alternative product is acceptable.

2. Severe Environment (Semigloss Finish):  One finish coat over an intermediate coat and a primer.

a. Primer:  Acrylic or epoxy primer, as recommended by manufacturer for this substrate, applied at spreading rate recommended by manufacturer.

1) Carboline:  888 2-Component Polyamide Epoxy.

2) Devoe:  Gardcote DP54U735 Universal Epoxy Primer.

3) DuPont:  25P High Solids Epoxy Mastic.

4) ICI:  Devran 4170 Corrosion Resistant Epoxy Primer.

5) International:  Intergard 251 Thin Film Polyamide Epoxy Rust Inhibitive Primer.

6) PPG:  97-14XX Series Pitt-Guard DTR Epoxy.

7) R-O:  9500 System High Build Polyamide Epoxy at 5.0- to 8.0-mil (0.127- to 0.203-mm) dry film thickness.

8) S-W:  DTM Wash Primer B71Y1.

9) Tnemec:  Series 27 F. C. Typoxy Polyamide Epoxy.

b. Intermediate Coat:  Epoxy applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 2.0 to 5.0 mils (0.051 to 0.127 mm).

1) Carboline:  888 2-Component Polyamide Epoxy.

2) Devoe:  High Glaze II DP56UXXX High Build Epoxy.
3) DuPont:  25P High Solids Epoxy Mastic.

4) ICI:  Devran 224HS High Build Epoxy.

5) International:  Intergard 345 DTM Semi-Gloss Epoxy.

6) PPG:  97-1XXX Series Aquapon High Build Semi-Gloss Polyamide Epoxy Coating.

7) R-O:  Intermediate coat not required.

8) S-W:  Epolon II Multi-Mil Epoxy Series B62V800.

9) Tnemec:  Intermediate coat not required.

c. Topcoat:  Semigloss epoxy applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 2.0 to 5.0 mils (0.051 to 0.127 mm), unless otherwise indicated.

1) Carboline:  888 2-Component Polyamide Epoxy.

2) Devoe:  High Glaze II DP56UXXX High Build Epoxy.
3) DuPont:  25P High Solids Epoxy Mastic.

4) ICI:  Devran 224HS High Build Epoxy.

5) International:  Intergard 345 DTM Semi-Gloss Epoxy.

6) PPG:  97-1XXX Series Aquapon High Build Semi-Gloss Polyamide Epoxy Coating.

7) R-O:  9500 System High Build Polyamide Epoxy at 5.0- to 8.0-mil (0.127- to 0.203-mm) dry film thickness.

8) S-W:  Epolon II Multi-Mil Epoxy Series B62V800.

9) Tnemec:  Series 66 Hi-Build Epoxoline.

Retain system below for high-gloss finish over interior nonferrous-metal surfaces in moderate environment.

3. Moderate Environment (High-Gloss Finish):  One finish coat over an intermediate coat and a primer.

a. Primer:  Acrylic or epoxy primer, as recommended by manufacturer for this substrate, applied at spreading rate recommended by manufacturer.

1) Carboline:  Multi-Bond 120 Waterborne Acrylic Primer.

2) Devoe:  Gardcote DP54U735 Universal Epoxy Primer.

3) DuPont:  25P High Solids Epoxy Mastic.

4) ICI:  Devran 4170 Corrosion Resistant Epoxy Primer.

5) International:  Intergard 251 Thin Film Polyamide Epoxy Rust Inhibitive Primer.

6) Moore:  M15 Bonding Primer.

7) PPG:  97-14XX Series Pitt-Guard DTR Epoxy.

8) R-O:  9391 Heavy-Duty Polyamide Epoxy White Primer.

9) S-W:  DTM Wash Primer B71Y1.

10) Tnemec:  Series 27 F. C. Typoxy Polyamide Epoxy.

b. Intermediate Coat:  Epoxy applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 1.0 to 4.0 mils (0.025 to 0.102 mm).

1) Carboline:  890 2-Component Epoxy.

2) Devoe:  Gardcote-WBWaterborne Epoxy Gloss Coating DP25U9XX.

3) DuPont:  Corlar 26P High Solids Epoxy Enamel.

4) ICI:  Tru-Glaze-WB 4408 Waterborne Epoxy Gloss Coating (129XX).

5) International:  Intergard 740 Thin Film Gloss Polyamide Epoxy.

6) Moore:  M43/M44 Acrylic Epoxy Gloss Coating.

7) PPG:  97-1XXX Series Aquapon Polyamide-Epoxy Coating.

8) R-O:  9300 System Heavy Duty Epoxy Finish.

9) S-W:  Tile Clad II High Solids B62WZ Series/B60VZ70.

10) Tnemec:  Intermediate coat not required.

c. Topcoat:  High-gloss epoxy applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 1.0 to 4.0 mils (0.025 to 0.102 mm).

1) Carboline:  890 2-Component Epoxy.

2) Devoe:  Gardcote-WBWaterborne Epoxy Gloss Coating DP25U9XX.

3) DuPont:  Corlar 26P High Solids Epoxy Enamel.

4) ICI:  Tru-Glaze-WB 4408 Waterborne Epoxy Gloss Coating (129XX).

5) International:  Intergard 740 Thin Film Gloss Polyamide Epoxy.

6) Moore:  M43/M44 Acrylic Epoxy Gloss Coating.

7) PPG:  97-1XXX Series Aquapon Polyamide-Epoxy Coating.

8) R-O:  9300 System Heavy Duty Epoxy Finish.

9) S-W:  Tile Clad II High Solids B62WZ Series/B60VZ70.

10) Tnemec:  Series 84 H. S. Epoxy.

Retain system below for semigloss finish over interior nonferrous-metal surfaces in moderate environment.  Moore does not make flat products for use over wood in this environment; contact Moore if alternative product is acceptable.

For this substrate in this environment, R-O recommends a high-build system consisting of a single topcoat applied over primer at spreading rate indicated.

4. Moderate Environment (Semigloss Finish):  One finish coat over an intermediate coat and a primer.

a. Primer:  Acrylic or epoxy primer, as recommended by manufacturer for this substrate, applied at spreading rate recommended by manufacturer.

1) Carboline:  Multi-Bond 120 Waterborne Acrylic Primer.

2) Devoe:  Gardcote DP54U735 Universal Epoxy Primer.

3) DuPont:  25P High Solids Epoxy Mastic.

4) ICI:  Devran 4170 Corrosion Resistant Epoxy Primer.

5) International:  Intergard 251 Thin Film Polyamide Epoxy Rust Inhibitive Primer.

6) PPG:  97-14XX Series Pitt-Guard DTR Epoxy.

7) R-O:  9500 System High Build Polyamide Epoxy.

8) S-W:  DTM Wash Primer B71Y1.

9) Tnemec:  Series 27 F. C. Typoxy Polyamide Epoxy.

b. Intermediate Coat:  Epoxy applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 2.0 to 5.0 mils (0.051 to 0.127 mm).

1) Carboline:  Sanitile 250 WB Finish Waterborne Epoxy-Acrylic.

2) Devoe:  Gardcote-WBWaterborne Epoxy Semi-Gloss Coating DP25U8XX.

3) DuPont:  25P High Solids Epoxy Mastic.

4) ICI:  Tru-Glaze-WB 4406 Waterborne Epoxy Semigloss Coating (128XX).

5) International:  Intergard 475 Semi-Gloss Polyamide Epoxy Intermediate/Finish.

6) PPG:  97-1XXX Series Aquapon High Build Semi-Gloss Polyamide Epoxy Coating.

7) R-O:  Intermediate coat not required.

8) S-W:  Epolon II Multi-Mil Epoxy Series B62V800.

9) Tnemec:  Intermediate coat not required.

c. Topcoat:  Semigloss epoxy applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 2.0 to 5.0 mils (0.051 to 0.127 mm), unless otherwise indicated.

1) Carboline:  Sanitile 250 WB Finish Waterborne Epoxy-Acrylic.

2) Devoe:  Gardcote-WBWaterborne Epoxy Semi-Gloss Coating DP25U8XX.

3) DuPont:  25P High Solids Epoxy Mastic.

4) ICI:  Tru-Glaze-WB 4406 Waterborne Epoxy Semigloss Coating (128XX).

5) International:  Intergard 475 Semi-Gloss Polyamide Epoxy Intermediate/Finish.

6) PPG:  97-1XXX Series Aquapon High Build Semi-Gloss Polyamide Epoxy Coating.

7) R-O:  9500 System High Build Polyamide Epoxy at 5.0- to 8.0-mil (0.127- to 0.023-mm) dry film thickness.

8) S-W:  Epolon II Multi-Mil Epoxy Series B62V800.

9) Tnemec:  Series 66 Hi-Build Epoxoline.

Retain system below for high-gloss finish over interior nonferrous-metal surfaces in mild environment.  Carboline does not make high-gloss products for use in this environment; contact Carboline if alternative product is acceptable.

5. Mild Environment (High-Gloss Finish):  One finish coat over an intermediate coat and a primer.

a. Primer:  Acrylic or epoxy primer, as recommended by manufacturer for this substrate, applied at spreading rate recommended by manufacturer.

1) Devoe:  Mirrolac-WB DP8502 Interior / Exterior Waterborne DTM Flat Primer And Finish.

2) DuPont:  25P High Solids Epoxy Mastic.

3) ICI:  Devflex 4020 DTM Flat Interior/Exterior Waterborne Primer and Finish.

4) International:  Intercryl 520 WB Waterborne Acrylic Primer or Finish.

5) Moore:  M15 Bonding Primer.

6) PPG:  90-7XX Series Pitt-Tech One Pack Interior/Exterior Primer Finish DTM Industrial Enamel.

7) R-O:  5269/5281 System Labor Saver Industrial Enamel High Performance Acrylic Primers.

8) S-W:  DTM Wash Primer B71Y1.

9) Tnemec:  Series 27 F. C. Typoxy Polyamide Epoxy.

b. Intermediate Coat:  Acrylic enamel applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 1.5 to 4.0 mils (0.038 to 0.102 mm).

1) Devoe:  Mirrolac WB DP84XX High Performance Acrylic Int. / Ext  Gloss Finish.

2) DuPont:  Intermediate coat not required.

3) ICI:  Devflex 4208 Interior/Exterior Waterborne Acrylic Gloss Enamel.

4) International:  Intercryl 530 WB Waterborne Acrylic Gloss Finish.

5) Moore:  M28 Acrylic Gloss Enamel.

6) PPG:  90-3XX Series Pitt-Tech One Pack Interior/Exterior High Performance Waterborne High Gloss DTM Industrial Enamel.

7) R-O:  5200 System Labor Saver Industrial Enamel High Performance Acrylic Finishes.

8) S-W:  DTM Acrylic Gloss Coating B66W100 Series.

9) Tnemec:  Intermediate coat not required.

c. Topcoat:  High-gloss acrylic enamel applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 1.5 to 4.0 mils (0.038 to 0.102 mm).

1) Devoe:  Mirrolac WB DP84XX High Performance Acrylic Int. / Ext  Gloss Finish.

2) DuPont:  Corlar 76P 2-Component Waterborne Acrylic Epoxy Enamel.

3) ICI:  Devflex 4208 Interior/Exterior Waterborne Acrylic Gloss Enamel.

4) International:  Intercryl 530 WB Waterborne Acrylic Gloss Finish.

5) Moore:  M28 Acrylic Gloss Enamel.

6) PPG:  90-3XX Series Pitt-Tech One Pack Interior/Exterior High Performance Waterborne High Gloss DTM Industrial Enamel.

7) R-O:  5200 System Labor Saver Industrial Enamel High Performance Acrylic Finishes.

8) S-W:  DTM Acrylic Gloss Coating B66W100 Series.

9) Tnemec:  Series 28 Tuf-Cryl Water Based Acrylic Emulsion.

Retain system below for semigloss finish over interior nonferrous-metal surfaces in mild environment.

6. Mild Environment (Semigloss Finish):  One finish coat over an intermediate coat and a primer.

a. Primer:  Acrylic or epoxy primer, as recommended by manufacturer for this substrate, applied at spreading rate recommended by manufacturer.

1) Carboline:  Multi-Bond 120 Waterborne Acrylic Primer.

2) Devoe:  Mirrolac-WB DP8502 Interior / Exterior Waterborne DTM Flat Primer And Finish.

3) DuPont:  25P High Solids Epoxy Mastic.

4) ICI:  Devflex 4020 DTM Flat Interior/Exterior Waterborne Primer and Finish.

5) International:  Intercryl 520 WB Waterborne Acrylic Primer or Finish.

6) Moore:  M15 Bonding Primer.

7) PPG:  90-7XX Series Pitt-Tech One Pack Interior/Exterior Primer Finish DTM Industrial Enamel.

8) R-O:  5269/5281 System Labor Saver Industrial Enamel High Performance Acrylic Primers.

9) S-W:  DTM Wash Primer B71Y1.

10) Tnemec:  Series 27 F. C. Typoxy Polyamide Epoxy.

b. Intermediate Coat:  Acrylic enamel applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 1.5 to 4.0 mils (0.038 to 0.102 mm).

1) Carboline:  3359 Water-Borne Acrylic.

2) Devoe:  Mirrolac WB DP83XX High Performance Acrylic Int. / Ext. Semi - Gloss Finish.

3) DuPont:  Intermediate coat not required.

4) ICI:  Devflex 4206 Interior/Exterior Waterborne Acrylic Semigloss Enamel.

5) International:  Intercryl 520 WB Waterborne Acrylic Semi-Gloss Finish.

6) Moore:  M29 D.T.M. Acrylic Semi-Gloss Finish.

7) PPG:  90-4XX Series Pitt-Tech One Pack Interior/Exterior High Performance Waterborne Satin DTM Industrial Enamel.

8) R-O:  5200 System Labor Saver Industrial Enamel High Performance Semi-Gloss Acrylic Finishes.

9) S-W:  DTM Acrylic Semi-Gloss Coating B66W200 Series.

10) Tnemec:  Intermediate coat not required.

c. Topcoat:  Semigloss acrylic enamel applied at spreading rate recommended by manufacturer to achieve a dry film thickness of 1.5 to 4.0 mils (0.038 to 0.102 mm).

1) Carboline:  3359 Water-Borne Acrylic.

2) Devoe:  Mirrolac WB DP83XX High Performance Acrylic Int. / Ext. Semi - Gloss Finish.

3) DuPont:  Corlar 76P 2-Component Waterborne Acrylic Epoxy Enamel.

4) ICI:  Devflex 4206 Interior/Exterior Waterborne Acrylic Semigloss Enamel.

5) International:  Intercryl 520 WB Waterborne Acrylic Semi-Gloss Finish.

6) Moore:  M29 D.T.M. Acrylic Semi-Gloss Finish.

7) PPG:  90-4XX Series Pitt-Tech One Pack Interior/Exterior High Performance Waterborne Satin DTM Industrial Enamel.

8) R-O:  5200 System Labor Saver Industrial Enamel High Performance Semi-Gloss Acrylic Finishes.

9) S-W:  DTM Acrylic Semi-Gloss Coating B66W200 Series.

10) Tnemec:  Series 29 Tuf-Cryl Water Based Acrylic Emulsion.

PART 3 -  EXECUTION

3.1 EXAMINATION

A. With Applicator present, examine substrates and conditions under which high-performance coatings will be applied, for compliance with coating application requirements.

1. Apply coatings only after unsatisfactory conditions have been corrected and surfaces to receive coatings are thoroughly dry.

2. Start of application is construed as Applicator's acceptance of surfaces within that particular area.

Coordinate primers specified in other Sections with undercoats and finish coats specified in this Section to ensure compatibility of materials.  Some high-performance coatings will lift incompatible primers or have poor adhesion when applied over zinc-based or baked primers.

B. Coordination of Work:  Review other Sections in which primers or other coatings are provided to ensure compatibility of total systems for various substrates.  On request, furnish information on characteristics of specified finish materials to ensure compatible primers.

1. If a potential incompatibility of primers applied by others exists, obtain the following from the primer Applicator before proceeding:

a. Confirmation of primer's suitability for expected service conditions.

b. Confirmation of primer's ability to be top coated with materials specified.

2. Notify Architect about anticipated problems before using the coatings specified over substrates primed by others.

3.2 PREPARATION

A. General:  Remove plates, machined surfaces, and similar items already in place that are not to be coated.  If removal is impractical or impossible because of size or weight of item, provide surface-applied protection before surface preparation and coating.

1. After completing coating operations, reinstall items that were removed; use workers skilled in the trades involved.

B. Cleaning:  Before applying high-performance coatings, clean substrates of substances that could impair bond of coatings.  Remove oil and grease before cleaning.

1. Schedule cleaning and coating application so dust and other contaminates from cleaning process will not fall on wet, newly coated surfaces.

Always retain paragraph and subparagraphs below.  Proper surface preparation is essential for satisfactory coating performance.  Edit requirements, if necessary, to provide a barrier coat over shop-applied primers or to remove primer and reprime substrate.  Include special procedures requested by manufacturers.

C. Surface Preparation:  Clean and prepare surfaces to be coated according to manufacturer's written instructions for each substrate condition and as specified.

Coordination of shop-applied prime coats with high-performance coatings is critical.  See "Coordination of Work" Paragraph in "Examination" Article.  If compatibility problems exist, it may be necessary to provide barrier coats over primers or to remove primer and reprime substrate.

1. Provide barrier coats over incompatible primers or remove primers and reprime substrate.

Delete subparagraph and associated subparagraphs below if cementitious surfaces are not to be coated, or revise to suit Project.

2. Cementitious Substrates:  Prepare concrete, brick, concrete masonry block, and cement plaster surfaces to be coated.  Remove efflorescence, chalk, dust, dirt, grease, oils, and release agents.  Roughen as required to remove glaze.  If hardeners or sealers have been used to improve curing, use mechanical methods to prepare surfaces.

a. Use abrasive blast-cleaning methods if recommended by coating manufacturer.

b. Determine alkalinity and moisture content of surfaces by performing appropriate tests.  If surfaces are sufficiently alkaline to cause the finish paint to blister and burn, correct this condition before application.  Do not coat surfaces if moisture content exceeds that permitted in manufacturer's written instructions.

Delete subparagraph and associated subparagraphs below if wood surfaces are not to be coated, or revise to suit Project.

3. Wood Substrates:  Clean surfaces of dirt, oil, and other foreign substances with scrapers, mineral spirits, and sandpaper, as required.  Smoothly sand surfaces exposed to view and dust off.

a. Scrape and clean small, dry, seasoned knots, and apply a thin coat of white shellac or other recommended knot sealer, before applying primer.

b. Immediately on delivery, prime edges, ends, faces, undersides, and backsides of wood to be coated.

c. After priming, fill holes and imperfections in the finish surfaces with putty or plastic wood filler.  Sand smooth when dried.

Delete subparagraph and associated subparagraphs below if ferrous-metal surfaces are not to be coated, or revise to suit Project.

4. Ferrous-Metal Substrates:  Clean ungalvanized ferrous-metal surfaces that have not been shop coated; remove oil, grease, dirt, loose mill scale, and other foreign substances.  Use solvent or mechanical cleaning methods that comply with SSPC recommendations.

Delete subparagraph below if blast cleaning is not required.  SSPC-SP 10/NACE No. 2 requires a higher level of preparation than may be justified.  Reduce preparation to SSPC-SP 6/NACE No. 3 if circumstances warrant.

a. Blast-clean steel surfaces as recommended by coating manufacturer and according to SSPC-SP 10/NACE No. 2.

Delete subparagraph below if this treatment is not required.

b. Treat bare and sandblasted or pickled clean metal with a metal treatment wash coat before priming.

Delete subparagraph below if touchup painting of shop-applied primers will be done by material erector or Installer.

c. Touch up bare areas and shop-applied prime coats that have been damaged.  Wire brush, solvent clean, and touch up with same primer as the shop coat.

Delete subparagraph and associated subparagraph below if nonferrous-metal surfaces are not to be coated, or revise to suit Project.

5. Nonferrous-Metal Substrates:  Clean nonferrous and galvanized surfaces according to manufacturer's written instructions for the type of service, metal substrate, and application required.

a. Remove pretreatment from galvanized sheet metal fabricated from coil stock by mechanical methods.

D. Material Preparation:  Carefully mix and prepare coating materials according to manufacturer's written instructions.

1. Maintain containers used in mixing and applying coatings in a clean condition, free of foreign materials and residue.

2. Stir materials before applying to produce a mixture of uniform density.  Stir as required during application.  Do not stir surface film into the material.  Remove film and, if necessary, strain coating material before using.

3. Use only the type of thinners approved by manufacturer and only within recommended limits.

If tinting is not required, delete below.  Different tints will show through as topcoat erodes.

E. Tint each undercoat a lighter shade to facilitate identification of each coat if multiple coats of the same material are to be applied.  Tint undercoats to match color of finish coat, but provide sufficient difference in shade of undercoats to distinguish each separate coat.

3.3 APPLICATION

Revise this Article to suit Project.

A. General:  Apply high-performance coatings according to manufacturer's written instructions.

1. Use applicators and techniques best suited for the material being applied.

2. Do not apply high-performance coatings over dirt, rust, scale, grease, moisture, scuffed surfaces, or conditions detrimental to forming a durable coating film.

3. Coating colors, surface treatments, and finishes are indicated in the coating system descriptions.

4. Provide finish coats compatible with primers used.

5. The term "exposed surfaces" includes areas visible when permanent or built-in fixtures, convector covers, grilles, covers for finned-tube radiation, and similar components are in place.  Extend coatings in these areas, as required, to maintain system integrity and provide desired protection.

a. Coat surfaces behind movable equipment and furniture the same as similar exposed surfaces.  Before final installation, coat surfaces behind permanently fixed equipment or furniture with prime coat only.

b. Coat back sides of access panels, removable or hinged covers, and similar hinged items to match exposed surfaces.

B. Scheduling Coating:  Apply first coat to surfaces that have been cleaned, pretreated, or otherwise prepared for coating as soon as practicable after preparation and before subsequent surface deterioration.

1. The number of coats and film thickness required is the same regardless of application method.

a. Omit primer on metal surfaces that have been shop primed and touchup painted.

b. Do not apply succeeding coats until previous coat has cured as recommended by manufacturer.

c. Where manufacturer's written instructions require sanding, sand between applications to produce a smooth, even surface.

d. Allow sufficient time between successive coats to permit proper drying.  Do not recoat surfaces until coating has dried to where it feels firm, does not deform or feel sticky under moderate thumb pressure, and application of another coat does not cause undercoat to lift or lose adhesion.

2. If undercoats or other conditions show through final coat, apply additional coats until cured film has a uniform coating finish, color, and appearance.  Give special attention to edges, corners, crevices, welds, exposed fasteners, and similar surfaces to ensure that they receive a dry film thickness equivalent to that of flat surfaces.

C. Application Procedures:  Apply coatings by brush, roller, spray, or other applicators according to manufacturer's written instructions.

1. Brush Application:  Use brushes best suited for material applied and of appropriate size for the surface or item being coated.

a. Apply primers and first coats by brush unless manufacturer's written instructions permit using roller or mechanical applicators.

b. Brush out and work brush coats into surfaces in an even film.

c. Eliminate cloudiness, spotting, holidays, laps, brush marks, runs, sags, ropiness, or other surface imperfections.  Neatly draw glass lines and color breaks.

2. Rollers:  Use rollers of carpet, velvet back, or high-pile sheep's wool as recommended by manufacturer for the material and texture required.

Revise subparagraph and associated subparagraphs below if Owner's requirements or special Project conditions restrict use of spray equipment for coating application.  Spray application could damage sensitive electronic-operating equipment and cause respiratory problems for personnel in occupied buildings.

3. Spray Equipment:  Use mechanical methods to apply coating if permitted by manufacturer's written instructions and governing regulations.

a. Use spray equipment with orifice size recommended by manufacturer for material and texture required.

b. Apply each coat to provide the equivalent hiding of brush-applied coats.

c. Do not double back with spray equipment building-up film thickness of two coats in one pass, unless recommended by manufacturer.

D. Minimum Coating Thickness:  Apply each material no thinner than manufacturer's recommended spreading rate.  Provide total dry film thickness of the entire system as recommended by manufacturer.

E. Block Fillers:  Apply block fillers to concrete masonry block at a rate to ensure complete coverage with pores filled.

F. Prime Coats:  Before applying finish coats, apply a prime coat of material, as recommended by manufacturer, to material required to be coated or finished that has not been prime coated by others.

1. Recoat primed and sealed substrates if there is evidence of suction spots or unsealed areas in first coat, to ensure a finish coat with no burn-through or other defects caused by insufficient sealing.

Insert requirements for electrostatically applying coatings on metal substrates if process is acceptable to manufacturer.

G. Completed Work:  Match approved Samples for color, texture, and coverage.  Remove, refinish, or recoat work that does not comply with specified requirements.

3.4 FIELD QUALITY CONTROL

Retain this Article for large projects where controls may be less than desired.  Delete if tests are not required.

A. Owner reserves the right to invoke the following procedure at any time and as often as Owner deems necessary during the period when coatings are being applied:

1. Owner will engage the services of a qualified testing agency to sample coating material being used.  Samples of material delivered to Project site will be taken, identified, sealed, and certified in presence of Contractor.

2. Testing agency will perform appropriate tests for the following characteristics as required by Owner:

Review list below; delete unnecessary requirements.  Insert others to suit Project.

a. Quantitative materials analysis.

b. Absorption.

c. Accelerated weathering.

d. Accelerated yellowness.

e. Color retention.

f. Alkali and mildew resistance.

g. Abrasion resistance.

h. Apparent reflectivity.

i. Washability.

j. Dry opacity.

k. Recoating.

l. Skinning.

3. Owner may direct Contractor to stop applying coatings if test results show materials being used do not comply with specified requirements.  Contractor shall remove noncomplying coating materials from Project site, pay for testing, and recoat surfaces coated with rejected materials.  If necessary, Contractor may be required to remove rejected materials from previously coated surfaces if, on recoating with specified materials, the two coatings are not compatible.

3.5 CLEANING

A. Cleanup:  At end of each workday, remove rubbish, empty cans, rags, and other discarded materials from Project site.

1. After completing coating application, clean spattered surfaces.  Remove spattered coatings by washing, scraping, or other methods.  Do not scratch or damage adjacent finished surfaces.

3.6 PROTECTION

A. Protect work of other trades, whether being coated or not, against damage from coating operation.  Correct damage by cleaning, repairing, replacing, and recoating, as approved by Architect, and leave in an undamaged condition.

1. Provide "Wet Paint" signs to protect newly coated finishes.  After completing coating operations, remove temporary protective wrappings provided by others to protect their work.

2. At completion of construction activities of other trades, touch up and restore damaged or defaced coated surfaces.  Comply with procedures specified in PDCA P1.

END OF SECTION 09960

HIGH-PERFORMANCE COATINGS
09960 - 1

