Copyright 2001 AIA
MASTERSPEC
05/01
Devoe Paint (1/02)

Copyright 2001, The American Institute of Architects (AIA)

This PRODUCT MASTERSPEC section is licensed by ARCOM (1/02) for distribution by Devoe Paint. Changes made to MASTERSPEC by the manufacturer are indicated using underline/strikeout text. Review and accept changes according to project requirements and specifier's practice. The products listed are those considered by Devoe Paint to be comparable in quality to the products listed in MASTERSPEC. ARCOM and AIA do not recommend or endorse any manufacturers or products. For more information contact Devoe Paint, 925 Euclid Avenue, Cleveland, OH 44115. Phone: 216-344-8912. Fax: 216-263-0413.
SECTION 09963 - ELASTOMERIC COATINGS
This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 1 Specification Sections, apply to this Section.

1.2 SUMMARY

A. This Section includes surface preparation and application of elastomeric coatings to exterior surfaces.

Retain paragraph below if alternates are specified in Division 1 Section for Work in this Section.

B. Alternates:  Refer to Division 1 Section "Alternates" for description of Work in this Section affected by alternates.

If allowances or unit prices apply to Work of this Section, insert brief paragraphs here to alert Contractor and reference appropriate Division 1 Section for specific details.

1.3 DEFINITIONS

Standard terms used by coatings industry are defined in ASTM D 16.

A. General:  Standard coating terms defined in ASTM D 16 apply to this Section.

Retain term below if it remains after this Section has been edited; delete if Project does not include stucco.

B. Stucco:  A portland cement-based plaster used on exterior surfaces.

1.4 PERFORMANCE REQUIREMENTS

A. Provide elastomeric coatings that comply with performance requirements specified in MPI 113.

Retain paragraph above when compliance with MPI requirements is required.  Retain paragraph and subparagraphs below when necessary to comply with other performance requirements to suit Project or to limit compliance to certain products.

B. Provide elastomeric coating systems with the following properties as determined by test methods indicated:

Performance requirements described in subparagraphs below are listed in MPI 113.  Revise to suit Project or to establish other criteria.

Revise first subparagraph below, if necessary, to reference test method ASTM D 412 instead of ASTM D 2370 to establish percent of elongation at break.  Many manufacturers use ASTM D 412 to establish percent of elongation at break.  See Evaluations for discussion of performance standards.

1. Elongation:  Not less than 100 percent with a tensile strength of 200 psi (1379 kPa) and not less than 88 percent recovery after 1 hour and 90 percent recovery after 24 hours when tested according to ASTM D 2370 using parameters established by MPI 113.

2. Accelerated Weathering:  No cracking, peeling, blistering, chalking, or visual deterioration after 1000 hours when tested according to procedures in ASTM G 155.

3. Low-Temperature Flexibility:  No crack formation when tested according to ASTM D 1737.

4. Moisture-Vapor Transmission:  Not less than 2.0 perms (115 ng/Pa x s x sq. m) according to ASTM D 1653.

5. Wind-Driven Rain Resistance:  No water penetration according to procedures in FS TT-C-555.

6. Minimum Solids Content by Volume:  Not less than 45 percent.

Insert additional performance requirements to suit Project; some of the most common additional requirements specified are those for resistance to alkali and fungus.  See Evaluations for discussion.

1.5 SUBMITTALS

Revise first paragraph and subparagraphs below to suit Project and products required.

A. Product Data:  For each elastomeric coating system specified.  Include crack fillers, block fillers, and primers.

1. Material List:  An inclusive list of required coating materials.  Indicate each material and cross-reference the specific coating, finish system, and application.  Identify each material by manufacturer's catalog number and general classification.

2. Manufacturer's Information:  Technical information including label analysis and instructions for handling, storing, and applying each coating material.

Delete subparagraph below if authorities having jurisdiction do not regulate use of VOCs.  Number of states and local jurisdictions regulating or restricting use of coating materials with high VOC content is expected to increase over the next few years.  See Evaluations for further discussion.

3. Certification by elastomeric coating manufacturer that products supplied comply with local VOC regulations.

B. Samples for Initial Selection:  For each type of finish-coat material indicated.

Revise subparagraph below if Architect reserves the right to make final color selection from benchmark samples.

1. After color selection, Architect will furnish color chips indicating colors selected.

Delete paragraph and subparagraph above if colors are preselected and specified or scheduled.  Retain first paragraph and subparagraphs below with or without above.

C. Samples for Verification:  For each color and material to be applied, with texture to simulate actual conditions, on representative Samples of actual substrate.

1. Provide stepped Samples, defining each separate coat, including block fillers and primers.  Use representative colors when preparing Samples for review.  Resubmit until required sheen, color, and texture are achieved.

2. Provide a list of materials and applications for each coat of each Sample.  Label each Sample for location and application.

Division 1 Section "Submittal Procedures" specifies submission of three Samples as the default requirement.  Insert number below only if it differs from the number retained or inserted in the Division 1 Section.

3. Submit <Insert number> Samples on the following substrates for Architect's review of color and texture only:

Select sample submissions from list below to suit substrates in Project.  Add other substrates or special requirements to suit Project.

a. Concrete, Masonry, and Stucco:  [4-inch (100-mm) square] [4-by-6-inch100-by-150-mm] <Insert size and shape> Samples of actual substrate material for each color and texture.

b. Concrete Unit Masonry:  [4-by-8-inch (100-by-200-mm)] [6-by-10-inch (150-by-250-mm)] <Insert size> rectangular Samples of concrete masonry, with mortar joint in the center, for each color and texture.

D. Qualification Data:  For Applicator.

Delete first paragraph below if certificates will not be allowed in place of material test reports.

E. Material Certificates:  For each elastomeric coating material, signed by manufacturers.

F. Product Test Reports:  Based on evaluation of comprehensive tests by a qualified testing agency for each elastomeric coating material indicating compliance of elastomeric coatings with requirements based on comprehensive testing within the last [two] [five] <Insert number of years> years of current product formulations.

1.6 QUALITY ASSURANCE

A. Applicator Qualifications:  A firm or individual experienced in applying elastomeric coating systems similar in material and extent to those indicated for this Project, whose work has resulted in applications with a record of successful in-service performance.

Always retain paragraph below.  Systems could fail if coats are incompatible.

B. Source Limitations:  Obtain [crack fillers] [block fillers] [primers] [and] [other undercoat materials] from same manufacturer as finish coats.

Requirements in paragraph and subparagraphs below may be expensive if not specified carefully.  Delete for simple projects where such requirements are unreasonable.  Retain for large projects when Applicator must possess special skills or take unusual care in application.  Revise to suit Project.

C. Benchmark Samples (Mockups):  Provide full-coat benchmark finish samples for each type of coating on each substrate required.  Comply with procedures specified in PDCA P5.  Duplicate finish of approved sample submittals.

1. Architect will select one [concrete] [masonry] [concrete unit masonry] [stucco] exterior wall surface [and one] <Insert wall surface type> to represent surfaces and conditions for application of elastomeric coatings.

a. Wall Surfaces:  Prepare samples on at least [100 sq. ft. (9.3 sq. m)] <Insert size> of wall surface.

2. Apply benchmark samples according to requirements for the completed Work.  Provide required sheen, color, and texture on each surface.

3. Approved benchmark samples will be used to evaluate coating systems.

4. Obtain Architect's approval of benchmark samples before starting application of coatings.

Retain below if Architect reserves right to make final color selection from benchmark samples.

5. Final approval of colors will be from benchmark samples.

1.7 DELIVERY, STORAGE, AND HANDLING

A. Deliver materials to Project site in manufacturer's original, unopened packages and containers bearing manufacturer's name and label, and the following information:

Add other label requirements to suit Project.

1. Product name or title of material.

2. Manufacturer's stock number and date of manufacture.

3. Contents by volume, for pigment and vehicle constituents.

4. Thinning instructions (if permitted).

5. Application instructions.

6. Color name and number.

7. Handling instructions and precautions.

8. VOC content.

B. Store materials not in use in tightly covered containers in a well-ventilated area at a minimum ambient temperature of 45 deg F (7 deg C).  Maintain storage containers in a clean condition, free of foreign materials and residue.

1. Protect elastomeric coating materials from freezing.  Keep storage area neat and orderly.  Remove oily rags and waste daily.

Add special requirements for fire protection, heating, ventilation, and other special conditions for on-site storage areas, if required.

1.8 PROJECT CONDITIONS

Revise this Article if manufacturer's requirements are more restrictive.

A. Apply coatings only when temperature of surfaces to be coated and surrounding air temperatures are between 50 and 90 deg F (10 and 32 deg C), unless otherwise permitted by manufacturer's written instructions.

B. Do not apply coatings in snow, rain, fog, or mist; when relative humidity exceeds 85 percent; or at temperatures less than 5 deg F (3 deg C) above the dew point; or to damp or wet surfaces.

1. Allow wet surfaces to dry thoroughly and attain temperature and conditions specified before starting or continuing coating operation.

1.9 WARRANTY

When warranties are required, verify with Owner's counsel that special warranties stated in this Article are not less than remedies available to Owner under prevailing local laws.  Coordinate with Division 1 Section "Warranties."

A. Elastomeric Coating Warranty:  Manufacturer's standard form in which manufacturer agrees to repair or replace elastomeric coatings that fail within specified warranty period.  Failures include, but are not limited to, water penetration through the coating.

Revise warranty to period offered by manufacturers specified.  One manufacturer offers a 10-year warranty on labor and material; however, most offer only a limited 1-year warranty.

B. Warranty Period for Elastomeric Coatings:  [One] [Five] [10] <Insert number of years> year(s) from date of Substantial Completion.

1.10 EXTRA MATERIALS

Extra materials may not be allowed for publicly funded projects.

A. Furnish extra elastomeric coating materials from same production run as materials applied and in quantities described below.  Package materials in unopened, factory-sealed containers for storage and identify with labels describing contents.  Deliver extra materials to Owner.

Two subparagraphs below specify quantity of extra materials required; select one and delete the other.

Retain subparagraph below for projects that require large quantities of several categories of extra materials.  Quantity is an example only; revise to suit Project.  Some manufacturers use both 2- and 4-gal. (7.6- and 15.1-L) cases; if so, designate number of gallons (liters) required per case.

1. Quantity:  Furnish Owner with [1 gal. (3.8 L)] [2 gal. (7.5 L)] [one extra case] [<Insert other number> cases] of each color[ and finish] of elastomeric coating materials applied.

Retain below for projects that require only limited quantities of extra materials.

2. Quantity:  Furnish Owner with an additional [3] [5] [7] percent, but not less than 1 gal. (3.8 L) or 1 case, as appropriate, of each color applied.

PART 2 -  PRODUCTS

2.1 MANUFACTURERS

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.

A. Available Products:  Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, products listed in other Part 2 articles.

Retain above for nonproprietary or below for semiproprietary specification.  Refer to Division 1 Section "Product Requirements."

B. Products:  Subject to compliance with requirements, provide one of the products indicated in other Part 2 articles.

C. Manufacturers Names:  Shortened versions (shown in parentheses) of the following manufacturers' names are used in other Part 2 articles:

Manufacturers listed in the Coating Schedule produce elastomeric coating systems that are nationally distributed and usually available locally.  Add local and regional manufacturers if available and required.  Edit Part 2 articles to suit Project and local product availability.

1. Benjamin Moore & Co. (Benjamin Moore).

2. Devoe Paint (Devoe).

3. ICI Dulux Paint Centers, Inc. (ICI Dulux Paint).

4. Modac Products Company (Modac).

5. PPG Industries, Inc.; Pittsburgh Paints (Pittsburgh Paints).

6. Sonneborn, Div. of ChemRex, Inc. (Sonneborn).

7. Sto Concrete Restoration; Sto Finish Systems Division (Sto).

8. Tamms Industries, Inc. (Tamms).

9. Tnemec Company, Inc. (Tnemec).

10. <Insert manufacturer's name.>

2.2 ELASTOMERIC COATING MATERIALS, GENERAL

Always retain first paragraph below.  Systems could fail if coatings are incompatible.

A. Material Compatibility:  Provide crack fillers, block fillers, primers, elastomeric finish-coat materials, and related materials that are compatible with one another and substrates indicated under conditions of service and application, as demonstrated by manufacturer based on testing and field experience.

B. Material Quality:  Provide manufacturer's best-quality elastomeric coating materials that are factory formulated, comply with requirements in FS TT-C-555, and are recommended by manufacturer for the application indicated.  Material containers not displaying manufacturer's product identification are not acceptable.

Delete subparagraph below if Project requirements prohibit naming manufacturer's products.

1. Proprietary Names:  Use of manufacturer's proprietary product names to designate colors or materials is not intended to imply that products named are required to be used to the exclusion of equivalent products of other manufacturers.  Furnish manufacturer's material data and certificates of performance of proposed substitutions.

The number of colors used on a project will affect Project cost.  See Evaluations for a discussion.

If colors are preselected and more than one color is required, retain paragraph below and indicate colors in a separate color schedule at end of this Section, or show location and extent of each color on Drawings.

C. Colors and Textures:  See the Coating Schedule at the end of Part 3 for color selections.

If colors are not preselected, delete paragraph above and retain paragraph below and one of three options.  If retaining first or second option, indicate colors and textures in a separate schedule.

D. Colors and Textures:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range].

Products listed for each type of coating in succeeding Part 2 articles have been researched and evaluated and are believed to be comparable to one another.  However, due to differences among manufacturers' individual product formulas, some products may have advantages or disadvantages when compared to other products listed.  Base selection of product on coating performance characteristics required.

2.3 CRACK FILLERS

Crack fillers below are recommended by some manufacturers listed in "Manufacturers" Article for use with their elastomeric coating systems over substrates indicated.  Add products by regional manufacturers if required.  Delete substrates and products not included.

Retain paragraph below when cracks in substrate are present or anticipated.  Elastomeric coatings will bridge hairline cracks, but larger cracks must be sealed before applying finish coatings.

A. Crack Fillers:  Factory-formulated acrylic emulsion crack fillers compatible with substrate and finish-coat materials indicated.

Retain crack fillers below for cracks up to 1/16 inch (1.5 mm).  Benjamin Moore, Tamms, and Tnemec do not make specific recommendations for crack fillers.

1. Crack Filler for Cracks up to 1/16 Inch (1.5 mm):

a. ICI Dulux Paint; Decra-Flex Smooth Brush Grade Elastomeric Patching Compound.

b. Modac; Acra Lastic Brush Grade 115-004.

c. Pittsburgh Paints; Buttering Grade Vinyl Sealant 236-2414.

d. Sonneborn; Hydrocide 750 Brush Grade or Knife Grade Patching Compound.

e. Sto; Flexible Crack Filler.

f. <Insert manufacturer's brush-grade crack filler.>

Retain crack fillers below for cracks more than 1/16 inch (1.5 mm).  Benjamin Moore and Tnemec do not make specific recommendations for crack fillers.

2. Crack Filler for Cracks More Than 1/16 Inch (1.5 mm):

a. ICI Dulux Paint; Decra-Flex Smooth Knife Grade Elastomeric Patching Compound.

b. Modac; Acra Lastic Knife Grade 115-002.

c. Pittsburgh Paints; Regular Grade Vinyl Sealant 236-2397.

d. Sonneborn; Hydrocide 750 Knife Grade Patching Compound.

e. Sto; Flexible Crack Filler.

f. Tamms; Tamms Thin Patch.

g. <Insert manufacturer's knife-grade crack filler.>

2.4 CONCRETE MASONRY BLOCK FILLERS

Tnemec makes no recommendation for a concrete unit masonry block filler because it claims its product is self-priming and does not require a filler over these surfaces.  For highly absorbent surfaces, Tnemec recommends using its "Series 151 Elasto-grip."

A. Concrete Unit Masonry Block Filler:  Factory-formulated, high-performance latex block fillers.

1. Benjamin Moore; Moorcraft Super Craft Latex Block Filler #285:  Applied at a dry film thickness of not less than 8.1 mils (0.206 mm).

2. Devoe: DP89301 Bloktex Heavy Duty Acrylic Block Filler.

3. ICI Dulux Paint; Bloxfil 4000-1000 Interior/Exterior Heavy Duty Acrylic Block Filler:  Applied at a dry film thickness of not less than 7.0 to 14.5 mils (0.178 to 0.368 mm).

4. Modac; 100% Acrylic Block Filler 019-146:  Applied at a dry film thickness of not less than 4.0 mils (0.104 mm).

5. Pittsburgh Paints; 16-90 High-Performance Acrylic Block Filler:  Applied at a dry film thickness of not less than 6.0 mils (0.152 mm).

6. Sonneborn; Colorflex Block Filler #749:  Applied at a dry film thickness of not less than 1.3 mils (0.033 mm).

Sto recommends two coats of finish material instead of a block filler.  Sto recommends diluting first coat at rate of 1 gal. (3.8 L) of clean water for each 5 gal. (19 L) of finish-coat material.

7. Sto; Flexible Coating CR212 Thinned 1:5 with 1 Gal. (3.8 L) of Water per Each 5 Gal. (19 L) of CR212:  Applied at a dry film thickness of not less than 10 mils (0.254 mm).

8. Tamms; H/P Primer:  Applied at a dry film thickness of not less than 1.3 mils (0.033 mm).

9. <Insert manufacturer's block filler.>

2.5 PRIMERS

Tnemec makes no recommendation for concrete or masonry primers because it claims its product is self-priming over these surfaces.

A. Concrete and Masonry Primer:  Factory-formulated, alkali-resistant, acrylic-latex primer.

1. Benjamin Moore; Moore's Acrylic Masonry Sealer #066:  Applied at a dry film thickness of not less than 0.7 mil (0.018 mm).

2. Devoe:  DRH6502 Hydro-Shur Hydrosealer Waterborne Pigmented Bonding Coat.

3. ICI Dulux Paint; Aquacrylic GRIPPER 3210 Acrylic Primer:  Applied at a dry film thickness of not less than 1.3 mils (0.033 mm).

4. Modac; Acrylic Latex Surface Conditioner 019-156:  Applied at a dry film thickness of not less than 4.0 mils (0.104 mm).

5. Pittsburgh Paints; primer not required.

Retain subparagraph above or below depending on coating system required.  Pittsburgh Paints does not require a primer with a two-coat elastomeric coating system but recommends product below when a one-coat system is used.

6. Pittsburgh Paints; Speedhide Alkali Resistant Primer 6-603:  Applied at a dry film thickness of not less than 1.5 mils (0.038 mm).

7. Sonneborn; primer not required.

Retain subparagraph above or below depending on type of construction.  Sonneborn does not require a primer on new construction but recommends product below on existing construction if chalking is present.

8. Sonneborn; Colorflex Sealer #751:  Applied at a dry film thickness of not less than 1.3 mils (0.033 mm).

Sto recommends two coats of finish material instead of a primer; it also recommends diluting first coat at rate of 1 gal. (3.8 L) of clean water for each 5 gal. (19 L) of finish-coat material.

9. Sto; Flexible Coating CR212 Thinned 1:5 with 1 Gal. (3.8 L) of Water per Each 5 Gal. (19 L) of CR212:  Applied at a dry film thickness of not less than 10 mils (0.254 mm).

10. Tamms; H/P Primer:  Applied at a dry film thickness of not less than 1.3 mils (0.033 mm).

11. <Insert manufacturer's primer.>

B. Stucco Primer:  Factory-formulated stucco primer.

1. Benjamin Moore; Moore's Acrylic Masonry Sealer #066:  Applied at a dry film thickness of not less than 0.7 mil (0.018 mm).

2. Devoe:  DRH6502 Hydro-Shur Hydrosealer Waterborne Pigmented Bonding Coat.

3. ICI Dulux Paint; Aquacrylic GRIPPER 3210 Acrylic Primer:  Applied at a dry film thickness of not less than 1.3 mils (0.033 mm).

4. Modac; Acrylic Latex Surface Conditioner 019-156:  Applied at a dry film thickness of not less than 4.0 mils (0.104 mm).

5. Pittsburgh Paints; primer not required.

Retain subparagraph above or below depending on coating system required.  Pittsburgh Paints does not require a primer with a two-coat elastomeric coating system but recommends product below when a one-coat system is used.

6. Pittsburgh Paints; Pitt-Flex Exterior Masonry Coating 100 Percent Acrylic Elastomeric 4-110 Thinned with Water:  Applied at a dry film thickness of not less than 5.5 mils (0.140 mm).

7. Sonneborn; primer not required.

Retain subparagraph above or below depending on type of construction.  Sonneborn does not require a primer on new construction but recommends product below on existing construction if chalking is present.

8. Sonneborn; Colorflex Sealer #751:  Applied at a dry film thickness of not less than 1.3 mils (0.033 mm).

Sto recommends two coats of finish material instead of a primer; it also recommends diluting first coat at rate of 1 gal. (3.8 L) of clean water for each 5 gal. (19 L) of finish-coat material.

9. Sto; Flexible Coating CR212 Thinned 1:5 with 1 Gal. (3.8 L) of Water per Each 5 Gal. (19 L) of CR212:  Applied at a dry film thickness of not less than 10 mils (0.254 mm).

10. Tamms; H/P Primer:  Applied at a dry film thickness of not less than 1.3 mils (0.033 mm).

11. Tnemec; Elasto-Grip Series 151:  Applied at a dry film thickness of not less than 3.5 mils (0.090 mm).

12. <Insert manufacturer's primer.>

2.6 ELASTOMERIC FINISH-COAT MATERIALS

A. Smooth Elastomeric Finish:  Smooth, factory-formulated, 100 percent acrylic elastomeric coating.

1. Benjamin Moore; Moorlastic Elastomeric Waterproof Coating #055:  Applied at a dry film thickness of not less than 10 mils (0.254 mm).

2. Devoe:  DRH5702 Hydrolastic Smooth Coating (second finish coat recommended for increased warranty protection).

3. ICI Dulux Paint; Decra-Flex 2260-XXXX Smooth Elastomeric Coating System:  Applied at a dry film thickness of not less than 6.0 mils (0.15 mm).

4. Modac; Elastomeric Acrylic Coating--Smooth Texture 019-146:  Applied at a dry film thickness of not less than 7.0 mils (0.18 mm).

5. Pittsburgh Paints; Pitt-Flex Exterior Masonry Coating 100 Percent Acrylic Elastomeric 4-110:  Applied at a dry film thickness of not less than 5.5 mils (0.140 mm).

6. Sonneborn; Sonocoat Colorflex Waterproof Elastomeric Coating:  Applied at a dry film thickness of not less than 8.0 mils (0.020 mm).

7. Sto; Flexible Coating CR212:  Applied at a dry film thickness of not less than 10 mils (0.254 mm).

8. Tamms; Tammolastic Smooth Elastomeric Decorative and Protective Coating:  Applied at a dry film thickness of not less than 10 mils (0.254 mm).

9. Tnemec; Enviro-Crete Series 156 Smooth:  Applied at a dry film thickness of not less than 8.0 mils (0.021 mm).

10. <Insert manufacturer's comparable smooth elastomeric finish-coat material.>

B. Textured Elastomeric Finish:  Textured, factory-formulated, 100 percent acrylic elastomeric coating.

Products in subparagraphs below are generally fine-textured products.  Heavy-textured elastomeric coatings tend to pin-hole, which can lead to water penetration.  If heavy-textured coatings are required, contact manufacturer to determine product's suitability for intended use.

1. Devoe:  DRH5802 Hydrolastic Textured Coating (second finish coat recommended for increased warranty protection).

2. ICI Dulux Paint; Decra-Flex 2270-XXXX Fine Finish Elastomeric Coating System:  Applied at a dry film thickness of not less than 7.0 mils (0.18 mm).

3. Modac; Elastomeric Acrylic Coating--Medium Texture 019-027:  Applied at a dry film thickness of not less than 7.0 mils (0.18 mm).

4. Pittsburgh Paints; Speedhide Texture Coatings 100 Percent Acrylic 4-50:  Applied at a dry film thickness of not less than 6.1 mils (0.155 mm).

5. Sonneborn; Sonocoat Flextex Textured Elastomeric Coating:  Applied at a dry film thickness of not less than 8.0 mils (0.020 mm).

6. Sto; Flexible Coating CR235:  Applied at a dry film thickness of not less than 10 mils (0.254 mm).

7. Tamms; Tammolastic Textured Elastomeric Decorative and Protective Coating:  Applied at a dry film thickness of not less than 10 mils (0.254 mm).

8. Tnemec; Enviro-Crete Series 157, Textured:  Applied at a dry film thickness of not less than 9.0 mils (0.23 mm).

9. <Insert manufacturer's comparable textured elastomeric finish-coat material.>

PART 3 -  EXECUTION

3.1 EXAMINATION

Always retain this Article.  Before starting coating application, ensure that surfaces are in proper condition; otherwise, coating failure is probable.

A. Examine substrates and conditions, with Applicator present, for compliance with requirements for coating application.  Comply with procedures specified in PDCA P4.

1. Proceed with coating application only after unsatisfactory conditions have been corrected and surfaces are thoroughly dry.

2. Start of coating application will be construed as Applicator's acceptance of surface conditions.

Coordinate primers specified in other Sections with finish materials specified in this Section to ensure compatibility of materials.  If surfaces to be coated with elastomeric coatings have received a prime coat as part of Work specified in other Sections, determine that primer used is compatible with finish materials specified in this Section.  If materials are not compatible, it may be necessary to apply barrier coats or to remove existing primer and reprime the substrate.

B. Coordination of Work:  Review other Sections in which primers are provided to ensure compatibility of total system for various substrates.  On request, furnish information on characteristics of finish materials to ensure use of compatible primers.

1. Notify Architect about anticipated problems when using coatings specified over substrates primed by others.

3.2 PREPARATION

Revise first paragraph and subparagraph below if additional requirements are necessary to suit Project.

A. General:  Remove hardware and hardware accessories, plates, machined surfaces, light fixtures, and similar items already installed that are not to be coated.  If removal is impractical or impossible because of size or weight of item, provide surface-applied protection before surface preparation and coating.

1. After completing coating operations, reinstall items removed, using workers skilled in trades involved.

B. Cleaning:  Before applying coatings or other surface treatments, clean substrates of substances that could impair bond of coating systems.  Remove oil and grease before cleaning.

1. Schedule cleaning and coating application so dust and other contaminants from cleaning process will not fall on wet, newly coated surfaces.

Always retain paragraph and subparagraphs below that specify surface preparation.  Proper surface preparation is essential for satisfactory coating performance.  If necessary, revise requirements to include special procedures requested by manufacturers or to suit Project.

C. Surface Preparation:  Clean and prepare surfaces to be coated according to manufacturer's written instructions for particular substrate conditions and as specified.

Coordination of primers with finish coats is critical.  See "Coordination of Work" Paragraph in "Examination" Article.  If compatibility problems develop, it may be necessary to provide barrier coats over incompatible primers or to remove primer and reprime the substrate.

1. Provide barrier coats over incompatible primers or remove and reprime.

2. Cementitious Surfaces:  Prepare brick, concrete, concrete unit masonry, stucco, and similar surfaces to receive elastomeric coatings.  Remove efflorescence, chalk, dust, dirt, release agents, grease, oils, and similar impediments to good adhesion by water blasting followed by a clear water rinse.

a. Remove mildew and neutralize surfaces according to manufacturer's written instructions before patching materials are applied.

b. Roughen as required to remove glaze.  Use abrasive blast-cleaning methods if recommended by coating manufacturer.

c. If hardeners or sealers have been used to improve concrete curing, use mechanical methods for surface preparation.

d. Determine alkalinity and moisture content of surfaces to be coated by performing appropriate tests.  If surfaces are sufficiently alkaline to cause finish paint to blister and burn, correct this condition before application.  Do not apply coatings over surfaces where moisture content exceeds that permitted in manufacturer's written instructions.

Retain subparagraph below for crack repair.  Cracks must be filled before coating to maintain water-resistant protection and to prevent additional cracking and further deterioration.

3. Crack Repair:  Fill cracks according to manufacturer's written instructions before coating surfaces.

Retain subparagraph and associated subparagraphs below.  Crack treatment depends on crack size.  Some manufacturers modify these procedures to suit their products.  Revise below to suit products under consideration.

Subparagraph below describes procedures recommended by several manufacturers to repair deep hairline cracks.

4. Deep Hairline Cracks:  Remove dust and dirt from around cracks.  Remove mildew by sterilizing before filling.  Apply manufacturer's recommended primer to cracks before patching.  If shrinkage occurs after applying crack filler, apply additional filler material to cracks before initial application of elastomeric coatings.

Subparagraph below describes procedures recommended by several manufacturers to fill cracks up to 1/16 inch (1.5 mm) deep.

a. Cracks up to 1/16 Inch (1.5 mm):  Clean surface around cracks.  Apply crack filler primer penetrating cracks as deeply as possible, overflowing crack 2 inches (50 mm) on each side.  When crack filler primer is dry, apply manufacturer's recommended sealant, forced well into cracks using a brush, putty knife, or trowel.  Smooth edges of primed area around cracks.  Allow for sealant shrinkage when applying.

Subparagraph below describes procedures recommended by several manufacturers to fill cracks up to 3/8 inch (9.5 mm) deep.

b. Cracks up to 3/8 Inch (9.5 mm):  Open cracks to 1/4 to 3/8 inch (6 to 9.5 mm) wide and 1/8 inch (3 mm) deep.  Clean cracks and surrounding area removing dust, dirt, and other impurities.  Apply crack filler primer recommended by manufacturer with a brush to obtain uniform coverage and spread approximately 2 inches (50 mm) on each side of cracks.  Fill cracks with manufacturer's recommended crack filler applied with a putty knife or trowel, and allow for shrinkage.  If excessive shrinkage occurs, reapply crack filler.

Revise paragraph and subparagraphs below to suit products specified.

D. Material Preparation:  Mix and prepare materials according to coating manufacturer's written instructions.

1. Maintain containers used in mixing and applying elastomeric coatings in a clean condition, free of foreign materials and residue.

2. Stir materials before application to produce a mixture of uniform density.  Stir as required during application.  If surface film forms, do not stir film into material.  If necessary, remove film and strain coating material before using.

3. If manufacturer permits thinning, use only thinners recommended by manufacturer, and only within recommended limits.

If tinting is not required, delete below.  Different tints will show through as topcoat erodes.

E. Tinting:  Tint each undercoat a lighter shade to simplify identification of each coat when multiple coats of same material are applied.  Tint undercoats to match color of finish coat, but provide sufficient differences in shade of undercoats to distinguish each separate coat.

3.3 APPLICATION

Revise this Article to suit Project.  Add special restrictions on application methods if required.

A. General:  Apply elastomeric coatings according to manufacturer's written instructions.  Use applicators and techniques best suited for substrate and type of material being applied.

1. Colors, surface treatments, and finishes are indicated in coating schedule.

2. Do not paint over conditions detrimental to formation of a durable coating film, such as dirt, rust, scale, grease, moisture, and scuffed surfaces.

3. Provide finish coats compatible with primers used.

B. Labels:  Do not paint over UL, FMG, or other code-required labels or equipment name, identification, performance rating, or nomenclature plates.

C. Scheduling Coating:  Apply first coat to surfaces that have been cleaned, pretreated, or otherwise prepared for painting as soon as practicable after preparation and before subsequent surface deterioration.

Insert restrictions on use of spray equipment to suit Project.

1. Number of coats and film thickness required are same regardless of application method.  Do not apply succeeding coats until previous coat has cured as recommended by manufacturer.

2. If undercoats or other conditions show through final coat, apply additional coats until coating film is of uniform finish, color, and appearance.  Ensure that surfaces, including edges, corners, crevices, welds, and exposed fasteners, receive a dry film thickness equivalent to that of flat surfaces.

3. Allow sufficient time between successive coats to permit proper drying.  Do not recoat surfaces until coating has dried to where it feels firm, does not deform or feel sticky under moderate thumb pressure, and where application of another coat does not cause undercoat to lift or lose adhesion.

D. Application Procedures:  Apply elastomeric coatings by brush, roller, or spray according to manufacturer's written instructions.

1. Brushes:  Use brushes best suited for material being applied.

2. Rollers:  Use professional-quality quick-release rollers of carpet, velvet back, or high-pile sheep's wool covers with a 1- to 1-1/4-inch (25.4- to 31.8-mm) nap as recommended by manufacturer for material and texture required.

3. Spray Equipment:  Use airless spray equipment with orifice size as recommended by manufacturer for material and texture required.

E. Minimum Coating Thickness:  Apply each material no thinner than manufacturer's recommended spreading rate to achieve dry film thickness indicated.  Provide total dry film thickness as recommended by manufacturer.

1. Wherever spray application is used, apply each coat to provide equivalent hiding of brush-applied coats.  Do not double back with spray equipment, building up film thickness of two coats in one pass.

F. Block Fillers:  Apply block fillers to concrete masonry block at a rate to ensure complete coverage with pores filled.

G. Prime Coats:  If recommended by manufacturer, apply a primer to material being coated before applying finish coats.

H. Brush Application:  Brush out and work brush coats into surfaces in an even film.  Eliminate cloudiness, spotting, holidays, laps, brush marks, runs, sags, ropiness, or other surface imperfections.  Neatly draw glass lines and color breaks.

I. Roller Application:  Keep cover wet at all times; do not dry roll.  Work in sections.  Lay on required amount of material, working material into grooves and rough areas; then level material, working it into surface.

J. Spray Application:  Use spray equipment for application only when permitted by manufacturer's written instructions and authorities having jurisdiction.

K. Completed Work:  Match approved samples for color, texture, and coverage.  Remove, refinish, or recoat work not complying with specified requirements.

3.4 FIELD QUALITY CONTROL

Retain this Article for large projects specified on a nonproprietary basis where Owner wants to exercise strict quality control.  Test requirements show strict compliance with performance requirements specified.  Delete if tests are not required.

A. Owner reserves the right to invoke the following test procedure at any time and as often as Owner deems necessary during coating operations:

1. Owner will engage a qualified independent testing agency to sample coating material being used.  Samples of material delivered to Project will be taken, identified, sealed, and certified in presence of Contractor.

2. Testing agency will perform appropriate tests for the following characteristics as required by Owner:

a. Elongation.

b. Accelerated weathering.

c. Low-temperature flexibility.

d. Moisture-vapor transmission.

e. Wind-driven rain resistance.

f. Minimum solids content by volume.

Insert other salient characteristics that are subject to testing.

g. <Insert additional salient characteristics.>

3. Owner may direct Contractor to stop coating application if test results show materials being used do not comply with requirements.  Contractor shall remove noncomplying materials from Project site, pay for testing, and recoat surfaces coated with rejected materials.  If necessary, Contractor may be required to remove rejected materials from previously coated surfaces if, on recoating with specified materials, the two coatings are not compatible.

3.5 CLEANING

A. Cleanup:  At end of each workday, remove rubbish, empty cans, rags, and other discarded materials from Project site.

Delete below if final cleaning is not done by Applicator.

1. After completing coating work, clean glass and spattered surfaces.  Remove spattered coatings by washing, scraping, or other methods, being careful not to scratch or damage adjacent finished surfaces.

3.6 PROTECTION

A. Protect work of other trades from damage whether being coated or not.  Correct damage by cleaning, repairing, replacing, and recoating as approved by Architect.  Leave in an undamaged condition.

B. Provide "Wet Paint" signs to protect newly coated finishes.  Remove temporary protective wrappings provided by others to protect their work after completing coating operations.

1. After construction activities of other trades are complete, touch up and restore damaged or defaced coated surfaces.  Comply with procedures specified in PDCA P1.

3.7 COATING SCHEDULE

Use schedule below as a guide only.  See "Writing Guide" Article in the Evaluations for guidance before editing the Coating Schedule.  Schedule includes examples of elastomeric coating systems for different exterior substrates commonly coated with these coatings.  Retain only substrates and paint systems suitable for Project.

A. Concrete:  Provide the following elastomeric coating systems over exterior concrete surfaces:

Retain smooth-finish elastomeric coating system in subparagraph below over exterior concrete surfaces subject to heavy, wind-driven rain.

1. Smooth Elastomeric Finish:  [One] [Two] <Insert number> finish coat(s) over a primer[, if required by manufacturer].

a. Primer:  Concrete and masonry primer.

b. Finish Coats:  Smooth elastomeric finish.

Retain textured-finish elastomeric coating system in subparagraph below over exterior concrete surfaces subject to heavy, wind-driven rain.  Benjamin Moore does not offer a textured finish.  Sto offers a one-coat, trowel-applied elastomeric coating with a heavy-textured finish that is not listed in this Section because of the method of application and the tendency to pin-hole that heavy-textured coatings exhibit.

2. Textured Elastomeric Finish:  [One] [Two] <Insert number> finish coat(s) over a primer[ if required by manufacturer].

a. Primer:  Concrete and masonry primer.

b. Finish Coats:  Textured elastomeric finish.

B. Concrete Unit Masonry:  Provide the following elastomeric coating systems over exterior concrete unit masonry surfaces:

Retain smooth-finish elastomeric coating system in first subparagraph below over exterior concrete unit masonry surfaces subject to heavy, wind-driven rain.  Tnemec is the only manufacturer that does not require a block filler.

1. Smooth Elastomeric Finish:  [One] [Two] <Insert number> finish coat(s) over a concrete unit masonry block filler[ if required by manufacturer].

a. Block Filler:  Concrete unit masonry block filler.

Delete primer in first subparagraph below if not recommended by manufacturer.  Only Pittsburgh Paints requires a primer over concrete unit masonry block, and only on highly alkaline surfaces.

b. Primer:  Concrete and masonry primer.

c. Finish Coats:  Smooth elastomeric finish.

Retain textured-finish elastomeric coating system below over exterior concrete masonry surfaces subject to heavy, wind-driven rain.  Benjamin Moore does not offer a textured finish.  Sto offers a one-coat trowel-applied elastomeric coating with a heavy-textured finish that is not listed in this Section because of the method of application and the tendency to pin-hole that heavy-textured coatings exhibit.  Tnemec is the only manufacturer that does not require a block filler.

2. Textured Elastomeric Finish:  [One] [Two] <Insert number> finish coat(s) over a concrete unit masonry block filler[ if required by manufacturer].

a. Block Filler:  Concrete unit masonry block filler.

b. Finish Coats:  Textured elastomeric finish.

C. Stucco (Portland Cement Plaster):  Provide the following elastomeric coating systems over exterior stucco surfaces:

Retain smooth-finish elastomeric coating system below over exterior stucco surfaces subject to heavy, wind-driven rain.

1. Smooth Elastomeric Finish:  [One] [Two] <Insert number> finish coat(s) over a primer[ if required by manufacturer].

a. Primer:  Stucco primer.

b. Finish Coats:  Smooth elastomeric finish.

END OF SECTION 09963

ELASTOMERIC COATINGS
09963 - 1

