6.1
ARCHITECTURAL/CIVIL/STRUCTURAL
6.1.1
Demolition, Excavation, and Backfill


Dust enclosure shop drawings


Shoring shop drawings


Dewatering procedure


Backfill source and properties


Standard proctor test results


Modified proctor test results

6.1.2
Storm Drainage


Shop drawings


Pipe manufacturer's data sheets


Manhole cover data sheets

6.1.3
Piling


Location plan of each pile with numbers


Length of each pile and species of wood


Time schedule and sequence of driving


Hammer information and driving procedures


Driving record log


Pile detail including splices


Test pile reports


Sheet pile details

6.1.4
Concrete and Reinforcing Steel

Reinforcement shop drawings


Reinforcement data sheets


Concrete mix design


Concrete test reports


Construction, sawcut, expansion joint layout


Pour procedures


Slab finish elevations


Curing compound data sheets


Bonding agent data sheets

6.1.5
Grouting

Manufacturer's product data sheets for grouts


Manufacturer's installation instructions


Manufacturer's product data sheets for curing compounds


Material sample two inch cube, of grout


Manufacturer's product data sheets for bonding agents


Reports of cube test for grouts


Reports of flow cone test


Equipment list for installation

6.1.6
Caulking/Sealing


Caulking compound data sheets


Sealant data sheets


Color sample of sealant


Color sample of caulking compound

6.1.7
Wood and Carpentry


Shop drawings when used as formwork for concrete including details and rate of concrete pour


Species of wood


Finish procedures including:


Stains


Varnishes


Other coatings applied to wood

6.1.7.1
Samples of the Following for Approval:


All prefinished lumber (min. size 2" X 2" X 2")


Fasteners to be used (min. 3 each)

6.1.8
Structural Steel


Material data sheets including mill certificates


Shop drawings


Type and number of shop coats of paint


Welding procedures


Welding certification


Surface preparation


Bolt and washer samples


Non destructive test results (welds)

6.1.9
Miscellaneous Metals


Material data sheets


Shop drawings


Two 2" X 2" samples 


Welding procedures 


Non destructive test reports


Grating data sheets


Galvanizing data sheets


Shop paint data sheets


Surface preparation procedure


Erection sequence


Section properties for cold formed steel sections


Cold formed steel data sheets

6.1.10
Metal Deck


Manufacturer's data sheets and load tables

6.1.10.1
Shop drawing and erection drawings including:


Placement and attachment methods


Pattern sample 


Finish types and colors


Closure strips and corner pieces


Flashing and soffit details


Vent ridge details


Product data sheets for joint sealers 


Product data sheets for ventilation fan curbs

6.1.11
Built-up Roofing


Certificate of roof applicators experience


Evidence that materials and components conform to requirements of the project specification

6.1.11.1
Manufacturer's data sheets including:


Roof insulation


Roofing felts


Base felts


Flashing felts


Emulsion


Aluminum top coat


Roofing cement


Concrete primer


Cant strip and tapered edge strip


Leveling compound


Membrane cloth


Latest edition of the manufacturer's roofing specification


Sheet metal shop drawings indicating sizes, shapes, thicknesses, and types of materials, finishes, fabrication details, anchors, connections, expansion joints, and relation to adjacent work (Drawings shall be drawn to large scale and, where practical, shall be full size.)


Manufacturer's data sheets for manufactured sheet metal items indicating product description, finish, and installation instructions including interface with adjacent materials and surfaces


Full size samples of sheet metal, minimum six inches long

6.1.11.2
Samples of the following for approval:


Asphalt:  Two 1 quart containers


Glass fiber felts:  Two pieces, 30" long. X roll width


#43 base felt:  Two pieces, 30" long X roll width


Emulsion coating:  Two 1 quart containers


Aluminum top coating:  Two 1 quart containers


Flashing felt:  Two pieces, 30" long X roll width 


Roofing cement:  Two 1 quart containers


Concrete primer:  Two 1 quart containers


Roof insulation:  Two pieces, 6" squares


Cant strip and tapered edge strip:  Two pieces, 12" long


Leveling compound:  Two 1 pound bags


Membrane cloth:  Two pieces, 6" square

6.1.12
Metal Siding


Manufacturer's data sheets and wind load tests shop drawings and erection drawings showing placement and attachment methods


Material sample 1'0" X 1' 0"


Finish types and colors


Material samples of closure strips and corners


Flashing and soffit details


Joint sealer data sheets


Wall and fan opening details

6.1.13
Asbestos Siding


Written sequential project procedure


Work area enclosure shop drawings


Written removal procedures

6.1.13.1
Manufacturer data sheets including the following:


Safety showers


High efficiency particulate absolute vacuum


Negative pressure fans


Protective clothing


Breathing apparatus


Written cleanup procedure


Written disposal procedure


Independent testing lab verification of final clean area


Proof of contractor prior experience

6.1.14
Concrete Masonry


Shop drawings


Construction sequence


Mortar type and mix data


Steel reinforcement data sheets and locations


Masonry anchors and tie back data sheets


Lintel details


Sealant data sheets


Brick and masonry color samples


Grant prism test reports


Expansion joint details


Concrete mix data


Flashing details

6.1.15
Gypsum Board Partitions


Erection drawings


Framing details


Fastening details


Manufacturer's data sheets


Fastener and anchor data sheets


Tape and taping compound data sheets

6.1.17
Metal Doors and Frames

Manufacturer data sheets for doors and frames


Door and door frame plan and schedule


Door frame head, jamb, and sill details

6.1.18
Hardware


Hardware product data sheets


Hardware plan and schedule

6.1.19
Glass/Glazing


Manufacturer's data sheets


2" X 2" sample of glass


Glazing tape sample


Glazing block sample

6.1.20
Painting

Color samples


Surface preparation procedures


Manufacturer's data sheets

6.1.21
Fireproofing

Manufacturer's data sheets including the following:


Application procedures


Surface preparation procedures


Certificates of compliance

6.1.22
Special Coatings


Color chips


Surface preparation procedures


Manufacturer's data sheets


Chemical resistance chart


Letter of certification


Warranty

6.1.25
Vinyl Floor Tile


Manufacturer's data sheet


Installation and maintenance instructions


Samples of color and patterns


Adhesive sample


Surface preparation procedures


Pattern layout for special patterns


Certificate of compliance

6.1.26
Ceramic/Structural Glazed Tile


Manufacturer's data sheets


6" X 6" tile sample


Grout manufacturer's data sheet


Surface preparation


Installation procedures


Floor leveler data sheets

6.1.27
Cove Base


Cove base manufacturer's data sheets


Adhesive data sheets


Color samples (2" square minimum)

6.1.28
Metal Toilet Partitions


Manufacturer's data sheets


Color charts and samples


Manufacturer's installation instructions

6.1.28.1
Shop drawings including the following:


Layout


Location of accessories


Anchor details


Connection details

6.1.30
Metal Liners


Sheet metal drawings including the following:


Sizes


Shapes


Thickness


Type of material


Finish


Fabrication details


Anchor details


Expansion joint details


Relation to adjacent work


Metal liner warranty

6.1.31
Security Fence


Foundation details


Fence connection details


Gate and post details


Grounding details


Galvanized coating weight


Mill certificates

6.1.32
Crib Fencing


Manufacturing data sheets


Fence layout


Gate schedule


Door schedule


Panel/panel connection detail


Floor anchor manufactures data sheet


Paint data sheets

6.1.33
Hoists and Cranes


Shop drawings including the following:


Manufacturer's drawings


Rail data and crane sections


Hook length and travel data


Wheel loads


Support steel deflection requirement


Panel layout and schematic wiring diagrams


Erection drawings

6.1.34
Prefabricated Structure


Shop drawings and erection drawings including the following:


Structural steel frame


Roofing and siding sheets


Doors and door frames


Windows and window frames


Ventilators


Louvers


Building drawings certified by a Structural Engineer registered in the State of Louisiana showing maximum column reactions at the bases.


Letter from the manufacturer certifying that the building provided will meet or exceed ANSI A58.1 load criteria


Two 1 foot square samples each of the roofing and panels to be used


Color samples offered by the manufacturer


Two each of the fastening devices used


Two 1 foot samples of the preformed closure strips for the roof panels


Two 1 foot samples of the expansion joint material to be used at the connection of new and existing buildings

6.1.35
Manlifts/Elevators


Manufacturer's dimensioned layout and detailed drawings


Printed specifications


Calculations and reactions


Installation and operations instructions


Hydraulic system drawings and requirements


Power requirements


Limit switches


Color and interior finishing schedules

6.1.36
Flexible Plastic Strips

Data sheets


Color sample


Mil thickness

6.1.37
Computer Room Floor Systems


Shop drawings including layout and loading criteria


Manufacturer's data sheets


Samples of floor finish


Guarantees and warranties


Pedestal ultimate load

6.1.41
Precast Wall Panels


Concrete mix design


Welded connection details


Insert details


Panel dimensions and cross sections


Erection procedure and sequence


Manufacturer's data sheets


Materials list


Design calculations stamped by a P.E. registered in LA


Manufacturer's certification and lab test reports


Two 2" x 2" x 2" panel samples

STD SPEC
6.1 - 9

