6.2
HVAC

6.2.1
Not Used
6.2.2
Duct Systems and Accessories

Ductwork shop drawings (including sheet metal material and gauge)


Duct paint


Liquid duct sealant


Mastic sealant


Gasket sealants


Round supply duct


Round return and exhaust duct


Flat oval duct


Pre filters


Final filters


Filter housings


Round fittings


Rectangular fittings


Manual volume dampers


Balancing dampers


Splitter dampers


Fire dampers


Vacuum and pressure relief dampers


Backdraft dampers


Air diffusion devices


Turning vanes


Air extractors


Louvers


Birdscreens


Access openings


Duct probe access


Joint gaskets


Flexible connectors

6.2.3
Insulation 

Interior insulation of rectangular duct


Insulation stick pins


Insulation tape


Insulation adhesive


Duct liner


Duct liner adhesive


Exterior insulation of round duct


Exterior insulation of rectangular duct


Round duct out-of-door insulation


Rectangular duct out-of-door insulation


Duct fitting jackets


Duct jacketing


Refrigerant tubing insulation

6.2.4
Air Handlers, Fans, Coils
6.2.4.1
Air Handlers

Dimensional data


Performance data


Fan data, fan cure


Motor data


Control system data


Accessories data


Installation instructions


Operating and maintenance manuals


Parts list and recommended spare parts


Filter box data sheet


Disposable filter data

6.2.4.2
Coils

Dimensional data


Performance data


Accessories data


Installation instructions


Operating and maintenance manuals


Parts list and recommended spare parts

6.2.4.3
Fans

Dimensional data


Performance data fan curve


Accessories data


Installation instructions


Operating and maintenance manuals


Parts list and recommended spare parts

6.2.5
HVAC - Starting, Testing, and Balancing

Test and balancing report

6.2.6
Controls and Instrumentation

Control valves


Automatic dampers


Temperature transmitters


Moisture transmitters


Receiver recorders


Receiver controllers


Receiver indicators


Restrictors


Pressure electric switches


Solenoid valves


Temperature gauges


Pressure gauges


Differential pressure transmitters


Instrument air filters


Air flow measuring devices


Pneumatic actuators


Pressure regulators


Smoke detectors


Relays


Differential pressure transmitters


Differential pressure indicators


Control panels


Control diagrams


Sequence of operation


Control air header


Pneumatic tubing

6.2.7
Not Used
6.2.8
Not Used
6.2.9
Electric Motors


(Motor data sheets to be included with equipment submittals)

6.2.10
Chilled Water Systems


Automatic air vent data

6.2.10.1
Chillers

Shop drawings


Materials of construction


Accessories


Electrical schematics and panel layouts


Piping schematics


Control schematics and description of operation


Performance data


Start up procedures


Installation instructions


Maintenance manuals


Recommended spare parts


Operating instructions

6.2.10.2
Cooling Towers


Dimensional data


Performance data


Materials of construction


Accessories


Electrical schematics


Piping schematics


Fan data 


Motor data


Pump data


Control panel data


Control diagram and description of operation


Installation instructions


Maintenance manuals


Recommended spare parts


Operating instructions

6.2.11
Process and Utility Equipment

Items in this section shall include any piece of equipment not covered in section 6.2.1 through 6.2.10.  The format for submittal is as follows:

6.2.11.1
Equipment

Shop drawings


Materials of construction


Accessories


Electrical schematics and panel layouts


Piping schematics


Control schematics and description of operation


Performance data


Start up procedures


Installation instructions


Maintenance manuals


Recommended spare parts


Pumps and compressors


Operating instructions

STD SPEC
6.2 - 4 


