6.4
ELECTRICAL

6.4.1
Wire and Wiring Devices

Wire and cable


Conduit


Conduit fittings and supports


Wireways


Cable trays


Boxes and enclosures


Plugs and receptacles


Wall switches


Terminal strips

6.4.2
Power Distribution and Utilization Equipment

Circuit breakers


Safety switches


Fuses


Mini power centers


Standard transformers below 600 V primary


Medium and high voltage cable terminations and splices


Bus ducts


Motors


Motor starters


Pushbutton stations

6.4.3
Lighting System

Indoor lighting fixtures


Outdoor lighting fixtures


Emergency lights


Exit lights


Lighting contactors


Photocell controls


Lamps


Dimming systems

6.4.4
Grounding System

Ground rods


Ground clamps


Ground cables


Thermowelds

6.4.5
Lightning Protection Systems

Air terminals


Conductors


Fasteners


Connectors


Cable guards


Grounding devices


Surge suppressors

6.4.6
Assembled Equipment

Wiring diagrams, schematic diagrams, layouts, elevations, and assembly drawings are required for the following:


Substations


Switchgear


Non standard transformers (Less than 600 V primary)


Transformers (above 600 V primary)


Motor control centers


Panelboards


Control panels


Cranes


Electric hoists


Uninterruptable power supplies


Any piece of equipment utilizing electrical controls (i.e. contactors, push buttons, relays, solenoids, switches, processors)

STD SPEC
6.4 - 2 


