Louisiana Army National Guard

Preliminary Review Documents

141st Readiness Center (RC)

Jackson Barracks, New Orleans, Louisiana

Technical Specifications


SECTION 02361 - TERMITE CONTROL
PART 1 -  GENERAL

1.1 SUMMARY

A. This Section includes the following:

1. Soil treatment with termiticide.

1.2 SUBMITTALS

A. Product Data:  For each type of product indicated.  Include the EPA-Registered Label.

B. Product certificates.

C. Soil Treatment Application Report:  Include the following:

1. Date and time of application.

2. Moisture content of soil before application.

3. Brand name and manufacturer of termiticide.

4. Quantity of undiluted termiticide used.

5. Dilutions, methods, volumes, and rates of application used.

6. Areas of application.

7. Water source for application.

1.3 QUALITY ASSURANCE

A. Installer Qualifications:  A specialist who is licensed according to regulations of authorities having jurisdiction to apply termite control treatment and products in jurisdiction where Project is located.

B. Regulatory Requirements:  Formulate and apply termiticides according to the EPA-Registered Label.

1.4 WARRANTY

A. Special Warranty:  Manufacturer's standard form, signed by Applicator and Contractor certifying that termite control work, consisting of applied soil termiticide treatment, will prevent infestation of subterranean termites.  If subterranean termite activity or damage is discovered during warranty period, re-treat soil and repair or replace damage caused by termite infestation.

1. Warranty Period:  Five years from date of Substantial Completion.

1.5 MAINTENANCE SERVICE

A. Continuing Service:  Beginning at Substantial Completion, provide 12 months’ continuing service including monitoring, inspection, and re-treatment for occurrences of termite activity.  Provide a standard continuing service agreement.  State services, obligations, conditions, and terms for agreement period; and terms for future renewal options.

PART 2 -  PRODUCTS

2.1 SOIL TREATMENT

A. Termiticide:  Provide an EPA-registered termiticide complying with requirements of authorities having jurisdiction, in an aqueous solution formulated to prevent termite infestation.  Provide quantity required for application at the label volume and rate for the maximum termiticide concentration allowed for each specific use, according to product's EPA-Registered Label.

PART 3 -  EXECUTION

3.1 PREPARATION

A. General:  Remove all extraneous sources of wood cellulose and other edible materials such as wood debris, tree stumps and roots, stakes, formwork, and construction waste wood from soil within and around foundations.

B. Soil Treatment Preparation:  Loosen, rake, and level soil to be treated except previously compacted areas under slabs and footings.  Termiticides may be applied before placing compacted fill under slabs if recommended in writing by termiticide manufacturer.

3.2 APPLYING SOIL TREATMENT

A. Application:  Mix soil treatment termiticide solution to a uniform consistency.  Provide quantity required for application at the label volume and rate for the maximum specified concentration of termiticide, according to manufacturer's EPA-Registered Label, to the following so that a continuous horizontal and vertical termiticidal barrier or treated zone is established around and under building construction.  Distribute treatment evenly.

1. Slabs-on-Grade:  Under ground-supported slab construction, including footings, building slabs, and attached slabs as an overall treatment.  Treat soil materials before concrete footings and slabs are placed.

2. Foundations:  Adjacent soil including soil along the entire inside perimeter of foundation walls, along both sides of interior partition walls, around plumbing pipes and electric conduit penetrating the slab, and around interior column footers, piers, and chimney bases; also along the entire outside perimeter, from grade to bottom of footing.  Avoid soil washout around footings.

3. Crawlspaces:  Soil under and adjacent to foundations as previously indicated.  Treat adjacent areas including around entrance platform, porches, and equipment bases.  Apply overall treatment only where attached concrete platform and porches are on fill or ground.

4. Masonry:  Treat voids.

5. Penetrations:  At expansion joints, control joints, and areas where slabs will be penetrated.

B. Avoid disturbance of treated soil after application.  Keep off treated areas until completely dry.

C. Protect termiticide solution, dispersed in treated soils and fills, from being diluted until ground-supported slabs are installed.  Use waterproof barrier according to EPA-Registered Label instructions.

D. Post warning signs in areas of application.

E. Reapply soil treatment solution to areas disturbed by subsequent excavation, grading, landscaping, or other construction activities following application.

END OF SECTION 02361

TERMITE CONTROL

02361 - 3

