Louisiana Army National Guard

Preliminary Review Documents

141st Readiness Center (RC)

Jackson Barracks, New Orleans, Louisiana

Technical Specifications


Copyright 2000 and 2005 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc (ARCOM) for the AIA

SECTION 07610 - SHEET METAL ROOFING
This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 SUMMARY

A. This Section includes the following on-site, roll-formed sheet metal roofing:

Adjust list below to suit Project.

1. Standing-seam metal roofing.

1.2 PERFORMANCE REQUIREMENTS

Retain one of two paragraphs and associated subparagraph below.  First is for custom-fabricated sheet metal roofing; second is for on-site, roll-formed sheet metal roofing.

A. Wind-Uplift Resistance:  Capable of resisting a design negative uplift pressure required by 2003 International Building Code.  Provide clips, fasteners, and clip spacings of type indicated and with capability to sustain, without failure, a load equal to at least 3 times the design negative uplift pressure.

B. Thermal Movements:  Provide sheet metal roofing that allows for thermal movements resulting from the following maximum change (range) in ambient and surface temperatures by preventing buckling, opening of joints, hole elongation, overstressing of components, failure of joint sealants, failure of connections, and other detrimental effects.  Provide clips that resist rotation and avoid shear stress as a result of sheet metal roofing thermal movements.  Base engineering calculation on surface temperatures of materials due to both solar heat gain and nighttime-sky heat loss. 
C. Water Infiltration:  Provide sheet metal roofing that does not allow water infiltration to building interior, with metal flashing and connections of sheet metal roofing lapped to allow moisture to run over and off the material. 

1.3 SUBMITTALS

A. Product Data:  For each type of underlayment product indicated.

B. Shop Drawings:  Show layouts of sheet metal roofing, including plans, elevations, and keyed references to termination points.

1. Include details for forming, joining, and securing sheet metal roofing, including pattern of seams, termination points, expansion joints, roof penetrations, edge conditions, special conditions, connections to adjoining work, and accessory items.

C. Coordination Drawings:  Drawn to scale and coordinating sheet metal roofing installation with penetrations and roof-mounted items.

First paragraph below assumes manufacturer's standard-size Samples are acceptable.  Revise to suit Project.

D. Samples:  For each exposed finish.

E. Roll-Forming Equipment Certificate:  Issued by UL.

F. Product test reports.

1.4 QUALITY ASSURANCE

A. Installer Qualifications:  Fabricator of sheet metal roofing.

B. Custom-Fabricated Sheet Metal Roofing Fabricator Qualifications:  Shop that employs skilled workers who custom-fabricate sheet metal roofing.

C. Roll-Formed Sheet Metal Roofing Fabricator Qualifications:  An authorized representative of roll-formed sheet metal roofing manufacturer for fabrication and installation of units.

D. Sheet Metal Roofing Standard:  Comply with SMACNA's "Architectural Sheet Metal Manual."

Delete first paragraph and subparagraphs below if not required.

E. Mockups:  Build mockups to verify selections made under sample submittals and to demonstrate aesthetic effects and qualities of materials and execution.

1. Build mockup of typical roof eave, including fascia, and soffit; approximately 48 inches (1200 mm) square by full thickness, including attachments, underlayment, and accessories.

F. Preinstallation Conference:  Conduct conference at Project site.

1.5 WARRANTY

SMACNA recommends warranty below for custom-fabricated sheet metal roofing.

A. Special Installer's Warranty:  Specified form in which Roofing Installer agrees to repair or replace components of custom-fabricated sheet metal roofing that fail in materials or workmanship within two years from date of Substantial Completion.

PART 2 -  PRODUCTS

2.1 MANUFACTURERS

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.

Edit this Article with other Part 2 articles in which manufacturers and products, or manufacturers only, are named.  See Division 01 Section "Product Requirements" for an explanation of the terms "Available Products," "Products," "Available Manufacturers," and "Manufacturers" and the effect these terms have on "Comparable Product" and "Product Substitution" requirements.

A. In other Part 2 articles where titles below introduce lists, the following requirements apply for product selection:

1. Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, the manufacturers specified.

2.2 ROOFING SHEET METALS

A. Zinc Sheet:  Electrolytic, 99 percent pure zinc alloyed with 1 percent titanium and copper.

Coordinate first subparagraph and associated subparagraphs below with Part 2 "Manufacturers" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

1. Available Manufacturers:

a. Rheinzink Canada Ltd.

b. VM ZINC North America - Sogem USA.

2. Finish:  Preweathered.

3. Thickness:  0.031 inch (0.80 mm), unless otherwise indicated.

2.3 UNDERLAYMENT MATERIALS

Retain appropriate paragraphs and subparagraphs in this Article for sheet metal roofing applied directly over metal deck or solid sheathing.  SMACNA recommends No. 30 felt or self-adhering sheet underlayment.

A. Self-Adhering, High-Temperature Sheet:  30 to 40 mils (0.76 to 1.0 mm) thick minimum, consisting of slip-resisting polyethylene-film top surface laminated to layer of butyl or SBS-modified asphalt adhesive, with release-paper backing; cold applied.  Provide primer when recommended by underlayment manufacturer.

1. Thermal Stability:  Stable after testing at 240 deg F (116 deg C); ASTM D 1970.

2. Low Temperature Flexibility:  Passes after testing at minus 20 deg F (29 deg C); ASTM D 1970.

Sheet below is used to separate sheet metal roofing from underlayment.

B. Slip Sheet:  Building paper, minimum 5 lb/100 sq. ft. (0.24 kg/sq. m), rosin sized.
2.4 THERMAL INSULATION FOR SHEET METAL ROOFING

A. Extruded-Polystyrene Board Insulation:  ASTM C 578, Type IV, 1.60-lb/cu. ft. (26-kg/cu. m) minimum density, unless otherwise indicated; with maximum flame-spread and smoke-developed indexes of 75 and 450, respectively.

1. Thickness:  4-inches (102-mm) throughout roof area.

2.5 SUBSTRATE BOARDS

A. Glass-Mat Gypsum Sheathing Board:  ASTM C 1177/C 1177M; Type X, 5/8 inch (16 mm)..

B. Substrate-Board Fasteners:  Factory-coated steel fasteners and metal or plastic plates complying with corrosion-resistance provisions in FMG 4470, designed for fastening substrate board to substrate.

2.6 MISCELLANEOUS MATERIALS

A. Fasteners:  Self-tapping screws, self-locking rivets and bolts, and other suitable fasteners designed to withstand design loads.

1. Exposed Fasteners:  Heads matching color of sheet metal roofing by means of plastic caps or factory-applied coating.

2. Fasteners for Flashing and Trim:  Blind fasteners or self-drilling screws with hex washer head.

3. Blind Fasteners:  High-strength aluminum or stainless-steel rivets.

B. Solder for Zinc:  ASTM B 32, 60 percent lead and 40 percent tin with low antimony, as recommended by manufacturer.

C. Sealing Tape:  Pressure-sensitive, 100 percent solids, polyisobutylene compound sealing tape with release-paper backing.  Provide permanently elastic, nonsag, nontoxic, nonstaining tape.

Revise first paragraph below if a sealant of a specific base polymer, type, grade, class, and use is required.

D. Elastomeric Joint Sealant:  ASTM C 920, of base polymer, type, grade, class, and use classifications required to produce joints in sheet metal roofing that will remain weathertight.

E. Expansion-Joint Sealant:  For hooked-type expansion joints, which must be free to move, provide nonsetting, nonhardening, nonmigrating, heavy-bodied polyisobutylene sealant.

F. Bituminous Coating:  Cold-applied asphalt mastic, SSPC-Paint 12, compounded for 15-mil (0.4-mm) dry film thickness per coat.

2.7 ACCESSORIES

A. Sheet Metal Roofing Accessories:  Provide components required for a complete sheet metal roofing assembly including trim, copings, fasciae, corner units, ridge closures, clips, flashings, sealants, gaskets, fillers, closure strips, and similar items.  Match material and finish of sheet metal roofing, unless otherwise indicated.

Retain subparagraph below with standing-seam or batten-seam, roll-formed sheet metal roofing.

1. Clips:  Minimum 0.0625-inch- (1.6-mm-) thick, stainless-steel panel clips designed to withstand negative-load requirements.

2. Closures:  Closed-cell, expanded, cellular, rubber or crosslinked, polyolefin-foam or closed-cell laminated polyethylene; minimum 1-inch- (25-mm-) thick, flexible closure strips; cut or premolded to match sheet metal roofing profile.  Provide closure strips where indicated or necessary to ensure weathertight construction.

B. Flashing and Trim:  Formed from 0.0179-inch- (0.45-mm-) thick, metallic-coated steel sheet.  Provide flashing and trim as required to seal against weather and to provide finished appearance.  Locations include, but are not limited to, eaves, rakes, corners, bases, framed openings, ridges, fasciae, and fillers.  Finish flashing and trim with same finish system as adjacent sheet metal roofing.

C. Gutters:  Formed from 0.0179-inch- (0.45-mm-) thick, metallic-coated steel sheet.  Match profile of gable trim, complete with end pieces, outlet tubes, and other special pieces as required.  Fabricate in minimum 96-inch- (2400-mm-) long sections, sized according to SMACNA's "Architectural Sheet Metal Manual." Furnish gutter supports spaced 36 inches (900 mm) o.c., fabricated from same metal as gutters.  Provide bronze, copper, or aluminum wire ball strainers at outlets.  Finish gutters to match sheet metal roofing.

D. Downspouts:  Formed from 0.0179-inch- (0.45-mm-) thick, metallic-coated steel sheet; in 10-foot- (3-m-) long sections, complete with formed elbows and offsets.  Finish downspouts to match sheet metal roofing.

E. Roof Curbs:  Fabricated from 0.0478-inch- (1.2-mm-) thick, metallic-coated steel sheet; with welded top box and bottom skirt, and integral full-length cricket.  Fabricate curb subframing of minimum 0.0598-inch- (1.5-mm-) thick, angle-, C-, or Z-shaped steel sheet.  Fabricate curb and subframing to withstand indicated loads, of size and height indicated.  Finish roof curbs to match sheet metal roofing. Insulate roof curb with 1-inch- (25-mm-) thick, rigid insulation.
2.8 EQUIPMENT

A. Portable Roll-Forming Equipment:  Manufacturer's standard UL-certified equipment capable of forming sheet metal roofing in profiles indicated.

2.9 FABRICATION

Retain paragraph and subparagraphs above or first paragraph below.  Above is for custom-fabricated sheet metal roofing; below is for on-site, roll-formed sheet metal roofing.

A. General:  Fabricate roll-formed sheet metal roofing panels to comply with details shown and roll-formed sheet metal roofing manufacturer's written instructions.

B. Fabricate sheet metal roofing to allow for expansion in running work sufficient to prevent leakage, damage, and deterioration of the Work.  Form exposed sheet metal work to fit substrates without excessive oil canning, buckling, and tool marks, true to line and levels indicated, and with exposed edges folded back to form hems.

1. Lay out sheet metal roofing so cross seams, when required, are made in direction of flow with higher pans overlapping lower pans.  Stagger cross seams.

2. Fold and cleat eaves and transverse seams in the shop.

3. Form and fabricate sheets, seams, strips, cleats, valleys, ridges, edge treatments, integral flashings, and other components of metal roofing to profiles, patterns, and drainage arrangements shown and as required for leakproof construction.

C. Metal Protection:  Where dissimilar metals will contact each other, protect against galvanic action by painting contact surfaces with bituminous coating, by applying rubberized-asphalt underlayment to each contact surface, or by other permanent separation as recommended by manufacturers of dissimilar metals or by fabricator.

D. Sheet Metal Accessories:  Custom fabricate flashings and trim to comply with recommendations in SMACNA's "Architectural Sheet Metal Manual" that apply to design, dimensions, metal, and other characteristics of item indicated.  Obtain field measurements for accurate fit before shop fabrication.

PART 3 -  EXECUTION

3.1 PREPARATION

A. Substrate Board:  Install substrate boards over roof deck on entire roof surface.  Attach with substrate-board fasteners.

1. Install substrate board with long joints in continuous straight lines, perpendicular to roof slopes with end joints staggered between rows.  Tightly butt substrate boards together.

B. Install flashings and other sheet metal to comply with requirements specified in Division 07 Section "Sheet Metal Flashing and Trim."

3.2 UNDERLAYMENT INSTALLATION

Retain this Article for sheet metal roofing applied over solid roof sheathing.

A. Self-Adhering Sheet Underlayment:  Install self-adhering sheet underlayment, wrinkle free, on roof sheathing under sheet metal roofing.  Comply with temperature restrictions of underlayment manufacturer for installation; use primer rather than nails for installing underlayment at low temperatures.  Apply over entire roof, in shingle fashion to shed water, with end laps of not less than 6 inches (150 mm) staggered 24 inches (600 mm) between courses.  Overlap side edges not less than 3-1/2 inches (90 mm). Extend underlayment into gutter trough. Roll laps with roller.  Cover underlayment within 14 days.

B. Apply slip sheet over underlayment before installing sheet metal roofing.

3.3 INSTALLATION, GENERAL

A. General:  Install sheet metal roofing perpendicular to purlins or supports.  Anchor sheet metal roofing and other components of the Work securely in place, with provisions for thermal and structural movement.  Install fasteners, solder, welding rods, protective coatings, separators, sealants, and other miscellaneous items as required for a complete roofing system and as recommended by fabricator for sheet metal roofing.

1. Field cutting of sheet metal roofing by torch is not permitted.

2. Rigidly fasten eave end of sheet metal roofing and allow ridge end free movement due to thermal expansion and contraction.  Predrill roofing.

3. Provide metal closures at peaks rake edges rake walls and each side of ridge caps.

4. Flash and seal sheet metal roofing with weather closures at eaves, rakes, and at perimeter of all openings.  Fasten with self-tapping screws.

5. Locate roofing splices over, but not attached to, structural supports.  Stagger roofing splices and end laps to avoid a four-panel lap splice condition.

6. Lap metal flashing over sheet metal roofing to allow moisture to run over and off the material.

B. Fasteners:  Use fasteners of sizes that will not penetrate completely through substrate.

1. Zinc Roofing:  Use stainless-steel fasteners.

C. Metal Protection:  Where dissimilar metals will contact each other or corrosive substrates, protect against galvanic action by painting contact surfaces with bituminous coating, by applying rubberized-asphalt underlayment to each contact surface, or by other permanent separation as recommended by fabricator of sheet metal roofing or manufacturers of dissimilar metals.

D. Conceal fasteners and expansion provisions where possible in exposed work and locate to minimize possibility of leakage.  Cover and seal fasteners and anchors as required for a tight installation.

3.4 THERMAL INSULATION INSTALLATION 

Delete this Article if insulation is not required.

Retain paragraph and subparagraph below for metal roof panels supported by roof deck or solid roof sheathing.

A. Board Insulation:  Extend insulation in thickness indicated to cover entire roof.  Comply with installation requirements in Division 07 Section "Thermal Insulation."

3.5 ON-SITE, ROLL-FORMED SHEET METAL ROOFING INSTALLATION

A. General:  Install on-site, roll-formed sheet metal roofing to comply with sheet metal roofing manufacturer's written instructions for UL wind-uplift class indicated.  Provide sheet metal roofing of full length from eave to ridge unless otherwise restricted by shipping limitations.

B. Standing-Seam Sheet Metal Roofing:  Fasten sheet metal roofing to supports with concealed clips at each standing-seam joint at location, spacing, and with fasteners recommended by manufacturer.

1. Install clips to supports with self-tapping fasteners.

2. Before panels are joined, apply continuous bead of sealant to top flange of lower panel.

Retain subparagraph above or below; coordinate with products selected in Part 2.

3. Seamed Joint:  Crimp standing seams with manufacturer-approved motorized seamer tool so cleat, sheet metal roofing, and field-applied sealant are completely engaged.

3.6 ACCESSORY INSTALLATION

A. General:  Install accessories with positive anchorage to building and weathertight mounting and provide for thermal expansion.  Coordinate installation with flashings and other components.

1. Install components required for a complete sheet metal roofing assembly including trim, copings, ridge closures, seam covers, flashings, sealants, gaskets, fillers, closure strips, and similar items.

2. Comply with performance requirements, manufacturer's written installation instructions, and SMACNA's "Architectural Sheet Metal Manual." Provide concealed fasteners where possible, and set units true to line and level as indicated.  Install work with laps, joints, and seams that will be permanently watertight and weather resistant.

B. Flashing and Trim:  Comply with performance requirements, manufacturer's written installation instructions, and SMACNA's "Architectural Sheet Metal Manual."  Provide concealed fasteners where possible, and set units true to line and level as indicated.  Install work with laps, joints, and seams that will be permanently watertight and weather resistant.

1. Install exposed flashing and trim that is without excessive oil canning, buckling, and tool marks and that is true to line and levels indicated, with exposed edges folded back to form hems.  Install sheet metal flashing and trim to fit substrates and to result in waterproof and weather-resistant performance.

2. Expansion Provisions:  Provide for thermal expansion of exposed flashing and trim.  Space movement joints at a maximum of 10 feet (3 m) with no joints allowed within 24 inches (600 mm) of corner or intersection.  Where lapped or bayonet-type expansion provisions cannot be used or would not be sufficiently weather resistant and waterproof, form expansion joints of intermeshing hooked flanges, not less than 1 inch (25 mm) deep, filled with mastic sealant (concealed within joints).

C. Gutters:  Join sections with riveted and soldered or lapped and sealed joints.  Attach gutters to eave with gutter hangers spaced not more than 4 feet (1.2 m) o.c. using manufacturer's standard fasteners.  Provide end closures and seal watertight with sealant.  Provide for thermal expansion.

D. Downspouts:  Join sections with 1-1/2-inch (38-mm) telescoping joints.  Provide fasteners designed to hold downspouts securely 1 inch (25 mm) away from walls; locate fasteners at top and bottom and at approximately 60 inches (1500 mm) o.c. in between.

1. Tie downspouts to underground drainage system.

E. Roof Curbs:  Install curbs at locations indicated on Drawings.  Install flashing around bases where they meet sheet metal roofing.

3.7 ERECTION TOLERANCES

Generally retain paragraph below only for sophisticated or highly finished sheet metal roofing assemblies.

A. Installation Tolerances:  Shim and align sheet metal roofing within installed tolerance of 1/4 inch in 20 feet (6 mm in 6 m) on slope and location lines as indicated and within 1/8-inch (3-mm) offset of adjoining faces and of alignment of matching profiles.

3.8 CLEANING AND PROTECTION

A. Remove temporary protective coverings and strippable films, if any, as sheet metal roofing is installed.  On completion of sheet metal roofing installation, clean finished surfaces, including removing unused fasteners, metal filings, pop rivet stems, and pieces of flashing.  Maintain in a clean condition during construction.

END OF SECTION 07610


SHEET METAL ROOFING

07610 - 7

