Louisiana Army National Guard

Preliminary Review Documents

141st Readiness Center (RC)

Jackson Barracks, New Orleans, Louisiana

Technical Specifications


Copyright 2000 and 2005 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 08911 - GLAZED ALUMINUM CURTAIN WALLS
This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 SUMMARY

A. This Section includes conventionally glazed aluminum curtain walls installed as sticksystems.

1.2 PERFORMANCE REQUIREMENTS

A. General:  Provide glazed aluminum curtain-wall systems, including anchorage, capable of withstanding, without failure, the effects of the following:

1. Structural loads.

2. Thermal movements

3. Movements of supporting structure indicated on Drawings including, but not limited to, story drift, twist, column shortening, long-term creep, and deflection from uniformly distributed and concentrated live loads.

Specify dimensional tolerances for support system and adjacent construction in other Sections of this Project's Specifications.

4. Dimensional tolerances of building frame and other adjacent construction.

5. Failure includes the following:

a. Deflection exceeding specified limits.

b. Thermal stresses transferred to building structure.

c. Framing members transferring stresses, including those caused by thermal and structural movements, to glazing.

d. Noise or vibration created by wind and thermal and structural movements.

e. Loosening or weakening of fasteners, attachments, and other components.

f. Sealant failure.

B. Structural Loads:

Show design loads determined by Project structural engineer on Drawings or insert loads in three subparagraphs below.  Verify requirements of authorities having jurisdiction.  See Evaluations.

1. Wind Loads:  Per 2003 International Building Code requirements.
Delete two subparagraphs below if not applicable.  See Evaluations.

2. Seismic Loads:  Per code where applicable.

C. Structural-Test Performance:  Systems tested according to ASTM E 330 as follows:

1. When tested at positive and negative wind-load design pressures, systems do not evidence deflection exceeding specified limits.

2. When tested at 150percent of positive and negative wind-load design pressures, systems, including anchorage, do not evidence material failures, structural distress, and permanent deformation of main framing members exceeding 0.2 Insert number percent of span.

3. Test Duration:  As required by design wind velocity.

D. Windborne-Debris-Impact-Resistance-Test Performance:  ASTM E 1996, large and small missile tests.

E. Blast Resistance:  Provide system capable of resisting airblast loadings of intensities and at glazing protection condition levels required, as determined from testing complete assemblies including glazing.

Insert other reference in subparagraph below as required to establish protection-level requirements.

1. Refer to UFC 4-010-01, DoD Minimum Antiterrorism Standards for Buildings.

In hurricane-prone areas, authorities having jurisdiction require debris-impact and cyclic-pressure testing for glazed assemblies.  If required, insert hurricane-resistance testing requirements.  See Evaluations and verify requirements of authorities having jurisdiction.

F. Deflection of Framing Members:

1. Deflection Normal to Wall Plane:  Limited to 1/175 of clear span for spans up to 13 feet 6 inches (4.1 m) and to 1/240 of clear span plus 1/4 inch (6.35 mm) for spans greater than 13 feet 6 inches (4.1 m) or an amount that restricts edge deflection of individual glazing lites to 3/4 inch (19 mm), whichever is less.

Based on Project conditions, more stringent deflection criteria than specified in examples in subparagraph above and below may be required.  Subparagraph above and first option in subparagraph below are based on typical deflection criteria for glass.  Second option below is based on AAMA recommendations for glass.

2. Deflection Parallel to Glazing Plane:  Limited to  amount not exceeding that which reduces glazing bite to less than 75 percent of design dimension and which reduces edge clearance between framing members and glazing or other fixed components to less than 1/8 inch (3.2 mm).

G. Temperature Change (Range):  Systems accommodate 120 deg F (67 deg C), ambient; 180 deg F (100 deg C), material surfaces.

ASTM E 283 requires using a static-air-pressure differential of 1.57 lbf/sq. ft. (75 Pa), unless otherwise indicated, which is equivalent to a 25-mph (40-km/h) wind.  Static-air-pressure differential of 6.24 lbf/sq. ft. (300 Pa) is equivalent to a 50-mph (80-km/h) wind.

H. Air Infiltration:  For systems, maximum air leakage of 0.06 cfm/sq. ft. (0.03 L/s per sq. m) of fixed wall area when tested according to ASTM E 283 at a minimum static-air-pressure differential of  6.24 lbf/sq. ft. (300 Pa).

Water test pressure of 20 percent of wind-load design pressure provides satisfactory performance in most parts of the U.S.  Locations where high winds and heavy rains frequently occur simultaneously require higher test pressures.  Lower test pressures are acceptable for some locations.  Revise paragraph below to suit Project.

I. Water Penetration Under Static Pressure:  Systems do not evidence water penetration when tested according to ASTM E 331 at a minimum differential static pressure of 20 percent of positive design wind load, but not less than 12 lbf/sq. ft. (479 Pa).

In paragraph below, insert condensation-resistance requirements for venting windows or doors if different from fixed glazing and frame areas.

J. Condensation Resistance:  For systems, condensation-resistance factor (CRF) of not less than  66 when tested according to AAMA 1503.

In paragraph below, insert U-factors of specific system components if required.

K. Average Thermal Conductance:  For systems, average U-factor of not more than 0.66 Btu/sq. ft. x h x deg F (3.75 W/sq. m x K) when tested according to AAMA 1503.

1.3 SUBMITTALS

A. Product Data:  For each product indicated.

B. Shop Drawings:  Prepared by or under the supervision of a qualified professional engineer detailing fabrication and assembly of glazed aluminum curtain-wall systems.

Professional engineer qualifications are specified in Division 01 Section "Quality Requirements."

1. Include structural analysis data for wind loads, seismic loads, wind borne debris requirements and blast resistance requirements, signed and sealed by the qualified professional engineer responsible for their preparation.
First paragraph below assumes manufacturer's standard-size Samples are acceptable.  Revise to suit Project.

C. Samples:  For each exposed finish.

D. Product test reports.

Retain below if Contractor is responsible for field quality-control testing.

E. Field quality-control test reports.

1.4 QUALITY ASSURANCE

A. Installer Qualifications:  Acceptable to manufacturer and capable of preparing data for glazed aluminum curtain-wall systems including Shop Drawings based on testing and engineering analysis of manufacturer's standard units in assemblies similar to those indicated for this Project.

Delete first paragraph and subparagraphs below if not required.

B. Mockups:  Build mockups to demonstrate aesthetic effects and set quality standards for fabrication and installation.

1. Build mockups as shown on Drawings.

C. Preinstallation Conference:  Conduct conference at Project site.

1.5 WARRANTY

A. Special Warranty:  Manufacturer's standard form in which manufacturer agrees to repair or replace components of glazed aluminum curtain-wall systems that do not comply with requirements or that deteriorate as defined in this Section within specified warranty period.

1. Failures include, but are not limited to, the following:

a. Structural failures including, but not limited to, excessive deflection.

b. Noise or vibration caused by thermal movements.

Delete option in first subparagraph below if retaining "Special Finish Warranty" Paragraph.

c. Deterioration of metals, metal finishes, and other materials beyond normal weathering.

d. Water leakage.

e. Failure of operating components to function normally.

Manufacturers normally warrant products for one year.  Extended warranty periods may cost more.  Verify available warranties and insert number below.

2. Warranty Period:  Two years from date of Substantial Completion.

B. Special Finish Warranty:  Manufacturer's standard form in which manufacturer agrees to repair or replace components on which finishes fail within specified warranty period.  Warranty does not include normal weathering.

Verify available warranties for finishes and insert number below.

1. Warranty Period:  20 years from date of Substantial Completion.

PART 2 -  PRODUCTS

2.1 MATERIALS
A. Aluminum:  Alloy and temper recommended by manufacturer for type of use and finish indicated.

1. Sheet and Plate:  ASTM B 209 (ASTM B 209M).

2. Extruded Bars, Rods, Shapes, and Tubes:  ASTM B 221 (ASTM B 221M).

3. Extruded Structural Pipe and Tubes:  ASTM B 429.

Delete first paragraph and subparagraphs below if no internal, steel reinforcement of aluminum framing members.  Revise to suit Project.

B. Steel Reinforcement:  With manufacturer's standard corrosion-resistant primer.

1. Structural Shapes, Plates, and Bars:  ASTM A 36/A 36M.

2. Cold-Rolled Sheet and Strip:  ASTM A 611.

3. Hot-Rolled Sheet and Strip:  ASTM A 570/A 570M.

2.2 FRAMING SYSTEMS

A. Framing Members:  Manufacturer's standard extruded-aluminum framing members of thickness required and reinforced as required to support imposed loads.

1. Construction:  An integrated, outside glazed, captured curtain wall, pressure glazed system  with concealed fastener joinery.
a. 2-1/2”x6”  or 7-1/2” nominal dimensions.

B. Brackets and Reinforcements:  Manufacturer's standard high-strength aluminum with nonstaining, nonferrous shims for aligning system components.

C. Fasteners and Accessories:  Manufacturer's standard corrosion-resistant, nonstaining, nonbleeding fasteners and accessories compatible with adjacent materials.

1. Where fasteners are subject to loosening or turn out from thermal and structural movements, wind loads, or vibration, use self-locking devices.

2. Reinforce members as required to receive fastener threads.

Delete first two subparagraphs below if no exposed fasteners and accessories.

3. Use exposed fasteners with countersunk Phillips screw heads.

4. Finish exposed portions to match framing system.

5. At movement joints, use slip-joint linings, spacers, and sleeves of material and type recommended by manufacturer.

D. Anchors:  Three-way adjustable anchors that accommodate fabrication and installation tolerances in material and finish compatible with adjoining materials and recommended by manufacturer.

E. Concealed Flashing:  Dead-soft, 0.018-inch- (0.457-mm-) thick stainless steel, ASTM A 240/A 240M of type recommended by manufacturer.

F. Framing Gaskets:  As recommended by manufacturer for joint type.

G. Framing Sealants:  As recommended by manufacturer for joint type.

2.3 GLAZING SYSTEMS

A. Glazing:  As specified in Division 08 Section "Glazing."

B. Glazing Gaskets:  Manufacturer's standard sealed-corner pressure-glazing system of black, resilient elastomeric glazing gaskets, setting blocks, and shims or spacers.

C. Glazing Sealants:  As recommended by manufacturer for joint type.

2.4 ACCESSORY MATERIALS

A. Bituminous Paint:  Cold-applied asphalt-mastic paint complying with SSPC-Paint 12 requirements except containing no asbestos, formulated for 30-mil (0.762-mm) thickness per coat.

2.5 FABRICATION

A. Form aluminum shapes before finishing.

B. Fabricate components that, when assembled, have the following characteristics:

1. Sharp profiles, straight and free of defects or deformations.

2. Accurately fitted joints with ends coped or mitered.

3. Internal guttering systems or other means to drain water passing joints, condensation occurring within framing members, and moisture migrating within the system to exterior.

4. Physical and thermal isolation of glazing from framing members.

5. Accommodations for thermal and mechanical movements of glazing and framing to prevent glazing-to-glazing contact and to maintain required glazing edge clearances.

6. Provisions for reglazing from exterior.

Delete paragraph below if no welding.

C. Weld in concealed locations to greatest extent possible to minimize distortion or discoloration of finish.  Remove weld spatter and welding oxides from exposed surfaces by descaling or grinding.

D. After fabrication, clearly mark components to identify their locations in Project according to Shop Drawings.

Insert integral stabilization requirements for descent-control equipment used for maintenance if any.

2.6 ALUMINUM FINISHES

A. High-Performance Organic Finish:  Three -coat thermocured system with fluoropolymer topcoats containing not less than 70 percent polyvinylidene fluoride resin by weight; complying with AAMA  2605.

1. Color and Gloss:  As selected from manufacturer's full range.

For exact finish, insert names of coating manufacturers and products.

PART 3 -  EXECUTION

3.1 INSTALLATION

A. General:

1. Fit joints to produce hairline joints free of burrs and distortion.

2. Rigidly secure nonmovement joints.

3. Install anchors with separators and isolators to prevent metal corrosion and electrolytic deterioration and to prevent impeding movement of moving joints.

4. Seal joints watertight, unless otherwise indicated.

B. Metal Protection:

1. Where aluminum will contact dissimilar metals, protect against galvanic action by painting contact surfaces with primer or by applying sealant or tape or installing nonconductive spacers as recommended by manufacturer for this purpose.

2. Where aluminum will contact concrete or masonry, protect against corrosion by painting contact surfaces with bituminous paint.

C. Install components to drain water passing joints, condensation occurring within framing members, and moisture migrating within the system to exterior.

D. Install components plumb and true in alignment with established lines and grades.

Delete first paragraph below if units are factory glazed.

E. Install glazing as specified Division 08 Section "Glazing."

F. Install sealants as specified in Division 07 Section "Joint Sealants."

Delete first paragraph below if no field-installed insulation.

G. Install insulation materials as specified in Division 07 Section "Thermal Insulation."

H. Erection Tolerances:  Install glazed aluminum curtain-wall systems to comply with the following maximum tolerances:

Erection tolerances below are examples only that are based on various AAMA references.  Coordinate with tolerances for support systems and revise to suit Project.

1. Plumb:  1/8 inch in 10 feet (3 mm in 3 m); 1/4 inch in 40 feet (6 mm in 12 m).

2. Level:  1/8 inch in 20 feet (3 mm in 6 m); 1/4 inch in 40 feet (6 mm in 12 m).

3. Alignment:

a. Where surfaces abut in line or are separated by reveal or protruding element up to 1/2 inch (13 mm) wide, limit offset from true alignment to 1/16 inch (1.6 mm).

b. Where surfaces are separated by reveal or protruding element from 1/2 to 1 inch (13 to 25 mm) wide, limit offset from true alignment to 1/8 inch (3.2 mm).

c. Where surfaces are separated by reveal or protruding element of 1 inch (25 mm) wide or greater, limit offset from true alignment to 1/4 inch (6 mm).

4. Location:  Limit variation from plane to 1/8 inch in 12 feet (3 mm in 3.7 m); 1/2 inch (12.7 mm) over total length.

3.2 FIELD QUALITY CONTROL

Generally retain inexpensive test in this Article to check system's resistance to water penetration.  Revise test area requirements indicated to suit Project.

A. Water Spray Test:  After the installation of minimum area of 75-feet- (23-m-) by-2-story glazed aluminum curtain-wall system has been completed but before installation of interior finishes has begun, test a 2-bay area of system designated by Architect according to AAMA 501.2.

1. Repair or remove work where test results indicate water penetration of systems.

2. Perform additional testing to determine resistance to water penetration of replaced or additional work.

END OF SECTION 08911

GLAZED ALUMINUM CURTAIN WALLS

08911 - 6

