Louisiana Army National Guard

Preliminary Review Documents

141st Readiness Center (RC)

Jackson Barracks, New Orleans, Louisiana

Technical Specifications


Copyright 2005 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 09653 – RESILIENT WALL BASE AND ACCESSORIES
Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 SUMMARY

A. Section Includes:

1. Resilient base.

2. Resilient stair accessories.

3. Resilient molding accessories.

1.2 SUBMITTALS

Three paragraphs in this article are defined in Division 01 Section "Submittal Procedures" as "Action Submittals."

A. Product Data:  For each type of product indicated.

B. SPiRiT Submittals:

Retain subparagraph below if low-emitting materials are required for LEED Credit EQ 4.1; coordinate with requirements selected in Part 2 for adhesives.

1. Product Data for Credit IEQ 5.C4:  For adhesives, including printed statement of VOC content and chemical components.

C. Samples:  For each type of product indicated, in manufacturer's standard-size Samples but not less than 12 inches (300 mm) long, of each resilient product color, texture, and pattern required.

1.3 QUALITY ASSURANCE

Delete Article if fire-test-response testing is not required by authorities having jurisdiction.  In most building codes, resilient products are exempt from fire-test-response requirements.  See "Fire-Test-Response Characteristics" Article in the Evaluations for additional information.

A. Fire-Test-Response Characteristics:  As determined by testing identical products according to ASTM E 648 or NFPA 253 by a qualified testing agency.

1. Critical Radiant Flux Classification:  Class I, not less than 0.45 W/sq. cm.

1.4 PROJECT CONDITIONS

A. Maintain ambient temperatures within range recommended by manufacturer in spaces to receive resilient products.

B. Until Substantial Completion, maintain ambient temperatures within range recommended by manufacturer.

C. Install resilient products after other finishing operations, including painting, have been completed.

PART 2 -  PRODUCTS

2.1 RESILIENT BASE

Refer to the tables at the end of the Evaluations for a list of manufacturers' products.  Use these tables in combination with manufacturers' catalogs or product data to insert series, type, model, and designations of other characteristics.

Copy this article and re-edit for each product.

Insert number to complete drawing designation.  Use these designations on Drawings to identify each product.

A. Resilient Base Standard:  ASTM F 1861.

See "Resilient Base" Article in the Evaluations for a discussion of material requirement, manufacturing method, and style.

1. Material Requirement:  Type TS (rubber, vulcanized thermoset) .

2. Manufacturing Method:  Group I (solid, homogeneous) .

3. Style:  Cove (base with toe) .

Both types of rubber base are generally 0.125 inch (3.2 mm) thick; however, some manufacturers offer various thicknesses.  Vinyl base is available in both thickness options in first paragraph below but not from every manufacturer.

B. Minimum Thickness:  0.125 inch (3.2 mm) .

C. Height:  6 inches (152 mm).

Coordinate height selected in paragraph above with length selected in first paragraph below; some manufacturers do not offer coils for every height.

D. Lengths:  Coils in manufacturer's standard length.

E. Outside Corners:  Preformed.

Coordinate first paragraph below with "Resilient Base Installation" Article.

F. Inside Corners:  Preformed.

G. Finish:  As selected by Architect from manufacturer's full range.

Retain paragraph below if colors and patterns are not indicated in a separate schedule.

H. Colors and Patterns:  As selected by Architect from full range of industry colors.

2.2 RESILIENT STAIR ACCESSORIES

Refer to the tables at the end of the Evaluations for a list of manufacturers' products.  Use these tables in combination with manufacturers' catalogs or product data to insert series, type, model, and designations of other characteristics.

Copy this article and re-edit for each product.

Insert number to complete drawing designation.  Use these designations on Drawings to identify each product.

A. Resilient Stair Treads Standard:  ASTM F 2169.

See "Resilient Base" Article in the Evaluations for a discussion of type, class, and group.

1. Material Requirement:  Type TS (rubber, vulcanized thermoset) .

2. Surface Design:

Retain first subparagraph below for smooth (flat) tread surface.  Retain second subparagraph for tread surface with pattern.

a. Class 2, Pattern:    Raised-disc design     .

Retain subparagraph below for both Class 1 and 2 treads.

3. Manufacturing Method:  Group 1, tread with embedded abrasive strips or Group 2, tread with contrasting color for the visually impaired.

B. One-piece nosing, tread and riser.
C. Thickness:  0.16 inch (4 mm) overall thickness.

D. Size:  Lengths and depths to fit each stair tread in one piece.

E. Stringers:  Of same thickness as risers, height and length after cutting to fit risers and treads and to cover stair stringers; produced by same manufacturer as treads and recommended by manufacturer for installation with treads.

Retain paragraph below if colors and patterns are not indicated in a separate schedule.

F. Colors and Patterns:  As selected by Architect from full range of industry colors.

2.3 RESILIENT MOLDING ACCESSORY

Refer to the tables at the end of the Evaluations for a list of manufacturers' products.  Use these tables in combination with manufacturers' catalogs or product data to insert series, type, model, and designations of other characteristics.

Copy this article and re-edit for each product.

Insert number to complete drawing designation.  Use these designations on Drawings to identify each product.

A. Resilient Edge Strips:  Use a 1/8-inch homogeneous vinyl or rubber composition, tapered or bullnose edge, color to match flooring, or as selected by Architect from standard colors available; not less than 1-inch wide.
2.4 INSTALLATION MATERIALS

A. Trowelable Leveling and Patching Compounds:  Latex-modified, portland cement based or blended hydraulic-cement-based formulation provided or approved by manufacturer for applications indicated.

B. Adhesives:  Water-resistant type recommended by manufacturer to suit resilient products and substrate conditions indicated.

Retain subparagraph below if low-emitting materials are required for LEED Credit EQ 4.1.  VOC limits are those in South Coast Air Quality Management District Rule #1168.

1. Use adhesives that comply with the following limits for VOC content when calculated according to 40 CFR 59, Subpart D (EPA Method 24):

a. Cove Base Adhesives:  Not more than 50 g/L.

Retain subparagraph below if rubber stair treads or molding accessories are required.

b. Rubber Floor Adhesives:  Not more than 60 g/L.

Retain first paragraph below if resilient stair treads are specified in this Section.

C. Stair-Tread-Nose Filler:  Two-part epoxy compound recommended by resilient tread manufacturer to fill nosing substrates that do not conform to tread contours.

PART 3 -  EXECUTION

3.1 PREPARATION

Extensive surface preparation is required over substrates from which existing products have been removed.  Requirements vary among manufacturers.  Insert requirements to suit Project.

A. Prepare substrates according to manufacturer's written instructions to ensure adhesion of resilient products.

B. Concrete Substrates for Resilient Stair Treads and Accessories:  Prepare according to ASTM F 710.

1. Verify that substrates are dry and free of curing compounds, sealers, and hardeners.

2. Remove substrate coatings and other substances that are incompatible with adhesives and that contain soap, wax, oil, or silicone, using mechanical methods recommended by manufacturer.  Do not use solvents.

3. Alkalinity and Adhesion Testing:  Perform tests recommended by manufacturer.

4. Moisture Testing:  Perform tests recommended by manufacturer.  Proceed with installation only after substrates pass testing.

C. Fill cracks, holes, and depressions in substrates with trowelable leveling and patching compound and remove bumps and ridges to produce a uniform and smooth substrate.

D. Do not install resilient products until they are same temperature as the space where they are to be installed.

1. Move resilient products and installation materials into spaces where they will be installed at least 48 hours in advance of installation.

E. Sweep and vacuum clean substrates to be covered by resilient products immediately before installation.

3.2 RESILIENT BASE INSTALLATION

A. Comply with manufacturer's written instructions for installing resilient base.

B. Apply resilient base to walls, columns, pilasters, casework and cabinets in toe spaces, and other permanent fixtures in rooms and areas where base is required.

C. Install resilient base in lengths as long as practicable without gaps at seams and with tops of adjacent pieces aligned.

D. Tightly adhere resilient base to substrate throughout length of each piece, with base in continuous contact with horizontal and vertical substrates.

E. Do not stretch resilient base during installation.

3.3 RESILIENT ACCESSORY INSTALLATION

A. Comply with manufacturer's written instructions for installing resilient accessories.

B. Resilient Stair Accessories:

1. Use stair-tread-nose filler to fill nosing substrates that do not conform to tread contours.

2. Tightly adhere to substrates throughout length of each piece.

C. Resilient Molding Accessories:  Butt to adjacent materials and tightly adhere to substrates throughout length of each piece.  Install resilient edge strips at edges of carpet resilient floor covering that would otherwise be exposed.

3.4 CLEANING AND PROTECTION

A. Comply with manufacturer's written instructions for cleaning and protection of resilient products.

B. Cover resilient products until Substantial Completion.

END OF SECTION 09653


RESILIENT WALL BASE AND ACCESSORIES

09653 - 4

