Louisiana Army National Guard

Preliminary Review Documents

141st Readiness Center (RC)

Jackson Barracks, New Orleans, Louisiana

Technical Specifications


Copyright 2000 and 2005 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 10605 - WIRE MESH PARTITIONS
This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 SUMMARY

A. This Section includes the following items fabricated from wire mesh:

Adjust list below to suit Project.

1. Standard-duty, interior partitions.

B. See Division 08 Section "Door Hardware" for lock cylinders and keying for wire mesh partition   doors and gates.

1.2 SUBMITTALS

A. Product Data:  For each product indicated.

B. Shop Drawings:  Include plans, elevations, sections, details, and attachments to other work.

First paragraph below assumes manufacturer's standard-size Samples are acceptable.  Revise to suit Project.

C. Samples:  For each exposed finish.

D. Maintenance data.

1.3 QUALITY ASSURANCE

A. Preinstallation Conference:  Conduct conference at Project site.

PART 2 -  PRODUCTS

2.1 MATERIALS

A. Steel Wire:  ASTM A 510 (ASTM A 510M).

B. Steel Plates, Channels, Angles, and Bars:  ASTM A 36/A 36M.

C. Cold-Rolled Steel Sheet:  ASTM A 1008/A 1008M, Commercial Steel (CS), Type B.

D. Steel Pipe:  ASTM A 53/A 53M, Schedule 40, unless another weight is indicated or required by structural loads.

E. Square Steel Tubing:  Cold-formed structural-steel tubing, ASTM A 500.

F. Metallic-Coated Steel Sheet:  ASTM A 653/A 653M, Commercial Steel (CS), Type B; with G60 (Z180) zinc (galvanized) or A60 (ZF180) zinc-iron-alloy (galvannealed) coating designation.

G. Panel-to-Panel Fasteners:  Manufacturer's standard steel bolts.

H. Postinstalled Expansion Anchors in Concrete:  Fabricated from corrosion-resistant materials; with capability to sustain, without failure, load imposed within factors of safety required, as determined by testing per ASTM E 488, conducted by a qualified independent testing agency.

I. Power-Actuated Fasteners in Concrete:  Fastener system of type suitable for application indicated and fabricated from corrosion-resistant materials; with clips or other accessory devices for attaching hangers of type indicated, and with capability to sustain, without failure, within factors of safety required, as determined by testing per ASTM E 1190, conducted by a qualified testing and inspecting agency.

2.2 STANDARD-DUTY WIRE MESH PARTITIONS

A. Mesh:  0.135-inch- (3.5-mm-) diameter, intermediate-crimp steel wire woven into 1-1/2-inch (38-mm) diamond mesh.

B. Vertical Panel Framing:  1-1/4-by-5/8-by-0.0966-inch (32-by-16-by-2.5-mm) cold-rolled, C-shaped steel channels with 1/4-inch- (6-mm-) diameter bolt holes spaced not more than 18 inches (450 mm) o.c. along center of framing.

C. Horizontal Panel Framing:  1-by-1/2-by-1/8-inch (25-by-13-by-3-mm) cold-rolled steel channels.

D. Horizontal Panel Stiffeners:  1-by-1/2-by-1/8-inch (25-by-13-by-3-mm) cold-rolled steel channels with wire woven through, or two 1-by-3/8-by-1/8-inch (25-by-9.5-by-3-mm) cold-rolled steel channels bolted or riveted toe to toe through mesh.

E. Top Capping Bars:  2-1/4-by-1-inch (57-by-25-mm) cold-rolled steel channels.

F. Posts for 90-Degree Corners:  1-1/4-by-1-1/4-by-1/8-inch (32-by-32-by-3-mm) steel angles with 1/4-inch- (6-mm-) diameter bolt holes aligning with bolt holes in vertical framing; with floor anchor clips.

G. Line Posts:  3-inch-by-4.1-lb (76-mm-by-1.9-kg) or 3-1/2-by-1-1/4-by-0.1265-inch (89-by-32-by-3.2-mm) steel channels; with 5-by-18-by-1/4-inch (125-by-450-by-6-mm) steel base plates punched for attachment to floor.

H. Floor Shoes:  Steel, cast iron, or cast aluminum, 2 inches (50 mm) high; sized to suit vertical framing, drilled for attachment to floor, and with set screws for leveling adjustment.

I. Swinging Doors:  Fabricated from same mesh as partitions, with framing fabricated from 1-1/4-by-1/2-by-1/8-inch (32-by-13-by-3-mm) steel channels or C-channels, banded with 1-1/4-by-1/8-inch (32-by-3-mm) flat steel bar cover plates on 3 sides, and with 1/8-inch- (3-mm-) thick angle strike bar and cover on strike jamb.

1. Hinges:  Full-surface type, 3-by-3-inch (76-by-76-mm) steel, 1-1/2 pairs per door; bolted, riveted, or welded to door and jamb framing.

Retain subparagraph above or below.

2. Cylinder Lock:  Mortise type operated by key outside and recessed knob inside.

J. Accessories:  Adjustable filler panels and wall clips.

K. Finishes:  Hot-dip galvanized, at first floor; baked-enamel finish at second floor.

1. Color:  As selected from manufacturer's full range.

2.3 FABRICATION

A. General:  Fabricate wire mesh items from components of sizes not less than those indicated.  Use larger-size components as recommended by wire mesh item manufacturer.  Provide bolts, hardware, and accessories as required for complete installation.

1. Fabricate wire mesh items to be readily disassembled.

Retain one of four options in subparagraph below; options are listed with best appearance and highest cost first.

2. Welding:  Weld corner joints of framing and  finish sand .

B. Standard- Duty Wire Mesh Partitions:  Fabricate wire mesh partitions with cutouts for pipes, ducts, beams, and other items indicated.  Finish edges of cutouts to provide a neat, protective edge.

1. Mesh:  Securely clinch mesh to framing.

2. Framing:  Fabricate framing with mortise and tenon corner construction.

a. Provide horizontal stiffeners as indicated or, if not indicated, as required by panel height and as recommended by wire mesh partition manufacturer.  Weld horizontal stiffeners to vertical framing.

b. Fabricate partition and door framing with slotted holes for connecting adjacent panels.

3. Fabricate wire mesh partitions with 3 inches (76 mm) of clear space between finished floor and bottom horizontal framing.

4. Doors:  Align bottom of door with bottom of adjacent panels.

a. For doors that do not extend full height of partition, provide transom over door, fabricated from same mesh and framing as partition panels.

5. Hardware Preparation:  Mortise, reinforce, drill, and tap doors and framing as required to install hardware.

2.4 FINISHES

A. Baked-Enamel Finish:  Manufacturer's standard one-coat, baked-enamel finish with minimum dry film thickness of 1 mil (0.025 mm).

PART 3 -  EXECUTION

3.1 ERECTION

A. Wire Mesh Partitions:

1. Anchor wire mesh partitions to floor with 3/8-inch- (9.5-mm-) diameter, postinstalled expansion anchors at 12 inches (305 mm) o.c. through anchor clips or floor shoes located at each post and corner.

a. Shim anchor clips as required to achieve level and plumb installation.

b. Adjust wire mesh partition posts in floor shoes to achieve level and plumb installation.

2. Anchor wire mesh partitions to walls at 12 inches (305 mm) o.c. through back corner panel framing with fasteners appropriate to substrate.

3. Secure top capping bars to top framing channels with 1/4-inch- (6-mm-) diameter "U" bolts spaced not more than 28 inches (700 mm) o.c.

4. Provide line posts as follows:

Edit list below to suit Project.  Verify location and spacing for line posts with manufacturers because their recommendations differ.

a. On each side of sliding door openings.

b. For partitions that are 7 to 9 feet (2.1 to 2.7 m) high, spaced at 15 to 20 feet (4.6 to 6.1 m) o.c.

c. For partitions that are 10 to 12 feet (3.0 to 3.7 m) high, located between every other panel.

d. For partitions that are more than 12 feet (3.7 m) high, located between each panel.

Delete first subparagraph below if custom-width wire mesh partition panels are required and dimensions are indicated on Drawings.

5. Where standard-width wire mesh partition panels do not fill entire length of run, provide adjustable filler panels to fill openings.

6. Install doors complete with door hardware.

7. Bolt accessories to wire mesh partition framing.

B. Adjust doors to operate easily without binding.

END OF SECTION 10605

WIRE MESH PARTITIONS

10605 - 4

