Copyright 2004 and 2005 AIA
MASTERSPEC Full Length
02/04 (R 05/05)

Copyright 2004 and 2005 (R 11/04) by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 044200 - EXTERIOR STONE CLADDING
This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 01 Specification Sections, apply to this Section.

1.2 SUMMARY

A. This Section includes the following types of dimension stone:

Adjust list below to suit Project.  Revise subparagraphs as needed.

1. Panels set with individual anchors.

Subparagraph below applies to vertical trusses spanning floor to floor and to spandrel trusses spanning column to column.

2. Panels mechanically anchored on prefabricated steel trusses.

Subparagraph below applies to vertical steel members spanning floor to floor.

3. Panels mechanically anchored on prefabricated steel strongback frames.

First subparagraph below applies to spandrel panel frames or frames spanning floor to floor for low-rise uses.

4. Panels mechanically anchored on prefabricated steel stud frames.

5. Panels mechanically anchored (field installed) on a metal-grid system.

6. Panels set in architectural precast concrete.

7. Panels glazed into aluminum curtain-wall framing system.

Select from options in first subparagraph below to describe units required; add other descriptive terms to suit Project.

8. Trim units, including [bands] [copings] [sills] [jambs] [and] [soffits].

9. Units with carving or inscriptions.

B. Related Sections include the following:

List below only products, construction, and equipment that the reader might expect to find in this Section but are specified elsewhere.

1. Division 03 Section "Cast-in-Place Concrete" for installing [inserts] [and] [weld plates] in concrete for anchoring dimension stone cladding.

2. Division 03 Section "Precast Architectural Concrete" for setting dimension stone panels in architectural precast concrete units.

3. Division 04 Section "Unit Masonry" for [installing inserts in unit masonry for anchoring dimension stone cladding] [and] [for stone trim in unit masonry walls].

4. Division 05 Section "Cold-Formed Metal Framing" for steel stud frames supporting dimension stone cladding.

Delete first subparagraph below if joint sealants are not used or if filling or pointing joints with sealants is included in this Section.

5. Division 07 Section "Joint Sealants" for sealing joints in dimension stone cladding system with elastomeric sealants.

6. Division 08 Section "Glazed Aluminum Curtain Walls" for installing dimension stone panels in aluminum curtain-wall systems.

7. Division 09 Section "Stone Flooring" for dimension stone used as paving and flooring.

8. Division 09 Section "Stone Facing" for dimension stone applied as trim and paneling on building interiors.

Retain paragraph below if allowance is specified for testing.

C. Allowances:  Furnish [preconstruction] [and] [quality-control] testing under the Inspection and Testing Allowance as specified in Division 01 Section "Allowances."

1.3 DEFINITIONS

A. Definitions contained in ASTM C 119 apply to this Section.

Delete definition in paragraph below if Section only includes dimension stone panels set in architectural precast concrete, dimension stone panels glazed into curtain walls, or dimension stone trim.

B. Dimension Stone Cladding System:  An exterior wall covering system consisting of dimension stone panels[ and trim] together with anchors, [backup structure,] [secondary weather barrier (sheathing),] [mortar,] [adhesives,] fasteners, and sealants used to secure the stone to building structure and to produce a weather-resistant covering.

1. Backup structure includes [prefabricated steel trusses] [prefabricated steel strongback frames] [prefabricated steel stud frames] [metal-grid system] [and] [miscellaneous steel framing required to secure stone to building structure].

1.4 PERFORMANCE REQUIREMENTS

Delete this Article if anchoring systems are fully detailed on Drawings or if authorities having jurisdiction require structural engineer of record to take full responsibility for structural design.  See Evaluations.  If deleting this Article, give a copy of it to Project's structural engineer as an example of design requirements for dimension stone cladding systems.

A. General:  Design stone anchors and anchoring systems according to ASTM C 1242.

B. Structural Performance:  Provide dimension stone cladding system capable of withstanding the effects of gravity loads and the following loads and stresses within limits and under conditions indicated:

Requirements under each set of performance criteria below are examples only.  Revise to suit Project.  Consult a structural engineer experienced in engineering dimension stone assemblies of type indicated to quantify design loads applicable to Project.  Verify compliance with codes.  See Evaluations.

1. Wind Loads:  Determine loads based on the following minimum design wind pressures:

a. Uniform pressure of [20 lbf/sq. ft. (957 Pa)] [30 lbf/sq. ft. (1436 Pa)] <Insert design wind pressure>, acting inward or outward.

Delete last subparagraph above or subparagraph below.  If retaining below, indicate pressures on appropriate elevation Drawings.

b. Uniform pressure as indicated on Drawings.

Delete subparagraph below if not required.

2. Equipment Loads:  Allow for loads due to window cleaning and maintenance equipment.

Revise first paragraph and subparagraph below to indicate specific loads determined by Project's structural engineer.  Model building codes and ASCE 7 establish criteria for buildings subject to earthquake motions.  Verify requirements of authorities having jurisdiction.

C. Seismic Performance:  Provide dimension stone cladding system capable of withstanding the effects of earthquake motions determined according to [ASCE 7] <Insert requirement>.

1. Seismic Design Criteria:  <Insert criteria, such as seismic coefficient, component importance factor, etc.>

D. Thermal Movements:  Provide dimension stone cladding system that allows for thermal movements resulting from the following maximum change (range) in ambient and surface temperatures by preventing displacement of stone, opening of joints, overstressing of components, failure of joint sealants, failure of connections, and other detrimental effects.  Base engineering calculation on surface temperatures of materials due to both solar heat gain and nighttime-sky heat loss.

Differential values in subparagraph below are suitable for dark-colored stone in most of U.S.  Revise to suit local conditions.

1. Temperature Change (Range):  120 deg F (67 deg C), ambient; 180 deg F (100 deg C), material surfaces.

E. Horizontal Building Movement (Interstory Drift):  Allow for maximum horizontal building movement equal to quotient resulting from dividing floor-to-floor height at any floor by 400.

Retain first paragraph below for concrete frame buildings only; verify factor with Project's structural engineer.

F. Shrinkage and Creep:  Allow for progressive vertical shortening of building frame equal to 1/8 inch in 10 feet (3 mm in 3 m).

G. Safety Factors for Stone:  Design dimension stone cladding system to withstand loads indicated without exceeding allowable working stress of stone determined by dividing stone's average ultimate strength, as established by testing, by the following safety factors:

Safety factors in subparagraphs below are examples based on industry-recognized recommendations.  Adjust to suit capabilities of stone selected.  See Evaluations for discussion of safety factors.

1. Safety Factor for Granite:  [3] <Insert number>.

2. Safety Factor for Oolitic Limestone:  [8] <Insert number>.

3. Safety Factor for Dolomitic Limestone:  [6] <Insert number>.

4. Safety Factor for Marble:  [5] <Insert number>.

5. Safety Factor for Quartz-Based Stone:  [6] <Insert number>.

6. Safety Factor for Serpentine:  [6] <Insert number>.

7. Safety Factor for Slate:  [5] <Insert number>.

8. Safety Factor for Travertine:  [8] <Insert number>.

Below is based on MIA's recommendations.  Other industry-recognized recommendations suggest that safety factors above are sufficient and that requirements below are not necessary.

9. Safety Factor for Concentrated Stresses:  [4 for granite] [and] [10] [for stone varieties other than granite].

H. Design stone anchors[ and backup structure] to withstand loads indicated without exceeding allowable working stresses established by the following:

Retain only requirements below for metals specified in Part 2.

1. For Structural Steel:  AISC's "Specification for Structural Steel Buildings - Allowable Stress Design and Plastic Design."

2. For Cold-Formed Steel:  AISI's "North American Specification for the Design of Cold-Formed Steel Structural Members."

3. For Cold-Formed Stainless Steel:  ASCE 8, "Specification for the Design of Cold-Formed Stainless Steel Structural Members."

4. For Aluminum:  AA ADM-1, "The Aluminum Design Manual."

Below are examples only.  Verify safety factors to suit conditions and types of fasteners indicated.  Overhead, vibratory, and other critical loads generally require higher safety factors.

5. For Cast-in-Place and Postinstalled Fasteners in Concrete:  One-fourth of tested capacity when installed in concrete with compressive strength indicated.

6. For Post-Installed Fasteners in Masonry:  One-sixth of tested capacity when installed in masonry units indicated.

Delete first paragraph and subparagraphs below if prefabricated systems are not used.  Revise criteria below if applicable after determining deflection that stone can withstand.

I. Limit deflection in each prefabricated assembly caused by indicated loads and thermal movements, acting singly or in combination with one another, to not more than [1/720] <Insert ratio> of assembly's clear span or the following, whichever is smaller:

1. 1/16 inch (1.5 mm), measured in plane of wall.

2. 1/4 inch (6 mm), measured perpendicular to wall.

J. Provisions for Fabrication and Erection Tolerances:  Allow for fabrication and erection tolerances of building's structural system.  [Concrete fabrication and erection tolerances are specified in Division 03 Section "Cast-in-Place Concrete." ] [Structural-steel fabrication and erection tolerances are specified in Division 05 Section "Structural Steel Framing." ]

K. Provision for Deflection of Building Structure:  Allow for the following:

1. Deflection due to Weight of Dimension Stone Cladding System:  Allow for 1/4-inch (6-mm) vertical deflection in 20-foot (6-m) span of structural members supporting dimension stone cladding system.

Revise subparagraph above and below to suit Project conditions.  Note that stone cladding must be designed to withstand combination of deflection above and below.  Delete above if Contractor is responsible for design of framing system that supports stone and framing system is supported only on building columns.  Delete below if stone framing system does not include nor is connected to floor or roof spandrel beams or slab edge.

2. Live Load Deflection:  Allow for 1/4-inch (6-mm) vertical deflection, in 20-foot (6-m) span of structural members supporting dimension stone cladding system, due to live loads imposed on building's structural frame after stone installation.

Paragraph below is an example of performance requirements for dimension stone cladding system that is part of a curtain wall, such as prefabricated panels.  A system that contains weep holes cannot comply with requirements indicated unless it contains a secondary weather barrier that complies with requirements.

L. Leakage Resistance, Water and Air:  Provide dimension stone cladding system that complies with the following:

Revise values in both subparagraphs below to suit Project.  ASTM E 283 requires using a static-air-pressure differential of 1.57 lbf/sq. ft. (75 Pa), unless otherwise indicated, which is equivalent to a 25-mph (40-km/h) wind.  Air infiltration of 0.004 cfm/sq. ft. (0.02 L/s per sq. m) at static-air-pressure differential of 1.57 lbf/sq. ft. (75 Pa) is limit allowed for air barriers under National Building Code of Canada.  AAMA's "Curtain Wall Design Guide Manual" states that an air leakage not exceeding 0.06 cfm/sq. ft. (0.3 L/s per sq. m) at static-air-pressure differential of 1.57 lbf/sq. ft. (75 Pa) represents good performance for fixed glass and panel areas of a curtain wall.

1. Air Infiltration:  Not more than [0.004 cfm/sq. ft. (0.02 L/s per sq. m)] [0.06 cfm/sq. ft. (0.3 L/s per sq. m)] <Insert allowable infiltration rate> of wall area, as measured by testing mockup per ASTM E 283 at a differential pressure of [1.57 lbf/sq. ft. (75 Pa)] <Insert pressure>.

Water test pressure of 20 percent of wind-load design pressure provides satisfactory performance in most parts of the U.S.  Locations where high winds and heavy rains frequently occur simultaneously require higher test pressures.  Lower test pressures are acceptable for some locations.  Revise subparagraph below to suit Project.

2. Water Penetration:  No uncontrolled water penetration beyond plane of back of dimension stone cladding system that is not contained or drained back to exterior, as measured by testing mockup per ASTM E 331 at a differential pressure of [20 percent of positive design wind load, but not less than 10 lbf/sq. ft. (479 Pa)] <Insert pressure>.

M. Control of Corrosion and Staining:  Prevent galvanic and other forms of corrosion as well as staining by isolating metals and other materials from direct contact with incompatible materials.  Use materials that do not stain exposed surfaces of stone and joint materials.

Insert other performance requirements for thermal insulating performance, condensation resistance, etc., if required.

1.5 SUBMITTALS

A. Product Data:  For each[ variety of stone,] stone accessory, and other manufactured products indicated.

B. Shop Drawings:  Show fabrication and installation details for dimension stone cladding system, including dimensions and profiles of stone units.

1. Show locations and details of joints both within dimension stone cladding system and between dimension stone cladding system and other construction.

2. Include details of [mortar joints] [sealant joints] [and] [mortar joints pointed with sealant].

3. Show locations and details of anchors[ and backup structure].

Delete subparagraph below if not applicable.

4. Include large-scale shaded elevations and details of decorative surfaces and inscriptions.

Retain subparagraph below if products are required to withstand specific design loads and design responsibilities have been delegated to Contractor.  Professional engineer qualifications are specified in Division 01 Section "Quality Requirements."

5. For installed products indicated to comply with design loads, include structural analysis data signed and sealed by the qualified professional engineer responsible for their preparation.

C. Samples for Initial Selection:  For joint materials involving color selection.

Generally retain first paragraph below, especially for more variable varieties where Samples may serve to define acceptable range of colors, patterns, etc.

D. Stone Samples for Verification:  Sets for each color, grade, finish, and variety of stone required; not less than 12 inches (300 mm) square.

Division 01 Section "Submittal Procedures" requires that Samples for verification "show the full range of color and texture variations expected," but this requirement may not be adequate for stone varieties that exhibit wide variations in color and veining.  Subparagraph below should provide better control.

1. Sets shall consist of at least [two] [three] [four] [five] <Insert number> Samples, exhibiting extremes of the full range of color and other visual characteristics expected and will establish the standard by which stone will be judged.

E. Colored Pointing Mortar Samples for Verification:  For each color required, showing the full range of exposed color and texture expected in the completed Work.

Delete paragraph above or below if not applicable.

F. Sealant Samples for Verification:  For each type and color of joint sealant required.

Retain paragraph below if procedures for welder certification are retained in "Quality Assurance" Article.

G. Welding certificates.

Coordinate paragraph below with qualification requirements in Division 01 Section "Quality Requirements" and as supplemented in "Quality Assurance" Article.

H. Qualification Data:  For [Installer] [fabricator] [professional engineer] [and] [testing agency].

Delete test reports below if not required.  See Evaluations.

I. Material Test Reports:  From a qualified independent testing agency, as follows:

1. Stone Test Reports:  For[ each] stone variety proposed for use on Project, provide test data indicating compliance with required physical properties, other than abrasion resistance, according to referenced ASTM standards.  Base reports on testing done within previous [five] [three] <Insert number> years.

2. For metal components, indicate chemical and physical properties of metal.

3. Sealant Compatibility and Adhesion Test Report:  From sealant manufacturer complying with requirements in Division 07 Section "Joint Sealants" and indicating that sealants will not stain or damage stone.  Include interpretation of test results and recommendations for primers and substrate preparation needed for adhesion.

4. Preconstruction Sealant Field Test Report:  From Installer, complying with requirements in Division 07 Section "Joint Sealants."

Delete paragraph below if not required.

J. Cold-Weather Procedures:  Detailed description of methods, materials, and equipment to be used to comply with cold-weather requirements.

1.6 QUALITY ASSURANCE

A. Installer Qualifications:  A firm or individual experienced in installing dimension stone cladding systems similar in material, design, and extent to that indicated for this Project, whose work has a record of successful in-service performance.

B. Fabricator Qualifications:  Shop that employs skilled workers who custom-fabricate dimension stone cladding systems similar to that required for this Project and whose products have a record of successful in-service performance.

Delete subparagraphs below if Contractor is not required to assume responsibility for engineering.

1. Fabricator's responsibilities include fabricating dimension stone cladding and providing professional engineering services needed to assume engineering responsibility.

2. Engineering Responsibility:  Comprehensive engineering analysis by a qualified professional engineer.

Retain paragraph below if Contractor selects testing agency.

C. Testing Agency Qualifications:  An independent agency qualified according to ASTM E 329 for testing indicated.

Delete third option in paragraph below if no other stone Sections are used or if stone for other Sections is specified in a stone schedule in this Section.

D. Source Limitations for Stone:  Obtain[ each variety of] stone, [regardless of finish, ]from a single quarry[, whether specified in this Section or in another Section of the Specifications,] with resources to provide materials of consistent quality in appearance and physical properties.

Delete subparagraph below if not applicable.

1. For stone types that include same list of varieties and sources, provide same variety from same source for each.

Delete subparagraph below if not required.  Examination of blocks is usually only done for large installations and involves traveling to the quarry or to the shop where blocks are sawed into slabs, which is frequently not the fabrication shop.

2. Make quarried blocks available for examination by Architect for appearance characteristics.

Delete paragraph below if no mortar.

E. Source Limitations for Mortar Materials:  Obtain mortar ingredients of uniform quality for each cementitious component from a single manufacturer and each aggregate from one source or producer.

Delete option in first paragraph below if sealants are not specified in this Section.

F. Source Limitations for Other Materials:  Obtain each type of stone accessory[, sealant,] and other material from a single manufacturer for each product.

G. Preconstruction Stone Testing:  Owner will engage a qualified independent testing agency to perform preconstruction testing indicated below.  Payment for these services will be made [by Owner] [from the Inspection and Testing Allowance, as authorized by Change Orders].

Retain paragraph above if Owner engages testing agency; paragraph below if Contractor engages testing agency.  Delete both if testing is not required.  See Evaluations.

H. Preconstruction Stone Testing:  Engage a qualified independent testing agency to perform preconstruction testing indicated below.

Retain appropriate subparagraphs below with either of last two paragraphs above.

Consider deleting subparagraph below.  If specific stone variety is named in the Specifications, it may be unreasonable to require that it also comply with test requirements.  Selecting stone varieties that can pass test requirements by a suitable margin may eliminate the need for below.

1. Retesting of materials that fail to meet specified requirements shall be done at Contractor's expense.

First subparagraph below requires test specimens that are "representative of" materials to be used, not that they be taken from same blocks.  Testing of specimens from same blocks used is in Part 2 "Source Quality Control" Article.

2. Furnish test specimens that are representative of materials proposed for incorporation into the Work.

3. Physical Property Tests:  For[ each] stone variety proposed for use on Project, tested for compliance with physical property requirements, other than abrasion resistance, according to referenced ASTM standards.

Usually retain subparagraph below to determine adequacy of stone thickness for spans.

4. Flexural Strength Tests:  For[ each combination of] stone variety, thickness, orientation of cut, and finish, proposed for use on Project, tested according to ASTM C 880, in both wet and dry conditions.

Usually retain subparagraph below to verify capacity of stone and anchor combinations

5. Anchorage Tests:  For[ each combination of] stone variety, orientation of cut, finish, and anchor type proposed for use on Project, tested according to ASTM C 1354.

Usually delete two subparagraphs below.  First is test for stone anchoring systems.  Second is test for curtain-wall panels.  Adjust maximum test load, if desired, on advice of structural engineer, stone consultant, testing agency, etc.  Note that mockups for tests below are installed at testing agency's facilities rather than at Project site.

6. Anchoring System Mockup Tests:  For performance of stone anchoring system, evaluated for compliance with requirements by mockup testing per ASTM C 1201, Procedure B, with a maximum test load equal to 3 times the design load.

7. Cladding System Mockup Tests:  For performance of dimension stone cladding system, evaluated for compliance with requirements by mockup testing per ASTM E 72, with a maximum test load equal to 3 times the design load.

If retaining either subparagraph above, retain subparagraph below and indicate on Drawings areas to be mocked up or revise below to describe sizes and configurations of mockups.

8. Contractor is required to build test mockups of representative portion of dimension stone cladding system corresponding to area indicated on Drawings.  Build test mockups at testing agency's facilities from same materials proposed for Project[, using installers who will perform same tasks for Project].

Delete subparagraph below if Contractor engages testing agency.

9. Testing agency will report test results in writing to Architect and Contractor.

Delete paragraph below if sealants are not specified in this Section.

I. Preconstruction Sealant Compatibility and Adhesion Testing:  Submit to joint-sealant manufacturers, for compatibility and adhesion testing according to sealant manufacturer's standard testing methods and Division 07 Section "Joint Sealants," samples of materials that will contact or affect joint sealants.

Retain applicable requirements in Division 07 Section "Joint Sealants."

J. Preconstruction Field Testing of Sealants:  Before installing joint sealants, field test their adhesion to joint substrates per requirements specified in Division 07 Section "Joint Sealants."

Delete paragraph below if no welding.  Retain "Welding certificates" Paragraph in "Submittals" Article if retaining below.  AWS states that welding qualifications remain in effect indefinitely unless welding personnel have not welded for more than six months or there is a specific reason to question their ability.

Delete second option if no aluminum.

K. Welding:  Qualify procedures and personnel according to [AWS D1.1/D1.1M, "Structural Welding Code--Steel";] [AWS D1.2/D1.2M, "Structural Welding Code--Aluminum";] [and] [AWS D1.3, "Structural Welding Code--Sheet Steel." ]

Delete paragraph and subparagraphs below if not required.  If retaining, indicate location and other details of mockups on Drawings or by inserts.  Revise wording if only one mockup is required.

L. Mockups:  Build mockups to verify selections made under sample submittals and to demonstrate aesthetic effects and set quality standards for materials and execution.

Retain subparagraph below for large-scale mockup or include in Division 01 Section "Quality Requirements."  Indicate on Drawings' portion of wall represented by mockup or draw mockup as separate element.

1. Build mockup of typical wall area as shown on Drawings.

Retain subparagraph below for limited mockups.

2. Build mockups of typical exterior wall with dimension stone cladding, approximately [72 inches (1800 mm) long by 48 inches (1200 mm) high] [15 feet (4.5 m) long by 10 feet (3 m) high].

Retain any of first three subparagraphs below with either subparagraph above.  Delete items not applicable; add others to suit Project.

a. Show typical components, attachments to building structure, and methods of installation.

b. Include window opening with stone [returns] [trim].

c. Include sealant-filled joint complying with requirements in Division 07 Section "Joint Sealants."

3. Approval of mockups does not constitute approval of deviations from the Contract Documents contained in mockups unless such deviations are specifically approved by Architect in writing.

Retain subparagraph below if mockups are erected as part of building rather than separately and the intention is to make an exception to the default requirement in Division 01 Section "Quality Requirements" for demolishing and removing mockups when directed, unless otherwise indicated.

4. Approved mockups may become part of the completed Work if undisturbed at time of Substantial Completion.

1.7 DELIVERY, STORAGE, AND HANDLING

A. Store and handle stone and related materials to prevent deterioration or damage due to moisture, temperature changes, contaminants, corrosion, breaking, chipping, and other causes.

1. Lift stone with wide-belt slings; do not use wire rope or ropes that might cause staining.  Move stone, if required, using dollies with cushioned wood supports.

2. Store stone on wood skids or pallets with nonstaining, waterproof covers.  Arrange to distribute weight evenly and to prevent damage to stone.  Ventilate under covers to prevent condensation.

B. Mark stone units, on surface that will be concealed after installation, with designations used on Shop Drawings to identify individual stone units.  Orient markings on vertical panels so that they are right side up when units are installed.

Delete first paragraph below if sealants are not specified in this Section.

C. Deliver sealants to Project site in original unopened containers labeled with manufacturer's name, product name and designation, color, expiration period, pot life, curing time, and mixing instructions for multicomponent materials.

D. Store cementitious materials on elevated platforms, under cover, and in a dry location.  Do not use cementitious materials that have become damp.

Delete paragraph above and below if no mortar.

E. Store aggregates in locations where grading and other required characteristics can be maintained and where contamination can be avoided.

1.8 PROJECT CONDITIONS

A. Protect dimension stone cladding during erection as follows:

1. Cover tops of dimension stone cladding installation with nonstaining, waterproof sheeting at end of each day's work.  Cover partially completed structures when work is not in progress.  Extend cover a minimum of 24 inches (600 mm) down both sides and hold securely in place.

2. Prevent staining of stone from mortar, grout, sealants, and other sources.  Immediately remove such materials without damaging stone.

3. Protect base of walls from rain-splashed mud and mortar splatter by coverings spread on ground and over wall surface.

4. Protect sills, ledges, and projections from mortar and sealant droppings.

B. Cold-Weather Requirements:  Do not use frozen materials or materials mixed or coated with ice or frost.  Remove and replace dimension stone cladding damaged by frost or freezing conditions.

1. Comply with cold-weather construction and protection requirements for masonry contained in ACI 530.1/ASCE 6/TMS 602.

Delete subparagraph above or two subparagraphs and associated subparagraphs below.  Delete all if no dimension stone cladding is installed with mortar.

2. Cold-Weather Construction:  When ambient temperature is within limits indicated, use the following procedures:

a. At 40 deg F (5 deg C) and below, produce mortar temperatures between 40 and 120 deg F (5 and 49 deg C) by heating mixing water, sand, or both.  Do not heat water to above 160 deg F (71 deg C).

b. At 32 deg F (0 deg C) and below, maintain temperature of mortar on boards above freezing.  Heat stone and substrates so they are above 32 deg F (0 deg C) at time of installation.

c. At 25 to 20 deg F (minus 4 to minus 7 deg C), heat both sides of walls under construction.  Use windbreaks or enclosures when wind velocity exceeds 15 mph (25 km/h).

d. At 20 deg F (minus 7 deg C) and below, provide enclosure and auxiliary heat to maintain air temperature above 32 deg F (0 deg C) within enclosure.

3. Cold-Weather Protection:  When mean daily temperature is within limits indicated, provide the following protection for 48 hours after construction:

a. 40 to 25 Deg F (Plus 5 to Minus 4 Deg C):  Cover dimension stone cladding with a weather-resistant membrane.

b. 25 to 20 Deg F (Minus 4 to Minus 7 Deg C):  Cover dimension stone cladding with weather-resistant, insulating blankets or provide enclosure and heat to maintain air temperature above 32 deg F (0 deg C) within enclosure.  Use windbreaks or enclosures when wind velocity exceeds 15 mph (25 km/h).

c. 20 Deg F (Minus 7 Deg C) and below:  Provide enclosure and heat to maintain air temperature above 32 deg F (0 deg C) within enclosure.

C. Hot-Weather Requirements:  Comply with hot-weather construction and protection requirements for masonry contained in ACI 530.1/ASCE 6/TMS 602.

Delete paragraph below if sealants are not specified in this Section.

D. Environmental Limitations for Sealants:  Do not install sealants when ambient and substrate temperatures are outside limits permitted by sealant manufacturer or below 40 deg F (5 deg C) or when joint substrates are wet.

1.9 COORDINATION

Delete first paragraph below if not applicable.

A. Coordinate installation of inserts that are to be embedded in concrete or masonry, flashing reglets, and similar items to be used by dimension stone cladding Installer for anchoring, supporting, and flashing of dimension stone cladding system.  Furnish setting drawings, templates, and directions for installing such items and deliver to Project site in time for installation.

B. Time delivery and installation of dimension stone cladding to avoid extended on-site storage and to coordinate with work adjacent to dimension stone cladding.

1.10 EXTRA MATERIALS

Delete this Article if not required.  Extra materials may not be allowed for publicly funded projects.

A. Furnish extra materials described below that match products installed and that are packaged with protective covering for storage and identified with labels describing contents.

Revise subparagraph below to suit Project.  Coordinate with space available for storage.

1. Dimension Stone Units:  Furnish <Insert quantity> finished stone panels <Insert required dimensions> for each finish and variety of stone specified.

PART 2 -  PRODUCTS

Select one or more of first seven articles below to describe stone types used.  If only one type from each category is required, the generic name can be retained and used on Drawings instead of a stone-type designation; otherwise, copy and re-edit paragraph selected for each type required, inserting a different stone-type designation each time.

2.1 GRANITE <Insert drawing designation>

A. Granite:  Comply with ASTM C 615.

B. Description:  Uniform, [fine] [medium]-grained, [white] [pink] [gray] [black] <Insert color> stone[ without veining].

Paragraph above is an example of a generic description that can be retained and edited for a nonproprietary specification.  For a more explicit specification, delete above and list varieties and sources.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  If naming varieties and sources, retain one of three paragraphs and list below.  See Division 01 Section "Product Requirements."

C. Available Varieties and Sources:  Subject to compliance with requirements, stone varieties that may be incorporated into the Work include, but are not limited to, the following:

D. Varieties and Sources:  Subject to compliance with requirements, provide one of the following:

E. Variety and Source:  Subject to compliance with requirements, provide the following:

1. <Insert, in separate subparagraphs, names of varieties and producers, distributors, or importers.>

Delete paragraph below if variety selected has no veining.

F. Cut:  [Vein] [Fleuri] cut.

Delete subparagraph below if vein cut is not selected.

1. Orientation of Veining:  [Horizontal] [Vertical] [As indicated].

Delete first paragraph below if not applicable.

G. Cut stone from one block or contiguous, matched blocks in which natural markings occur.

H. Finish:  [Polished] [Honed] [Thermal] [As indicated] [Match Architect's sample] <Insert finish>.

Retain paragraph below for added quality control if required.

I. Match Architect's samples for color, finish, and other stone characteristics relating to aesthetic effects.

Verify availability of thickness selected with stone suppliers.  Minimum thickness depends on application, size of stone panels, spans, variety of stone, and finish; consult producers of stone varieties selected.  30 mm, 1-1/4 inches (32 mm), 1-5/8 inches (40 mm), and 2 inches (50 mm) are typical thicknesses used for exterior panels.  3/4-inch (20-mm) granite is generally only used for facing precast concrete or for very small panels, such as for planter walls.  For locations where other thicknesses are required, such as sills, copings, etc., show thickness on Drawings.

J. Thickness:  Not less than [3/4 inch (20 mm)] [30 mm] [1-1/4 inches (32 mm)] [1-5/8 inches (40 mm)] [2 inches (50 mm)], unless otherwise indicated.

2.2 LIMESTONE <Insert drawing designation>

A. Limestone:  Comply with ASTM C 568.

Select one of four options in subparagraph below.  First generally applies to very porous limestone that should only be used on building exteriors in mild climates; second, to oolitic limestone; third and fourth, to dolomitic limestone.  See Evaluations.

1. Classification:  [I Low-Density] [II Medium-Density] [II Medium-Density, except change requirements per ASTM C 568 for absorption by weight, density, compressive strength, and modulus of rupture to, respectively, 5 percent maximum, 150 lb/cu. ft. (2400 kg/cu. m) minimum, 8000 psi (55 MPa), and 800 psi (5.5 MPa) minimum] [III High-Density].

Select one of three options in subparagraph below or delete if not applicable.  Coordinate with classification choice above.  See Evaluations.

2. Description:  [Dolomitic] [Oolitic] [Shell] limestone.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  If naming varieties and sources, retain one of three paragraphs and list below.  See Division 01 Section "Product Requirements."

B. Available Varieties and Sources:  Subject to compliance with requirements, stone varieties that may be incorporated into the Work include, but are not limited to, the following:

C. Varieties and Sources:  Subject to compliance with requirements, provide one of the following:

D. Variety and Source:  Subject to compliance with requirements, provide the following:

1. <Insert, in separate subparagraphs, names of varieties and producers, distributors, or importers.>

Delete three paragraphs and list above and retain paragraph below if Indiana limestone is required.  If retaining below, retain "II Medium-Density" and "Oolitic" options above.  Revise below if stone from a particular quarry is required.

E. Variety and Sources:  Indiana oolitic limestone quarried in Lawrence, Monroe, or Owen Counties, Indiana.

If retaining Indiana limestone above, retain paragraph below and select one grade and color.  Delete if Indiana limestone is not used.  Select and Standard grades are hard to get in large sizes; gray is more plentiful than buff.  Verify availability with producers.

F. Indiana Oolitic Limestone Grade and Color:  [Select, buff] [Select, gray] [Standard, buff] [Standard, gray] [Rustic, buff] [Rustic, gray] [Variegated], according to grade and color classification established by ILI.

Delete paragraph below if variety selected, such as Indiana limestone, has no veining.

G. Cut:  [Vein] [Fleuri] cut.

Delete subparagraph below if vein cut is not selected.

1. Orientation of Veining:  [Horizontal] [Vertical] [As indicated].

Delete first paragraph below if not applicable.  Matched blocks are not possible with Indiana limestone.

H. Cut stone from one block or contiguous, matched blocks in which natural markings occur.

I. Finish, Matching Standard ILI Finish:  [Smooth finish] [Machine tooled, 4 bats per 1 inch (25 mm)] [Machine tooled, 6 bats per 1 inch (25 mm)] [Machine tooled, 8 bats per 1 inch (25 mm)] [As indicated] <Insert finish>.

Select paragraph above or below.  Retain above for Indiana limestone below for other varieties.

J. Finish:  [Smooth] [Sand rubbed] [Machine tooled, 4 bats per 1 inch (25 mm)] [Machine tooled, 6 bats per 1 inch (25 mm)] [Machine tooled, 8 bats per 1 inch (25 mm)] [As indicated] [Match Architect's sample] <Insert finish>.

Retain paragraph below for added quality control if required.

K. Match Architect's samples for color, finish, and other stone characteristics relating to aesthetic effects.

Verify availability of thickness selected with stone suppliers.  Minimum thickness depends on application, size of stone panels, spans, variety of stone, and finish; consult producers of stone varieties selected.  Dolomitic limestone is generally available in 1-1/4, 2-1/2, and 3 inches (32, 64, and 75 mm).  Oolitic limestone is generally available in 2, 2-1/2, 3, and 4 inches (50, 64, 75, and 100 mm).  For locations where other thicknesses are required, such as sills, copings, etc., show thickness on Drawings.

L. Thickness:  Not less than [1-1/4 inches (32 mm)] [2 inches (50 mm)] [2-1/2 inches (64 mm)] [3 inches (75 mm)] [4 inches (100 mm)], unless otherwise indicated.

2.3 MARBLE <Insert drawing designation>

A. Marble:  Comply with ASTM C 503, Classification [I Calcite] [II Dolomite].

B. Description:  Uniform, fine- to medium-grained, [white] <Insert color> stone with only slight veining.

Paragraph above is an example of a generic description that can be retained and edited for a nonproprietary specification.  For a more explicit specification, delete above and list varieties and sources below.  Above describes a crystalline calcite marble; revise to describe other varieties of marble if required.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  If naming varieties and sources, retain one of first three paragraphs and list below.  See Division 01 Section "Product Requirements."

C. Available Varieties and Sources:  Subject to compliance with requirements, stone varieties that may be incorporated into the Work include, but are not limited to, the following:

D. Varieties and Sources:  Subject to compliance with requirements, provide one of the following:

E. Variety and Source:  Subject to compliance with requirements, provide the following:

1. <Insert, in separate subparagraphs, names of varieties and producers, distributors, or importers.>

F. Cut:  [Vein] [Fleuri] cut.

Delete subparagraph below if vein cut is not selected.

1. Orientation of Veining:  [Horizontal] [Vertical] [As indicated].

Delete first paragraph below if not applicable.

G. Cut stone from one block or contiguous, matched blocks in which natural markings occur.

H. Finish:  [Polished] [Honed] [As indicated] [Match Architect's sample] <Insert finish>.

Retain paragraph below for added quality control if required.

I. Match Architect's samples for color, finish, and other stone characteristics relating to aesthetic effects.

Verify availability of thickness selected with stone suppliers.  Minimum thickness depends on application, size of stone panels, spans, variety of stone, and finish; consult producers of stone varieties selected.  1 inch (25 mm) is the minimum thickness allowed by the 2003 International Building Code for marble slabs as a weather covering of exterior walls and is preferred for facing precast concrete.  30 mm, 1-1/4 inches (32 mm), 1-5/8 inches (40 mm), and 2 inches (50 mm) are typical thicknesses used for exterior panels.  For locations where other thicknesses are required, such as sills, copings, etc., show thickness on Drawings.

J. Thickness:  Not less than [1 inch (25 mm)] [30 mm] [1-1/4 inches (32 mm)] [1-5/8 inches (40 mm)] [2 inches (50 mm)], unless otherwise indicated.

2.4 QUARTZ-BASED STONE <Insert drawing designation>

A. Quartz-Based Stone:  Comply with ASTM C 616, Classification [I Sandstone] [II Quartzitic Sandstone] [III Quartzite].

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  If naming varieties and sources, retain one of first three paragraphs and list below.  See Division 01 Section "Product Requirements."

B. Available Varieties and Sources:  Subject to compliance with requirements, stone varieties that may be incorporated into the Work include, but are not limited to, the following:

C. Varieties and Sources:  Subject to compliance with requirements, provide one of the following:

D. Variety and Source:  Subject to compliance with requirements, provide the following:

1. <Insert, in separate subparagraphs, names of varieties and producers, distributors, or importers.>

E. Finish:  [Sand rubbed] [Natural cleft] [Thermal] [As indicated] [Match Architect's sample] <Insert finish>.

Retain paragraph below for added quality control if required.

F. Match Architect's samples for color, finish, and other stone characteristics relating to aesthetic effects.

Verify availability of thickness selected with stone suppliers.  Minimum thickness depends on application, size of stone panels, spans, variety of stone, and finish; consult producers of stone varieties selected.  For locations where thicknesses different than that required for panels are used, such as sills, copings, etc., show thickness on Drawings.

G. Thickness:  Not less than [2 inches (50 mm)] [2-1/2 inches (64 mm)] [3 inches (75 mm)] [4 inches (100 mm)], unless otherwise indicated.

2.5 SERPENTINE <Insert drawing designation>

Select "II Interior" option in paragraph below only for interior applications when all of Project's stone is specified in this Section.

A. Serpentine:  Comply with ASTM C 1526, Classification [I Exterior] [II Interior].

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  If naming varieties and sources, retain one of three paragraphs and list below.  See Division 01 Section "Product Requirements."

B. Available Varieties and Sources:  Subject to compliance with requirements, stone varieties that may be incorporated into the Work include, but are not limited to, the following:

C. Varieties and Sources:  Subject to compliance with requirements, provide one of the following:

D. Variety and Source:  Subject to compliance with requirements, provide the following:

1. <Insert, in separate subparagraphs, names of varieties and producers, distributors, or importers.>

Delete first paragraph below if not applicable.

E. Cut stone from one block or contiguous, matched blocks in which natural markings occur.

F. Finish:  [Polished] [Honed] [As indicated] [Match Architect's sample] <Insert finish>.

Retain paragraph below for added quality control if required.

G. Match Architect's samples for color, finish, and other stone characteristics relating to aesthetic effects.

Verify availability of thickness selected with stone suppliers.  Minimum thickness depends on application, size of stone panels, spans, variety of stone, and finish; consult producers of stone varieties selected.  1-inch (25-mm) serpentine is generally only used for facing precast concrete or for very small panels, such as for planter walls.  Panels 30 mm, 1-1/4 inches (32 mm), or thicker should generally be used for exterior panels.  For locations where thicknesses different than that required for panels are used, such as sills, copings, etc., show thickness on Drawings.

H. Thickness:  Not less than [1 inch (25 mm)] [30 mm] [1-1/4 inches (32 mm)] [1-5/8 inches (40 mm)] [2 inches (50 mm)], unless otherwise indicated.

2.6 SLATE <Insert drawing designation>

Retain "II Interior" option in paragraph below only for interior applications when all of Project's stone is specified in this Section.

A. Slate:  Comply with ASTM C 629, Classification [I Exterior] [II Interior], with a fine, even grain[ and unfading color,] from clear, sound stock.

1. Color:  [Black] [Blue-black] [Gray] [Blue-gray] [Green] [Purple] [Mottled purple and green] [Red].

Subparagraph above is an example of a generic description that can be retained and edited for a nonproprietary specification.  For a more explicit specification, list varieties and sources below.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  If naming varieties and sources, retain one of first three paragraphs and list below.  See Division 01 Section "Product Requirements."

B. Available Varieties and Sources:  Subject to compliance with requirements, stone varieties that may be incorporated into the Work include, but are not limited to, the following:

C. Varieties and Sources:  Subject to compliance with requirements, provide one of the following:

D. Variety and Source:  Subject to compliance with requirements, provide the following:

1. <Insert, in separate subparagraphs, names of varieties and producers, distributors, or importers.>

E. Finish:  [Honed] [Sand rubbed] [Natural cleft] [As indicated] [Match Architect's sample] <Insert finish>.

Retain paragraph below for added quality control if required.

F. Match Architect's samples for color, finish, and other stone characteristics relating to aesthetic effects.

Verify availability of thickness selected with stone suppliers.  Minimum thickness depends on application, size of stone panels, spans, variety of stone, and finish; consult producers of stone varieties selected.  For locations where thicknesses different than that required for panels are used, such as sills, copings, etc., show thickness on Drawings.

G. Thickness:  Not less than [1 inch (25 mm)] [1-1/4 inches (32 mm)] [1-1/2 inches (38 mm)], unless otherwise indicated.

2.7 TRAVERTINE <Insert drawing designation>

Retain "II Interior" option in paragraph below only for interior applications when all of Project's stone is specified in this Section.

A. Travertine:  Comply with ASTM C 1527, Classification [I Exterior] [II Interior].

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  If naming varieties and sources, retain one of three paragraphs and list below.  See Division 01 Section "Product Requirements."

B. Available Varieties and Sources:  Subject to compliance with requirements, stone varieties that may be incorporated into the Work include, but are not limited to, the following:

C. Varieties and Sources:  Subject to compliance with requirements, provide one of the following:

D. Variety and Source:  Subject to compliance with requirements, provide the following:

1. <Insert, in separate subparagraphs, names of varieties and producers, distributors, or importers.>

Usually select vein cut in paragraph below.

E. Cut:  [Vein] [Fleuri] cut.

Delete subparagraph below if vein cut is not selected.

1. Orientation of Veining:  [Horizontal] [Vertical] [As indicated].

Delete paragraph below if not applicable.

F. Cut stone from one block or contiguous, matched blocks in which natural markings occur.

Delete first paragraph below if filling is not required.

G. Filling:  Fill pores on faces of stone with cementitious filler of color [selected by Architect] [matching Architect's sample].

H. Finish:  [Polished] [Honed] [As indicated] [Match Architect's sample] <Insert finish>.

Retain paragraph below for added quality control if required.

I. Match Architect's samples for color, finish, and other stone characteristics relating to aesthetic effects.

Verify availability of thickness selected with stone suppliers.  Minimum thickness depends on application, size of stone panels, spans, variety of stone, and finish; consult producers of stone varieties selected.  1-inch (25-mm) travertine is generally only used for facing precast concrete or for very small panels, such as for planter walls.  30 mm, 1-1/4 inches (32 mm), 1-5/8 inches (40 mm), and 2 inches (50 mm) are typical thicknesses used for exterior panels.  For locations where thicknesses different than that required for panels are used, such as sills, copings, etc., show thickness on Drawings.

J. Thickness:  Not less than [1 inch (25 mm)] [30 mm] [1-1/4 inches (32 mm)] [1-5/8 inches (40 mm)] [2 inches (50 mm)], unless otherwise indicated.

2.8 OTHER STONE <Insert drawing designation>

A. Provide sound natural stone as follows:

1. Maximum Absorption per ASTM C 97:  <Insert required value.>

2. Minimum Compressive Strength per ASTM C 170:  <Insert required value.>

3. Minimum Flexural Strength per ASTM C 880:  <Insert required value.>

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  If naming varieties and sources, retain one of first three paragraphs and list below.  See Division 01 Section "Product Requirements."

B. Available Varieties and Sources:  Subject to compliance with requirements, stone varieties that may be incorporated into the Work include, but are not limited to, the following:

C. Varieties and Sources:  Subject to compliance with requirements, provide one of the following:

D. Variety and Source:  Subject to compliance with requirements, provide the following:

1. <Insert, in separate subparagraphs, names of varieties and producers, distributors, or importers.>

E. Finish:  [Polished] [Honed] [Sand rubbed] [Natural cleft] [As indicated] [Match Architect's sample] <Insert finish>.

Retain paragraph below for added quality control if required.

F. Match Architect's samples for color, finish, and other stone characteristics relating to aesthetic effects.

Verify availability of thickness selected with stone suppliers.  Minimum thickness depends on application, size of stone panels, spans, variety of stone, and finish; consult producers of stone varieties selected.  For locations where thicknesses different than that required for panels are used, such as sills, copings, etc., show thickness on Drawings.

G. Thickness:  Not less than [2 inches (50 mm)] [2-1/2 inches (64 mm)] [3 inches (75 mm)] [4 inches (100 mm)], unless otherwise indicated.

2.9 MORTAR MATERIALS

Delete this Article if no mortar.

A. Portland Cement:  ASTM C 150, Type I or Type II, except Type III may be used for cold-weather construction.  Provide natural color or white cement as required to produce mortar color indicated.

Retain subparagraph below to limit staining if limestone is used.

1. Low-Alkali Cement:  Portland cement for use with limestone shall contain not more than 0.60 percent total alkali when tested according to ASTM C 114.

B. Hydrated Lime:  ASTM C 207.

C. Portland Cement-Lime Mix:  Packaged blend of portland cement complying with ASTM C 150, Type I or Type III, and hydrated lime complying with ASTM C 207.

Mix below allows better control of color than does job-mixed, portland cement-lime mortar with pigment added.

D. Colored Portland Cement-Lime Mix:  Packaged blend of portland cement complying with ASTM C 150, Type I or Type III; hydrated lime complying with ASTM C 207; and mortar pigments.  Use a mix of formulation required to produce color indicated or, if not indicated, as selected from manufacturer's standard formulations.  Pigments shall not exceed 10 percent of portland cement by weight.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain one of two subparagraphs and list of products below.  See Division 01 Section "Product Requirements."

1. Available Products:  Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, the following:

2. Products:  Subject to compliance with requirements, provide one of the following:

a. Essroc, Italcementi Group; [Capitol PCL Blend] [or] [Saylor's Plus].

b. Holcim (US) Inc.; Rainbow Mortamix Custom Color Cement/Lime.

c. Lafarge North America Inc.; Eaglebond.

d. Lehigh Cement Company; Lehigh Custom Color Portland/Lime Cement.

e. <Insert manufacturer's name; product name or designation.>

E. Aggregate:  ASTM C 144; except for [joints narrower than 1/4 inch (6 mm)] [and] [pointing mortar], use aggregate graded with 100 percent passing No. 16 (1.18-mm) sieve.

Retain subparagraph below for white mortar.

1. White Aggregates:  Natural white sand or ground white stone.

Retain subparagraph below for colored-aggregate mortar.

2. Colored Aggregates:  Natural-colored sand or ground marble, granite, or other durable stone; of color necessary to produce required mortar color.

Retain paragraph below for colored portland cement-lime mix or for pigments added at Project site.

F. Mortar Pigments:  Natural and synthetic iron oxides, compounded for use in mortar mixes.  Use only pigments with a record of satisfactory performance in mortar and containing no carbon black.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain one of two subparagraphs and list of products below.  See Division 01 Section "Product Requirements."

1. Available Products:  Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, the following:

2. Products:  Subject to compliance with requirements, provide one of the following:

a. Bayer, Industrial Chemicals Div.; Bayferrox Iron Oxide Pigments.

b. Davis Colors; True Tone Mortar Colors.

c. Solomon Colors; SGS Mortar Colors.

d. <Insert manufacturer's name; product name or designation.>

G. Water:  Potable.

2.10 ANCHORS AND FASTENERS

The term "anchor" refers only to the metal device inserted into a slot or hole in stone.  Select anchor materials from first three paragraphs below, usually Type 304 stainless steel.  Select Type 316 for increased corrosion resistance in a coastal environment.  Hot-dip galvanized is considered acceptable for shelf angles supporting limestone.

A. Fabricate anchors[, including shelf angles,] from stainless steel, ASTM A 666, Type [304] [316], temper as required to support loads imposed without exceeding allowable design stresses.  Fabricate dowels and pins for anchors from stainless steel, ASTM A 276, Type [304] [316].

B. Fabricate shelf angles for limestone from hot-dip galvanized steel, ASTM A 36/A 36M for materials and ASTM A 123/A 123M for galvanizing.

Retain first paragraph below with caution and only after verifying that aluminum will not be corroded by contact with stone selected.

C. Fabricate anchors, including shelf angles, from extruded aluminum, ASTM B 221 (ASTM B 221M), alloy and temper as required to support loads imposed without exceeding allowable design stresses, but not less than strength and durability properties of Alloy 6063-T6.

D. Cast-in-Place Concrete Inserts:  Steel, cast iron, or malleable iron adjustable inserts, with bolts, nuts, washers, and shims; all hot-dip galvanized or mechanically zinc coated, with capability to sustain, without failure, a load equal to 4 times the loads imposed as determined by testing per ASTM E 488, conducted by a qualified independent testing agency.

E. Postinstalled Anchor Bolts for Concrete and Masonry:  [Chemical anchors] [torque-controlled expansion anchors] [or] [undercut anchors] made from stainless-steel components complying with ASTM F 593 and ASTM F 594, Alloy Group 1 or 2 (ASTM F 738M and ASTM F 836M, Alloy Group A1 or A4) for bolts and nuts; ASTM A 666 or ASTM A 276, Type 304 or 316, for anchors, with capability to sustain, without failure, a load equal to 4 times the loads imposed, for concrete, or 6 times the load imposed, for masonry, as determined by testing per ASTM E 488, conducted by a qualified independent testing agency.

F. Threaded Fasteners:  Heavy hexagon structural bolts, heavy hexagon nuts, and hardened washers.

Use Alloy Group 1 (A1) fasteners with aluminum and Type 304 stainless steel, and Alloy Group 2 (A4) fasteners with Type 316 stainless steel.

1. For [stainless steel] [and] [aluminum], use annealed stainless-steel bolts, nuts, and washers; ASTM F 593 (ASTM F 738M) for bolts; and ASTM F 594 (ASTM F 836M) for nuts, Alloy Group [1 (A1)] [2 (A4)].

Retain subparagraph below if needed for galvanized anchors or for backup structure.

2. For [galvanized steel shelf angles] [and] [backup structure], use carbon steel bolts, nuts, and washers; ASTM A 307, Grade A (ASTM F 568M, Property Class 4.6), for bolts; ASTM A 563 (ASTM A 563M), Grade A, for nuts; and ASTM F 436 (ASTM F 436M) for washers; all hot-dip or mechanically zinc coated.

G. Weld Plates for Installation in Concrete:  Comply with Division 05 Section "Metal Fabrications."

2.11 FRAMING FOR BACKUP STRUCTURE

Revise minimum thicknesses to suit Project based on advice of structural engineer.  Insert other materials as required.

A. [Steel Trusses] [Strongback Frames] [and] [Miscellaneous Steel Framing]:  For framing members in contact with stone fabricate from same material and finish specified for anchors.  For framing members not in contact with stone, comply with requirements indicated below:

If backup structure is detailed on Drawings, select forms of steel required from three subparagraphs below.  If Contractor designs backup structure, retain all three.

1. Steel Plates, Shapes, and Bars:  ASTM A 36/A 36M, minimum thickness of 3/16 inch (5 mm).

2. Steel Tubing:  ASTM A 500 (cold formed), or ASTM A 513, Type 5 (mandrel drawn), minimum thickness of 3/16 inch (5 mm).

3. Slotted Channel Framing:  Cold-formed metal channels with continuous slot complying with MFMA-3, made from [galvanized steel complying with ASTM A 653/A 653M, structural steel, Grade 33 (Grade 230), with G90 (Z275) coating, and not less than 0.108-inch (2.74-mm) nominal thickness] [steel sheet complying with ASTM A 1008/A 1008M, structural steel, Grade 33 (Grade 230), not less than 0.105-inch (2.66-mm) nominal thickness, hot-dip galvanized after fabrication to comply with ASTM A 123/A 123M].

Delete paragraph and subparagraph below if no prefabricated steel stud systems; revise if painted steel is used.

B. Prefabricated Steel Stud Frames:  Galvanized steel wall framing complying with Division 05 Section "Cold-Formed Metal Framing."

1. Secondary Weather Barrier (Sheathing):  Galvanized steel sheet complying with ASTM A 653/A 653M, commercial steel, coating designation G90 (Z275).

Delete paragraph and subparagraphs below if no metal-grid support system.  Before specifying grid systems, consult manufacturers of systems under consideration to determine suitability and availability for Project's stone installation.

C. Metal-Grid Systems:  Provide manufacturer's standard integrated system that combines metal struts, fittings, fasteners, and stone anchors and that is engineered expressly for mechanically installing dimension stone cladding and that complies with the following requirements:

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain one of two subparagraphs and list of products below.  See Division 01 Section "Product Requirements."

1. Available Products:  Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, the following:

2. Products:  Subject to compliance with requirements, provide one of the following:

Retain products below that correspond with requirements retained above.  Only Georgia Marble's "Zibell Anchoring System" includes aluminum anchors.

a. Canaren Inc.; A-Metal System.

b. Georgia Marble Company; Zibell Anchoring System.

c. Hohmann & Barnard, Inc.; HB Stone Support System.

d. Meadow Burke; Halfen Anchoring System.

e. <Insert manufacturer's name; product name or designation.>

Revise first subparagraph below if other finishes or materials are required or are acceptable.  Struts are also available in stainless steel, or of steel sheet with factory-applied paint in lieu of hot-dip galvanized coating.

3. Struts:  Cold-formed metal channels with continuous slot complying with MFMA-3, of size and shape required for application indicated, made from [galvanized steel complying with ASTM A 653/A 653M, with G90 (Z275) coating, and not less than 0.108-inch (2.74-mm) nominal thickness] [steel sheet complying with ASTM A 1008/A 1008M, not less than 0.105-inch (2.66-mm) nominal thickness, hot-dip galvanized after fabrication to comply with ASTM A 123/A 123M].

4. Fittings and Fasteners:  System manufacturer's standard components of design, size, and material required to securely attach struts to building structure, by method indicated or selected, and stone anchors to struts, as well as to prevent galvanic corrosion.  Fabricate components in contact with stone from same material specified for anchors.

5. Stone Anchors:  Shapes and sizes standard with system manufacturer, complying with "Anchors and Fasteners" Article.

2.12 STONE ACCESSORIES

A. Setting Shims:  Strips of [resilient plastic] [or] [vulcanized neoprene, Type A Shore durometer hardness of 50 to 70], nonstaining to stone, of thickness needed to prevent point loading of stone on anchors and of depths to suit anchors without intruding into required depths of pointing materials.

Retain paragraph above for stone supported on split-tab anchors or shelf angles.  Retain paragraph below for stone set with mortar where stone is supported on concrete, masonry, or stone course below.

B. Setting Buttons:  Resilient plastic buttons, nonstaining to stone, sized to suit joint thicknesses and bed depths of stone units without intruding into required depths of pointing materials.

Zinc-tin alloy-coated stainless steel is preferred by some if soldered seams are required.

C. Concealed Sheet Metal Flashing:  Fabricate from[ zinc-tin alloy-coated] stainless steel in thicknesses indicated, but not less than 0.0156 inch (0.4 mm) thick.  Comply with requirements specified in Division 07 Section "Sheet Metal Flashing and Trim."

D. Cementitious Dampproofing[ for Limestone]:  Provide cementitious formulations that are recommended by ILI and that are nonstaining to stone, compatible with joint sealants, and noncorrosive to anchors and attachments.

Select one or more of three paragraphs below for weeping setting space, and one or both of first two for venting.

E. Weep and Vent Tubes:  [Medium-density polyethylene tubing, 1/4-inch (6-mm) OD] [Rectangular, cellular, polypropylene or clear butyrate extrusion, 3/8 by 1-1/2 inches (9 by 38 mm)] and of length required to extend from exterior face of stone to cavity behind.

F. Plastic Weep Hole/Vents:  One-piece, flexible extrusion manufactured from UV-resistant polypropylene copolymer, designed to weep moisture in masonry cavity to exterior, in color selected from manufacturer's standard.

G. Wicking Material:  Absorbent rope, made from [cotton] [or] [UV-resistant synthetic fiber], 1/4 to 3/8 inch (6 to 10 mm) in diameter, in length required to produce 2-inch (50-mm) exposure on exterior and 18 inches (450 mm) in cavity between wythes.

Delete paragraph below if no joint sealants are used or if filling or pointing joints is specified in Division 07 Section "Joint Sealants."

H. Sealants for Joints in Dimension Stone Cladding:  Manufacturer's standard chemically curing, elastomeric sealants of base polymer and characteristics indicated below that comply with applicable requirements in Division 07 Section "Joint Sealants" and do not stain stone.

Coordinate types of joint sealant retained below with applicable subparagraph titles in Part 2 "Elastomeric Joint Sealants" Article in Division 07 Section "Joint Sealants" in which various elastomeric-sealant types are specified.  Include designations such as "ES-#" if they are retained in Part 2 "Elastomeric Joint Sealants" Article in the "Joint Sealants" Section.  If more than one type of sealant is required, indicate locations of each on Drawings or in a schedule.  Verify compatibility of each sealant specified with stone specified.  Verify that sealant will not stain stone.

1. [Multicomponent] [Single-component], nonsag, polysulfide sealant[ ES-<#>].

2. [Multicomponent] [Single-component], nonsag, urethane sealant[ ES-<#>].

Verify suitability of sealant below before retaining.  Some silicone sealants may stain stone, especially light-colored porous stone.

3. Single-component, neutral-curing silicone sealant[ ES-<#>].

4. Colors:  Provide colors of exposed sealants to comply with the following requirement:

Retain one option in subparagraph below.

a. [Match color of Architect's sample] [Match color of stone] [Provide color as indicated by manufacturer's designations] [Provide color as selected by Architect from manufacturer's full range].

Retain paragraph below with either option if stone is not set with mortar, even if sealants for filling or pointing joints are specified in Division 07 Section "Joint Sealants."  A rigid sealant, such as high-modulus or traffic type (Use T), is generally recommended to provide even load transfer from stone to anchor.  However, using same sealant used for joints eliminates compatibility problems and the confined space in the kerf tends to make sealant more rigid.  If selecting first option below, delete subparagraphs and list of products.  See the Evaluations in Division 07 Section "Joint Sealants" for more information.

I. Sealant for Filling Kerfs:  [Same sealant used for joints in dimension stone] [Manufacturer's standard chemically curing, elastomeric sealants of base polymer and characteristics indicated below that comply with applicable requirements in Division 07 Section "Joint Sealants" and that do not stain stone].

1. Single-component, nonsag, urethane sealant; Class 25, Use T (traffic), and Use M (masonry).

Verify suitability of sealant in subparagraph below before retaining.  Silicone sealants often stain porous, light-colored stone.

2. Single-component, nonsag, neutral-curing, medium to high modulus, silicone sealant; Class 25, Use NT (nontraffic), and Use M (masonry).

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain one of two subparagraphs and list of products below.  See Division 01 Section "Product Requirements."

3. Available Products:  Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, the following:

4. Products:  Subject to compliance with requirements, provide one of the following:

First four products below are urethane sealants.

a. Sika Corporation, Inc.; Sikaflex - 1a.

b. Sonneborn, Division of ChemRex; NP 1.

c. Sonneborn, Division of ChemRex; Ultra.

d. Tremco, Sealant/Waterproofing Division; Vulkem 116.

Product below is a silicone sealant.

e. Tremco, Sealant/Waterproofing Division; Spectrem 2.

f. <Insert manufacturer's name; product name or designation.>

2.13 STONE FABRICATION

A. General:  Fabricate stone units in sizes and shapes required to comply with requirements indicated, including details on Drawings and Shop Drawings.

Retain applicable references from subparagraphs below.  No references for quartz-based stone and slate currently exist.

1. For granite, comply with recommendations in NBGQA's "Specifications for Architectural Granite."

2. For limestone, comply with recommendations in ILI's "Indiana Limestone Handbook."

3. For marble, comply with recommendations in MIA's "Dimensional Stone--Design Manual IV."

Options in first paragraph below are examples only.  Retain one or revise to suit Project.  Usually delete for stone set in grid systems and for prefabricated panel systems.

B. Control depth of stone and back check to maintain minimum clearance of [1 inch (25 mm)] [1-1/2 inches (38 mm)] <Insert minimum clearance> between backs of stone units and surfaces or projections of structural members, fireproofing (if any), backup walls, and other work behind stone.

C. Dress joints (bed and vertical) straight and at right angle to face, unless otherwise indicated.  Shape beds to fit supports.

D. Cut and drill sinkages and holes in stone for anchors, fasteners, supports, and lifting devices as indicated or needed to set stone securely in place.

E. Finish exposed faces and edges of stone[, except sawed reveals,] to comply with requirements indicated for finish and to match approved samples[ and mockups].

Paragraph below is an example only for performance-type Specification.  Usually delete and detail corners on Drawings.  Delete for stone varieties not mitered.

F. Quirk-miter corners, unless otherwise indicated; provide for cramp anchorage in top and bottom bed joints of corner pieces.

Options in first paragraph below are examples only.  Revise to suit Project.

G. Cut stone to produce uniform joints [3/8 inch (10 mm)] [1/2 inch (13 mm)] <Insert width> wide and in locations indicated.

H. Contiguous Work:  Provide chases, reveals, reglets, openings, and similar features as required to accommodate contiguous work.

Delete paragraph and subparagraph below if not applicable.

I. Fabricate molded work, including washes and drips, to produce stone shapes with a uniform profile throughout entire unit length, with precisely formed arris slightly eased to prevent snipping, and with matching profile at joints between units.

Retain subparagraph below for polished or honed granite and marble.  Delete if no moldings.

1. Produce moldings and molded edges with machines that use abrasive shaping wheels made to reverse contour of molding shape.

Delete paragraph below if no inscriptions or carved surfaces.  Revise below by replacing "Shop Drawings" with "model," and modify Part 1 "Submittals" Article accordingly if extremely complex decorative carving is required.  Depending on nature and extent of carving involved, it may be necessary to develop an allowance for this work and specify providers.

J. Carve and cut [inscriptions] [and] [decorative surfaces] according to Shop Drawings.  Use skilled stone carvers experienced in the successful performance of work similar to that indicated.

Alternative below is less expensive than above; it also does not have depth of relief of above.

K. Abrasively etch [inscriptions] [and] [decorative surfaces] according to Shop Drawings.

Below produces virtually no relief but can be used to reproduce photographic images on polished stone.

L. Laser etch [inscriptions] [and] [decorative surfaces] according to Shop Drawings.

M. Clean backs of stone to remove rust stains, iron particles, and stone dust.

N. Inspect finished stone units at fabrication plant for compliance with requirements for appearance, material, and fabrication.  Replace defective units.

1. Grade and mark stone for overall uniform appearance when assembled in place.  Natural variations in appearance are acceptable if installed stone units match range of colors and other appearance characteristics represented in approved samples and mockups.

2.14 FABRICATION OF BACKUP STRUCTURE

A. Fabrication of [Steel Trusses] [Strongback Frames] [and] [Miscellaneous Steel Framing]:  Fabricate in shop to comply with AISC's "Specification for Structural Steel Buildings - Allowable Stress Design and Plastic Design," to accommodate construction tolerances specified, and as indicated on Shop Drawings.

1. Weld shop connections to comply with applicable provisions of AWS D1.1/D1.1M.

2. Fabricate joints to exclude water or to permit its escape to building exterior, at locations where water could accumulate because of condensation or other causes.

Retain subparagraph below for hot-dip galvanized finish; delete for shop-primed or -painted finish.

3. Hot-dip galvanize backup structure after fabrication to comply with ASTM A 123/A 123M.

B. Fabrication of Prefabricated Steel Stud Frames:  Fabricate and assemble by welding to comply with requirements in Division 05 Section "Cold-Formed Metal Framing."

1. Weld secondary weather barrier (sheathing) to outside face of steel stud frames.  Use continuous welds at all four edges of sheets to provide continuous weather seal.

Revise subparagraph below if painted steel studs are used.

2. For assemblies made from galvanized steel, clean welds, bolted connections, and abraded areas and repair galvanizing to comply with ASTM A 780.

2.15 SHOP-PAINTED STEEL FINISHES

Retain this Article for shop-painted steel framing for backup structure.

A. General:  Paint uncoated steel backup structure before delivering to Project site to comply with SSPC-PA 1, "Paint Application Specification No. 1:  Shop, Field, and Maintenance Painting of Steel."

Revise first paragraph below if change in coating system requires change in method of surface preparation.

B. Surface Preparation:  After completing fabrication of steel items, prepare surfaces to comply with SSPC-SP 6/NACE No. 3, "Commercial Blast Cleaning."

C. Apply one coat of fast-curing, lead- and chromate-free, universal modified-alkyd primer complying with MPI#76.[  After primer has dried, apply one coat of exterior alkyd enamel complying with MPI#96 of a different color than primer.]

Paragraph above provides only minimum protection to steel framing; usually select paragraph below for better protection against rust staining of stone panels.  A high-performance paint system on framing costs little compared with stone.

D. Apply two-coat high-performance coating system consisting of organic zinc-rich primer, complying with SSPC-Paint 20 or SSPC-Paint 29 and topcoat of high-build urethane or epoxy coating recommended by manufacturer for application over specified zinc-rich primer.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain one of two subparagraphs and list of products below.  See Division 01 Section "Product Requirements."

1. Available Products:  Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, the following:

2. Products:  Subject to compliance with requirements, provide one of the following:

a. Benjamin Moore & Co.; Epoxy Zinc-Rich Primer CM18/19 and M73/M75 Aliphatic Acrylic Urethane Semi-Gloss.

b. Carboline Company; Carbozinc 621 and Carboguard 890 2-Component Epoxy.

c. ICI Devoe Coatings; Catha-Coat 313 and Devthane378 Aliphatic Urethane Semi-Gloss Enamel.

d. International Coatings Limited; Interzinc 315 Epoxy Zinc-Rich Primer and Interthane 870.

e. PPG Architectural Finishes, Inc.; Aquapon Zinc-Rich Primer 97-670 and Aquapon 97-130 Epoxy.

f. Sherwin-Williams Company (The); Corothane I GalvaPac Zinc Primer and Macropoxy HS High Solids Epoxy.

g. Tnemec Company, Inc.; Tneme-Zinc 90-97 and Series 27 Hi-Build Epoxy.

h. <Insert manufacturer's name; product names or designations.>

2.16 MORTAR MIXES

A. General:  Comply with referenced standards and with manufacturers' written instructions for mix proportions, mixing equipment, mixer speeds, mixing containers, mixing time, and other procedures needed to produce mortar of uniform quality and with optimum performance characteristics.

1. Do not use admixtures, including pigments, air-entraining agents, accelerators, retarders, water-repellent agents, antifreeze compounds, or other admixtures, unless otherwise indicated.  Do not use calcium chloride.

2. Combine and thoroughly mix cementitious materials, water, and aggregates in a mechanical batch mixer, unless otherwise indicated.  Discard mortar when it has reached initial set.

B. Portland Cement-Lime Setting Mortar:  Comply with ASTM C 270, Proportion Specification, for types of mortar indicated below:

Retain mortar types in subparagraphs below applicable to stone groups selected.  Verify selection of type for application indicated.  Mortar should have lower compressive strength than stone.

1. Set granite with Type S mortar.

2. Set limestone with Type N mortar.

3. Set marble with Type S mortar.

4. Set quartz-based stone with Type [S] [N] mortar.

5. Set serpentine with Type S mortar.

6. Set slate with Type S mortar.

7. Set travertine with Type N mortar.

8. Backparge travertine with Type O mortar.

C. Pointing Mortar:  Comply with ASTM C 270, Proportion Specification, for types of mortar indicated.  Provide pointing mortar mixed to match Architect's sample and complying with the following:

Select one of three subparagraphs below.  Ratio in first applies only to pigment types listed under materials.  Other pigments, if inserted, may require different limitations.

1. Pigmented Pointing Mortar:  Select and proportion pigments with other ingredients to produce color required.  Do not exceed pigment-to-cement ratio of 1:10, by weight.

2. Packaged Portland Cement-Lime Mix Mortar:  Use portland cement-lime mix of selected color.

3. Colored-Aggregate Pointing Mortar:  Produce color required by combining colored aggregates with portland cement of selected color.

Retain mortar types in subparagraphs below applicable to stone groups selected.  Select type for application indicated.  Do not point with mortar stronger than setting mortar; Type S is stronger than Type N, which is stronger than Type O.  See Evaluations.

4. Point granite with Type [S] [N] mortar.

5. Point limestone with Type [N] [O] mortar.

6. Point marble with Type [N] [O] mortar.

7. Point quartz-based stone with Type [N] [O] mortar.

8. Point serpentine with Type [N] [O] mortar.

9. Point slate with Type N mortar.

10. Point travertine with Type [N] [O] mortar.

2.17 SOURCE QUALITY CONTROL

A. Source Quality-Control Testing Service:  Owner will employ an independent testing agency to perform source quality-control testing indicated below.  Payment for these services will be made [by Owner] [from the Inspection and Testing Allowance, as authorized by Change Orders].

Retain paragraph above if Owner engages testing agency; paragraph below if Contractor engages testing agency.

B. Source Quality-Control Testing Service:  Engage a qualified independent testing agency to perform source quality-control testing indicated below.

Consider deleting first subparagraph below.  If specific stone varieties are named in the Specifications and testing is retained, verify that stone varieties can meet test requirements.  Selecting stone varieties that can pass test requirements by a suitable margin can eliminate the need for below.

1. Retesting of materials that fail to meet specified requirements shall be done at Contractor's expense.

2. Furnish test specimens [randomly selected] [selected by testing agency] from same blocks as actual materials proposed for incorporation into the Work.

Options in subparagraph below are examples only.  One set of tests per 10,000 sq. ft. (1000 sq. m) is appropriate for stone variety that gives consistent test results; increase testing frequency if stone varieties that give varying results are used.  If several varieties of stone are used, it may be necessary to copy and edit below for each.

3. Flexural Strength Tests:  ASTM C 880, performed on specimens of same thickness, orientation of cut, and finish as installed stone.  One set of test specimens is required to be tested for every [10,000 sq. ft. (1000 sq. m)] [5000 sq. ft. (500 sq. m)] [3000 sq. ft. (300 sq. m)], but not fewer than 2 sets for each stone variety.

Insert other tests to suit Project.  Delete paragraph below if Contractor engages testing agency; Division 01 Section "Quality Requirements" requires submittal of reports for testing and inspection services that are Contractor's responsibility.

C. Testing agency will report test results in writing to Architect and Contractor.

PART 3 -  EXECUTION

3.1 EXAMINATION

A. Examine surfaces to receive dimension stone cladding and conditions under which dimension stone cladding will be installed, with Installer present, for compliance with requirements for installation tolerances and other conditions affecting performance.

1. For the record, prepare written report, endorsed by Installer, listing conditions detrimental to performance of dimension stone cladding.

Delete subparagraph above if not required.  Always retain below.

2. Proceed with installation only after unsatisfactory conditions have been corrected.

3.2 INSTALLING BACKUP STRUCTURE

A. Installing [Steel Trusses] [Strongback Frames] [and] [Miscellaneous Steel Framing]:  Comply with AISC's "Specification for Structural Steel Buildings - Allowable Stress Design and Plastic Design," and install to accommodate construction tolerances specified and as indicated on Shop Drawings.

1. Maintain erection tolerances of backup structure within AISC's "Code of Standard Practice for Steel Buildings and Bridges."

2. For prefabricated units to which stone has been installed before erection, maintain tolerances of stone faces and edges as specified in "Installation Tolerances" Article.

Retain first subparagraph below for control of fastening methods for structural-steel framing if desired.

3. Install by [welding to steel weld-plates anchored in concrete] [bolting to inserts cast into concrete] [or] [bolting to structural-steel frame].

4. Clean welds, bolted connections, and abraded areas immediately after erection.

a. Repair galvanizing to comply with ASTM A 780.

Retain last subparagraph above or subparagraph below to match finish specified for backup structure.

b. Apply paint to exposed areas using same material as used for shop painting.

Select one of three options in first paragraph below for control of fastening methods for steel stud frames, or delete all three and rely on Division 05 Section "Cold-Formed Metal Framing" to specify fastening methods.

B. Installing Prefabricated Steel Stud Frames:  Install [by welding to steel weld-plates anchored in concrete] [by welding to structural-steel frame] [by bolting to structural-steel frame] to comply with requirements in Division 05 Section "Cold-Formed Metal Framing."

1. Install prefabricated steel stud frames level, plumb, and true to line with no variation in plane or alignment exceeding 1/16 inch (1.5 mm) and no variation in position exceeding 1/8 inch (3 mm).

2. For prefabricated frames to which stone has been installed before erection, maintain tolerances of stone faces and edges as specified in "Installation Tolerances" Article.

Revise subparagraph below if painted steel studs are used.

3. Clean welds, bolted connections, and abraded areas immediately after erection.  Repair galvanizing to comply with ASTM A 780.

C. Installing Metal-Grid Systems:  Comply with manufacturer's written instructions to provide integrated system that combines metal struts, fittings, fasteners, and stone anchors.

1. Fasten struts by bolting to [inserts in concrete] [or] [steel angle clips bolted to steel framing].

2. Fasten stone supports and anchors by bolting to struts.

3. Shim and adjust struts and stone supports and anchors to provide grid that is level, plumb, and true to line with no variation in plane or alignment exceeding 1/16 inch (1.5 mm) and no variation in position exceeding 1/8 inch (3 mm).

3.3 SETTING DIMENSION STONE CLADDING, GENERAL

Retain or revise paragraphs and subparagraphs in this Article if applicable to Project; delete others.

A. Before setting stone clean surfaces that are dirty or stained by removing soil, stains, and foreign materials.  Clean stone by thoroughly scrubbing with fiber brushes and then drenching with clear water.  Use only mild cleaning compounds that contain no caustic or harsh materials or abrasives.

B. Coat limestone with dampproofing to extent indicated below:

1. Stone at Grade:  Beds, joints, and back surfaces to at least 12 inches (300 mm) above finish-grade elevations.

2. Stone Extending below Grade:  Beds, joints, back surfaces, and face surfaces below grade.

3. Allow cementitious dampproofing formulations to cure before setting dampproofed stone.  Do not damage or remove dampproofing while handling and setting stone.

Delete paragraph below if no travertine or if not required.

C. Parge back side of travertine panels with mortar not less than 3/8 inch (10 mm) thick.

D. Execute dimension stone cladding installation by skilled mechanics and employ skilled stone fitters at Project site to do necessary field cutting as stone is set.

1. Use power saws with diamond blades to cut stone.  Produce lines cut straight and true, with edges eased slightly to prevent snipping.

E. Contiguous Work:  Provide reveals, reglets, and openings as required to accommodate contiguous work.

F. Set stone to comply with requirements indicated on Drawings and Shop Drawings.  Install anchors, supports, fasteners, and other attachments indicated or necessary to secure dimension stone cladding in place.  Shim and adjust anchors, supports, and accessories to set stone accurately in locations indicated with uniform joints of widths indicated and with edges and faces aligned according to established relationships and indicated tolerances.

G. Provide expansion, control, and pressure-relieving joints of widths and at locations indicated.

1. Sealing expansion and other joints is specified in Division 07 Section "Joint Sealants."

Delete subparagraph above if sealing joints is specified in this Section.  Delete subparagraph below if no mortar-set stone.

2. Keep expansion joints free of mortar and other rigid materials.

H. Install concealed flashing at continuous shelf angles, lintels, ledges, and similar obstructions to downward flow of water to divert water to building exterior.

Cavities in paragraph below are recommended, but authorities having jurisdiction may require space to be grouted solid.

I. Keep cavities open where unfilled space is indicated between back of stone units and backup wall; do not fill cavities with mortar or grout.

1. Place weep holes in joints where moisture may accumulate, including base of cavity walls, above shelf angles, and flashing.  Locate weep holes at intervals not exceeding 24 inches (600 mm).  Use [weep and vent tubes] [plastic weep hole/vents] [or] [wicking material].

2. Place vents in cavity walls at tops of cavities, below shelf angles and flashing, and at intervals not exceeding 20 feet (6 m) vertically.  Locate vents in joints at intervals not exceeding 60 inches (1500 mm) horizontally.  Use [weep and vent tubes] [or] [plastic weep hole/vents].

3.4 SETTING MECHANICALLY ANCHORED DIMENSION STONE CLADDING

Retain this Article for stone set on framing system or on individual mechanical anchors.

A. Attach anchors securely to stone and to backup surfaces.  Comply with recommendations in ASTM C 1242.

B. Provide compressible filler in ends of dowel holes and bottoms of kerfs to prevent end bearing of dowels and anchor tabs on stone.  Fill remainder of anchor holes and kerfs with sealant indicated for filling kerfs.

C. Set stone supported on clips or continuous angles on resilient setting shims.  Use material of thickness required to maintain uniform joint widths and to prevent point loading of stone on anchors.  Hold shims back from face of stone a distance at least equal to width of joint.

3.5 SETTING DIMENSION STONE CLADDING WITH MORTAR

Retain this Article for mortar-set stone with mortar- or sealant-pointed joints.

A. Set stone in full bed of mortar with head joints filled, unless otherwise indicated.

1. Use setting buttons of adequate size, in sufficient quantity, and of thickness required to maintain uniform joint width and to prevent mortar from extruding.  Hold buttons back from face of stone a distance at least equal to width of joint, but not less than depth of pointing materials.

2. Do not set heavy units or projecting courses until mortar in courses below has hardened enough to resist being squeezed out of joint.

3. Support and brace projecting stones until wall above is in place and mortar has set.

4. Provide compressible filler in ends of dowel holes and bottoms of kerfs to prevent end bearing of dowels and anchor tabs on stone.  Fill remainder of anchor holes and kerfs with mortar.

Delete first paragraph below if cavity is used.  Cavity is recommended, but authorities having jurisdiction may require space to be grouted.

B. Fill space between back of stone units and backup wall solidly with mortar or grout.

C. Embed ends of sills in mortar; leave remainder of joint open until final pointing.

Delete four paragraphs below if joints are pointed with sealant instead of mortar.

D. Rake out joints for pointing with mortar to depths of not less than 1/2 inch (12 mm).  Rake joints to uniform depths with square bottoms and clean sides.

E. Prepare stone-joint surfaces for pointing with mortar by removing dust and mortar particles.  Where setting mortar was removed to depths greater than surrounding areas, apply first layer of pointing mortar in layers not more than 3/8 inch (10 mm) until a uniform depth is formed.

F. Point stone joints by placing pointing mortar in layers not more than 3/8 inch (10 mm).  Compact each layer thoroughly and allow to become thumbprint hard before applying next layer.

G. Tool joints with a round jointer having a diameter 1/8 inch (3 mm) larger than width of joint, when pointing mortar is thumbprint hard.

Delete paragraph below if joints are pointed with mortar.

H. Rake out mortar from sealant-pointed joints to depths of not less than 1/2 inch (12 mm) nor less than that required for sealant and sealant backing.  Rake joints to uniform depths with square bottoms and clean sides.

Retain paragraph below with mortar- or sealant-pointed joints.

I. Set the following dimension stone cladding with unfilled head joints for installing joint sealants:

Items below are examples of stone that is partially or totally horizontal.  Delete items not applicable to Project; insert others.

1. Cornices.

2. Copings.

3. Belt and other projecting courses.

3.6 JOINT-SEALANT INSTALLATION

Delete this Article if sealing joints is not specified in this Section.

A. Prepare joints and apply sealants of type and at locations indicated to comply with applicable requirements in Division 07 Section "Joint Sealants."

3.7 INSTALLATION TOLERANCES

Tolerances in paragraphs below are more stringent than those published by the Brick Industry Association for unit masonry and are generally appropriate for smooth-finished stone.  Some of the tolerances may be stricter than needed for work that will only be seen at a great distance, such as on upper floors of high-rise construction.  Retain, delete, or revise tolerances to suit Project.

A. Variation from Plumb:  For vertical lines and surfaces of walls, do not exceed 1/4 inch in 10 feet (6 mm in 3 m), 3/8 inch in 20 feet (10 mm in 6 m), or 1/2 inch in 40 feet (12 mm in 12 m) or more.  For external corners, corners and jambs within 20 feet (6 m) of an entrance, expansion joints, and other conspicuous lines, do not exceed 1/8 inch in 10 feet (3 mm in 3 m), 1/4 inch in 20 feet (6 mm in 6 m), or 3/8 inch in 40 feet (10 mm in 12 m) or more.

B. Variation from Level:  For lintels, sills, water tables, parapets, horizontal bands, horizontal grooves, and other conspicuous lines, do not exceed 1/8 inch in 10 feet (3 mm in 3 m), 1/4 inch in 20 feet (6 mm in 6 m), or 3/8 inch (10 mm) maximum.

C. Variation of Linear Building Line:  For positions shown in plan and related portions of walls and partitions, do not exceed 1/4 inch in 20 feet (6 mm in 6 m) or 1/2 inch in 40 feet (12 mm in 12 m) or more.

D. Variation in Cross-Sectional Dimensions:  For thickness of walls from dimensions indicated, do not exceed plus or minus 1/4 inch (6 mm).

E. Variation in Joint Width:  Do not vary from average joint width more than plus or minus 1/8 inch (3 mm) or a quarter of nominal joint width, whichever is less.  For joints within 60 inches (1500 mm) of each other, do not vary more than 1/8 inch (3 mm) or a quarter of nominal joint width, whichever is less from one to the other.

Revise or delete paragraph below for natural-cleft, thermal, and similar finishes.

F. Variation in Plane between Adjacent Stone Units (Lipping):  Do not exceed 1/16-inch (1.5-mm) difference between planes of adjacent units.

3.8 FIELD QUALITY CONTROL

This Article is primarily for field testing dimension stone cladding systems that are part of a curtain wall; delete if not required or revise if testing is provided by Owner.  Test below is a simple, inexpensive spot check for water leakage used for curtain walls.  Test must be done before insulation and interior finish are installed on interior side of cladding.  If more elaborate testing for water penetration and for air infiltration is required, copy from the Section for curtain walls.

A. Field Quality-Control Water Leakage Test:  Test dimension stone cladding system according to AAMA 501.2.

1. Notify Architect [seven] <Insert number> days in advance of dates and times when testing will be done.

2. Perform test at [two] [three] <Insert number> locations as directed by Architect.

3. Report test results in writing to Architect and Owner.

3.9 ADJUSTING AND CLEANING

A. Remove and replace broken, chipped, stained, or otherwise damaged stone, defective joints, and dimension stone cladding that does not match approved samples[ and mockups].  Damaged stone may be repaired if Architect approves methods and results.

B. Replace in a manner that results in dimension stone cladding's matching approved samples[ and mockups], complying with other requirements, and showing no evidence of replacement.

C. In-Progress Cleaning:  Clean dimension stone cladding as work progresses.[  Remove mortar fins and smears before tooling joints.] Remove excess sealant and smears as sealant is installed.

Revise paragraph below if pressure water-cleaning methods are acceptable.  Usually delay cleaning as long as possible so construction-related soiling will also be removed; six days is minimum for curing mortar and sealants.

D. Final Cleaning:  Clean dimension stone cladding no fewer than six days after completion of pointing and sealing, using clean water and stiff-bristle fiber brushes.  Do not use wire brushes, acid-type cleaning agents, cleaning agents containing caustic compounds or abrasives, or other materials or methods that could damage stone.

END OF SECTION 044200

	EXTERIOR STONE CLADDING
	044200 - 1



