Copyright 2001 and 2005 AIA
MASTERSPEC Full Length
11/01 (R 05/05)

Copyright 2001 and 2005 (R 08/03) by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 077100 - ROOF SPECIALTIES
This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 01 Specification Sections, apply to this Section.

1.2 SUMMARY

A. This Section includes the following manufactured roof specialties:

Adjust list below to suit Project.

1. Copings.

2. Roof edge flashings.

3. Roof edge drainage systems.

4. Counterflashings and reglets.

B. Related Sections include the following:

List below only products and construction that the reader might expect to find in this Section but are specified elsewhere.

1. Division 03 Section "Cast-in-Place Concrete" for installing reglets.

2. Division 04 Section "Unit Masonry" for installing reglets.

3. Division 05 Section "Expansion Control" for manufactured sheet metal expansion-joint covers.

4. Division 06 Section "[Rough Carpentry] [Miscellaneous Rough Carpentry]" for wood nailers, curbs, and blocking.

5. Division 07 Section "Sheet Metal Flashing and Trim" for custom- and site-fabricated sheet metal flashing and trim.

6. Division 07 Section "Manufactured Roof Expansion Joints" for manufactured roof expansion-joint cover assemblies.

7. Division 07 Section "Roof Accessories" for set-on-type curbs, equipment supports, roof hatches, vents, and other manufactured roof accessory units.

8. Division 07 Section "Joint Sealants" for field-applied sealants.

1.3 PERFORMANCE REQUIREMENTS

A. General:  Manufacture and install manufactured roof specialties to resist thermally induced movement and exposure to weather without failing, rattling, leaking, and fastener disengagement.

Retain paragraph below if Project is FMG insured or if FMG requirements will set a minimum quality standard.  Coordinate requirements of FMG classification with other requirements in this Section.  Verify availability of copings or roof edge flashings that meet these classifications.

B. FMG Listing:  Manufacture and install [copings] [roof edge flashings] that are listed in FMG's "Approval Guide" and approved for Windstorm Classification, Class 1-[60] [75] [90] [105] [120] <Insert number>.  Identify materials with FMG markings.

Retain first paragraph below if SPRI ES-1 will set a minimum quality standard.  Coordinate requirements of SPRI ES-1 with other requirements in this Section.  Verify availability of copings or roof edge flashings that meet these requirements.

C. Manufacture and install [copings] [roof edge flashings] tested according to SPRI ES-1 and capable of resisting the following design pressures:

Design pressure is determined by formulas in SPRI ES-1 that account for basic wind speed, exposure factor, building height, building importance factor, and pressure coefficient that combines a gust factor.

1. Design Pressure:  <Insert design wind pressure.>

D. Thermal Movements:  Provide manufactured roof specialties that allow for thermal movements resulting from the following maximum change (range) in ambient and surface temperatures by preventing buckling, opening of joints, hole elongation, overstressing of components, failure of joint sealants, failure of connections, and other detrimental effects.  Provide clips that resist rotation and avoid shear stress as a result of thermal movements.  Base engineering calculation on surface temperatures of materials due to both solar heat gain and nighttime-sky heat loss.

Differential values in subparagraph below (for aluminum in particular) are suitable for most of the U.S.  Revise to suit local conditions.

1. Temperature Change (Range):  120 deg F (67 deg C), ambient; 180 deg F (100 deg C), material surfaces.

E. Water Infiltration:  Provide manufactured roof specialties that do not allow water infiltration to building interior.

1.4 SUBMITTALS

A. Product Data:  For each type of product indicated.  Include construction details, material descriptions, dimensions of individual components and profiles, and finishes.

B. Shop Drawings:  Show layouts of manufactured roof specialties, including plans and elevations.  Identify factory- vs. field-assembled work.  Include the following:

1. Details for fastening, joining, supporting, and anchoring manufactured roof specialties including fasteners, clips, cleats, and attachments to adjoining work.

2. Details for expansion and contraction.

C. Samples for Initial Selection:  For each type of manufactured roof specialty indicated with factory-applied color finishes.

Delete paragraph above if colors and other characteristics are preselected and specified or scheduled.  Retain paragraph below with or without above to verify details of manufactured roof specialty.

D. Fabrication Samples:  For [copings] [roof edge flashings] [roof edge drainage systems] [counterflashings and reglets] made from 12-inch (300-mm) lengths of full-size components including fasteners, cover joints, accessories, and attachments.

Retain first paragraph below for copings and roof edge flashings if applicable.

E. Product Test Reports:  Based on evaluation of comprehensive tests performed by a qualified testing agency, verifying compliance of [copings] [roof edge flashings] with performance requirements.

F. Warranty:  Special warranty specified in this Section.

1.5 QUALITY ASSURANCE

A. Product Options:  Information on Drawings and in Specifications establishes requirements for system's aesthetic effects and performance characteristics.  Aesthetic effects are indicated by dimensions, arrangements, alignment, and profiles of components and assemblies as they relate to sightlines, to one another, and to adjoining construction.  Performance characteristics are indicated by criteria subject to verification by one or more methods including preconstruction testing, field testing, and in-service performance.

1. Do not modify intended aesthetic effects, as judged solely by Architect, except with Architect's approval.  If modifications are proposed, submit comprehensive explanatory data to Architect for review.

1.6 COORDINATION

A. Coordinate installation of manufactured roof specialties with interfacing and adjoining construction to provide a leakproof, secure, and noncorrosive installation.

1.7 WARRANTY

Delete this Article if manufactured roof specialties are left unfinished.

A. Special Warranty on Painted Finishes:  Manufacturer's standard form in which manufacturer agrees to repair finish or replace manufactured roof specialties that show evidence of deterioration of factory-applied finishes within specified warranty period.

1. Fluoropolymer Finish:  Deterioration includes, but is not limited to, the following:

a. Color fading more than 5 Hunter units when tested according to ASTM D 2244.

b. Chalking in excess of a No. 8 rating when tested according to ASTM D 4214.

c. Cracking, checking, peeling, or failure of paint to adhere to bare metal.

Verify available warranties for finishes and insert number below.  20-year period is usually available for fluoropolymer finish and is maximum included with manufacturers' published data.

2. Finish Warranty Period:  [20] <Insert number> years from date of Substantial Completion.

PART 2 -  PRODUCTS

2.1 MANUFACTURERS

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.

Edit this Article with other Part 2 articles in which manufacturers and products are named.  See Division 01 Section "Product Requirements" for an explanation of the terms "Available Products," "Products," "Available Manufacturers," "Manufacturers," and "Basis-of-Design Product" and the effect these terms have on "Comparable Product" and "Product Substitution" requirements.

A. In other Part 2 articles where titles below introduce lists, the following requirements apply to product selection:

1. Available Products:  Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, products specified.

2. Products:  Subject to compliance with requirements, provide one of the products specified.

3. Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, manufacturers specified.

4. Manufacturers:  Subject to compliance with requirements, provide products by one of the manufacturers specified.

5. Basis-of-Design Product:  The designs for [copings] [roof edge flashings] [roof edge drainage system] [and] [counterflashings and reglets] are based on the products named.  Subject to compliance with requirements, provide either the named products or comparable products by one of the other manufacturers specified.

2.2 EXPOSED METALS

Applied finishes for metals are specified with materials in this Article rather than in "Finishes" Article.

A. Copper Sheet:  ASTM B 370, Temper H00 or H01, cold rolled, mill finished.

B. Aluminum Sheet:  ASTM B 209 (ASTM B 209M), alloy and temper recommended by manufacturer for use and finish indicated, finished as follows:

1. Surface:  [Smooth, flat] [Embossed] finish.

Retain one of three finish subparagraphs and associated subparagraphs below.

2. Mill finish.

3. High-Performance Organic Finish:  AA-C12C42R1x (Chemical Finish:  cleaned with inhibited chemicals; Chemical Finish:  acid-chromate-fluoride-phosphate conversion coating; Organic Coating:  as specified below).  Prepare, pretreat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturers' written instructions.

Subparagraph below references AAMA standard for high-performance organic coating on extrusions and panels.  Revise if specific products are required.  AAMA 2605 provides a 10-year performing finish.

a. Fluoropolymer 2-Coat System:  Manufacturer's standard 2-coat, thermocured system consisting of specially formulated inhibitive primer and fluoropolymer color topcoat containing not less than 70 percent polyvinylidene fluoride resin by weight; complying with [AAMA 2604] [AAMA 2605].

Delete subparagraph above or first subparagraph below; if both are required, indicate location of each system on Drawings, in schedules, or by inserts.

b. Fluoropolymer 3-Coat System:  Manufacturer's standard 3-coat, thermocured system consisting of specially formulated inhibitive primer, fluoropolymer color coat, and clear fluoropolymer topcoat, with both color coat and clear topcoat containing not less than 70 percent polyvinylidene fluoride resin by weight, with a minimum total dry film thickness of 1.5 mil (0.038 mm); complying with AAMA 2605.

4. Anodic Finish:  Apply the following finish:

Select clear or color anodic finish and class from subparagraphs below.  Class II is standard finish with many manufacturers.  Class I is thicker; verify availability before specifying.

a. Class II, Clear Anodic Finish:  AA-M12C22A31 (Mechanical Finish:  nonspecular as fabricated; Chemical Finish:  etched, medium matte; Anodic Coating:  Architectural Class II, clear coating 0.010 mm or thicker) complying with AAMA 611.

b. Class I, Clear Anodic Finish:  AA-M12C22A41 (Mechanical Finish:  nonspecular as fabricated; Chemical Finish:  etched, medium matte; Anodic Coating:  Architectural Class I, clear coating 0.018 mm or thicker) complying with AAMA 611.

c. Class II, Color Anodic Finish:  AA-M12C22A34 (Mechanical Finish:  nonspecular as fabricated; Chemical Finish:  etched, medium matte; Anodic Coating:  Architectural Class II, electrolytically deposited color coating 0.010 mm or thicker) complying with AAMA 611.

d. Class I, Color Anodic Finish:  AA-M12C22A44 (Mechanical Finish:  nonspecular as fabricated; Chemical Finish:  etched, medium matte; Anodic Coating:  Architectural Class I, electrolytically deposited color coating 0.018 mm or thicker) complying with AAMA 611.

C. Aluminum Extrusions:  ASTM B 221 (ASTM B 221M), alloy and temper recommended by manufacturer for type of use and finish indicated, finished as follows:

Retain one of two finish subparagraphs and associated subparagraphs below.

1. High-Performance Organic Finish:  AA-C12C42R1x (Chemical Finish:  cleaned with inhibited chemicals; Chemical Finish:  acid-chromate-fluoride-phosphate conversion coating; Organic Coating:  as specified below).  Prepare, pretreat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturers' written instructions.

Subparagraph below references AAMA standard for high-performance organic coating on extrusions and panels.  Revise if specific products are required.  AAMA 2605 provides a 10-year performing finish.

a. Fluoropolymer 2-Coat System:  Manufacturer's standard 2-coat, thermocured system consisting of specially formulated inhibitive primer and fluoropolymer color topcoat containing not less than 70 percent polyvinylidene fluoride resin by weight; complying with [AAMA 2604] [AAMA 2605].

Delete subparagraph above or first subparagraph below; if both are required, indicate location of each system on Drawings, in schedules, or by inserts.

b. Fluoropolymer 3-Coat System:  Manufacturer's standard 3-coat, thermocured system consisting of specially formulated inhibitive primer, fluoropolymer color coat, and clear fluoropolymer topcoat, with both color coat and clear topcoat containing not less than 70 percent polyvinylidene fluoride resin by weight, with a minimum total dry film thickness of 1.5 mil (0.038 mm); complying with AAMA 2605.

2. Anodic Finish:  Apply the following finish:

Select clear or color anodic finish and class from subparagraphs below.  Class II is standard finish with many manufacturers.  Class I is thicker; verify availability before specifying.

a. Class II, Clear Anodic Finish:  AA-M12C22A31 (Mechanical Finish:  nonspecular as fabricated; Chemical Finish:  etched, medium matte; Anodic Coating:  Architectural Class II, clear coating 0.010 mm or thicker) complying with AAMA 611.

b. Class I, Clear Anodic Finish:  AA-M12C22A41 (Mechanical Finish:  nonspecular as fabricated; Chemical Finish:  etched, medium matte; Anodic Coating:  Architectural Class I, clear coating 0.018 mm or thicker) complying with AAMA 611.

c. Class II, Color Anodic Finish:  AA-M12C22A32/A34 (Mechanical Finish:  nonspecular as fabricated; Chemical Finish:  etched, medium matte; Anodic Coating:  Architectural Class II, integrally colored or electrolytically deposited color coating 0.010 mm or thicker) complying with AAMA 611.

d. Class I, Color Anodic Finish:  AA-M12C22A42/A44 (Mechanical Finish:  nonspecular as fabricated; Chemical Finish:  etched, medium matte; Anodic Coating:  Architectural Class I, integrally colored or electrolytically deposited color coating 0.018 mm or thicker) complying with AAMA 611.

D. Stainless-Steel Sheet:  ASTM A 240/A 240M, Type 304, No. [2B (bright, reflective)] [3 (reflective, polished directional satin)] [4 (fine reflective, polished directional satin)] finish.

E. Prepainted, Zinc-Coated Steel Sheet:  ASTM A 653/A 653M, G90 (Z275) coating designation, structural quality, and prepainted by the coil-coating process to comply with ASTM A 755/A 755M.

1. Surface:  [Smooth, flat] [Embossed] finish.

2. High-Performance Organic Finish:  Prepare, pretreat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturers' written instructions.

First subparagraph below references AAMA standard for high-performance organic coating spray-applied on aluminum extrusions and panels.  Manufacturers of zinc-coated steel sheet also use this standard for both spray-applied and coil-coated fluoropolymer finishes.  Revise if specific products are required.  AAMA 2604 provides a 5-year performing finish; AAMA 2605, 10 years.

a. Fluoropolymer 2-Coat System:  Manufacturer's standard 2-coat, thermocured system consisting of specially formulated inhibitive primer and fluoropolymer color topcoat containing not less than 70 percent polyvinylidene fluoride resin by weight; complying with physical properties and coating performance requirements of [AAMA 2604] [AAMA 2605], except as modified below:

1) Humidity Resistance:  [1000] [2000] hours.

2) Salt-Spray Resistance:  [1000] [2000] hours.

Delete subparagraph and associated subparagraphs above or below; if both are required, indicate location of each system on Drawings, in schedules, or by inserts.

b. Fluoropolymer 3-Coat System:  Manufacturer's standard 3-coat, thermocured system consisting of specially formulated inhibitive primer, fluoropolymer color coat, and clear fluoropolymer topcoat, with both color coat and clear topcoat containing not less than 70 percent polyvinylidene fluoride resin by weight, with a minimum total dry film thickness of 1.5 mil (0.038 mm); complying with physical properties and coating performance requirements of AAMA 2605, except as modified below:

1) Humidity Resistance:  [1000] [2000] hours.

2) Salt-Spray Resistance:  [1000] [2000] hours.

2.3 CONCEALED METALS

A. Aluminum Sheet:  ASTM B 209 (ASTM B 209M), alloy and temper recommended by manufacturer for use and structural performance indicated, mill finished.

B. Aluminum Extrusions:  ASTM B 221 (ASTM B 221M), alloy and temper recommended by manufacturer for type of use and structural performance indicated, mill finished.

C. Stainless-Steel Sheet:  ASTM A 240/A 240M, Type 304.

D. Zinc-Coated (Galvanized) Steel Sheet:  ASTM A 653/A 653M, G90 (Z275) coating designation; structural quality.

2.4 MISCELLANEOUS MATERIALS

A. General:  Provide materials and types of fasteners, protective coatings, separators, sealants, and other miscellaneous items required by manufacturer for a complete installation.

B. Fasteners:  Manufacturer's recommended fasteners, suitable for application and designed to withstand design loads.

Revise subparagraph below to suit Project.

1. Exposed Penetrating Fasteners:  Gasketed screws with hex washer heads matching color of sheet metal.

C. Sealing Tape:  Pressure-sensitive, 100 percent solids, polyisobutylene compound sealing tape with release-paper backing.  Provide permanently elastic, nonsag, nontoxic, nonstaining tape.

Revise paragraph below if sealant of specific type, grade, class, and use is required.

D. Elastomeric Sealant:  ASTM C 920, elastomeric [polyurethane] [polysulfide] [silicone] polymer sealant; of type, grade, class, and use classifications required to seal joints in sheet metal flashing and trim and remain watertight.

Delete first paragraph below if no movement joints.

E. Butyl Sealant:  ASTM C 1311, single-component, solvent-release butyl rubber sealant, polyisobutylene plasticized, heavy bodied for hooked-type expansion joints with limited movement.

F. Bituminous Coating:  Cold-applied asphalt mastic, SSPC-Paint 12, compounded for 15-mil (0.4-mm) dry film thickness per coat.  Provide inert-type noncorrosive compound free of asbestos fibers, sulfur components, and other deleterious impurities.

G. Asphalt Roofing Cement:  ASTM D 4586, asbestos free, of consistency required for application.

Retain one of two paragraphs below for manufactured roof specialties applied directly over dissimilar metal or corrosive substrates.

H. Polyethylene Sheet:  6-mil- (0.15-mm-) thick polyethylene sheet complying with ASTM D 4397.

I. Felt:  ASTM D 226, Type II (No. 30), asphalt-saturated organic felt, nonperforated.

Slip sheet below may be required over a felt underlayment; verify with manufacturer.

1. Slip Sheet:  Rosin-sized paper, minimum 3 lb/100 sq. ft. (0.16 kg/sq. m).

2.5 COPINGS

Retain paragraph and subparagraphs below for copings with formed-metal caps.  Revise to describe extruded coping caps, which are manufactured by Architectural Products, if required.

A. Copings:  Manufactured coping system consisting of formed-metal coping cap in section lengths not exceeding [12 feet (3.6 m)] <Insert length>, concealed anchorage, concealed splice plates with same finish as coping caps, mitered corner units, and end cap units.

Retain one of first three subparagraphs and lists below if naming specific products or manufacturers.  Coordinate with Part 2 "Manufacturers" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

1. Basis-of-Design Product:  <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

2. [Available ]Manufacturers:

Retain list of manufacturers below with either subparagraph above.

a. Architectural Products Co.

b. ATAS International, Inc.

c. Castle Metal Products.

d. Cheney Flashing Company.

e. Hickman, W. P. Company.

f. Merchant & Evans, Inc.

g. Metal-Era, Inc.

h. Metal-Fab Manufacturing LLC.

i. MM Systems Corporation.

j. Perimeter Systems, a division of Southern Aluminum Finishing Co.

k. Petersen Aluminum Corp.

l. <Insert manufacturer's name.>

3. [Available ]Products:

a. <Insert, in separate subparagraphs, manufacturer's name; product name or designation.>

4. Coping Caps:  [Snap-on] [Face leg hooked to continuous cleat with back leg fastener exposed], fabricated from the following exposed metal:

Select thickness of coping caps that will satisfy wind-load requirements.

a. Copper:  [20 oz./sq. ft. (0.7 mm thick)] <Insert weight or thickness>.

b. Aluminum:  [0.040 inch (1.0 mm)] [0.050 inch (1.2 mm)] [0.063 inch (1.6 mm)] [0.080 inch (2.0 mm)] <Insert thickness> thick.

c. Prepainted, Zinc-Coated Steel:  [0.028 inch (0.7 mm)] [0.034 inch (0.85 mm)] <Insert thickness> thick.

Retain one of three options in first subparagraph below if applicable.  If retaining first, indicate colors in a separate schedule.

5. Coping Cap Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range].

6. Corners:  [Continuously welded] [Mechanically clinched and sealed watertight] [Soldered].

7. Special Fabrications:  [Radiussed sections] [Arched sections] [Bullnose face leg] [Two-way sloped coping cap].

8. Snap-on Coping Anchor Plates:  Concealed, galvanized steel sheet, 12 inches (300 mm) wide, 0.028 inch (0.7 mm) thick, with integral cleats.

Retain subparagraph above or below.  Retain first option below for anchoring aluminum and galvanized steel coping caps; retain second option for anchoring copper coping caps.

9. Face Leg Cleats:  Concealed, continuous [galvanized steel sheet] [stainless steel].

2.6 ROOF EDGE FLASHINGS

Retain this Article for roof edge flashings, sometimes called "roof edging" or "roof edge fascia."

Retain paragraph and subparagraphs below for a two-piece, canted, roof edge fascia consisting of a snap-on or compression-clamped metal fascia cover over a metal cant or water dam.

A. Canted Roof Edge Fascia:  Manufactured, two-piece, roof edge fascia consisting of [snap-on] [compression-clamped] metal fascia cover in section lengths not exceeding [12 feet (3.6 m)] <Insert length> and a continuous formed galvanized steel sheet cant dam, 0.028 inch (0.7 mm) thick, minimum, with integral drip edge cleat.  Provide matching mitered and welded corner units.

Retain one of first three subparagraphs and lists below if naming specific products or manufacturers.  Coordinate with Part 2 "Manufacturers" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

1. Basis-of-Design Product:  <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

2. [Available ]Manufacturers:

Retain list of manufacturers below with either subparagraph above.

a. Architectural Products Co.

b. Castle Metal Products.

c. Cheney Flashing Company.

d. Hickman, W. P. Company.

e. Merchant & Evans, Inc.

f. Metal-Era, Inc.

g. Metal-Fab Manufacturing LLC.

h. MM Systems Corporation.

i. Perimeter Systems, a division of Southern Aluminum Finishing Co.

j. Petersen Aluminum Corp.

k. <Insert manufacturer's name.>

3. [Available ]Products:

a. <Insert, in separate subparagraphs, manufacturer's name; product name or designation.>

4. Fascia Cover:  Fabricated from the following exposed metal:

Select thickness of fascia cover that will satisfy wind-load requirements.

a. [Formed] [Extruded] Aluminum:  [0.040 inch (1.0 mm)] [0.050 inch (1.2 mm)] [0.063 inch (1.6 mm)] [0.080 inch (2.0 mm)] <Insert thickness> thick.

b. Prepainted, Zinc-Coated Steel:  [0.028 inch (0.7 mm)] [0.034 inch (0.85 mm)] <Insert thickness> thick.

Retain one of three options in first subparagraph below if applicable.  If retaining first, indicate colors in a separate schedule.

5. Fascia Cover Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range].

6. Splice Plates:  [Concealed] [Exposed], of same material, finish, and shape as fascia cover.

7. Special Fabrications:  [Radiussed sections] [Arched sections] [Bullnose fascia cover] [Cornice fascia cover] [Cove fascia cover].

8. Fascia Accessories:  [Fascia extenders with continuous hold-down cleats] [Wall cap] [Soffit trim] [Overflow scuppers] [Overflow scuppers with perforated screens] [Spillout scuppers] [Downspout scuppers with conductor head and downspout adapters] [Downspout scuppers with conductor head and downspout adapters and perforated screens].

Retain paragraph and subparagraphs below for a two-piece, roof edge fascia consisting of a snap-on fascia cover over a continuous anchor bar receiver.  Side-mounted anchor bar typically secures a single-ply roofing membrane and is capable of developing substantial uplift resistance.

B. Roof Edge Fascia:  Manufactured, two-piece, roof edge fascia consisting of snap-on metal fascia cover in section lengths not exceeding [12 feet (3.6 m)] <Insert length> and a continuous formed- or extruded-aluminum anchor bar with integral drip edge cleat to engage fascia cover.  Provide matching mitered and welded corner units.

Retain one of first three subparagraphs and lists below if naming specific products or manufacturers.  Coordinate with Part 2 "Manufacturers" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.  Coordinate with applicable Division 07 low-slope roofing Section.  Many single-ply roofing manufacturers require this type of roof edge fascia to terminate their roofing membranes; add their names and products to lists below.

1. Basis-of-Design Product:  <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

2. [Available ]Manufacturers:

Retain list of manufacturers below with either subparagraph above.

a. Hickman, W. P. Company.

b. Metal-Era, Inc.

c. MM Systems Corporation.

d. <Insert manufacturer's name.>

3. [Available ]Products:

a. <Insert, in separate subparagraphs, manufacturer's name; product name or designation.>

4. Fascia Cover:  Fabricated from the following exposed metal:

Select thickness of fascia cover that will satisfy wind-load requirements.

a. [Formed] [Extruded] Aluminum:  [0.032 inch (0.8 mm)] [0.040 inch (1.0 mm)] [0.050 inch (1.2 mm)] [0.063 inch (1.6 mm)] [0.080 inch (2.0 mm)] <Insert thickness> thick.

b. Prepainted, Zinc-Coated Steel:  [0.028 inch (0.7 mm)] [0.034 inch (0.85 mm)] <Insert thickness> thick.

Retain one of three options in first subparagraph below if applicable.  If retaining first, indicate colors in a separate schedule.

5. Fascia Cover Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range].

6. Splice Plates:  [Concealed] [Exposed], of same material, finish, and shape as fascia cover.

7. Special Fabrications:  [Radiussed sections] [Arched sections] [Bullnose fascia cover] [Cornice fascia cover] [Cove fascia cover].

8. Fascia Accessories:  [Fascia extenders with continuous hold-down cleats] [Wall cap] [Soffit trim] [Overflow scuppers] [Spillout scuppers] [Downspout scuppers with integral conductor head and downspout adapters].

Retain paragraph and subparagraphs below for a one-piece, formed-metal gravel stop.  Revise description if a drainable gravel stop is proposed.

C. Gravel Stops:  Manufactured, one-piece, formed-metal gravel stop in section lengths not exceeding [12 feet (3.6 m)] <Insert length>, with a horizontal flange and vertical leg fascia terminating in a drip edge, continuous hold-down cleat, and concealed splice plates of same material, finish, and shape as gravel stop.  Provide mitered and welded or soldered corner units.

Retain one of first three subparagraphs and lists below if naming specific products or manufacturers.  Coordinate with Part 2 "Manufacturers" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

1. Basis-of-Design Product:  <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

2. [Available ]Manufacturers:

Retain list of manufacturers below with either subparagraph above.

a. Architectural Products Co.

b. ATAS International, Inc.

c. Castle Metal Products.

d. Cheney Flashing Company.

e. Hickman, W. P. Company.

f. Merchant & Evans, Inc.

g. Metal-Era, Inc.

h. MM Systems Corporation.

i. Perimeter Systems, a division of Southern Aluminum Finishing Co.

j. Petersen Aluminum Corp.

k. <Insert manufacturer's name.>

3. [Available ]Products:

a. <Insert, in separate subparagraphs, manufacturer's name; product name or designation.>

4. Fabricate from the following exposed metal:

Select thickness of gravel stops that will satisfy wind-load requirements.

a. Copper:  [16 oz./sq. ft. (0.55 mm thick)] <Insert weight or thickness>.

b. Aluminum:  [0.032 inch (0.8 mm)] [0.040 inch (1.0 mm)] [0.050 inch (1.2 mm)] <Insert thickness> thick.

c. Stainless Steel:  [0.0250 inch (0.65 mm)] <Insert thickness> thick.

d. Prepainted, Zinc-Coated Steel:  [0.028 inch (0.7 mm)] [0.034 inch (0.85 mm)] <Insert thickness> thick.

Retain one of three options in first subparagraph below if applicable.  If retaining first, indicate colors in a separate schedule.

5. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range].

6. Accessories:  [Fascia extenders with continuous hold-down cleats] [Wall cap] [Soffit trim].

2.7 ROOF EDGE DRAINAGE SYSTEMS

Retain one of first three paragraphs and lists below if naming specific products or manufacturers.  Coordinate with Part 2 "Manufacturers" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

A. Basis-of-Design Product:  <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

B. [Available ]Manufacturers:

Retain list of manufacturers below with either paragraph above.

1. Architectural Products Co.

2. ATAS International, Inc.

3. Berger Bros. Co.

4. Castle Metal Products.

5. Cheney Flashing Company.

6. Hickman, W. P. Company.

7. Merchant & Evans, Inc.

8. Metal-Era, Inc.

9. Metal-Fab Manufacturing LLC.

10. MM Systems Corporation.

11. Obdyke, Benjamin Incorporated.

12. Perimeter Systems, a division of Southern Aluminum Finishing Co.

13. Petersen Aluminum Corp.

14. <Insert manufacturer's name.>

C. [Available ]Products:

1. <Insert, in separate subparagraphs, manufacturer's name; product name or designation.>

D. Gutters and Downspouts:  Manufactured formed gutter in uniform section lengths not exceeding [12 feet (3.6 m)] <Insert length>, with mitered and welded or soldered corner units, end caps, outlet tubes, and other accessories.  Elevate back edge at least 1 inch (25 mm) above front gutter rim.  Furnish with flat-stock gutter straps and gutter support brackets and expansion joints and expansion-joint covers fabricated from same metal as gutters.

1. Fabricate gutter from the following exposed metal:

a. Aluminum:  [0.032 inch (0.8 mm)] [0.040 inch (1.0 mm)] [0.050 inch (1.2 mm)] [0.063 inch (1.6 mm)] [0.080 inch (2.0 mm)] <Insert thickness> thick.

b. Prepainted, Zinc-Coated Steel:  [0.028 inch (0.7 mm)] [0.034 inch (0.85 mm)] <Insert thickness> thick.

c. Copper:  [20 oz./sq. ft. (0.7 mm thick)] <Insert weight or thickness>.

Delete subparagraph below if Drawings show cross section or profile in sufficient detail.  Most manufactured gutter styles are rectangular with variations.  See SMACNA's "Architectural Sheet Metal Manual" to identify commonly used gutter styles.

2. Gutter Style:  [A] [B] [F] [G] [H] [I] [Half round] [Ogee] <Insert style> according to SMACNA's "Architectural Sheet Metal Manual."

Retain first subparagraph below if special decorative fascia is applied and conceals the gutter.

3. Applied Fascia Cover:  Exposed, formed [aluminum, 0.040 inch (1.0 mm) thick] [copper, 16 oz./sq. ft. (0.55 mm thick)], with mitered corners, end caps, and concealed splice joints.

4. Gutter Accessories:  [Continuous removable leaf screen with sheet metal frame] [Bronze wire ball downspout strainer] [Wire ball downspout strainer].

5. Downspouts:  [Rectangular closed-face] [Rectangular open-face] <Insert shape> with mitered elbows, manufactured from the following exposed metal.  Furnish wall brackets, from same material and finish as downspouts, with anchors.

a. Formed Aluminum:  [0.032 inch (0.8 mm)] [0.040 inch (1.0 mm)] [0.050 inch (1.2 mm)] [0.063 inch (1.6 mm)] [0.080 inch (2.0 mm)] <Insert thickness> thick.

b. Extruded Aluminum:  [0.125 inch (3.2 mm)] <Insert thickness> thick.

c. Prepainted, Zinc-Coated Steel:  [0.028 inch (0.7 mm)] [0.034 inch (0.85 mm)] <Insert thickness> thick.

d. Copper:  [16 oz./sq. ft. (0.55 mm thick)] <Insert weight or thickness>.

Scupper configurations vary considerably.  Parapet scuppers, which are installed in parapet wall, discharge into conductor heads or, as overflow scuppers, merely project through the parapet.  Scuppers combined with roof edge flashings and discharging into gutters or conductor heads are specified in "Roof Edge Flashings" Article.

E. Parapet Scuppers:  Manufactured scuppers with closure flange trim to exterior, 4-inch- (100-mm-) wide wall flanges to interior, and base extending 4 inches (100 mm) beyond cant or tapered strip into field of roof.[ Fasten gravel guard angles to base of scupper.]

1. Manufacture parapet scuppers from the following exposed metal:

a. Copper:  [16 oz./sq. ft. (0.55 mm thick)] <Insert weight or thickness>.

b. Aluminum:  [0.0320 inch (0.8 mm)] <Insert thickness> thick.

c. Stainless Steel:  [0.0187 inch (0.5 mm)] <Insert thickness> thick.

d. Prepainted, Zinc-Coated Steel:  [0.0276 inch (0.7 mm)] <Insert thickness> thick.

F. Conductor Heads:  Manufactured conductor heads with flanged back and stiffened top edge and of dimensions and shape indicated complete with outlet tubes[, exterior flange trim,] [and] [built-in overflows].

1. Fabricate conductor heads from the following exposed metal:

a. Copper:  [16 oz./sq. ft. (0.55 mm thick)] <Insert weight or thickness>.

b. Aluminum:  [0.0320 inch (0.8 mm)] <Insert thickness> thick.

c. Stainless Steel:  [0.0156 inch (0.4 mm)] <Insert thickness> thick.

d. Prepainted, Zinc-Coated Steel:  [0.0276 inch (0.7 mm)] <Insert thickness> thick.

2.8 COUNTERFLASHINGS AND REGLETS

Retain one of first three paragraphs and lists below if naming specific products or manufacturers.  Coordinate with Part 2 "Manufacturers" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

A. Basis-of-Design Product:  <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

B. [Available ]Manufacturers:

Retain list of manufacturers below with either paragraph above.

1. Castle Metal Products.

2. Cheney Flashing Company.

3. Fry Reglet Corporation.

4. Hickman, W. P. Company.

5. Keystone Flashing Company.

6. Merchant & Evans, Inc.

7. Metal-Era, Inc.

8. MM Systems Corporation.

9. <Insert manufacturer's name.>

C. [Available ]Products:

1. <Insert, in separate subparagraphs, manufacturer's name; product name or designation.>

D. Counterflashings:  Manufactured units in lengths not exceeding [12 feet (3.6 m)] <Insert length> designed to snap into reglets and compress against base flashings with joints lapped, from the following exposed metal in thickness indicated:

1. Copper:  [16 oz./sq. ft. (0.55 mm thick)] <Insert weight or thickness>.

2. Aluminum:  [0.024 inch (0.6 mm)] [0.032 inch (0.8 mm)] <Insert thickness> thick.

3. Stainless Steel:  [0.0250 inch (0.65 mm)] <Insert thickness> thick.

4. Prepainted, Zinc-Coated Steel:  [0.028 inch (0.7 mm)] <Insert thickness> thick.

E. Reglets:  Manufactured units formed to provide secure interlocking of separate reglet and counterflashing pieces, and compatible with flashings indicated[ with factory-mitered and -welded corners and junctions], from the following exposed metal in thickness indicated:

1. Copper:  [16 oz./sq. ft. (0.55 mm thick)] <Insert weight or thickness>.

2. Aluminum:  [0.050 inch (1.2 mm)] <Insert thickness> thick.

3. Stainless Steel:  [0.0187 inch (0.5 mm)] <Insert thickness> thick.

4. Prepainted, Zinc-Coated Steel:  [0.028 inch (0.7 mm)] <Insert thickness> thick.

Select one or more reglet types from five subparagraphs below.

5. Type:  Surface-mounted with slotted holes for fastening to substrate, with neoprene or other suitable weatherproofing washers, and with channel for sealant at top edge.

6. Type:  For stucco application, with upturned fastening flange and extension leg of length to match thickness of applied finish materials.

7. Type:  For concrete application with temporary closure tape to keep reglet free of concrete materials, special fasteners for attaching reglet to concrete forms, and guides to ensure alignment of reglet section ends.

8. Type:  For masonry application, with offset top flange for embedment in masonry mortar joint.

9. Type:  Multiuse, for embedment in [cast-in-place concrete] [masonry mortar joints].

F. Accessories:  [Counterflashing wind-restraint clips] <Insert accessories>.

2.9 FINISHES

A. Comply with NAAMM's "Metal Finishes Manual for Architectural and Metal Products" for recommendations for applying and designating finishes.

B. Protect mechanical and painted finishes on exposed surfaces from damage by applying a strippable, temporary protective covering before shipping.

C. Appearance of Finished Work:  Variations in appearance of abutting or adjacent pieces are acceptable if they are within one-half of the range of approved Samples.  Noticeable variations in the same piece are not acceptable.  Variations in appearance of other components are acceptable if they are within the range of approved Samples and are assembled or installed to minimize contrast.

PART 3 -  EXECUTION

3.1 EXAMINATION

A. Examine substrates, areas, and conditions, with Installer present, to verify actual locations, dimensions, and other conditions affecting performance of work.

1. Examine walls, roof edges, and parapets for suitable conditions for manufactured roof specialties.

2. Verify that substrate is sound, dry, smooth, clean, sloped for drainage, and securely anchored.

3. Proceed with installation only after unsatisfactory conditions have been corrected.

3.2 INSTALLATION

A. General:  Install manufactured roof specialties according to manufacturer's written instructions.  Anchor manufactured roof specialties securely in place and capable of resisting forces specified in performance requirements.  Use fasteners, separators, sealants, and other miscellaneous items as required to complete manufactured roof specialty systems.

1. Install manufactured roof specialties with provisions for thermal and structural movement.

2. Torch cutting of manufactured roof specialties is not permitted.

B. Metal Protection:  Where dissimilar metals will contact each other or corrosive substrates, protect against galvanic action by painting contact surfaces with bituminous coating or by other permanent separation as recommended by manufacturer.

1. Coat concealed side of [uncoated aluminum] [stainless-steel] manufactured roof specialties with bituminous coating where in contact with wood, ferrous metal, or cementitious construction.

2. Underlayment:  Where installing exposed-to-view components of manufactured roof specialties directly on cementitious or wood substrates, install a course of felt underlayment and cover with a slip sheet, or install a course of polyethylene underlayment.

3. Bed flanges in thick coat of asphalt roofing cement where required by manufacturers of roof specialties for waterproof performance.

C. Install manufactured roof specialties level, plumb, true to line and elevation, and without warping, jogs in alignment, excessive oil-canning, buckling, or tool marks.

D. Install manufactured roof specialties to fit substrates and to result in watertight performance.  Verify shapes and dimensions of surfaces to be covered before manufacture.

E. Expansion Provisions:  Provide for thermal expansion of exposed manufactured roof specialties.  Space movement joints at a maximum of 12 feet (3.6 m) with no unplanned joints within 18 inches (450 mm) <Insert dimension> of corners or intersections.

F. Fasteners:  Use fasteners of type and size recommended by manufacturer but of sizes that will penetrate substrate not less than 1-1/4 inches (32 mm) for nails and not less than 3/4 inch (19 mm) for wood screws.

G. Seal joints with [elastomeric] [butyl] sealant as required by manufacturer of roofing specialties.

3.3 COPING INSTALLATION

A. Install cleats, anchor plates, and other anchoring and attachment accessories and devices with concealed fasteners.

B. Anchor copings to resist uplift and outward forces according to performance requirements.

Retain subparagraph below for snap-on-type copings mounted on cleated anchor plates.

1. Interlock face and back leg drip edges of snap-on coping cap into cleated anchor plates anchored to substrate at [30-inch (760-mm) centers] [40-inch (1015-mm) centers] [manufacturer's recommended spacing] <Insert spacing>.

Retain subparagraph below for copings with back leg fasteners exposed.

2. Interlock face leg drip edge into continuous cleat anchored to substrate at [24-inch (600-mm) centers] [16-inch (400-mm) centers] [manufacturer's recommended spacing] <Insert spacing>.  Anchor back leg of coping with screw fasteners and elastomeric washers at [24-inch (600-mm) centers] [16-inch (400-mm) centers] [manufacturer's recommended spacing] <Insert spacing>.

3.4 ROOF EDGE FLASHING INSTALLATION

Coordinate installation of roof edge flashings with applicable Division 07 low-slope roofing Section.  Roof edge flashings include canted roof edge fascia, roof edge fascia, and gravel stops.

A. Install cleats, cant dams, and other anchoring and attachment accessories and devices with concealed fasteners.

B. Anchor roof edgings to resist uplift and outward forces according to performance requirements.

3.5 ROOF EDGE DRAINAGE SYSTEM INSTALLATION

A. General:  Install [gutters] [downspouts] [parapet scuppers] [conductor heads] to produce a complete roof drainage system according to manufacturer's written instructions.  Coordinate installation of roof perimeter flashing with installation of roof drainage system.

B. Gutters:  Join and seal gutter lengths.  Attach gutters to firmly anchored [gutter brackets] [straps] spaced not more than 36 inches (900 mm) <Insert dimension> apart.  Slope gutters to downspouts.

Retain subparagraphs below if required.  Refer to manufacturers' written instructions.

1. Install gutter with expansion joints at locations indicated but not exceeding 50 feet (15.2 m) apart.  Install expansion joint caps.

2. Install continuous gutter screens on gutters with noncorrosive fasteners, [removable] [hinged to swing open] for cleaning gutters.

C. Downspouts:  Join sections with manufacturer's standard telescoping joints.  Provide fasteners designed to hold downspouts securely 1 inch (25 mm) away from walls; locate fasteners at top and bottom and at approximately 60 inches (1500 mm) o.c. in between.

Retain one of two subparagraphs below.

1. Provide elbows at base of downspout to direct water away from building.

2. Connect downspouts to underground drainage system indicated.

D. Parapet Scuppers:  Install scuppers where indicated through parapet.  Continuously support scupper, set to correct elevation, and seal flanges to interior wall face, over cants or tapered edge strips, and under roofing membrane.

Retain first subparagraph below if scupper terminates at exterior wall.  Retain second subparagraph with first if scupper discharges into conductor head set immediately below base elevation of scupper.  Retain third subparagraph if scupper discharges directly into back of conductor head.  Refer to manufacturers' written instructions.

1. Anchor scupper closure trim flange to exterior wall and seal or solder to scupper.

2. Loosely lock front edge of scupper with conductor head.

3. Seal or solder exterior wall scupper flanges into back of conductor head.

E. Conductor Heads:  Anchor securely to wall with elevation of conductor head rim 1 inch (25 mm) below [scupper] [gutter] discharge.

3.6 COUNTERFLASHING AND REGLET INSTALLATION

A. Counterflashings:  Coordinate installation of counterflashings with installation of base flashings.  Insert counterflashings in reglets or receivers and fit tightly to base flashings.  Extend counterflashings 4 inches (100 mm) over base flashings.  Lap counterflashing joints a minimum of 4 inches (100 mm) and bed with [elastomeric] [butyl] sealant.

B. Reglets:  Installation of reglets is specified in Division [03 Section "Cast-in-Place Concrete] [04 Section " Unit Masonry]."

3.7 CLEANING AND PROTECTION

First paragraph below is not applicable to stainless steel or to painted or coated steel and aluminum.

A. Clean exposed metal surfaces of substances that interfere with uniform oxidation and weathering.

B. Clean and neutralize flux materials.  Clean off excess solder and sealants.

C. Remove temporary protective coverings and strippable films as manufactured roof specialties are installed.  On completion of installation, clean finished surfaces, including removing unused fasteners, metal filings, pop rivet stems, and pieces of flashing.  Maintain in a clean condition during construction.

D. Replace manufactured roof specialties that have been damaged or that cannot be successfully repaired by finish touchup or similar minor repair procedures.

END OF SECTION 077100

	ROOF SPECIALTIES
	077100 - 1



