Copyright 2005 AIA
MASTERSPEC Full Length
02/05 (R 05/06)

Copyright 2005 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 102226 - OPERABLE PARTITIONS
Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

Retain or delete this article in all Sections of Project Manual.

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 01 Specification Sections, apply to this Section.

1.2 SUMMARY

A. Section Includes:

1. Manually operated, acoustical panel partitions.

2. Electrically operated, acoustical panel partitions.

3. Manually operated, fire-rated panel partitions.

4. Manually operated, glass panel partitions.

B. Related Sections:

Retain Sections in subparagraphs below that contain requirements Contractor might expect to find in this Section but are specified in other Sections.

1. Division 05 Section "Metal Fabrications" for supports that attach supporting tracks to overhead structural system.

2. Division 06 Section "Interior Architectural Woodwork" for special finishes for panels and for fire-retardant-treated wood veneers.

3. Division 08 Sections for operable exterior wall systems.

Delete first subparagraph below if hardware for operable panel partitions, including cylinders, is not specified in Division 08 Section "Door Hardware."

4. Division 08 Section "Door Hardware" for hardware to the extent not specified in this Section.

5. Division 09 Section "Gypsum Board" for fire-rated assemblies and sound barrier construction above the ceiling at track.

6. Division 09 Section "Staining and Transparent Finishing" for wood finish.

Delete subparagraph below if no electrically operated partitions, or revise if electrical connections and wiring are inserted into this Section.  If inserting connections and wiring, add "Electrical connections and wiring to building service" Subparagraph to list in " Section Includes" Paragraph.

7. Divisions 26 and 27 Sections for electrical service and connections for motor operators, controls, and limit switches; and for system disconnect switches.

1.3 DEFINITIONS

Retain definitions remaining after this Section has been edited.

A. ADA-ABA Accessibility Guidelines:  U.S. Architectural & Transportation Barriers Compliance Board's "Americans with Disabilities Act (ADA) and Architectural Barriers Act (ABA) Accessibility Guidelines for Buildings and Facilities."

B. Glass and Glazing Definitions:  See Division 08 Section "Glazing."

C. NIC:  Noise Isolation Class.

D. NRC:  Noise Reduction Coefficient.

E. STC:  Sound Transmission Class.

1.4 PERFORMANCE REQUIREMENTS

Retain first paragraph below if Contractor is required to assume responsibility for design.

A. Delegated Design:  Design operable panel partitions, including comprehensive engineering analysis by a qualified professional engineer, using performance requirements and design criteria indicated.

Retain first paragraph below with "Seismic Qualification Certificates" Paragraph in "Submittals" Article for projects requiring seismic design.  Model building codes and SEI/ASCE 7 establish criteria for buildings subject to earthquake motions.  Verify requirements of authorities having jurisdiction.

B. Seismic Performance:  Operable panel partitions shall withstand the effects of earthquake motions determined according to [SEI/ASCE 7] <Insert requirement>.

Retain subparagraph below to define the term "withstand" as it applies to this Project.  Definition varies with type of building and occupancy and is critical to valid certification.

1. The term "withstand" means "the panels will remain in place without separation of any parts from the system when subjected to the seismic forces specified."

C. Acoustical Performance:  Provide operable panel partitions tested by a qualified testing agency for the following acoustical properties according to test methods indicated:

If retaining one of first two subparagraphs below, indicate ratings in Part 2 or on Drawings.

1. Sound-Transmission Requirements:  Operable panel partition assembly tested for laboratory sound-transmission loss performance according to ASTM E 90, determined by ASTM E 413, and rated for not less than the STC indicated.

Retain subparagraph below only if NRC rating is required.  Verify with manufacturer that values retained for NRC and STC are possible and practical for products selected.

2. Noise-Reduction Requirements:  Operable panel partition assembly, identical to partition tested for STC, tested for sound-absorption performance according to ASTM C 423, and rated for not less than the NRC indicated.

Retain subparagraph below only if NIC rating is required for installed operable panel partitions.  Verify with manufacturer that values retained for NIC, NRC, and STC are possible and practical for products selected and as installed.  Testing is required in "Field Quality Control" Article.  See Evaluations.

3. Acoustical Performance Requirements:  Installed operable panel partition assembly, identical to partition tested for STC, tested for NIC according to ASTM E 336, determined by ASTM E 413, and rated for [10 dB less than STC value indicated] <Insert value>.

Indicate on Drawings both fire-resistance rating of each assembly and designation of testing and inspecting agency that has established assembly's fire-test-response characteristics.  Retain paragraph below for fire-rated operable panels.

D. Fire Resistance:  Provide fire-rated operable panel partition assemblies[ including pass doors] with fire-resistance ratings indicated.

Retain subparagraph below for pass doors in fire-rated operable panels.

1. Pass Doors:  Provide doors in fire-rated operable panel partition assemblies with fire-resistance ratings indicated.  Pass doors shall meet positive-pressure requirements.

1.5 SUBMITTALS

First five paragraphs below are defined in Division 01 Section "Submittal Procedures" as "Action Submittals."

A. Product Data:  For each type of product indicated.

B. LEED Submittals:

Retain first subparagraph below and "Forest Certification" Paragraph in "Quality Assurance" Article if partitions containing wood, wood veneers, or wood-based panel products are required to be certified for LEED-NC or LEED-CI Credit MR 7, which requires that a minimum of 50 percent of wood-based materials be certified.

1. Certificates for Credit MR 7:  Chain-of-custody certificates certifying that operable panel partitions comply with forest certification requirements.  Include evidence that manufacturer is certified for chain of custody by an FSC-accredited certification body.

Retain subparagraph below if low-emitting materials are required for LEED-NC or LEED-CI Credit EQ 4.4.

2. Product Data for Credit EQ 4.4:  For each composite wood product used in operable panel partitions, documentation indicating that product contains no urea formaldehyde.

Revise first paragraph below to clarify special conditions that deviate from standard installations.  Retain option if retaining "Delivery, Storage, and Handling" Article.

C. Shop Drawings:  Include plans, elevations, sections, details,[ numbered panel installation sequence,] and attachments to other work.

Retain first subparagraph below if products are required to withstand specific design loads and design responsibilities have been delegated to Contractor or if structural data are required as another way to verify product's compliance with performance requirements.  Professional engineer qualifications are specified in Division 01 Section "Quality Requirements."

1. For installed products indicated to comply with design loads, include structural analysis data for attachments, signed and sealed by the qualified professional engineer responsible for their preparation.

2. Indicate storage and operating clearances.  Indicate location and installation requirements for hardware and track, blocking, and direction of travel.

Retain subparagraph below if equipment includes wiring.

3. Wiring Diagrams:  For power, signal, and control wiring.

D. Samples for Initial Selection:  For each type of exposed material, finish, covering, or facing indicated.

1. Include similar Samples of accessories involving color selection.

Delete "Samples for Initial Selection" Paragraph above if colors and other characteristics are preselected and specified or scheduled.  Retain first paragraph below with or without above.

E. Samples for Verification:  For each type of exposed material, finish, covering, or facing indicated, prepared on Samples of size indicated below:

1. Textile:  Full width by not less than 36-inch- (914-mm-) long section of [fabric] [carpet] from dye lot to be used for the Work, with specified treatments applied.  Show complete pattern repeat.

Retain subparagraph above for textile wall coverings; retain first subparagraph below for other types of facing material.

2. Panel Facing Material:  Manufacturer's standard-size unit, not less than 3 inches (75 mm) square.

3. Panel Edge Material:  Not less than 3 inches (75 mm) long.

4. Chair Rail:  Manufacturer's standard-size unit, 6 inches (150 mm) long.

5. Glass:  Units 12 inches (300 mm) square.

6. Hardware:  Manufacturer's standard exposed door-operating device.

First paragraph below is defined in Division 01 Section "Submittal Procedures" as a "Delegated-Design Submittal."  Retain if Work of this Section is required to withstand specific design loads and design responsibilities have been delegated to Contractor or if structural data are required as another way to verify compliance with performance requirements.  Professional engineer qualifications are specified in Division 01 Section "Quality Requirements."

F. Delegated-Design Submittal:  For operable panel partitions indicated to comply with performance requirements, including analysis data and calculations signed and sealed by the qualified professional engineer responsible for their preparation.

1. Design Calculations:  Calculate requirements for seismic restraints.

Remaining paragraphs are defined in Division 01 Section "Submittal Procedures" as "Informational Submittals."

Retain first paragraph below if Drawings do not include detailed plans or if Project involves unusual coordination requirements.

G. Coordination Drawings:  Reflected ceiling plans, drawn to scale, on which the following items are shown and coordinated with each other, based on input from installers of the items involved:

Revise subparagraphs below to suit Project.

1. Suspended ceiling components.

2. Structural members to which suspension systems will be attached.

3. Size and location of initial access modules for acoustical tile.

4. Items penetrating finished ceiling, including the following:

a. Lighting fixtures.

b. HVAC ductwork, outlets, and inlets.

c. Speakers.

d. Sprinklers.

e. Smoke detectors.

f. Access panels.

g. <Insert item>.

5. Plenum [fire] [smoke] [and] [acoustical] barriers.

Revise first paragraph below to suit Project.

H. Setting Drawings:  For embedded items and cutouts required in other work[, including support-beam, mounting-hole template].

Coordinate first paragraph below with qualification requirements in Division 01 Section "Quality Requirements" and as supplemented in "Quality Assurance" Article.

I. Qualification Data:  For qualified [Installer] [and] [testing agency].

Retain first paragraph below if required by seismic criteria applicable to Project.  Coordinate with Sections specifying seismic controls.  See SEI/ASCE 7 for certification requirements for equipment and components.

J. Seismic Qualification Certificates:  For operable panel partitions, accessories, and components, from manufacturer.

1. Basis for Certification:  Indicate whether withstand certification is based on actual test of assembled components or on calculation.

2. Dimensioned Outline Drawings of Equipment Unit:  Identify center of gravity and locate and describe mounting and anchorage provisions.

3. Detailed description of equipment anchorage devices on which the certification is based and their installation requirements.

Retain first paragraph below for material or product certificates from manufacturers.

K. Product Certificates:  For each type of operable panel partition, from manufacturer.

L. Product Test Reports:  Based on evaluation of comprehensive tests performed by a qualified testing agency, for each operable panel partition.

Retain first paragraph below if Contractor is responsible for field quality-control testing and inspecting.

M. Field quality-control reports.

N. Operation and Maintenance Data:  For operable panel partitions to include in maintenance manuals.  In addition to items specified in Division 01 Section "Operation and Maintenance Data," include the following:

1. Panel finish facings and finishes for exposed trim and accessories.  Include precautions for cleaning materials and methods that could be detrimental to finishes and performance.

2. Seals, hardware, track, carriers, and other operating components.

Retain subparagraph below if electric operation is specified.

3. Electric operator.

O. Warranty:  Sample of special warranty.

1.6 QUALITY ASSURANCE

Retain first paragraph below if required for LEED-NC or LEED-CI Credit MR 7.  Before retaining, verify that manufacturers selected comply.

A. Manufacturer Qualifications:  A qualified manufacturer that is certified for chain of custody by an FSC-accredited certification body.

B. Installer Qualifications:  An employer of workers trained and approved by manufacturer.

Retain first paragraph below if Contractor or manufacturer selects testing agency or if Contractor is required to provide services of a qualified testing agency in "Field Quality Control" Article.

C. Testing Agency Qualifications:  Qualified according to Division 01 Section "Quality Requirements" for testing indicated.

Retain first paragraph below if partitions containing wood, wood veneers, or wood-based panel products are required to be certified for LEED-NC or LEED-CI Credit MR 7, which requires that a minimum of 50 percent of wood-based materials be certified.

D. Forest Certification:  Fabricate products with wood, wood veneers, and wood-based panel products produced from wood obtained from forests certified by an FSC-accredited certification body to comply with FSC STD-01-001, "FSC Principles and Criteria for Forest Stewardship."

Revise first paragraph below as required by governing code for partition location, occupancy classification, and whether sprinklered or not.  Verify and insert requirements of authorities having jurisdiction.

IBC requires that textiles used as wall finishes are tested per ASTM E 84 and that there are automatic sprinklers, or that the textiles are tested as intended for use per NFPA 265.

E. Fire-Test-Response Characteristics:  Provide panels with finishes meeting one of the following as determined by testing identical products by UL or another testing and inspecting agency acceptable to authorities having jurisdiction:

1. Surface-Burning Characteristics:  As determined by testing per ASTM E 84.

Retain first option in first subparagraph below for textile-finished (fabric and carpet) panels.

a. Flame-Spread Index:  [25 or less] [26 to 75] [76 to 200].

b. Smoke-Developed Index:  450 or less.

Retain first option in subparagraph below for textile-finished (fabric and carpet) panels.

2. Fire Growth Contribution:  Meeting acceptance criteria of local code and authorities having jurisdiction when tested according to [NFPA 265] [NFPA 286].

Retain first paragraph below for fire-rated panels.  Currently, manufacturers test fire-rated operable panel partitions as "Special-Purpose Fire Doors" per UL 10B.

F. Fire-Rated Door Assemblies:  Comply with NFPA 80, based on testing according to UL 10B.

Revise subparagraph below if applicable and acceptable to authorities having jurisdiction.

1. Oversize Fire-Rated Door Assemblies:  For units exceeding sizes of tested assemblies, provide certification by a testing agency acceptable to authorities having jurisdiction that doors comply with standard construction requirements for tested and labeled fire-rated door assemblies except for size.

Retain first paragraph below if electric operation is specified.

G. Electrical Components, Devices, and Accessories:  Listed and labeled as defined in NFPA 70, by a qualified testing agency, and marked for intended location and application.

Retain paragraph below if Work of this Section is extensive or complex enough to justify a preinstallation conference.

H. Preinstallation Conference:  Conduct conference at [Project site] <Insert location>.

1.7 DELIVERY, STORAGE, AND HANDLING

Retain this article if sequencing of panel facing materials is required, e.g., for matching pattern or grain.

A. Protectively package and sequence panels in order for installation.  Clearly mark packages and panels with numbering system used on Shop Drawings.  Do not use permanent markings on panels.

1.8 PROJECT CONDITIONS

A. Field Measurements:  Verify actual dimensions of operable panel partition openings by field measurements before fabrication.

1.9 WARRANTY

When warranties are required, verify with Owner's counsel that special warranties stated in this article are not less than remedies available to Owner under prevailing local laws.

A. Special Warranty:  Manufacturer's standard form in which manufacturer agrees to repair or replace components of operable panel partitions that fail in materials or workmanship within specified warranty period.

1. Failures include, but are not limited to, the following:

a. Faulty operation of operable panel partitions.

b. Deterioration of metals, metal finishes, and other materials beyond normal wear.

Verify available warranties and warranty periods with manufacturers listed in Part 2 articles.

2. Warranty Period:  [Two] <Insert number> years from date of Substantial Completion.

1.10 EXTRA MATERIALS

A. Furnish extra materials from the same production run that match products installed and that are packaged with protective covering for storage and identified with labels describing contents.

Revise subparagraph below to suit Project.

1. Panel Finish-Facing Material:  Furnish full width in quantity to cover both sides of two panels when installed.

PART 2 -  PRODUCTS

2.1 MATERIALS

Consider deleting this article if products are adequately specified by performance requirements.

Usually retain manufacturer's standard thickness in first paragraph below.  Contact manufacturer for advice on and availability of other options.

A. Steel Frame:  Steel sheet, [manufacturer's standard] [0.0508-inch (1.3-mm)] [0.0641-inch (1.6-mm)] [0.0747-inch (1.9-mm)] <Insert dimension> nominal minimum thickness for uncoated steel.

Usually retain manufacturer's standard thickness in first paragraph below because tested acoustical performance usually dictates core composition including steel sheet thickness.  Contact manufacturer for advice on and availability of other options if impact resistance is a concern.

B. Steel Face/Liner Sheets:  Tension-leveled steel sheet, [manufacturer's standard] [minimum 0.0299-inch (0.75-mm)] [0.0359-inch (0.9-mm)] [0.0478-inch (1.2-mm)] [0.0598-inch (1.5-mm)] [0.0747-inch (1.9-mm)] <Insert thickness> nominal minimum thickness for uncoated steel.

Retain first paragraph below for aluminum-framed panels or frameless (only top and bottom rail) panels.

C. Aluminum:  Alloy and temper recommended by aluminum producer and finisher for type of use, corrosion resistance, and finish indicated; ASTM B 221 (ASTM B 221M) for extrusions; manufacturer's standard strengths and thicknesses for type of use.

1. Frame Reinforcement:  Manufacturer's standard steel or aluminum.

Retain first paragraph below if wood-framed panels are used.  Insert requirements describing fire-retardant-treated wood, if necessary, to suit Project and to comply with requirements of authorities having jurisdiction.  Retain wood or an option for species, verifying availability with manufacturer.

D. Wood Frame:  Clear, vertical-grain, straight, kiln-dried[, fire-retardant-treated] wood; of [manufacturer's standard species.] [one of the following species:] [the following species:]

1. Cherry.

2. Hemlock.

3. Maple.

4. Meranti.

5. Poplar.

6. Red oak.

7. <Insert species>.

Retain any of five paragraphs below for materials included in acoustical or fire-rated panel core and facings.

E. Gypsum Board:  ASTM C 36/C 36M.

F. Cement Board:  ASTM C 1288.

Insert requirements for fire-retardant-treated, wood-based panel products to suit Project in any of three paragraphs below, to comply with requirements of authorities having jurisdiction.  See Division 06 Section "Rough Carpentry."

G. Plywood:  DOC PS 1.

H. Particleboard:  ANSI A208.1[, made with binder containing no urea formaldehyde].

If retaining paragraph above or below and low-emitting materials are required for LEED-NC or LEED-CI Credit EQ 4.4, retain option prohibiting urea formaldehyde.

I. Medium-Density Fiberboard:  ANSI A208.2[, made with binder containing no urea formaldehyde].

Delete article below if only operable fire-rated panels or operable glass panels are required.

2.2 OPERABLE ACOUSTICAL PANELS

A. Operable Acoustical Panels:  Operable acoustical panel partition system, including panels, seals, finish facing, suspension system, operators, and accessories.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain one of two subparagraphs and list of manufacturers below.  See Division 01 Section "Product Requirements."

1. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product:  Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. Advanced Equipment Corporation.

b. Curtition, Inc.

c. FolDoor; Holcomb & Hoke Mfg. Co., Inc.

d. Hufcor.

e. KWIK-WALL Company.

f. Moderco Inc.

g. Modernfold, Inc.; a DORMA Group Company.

h. Panelfold Inc.

i. <Insert manufacturer's name>.

B. Panel Operation:  [Manually operated, individual] [Manually operated, paired] [Manually operated, continuously hinged] [Electrically operated, continuously hinged] panels.

C. Panel Construction:  Provide top reinforcement as required to support panel from suspension components and provide reinforcement for hardware attachment.  Fabricate panels with tight hairline joints and concealed fasteners.  Fabricate panels so finished in-place partition is rigid; level; plumb; aligned, with tight joints and uniform appearance; and free of bow, warp, twist, deformation, and surface and finish irregularities.

D. Dimensions:  Fabricate operable acoustical panel partitions to form an assembled system of dimensions indicated and verified by field measurements.

In subparagraph below, second and third options would be a custom-sized product.  Before retaining either option, verify cost and availability with manufacturer.

1. Panel Width:  [Standard widths] [Equal widths] [As indicated].

E. STC:  Not less than [38] [41] [45] [47] [50] [52] [54] <Insert STC rating>.

NRC ratings are not available from all manufacturers.  Verify that NRC rating is suitable for Project if retaining first paragraph below.

F. NRC:  Not less than [0.50] [0.60] [0.65] [0.90] <Insert NRC rating>.

G. Panel Weight:  [8 lb/sq. ft. (40 kg/sq. m)] [10 lb/sq. ft. (50 kg/sq. m)] [12 lb/sq. ft. (59 kg/sq. m)] <Insert weight> maximum.

Panel weight in paragraph above and thickness in first paragraph below may not correlate with acoustical performance.  If retaining, verify with manufacturer.

H. Panel Thickness:  Not less than [3 inches (75 mm)] [3-1/2 inches (89 mm)] [4 inches (102 mm)] <Insert dimension>.

I. Panel Closure:[  Manufacturer's standard.]

Retain one or both subparagraphs below to suit Project, or delete both and retain option in paragraph above if manufacturer's standard is acceptable.  Coordinate with finish facing specified.

1. Initial Closure:  [Flexible, resilient PVC, bulb-shaped acoustical seal] [Fixed jamb] [As indicated] <Insert description>.

Examples of closure methods in subparagraph below are arranged in order of decreasing effectiveness for acoustical isolation.

2. Final Closure:  [Constant-force, lever-operated mechanical closure expanding from panel edge to create a constant-pressure acoustical seal] [Hinged jamb closure] [Hinged communicating panel] [Fixed jamb] [Angle jamb] [Flexible, resilient PVC, bulb-shaped acoustical seal] <Insert description>.

Retain and revise paragraph below as applicable to Project.  Revise below to specify another hardware finish to suit Project.

J. Hardware:  Manufacturer's standard as required to operate operable panel partition and accessories; with decorative, protective finish.

In first subparagraph below, verify availability of concealed hinges with manufacturer.  These hinges are invisible when panels are aligned.

1. Hinges:  [Manufacturer's standard] [Concealed (invisible)] <Insert type>.

2. Exit Device:  [Manufacturer's standard] <Insert type>.

3. <Insert hardware requirement>.

Delete article below if only operable acoustical panels or operable glass panels are required.

2.3 OPERABLE FIRE-RATED PANELS

A. Operable Fire-Rated Panels:  Operable fire-rated acoustical panel partition system, including panels, seals, finish facing, suspension system, operators, and accessories.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain one of two subparagraphs and list of manufacturers below.  See Division 01 Section "Product Requirements."

1. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product:  Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. Advanced Equipment Corporation.

b. Hufcor.

c. Modernfold, Inc.; a DORMA Group Company.

d. Panelfold Inc.

e. <Insert manufacturer's name>.

B. Panel Operation:  [Manually operated, individual] [Manually operated, paired] panels.

C. Panel Construction:  Provide top reinforcement as required to support panel from suspension components and provide reinforcement for hardware attachment.  Fabricate panels with tight hairline joints and concealed fasteners.  Fabricate panels so finished in-place partition is rigid; level; plumb; aligned, with tight joints and uniform appearance; and free of bow, warp, twist, deformation, and surface and finish irregularities.

D. Dimensions:  Fabricate operable fire-rated panel partitions to form an assembled system of dimensions indicated and verified by field measurements.

In subparagraph below, second and third options would be a custom-sized product.  Before retaining either option, verify cost and availability with manufacturer.

1. Panel Width:  [Standard widths] [Equal widths] [As indicated].

E. Fire Rating:  [1 hour] [2 hours].

F. STC:  Not less than [38] [41] [45] [47] [50] [52] [54] <Insert STC rating>.

NRC ratings are not available from all manufacturers.  Verify that NRC rating is suitable for Project if retaining first paragraph below.

G. NRC:  Not less than [0.50] [0.60] [0.65] [0.90] <Insert NRC rating>.

H. Panel Weight:  [8 lb/sq. ft. (40 kg/sq. m)] [10 lb/sq. ft. (50 kg/sq. m)] [12 lb/sq. ft. (59 kg/sq. m)] <Insert weight> maximum.

Panel weight in paragraph above and thickness in first paragraph below may or may not correlate with acoustical performance.  If retaining, verify with manufacturer.

I. Panel Thickness:  Not less than [3 inches (75 mm)] [3-1/2 inches (89 mm)] [4 inches (102 mm)] <Insert dimension>.

J. Panel Closure:[  Manufacturer's standard fire-rated closure.]

Retain one or both subparagraphs below to suit Project, or delete both and retain option in paragraph above if manufacturer's standard is acceptable.  Coordinate with finish facing specified.

1. Initial Closure:  [Flexible, resilient PVC, bulb-shaped acoustical seal] [Fixed jamb] [As indicated] <Insert description>.

Examples of closure methods in subparagraph below are arranged in order of decreasing effectiveness for acoustical isolation.

2. Final Closure:  Fire-rated, [constant-force, lever-operated mechanical closure expanding from panel edge to create a constant-pressure acoustical seal] [hinged jamb closure] [hinged communicating panel] [fixed jamb] [angle jamb] [flexible, resilient PVC, bulb-shaped acoustical seal] <Insert description>.

Retain and revise paragraph below as applicable to Project.  Revise below to specify another hardware finish to suit Project.

K. Hardware:  Manufacturer's standard as required to operate fire-rated operable panel partition and accessories; with decorative, protective finish.

In first subparagraph below, verify availability of fire-rated concealed hinges with manufacturer.  These hinges are invisible when panels are aligned.

1. Hinges:  [Manufacturer's standard] [Concealed (invisible)] <Insert type>.

2. Exit Device:  [Manufacturer's standard] <Insert type>.

3. <Insert hardware requirement>.

Delete article below if only operable acoustical panels or operable fire-rated panels are required.

2.4 OPERABLE GLASS PANELS

A. Operable Glass Panels:  Operable [frameless aluminum] [aluminum-framed] [wood-framed] glass panel partition system[ with acoustical properties], including panels, [seals, ]suspension system, operators, and accessories.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain one of two subparagraphs and list of manufacturers below.  See Division 01 Section "Product Requirements."

1. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product:  Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. Hufcor.

b. KWIK-WALL Company.

c. Modernfold, Inc.; a DORMA Group Company.

d. Nana Wall Systems, Inc.

e. <Insert manufacturer's name>.

B. Panel Operation:  [Manually operated, individual] [Manually operated, paired] [Manually operated, continuously hinged] panels.

C. Panel Construction:  Manufacturer's standard glazed panels, reinforced as required to support panel from suspension components and with reinforcement for hardware attachment.  Fabricate panels with tight hairline joints and concealed fasteners.  Fabricate panels so finished in-place partition is rigid; level; plumb; aligned, with tight joints and uniform appearance; and free of bow, warp, twist, deformation, and surface and finish irregularities.

1. Factory-Glazed Fabrication:  Glaze operable glass panels in the factory where practical and possible for applications indicated.  Comply with manufacturer's written requirements and with requirements in Division 08 Section "Glazing."

D. Glass and Glazing:[  See Division 08 Section "Glazing."]

Retain option in paragraph above or retain three subparagraphs below and revise to suit Project.  Retain option above if all glass is specified in Division 08 Section "Glazing." Retain three subparagraphs below if glass and glazing requirements or custom requirements for glass panel partitions are specified in this Section.

Generally retain first subparagraph below.  Model codes such as IBC require glass used in operable partitions and communicating pass doors to be safety glass per 16 CFR 1201.  Verify the safety-glass requirements of authorities having jurisdiction.

1. Safety Glass:  Provide glass products complying with testing requirements in 16 CFR 1201, for Category II materials, unless those of Category I are expressly indicated and permitted.

2. Glass:  [Manufacturer's standard] [Custom] glass and glass assemblies as indicated and complying with [the following] [requirements in Division 08 Section "Glazing," and as follows]:

In first four subparagraphs below, retain and revise as needed those glass types required.  Verify availability of selected options with manufacturer.

a. Tempered Glass:  ASTM C 1048, Kind FT (fully tempered), Type I (transparent flat glass), [Class 1 (clear)] [Class 2 (tinted)], Quality-Q3.

b. Tempered Patterned Glass:  ASTM C 1048, Kind FT (fully tempered), Type II (patterned flat glass), Class 1 (clear), Form 3 (patterned); and of quality, finish, and pattern specified.

c. Laminated Glass:  ASTM C 1172, with [clear] [colored] [patterned] [graphic] <Insert requirement> interlayer.

1) Annealed Float Glass:  ASTM C 1036, Type I (transparent flat glass), [Class 1 (clear)] [Class 2 (tinted)], Quality-Q3.

2) Patterned Glass:  ASTM C 1036, Type II (patterned and wired flat glass), Class 1 (clear), Form 3 (patterned); and of quality, finish, and pattern specified.

Retain first subparagraph below if required by manufacturer for acoustical reasons.

d. Insulating-Glass Units:  Factory-assembled units consisting of sealed lites of glass as indicated, separated by a dehydrated interspace, and complying with ASTM E 774 for Class CBA units.

1) Spacer Specifications:  Manufacturer's standard spacer material and construction.

Retain last subparagraph above or first subparagraph below.  Retain below if requiring a specific spacer material and construction.

2) Spacer Specifications:  Manufacturer's standard spacer construction and material as follows:  [Aluminum with mill or clear anodic finish] [Aluminum with black, color anodic finish] [Aluminum with bronze, color anodic finish] [Aluminum with powdered-metal paint finish in color selected by Architect] [Galvanized steel] [Stainless steel] <Insert material>.

e. Glass Thickness:  [Manufacturer's standard thickness for indicated requirements] [As indicated] [1/4 inch (6 mm)] [3/8 inch (10 mm)] [1 inch (25 mm)] [2-1/4 inches (57 mm)] <Insert thickness>.

Retain first subparagraph below for frameless glass.

f. Glass Vertical Edge:  [Polished] [Manufacturer's standard, permanently adhered edge trim] <Insert description>.

3. Glazing System:  [Manufacturer's standard factory-glazing system] [Manufacturer's standard factory-glazing system that produces acoustical seal] [Manufacturer's standard factory-glazing system as indicated] <Insert glazing requirements>.

E. Dimensions:  Fabricate operable glass panel partitions to form an assembled system of dimensions indicated and verified by field measurements.

In subparagraph below, second and third options would be a custom-sized product.  Before retaining either option, verify cost and availability with manufacturer.

1. Panel Width:  [Standard widths] [Equal widths] [As indicated].

F. STC:  Not less than [36] [41] [46] [48] <Insert STC rating>.

In first paragraph below, use weight accommodated in structural calculations and as appropriate for panel assembly and glass selected.

G. Panel Weight:  [8 lb/sq. ft. (40 kg/sq. m)] [20 lb/sq. ft. (98 kg/sq. m)] <Insert weight> maximum.

H. Panel Frame Thickness:  Maximum [1-7/8 inches (48 mm)] [2-1/4 inches (57 mm)] [3-3/4 inches (96 mm)] <Insert dimension>.

I. Panel Closure:  [Manufacturer's standard] <Insert description>.

Revise first paragraph below to specify another hardware finish to suit Project.

J. Hardware:  Manufacturer's standard as required to operate operable panel partition and accessories; with decorative, protective finish.

Revise paragraph below for each finish required.  Verify with manufacturer availability of each finish retained.

K. Finishes:

1. Exposed Metal:  [Match Architect's sample] [As selected by Architect from manufacturer's full range] as follows:

a. Aluminum:  [Clear anodized] [Light bronze anodized] [Medium bronze anodized] [Dark bronze anodized] [Black anodized] [Baked powder coating] <Insert finish>.

b. Metal-Clad Aluminum:  [Satin stainless steel] [Polished stainless steel] [Satin brass] [Polished brass] [Satin bronze] [Polished bronze] <Insert finish>.

2. Wood Finish:  [Match Architect's sample] [As selected by Architect from manufacturer's full range], as follows:

a. Type:  [Transparent finish] [Transparent finish over stain] <Insert finish> over wood variety indicated.

Retain "Wood Finish" Subparagraph above or below and revise to suit Project if wood-framed panels are required.  Retain below if requiring a specific wood finish matching other Project work.  Replace optional section with section where wood finish is specified.

3. Wood Finish:  [As specified in Division 09 Section "Staining and Transparent Finishing."] <Insert description.>

2.5 SEALS

Retain this article for operable panels with acoustical properties.

A. General:  Provide types of seals indicated that produce operable panel partitions complying with [acoustical] [and fire-resistive] performance requirements and the following:

1. Manufacturer's standard seals.

2. Seals made from materials and in profiles that minimize sound leakage.

3. Seals fitting tight at contact surfaces and sealing continuously between adjacent panels and between operable panel partition perimeter and adjacent surfaces, when operable panel partition is extended and closed.

Retain option in first paragraph below only for fire-rated panels.

B. Vertical Seals:  Deep-nesting, interlocking[ steel] astragals mounted on each edge of panel, with continuous PVC acoustical seal.

If different STC-rated partitions are required to suit Project and, consequently, more than one description of horizontal top and bottom seals is needed, revise one or both paragraphs below.

C. Horizontal Top Seals:

Retain one of three subparagraphs below.

1. Continuous-contact, extruded-PVC seal exerting uniform constant pressure on track.

2. PVC-faced, mechanical, retractable, constant-force-contact seal exerting uniform constant pressure on track when extended.

3. Continuous-contact, extruded-PVC seal exerting uniform constant pressure on track or PVC-faced, mechanical, retractable, constant-force-contact seal exerting uniform constant pressure on track when extended.

Revise paragraph below if continuous-contact seals meet acoustical performance requirements and suit Project and product.  Horizontal bottom seals correlate with STC values.

D. Horizontal Bottom Seals:  PVC-faced, mechanical, retractable, constant-force-contact seal exerting uniform constant pressure on floor when extended, ensuring horizontal and vertical sealing and resisting panel movement.

Retain one type of retractable bottom seal from three subparagraphs below.  Verify with manufacturer and revise clearance dimensions as required to accommodate anticipated structure and floor deflections and irregularities.  Note that 6-inch (152-mm) seals are not available for fire-rated operable panels.

1. Mechanically Operated for Acoustical Panels:  Extension and retraction of bottom seal by operating handle or built-in operating mechanism, with operating range not less than [1-1/2 inches (38 mm)] [2 inches (50 mm)] [4 inches (102 mm)] [6 inches (152 mm)] between retracted seal and floor finish.

2. Mechanically Operated for Fire-Rated Panels:  Extension and retraction of bottom seal by operating handle or built-in operating mechanism, with operating range not less than [1-1/2 inches (38 mm)] [2 inches (50 mm)] [4 inches (102 mm)] between retracted seal and floor finish.

3. Automatically Operated for Acoustical Panels:  Extension and retraction of bottom seal automatically operated by movement of partition, with operating range not less than [1 inch (25 mm)] [1-1/2 inches (38 mm)] [2 inches (50 mm)] between retracted seal and floor finish.

Delete article below if only operable glass panels are required.

2.6 FINISH FACING

Retain and revise this article to suit Project.  If panels are unfinished for field finishing, consult manufacturers.

A. General:  Provide finish facings for panels that comply with indicated fire-test-response characteristics and that are factory applied to operable panel partitions with appropriate backing, using mildew-resistant nonstaining adhesive as recommended by facing manufacturer's written instructions.

First two subparagraphs below include options suitable for carpet, fabric, and vinyl-coated fabric.  Revise to suit type of facing retained.  Manufacturers' facings are usually seamless, depending on panel dimensions.  Owner-furnished material may require joints or seams.

1. Apply[ one-piece, seamless] facings free of air bubbles, wrinkles, blisters, and other defects, [with edges tightly butted, and] [with invisible seams complying with Shop Drawings for location, and] with no gaps or overlaps.  Horizontal [butted edges] [seams] are not permitted.  Tightly secure and conceal raw and selvage edges of facing for finished appearance.

Retain first option in first subparagraph below for carpet, fabric, and vinyl-coated fabric if applicable.  Manufacturers' standard facings are typically nondirectional.  Retain second option for wood veneer.  If needed, insert requirements for matching pattern of facing on permanent walls or for matching wood-veneer pattern.

2. Where facings with [directional or repeating patterns or directional weave] [directional, repeating, or matching grain] are indicated, mark facing top and attach facing in same direction.

3. Match facing pattern 72 inches (1830 mm) above finished floor.

4. Color/Pattern:  [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert manufacturer's name and designation for color and pattern>.

Retain panel facing from first seven paragraphs below or insert another material.  Facings must have approval of authorities having jurisdiction for fire-test-response characteristics.

B. Vinyl-Coated Fabric Wall Covering:  Manufacturer's standard, mildew-resistant, washable, vinyl-coated fabric wall covering; complying with CFFA-W-101-D for type indicated; Class A.

1. Total Weight:  <Insert weight>.

Treatment in subparagraph below is integral to standard and upgraded, vinyl-coated fabric wall coverings available from most manufacturers and may be required to suit Project.  If needed, insert additional requirements for other treatments after verifying availability with manufacturers.

2. Antimicrobial Treatment:  Additives capable of inhibiting growth of bacteria, fungi, and yeasts.

Revise first paragraph below to suit Project.  Option below is an example of standard carpet wall covering, with total weight not less than 23 oz./linear yd. (713 g/linear m), available from some manufacturers.

C. Carpet Wall Covering:  Manufacturer's standard[ nonwoven, needle-punched carpet with fibers fused to backing], from same dye lot, treated to resist stains.

Retain one option in first paragraph below to suit Project.

D. Fabric Wall Covering:  [Manufacturer's standard fabric] [100 percent polyolefin woven fabric] <Insert fabric description>, from same dye lot, treated to resist stains.

E. High-Pressure Decorative Laminate:  NEMA LD 3, Horizontal grade.

Retain first paragraph below only if wood-veneer-faced panels comply with requirements of authorities having jurisdiction.  Revise to suit Project.  See the Evaluations and those in Division 06 Section "Interior Architectural Woodwork" for further discussion.

F. Wood Veneer:  Laminated to [noncombustible] [fire-retardant-treated wood] core with moisture-resistant adhesive, of wood species indicated.

1. Wood Finish:  [Match Architect's sample] [As selected by Architect from manufacturer's full range], as follows:

a. Type:  [Transparent finish] [Transparent finish over stain] <Insert finish> over wood variety indicated.

Retain "Wood Finish" Subparagraph above or below and revise to suit Project if wood-framed panels are required.  Retain below if requiring a specific wood finish matching other Project work.  Replace optional section with section where wood finish is specified.

2. Wood Finish:  [As specified in Division 09 Section "Staining and Transparent Finishing."] <Insert description.>

If retaining second option in paragraph above, insert requirements here describing fire-retardant-treated wood, to suit Project and product and to comply with requirement of authorities having jurisdiction.

G. Paint:  Manufacturer's standard factory-painted finish.

1. Color:  [As indicated] [As selected by Architect] <Insert requirement>.

Retain first paragraph below and insert requirements for Owner-furnished material.  If known, insert manufacturer's pattern name and number, width, and frequency of pattern repeat if applicable.  If needed, insert backing requirements, which vary depending on facing material and manufacturer.

Owner-furnished materials must be acceptable to operable panel partition manufacturer for fabrication and acoustical performance characteristics and to authorities having jurisdiction for materials' fire-test-response characteristics.  If using Owner-furnished material, consider inserting a submittal in Part 1 requiring a signed letter of approval from panel manufacturer accepting the specified material and acknowledging that it is suitable and will provide successful in-service performance for application indicated.

H. Facing Materials:  Owner furnished[.][ as follows:]

Retain panel-edge trim method in one of two paragraphs below to suit Project.

I. Cap-Trimmed Edges:  Protective perimeter-edge trim with tight hairline joints concealing edges of panel and finish facing, finished as follows:

Retain one of two subparagraphs below.

1. Steel, Painted:  Finished with manufacturer's standard [neutral color] [Matching Architect's sample] [As selected by Architect from manufacturer's full range].

2. Aluminum:  Alloy and temper recommended by aluminum producer and finisher for type of use and finish indicated, and with not less than the strength and durability properties of alloy and temper required to comply with performance requirements; and with manufacturer's standard [mill] [clear anodic] [color anodic] finish.

Trimless edges are typically standard on fire-rated panels from all manufacturers.

J. Trimless Edges:  Fabricate exposed panel edges so finish facing wraps uninterrupted around panel, covering edge and resulting in an installed partition with facing visible on vertical panel edges, without trim, for minimal sightlines at panel-to-panel joints.

2.7 SUSPENSION SYSTEMS

If more than one track type is suitable for partition products selected, copy this article and re-edit it to suit Project.

A. Suspension Tracks:  Steel or aluminum [mounted directly to overhead structural support,] [with adjustable steel hanger rods for overhead support,] designed for type of operation, size, and weight of operable panel partition indicated.  Size track to support partition operation and storage without damage to suspension system, operable panel partitions, or adjacent construction.  Limit track deflection to no more than 0.10 inch (2.54 mm) between bracket supports.  Provide a continuous system of track sections and accessories to accommodate configuration and layout indicated for partition operation and storage.

Retain first subparagraph below for continuously hinged panels and possibly for paired panels.

1. Panel Guide:  Aluminum; finished with factory-applied, decorative, protective finish.

Retain subparagraph below if required by manufacturer for maximum sound control.  Trim also protects overhead surfaces.  Indicate trim on Drawings.

2. Head Closure Trim:  As required for acoustical performance; [with factory-applied, decorative, protective finish] [primed for field finish].

B. Carriers:  Trolley system as required for configuration type, size, and weight of partition and for easy operation; with ball-bearing wheels.

Retain subparagraph below only for operable panel partitions configured from individual panels.

1. Multidirectional Carriers:  Capable of negotiating 90-degree L, T, and X intersections without track switches.

Revise first paragraph below to suit Project and product.  Retain applicable track intersections and switch types in first five subparagraphs below and indicate on Drawings; delete if not required.

C. Track Intersections, Switches, and Accessories:  As required for type of operation, storage, track configuration, and layout indicated for operable panel partitions, and compatible with partition assembly specified.  Fabricate track intersections and switches from steel or aluminum.

1. Curve-and-Diverter Switches:  Allowing radius turns to divert panels to an auxiliary track.

2. L Intersections:  Allowing panels to change 90 degrees in direction of travel.

3. T Intersections:  Allowing panels to pass through or change 90 degrees to another direction of travel.

4. X Intersections:  Allowing panels to pass through or change travel direction full circle in 90-degree increments, and allowing 1 partition to cross track of another.

L, T, and X intersections in last three subparagraphs above can be tracks configured for traveling by multidirectional carriers or can be switches for traveling by standard carriers with vertical wheels.  Switches in subparagraph below are used only with standard carriers.

5. Multidirectional Switches:  Adjustable switch configuring track into L, T, or X intersections and allowing panels to be moved in all pass-through, 90-degree change, and cross-over travel direction combinations.

If a biparting opening is required, the center carrier stop in subparagraph below is often required.  Consult manufacturer for details.

6. Center carrier stop.

D. Aluminum Finish:  Mill finish or manufacturer's standard, factory-applied, decorative finish unless otherwise indicated.

E. Steel Finish:  Manufacturer's standard, factory-applied, corrosion-resistant, protective coating unless otherwise indicated.

2.8 ELECTRIC OPERATORS

Retain this article if partition is electrically operated.

A. General:  Provide factory-assembled electric operation system of size and capacity recommended and provided by operable panel partition manufacturer for partition specified; with electric motor and factory-prewired motor controls, speed reducer, chain drive, remote-control stations, control devices, and accessories required for proper operation.  Include wiring from motor control to motor.  Coordinate operator wiring requirements and electrical characteristics with building electrical system.

B. Comply with NFPA 70.

C. Control Equipment:  Complying with NEMA ICS 1, NEMA ICS 2, and NEMA ICS 6.

D. Motor Characteristics:  Sufficient to start, accelerate, and operate connected loads at designated speeds, within installed environment, with indicated operating sequence, and without exceeding nameplate rating or considering service factor.  Comply with NEMA MG 1[ and the following:][.]

If manufacturer's standard motor is acceptable, delete seven subparagraphs below and first option in paragraph above.  If different characteristics are required, add subparagraphs to suit Project.

1. Voltage:  [120 V] [208-220 V] [NEMA standard voltage selected to operate on nominal circuit voltage to which motor is connected] <Insert voltage>.

2. Horsepower:  [1/4] [1/3] [3/4] [Manufacturer's standard] <Insert number>.

3. Efficiency:  [Standard] [Premium].

4. Enclosure:  [Open dripproof] [Totally enclosed] [Manufacturer's standard].

5. Duty:  Continuous duty at ambient temperature of 105 deg F (40 deg C) and at altitude of 3300 feet (1005 m) above sea level.

6. Service Factor:  1.15 for open dripproof motors; 1.0 for totally enclosed motors.

7. Phase:  [Single] [Polyphase].

E. Remote-Control Stations:  Two single-key-operated, constant-pressure control stations located remotely from each other on opposite sides and opposite ends of partition run.  Wire in series to require simultaneous activation of both key stations to operate partition.  Each three-position control station labeled "Open," "Close," and "[Off] [Stop]."  Provide two keys per station.

F. Obstruction-Detection Devices:  Provide each motorized operable panel partition with automatic safety sensor indicated, that causes operator to immediately [shut off motor] [stop and reverse direction].

Retain applicable safety features in three subparagraphs below or insert others.  Verify features required with authorities having jurisdiction.

1. Sensor Edge:  Contact-pressure-sensitive safety edge along partition's leading edge.

2. Sensor Mat:  Electrically operated, contact-weight-sensitive safety mat in storage pocket area.

Infrared sensor system in subparagraph below is only available from some manufacturers.

3. Infrared Sensor System:  Designed to detect an obstruction in partition's path and sound an audible alarm, without obstruction contacting partition.

G. Limit Switches:  Adjustable switches, interlocked with motor controls and set to automatically stop operable panel partition at fully extended and fully stacked positions.

Mechanism in paragraph below is usually located in storage pocket, which may impede access when panels are stacked.  Insert requirements below for providing mechanism at another location and verify availability with manufacturers.

H. Emergency Release Mechanism:  Quick disconnect-release of electric-motor drive system, permitting manual operation in event of operating failure.

2.9 ACCESSORIES

Retain any of eight paragraphs in this article to suit Project; delete if not applicable.

A. Pass Doors:  Fabricated to comply with recommendations in [ICC/ANSI A117.1] [the U.S. Architectural & Transportation Barriers Compliance Board's ADA-ABA Accessibility Guidelines] <Insert requirements of authorities having jurisdiction>.  Swinging door built into and matching panel [materials,] [construction,] [acoustical qualities,] [fire rating] finish, and thickness, complete with frames and operating hardware.  Hinges finished to match other exposed hardware.

Revise description in paragraph above to suit Project and product.  If pass doors with matching materials, construction, and acoustical qualities are not suitable for Project, e.g., gypsum-faced pass doors, insert other requirements.

Some low- to medium-STC-rated partitions use hollow-core metal or wood pass doors that may be heavier, more durable, and more abuse resistant than doors constructed the same as partitions.  Hollow-core pass doors may also decrease a partition's acoustical performance ratings and be unfinished, requiring field finishing.

Partitions less than 96 inches (2438 mm) in height may not accommodate a pass door.

Two subparagraphs below are examples of available door dimensions; revise to suit Project.  Door sizes vary among manufacturers.

1. Single Pass Door:  [36 by 80 inches (914 by 2032 mm)] [36 by 84 inches (914 by 2134 mm)], with the following:

2. Double Pass Door:  [72 by 80 inches (1829 by 2032 mm)] [72 by 84 inches (1829 by 2134 mm)], with the following:

Eight subparagraphs below can be used with either type of pass door above.

a. Door Seals:  [Mechanically operated floor seal on panels containing pass doors] [Sweep floor seals].

Retain applicable subparagraphs below to suit Project.

b. [Panic] [Fire] exit device.

c. Concealed door closer.

d. Door Viewer:  Installed with view in direction of swing.

e. Exit Sign:  Recessed, self-illuminated.

f. Latchset:  Passage set.

Retain subparagraph above or one of two subparagraphs below.

g. Lock:  Key-operated lock cylinder[, keyed to master key system,] operable from both sides of door.  Include two keys per lock.

h. Lock:  Deadlock to receive cylinder, operable from both sides of door.  Refer to Division 08 door hardware Sections for lock cylinder and keying requirements.

B. Storage Pocket Door:  Full height at end of partition runs to conceal stacked partition; of same materials, finish, construction, thickness, and acoustical qualities as panels; complete with operating hardware[ and acoustical seals at soffit, floor, and jambs].  Hinges in finish to match other exposed hardware.

Retain one of three subparagraphs below.

1. Manufacturer's standard method to secure storage pocket door in closed position.

2. Rim Lock:  Key-operated lock cylinder[, keyed to master key system,] to secure storage pocket door in closed position.  Include two keys per lock.

Rim lock in subparagraph below may be desirable in certain situations such as schools.

3. Rim Lock:  Deadlock to receive cylinder, to secure storage pocket door in closed position.  Refer to Division 08 door hardware Sections for lock cylinder and keying requirements.

Retain first paragraph below if electric operation is specified.

C. Electric Interlock:  Provide each motorized operable panel partition with electric interlocks at locations indicated, to prevent operation of operable panel partition under the following conditions:

1. On storage pocket door, to prevent operation if door is not in fully open position.

2. On partitions at location of convergence by another partition, to prevent operation if merging partitions are in place.

If retaining first paragraph below, show materials, frame profile, elevation, and size on Drawings.

D. Windows:  [Manufacturer's standard] [As indicated].

E. Work Surfaces:  Quantities, placement, and size indicated.

Retain applicable requirements in four subparagraphs below, or revise or insert others to suit Project.  See Evaluations.

1. Surface:  [Porcelain steel marker/projection surface] [Self-healing, tackable, vinyl-coated fabric wall covering, complying with CFFA-W-101-D, Type II, and indicated fire-test-response characteristics; laminated to natural cork tackboard] <Insert description>.

2. Surface Color:  [Matching Architect's sample] [As selected by Architect from manufacturer's full range] <Insert manufacturer's designation for color>.

Retain first subparagraph below if retaining marker/projection surface or similar product above.  Verify size limitations with manufacturer.  If retaining first option below, verify joint pattern and indicate on Drawings.  If retaining more than one size, indicate location of each on Drawings.

3. Size:  [Full width and height of panel] [Full width of panel by 48 inches (1219 mm)] [48 by 48 inches (1219 by 1219 mm)] [As indicated on Drawings] <Insert dimensions>.

4. Trim:  [Aluminum slip-on or snap-on trim with no visible screws or exposed joints and with corners mitered to a neat, hairline joint] <Insert description>.

F. Chalk Tray[ and Eraser Pocket]:  Manufacturer's standard.

1. Aluminum with [mill] [clear anodic] [color anodic] finish.

G. Chair Rails:  <Insert material, finish, dimensions, and other characteristics not indicated on Drawings.> [Recessed] [Surface mounted] in locations indicated on Drawings.

Retain paragraph below only for frameless operable glass panels with vertical edge trim.

H. Vertical Edge Trim:  Manufacturer's standard [transparent] [thin aluminum astragal] trim to protect vertical edges of glass in frameless panels.

PART 3 -  EXECUTION

3.1 EXAMINATION

A. Examine flooring, structural support, and opening, with Installer present, for compliance with requirements for installation tolerances and other conditions affecting performance of operable panel partitions.

B. Proceed with installation only after unsatisfactory conditions have been corrected.

3.2 INSTALLATION

A. General:  Comply with ASTM E 557 except as otherwise required by operable panel partition manufacturer's written installation instructions.

B. Install operable panel partitions and accessories after other finishing operations, including painting, have been completed.

Retain first paragraph below if retaining "Delivery, Storage, and Handling" Article.

C. Install panels from marked packages in numbered sequence indicated on Shop Drawings.

D. Broken, cracked, chipped, deformed, or unmatched panels are not acceptable.

E. Broken, cracked, deformed, or unmatched gasketing or gasketing with gaps at butted ends is not acceptable.

3.3 ADJUSTING

A. Adjust operable panel partitions to operate smoothly, without warping or binding.  Lubricate hardware[, electric operator,] and other moving parts.

B. Adjust [pass doors] [and] [storage pocket doors] to operate smoothly and easily, without binding or warping.  Check and readjust operating hardware.  Confirm that latches and locks engage accurately and securely without forcing or binding.

3.4 FIELD QUALITY CONTROL

Retain this article if sound control is critical.  NIC testing may be cost prohibitive or not practical for panels with an STC rating less than 48.  If retaining, review with Owner and edit to suit Project.  Coordinate with testing requirements in Division 01 to avoid conflicts.  Installer should conduct a light-leakage test at completion of installation, and prior to NIC testing, to correct alignment of vertical joints and top and bottom seals.

Retain first paragraph below for light-leakage testing that should be done prior to NIC testing.

A. Light-Leakage Test:  Illuminate one side of partition installation and observe vertical joints and top and bottom seals for voids; adjust partitions for acceptable fit.

NIC is an in-place, field-test value and does not directly correlate with laboratory STC values, generally being 5 to 10 points lower than laboratory STC values.  A measure of the relative acoustical isolation of spaces separated by partitions, NIC is affected by opening width and height, room finishes, floor finishes, pass doors, and flanking paths.  NIC is appropriate for partitions with an STC rating of 48 or higher.

Retain first paragraph below to identify who shall perform tests and inspections.  If retaining second option, retain "Field quality-control reports" Paragraph in "Submittals" Article.

B. NIC Testing:  [Owner will engage] [Engage] a qualified testing agency to perform tests and inspections.

C. Testing Methodology:  Perform testing of installed operable panel partition for noise isolation according to ASTM E 336, determined by ASTM E 413, and rated for not less than NIC indicated.  Adjust and fit partitions to comply with NIC test method requirements.

Revise first three paragraphs below to suit Project.  Revise first paragraph to list actual panels to be tested.

D. Testing Extent:  Testing agency shall randomly select [one] <Insert number> operable panel partition installation(s) for testing.

E. Repair or replace operable panel partitions that do not comply with requirements.

F. Additional testing and inspecting, at Contractor's expense, will be performed to determine compliance of repaired, replaced, or additional work with specified requirements.

G. Prepare test and inspection reports.

3.5 CLEANING

A. Clean soiled surfaces of operable panel partitions to remove dust, loose fibers, fingerprints, adhesives, and other foreign materials according to manufacturer's written instructions.

3.6 DEMONSTRATION

A. Engage a factory-authorized service representative to train Owner's maintenance personnel to adjust, operate, and maintain operable panel partitions.

END OF SECTION 102226

OPERABLE PARTITIONS
102226 - 1

