Copyright 2002 and 2005 AIA
MASTERSPEC Full Length
08/02 (R 05/05)

Copyright 2002 and 2005 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 114000 - FOODSERVICE EQUIPMENT
This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 01 Specification Sections, apply to this Section.

1.2 SUMMARY

A. This Section includes equipment for foodservice facilities indicated on the Drawings.

Retain first paragraph below if foodservice equipment items are Owner furnished or revise to suit Project.

B. Owner-Furnished Equipment:  Where indicated, Owner will furnish equipment items.

C. Related Sections include the following:

List below only products and equipment that the reader might expect to find in this Section but are specified elsewhere.

1. Division 03 Section "Cast-in-Place Concrete" for the following:

a. Equipment bases.

b. Requirements for slab depressions.

c. Insulated slabs beneath walk-in refrigeration units.

d. <Insert requirements.>

2. Division 05 Section "Metal Fabrications" for equipment supports.

3. Division 06 Section "Interior Architectural Woodwork" for custom casework and countertops.

4. Division 07 Section "Roof Accessories" for roof curbs and equipment supports.

Retain first subparagraph below if field-installed floor finishes are required for walk-in refrigeration units.

5. Division 09 Section "Tiling" for floor finishes in walk-in refrigeration units.

6. Division 21, 22, and 23 Sections for supply and exhaust fans; exhaust ductwork; service roughing-ins; drain traps; atmospheric vents; valves, pipes, and fittings; fire-extinguishing systems; and other materials required to complete foodservice equipment installation.

7. Division 23 Section "Air Curtains" for air curtains protecting foodservice facility entranceways.

8. Division 23 Section "Commercial Kitchen Hoods" for ventilation hoods.

9. Division 26 Sections for connections to fire alarm systems, wiring, disconnect switches, and other electrical materials required to complete foodservice equipment installation.

1.3 SUBMITTALS

A. Product Data:  For each type of product indicated.  Include the following:

1. Manufacturer's model number.

2. Options, accessories, and components that will be included for Project.

3. Clearance requirements for access and maintenance.

4. Utility service connections for water, drainage, power, and fuel; include roughing-in dimensions.

The term "fabricated equipment" is commonly used to describe stainless-steel kitchen, bakery, pantry, and cafeteria units, and other food-handling and -processing equipment including tables and components, counters, shelves, sinks, etc.  Retain first paragraph below with "Fabricated Equipment" Article in Part 2.

B. Shop Drawings:  For fabricated equipment.  Include plans, elevations, sections, roughing-in dimensions, fabrication details, utility service requirements, and attachments to other work.

C. Coordination Drawings:  For foodservice facilities.

1. Indicate locations of foodservice equipment and connections to utilities.

2. Key equipment using same designations as indicated on Drawings.

3. Include plans and elevations; clearance requirements for equipment access and maintenance; details of support for equipment; and utility service characteristics.

Delete subparagraph below if not required.

4. Include details of seismic bracing for equipment.

D. Samples for Initial Selection:  For units with factory-applied color finishes.

Delete paragraph above if colors are preselected and specified or scheduled.  Retain first paragraph below with or without above.

E. Samples for Verification:  For each factory-applied color finish required, in manufacturer's standard sizes.

F. Operation and Maintenance Data:  For foodservice equipment to include in emergency, operation, and maintenance manuals.  In addition to items specified in Division 01 Section "[Closeout Procedures] [Operation and Maintenance Data]," include the following:

1. Product Schedule:  For each foodservice equipment item, include the following:

a. Designation indicated on Drawings.

b. Manufacturer's name and model number.

c. List of factory-authorized service agencies including their addresses and telephone numbers.

G. Warranty:  Special warranty specified in this Section.

1.4 QUALITY ASSURANCE

Always retain paragraph below.  See "Health and Sanitation Requirements" Article in the Evaluations for a discussion of certification of equipment for compliance with NSF standards.

A. NSF Standards:  Provide equipment that bears NSF Certification Mark or UL Classification Mark certifying compliance with applicable NSF/ANSI standards.

For bakery equipment, retain paragraph and subparagraph below in addition to paragraph above.

B. BISSC Standards:  Provide bakery equipment that complies with BISSC's "Sanitation Standards for the Design and Construction of Bakery Equipment and Machinery."

See "Health and Sanitation Requirements" Article in the Evaluations for a discussion of BISSC certification.

1. Provide BISSC-certified equipment[, with certification verified by a third-party agency].

UL lists certified products on its Web site in the "Online Certifications Directory."  Certified products include those that bear the "Listed" and "Classified" versions of the UL Mark.  If UL certification is not required for certain equipment, or if another testing agency's certification is acceptable, revise paragraph below.

C. UL Certification:  Provide electric and fuel-burning equipment and components that are evaluated by UL for fire, electric shock, and casualty hazards according to applicable safety standards and that are UL certified for compliance and labeled for intended use.

Retain first paragraph below for steam-generating and direct-steam heating equipment if any.

D. Steam Equipment:  Provide steam-generating and direct-steam heating equipment that is fabricated and labeled to comply with ASME Boiler and Pressure Vessel Code.

E. Regulatory Requirements:  Install equipment to comply with the following:

Retain applicable codes below to suit Project.

1. ASHRAE 15, "Safety Code for Mechanical Refrigeration."

2. NFPA 54, "National Fuel Gas Code."

3. NFPA 70, "National Electrical Code."

4. NFPA 96, "Ventilation Control and Fire Protection of Commercial Cooking Operations."

Delete paragraph below if not required.  If retaining, verify requirements of authorities having jurisdiction, detail seismic restraints on Drawings, and revise to suit Project.

F. Seismic Restraints:  Comply with SMACNA's "Kitchen Ventilation Systems and Food Service Equipment Fabrication and Installation Guidelines," Appendix A, "Seismic Restraint Details," unless otherwise indicated.

Delete paragraph below if Work of this Section is not extensive or complex enough to justify a preinstallation conference.  If retaining, coordinate with Division 01.

G. Preinstallation Conference:  Conduct conference at Project site to comply with requirements in Division 01 Section "Project Management and Coordination."

1.5 PROJECT CONDITIONS

A. Field Measurements:  Indicate measurements on Coordination Drawings.

1.6 COORDINATION

A. Coordinate foodservice equipment layout and installation with other work, including lighting fixtures, HVAC equipment, and fire-suppression system components.

B. Coordinate location and requirements of utility service connections.

C. Coordinate size, location, and requirements of the following:

Revise list below to suit Project.

1. Overhead equipment supports.

2. Equipment bases.

3. Floor depressions.

4. Insulated floors.

5. Floor areas with positive slopes to drains.

6. Floor sinks and drains serving foodservice equipment.

7. Roof curbs, equipment supports, and penetrations.

8. <Insert requirements.>

1.7 WARRANTY

When warranties are required, verify with Owner's counsel that special warranties stated in this Article are not less than remedies available to Owner under prevailing local laws.  Coordinate with Division 01 Section "Product Requirements."

A. Refrigeration Compressor Warranty:  Manufacturer's standard form in which manufacturer agrees to repair or replace compressors that fail in materials or workmanship within specified warranty period.

1. Failure includes, but is not limited to, inability to maintain set temperature.

Verify available warranties for refrigeration compressors and insert number below.

2. Warranty Period:  [Five] <Insert number> years from date of Substantial Completion.

Insert "Maintenance Service" Article if required for foodservice equipment.

PART 2 -  PRODUCTS

2.1 MANUFACTURERS

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.

Edit this Article with other Part 2 articles in which products are named.  See Division 01 Section "Product Requirements" for an explanation of the terms "Available Products," "Products," "Available Manufacturers," "Manufacturers," and "Basis-of-Design Product" and the effect these terms have on "Comparable Product" and "Product Substitution" requirements.

A. In other Part 2 articles where titles below introduce lists, the following requirements apply to product selection:

1. Available Products:  Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, products specified.

2. Products:  Subject to compliance with requirements, provide one of the products specified.

3. Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, manufacturers specified.

4. Manufacturers:  Subject to compliance with requirements, provide products by one of the manufacturers specified.

5. Basis-of-Design Product:  The design for foodservice equipment item is based on the product named.  Subject to compliance with requirements, provide either the named product or a comparable product by one of the other manufacturers specified.

Remaining articles in Part 2 are examples only; revise them to suit Project or use them as a guide to develop Project-specific product requirements.  For nonproprietary specifications, expand the descriptions of products to suit Project; see "Specification Methods" Article in the Evaluations.

A comprehensive list of manufacturers and products is available on NAFEM's Web site (www.nafem.org).  See "Product Information" Article in the Evaluations.

2.2 FABRICATED EQUIPMENT

The term "fabricated equipment" is commonly used to describe stainless-steel kitchen, bakery, pantry, and cafeteria units, and other food-handling and -processing equipment including tables and components, counters, shelves, sinks, etc.

A. Materials:

See "Fabricated Equipment" Article in the Evaluations for a discussion of metal thickness and gage designations for stainless and galvanized steel.

1. Stainless Steel:  ASTM A 666, with No. 4 finish (directional satin finish) on exposed surfaces.

2. Galvanized Steel:  ASTM A 653/A 653M, G90 (Z275) coating designation; commercial-quality, cold-rolled steel that is zinc coated by the hot-dip process and chemically treated.

B. Stainless-Steel Sink:  <Insert drawing designation.>

Retain one of first two subparagraphs and lists below.  Coordinate with Part 2 "Manufacturers" Article.

1. Basis-of-Design Product:  <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

a. <Insert, in separate subparagraphs, manufacturer's name.>

2. [Available ]Products:

a. <Insert manufacturer's name; product name or designation.>

3. Description:  [One] [Two] [Three] [Four]-compartment sink.

4. Construction:  Welded stainless steel, sound deadened.

Show bowl and drainboard sizes and configurations on Drawings.

a. Bowls:  Stainless steel, Type 304, [0.0781-inch (2.0-mm)] [0.0625-inch (1.6-mm)] specified thickness.

b. Integral Drainboards:  Stainless steel, Type 304, [0.0781-inch (2.0-mm)] [0.0625-inch (1.6-mm)] specified thickness.

c. Body:  Stainless steel, [Type 304, 0.0781-inch (2.0-mm)] [Type 304, 0.0625-inch (1.6-mm)] [Type 430, 0.0625-inch (1.6-mm)] specified thickness.

5. Splash:

a. Back:  [Manufacturer's standard height] [13 inches (330 mm)] [18 inches (457 mm)] <Insert height>.

b. Side:  [Manufacturer's standard height] [13 inches (330 mm)] [18 inches (457 mm)] <Insert height>.

6. Legs and Feet:  Stainless-steel tubing legs with adjustable bullet feet.

7. Options and Accessories:

Revise list below to suit Project.  Indicate quantities and locations of options and accessories on Drawings.

a. Faucets and Spouts:  <Insert requirements.>

b. Prerinse Faucet:  <Insert requirements.>

c. Vacuum breaker.

d. Leverwaste[ with overflow].

e. Basket strainer.

f. Continuous waste.

g. Scrap trough.

h. Control bracket for food waste disposer controls.

i. Scrap block and hole.

j. Stainless-steel pot rack.

k. <Insert requirements.>

8. Fabrication:  Prepare sink for installation of the following equipment items:

a. Heater.

b. Food Waste Disposer:  Weld disposer cone or collar into sink.

c. Undercounter dishwasher.

d. <Insert equipment.>

C. Stainless-Steel Table:  <Insert drawing designation.>

Retain one of first two subparagraphs and lists below.  Coordinate with Part 2 "Manufacturers" Article.

1. Basis-of-Design Product:  <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

a. <Insert, in separate subparagraphs, manufacturer's name.>

2. [Available ]Products:

a. <Insert manufacturer's name; product name or designation.>

3. Description:  [Flat-top] [Prep] [Equipment-stand] [Mixer-stand] [Dish] <Insert description> table.

Revise first subparagraph and associated subparagraphs below for maple tabletops.

4. Top Construction:

a. Material:  Stainless steel, [Type 304, 0.0781-inch (2.0-mm)] [Type 304, 0.0625-inch (1.6-mm)] [Type 430, 0.0625-inch (1.6-mm)] specified thickness, reinforced and sound deadened.

Delete first subparagraph below if not applicable.

b. Back Splash:  [Manufacturer's standard height] [1-1/2 inches (38 mm)] [5 inches (127 mm)] <Insert height>.

c. Edge:  [Bullnose on four sides] [Bullnose on front edge, straight on sides and back] [Marine edge] <Insert requirements>.

5. Undershelf:

a. [Stainless steel, Type 304, 0.0500-inch (1.3-mm) specified thickness] [Galvanized steel, 0.0438-inch (1.1-mm) minimum base-metal thickness].

b. [Welded] [Adjustable].

6. Crossbracing:

a. [Bolted] [Welded] to legs.

b. [Stainless-] [Galvanized] steel tubing.

7. Cabinet:

a. Body:  Stainless steel, Type 430, 0.0500-inch (1.3-mm) specified thickness.

b. Doors:  [Sliding] [Hinged], stainless steel, Type 304, 0.0375-inch (0.95-mm) specified thickness.

c. Drawers:  [Stainless-steel drawer and face plate] [Galvanized steel drawer and stainless-steel face plate] [Stainless-steel front and liner] [Stainless-steel front and galvanized steel liner] <Insert requirements>.

8. Sink:  Stainless steel, Type 304, 0.0781-inch (2.0-mm) specified thickness, welded into table top and including the following:

Revise list below to suit Project.

a. Faucet and Spout:  <Insert requirements.>

b. Vacuum breaker.

c. Leverwaste[ with overflow].

d. Basket strainer.

e. Tail piece.

f. <Insert requirements.>

9. Legs:  [Stainless-] [Galvanized] steel tubing.

10. Feet:  [Stainless-steel adjustable bullets] [Plastic adjustable bullets] [Stainless-steel, flanged, adjustable bullets] [Casters] <Insert requirements>.

11. Options and Accessories:

Revise list below to suit Project.  Indicate quantities and locations of options and accessories on Drawings.

a. Control panel.

b. Control bracket for food waste disposer controls.

c. Aluminum pan rack slides, [six] [three] slides each.

d. Urn trough.

e. Spice bins.

f. <Insert requirements.>

12. Fabrication:  Prepare table for installation of the following equipment items:

a. Food Waste Disposer:  Weld disposer cone or collar into sink.

b. Heat lamp.

c. <Insert equipment.>

D. Stainless-Steel Shelf Unit:  <Insert drawing designation.>

Retain one of first two subparagraphs and lists below.  Coordinate with Part 2 "Manufacturers" Article.

1. Basis-of-Design Product:  <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

a. <Insert, in separate subparagraphs, manufacturer's name.>

2. [Available ]Products:

a. <Insert manufacturer's name; product name or designation.>

3. Description:  [Table mounted, single deck] [Table mounted, double deck] [Wall mounted] <Insert description>.

4. Material:  Stainless steel, [Type 304, 0.0625-inch (1.6-mm)] [Type 304, 0.0500-inch (1.3-mm)] [Type 430, 0.0500-inch (1.3-mm)] specified thickness.

E. Pot Rack:  <Insert drawing designation.>

Retain one of first two subparagraphs and lists below.  Coordinate with Part 2 "Manufacturers" Article.

1. Basis-of-Design Product:  <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

a. <Insert, in separate subparagraphs, manufacturer's name.>

2. [Available ]Products:

a. <Insert manufacturer's name; product name or designation.>

3. Description:  [Wall mounted] [Ceiling hung] [Corner] <Insert description>.

a. [Double] [Single] bar.

b. [18] <Insert number> hooks per unit.

4. Material:  [Stainless] [Powder-coated] steel.

F. Stainless-Steel Hand Sink:  <Insert drawing designation.>

Retain one of first two subparagraphs and lists below.  Coordinate with Part 2 "Manufacturers" Article.

1. Basis-of-Design Product:  <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

a. <Insert, in separate subparagraphs, manufacturer's name.>

2. [Available ]Products:

a. <Insert manufacturer's name; product name or designation.>

3. Description:  [Lavatory] <Insert description> sink.

4. Material:  Stainless steel, Type 304, [0.0500-inch (1.3-mm)] [0.0375-inch (0.95-mm)] specified thickness.

5. Operation:  [Electronic] [Knee valve] [Foot pedal] [Wrist handle] [Handle] <Insert description>.

6. Faucet and Spout:  <Insert requirements.>

7. Options and Accessories:

Revise list below to suit Project.

a. Chrome-plated tail piece and P trap, NPS 1-1/2 (DN 40), with [0.045-inch (1.1-mm)] <Insert dimension> minimum wall thickness.

b. Strainer basket with metal post.

c. Liquid soap dispenser, [splash] [deck] mounted.

d. Liquid soap and towel dispenser.

e. Towel dispenser.

f. Tubular wall supports.

g. Skirt assembly for support.

h. Side splashes.

i. <Insert requirements.>

G. Floor [Trough] [Water Receptacle]:  <Insert drawing designation.>

Retain one of two subparagraphs and lists below.  Coordinate with Part 2 "Manufacturers" Article.

1. Basis-of-Design Product:  <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

a. <Insert, in separate subparagraphs, manufacturer's name.>

2. [Available ]Products:

a. <Insert manufacturer's name; product name or designation.>

Usually select first option in first subparagraph below for trough; second option, for water receptacle.

3. Description:  [4-inch (102-mm)] [2-inch (50-mm)] <Insert dimension> nominal depth, excluding tailpiece.

a. Body:  Stainless steel, Type 304, 0.0781-inch (2.0-mm) specified thickness.

b. Grate:  [Stainless-steel bar, Type 304] [Fiberglass].

c. Waste Connection:  NPS 3 (DN 80).

Insert other types of fabricated equipment to suit Project.

2.3 FOOD WASTE MACHINES

A. Food Waste Disposer Unit:  <Insert drawing designation.>

Retain one of first two subparagraphs and lists below.  Coordinate with Part 2 "Manufacturers" Article.

1. Basis-of-Design Product:  <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

a. <Insert, in separate subparagraphs, manufacturer's name.>

2. [Available ]Products:

a. <Insert manufacturer's name; product name or designation.>

3. Description:  [3] [5] [7] hp, with dual-direction shredding elements, and the following:

a. [Stainless-steel] [Corrosion-resistant] housing.

b. Flow control.

c. Solenoid valve.

d. Vacuum breaker.

e. Fixed nozzle.

f. Control Panel:

1) Autoreversing and internal time water flush.

2) Stainless-steel mounting bracket.

4. Prerinse:  Backsplash mounted with hot- and cold-water mixing valve and with [stainless-steel] [corrosion-resistant] exposed metal parts and the following:

a. Wall support bracket.

b. Flexible, 3/8-inch (10-mm) metal-encased hose with a minimum length of 29 inches (737 mm) and supported by spiral spring.

c. Spray head assembly with lockable lever handle.

5. Options and Accessories:

Revise list below to suit Project.

a. Collar adaptor for [sink] [trough].

b. Cone with adaptor ring.

1) Size:  [12 inches (305 mm)] [15 inches (381 mm)] [18 inches (457 mm)].

c. Cone cover in size matching cone.

d. Silver accumulator.

e. <Insert requirements.>

6. Electrical Service:  Equip unit for connection to [service indicated on Drawings] <Insert requirements>.

B. Food Waste Pulper and Water Extractor System:  <Insert drawing designation.>

Retain one of first two subparagraphs and lists below.  Coordinate with Part 2 "Manufacturers" Article.

1. Basis-of-Design Product:  <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

a. <Insert, in separate subparagraphs, manufacturer's name.>

2. [Available ]Products:

a. <Insert manufacturer's name; product name or designation.>

3. Description:  Stainless-steel pulper unit, extractor unit, and control panel with water-level control and push-button start.

Select capacity requirements in first subparagraph below according to anticipated use; actual use should not exceed 90 percent of capacity of unit.

4. Capacity:  Not less than [600 lb (272 kg)] [700 lb (318 kg)] [900 lb (408 kg)] <Insert capacity> of waste per hour.

5. Options and Accessories:

Revise list below to suit Project.

a. Feed trough connection.

b. Feed tray.

c. Feed hood assembly.

d. Under-dishtable lid.

e. Remote water extractor:

1) Dam, to prevent siphoning of water from pulper tank.

2) Remote piping system, [overhead] [below floor].

f. <Insert requirements.>

6. Electrical Service:  Equip unit for connection to [service indicated on Drawings] <Insert requirements>.

C. Food Waste Grinder and Water Extractor System:  <Insert drawing designation.>

Retain one of first two subparagraphs and lists below.  Coordinate with Part 2 "Manufacturers" Article.

1. Basis-of-Design Product:  <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

a. <Insert, in separate subparagraphs, manufacturer's name.>

2. [Available ]Products:

a. <Insert manufacturer's name; product name or designation.>

3. Description:  Stainless-steel construction; with off and on controls on unit, food waste hopper, silver saver, internal disposer, removable water extraction auger with internal water sprays, and discharge chute.

Select capacity requirements in first subparagraph below according to anticipated use; actual use should not exceed 90 percent of capacity of unit.

4. Capacity:  Not less than [600 lb (272 kg)] [700 lb (318 kg)] <Insert capacity> of waste per hour.

5. Options and Accessories:

Revise list below to suit Project.

a. Reel rinse unit with spray valve.

b. Recirculation water pump.

c. Trough mount.

d. <Insert requirements.>

6. Electrical Service:  Equip unit for connection to [service indicated on Drawings] <Insert requirements>.

D. Undercounter Food Waste Grinder and Water Extractor:  <Insert drawing designation.>

Retain one of first two subparagraphs and lists below.  Coordinate with Part 2 "Manufacturers" Article.

1. Basis-of-Design Product:  <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

a. <Insert, in separate subparagraphs, manufacturer's name.>

2. [Available ]Products:

a. <Insert manufacturer's name; product name or designation.>

3. Description:  Stainless-steel, undercounter assembly that is cleanable; includes the following:

a. Separate water-extractor and disposer units.

1) Disposer:  Corrosion-resistant housing, dual-direction shredding elements.

b. Piping between disposer and water extractor.

c. Vacuum breaker.

d. Solenoid valve.

e. Flow control.

f. Time-delayed relay.

g. Control Panel:

1) Autoreversing and internal time water flush.

2) Stainless-steel mounting bracket.

Select capacity requirements in first subparagraph below according to anticipated use; actual use should not exceed 90 percent of capacity of unit.

4. Capacity:  Not less than [600 lb (272 kg)] [700 lb (318 kg)] <Insert capacity> of waste per hour.

5. Prerinse:  Backsplash mounted with hot- and cold-water mixing valve and with [stainless-steel] [corrosion-resistant] exposed metal parts and the following:

a. Wall support bracket.

b. Flexible, 3/8-inch (10-mm) metal-encased hose with a minimum length of 29 inches (737 mm) and supported by spiral spring.

c. Spray head assembly with lockable lever handle.

6. Options and Accessories:

a. Cone with adaptor ring.

1) Size:  [12 inches (305 mm)] [15 inches (381 mm)] [18 inches (457 mm)].

b. Cone cover in size matching cone.

c. Silver sorter.

d. Trough collar connection.

e. <Insert requirements.>

7. Electrical Service:  Equip unit for connection to [service indicated on Drawings] <Insert requirements>.

Insert other types of food waste machines to suit Project.

2.4 COOKING EQUIPMENT

Equipment power and fuel characteristics are common sources of miscoordination in the Contract Documents; see "Design Considerations" Article in the Evaluations.

A. Range:  <Insert drawing designation.>

Retain one of first two subparagraphs and lists below.  Coordinate with Part 2 "Manufacturers" Article.

1. Basis-of-Design Product:  <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

a. <Insert, in separate subparagraphs, manufacturer's name.>

2. [Available ]Products:

a. <Insert manufacturer's name; product name or designation.>

3. Top Configuration:

Show sizes and locations of open-burner, griddle, and radiant-broiler units on Drawings or insert requirements in first three subparagraphs and associated subparagraphs below.

a. Open-Burner Unit:

1) Standard Burners:  [Four] [Six] [Eight] [Four, step-up type] <Insert requirements>.

2) [Wok] [Saute] Head:  <Insert requirements.>

b. Griddle:  [Flat] [Raised].

c. Radiant Broiler:  <Insert requirements.>

4. Base Configuration:

Show sizes and locations of ovens and storage bases on Drawings or insert requirements in first three subparagraphs below.

a. Standard Ovens:  [One] [Two].

b. Convection Ovens:  [One] [Two].

Storage bases are provided in lieu of an oven.  Retain first subparagraph below if only one oven is required in base.

c. Storage Base:  One.

5. Options and Accessories:

Revise list below to suit Project.

a. [High] [Double-deck] back shelf.

b. Stainless-steel sides.

c. Stainless-steel back.

d. Legs for curb base.

e. Toe Base:  4 inches (102 mm) high.

f. Casters:  <Insert requirements.>

g. Oven Racks:  [One] <Insert number> for each oven.

h. <Insert requirements.>

6. Electrical Service:  Equip unit for connection to [service indicated on Drawings] <Insert requirements>.

7. Gas Service:  [Natural] [Liquefied propane] gas.

B. Deep Fat Fryer:  <Insert drawing designation.>

Retain one of first two subparagraphs and lists below.  Coordinate with Part 2 "Manufacturers" Article.

1. Basis-of-Design Product:  <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

a. <Insert, in separate subparagraphs, manufacturer's name.>

2. [Available ]Products:

a. <Insert manufacturer's name; product name or designation.>

3. Description:  [Electric fryer, solid-state controls] [Electric, programmable computer controls] [Gas fryer] <Insert description>.

a. Oil Capacity:  [40 lb (18 kg)] [85 lb (39 kg)] <Insert capacity>.

4. Options and Accessories:

Revise list below to suit Project.

a. Stainless-steel sides.

b. Stainless-steel fry tank.

c. Stainless-steel fry tank cover.

d. Casters:  <Insert requirements.>

e. Automatic basket lifts.

f. Twin Fry Baskets:  <Insert quantity.>

g. Triple Fry Baskets:  <Insert quantity.>

h. Single Fry Baskets:  <Insert quantity.>

i. Quick gas-service disconnect and flexible hose.

j. <Insert requirements.>

5. Electrical Service:  Equip unit for connection to [service indicated on Drawings] <Insert requirements>.

6. Gas Service:  [Natural] [Liquefied propane] gas.

C. Steam Jacketed Kettle:  <Insert drawing designation.>

Retain one of first two subparagraphs and lists below.  Coordinate with Part 2 "Manufacturers" Article.

1. Basis-of-Design Product:  <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

a. <Insert, in separate subparagraphs, manufacturer's name.>

2. [Available ]Products:

a. <Insert manufacturer's name; product name or designation.>

3. Description:  Stainless steel, Type 304.

a. Type:  [Stationary] [Tilting].

b. Steam Source:  [Electrically heated, self-contained steam source] [Direct].

1) [Maximum] [Operating] Steam Pressure:  [50 psig (345 kPa)] [25 psig (172 kPa)] <Insert pressure>.

c. Capacity:  [10 qt. (9.5 L)] [20 gal. (76 L)] <Insert capacity>.

4. Options and Accessories:

Revise list below to suit Project.

a. Basket insert.

b. Lift-off cover.

c. [Single] [Double] pantry water filler.

Generally, retain tangent drawoff below for stationary kettles.

d. Tangent Drawoff:  [2 inch (50 mm)] [3 inch (76 mm)] <Insert requirements>.

e. Disc Strainer:  1/8-inch (3-mm), [perforated] [solid].

f. Interior Finish:  [Manufacturer's standard] [Stainless steel, Type 316].

g. Cold-water jacket cooling.

h. Steam trap assemblies.

i. Kettle brush kit.

j. <Insert requirements.>

5. Electrical Service:  Equip unit for connection to [service indicated on Drawings] <Insert requirements>.

D. Oven:  <Insert drawing designation.>

Retain one of first two subparagraphs and lists below.  Coordinate with Part 2 "Manufacturers" Article.

1. Basis-of-Design Product:  <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

a. <Insert, in separate subparagraphs, manufacturer's name.>

2. [Available ]Products:

a. <Insert manufacturer's name; product name or designation.>

3. Description:  [Electric convection] [Gas convection] [Rotisserie] <Insert description>.

a. [Single deck] [Double deck] [Single deck with open stand] <Insert requirements>.

4. Options and Accessories:

Revise list below to suit Project.

a. Oven Racks:  [One] <Insert number> per oven chamber.

b. Stainless-steel drip pan.

c. Down-draft flue diverter.

d. Stacking kit.

e. <Insert requirements.>

5. Electrical Service:  Equip unit for connection to [service indicated on Drawings] <Insert requirements>.

6. Gas Service:  [Natural] [Liquefied propane] gas.

E. Microwave Oven:  <Insert drawing designation.>

Retain one of first two subparagraphs and lists below.  Coordinate with Part 2 "Manufacturers" Article.

1. Basis-of-Design Product:  <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

a. <Insert, in separate subparagraphs, manufacturer's name.>

2. [Available ]Products:

a. <Insert manufacturer's name; product name or designation.>

3. Description:  1200-W cooking power.

4. Electrical Service:  Equip unit with plug and cord for 120-V service.

F. Coffee Urn:  <Insert drawing designation.>

Retain one of first two subparagraphs and lists below.  Coordinate with Part 2 "Manufacturers" Article.

1. Basis-of-Design Product:  <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

a. <Insert, in separate subparagraphs, manufacturer's name.>

2. [Available ]Products:

a. <Insert manufacturer's name; product name or designation.>

3. Description:  [Single] [Twin] [Triple] urn.

a. Capacity:  [3 gal (11 L)] [6 gal (23 L)] [10 gal (38 L)] per liner.

b. Type:  [Electric] [Gas] [Steam] heated.

c. Agitator:  [Automatic] [Push button].

d. Spray Arm:  [With] [Without] bypass.

e. Timer:  [Digital] [Electromechanical].

4. Options and Accessories:

Revise list below to suit Project.

a. Fill/Dispense:  <Insert requirements.>

b. Multiple Faucet:  <Insert requirements.>

c. Filtering:  [Permanent, stainless-steel, woven-wire cloth] [Disposable filter paper].

d. Finish:  [Manufacturer's standard] [Brass body and trim] [Copper body and brass trim] <Insert finish>.

e. <Insert requirements.>

5. Electrical Service:  Equip unit for connection to [service indicated on Drawings] <Insert requirements>.

6. Gas Service:  [Natural] [Liquefied propane] gas.

7. Operating Steam Pressure:  [As indicated on Drawings] <Insert pressure>.

Insert other types of cooking equipment to suit Project.

2.5 SELF-CONTAINED REFRIGERATION EQUIPMENT

A. [Refrigerator] [Freezer]:  <Insert drawing designation.>

Retain one of first two subparagraphs and lists below.  Coordinate with Part 2 "Manufacturers" Article.

1. Basis-of-Design Product:  <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

a. <Insert, in separate subparagraphs, manufacturer's name.>

2. [Available ]Products:

a. <Insert manufacturer's name; product name or designation.>

3. Description:  [Reach-in] [Roll-in] [Pass-through] type.

a. Exterior Finish:  Stainless steel.

b. Interior Finish:  [Stainless steel] [Manufacturer's standard].

c. Doors:  [Full length] [Half length] [In configuration shown on Drawings].

4. Options and Accessories:

Revise list below to suit Project.

a. Casters.

b. Stainless-steel back with rear louvers.

c. Re-hinging feature for doors.

d. Hinged glass doors and fluorescent fixtures.

e. Tray Slides:  For <Insert description> sheet pans.

f. [Chrome-Plated] [Stainless-Steel] Shelves:  <Insert quantity.>

g. Loading Rack:  <Insert requirements.>

h. Transfer Carriage:  <Insert requirements.>

i. <Insert requirements.>

5. Electrical Service:  Equip unit with plug and cord for [service indicated on Drawings] <Insert requirements>.

B. Undercounter [Refrigerator] [Freezer]:  <Insert drawing designation.>

Retain one of first two subparagraphs and lists below.  Coordinate with Part 2 "Manufacturers" Article.

1. Basis-of-Design Product:  <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

a. <Insert, in separate subparagraphs, manufacturer's name.>

2. [Available ]Products:

a. <Insert manufacturer's name; product name or designation.>

3. Description:  Compact unit with rear-mounted, self-contained refrigeration system.

4. Options and Accessories:

Revise list below to suit Project.

a. Stainless-steel top with backsplash.

b. Stainless-steel back panel.

c. Casters:  [6 inches (152 mm)] [4 inches (102 mm)] [3-1/2 inches (89 mm)] high.

d. Utility Base:  6 inches (152 mm) high.

e. Shelves:  <Insert description and quantity.>

f. Stacking kit.

g. <Insert requirements.>

5. Electrical Service:  Equip unit with plug and cord for [service indicated on Drawings] <Insert requirements>.

C. Merchandiser Refrigeration Unit:  <Insert drawing designation.>

Retain one of first two subparagraphs and lists below.  Coordinate with Part 2 "Manufacturers" Article.

1. Basis-of-Design Product:  <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

a. <Insert, in separate subparagraphs, manufacturer's name.>

2. [Available ]Products:

a. <Insert manufacturer's name; product name or designation.>

3. Description:  [Curved-glass, self-contained refrigerator] [Sliding-glass, self-contained refrigerator] [Sliding-glass, self-contained freezer] <Insert description>.

a. Exterior Finish:  [Manufacturer's standard] [Stainless steel] <Insert requirements>.

b. Interior Finish:  [Manufacturer's standard] [Stainless steel] [White] <Insert requirements>.

4. Options and Accessories:

Revise list below to suit Project.

a. Door locks.

b. Fluorescent Light Fixtures:  <Insert quantity.>

c. Base:  <Insert requirements.>

d. Casters:  <Insert requirements.>

e. Legs:  <Insert requirements.>

f. Chrome-Plated Shelves:  <Insert quantity.>

g. <Insert requirements.>

5. Electrical Service:  Equip unit with plug and cord for [service indicated on Drawings] <Insert requirements>.

D. Ice-Making Machine:  <Insert drawing designation.>

Retain one of first two subparagraphs and lists below.  Coordinate with Part 2 "Manufacturers" Article.

1. Basis-of-Design Product:  <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

a. <Insert, in separate subparagraphs, manufacturer's name.>

2. [Available ]Products:

a. <Insert manufacturer's name; product name or designation.>

3. Description:  [Undercounter] [Freestanding] unit.

a. Production:  Ice [cubes] [cubes, dice] [cubes, half dice] [flakes] [chiplets (compacted flake ice)].

b. Capacity:  <Insert lb (kg)> per 24-hour period.

4. Options and Accessories:

a. Storage Bin:  <Insert requirements.>

1) Storage Capacity:  <Insert lb (kg).>

b. Stainless-steel stand and legs.

c. Water filter.

d. <Insert requirements.>

5. Electrical Service:  Equip unit for connection to [service indicated on Drawings] <Insert requirements>.

Insert other types of self-contained refrigeration equipment to suit Project.

2.6 WALK-IN REFRIGERATION EQUIPMENT

A. Walk-in Refrigeration Unit:  <Insert drawing designation.>

Coordinate first subparagraph and list below with Part 2 "Manufacturers" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

1. [Available ]Manufacturers:

a. <Insert, in separate subparagraphs, manufacturer's name.>

2. Description:  [Cooler] [Freezer] [Two-compartment unit, with cooler and freezer compartments] <Insert description>.

Show thickness of insulated panels on Drawings.

For large units, ceiling panels may require structural support; show overhead supports on Drawings and coordinate requirements with Division 05 Sections.

3. Wall and Ceiling Panels:  Interlocking insulating panels.

4. Floors:  [Insulated floor panels] [Field installed; provide manufacturer's standard insulated floor screed] <Insert requirements>.

Show width and swing for doors on Drawings.

5. Doors:

a. Hinges:  [Two per door] [Self-closing and spring loaded; three per door] <Insert requirements>.

b. Latch:  [Edge-mounted, positive-type latch with cylinder lock] <Insert requirements>.

1) Include safety-release handle that opens door from inside when door is locked.

c. Options and Accessories:

Revise list below to suit Project.

1) Vision port.

2) Pressure relief port.

3) Threshold:  Stainless steel, factory installed.

4) Anticondensate heater at freezer doors.

5) <Insert requirements.>

6. Exposed Exterior Finish:  [Stucco-patterned aluminum] [Smooth, mill-finished aluminum] [White-painted aluminum] <Insert requirements>.

7. Unexposed Exterior Finish:  [Stucco-patterned galvanized steel] <Insert requirements>.

8. Interior Finish:  [Stucco-patterned aluminum] [Smooth, mill-finished aluminum] [White-painted aluminum] <Insert requirements>.

9. Vaporproof Lighting Fixtures:  [Incandescent fixture with 100-W lamp] <Insert requirements>.

a. Control:  Neon pilot light and toggle switch located on exterior of door panel.

b. Quantity:  [One per compartment, located on door panel] <Insert quantity>.

If remote refrigeration system is required, refrigeration piping between assemblies and other accessories or components are field installed and must be specified separately.  Verify piping requirements with manufacturers.

10. Refrigeration System:  [Self-contained, mounted on unit] [Remote system with preassembled condensing unit and evaporator assemblies] <Insert requirements or manufacturer's refrigeration assembly designation>.

a. Exterior Condensing Units:  Include winter control, crankcase heater, and enclosed weatherproof housing.

b. Operating Temperature:  <Insert temperature(s)>.

11. Temperature Monitoring System:  [Electronic monitoring and remote audible alarm system that warns when temperatures exceed 10 deg F (6 deg C) above or below set temperature] <Insert requirements>.

12. Closure Panels and Trim:  [Match exposed exterior finish of panels] <Insert requirements>.

13. Options and Accessories:

a. <Insert, in separate subparagraphs, options and accessories.>

2.7 POWERED FOOD-PREPARATION EQUIPMENT

A. [Mixer] [Slicer] [Meat Saw] [Peeler] <Insert description>:  <Insert drawing designation.>

Retain one of first two subparagraphs and lists below.  Coordinate with Part 2 "Manufacturers" Article.

1. Basis-of-Design Product:  <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

a. <Insert, in separate subparagraphs, manufacturer's name.>

2. [Available ]Products:

a. <Insert manufacturer's name; product name or designation.>

3. Description:  <Insert requirements.>

4. Options and Accessories:

a. <Insert, in separate subparagraphs, options and accessories.>

5. Electrical Service:  Equip unit with plug and cord for [service indicated on Drawings] <Insert requirements>.

2.8 WAREWASHING EQUIPMENT

A. Warewashing Machine:  <Insert drawing designation.>

Retain one of first two subparagraphs and lists below.  Coordinate with Part 2 "Manufacturers" Article.

1. Basis-of-Design Product:  <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

a. <Insert, in separate subparagraphs, manufacturer's name.>

2. [Available ]Products:

a. <Insert manufacturer's name; product name or designation.>

3. Description:  [Dishwashing, single tank] [Dishwashing, double tank] [Dishwashing, rackless conveyor] [Dishwashing, with circular conveyor table] [Pot and pan washing, two rack] [Pot and pan washing, one rack] <Insert description>.

a. Capacity:  <Insert requirements.>

4. Options and Accessories:

a. <Insert, in separate subparagraphs, options and accessories.>

5. Electrical Service:  Equip unit for connection to [service indicated on Drawings] <Insert requirements>.

2.9 SERVING EQUIPMENT

A. Modular Counter:  <Insert drawing designation.>

Retain one of first two subparagraphs and lists below.  Coordinate with Part 2 "Manufacturers" Article.

1. Basis-of-Design Product:  <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

a. <Insert, in separate subparagraphs, manufacturer's name.>

2. [Available ]Products:

a. <Insert manufacturer's name; product name or designation.>

3. Description:  [Hot food] [Refrigerated salad] [Ice-cooled salad] [Sliding-glass door refrigerated] [Frost-top] [Sandwich] [Pizza] [Refrigerated-chest] [Dual-temperature] [Tray-starter] [Storage] [Cashier] <Insert description> module.

4. Cabinet Face Panels:  [Manufacturer's standard] <Insert requirements>.

a. Color:  [As selected by Architect from manufacturer's full range] <Insert requirements>.

5. Options and Accessories:

Revise list below to suit Project.

a. Tray slide.

b. Work shelf.

c. Casters.

d. Electrical receptacle.

e. Cam-action latch locks with trigger release to mate with adjoining modular counters.

f. Tempered-glass, food-protector shield.

g. <Insert requirements.>

6. Electrical Service:  Equip unit for connection to [service indicated on Drawings] <Insert requirements>.

Insert other types of serving equipment to suit Project.

2.10 UTILITY DISTRIBUTION SYSTEMS

A. Utility Distribution System:  <Insert drawing designation.>

Retain one of first two subparagraphs and lists below.  Coordinate with Part 2 "Manufacturers" Article.

1. Basis-of-Design Product:  <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

a. <Insert, in separate subparagraphs, manufacturer's name.>

2. [Available ]Products:

a. <Insert manufacturer's name; product name or designation.>

3. Description:  [Overhead] [Counter] [Island] [Tray-slide] [Steam] [Wall-mounted] system.

4. Options and Accessories:

a. <Insert, in separate subparagraphs, options and accessories.>

2.11 MISCELLANEOUS MATERIALS

A. Installation Accessories, General:  NSF certified for end-use application indicated.

B. Elastomeric Joint Sealant:  ASTM C 920; Type S (single component), Grade NS (nonsag), Class 25, Use NT (nontraffic) related to exposure, and Use M, G, A, or O as applicable to joint substrates indicated.

1. Public Health and Safety Requirements:

a. Sealant is certified for compliance with NSF standards for end-use application indicated.

b. Washed and cured sealant complies with the FDA's regulations for use in areas that come in contact with food.

2. Cylindrical Sealant Backing:  ASTM C 1330, Type C, closed-cell polyethylene, in diameter larger than joint width.

PART 3 -  EXECUTION

3.1 INSTALLATION

A. Install foodservice equipment level and plumb, according to manufacturer's written instructions.

1. Connect equipment to utilities.

Retain subparagraph below if equipment items will be modified on-site.

2. Provide cutouts in equipment, neatly formed, where required to run service lines through equipment to make final connections.

B. Complete equipment assembly where field assembly is required.

1. Provide closed butt and contact joints that do not require a filler.

2. Grind field welds on stainless-steel equipment smooth, and polish to match adjacent finish.

Verify equipment access- and maintenance-clearance requirements of authorities having jurisdiction and of local sanitation and health codes; reflect minimum clearances on Drawings.

C. Install equipment with access and maintenance clearances that comply with manufacturer's written installation instructions and requirements of authorities having jurisdiction.

D. Install cabinets and similar equipment on [concrete] [and] [masonry] bases in a bed of sealant.

E. Install closure-trim strips and similar items requiring fasteners in a bed of sealant.

F. Install joint sealant in joints between equipment and abutting surfaces with continuous joint backing, unless otherwise indicated.  Produce airtight, watertight, vermin-proof, sanitary joints.

3.2 CLEANING AND PROTECTING

A. After completing installation of equipment, repair damaged finishes.

B. Clean and adjust equipment as required to produce ready-for-use condition.

C. Protect equipment from damage during remainder of the construction period.

3.3 DEMONSTRATION

A. Engage a factory-authorized service representative to train Owner's maintenance personnel to adjust, operate, and maintain foodservice equipment.  Refer to Division 01 Section "[Closeout Procedures] [Demonstration and Training]."

END OF SECTION 114000

	FOODSERVICE EQUIPMENT
	114000 - 1



