Copyright 2003 and 2005 AIA
MASTERSPEC Full Length
02/03 (R 05/06)

Copyright 2003 and 2005 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 126600 - TELESCOPING STANDS
This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 01 Specification Sections, apply to this Section.

1.2 SUMMARY

A. This Section includes the following:

Adjust list below to suit Project.

1. [Wall-attached] [Recessed] telescoping stands.

2. [Floor-attached] [Reverse-fold], freestanding telescoping stands.

3. Portable telescoping stands.

1.3 SUBMITTALS

A. Product Data:  Include construction details, material descriptions, dimensions of individual components and profiles, and finishes for telescoping stands.

B. Shop Drawings:  Include plans, elevations, sections, details, and attachments to other work.

Retain subparagraph below for evidence of compliance with requirements for design loads.  Design loads are specified by reference to a safety standard in "Quality Assurance" Article.  Professional engineer qualifications are specified in Division 01 Section "Quality Requirements."

1. Include structural analysis data signed and sealed by the qualified professional engineer responsible for their preparation.

Delete subparagraph below if no electrically operated units.

2. Include wiring diagrams for electrically operated units.

C. Samples for Initial Selection:  For each type of exposed finish required.

Delete paragraph above if colors are preselected and specified or scheduled.  Retain paragraph and subparagraphs below with or without above.

D. Samples for Verification:  For each type of exposed finish required, prepared on Samples of size indicated below.

Delete subparagraphs below that describe sample Submittals not required.

1. Decking:  3-inch- (75-mm-) square samples of finished material.

2. Metal Components:  3-inch- (75-mm-) square sample of each color and finish indicated.

3. Seating:  3-inch- (75-mm-) square sample of each seating material, color, and finish indicated.

Retain subparagraph below for upholstered seating.

4. Upholstery Fabric:  3-inch- (75-mm-) square sample of upholstery fabric in each color indicated.

Retain paragraph and subparagraph below and "Forest Certification" Paragraph in "Quality Assurance" Article if wood components are required to be certified for LEED-NC or LEED-CI Credit MR 7, which requires that a minimum of 50 percent of wood-based materials be certified.

E. LEED Submittal:

1. Certificates for Credit MR 7:  Chain-of-custody certificates certifying that wood and wood-based materials comply with forest certification requirements.  Include evidence that manufacturer is certified for chain of custody by an FSC-accredited certification body.

a. Include statement indicating costs for each certified wood product.

Coordinate paragraph below with qualification requirements in Division 01 Section "Quality Requirements" and as supplemented in "Quality Assurance" Article.

F. Qualification Data:  For Installer.

ICC 300 and NFPA 102 require manufacturer to transmit maintenance and operation instructions to Owner and require Owner to maintain telescoping stands and perform an annual inspection.

G. Operation and Maintenance Data:  For telescoping stands to include in emergency, operation, and maintenance manuals.

1.4 QUALITY ASSURANCE

A. Installer Qualifications:  Manufacturer's authorized representative who is trained and approved for installation of units required for this Project.

B. Manufacturer's Engineering Responsibility:  Preparation of data for telescoping stands, including Shop Drawings, and comprehensive engineering analysis by a qualified professional engineer.

Coordinate safety standard selected in first paragraph below with codes in effect for Project.  See "Model Codes and Safety Standards" Article in the Evaluations.  Safety standards establish minimum design-load requirements for support system, seatboards, footrests, guards, and rails.  Verify that these design loads are consistent with Project requirements.  If more stringent requirements apply, revise below to suit Project.

C. Safety Standard:  Provide telescoping stands that comply with requirements in [ICC 300] [NFPA 102].

D. Welding:  Qualify procedures and personnel according to AWS D1.1 "Structural Welding Code - Steel" and AWS D1.3 "Structural Welding Code - Sheet Steel."

E. Electrical Components, Devices, and Accessories:  Listed and labeled as defined in NFPA 70, Article 100, by a testing agency acceptable to authorities having jurisdiction, and marked for intended use.

Revise first paragraph below if authorities having jurisdiction impose more stringent requirements.  See "Accessibility" Article in the Evaluations.

F. Accessibility Requirements:  Provide telescoping stands that comply with requirements in the U.S. Architectural & Transportation Barriers Compliance Board's "Americans with Disabilities Act (ADA), Accessibility Guidelines for Buildings and Facilities (ADAAG)".

G. Fire-Test-Response Characteristics of Upholstered Chairs:

Insert requirements here to suit Project.  Compliance with California Technical Bulletin 133 may be required for assembly spaces.  Verify requirements of authorities having jurisdiction.  See "Seating Types" Article in the Evaluations.

1. Padding:  Comply with California Technical Bulletin 117.

Retain paragraph below if wood components are required to be made from certified wood for LEED-NC or LEED-CI Credit MR 7, which requires that a minimum of 50 percent of wood-based materials be certified.

H. Forest Certification:  Fabricate products with wood components produced from wood obtained from forests certified by an FSC-accredited certification body to comply with FSC STD-01-001, "FSC Principles and Criteria for Forest Stewardship."

Delete paragraph and subparagraphs below if not required.  If retaining, indicate location, size, and other details of mockups on Drawings or by inserts.  Revise wording if only one mockup is required.

I. Mockups:  Build mockups to demonstrate aesthetic effects and set quality standards for fabrication and installation.

Retain subparagraph below for large-scale mockup or include in Division 01 Section "Quality Requirements." Indicate on Drawings the telescoping stand represented by mockup or draw mockup as separate element.

1. Build mockup of typical telescoping stand as shown on Drawings.

Retain subparagraph below if mockups are erected as part of building rather than separately and the intention is to make an exception to the default requirement in Division 01 Section "Quality Requirements" for demolishing and removing mockups when directed, unless otherwise indicated.

2. Approved mockups may become part of the completed Work if undisturbed at time of Substantial Completion.

Delete paragraph below if Work of this Section is not extensive or complex enough to justify a preinstallation conference.  If retaining, coordinate with Division 01.

J. Preinstallation Conference:  Conduct conference at Project site to comply with requirements in Division 01 Section "Project Management and Coordination."

1.5 PROJECT CONDITIONS

A. Field Measurements:  Verify actual locations of walls, columns, and other construction that will interface with telescoping stands by field measurements before fabrication and indicate measurements on Shop Drawings.

PART 2 -  PRODUCTS

2.1 MANUFACTURERS

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.

A. Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated in the Work include, but are not limited to, the following:

Retain above for nonproprietary or below for semiproprietary specification, or delete both for basis-of-design specification.  Refer to Division 01 Section "Product Requirements."

B. Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

C. Basis-of-Design Product:  The design for telescoping stands is based on products of <Insert manufacturer's name>.  Subject to compliance with requirements, provide the named product or a comparable product by one of the following:

For basis-of-design specification, insert manufacturer's product designations for each stand component in the "Telescoping Stands" Article.

1. Hussey Seating Company.

2. Interkal LLC.

3. Irwin Folding Bleacher Company.

4. <Insert manufacturer's name.>

2.2 MATERIALS

Delete materials not required for fabrication of telescoping stands.

A. Wood:

Delete first subparagraph below if no wood benches or backrests.

1. Lumber:  Kiln-dried, surfaced four sides; southern pine complying with SPIB's "Standard Grading Rules for Southern Pine Lumber" for [C&Btr Finish (C and better)] [B&B Finish (B and better)] grade-of-finish requirements.

2. Plywood:  APA grade trademarked, DOC PS 1.

B. Steel:

1. Structural Steel Shapes, Plates, and Bars:  ASTM A 36/A 36M.

2. Galvanized Steel Sheet:  ASTM A 653/A 653M, G90 (Z275) coating designation.

3. Uncoated Steel Sheet:  ASTM A 1008/A 1008M, Designation CS (cold-rolled commercial steel), or ASTM A 1011/A 1011M, Designation CS (hot-rolled commercial steel).

4. Tubing:  ASTM A 500, cold formed; ASTM A 501, hot formed; or ASTM A 513, mechanical.

C. Extruded Aluminum:  ASTM B 221 (ASTM B 221M), alloy as standard for manufacturer.

Delete paragraph below if no plastic seats.

D. Polyethylene Plastic:  High-density polyethylene; molded, color-pigmented, textured, impact-resistant, structural formulation.

2.3 TELESCOPING STANDS

A. Description:  Operable systems of multiple-tiered seating on interconnected folding platforms that close, without being dismantled, into a nested stack for storing or moving.  Stand units permit opening and closing of adjacent rows, allow individual and collective rows to be locked open for use, and close with vertical faces of upper skirts on the same vertical plane.

Select applicable stand types from five paragraphs and associated subparagraphs below.  If selecting more than one type, indicate location of each on Drawings.

B. Wall-Attached Telescoping Stands:  Rear of understructure permanently attaches to wall construction.

Delete subparagraph below if not applicable.  Coordinate with specification method selected in "Manufacturers" Article.

1. Basis-of-Design Product:  <Insert manufacturer's name; product name or designation.>

For automatic operation, coordinate power requirements with Division 26 Sections.

2. Operation:  [Manual] [Automatic, friction-type integral power unit] [Automatic, nonfriction-type integral power unit] [Automatic, power assisted by portable, manually guided, electrically powered unit].

Retain three subparagraphs below if integral power unit is selected in subparagraph above.  Coordinate requirements and verify availability of options with manufacturers selected.

a. Limit Switches:  Automatically stop integral power system when telescoping stands reach fully opened or closed positions.

b. Motion Monitor:  Flashing light with self-contained warning horn, rated at 85 decibels (dB) at 10 feet (3 m), mounted under telescoping seating for audio and visual warning during integral power operation.

c. Transformer:  As required to coordinate current characteristics of motor and control station with building electrical system.

For recessed stands, detail recesses on Drawings.  Depths of recesses must be coordinated with depths of telescoping stands.  Rear of understructure can be attached to wall, soffit, or floor construction; indicate attachment requirements on Drawings or insert in first paragraph below.

C. Recessed Telescoping Stands:  Rear of understructure permanently attaches to construction so that closed stands are recessed in opening indicated on Drawings.

Delete subparagraph below if not applicable.  Coordinate with specification method selected in "Manufacturers" Article.

1. Basis-of-Design Product:  <Insert manufacturer's name; product name or designation.>

For automatic operation, coordinate power requirements with Division 26 Sections.

2. Operation:  [Manual] [Automatic, friction-type integral power unit] [Automatic, nonfriction-type integral power unit] [Automatic, power assisted by portable, manually guided, electrically powered unit].

Retain three subparagraphs below if integral power unit is selected in subparagraph above.  Coordinate requirements and verify availability of options with manufacturers selected.

a. Limit Switches:  Automatically stop integral power system when telescoping stands reach fully opened or closed positions.

b. Motion Monitor:  Flashing light with self-contained warning horn, rated at 85 decibels (dB) at 10 feet (3 m), mounted under telescoping seating for audio and visual warning during integral power operation.

c. Transformer:  As required to coordinate current characteristics of motor and control station with building electrical system.

D. Floor-Attached, Freestanding Telescoping Stands:  Rear of understructure permanently attaches to floor construction, and stand unit closes by moving the front to the rear for storage.

Delete subparagraph below if not applicable.  Coordinate with specification method selected in "Manufacturers" Article.

1. Basis-of-Design Product:  <Insert manufacturer's name; product name or designation.>

For automatic operation, coordinate power requirements with Division 26 Sections.

2. Operation:  [Manual] [Automatic, friction-type integral power unit] [Automatic, nonfriction-type integral power unit] [Automatic, power assisted by portable, manually guided, electrically powered unit].

Retain three subparagraphs below if integral power unit is selected in subparagraph above.  Coordinate requirements and verify availability of options with manufacturers selected.

a. Limit Switches:  Automatically stop integral power system when telescoping stands reach fully opened or closed positions.

b. Motion Monitor:  Flashing light with self-contained warning horn, rated at 85 decibels (dB) at 10 feet (3 m), mounted under telescoping seating for audio and visual warning during integral power operation.

c. Transformer:  As required to coordinate current characteristics of motor and control station with building electrical system.

Manufacturers differ in their use of the term "forward fold." Irwin uses it to refer to reverse-fold types; Interkal uses it to refer to wall-attached and freestanding types.

E. Reverse-Fold, Freestanding Telescoping Stands:  Front row permanently anchors to floor, and stand unit closes by moving the rear forward for storage.  Front-row anchorage allows stands to move 36 inches (914.4 mm) or more, as standard with manufacturer, for additional aisle space when stands are open.

Delete subparagraph below if not applicable.  Coordinate with specification method selected in "Manufacturers" Article.

1. Basis-of-Design Product:  <Insert manufacturer's name; product name or designation.>

For automatic operation, coordinate power requirements with Division 26 Sections.

2. Operation:  [Manual] [Automatic, friction-type integral power unit] [Automatic, nonfriction-type integral power unit] [Automatic, power assisted by portable, manually guided, electrically powered unit].

Retain three subparagraphs below if integral power unit is selected in subparagraph above.  Coordinate requirements and verify availability of options with manufacturers selected.

a. Limit Switches:  Automatically stop integral power system when telescoping stands reach fully opened or closed positions.

b. Motion Monitor:  Flashing light with self-contained warning horn, rated at 85 decibels (dB) at 10 feet (3 m), mounted under telescoping seating for audio and visual warning during integral power operation.

c. Transformer:  As required to coordinate current characteristics of motor and control station with building electrical system.

Portable telescoping stands are generally manually operated; revise paragraph below if power-operated units are required.

F. Portable Telescoping Stands:  Manually operated stands that can be relocated using lift trucks to produce different seating arrangements.

Delete first subparagraph below if not applicable.  Coordinate with specification method selected in "Manufacturers" Article.

1. Basis-of-Design Product:  <Insert manufacturer's name; product name or designation.>

2. Transport System:  [Self-contained hydraulic system, integral to stands] [Self-contained air-pallet system, integral to stands] [Portable hydraulic dollies] [Portable air-pallet dollies] that move stands without marring or damaging floor over which stands move.

Delete subparagraph below if integral transport systems are required.

a. Quantity:  [Two] <Insert number> dollies.

If means to positively attach portable stands to floor are needed, insert requirements here.

G. Row Spacing:  [As indicated on Drawings] <Insert dimension>.

Coordinate row spacing and rise with seat type and depth specified and with manufacturers selected.

H. Row Rise:  [As indicated on Drawings] <Insert dimension>.

Delete paragraph below if not required.  If retaining, indicate height on Drawings or insert below.

I. Elevated Front Row:  [In height indicated on Drawings] <Insert dimension>.

Delete paragraph and subparagraphs below if bench seats are not required.

J. Bench Seats and Skirts:

Delete first subparagraph below if not applicable.  Coordinate with specification method selected in "Manufacturers" Article.

1. Basis-of-Design Product:  <Insert manufacturer's name; product name or designation.>

2. Material:  [Lumber with transparent finish] [Molded polyethylene plastic with contour seat surface] [Steel sheet with vinyl-clad finish] <Insert requirements>.

Delete first subparagraph below for transparent finish lumber.

a. Colors:  [As selected by Architect from manufacturer's standard] <Insert requirements>.

3. Bench Height:  [Not less than 16 inches (406.4 mm) or more than 18 inches (457.2 mm)] <Insert height>.

Coordinate depth in subparagraph below with seat material specified, row spacing, and requirements of authorities having jurisdiction.

4. Bench Depth:  [10 inches (254 mm)] [12 inches (304.8 mm)] <Insert depth>.

Delete paragraph and subparagraphs below if chairs are not required.  Products vary in materials and fabrication among manufacturers.  Expand descriptions below to suit Project.

K. Chairs:  Rotating from upright, locked position to folded-down position that allows supporting platform to telescope for storage.  In upright position, seats fold up to allow passage of persons within row.

Delete first subparagraph below if not applicable.  Coordinate with specification method selected in "Manufacturers" Article.

1. Basis-of-Design Product:  <Insert manufacturer's name; product name or designation.>

2. Operation:  [Manual] [Spring assisted, manual fold up.  Automatic release from upright position, except for first row, and automatic fold down to stored position] [Automatic].

Chairs with armrests are not available in 18-inch (457.2-mm) width from some manufacturers.

3. Chair Width:  [As indicated on Drawings] <Insert requirements>.

4. Seat Height:  [Not less than 17 inches (431.8 mm) or more than 18 inches (457.2 mm)] <Insert dimension>.

Coordinate options retained in subparagraphs below for seats, backs, and armrests with manufacturers selected.  Revise if more than one color is required or if color is specified.

5. Seats:  [Polyethylene plastic] [Polyethylene plastic with padded upholstery insert] [Fully upholstered spring seat].

a. Color:  [As selected by Architect from manufacturer's full range] <Insert requirements>.

6. Backs:  [Polyethylene plastic] [Polyethylene plastic with padded upholstery insert] [Fully upholstered].

a. Color:  [As selected by Architect from manufacturer's full range] <Insert requirements>.

7. Armrests:  [Polyethylene plastic] <Insert requirements>.

a. Color:  [As selected by Architect from manufacturer's full range] <Insert requirements>.

If specific colors or designs are required for chair supports, insert requirements here.

To comply with accessibility requirements, retain first paragraph and subparagraphs below and indicate number and locations of wheelchair-accessible seating on Drawings.  Interkal offers removable modular chairs.

L. Wheelchair-Accessible Seating:  Locate [cutouts] [retractable truncated benches] [removable modular chairs] to provide wheelchair-accessible seating at locations indicated on Drawings.

1. Equip tiers adjacent to wheelchair-accessible seating with front rails as required by referenced safety standard.

Delete subparagraph below if no cutouts for wheelchair-accessible seating.

2. Equip cutouts with full-width front closure panels that match decking construction and finish and that extend from underside of tiers adjacent to cutouts to 1-1/2 inches (38.1 mm) from finished floor.

M. Deck:  Plywood.

Hussey offers plywood with transparent finish or polyethylene overlay.  Interkal and Irwin provide polyethylene finish.

1. Finish:  [Polyethylene textured overlay bonded to substrate with exterior glue] [Transparent finish] [Manufacturer's standard finish] <Insert requirements>.

Delete subparagraph below for transparent finish.

2. Color:  [As selected by Architect from manufacturer's standard colors] <Insert requirements>.

N. Risers:  Steel sheet with manufacturer's standard rust-inhibiting coating or hot-dip galvanized finish.

Hussey offers both aluminum and steel rails; if aluminum is required, revise first paragraph and subparagraph below.

O. Rails:  Structural steel, finished with manufacturer's standard powder coat system.

1. Color:  [Black] <Insert requirements>.

P. Understructure:  Structural steel.

Retain second option in first subparagraph below for Interkal's finish, third option for Hussey's standard finish, fourth option for Irwin's standard or Hussey's optional finish.  For high-humidity locations, insert finish to suit Project; consult manufacturers for guidance.

1. Finish:  [Manufacturer's standard] [Water-based acrylic] [Alkyd-enamel two-coat system,] [Epoxy-resin-based textured powder coat system,] <Insert finish> rust-inhibiting finish.

2. Color:  [Manufacturer's standard] <Insert requirements>.

Q. Support Column Wheels:  Nonmarring, soft, rubber-face wheel assembly under each support column.

1. Include wheels of size, number, and design required to support stands and operate smoothly without damaging the flooring surface, but not less than four per column or less than 3-1/2 inches (88.9 mm) in diameter and 1 inch (25.4 mm) wide.

R. Aisle Closures:  Manufacturer's standard that produce flush vertical face at aisles when system is stored.

S. Fasteners:  Vibration proof, in manufacturer's standard size and material.

T. Accessories:

Delete accessories listed below that are not required.

1. Slip-resistant, abrasive tread [nosings] [surfaces] at vertical aisles.

2. Intermediate aisle steps, fully enclosed, at each vertical aisle.

3. Transitional top step, fully enclosed, at each vertical aisle where last row of telescoping stands is adjacent to a cross aisle.

4. Removable front steps, fully enclosed, at each vertical aisle, that engage with front row to prevent accidental separation or movement and are equipped with a minimum of four skid-resistant feet.

5. Portable access-stair units equipped with handrails, with not less than four full-swiveling, nonmarring wheels and a locking mechanism to prevent movement during use.

6. [Removable] [Folding, nonremovable] mid-aisle handrails located at centerline of each vertical aisle with seating on both sides.

7. End rails (guards) that are [telescoping and self-storing] [removable].

8. Back rails (guards) along rear of units where required by referenced safety standard.

9. Front rails (guards) along front of units where required by referenced safety standard.

10. Removable, programming-support front rails to allow seating in upper rows while lower rows remain in the stored position.

11. Rear fillers including supports for closing openings between top row and rear wall of adjoining construction.

12. Gap fillers for closing openings between stand units or between stand units and adjoining construction.

13. End panels covering exposed ends of stands in stored position.

14. Back panels covering rear of freestanding units.  Panels extend full height and width of unit.

Coordinate power requirements of scorer's table with Division 26 Sections.

15. Removable scorer's table that attaches to mounting sockets installed in telescoping stand unit.

Folding backrests require row spacing of 30 inches (762 mm) or more.

16. Folding backrests permanently attached to bench units.

a. Material:  [Lumber with transparent finish] [Molded polyethylene plastic with contour support surface in color matching seat] <Insert requirement>.

17. Row letters at each row end.

18. Seat numbers [at 18 inches (457 mm) o.c. on benches] [and] [on each chair].

Verify requirements and availability of spanner seats with manufacturers selected.

19. Removable spanner seats, designed to span area between adjacent stand units[, in locations indicated on Drawings] <Insert requirements>.

Insert other accessories to suit Project.

2.4 FABRICATION

A. Fabricate understructure from structural steel members in size, spacing, and form required to support design loads specified in referenced safety standard.

B. Weld understructure to comply with applicable AWS standards.

C. Round corners and edges of components and exposed fasteners to reduce snagging and pinching hazards.

D. Form exposed sheet metal with flat, flush surfaces, level and true in line, and without cracking and grain separation.

E. Seating Supports:  Fabricate supports to withstand, without damage to components, the forces imposed by use of stands without failure or other conditions that might impair the usefulness of seating units.

Delete subparagraph below if no benches.

1. Cantilever bench seat supports to produce toe space uninterrupted by vertical bracing.

PART 3 -  EXECUTION

3.1 EXAMINATION

A. Examine areas where telescoping stands are to be installed, with Installer present, for compliance with requirements for installation tolerances and other conditions affecting performance of work.

1. Proceed with installation only after unsatisfactory conditions have been corrected.

3.2 INSTALLATION

A. Install telescoping stands to comply with referenced safety standard and manufacturer's written instructions.

3.3 ADJUSTING AND CLEANING

A. On completion of installation, lubricate, test, and adjust each telescoping stand unit so that it operates according to manufacturer's written operating instructions.

B. Clean installed telescoping stands on exposed and semiexposed surfaces.  Touch up shop-applied finishes or replace components as required to restore damaged or soiled areas.

3.4 DEMONSTRATION

ICC 300 and NFPA 102 require Owner to maintain telescoping stands and perform annual inspections.  Revise paragraph below to suit Project.

A. Engage a factory-authorized service representative to train Owner's maintenance personnel to adjust, operate, and maintain telescoping stands.  Refer to Division 01 Section "Demonstration and Training."

END OF SECTION 126600

TELESCOPING STANDS
126600 - 1

