2.22
DEMOLITION
2.22.1
Scope
2.22.1.1
Furnish all labor, materials and equipment necessary to complete all demolition and removal of material as indicated on the drawings and specified herein.

2.22.1.2
The items of work to be performed include, but are not limited to:


A.
Removal of gas, water, air, sprinkler and miscellaneous piping as indicated.


B.
Removal of duct as indicated.


C.
Removal of air conditioning equipment as indicated.


D.
Removal of cables, sheaves, motors, reducers and other mechanical equipment.  Store where directed by Martin Marietta Construction Engineer.

2.22.2
Description of Work
2.22.2.1
The extent of demolition work is shown on drawings.  Demolition includes the removal of and disposal of materials, as shown and specified herein.  Include in this work the shutoff, capping and continuation of utility services as required.

2.22.2.2
When utility lines are encountered that are not indicated on the drawings they shall be disposed of in accordance with instructions of the Martin Marietta Construction Engineer.

2.22.3
Dust Control
2.22.3.1
Dust resulting from demolition and removal work shall be controlled to prevent the spread of dust and avoid creation of a nuisance in surrounding area.  Use of water will not be permitted when it will result in, or create, hazardous or objectionable conditions such as ice, flooding and pollution.

2.22.4
Protection
2.22.4.1
Protection of Personnel:  Where the safety of pedestrians and drivers are endangered in the area of removal work, barricades for traffic shall be used.  Advance notice shall be given to the Martin Marietta Construction Engineer prior to beginning any such work.

2.22.5
Use of Explosive

Use of explosives will not be permitted.

2.22.6
Filing

Holes and other hazardous openings shall be filled with compacted Mississippi River sand.

2.22.7
Cleanup
2.22.7.1
Debris and Rubbish Control.  Debris and rubbish shall be removed and transported in a manner that will prevent spillage on streets or adjacent areas.

2.22.7.2
Regulations.  Federal, State and Local regulations regarding hauling and disposal shall be complied with.

STD SPEC
2.22 - 2 of 2


