DIVISION IV - ELECTRICAL

4.0
GENERAL
4.0.1
Introduction

This division of the specifications covers all electrical construction work requisite and necessary to install a complete and operating system as described on the project drawings and in these specifications.

4.0.2
Scope of Work

[Provide a brief description of the job scope--including scope of work, area classifications, type of environment (outdoors, office, factory, etc.), risks involved (truss level work, etc.) and special requirements.]

4.0.3
Instructions
4.0.3.1
Project Drawings and Specifications

The Contractor shall review all contract documents and visit the project site to thoroughly familiarize himself with existing conditions.


Any conflicts which arise between these specifications, the project drawings, or applicable codes shall be brought to the attention of the Lockheed Martin Construction Engineer for resolution.


The drawings indicate the extent, general location, and arrangement of equipment.  The Contractor shall be specifically responsible for the coordination and proper relation of his work to the site and to the work of all trades.  Equipment shall be located so as to avoid interferences with mechanical and structural features and shall provide specified clearances and required accessibility.  If conflicts occur necessitating departures from the contract drawings and these specifications, details of those departures and the reasons therefor, shall be submitted (prior to installation) to the Lockheed Martin Construction Engineer for written approval.


Prior to roughing-in, the Lockheed Martin Construction Engineer will have the option, at no additional cost to the contract, of relocating equipment a distance of five feet or less from the location shown on the drawings.


Final equipment locations or orientations may differ from that represented on the project drawings because of variations in manufactured products.  The Contractor shall connect to this equipment at no extra cost to the contract.


All work shall be initiated from the established baselines and bench marks.  Additional stakes, templates, and benchmarks as necessary shall be established and maintained to properly control the course of work.

4.0.4
Materials and Workmanship

Unless specifically stated otherwise, the Contractor may propose the use of a substitute for any type of material, equipment, or brand name specified.  All proposed substitutes must meet or exceed the performance and configuration criteria specified.  Data on the proposed substitution shall be submitted to the Lockheed Martin Construction Engineer for approval in accordance with procedures outlined in Division VI of the Specification after contract award.  In addition, the Contractor shall indicate in the submittal any design changes resulting from item substitution.  Items which may not be substituted will be clearly noted: "No substitutes will be allowed."


Use of approved substitutes meeting the intent of the project package will be at no additional cost to Lockheed Martin.  Approved substitutes by Contractors, Subcontractor, or Suppliers shall not be basis for additional cost to the contract.


Submittal requirements are intended as a guide and some items may require interpretation.  Contact the Lockheed Martin Construction Engineer for clarification if questions arise concerning submittal requirements.


Note:  A substitute material or equipment of lesser value than contract requirements, if accepted by Lockheed Martin, may result in a compensatory credit to the contract price.

All materials furnished under this contract shall be new and of industrial quality that meet or exceed the performance requirements indicated on the project drawings and these specifications.


Materials and equipment shall be essentially the standard catalog products of manufacturers who are regularly engaged in the production of such materials and equipment.  They shall also be the manufacturer's latest standard design which complies with the project requirements.  Where two or more units of the same class of equipment are required, these units shall be the products of a single manufacturer.  Each major component of equipment shall bear the manufacturer's name, address, model, and serial numbers on a nameplate securely affixed to the device in a prominent position.  The nameplate of a distributing agent is not acceptable.


It is the Contractor's responsibility to furnish all labor, materials, tools, equipment, and supervision necessary for the work shown on the project drawings and specified herein.


The Contractor shall utilize thoroughly trained and experienced craftsmen familiar with the items required and with the manufacturer's recommended methods of installation and testing.


The Lockheed Martin Construction Engineer will provide storage space for the Contractor's exclusive use.  The material shall be delivered and stored on site as directed by the Lockheed Martin Construction Engineer in accordance with Exhibit C - Temporary Field Office.

Equipment shop drawings will be provided to the Contractor prior to final hook-up of Lockheed Martin furnished items.  Any assembly or interconnection (labor only) of such items shall be made at no additional cost to the contract.

4.0.5
Codes and Standards

All material as well as the entire installation shall conform to the latest issue of any applicable standards as established by the following:


SYMBOL 183 \f "Symbol" \s 10 \h
ANSI
American National Standards Institute


SYMBOL 183 \f "Symbol" \s 10 \h
ETL
Electrical Testing Laboratory


SYMBOL 183 \f "Symbol" \s 10 \h
ICEA
Insulated Cable Engineers Association


SYMBOL 183 \f "Symbol" \s 10 \h
IEEE
Institute of Electrical and Electronics Engineers


SYMBOL 183 \f "Symbol" \s 10 \h
NEC
National Electrical Code


SYMBOL 183 \f "Symbol" \s 10 \h
NEMA
National Electrical Manufacturers Association


SYMBOL 183 \f "Symbol" \s 10 \h
NESC
National Electrical Safety Code


SYMBOL 183 \f "Symbol" \s 10 \h
NETA
National Electrical Testing Association


SYMBOL 183 \f "Symbol" \s 10 \h
NFPA
National Fire Protection Association


SYMBOL 183 \f "Symbol" \s 10 \h
OSHA
Occupational Safety and Health Administration


SYMBOL 183 \f "Symbol" \s 10 \h
UL
Underwriters Laboratories, Inc.

4.0.6
Construction Debris / Waste and Rubbish

The requirements for placement, storage and disposal of all contruction debris, scraps, excess material, and trash generated by the contractor shall be as outlined in the General Conditions and Exhibit M - Environmental Management Requirements.

4.0.7
Submittals

The requirements for submittals and the submittal procedures are outlined in Division VI and Exhibit H - Shop Drawing Submittal.

4.0.8
As-built Drawings

The Contractor shall furnish red-lined as-built drawings per Exhibit C - Drawings, Specifications, and As-Builts.  Red-lined as-built drawings shall incorporate all special conditions and show all modifications to the original drawings as constructed, including interfaces with the modifications to existing equipment and all changes to the contract.

STD SPEC
4.0 - 3

