4.42
DOCUMENTATION
4.42.1
General Requirements

The Contractor shall furnish five copies of the following system documentation:


SYMBOL 183 \f "Symbol" \s 10 \h
Operation and maintenance manuals and spare parts list


SYMBOL 183 \f "Symbol" \s 10 \h
As-built shop and subsurface record drawings


SYMBOL 183 \f "Symbol" \s 10 \h
Installation instruction

4.42.2
Installation Instruction

The Contractor shall furnish theLockheed MartinConstruction Engineer with five copies of manufacturer's installation instructions for each sub-item of equipment prior to installation of the equipment.

STD SPEC
4.42 - 1

