How To Install Tie-downs and Anchors
When strong winds blow, manufactured homes need special protection. No matter where you live, you need tie-downs and anchors to keep your manufactured home stable and secure. Before you start the job, you should understand why this wind protection system is necessary, and know the basic requirements for tie-downs and anchors. You also need to become familiar with all the components that make up your anchoring system. It's a good idea to consult with an experienced professional installer or building inspector if you have any questions or doubts about the installation.

Why tie-downs?
Manufactured homes must have anchors and tie-downs to keep them in place during high winds. Compared to site-built homes, manufactured homes are relatively lightweight. They have flat sides and ends, and they are built on frames rather than foundations. Almost all manufactured homes are elevated, situated on top of some sort of pier or foundation system. Wind can get under the homes and lift them up. In addition, the wind passing over the top of your manufactured home can create an uplift force.

To resist wind forces, you need two different types of tie-downs. In older homes, a vertical or over-the-top tie-down is needed to compensate for the uplift force. A diagonal or frame tie-down is needed to compensate for both lateral and uplift forces. Singlewide manufactured homes need both types of tie-downs. Doublewide homes only need the diagonal ties.

	Tie Down Requirements for manufactured homes

	• Singlewide manufactured homes require both diagonal and vertical ties.
• Doublewide manufactured homes require only diagonal ties.

	 
Zone 1
Zone 2
Length of manufactured home (ft)
Number of Vertical Tiles per Side
Number of Diagonal Tiles per Side
Number of Vertical Tiles per Side
Number of Diagonal Tiles per Side
Up to 40'
2
3
2
4
40' - 46'
2
3
2
4
46' - 49'
2
3
2
5
49' - 54'
2
3
3
5
54' - 58'
2
4
3
5
58' - 64'
2
4
3
6
64' - 70'
2
4
3
6
70' - 73'
2
4
3
7
73' - 84'
2
5
4
7

	• To determine the length, do not include the draw bar.
• Numbers based on minimum working load per anchor of 3,150 pounds, with a 50% overload of 4,725 pounds.
• Diagonal ties must deviate at least 40 degrees from a vertical direction.
• If your home has special site considerations, a registered professional engineer or architect can devise an alternate anchoring system.



	



Anchoring system components
Types of tie-downs. The type of tie-down you select usually depends on when your manufactured home was built. Older homes often have exposed over-the-top tie-downs. This is an effective system, but it does detract from the appearance of your house. The straps are placed over the siding and roof. Until recent years, most manufactured homes came equipped with concealed over-the-top tie-downs. These straps are located just under the exterior siding and metal roof. The end of the strap hangs out under the manufactured home. Newer model homes might not have any type of over-the-top tie-down. Because of increased structural strength of manufactured homes, these models are secured with anchoring straps attached to the home's steel frame rails, called frame anchors. Doublewides are also secured with frame anchors.

[image: image1.jpg]


Types of anchors. You'll find anchors available for different types of soil conditions, including concrete slab. Auger anchors have been designed for both hard soil and soft soil. Rock anchors or drive anchors allow attachment to a rock or coral base. This type of anchor is also pinned to the ground with crossing steel stakes. If you will be pouring a concrete base, you can install a concrete anchor first.

You need to know your soil type to select the right anchor. Soil classifications usually include: rock/hard pan, heavy, sandy gravel, heavy sand, silty gravel, clayey gravel, clay, silty clay, clayey silt, uncommitted fill or peat/organic clay.

Whatever type of anchors you select, carefully follow the installation instructions. Auger anchors (screw-in anchors) can be installed manually by inserting a metal bar through the top of the anchor for added leverage or with a machine designed for this purpose. It's important to screw this type of anchor in. Do not dig a hole to install. 

Hook-up and tension device: The tie-down must be connected to the anchor with a system that allows for adjusting the tension. It must also be weather resistant and strong enough to support as much weight as the anchor and tie-down. If the tie-down is fastened to a ground anchor with a drop-forged turnbuckle, the turnbuckle should be ½ inch or larger galvanized steel. The turnbuckle should have forged or welded eyes, not hook ends.

The roof protector. If you have exposed over-the-top tie-downs, you must have some sort of roof protectors placed under the strap or cable at the edge of the roof. Roof protectors are also called roof brackets, buffers or thimbles. These prevent the tie-down strap or cable from damaging the roof and will prevent the edge of the roof from cutting through the tie-down. Wood blocks will work, and are better than nothing, but commercial protectors will do a better job of distributing the pressure of the cable. Commercial protectors will last longer, too. 

Specifications. Make sure all your anchoring equipment (anchors, turnbuckles, straps, hookups) is capable of resisting an allowable working load of at least 3,150 pounds. The equipment must also be capable of withstanding a 50 percent overload, 4,725 pounds. This also applies to the attachment point on the manufactured home. Only use anchoring equipment that is weather and corrosion resistant. YOU MUST ALIGN EXPOSED OVER-THE-TOP TIE-DOWNS WITH A ROOF RAFTER TO PREVENT DAMAGING THE ROOF.

Tie-downs can be either cable or strap. If cable is used, it should be galvanized steel or stainless steel. Minimum diameter size is 3/8 inches for 7 x 7, or ¼ inch for "aircraft" cable, 7 x 19. If flat steel strapping is used, it must be a minimum of 1-¼ inches wide x .035 inches thick.

Tie-down and anchor installation 
Installing a tie-down and anchoring system is not too complicated for most do-it-yourselfers. It's wise, however, to seek experienced help to make sure you are using the proper anchor for your soil conditions, enough anchors for your wind conditions, the correct tension on your tie-down, and proper angle for your frame tie-downs. At the very least you should have a building inspector or a trained installer check over your finished work. 

STEP 1: Level house
Make sure your home is level before anchoring it to the ground.

STEP 2: Check charts
Check the wind zone chart for your location and determine the required number of anchors recommended for your zone. You should regard this number as the minimum needed for your home.

STEP 3: Determine soil type
Merely looking at the ground under your home isn't enough. Some types of anchors need to be installed five feet deep. Talk to a building inspector to determine your soil type. If you will be attaching your tie-downs to a concrete foundation, make sure it is at least 4 inches thick.

STEP 4: Select anchors
Talk to a supplier or installer for advice. Your soil type will determine the type of anchor.

STEP 5: Select hook-up 
Depending on your tie-down system, over-the-top or frame, select the appropriate hook-up and tensioning device. Make sure the entire system is certified to a 4,725 pound capacity.

STEP 6: Locate wires/cables
Mark the location of your electric, cable, gas, water, sewer and phone lines on the ground before you install anchors. Make sure you have located everything prior to digging.

STEP 7: Position over-the-top tie-downs
If you are installing an exposed over-the-top tie-down, the strap or cable should be positioned over a roof rafter. Protect the edges of your roof with a roof protector of some type. Make sure the strap or cable does not cover a window [image: image2.jpg]A vertical anchor with a
diagonal tiedown requires
a sabiizaton atachment
on top to prevent
movement

Tiedown pnie Metal stabilizing device

onanchor

(shown rotated 90%)

/ Anchor




or door.

STEP 8: Install anchor
You'll find specific installation instructions with your anchor. Follow them carefully. For a vertical tie-down, the anchor is installed vertically.

For a frame/diagonal tie-down, the anchor can be installed to the same angle as the tie-down. This angle should be at least 40 degrees. The anchor can be installed vertically if you also install a stabilization device to keep the anchor from moving sideways. A metal stabilization device can be attached to the top of the anchor and buried in the ground. Another option is to pour a concrete collar around the top of the anchor. The collar should be at least 10 inches in diameter and 18 inches deep.

STEP 9: Adjust tension 
Alternating from side to side, adjust your tie-downs to the appropriate tension. Don't do one side of your house and then the other.

[image: image3.jpg]‘The vertical anchor with a
diagonal tie-down can be
stabilized with a metal
stabiizing device (shown
above) or a concrete collar.

Concrete collar

onanchor  nchor

10:x18: installed




 

 

 

