Copyright 2002 and 2005 AIA
MASTERSPEC Full Length
11/02 (R 02/06)

Copyright 2002 and 2005 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 012100 - ALLOWANCES
This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and other Division 01 Specification Sections, apply to this Section.

1.2 SUMMARY

A. This Section includes administrative and procedural requirements governing allowances.

1. Certain items are specified in the Contract Documents by allowances.  Allowances have been established in lieu of additional requirements and to defer selection of actual materials and equipment to a later date when additional information is available for evaluation.  If necessary, additional requirements will be issued by Change Order.

B. Types of allowances include the following:

Adjust list below to suit Project.

1. Lump-sum allowances.

2. Unit-cost allowances.

3. Quantity allowances.

4. Contingency allowances.

5. Testing and inspecting allowances.

C. Related Sections include the following:

Division 01 Sections below contain requirements that relate directly to allowances.

1. Division 01 Section "Contract Modification Procedures" for procedures for submitting and handling Change Orders for allowances.

Delete subparagraph below if quantity allowances are not included.

2. Division 01 Section "Unit Prices" for procedures for using unit prices.

Delete first subparagraph below if Project does not require using allowances to pay for testing and inspecting.

3. Division 01 Section "Quality Requirements" for procedures governing the use of allowances for testing and inspecting.

4. Divisions 02 through 49 Sections for items of Work covered by allowances.

1.3 SELECTION AND PURCHASE

Coordinate first paragraph below with Division 01 Section "Submittal Procedures." Indicate critical dates on both Contractor's Construction Schedule and Submittals Schedule.

A. At the earliest practical date after award of the Contract, advise Architect of the date when final selection and purchase of each product or system described by an allowance must be completed to avoid delaying the Work.

B. At Architect's request, obtain proposals for each allowance for use in making final selections.  Include recommendations that are relevant to performing the Work.

C. Purchase products and systems selected by Architect from the designated supplier.

1.4 SUBMITTALS

Retain first paragraph below because actual cost is seldom the same as allowance amount.  This is good practice even if costs are identical (for example, zero-dollar Change Order).

A. Submit proposals for purchase of products or systems included in allowances, in the form specified for Change Orders.

B. Submit invoices or delivery slips to show actual quantities of materials delivered to the site for use in fulfillment of each allowance.

C. Coordinate and process submittals for allowance items in same manner as for other portions of the Work.

1.5 COORDINATION

A. Coordinate allowance items with other portions of the Work.  Furnish templates as required to coordinate installation.

1.6 [LUMP-SUM] [UNIT-COST] [AND] [QUANTITY] ALLOWANCES

Requirements in this Article coordinate with AIA Document A201.  Revise to suit Project.

A. Allowance shall include cost to Contractor of specific products and materials [ordered by Owner] [selected by Architect] under allowance and shall include taxes, freight, and delivery to Project site.

B. Unless otherwise indicated, Contractor's costs for receiving and handling at Project site, labor, installation, overhead and profit, and similar costs related to products and materials [ordered by Owner] [selected by Architect] under allowance shall be included as part of the Contract Sum and not part of the allowance.

1.7 CONTINGENCY ALLOWANCES

Delete this Article if contingency allowances are not used.  See Evaluations.

A. Use the contingency allowance only as directed by Architect for Owner's purposes and only by Change Orders that indicate amounts to be charged to the allowance.

Retain first paragraph below because contingency allowances differ from lump-sum and unit-cost allowances.  Contractor does not know what Owner will use contingency allowances for when preparing the bid.  First two paragraphs below provide an equitable way to reimburse Contractor for unknown costs associated with contingency allowances.  Retain third paragraph to credit Owner with unusual amounts remaining when Project is complete.  See Evaluations.

B. Contractor's[ overhead, profit, and] related costs for products and equipment ordered by Owner under the contingency allowance are included in the allowance and are not part of the Contract Sum.  These costs include delivery, installation, taxes, insurance, equipment rental, and similar costs.

C. Change Orders authorizing use of funds from the contingency allowance will include Contractor's related costs and reasonable overhead and profit margins.

D. At Project closeout, credit unused amounts remaining in the contingency allowance to Owner by Change Order.

1.8 TESTING AND INSPECTING ALLOWANCES

Delete this Article if Project does not include allowances for testing and inspecting.  Coordinate requirements with Division 01 Section "Quality Requirements." See Evaluations.

A. Testing and inspecting allowances include the cost of engaging testing agencies, actual tests and inspections, and reporting results.

B. The allowance does not include incidental labor required to assist the testing agency or costs for retesting if previous tests and inspections result in failure.  The cost for incidental labor to assist the testing agency shall be included in the Contract Sum.

C. Costs of services not required by the Contract Documents are not included in the allowance.

D. At Project closeout, credit unused amounts remaining in the testing and inspecting allowance to Owner by Change Order.

1.9 UNUSED MATERIALS

Delete this Article if allowances are used for low-cost or single-unit items because retaining the requirement in these circumstances could be unnecessary.  Specify requirements for extra materials (attic stock) in the Section that specifies the product covered by the allowance.

A. Return unused materials purchased under an allowance to manufacturer or supplier for credit to Owner, after installation has been completed and accepted.

1. If requested by Architect, prepare unused material for storage by Owner when it is not economically practical to return the material for credit.  If directed by Architect, deliver unused material to Owner's storage space.  Otherwise, disposal of unused material is Contractor's responsibility.

PART 2 -  PRODUCTS (Not Used)

PART 3 -  EXECUTION

3.1 EXAMINATION

A. Examine products covered by an allowance promptly on delivery for damage or defects.  Return damaged or defective products to manufacturer for replacement.

3.2 PREPARATION

A. Coordinate materials and their installation for each allowance with related materials and installations to ensure that each allowance item is completely integrated and interfaced with related work.

3.3 SCHEDULE OF ALLOWANCES

Copy and re-edit paragraph below for each allowance required for Project.  See samples of allowance descriptions in the Evaluations.

A. Allowance No. <Insert number>:  Include <Insert allowance description> as specified in Division <Insert Division number> Section "<Insert Section title>"[ and as shown on Drawings].

END OF SECTION 012100

	ALLOWANCES
	012100 - 1



