Copyright 2006 AIA
MASTERSPEC Full Length
02/06

Copyright 2006 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 074216 - INSULATED-CORE METAL WALL PANELS
Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

Retain or delete this article in all Sections of Project Manual.

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 01 Specification Sections, apply to this Section.

1.2 SUMMARY

A. Section Includes:

1. Foamed-insulation-core metal wall panels.

2. Laminated-insulation-core metal wall panels.

3. Honeycomb-core metal wall panels.

B. Related Sections:

Retain Sections in subparagraphs below that contain requirements Contractor might expect to find in this Section but are specified in other Sections.

1. Division 05 Section "Cold-Formed Metal Framing" for cold-formed metal framing supporting metal wall panels.

2. Division 07 Section "Metal Wall Panels" for single-skin, through-the-face-fastened metal wall, liner, and soffit panels.

3. Division 07 Section "Metal Plate Wall Panels" for solid metal plate wall panels.

4. Division 07 Section "Composite Wall Panels" for metal-faced composite wall panels.

1.3 DEFINITIONS

Retain definition remaining after this Section has been edited.

A. Metal Wall Panel Assembly:  Insulated-core metal wall panels, attachment system components, miscellaneous metal framing, and accessories necessary for a complete weathertight wall system.

1.4 PERFORMANCE REQUIREMENTS

A. General Performance:  Metal wall panel assemblies shall comply with performance requirements without failure due to defective manufacture, fabrication, installation, or other defects in construction.

Retain first paragraph below if Contractor is required to assume responsibility for design.

B. Delegated Design:  Design metal wall panel assembly, including comprehensive engineering analysis by a qualified professional engineer, using performance requirements and design criteria indicated.

Revise rate of air leakage in first paragraph below to suit Project.

C. Air Infiltration:  Air leakage through assembly of not more than [0.06 cfm/sq. ft. (0.3 L/s per sq. m)] <Insert rate> of wall area when tested according to ASTM E 283 at the following test-pressure difference:

Value for test-pressure difference in subparagraph below is ASTM E 283 default; revise to suit Project.  1.57 lbf/sq. ft. (75 Pa) is equivalent to a 25-mph (40-km/h) wind.

1. Test-Pressure Difference:  [1.57 lbf/sq. ft. (75 Pa)] <Insert pressure>.

First paragraph below refers to static-pressure test method, which is method most frequently specified.  ASTM E 331 indicates that "water contained within drainage flashings, gutters, and sills is not considered failure."

D. Water Penetration under Static Pressure:  No water penetration when tested according to ASTM E 331 at the following test-pressure difference:

Revise value in subparagraph below to suit Project.  6.24 lbf/sq. ft. (300 Pa) is equivalent to a 50-mph (80-km/h) wind.

1. Test-Pressure Difference:  [6.24 lbf/sq. ft. (300 Pa)] <Insert pressure>.

First paragraph below refers to dynamic-pressure test method, which evaluates resistance to shifting wind gusts and windblown water.  Although more expensive than static-pressure testing in paragraph above, dynamic testing may be desired for large projects or designs using the rainscreen principle. Designs passing static testing may fail dynamic testing, and vice versa.  Retain both paragraphs to ensure that system will perform satisfactorily.

Design pressure indicated in first paragraph below is an example only; revise to suit Project.  Air-pressure differential of 6.24 lbf/sq. ft. (299 Pa) is equivalent to a 50-mph (80-km/h) wind.

E. Water Penetration under Dynamic Pressure:  No evidence of water leakage when tested according to AAMA 501.1 under dynamic pressure equal to 20 percent of inward-acting, wind-load design pressure of not less than [6.24 lbf/sq. ft. (299 Pa)] <Insert pressure difference> and not more than 12 lbf/sq. ft. (575 Pa).

Retain one of two subparagraphs below.  In first subparagraph, AAMA 501.1's definition of water leakage allows up to 1/2 oz. (15 mL) of water to accumulate on an interior stop or stool integral to system in a 15-minute period in addition to water contained within drained flashings, gutters, and sills.  If this is unacceptable, retain second subparagraph or revise to suit Project.

1. Water Leakage:  As defined according to AAMA 501.1.

2. Water Leakage:  Uncontrolled water infiltrating the system or appearing on system's normally exposed interior surfaces from sources other than condensation.  Water controlled by flashing and gutters that is drained back to the exterior and cannot damage adjacent materials or finishes is not water leakage.

ASTM E 330 in first paragraph below is for composite panels or panels with multiple-layer construction that span structural supports.

F. Structural Performance:  Metal wall panel assemblies shall withstand the effects the following loads and stresses within limits and under conditions indicated, based on testing according to ASTM E 330:

Requirements under each set of performance criteria in two subparagraphs below are examples only.  Insert design loads to suit Project.  Consult a structural engineer experienced in engineering metal wall panel assemblies of type indicated to quantify design loads.  Verify compliance with codes.

1. Wind Loads:  Determine loads based on the following minimum design wind pressures:

Retain one of first two subparagraphs below.  If retaining second, indicate pressures on appropriate elevation Drawings.

a. Uniform pressure of [20 lbf/sq. ft. (958 Pa)] [30 lbf/sq. ft. (1436 Pa)] <Insert design wind pressure>, acting inward or outward.

b. Uniform pressure as indicated on Drawings.

2. Deflection Limits:  Metal wall panel assemblies shall withstand wind loads with horizontal deflections no greater than [1/180] [1/240] <Insert deflection> of the span.

G. Thermal Movements:  Allow for thermal movements from ambient and surface temperature changes by preventing buckling, opening of joints, overstressing of components, failure of joint sealants, failure of connections, and other detrimental effects.  Base calculations on surface temperatures of materials due to both solar heat gain and nighttime-sky heat loss.

Differential values (for aluminum in particular) in subparagraph below are suitable for most of the U.S.

1. Temperature Change (Range):  [120 deg F (67 deg C), ambient; 180 deg F (100 deg C)] <Insert temperature range>, material surfaces.

H. Thermal Performance:  Provide insulated metal wall panel assemblies with thermal-resistance value (R-value) indicated when tested according to ASTM C 518.

1.5 SUBMITTALS

First four paragraphs below are defined in Division 01 Section "Submittal Procedures" as "Action Submittals."

A. Product Data:  For each type of product indicated.  Include construction details, material descriptions, dimensions of individual components and profiles, and finishes for each type of wall panel and accessory.

B. Shop Drawings:  Show fabrication and installation layouts of metal wall panels; details of edge conditions, joints, panel profiles, corners, anchorages, attachment system, trim, flashings, closures, and accessories; and special details.  Distinguish between factory-, shop-, and field-assembled work.

1. Accessories:  Include details of the following items, at a scale of not less than 1-1/2 inches per 12 inches (1:10):

Revise list below to suit Project.

a. Flashing and trim.

b. Anchorage systems.

C. Samples for Initial Selection:  For each type of metal wall panel indicated with factory-applied color finishes.

1. Include similar Samples of trim and accessories involving color selection.

2. Include manufacturer's color charts consisting of strips of cured sealants showing the full range of colors available for each sealant exposed to view.

Delete "Samples for Initial Selection" Paragraph above if colors and other characteristics are preselected and specified or scheduled.  Retain first paragraph below with or without above.

D. Samples for Verification:  For each type of exposed finish required, prepared on Samples of size indicated below.

Sample in first subparagraph below may be difficult to obtain if custom color is specified.

1. Metal Wall Panels:  12 inches (305 mm) long by actual panel width.  Include fasteners, battens, closures, and other metal wall panel accessories.

2. Trim and Closures:  12 inches (305 mm) long.  Include fasteners and other exposed accessories.

3. Accessories:  12-inch- (305-mm-) long Samples for each type of accessory.

First paragraph below is defined in Division 01 Section "Submittal Procedures" as a "Delegated-Design Submittal."  Retain if Work of this Section is required to withstand specific design loads and design responsibilities have been delegated to Contractor or if structural data are required as another way to verify compliance with performance requirements.  Professional engineer qualifications are specified in Division 01 Section "Quality Requirements."

E. Delegated-Design Submittal:  For metal wall panel assembly indicated to comply with performance requirements and design criteria, including analysis data signed and sealed by the qualified professional engineer responsible for their preparation.

Remaining paragraphs are defined in Division 01 Section "Submittal Procedures" as "Informational Submittals."

Retain first paragraph below if Drawings do not include detailed plans or if Project involves unusual coordination requirements.

F. Coordination Drawings:  Exterior elevations, drawn to scale, and coordinating penetrations and wall-mounted items.  Show the following:

Revise subparagraphs below to suit Project.

1. Wall panels and attachments.

2. [Girts] [Stud framing].

3. Wall-mounted items including doors, windows, louvers, and lighting fixtures.

4. Penetrations of wall by pipes and utilities.

Coordinate first paragraph below with qualification requirements in Division 01 Section "Quality Requirements" and as supplemented in "Quality Assurance" Article.

G. Qualification Data:  For [Installer] [professional engineer] [and] [testing agency].

H. Product Test Reports:  Based on evaluation of comprehensive tests performed by a qualified testing agency, for each product.

Retain first paragraph below if Contractor is responsible for field quality-control testing and inspecting.

I. Field quality-control reports.

J. Maintenance Data:  For insulated-core metal wall panels to include in maintenance manuals.

K. Warranties:  Sample of special warranties.

1.6 QUALITY ASSURANCE

A. Installer Qualifications:  An employer of workers trained and approved by manufacturer.

Retain first paragraph below if Contractor selects testing agency or if Contractor is required to provide services of a qualified testing agency in "Field Quality Control" Article.  Qualification requirements are in addition to those specified in Division 01 Section "Quality Requirements," which also includes the definition for "NRTL" (nationally recognized testing laboratory).

B. Testing Agency Qualifications:  Qualified according to ASTM E 329 for testing indicated.

C. Source Limitations:  Obtain each type of metal wall panel from single source from a single manufacturer.

D. Fire-Test-Response Characteristics:  Provide metal wall panels and system components with the following fire-test-response characteristics as determined by testing identical panels and system components per test method indicated below by UL or another testing and inspecting agency acceptable to authorities having jurisdiction.  Identify products with appropriate markings of applicable testing agency.

Subparagraphs below are examples only; revise to suit Project after verifying requirements of authorities having jurisdiction.

Retain first subparagraph below only where fire-resistance-rated wall construction is required and testing has demonstrated that adding insulated wall panels does not reduce fire resistance.  Verify acceptability of such assemblies with authorities having jurisdiction.

1. Fire-Resistance Characteristics:  Provide materials and construction tested for fire resistance per ASTM E 119.

2. Intermediate-Scale Multistory Fire Test:  Tested mockup, representative of completed multistory wall assembly of which wall panel is a part, complies with NFPA 285 for test method and required fire-test-response characteristics of exterior non-load-bearing wall panel assemblies.

3. Radiant Heat Exposure:  No ignition when tested according to NFPA 268.

4. Potential Heat:  Acceptable level when tested according to NFPA 259.

5. Surface-Burning Characteristics:  Provide wall panels with flame-spread index of 25 or less and smoke-developed index of 450 or less, per ASTM E 84.

E. Mockups:  Build mockups to verify selections made under sample submittals and to demonstrate aesthetic effects and set quality standards for fabrication and installation.

Retain first subparagraph below for large-scale mockup.  Indicate portion of wall represented by mockup on Drawings or draw mockup as separate element.  Revise to suit Project or if larger mockup is needed for field performance testing.

1. Build mockup of typical [wall] [corner] panel as shown on Drawings; [one bay wide by one story high] <Insert size> by full thickness, including insulation, supports, attachments, and accessories.

2. Conduct water spray test of mockup of metal wall panel assembly, testing for water penetration according to AAMA 501.2.

Retain first subparagraph below if mockups are not only for establishing appearance factors.

3. Approval of mockups does not constitute approval of deviations from the Contract Documents contained in mockups unless Architect specifically approves such deviations in writing.

Retain subparagraph below if mockups are installed as part of building rather than erected separately and the intention is to make an exception to the default requirement in Division 01 Section "Quality Requirements" for demolishing and removing mockups when directed unless otherwise indicated.

4. Approved mockups may become part of the completed Work if undisturbed at time of Substantial Completion.

Retain paragraph below if Work of this Section is extensive or complex enough to justify a preinstallation conference.

F. Preinstallation Conference:  Conduct conference at [Project site] <Insert location>.

Retain subparagraphs below if additional requirements are necessary; include information about conference.

1. Meet with Owner, Architect, Owner's insurer if applicable, testing and inspecting agency representative, metal wall panel Installer, metal wall panel manufacturer's representative, structural-support Installer, and installers whose work interfaces with or affects metal wall panels including installers of doors, windows, and louvers.

2. Review and finalize construction schedule and verify availability of materials, Installer's personnel, equipment, and facilities needed to make progress and avoid delays.

3. Review methods and procedures related to metal wall panel installation, including manufacturer's written instructions.

4. Examine support conditions for compliance with requirements, including alignment between and attachment to structural members.

5. Review flashings, special siding details, wall penetrations, openings, and condition of other construction that will affect metal wall panels.

6. Review governing regulations and requirements for insurance, certificates, and tests and inspections if applicable.

7. Review temporary protection requirements for metal wall panel assembly during and after installation.

8. Review wall panel observation and repair procedures after metal wall panel installation.

1.7 DELIVERY, STORAGE, AND HANDLING

A. Deliver components, sheets, metal wall panels, and other manufactured items so as not to be damaged or deformed.  Package metal wall panels for protection during transportation and handling.

B. Unload, store, and erect metal wall panels in a manner to prevent bending, warping, twisting, and surface damage.

C. Stack metal wall panels horizontally on platforms or pallets, covered with suitable weathertight and ventilated covering.  Store metal wall panels to ensure dryness, with positive slope for drainage of water.  Do not store metal wall panels in contact with other materials that might cause staining, denting, or other surface damage.

D. Retain strippable protective covering on metal wall panels for period of metal wall panel installation.

1.8 PROJECT CONDITIONS

A. Weather Limitations:  Proceed with installation only when existing and forecasted weather conditions permit assembly of metal wall panels to be performed according to manufacturers' written instructions and warranty requirements.

B. Field Measurements:  Verify locations of structural members and wall opening dimensions by field measurements before metal wall panel fabrication, and indicate measurements on Shop Drawings.

1.9 COORDINATION

A. Coordinate metal wall panel assemblies with rain drainage work, flashing, trim, and construction of [girts,] [studs,] soffits, and other adjoining work to provide a leakproof, secure, and noncorrosive installation.

1.10 WARRANTY

When warranties are required, verify with Owner's counsel that special warranties stated in this article are not less than remedies available to Owner under prevailing local laws.

A. Special Warranty:  Manufacturer's standard form in which manufacturer agrees to repair or replace components of metal wall panel assemblies that fail in materials or workmanship within specified warranty period.

1. Failures include, but are not limited to, the following:

a. Structural failures, including rupturing, cracking, or puncturing.

b. Deterioration of metals and other materials beyond normal weathering.

Verify available warranties and warranty periods for units and components with manufacturers listed in Part 2 articles.

2. Warranty Period:  [Two] <Insert number> years from date of Substantial Completion.

Delete paragraph below if metal wall panels are left unfinished.

B. Special Warranty on Panel Finishes:  Manufacturer's standard form in which manufacturer agrees to repair finish or replace metal wall panels that show evidence of deterioration of factory-applied finishes within specified warranty period.

Coordinate first subparagraph below with finishes retained in Part 2.

1. Exposed Panel Finish:  Deterioration includes, but is not limited to, the following:

a. Color fading more than 5 Hunter units when tested according to ASTM D 2244.

b. Chalking in excess of a No. 8 rating when tested according to ASTM D 4214.

c. Cracking, checking, peeling, or failure of paint to adhere to bare metal.

Verify available warranties for metal wall panel finishes and insert number in subparagraph below.  20-year period is for fluoropolymer finish and is maximum included with manufacturers' published data; 10-year period is usually available for siliconized polyester.  Longer periods for premium finishes may be available.

2. Finish Warranty Period:  [20] [10] <Insert number> years from date of Substantial Completion.

Insert requirements for special weathertightness warranty here if desired.  Panel manufacturers do not typically offer such warranties on wall systems.

PART 2 -  PRODUCTS

2.1 PANEL MATERIALS

Finishes for panel materials in this article are specified here rather than in a separate "Finishes " Article because coil-coated materials are finished before forming panels.

A. Metallic-Coated Steel Sheet:  Restricted flatness steel sheet metallic coated by the hot-dip process and prepainted by the coil-coating process to comply with ASTM A 755/A 755M.

Retain one of first two subparagraphs below.  Coordinate with products specified.

1. Zinc-Coated (Galvanized) Steel Sheet:  ASTM A 653/A 653M, G90 (Z275) coating designation; structural quality.

2. Aluminum-Zinc Alloy-Coated Steel Sheet:  ASTM A 792/A 792M, Class AZ50 coating designation, Grade 40 (Class AZM150 coating designation, Grade 275); structural quality.

3. Surface:  [Smooth, flat] [Embossed] finish.

4. Exposed Coil-Coated Finish:

Select one exposed finish from first eight subparagraphs below.  Verify availability of finishes for products specified.  If retaining more than one, indicate location of each on Drawings or by inserts.  To obtain a proprietary finish system, insert names of coating manufacturers and products.

Revise or insert additional testing requirements in first six subparagraphs below if performance levels indicated in AAMA 621 are not sufficient.  See Evaluations.

a. Two-Coat Fluoropolymer:  AAMA 621.  Fluoropolymer finish containing not less than 70 percent PVDF resin by weight in color coat.  Prepare, pretreat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturers' written instructions.

b. Three-Coat Fluoropolymer:  AAMA 621.  Fluoropolymer finish containing not less than 70 percent PVDF resin by weight in both color coat and clear topcoat.  Prepare, pretreat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturers' written instructions.

c. Four-Coat Fluoropolymer:  AAMA 621.  Fluoropolymer finish containing not less than 70 percent PVDF resin by weight in color coat and clear coats.  Prepare, pretreat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturers' written instructions.

d. Mica Fluoropolymer:  AAMA 621.  Two-coat fluoropolymer finish with suspended mica flakes containing not less than 70 percent PVDF resin by weight in color coat.  Prepare, pretreat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturers' written instructions.

e. Metallic Fluoropolymer:  AAMA 621.  Three-coat fluoropolymer finish with suspended metallic flakes containing not less than 70 percent PVDF resin by weight in both color coat and clear topcoat.  Prepare, pretreat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturers' written instructions.

f. FEVE Fluoropolymer:  AAMA 621.  Two-coat fluoropolymer finish containing 100 percent fluorinated ethylene vinyl ether resin in color coat.  Prepare, pretreat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturers' written instructions.

Finish in first subparagraph below is usually an economy system, although newer, more expensive formulations can provide performance approaching that of high-performance organic coatings.

g. Siliconized-Polyester:  Epoxy primer and silicone-modified, polyester-enamel topcoat; with a dry film thickness of not less than 0.2 mil (0.005 mm) for primer and 0.8 mil (0.02 mm) for topcoat.

Finish in first subparagraph below is used for industrial applications where high corrosion resistance is needed.

h. Plastisol:  Epoxy primer and vinyl plastisol topcoat; with a dry film thickness of not less than 0.2 mil (0.005 mm) for primer and 3.8 mil (0.097 mm) for topcoat.

Finish in subparagraph below is frequently used as a factory finish for interior surfaces.

5. Concealed Finish:  Apply pretreatment and manufacturer's standard white or light-colored acrylic or polyester backer finish, consisting of prime coat and wash coat with a minimum total dry film thickness of 0.5 mil (0.013 mm).

B. Aluminum Sheet:  Coil-coated sheet, ASTM B 209 (ASTM B 209M), alloy as standard with manufacturer, with temper as required to suit forming operations and structural performance required.

1. Surface:  [Smooth, flat] [Embossed] finish.

2. Exposed Coil-Coated Finishes:

Select one exposed finish from first eight subparagraphs below.  Verify availability of finishes for products specified.  If retaining more than one, indicate location of each on Drawings or by inserts.  To obtain a proprietary finish system, insert names of coating manufacturers and products.

Revise or insert additional testing requirements in first six subparagraphs below if performance levels indicated in AAMA 620 are not sufficient.  See Evaluations.

a. Two-Coat Fluoropolymer:  AAMA 620.  Fluoropolymer finish containing not less than 70 percent PVDF resin by weight in color coat.  Prepare, pretreat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturers' written instructions.

b. Three-Coat Fluoropolymer:  AAMA 620.  Fluoropolymer finish containing not less than 70 percent PVDF resin by weight in both color coat and clear topcoat.  Prepare, pretreat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturers' written instructions.

c. Four-Coat Fluoropolymer:  AAMA 620.  Fluoropolymer finish containing not less than 70 percent PVDF resin by weight in color coat and clear coats.  Prepare, pretreat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturers' written instructions.

d. Mica Fluoropolymer:  AAMA 620.  Two-coat fluoropolymer finish with suspended mica flakes containing not less than 70 percent PVDF resin by weight in color coat.  Prepare, pretreat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturers' written instructions.

e. Metallic Fluoropolymer:  AAMA 620.  Three-coat fluoropolymer finish with suspended metallic flakes containing not less than 70 percent PVDF resin by weight in both color coat and clear topcoat.  Prepare, pretreat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturers' written instructions.

f. FEVE Fluoropolymer:  AAMA 620.  Two-coat fluoropolymer finish containing 100 percent fluorinated ethylene vinyl ether resin in color coat.  Prepare, pretreat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturers' written instructions.

Finish in first subparagraph below is usually an economy system, although newer, more expensive formulations can provide performance approaching that of high-performance organic coatings.

g. Siliconized-Polyester:  Epoxy primer and silicone-modified, polyester-enamel topcoat; with a dry film thickness of not less than 0.2 mil (0.005 mm) for primer and 0.8 mil (0.02 mm) for topcoat.

Finish in first subparagraph below is used for industrial applications where high corrosion resistance is needed.

h. Plastisol:  Epoxy primer and vinyl plastisol topcoat; with a dry film thickness of not less than 0.2 mil (0.005 mm) for primer and 3.8 mil (0.097 mm) for topcoat.

3. Exposed Anodized Finish:

Retain one of two options in first subparagraph below.  Class I finish is heavy anodized.  Verify availability with manufacturers.

a. Clear Anodic Finish:  AAMA 611, [AA-M12C22A41, Class I, 0.018 mm] [AA-M12C22A31, Class II, 0.010 mm] or thicker.

Retain one of two options in first subparagraph below.  Verify availability with manufacturers.

b. Color Anodic Finish:  AAMA 611, [AA-M12C22A42/A44, Class I, 0.018 mm] [AA-M12C22A32/A34, Class II, 0.010 mm] or thicker.

Finish in subparagraph below is frequently used as a factory finish for interior surfaces.

4. Concealed Finish:  Apply pretreatment and manufacturer's standard white or light-colored acrylic or polyester backer finish, consisting of prime coat and wash coat with a minimum total dry film thickness of 0.5 mil (0.013 mm).

C. Copper Sheet:  ASTM B 370, cold-rolled copper sheet, H00 temper.

1. Exposed Finish:  Apply the following finish, as specified or indicated on Drawings.

Retain one of four subparagraphs below.

a. Natural finish.

b. Brushed Satin:  CDA M32-06x (Mechanical Finish:  directionally textured, medium satin; Coating:  clear organic, air drying, as specified below):

c. Mirror Polished:  CDA M22-06x (Mechanical Finish:  buffed, specular; Coating:  clear organic, air drying, as specified below):

Retain first subparagraph below with either of last two subparagraphs above.

1) Clear, Organic Coating:  Clear, air-drying, acrylic lacquer specially developed for coating copper-alloy products, applied by air spray in two coats per manufacturer's written instructions, with interim drying, to a total thickness of 1 mil (0.025 mm).

d. Pre-patinated:  ASTM B 882.  Copper sheets artificially aged by chemical reaction to convert surface to inorganic crystalline structure with color range and durability of naturally-formed patina.

D. Stainless-Steel Sheet:  ASTM A 240/A 240M, Type [304] [316], fully annealed.

1. Surface Preparation:  Remove tool and die marks and stretch lines, or blend into finish.

2. Polished Finish:  Grind and polish surfaces to produce uniform finish, free of cross scratches.

Retain first subparagraph below for directional finishes.

a. Run grain of directional finishes with long dimension of each piece.

b. When polishing is completed, passivate and rinse surfaces.  Remove embedded foreign matter and leave surfaces chemically clean.

c. Directional Satin Finish:  No. 4.

Retain subparagraph below for nondirectional finish.

3. Bright, Cold-Rolled, Unpolished Finish:  No. 2B.

Insert requirements for zinc-tin alloy-coated (terne-coated) stainless steel, zinc, titanium, or other exotic metals if required.  Verify availability with manufacturers.

E. Panel Sealants:

1. Sealant Tape:  Pressure-sensitive, 100 percent solids, gray polyisobutylene compound sealant tape with release-paper backing.  Provide permanently elastic, nonsag, nontoxic, nonstaining tape 1/2 inch (13 mm) wide and 1/8 inch (3 mm) thick.

2. Joint Sealant:  ASTM C 920; elastomeric polyurethane, polysulfide, or silicone sealant; of type, grade, class, and use classifications required to seal joints in metal wall panels and remain weathertight; and as recommended in writing by metal wall panel manufacturer.

3. Butyl-Rubber-Based, Solvent-Release Sealant:  ASTM C 1311.

2.2 INSULATION FOR PANEL CORES

Retain first option in first paragraph below for foam-core panels.  Retain second option for laminated-core panels.

A. Polyisocyanurate Insulation:  Closed cell, modified polyisocyanurate foam using a non-CFC blowing agent, [foamed-in-place] [board] type, with maximum flame-spread index of 25 and smoke-developed index of 450.

1. Closed-Cell Content:  90 percent when tested according to ASTM D 2856.

B. Extruded-Polystyrene Board Insulation:  ASTM C 578, Type IV, 1.60-lb/cu. ft. (26-kg/cu. m) minimum density, unless otherwise indicated; with maximum flame-spread index of 25 and smoke-developed index of 450.

C. Molded-Polystyrene Board Insulation:  ASTM C 578, [Type I, 0.9 lb/cu. ft. (14 kg/cu. m)] [Type II, 1.35 lb/cu. ft. (22 kg/cu. m), Class 2 or 3, Grade 3], with maximum flame-spread index of 25 and smoke-developed index of 450.

2.3 MISCELLANEOUS METAL FRAMING

See "Miscellaneous Metal Framing" Article in the Evaluations for a discussion of corrosion-resistant coatings on components.  First option in first paragraph below is minimum permitted by ASTM C 645; second option gives greater corrosion resistance.

A. Miscellaneous Metal Framing, General:  ASTM C 645, cold-formed metallic-coated steel sheet, [ASTM A 653/A 653M, G40 (Z120) hot-dip galvanized] [ASTM A 653/A 653M, G60 (Z180) hot-dip galvanized], or coating with equivalent corrosion resistance unless otherwise indicated.

Retain any of six paragraphs below.  Revise to suit Project.

B. Subgirts:  Manufacturer's standard C- or Z-shaped sections, 0.064-inch (1.63-mm) nominal thickness.

C. Zee Clips:  0.079-inch (2.01-mm) nominal thickness.

D. Base or Sill [Angles] [Channels]:  0.079-inch (2.01-mm) nominal thickness.

E. Hat-Shaped, Rigid Furring Channels:

1. Nominal Thickness:  [As indicated] [As required to meet performance requirements] [0.025 inch (0.64 mm)] [0.040 inch (1.02 mm)] <Insert thickness>.

2. Depth:  [As indicated] [7/8 inch (21 mm)] [1-1/2 inches (38 mm)] <Insert depth>.

F. Cold-Rolled Furring Channels:  Minimum 1/2-inch- (13-mm-) wide flange.

1. Nominal Thickness:  [As indicated] [As required to meet performance requirements] [0.064 inch (1.63 mm)] <Insert thickness>.

2. Depth:  [As indicated] [3/4 inch (19 mm)] <Insert depth>.

3. Furring Brackets:  Adjustable, corrugated-edge type of steel sheet with 0.040-inch (1.02-mm) nominal thickness.

4. Tie Wire:  ASTM A 641/A 641M, Class 1 zinc coating, soft temper, 0.062-inch- (1.52-mm-) diameter wire, or double strand of 0.048-inch- (1.22-mm-) diameter wire.

G. Fasteners for Miscellaneous Metal Framing:  Of type, material, size, corrosion resistance, holding power, and other properties required to fasten miscellaneous metal framing members to substrates.

2.4 MISCELLANEOUS MATERIALS

A. Panel Fasteners:  Self-tapping screws; bolts and nuts; self-locking rivets and bolts; end-welded studs; and other suitable fasteners designed to withstand design loads.  Provide exposed fasteners with heads matching color of metal wall panels by means of plastic caps or factory-applied coating.  Provide EPDM, PVC, or neoprene sealing washers.

Retain paragraph below to provide increased impact resistance.  Revise to insert other backer boards such as plywood if required.

B. Backer Board:  Hardboard complying with AHA A135.4, Class 1 tempered, [1/8 inch (3 mm)] [1/4 inch (6 mm)] thick unless otherwise indicated.

Profile requirements in metal wall panel articles below are often better shown graphically than described verbally.  Coordinate with Drawings.

2.5 FOAMED-INSULATION-CORE METAL WALL PANELS

Refer to the tables at the end of the Evaluations for a list of manufacturers' products.  Use these tables in combination with manufacturers' catalogs or product data to insert series, type, model, and designations of other characteristics.

Copy this article and re-edit for each product.

Insert number to complete drawing designation.  Use these designations on Drawings to identify each product.

A. General:  Provide factory-formed and -assembled metal wall panels fabricated from two metal facing sheets and insulation core foamed in place during fabrication, and with joints between panels designed to form weathertight seals.  Include accessories required for weathertight installation.

1. Panel Performance:

a. Flatwise Tensile Strength:  30 psi (207 kPa) when tested according to ASTM C 297.

b. Humid Aging:  Volume increase not greater than 6.0 percent and no delamination or metal corrosion when tested for 7 days at 140 deg F (60 deg C) and 100 percent relative humidity according to ASTM D 2126.

c. Heat Aging:  Volume increase not greater than 2.0 percent and no delamination, surface blistering, or permanent bowing when tested for 7 days at 200 deg F (93 deg C) according to ASTM D 2126.

d. Cold Aging:  Volume decrease not more than 1.0 percent and no delamination, surface blistering, or permanent bowing when tested for 7 days at minus 20 deg F (29 deg C) according to ASTM D 2126.

e. Fatigue:  No evidence of delamination, core cracking, or permanent bowing when tested to a 20-lbf/sq. ft. (958-kPa) positive and negative wind load and with deflection of L/180 for 2 million cycles.

f. Autoclave:  No delamination when exposed to 2-psi (13.8-kPa) pressure at a temperature of 212 deg F (100 deg C) for 2-1/2 hours.

2. Polyisocyanurate Insulation-Core Performance:

a. Density:  2.0 to 2.6 lb/cu. ft. (32 to 42 kg/cu. m) when tested according to ASTM D 1622.

b. Compressive Strength:  Minimum 20 psi (138 kPa) when tested according to ASTM D 1621.

c. Shear Strength:  26 psi (179 kPa) when tested according to ASTM C 273.

B. Exposed-Fastener, Foamed-Insulation-Core Metal Wall Panels <Insert drawing designation>:  Formed with raised, trapezoidal major rib at panel edge and two intermediate stiffening ribs symmetrically spaced between major rib and panel edge; designed for lapping side edges of adjacent panels and mechanically attaching to supports using exposed fasteners in side laps.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  See Division 01 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. Insulated Panel Systems, Div. of NCI Building Systems, LP; RWP Roof/Wall Panel.

b. Metecno-Aluma Shield, Metecno Panel Systems, Inc.; HR-900 Hi-Rib Roof and Wall Panel.

c. <Insert manufacturer's name; product name or designation>.

2. Facings:  Fabricate panel with exterior and interior facings of same material and thickness.

a. Material:  Zinc-coated (galvanized) steel sheet, [0.022-inch (0.56-mm)] [0.028-inch (0.71-mm)] [0.034-inch (0.86-mm)] nominal thickness.

b. Material:  Aluminum-zinc alloy-coated steel sheet, [0.022-inch (0.56-mm)] [0.028-inch (0.71-mm)] [0.034-inch (0.86-mm)] nominal thickness.

Delete first subparagraph below if not required.  Backer board provides additional impact resistance.

c. Backer Board:  On back side of exterior facing.

d. Exterior Facing Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

1) Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

e. Interior Facing Finish:  Manufacturer's standard white polyester.

Delete first subparagraph below if not required.  Batten is optional with some manufacturers; verify availability.

3. Snap-On Batten:  Same material, finish, and color as exterior facings of wall panels.

4. Panel Coverage:  [36 inches (914 mm)] [40 inches (1016 mm)] <Insert dimension> nominal.

5. Panel Thickness:  [1.0 inch (25 mm)] [1.5 inches (38 mm)] [2.0 inches (51 mm)] [2.5 inches (64 mm)] [3.0 inches (76 mm)] [4.0 inches (102 mm)] [5.0 inches (127 mm)] <Insert dimension>.

Coordinate R-value in subparagraph below with panel thickness selected in last subparagraph above.

6. Thermal-Resistance Value (R-Value):  <Insert R-value>.

C. Concealed-Fastener, Foamed-Insulation-Core Metal Wall Panels <Insert drawing designation>:  Formed with tongue-and-groove panel edges; designed for sequential installation by interlocking panel edges and mechanically attaching panels to supports using concealed clips or fasteners.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  See Division 01 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. CENTRIA Architectural Systems; [Formawall 1000] [Versapanel] [Versawall].

b. Coldmatic Building Systems; Thermawall [1000 HJF] [4000 HJF] [5000 HJF].

c. Galvamet Inc.; [Mono] [Supra] [Thermal] Panel.

d. Insulated Panel Systems, Div. of NCI Building Systems; [ESP] [EWP] Wall Panel.

e. Metecno-Aluma Shield, Metecno Panel Systems, Inc.; [AW-200 Ribbed] [AW-300 Shadowline] [AW-300A Flush] Wall Panel.

f. Metl-Span; [CF Architectural] [CF Flat 200] [CF Fluted] [CF Mesa] Wall Panel.

g. Steelox Systems, L.L.C.; TW-100 Wall Panel.

h. <Insert manufacturer's name; product name or designation>.

2. Facings:  Fabricate panel with exterior and interior facings of same material and thickness.

a. Material:  Zinc-coated (galvanized) steel sheet, [0.022-inch (0.56-mm)] [0.028-inch (0.71-mm)] [0.034-inch (0.86-mm)] nominal thickness.

b. Material:  Aluminum-zinc alloy-coated steel sheet, [0.022-inch (0.56-mm)] [0.028-inch (0.71-mm)] [0.034-inch (0.86-mm)] nominal thickness.

c. Material:  Stainless-steel sheet, [0.031 inch (0.79 mm)] [0.038 inch (0.97 mm)] thick with No. [4] [2B] finish.

Delete first subparagraph below if not required.  Backer board provides additional impact resistance.

d. Backer Board:  On back side of exterior facing.

Delete first subparagraph below if retaining only stainless-steel sheet.

e. Exterior Facing Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

1) Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

f. Interior Facing Finish:  Manufacturer's standard siliconized polyester.

g. Exterior Surface:  [Smooth, flat] [Striated] [Shallow ribs] [Shallow V grooves].

3. Panel Coverage:  [24 inches (610 mm)] [30 inches (762 mm)] [36 inches (914 mm)] [39.37 inches (1000 mm)] [42 inches (1067 mm)] <Insert dimension> nominal.

4. Panel Thickness:  [2.0 inches (51 mm)] [2.5 inches (64 mm)] [3.0 inches (76 mm)] [4.0 inches (102 mm)] [5.0 inches (127 mm)] [6.0 inches (152 mm)] <Insert dimension>.

Coordinate R-value in subparagraph below with panel thickness selected in last subparagraph above.

5. Thermal-Resistance Value (R-Value):  <Insert R-value>.

2.6 LAMINATED-INSULATION-CORE METAL WALL PANELS

Refer to the tables at the end of the Evaluations for a list of manufacturers' products.  Use these tables in combination with manufacturers' catalogs or product data to insert series, type, model, and designations of other characteristics.

Copy this article and re-edit for each product.

Insert number to complete drawing designation.  Use these designations on Drawings to identify each product.

A. General:  Provide factory-formed and -assembled metal wall panels fabricated from two metal facing sheets and core material laminated or otherwise securely bonded to facing sheets during fabrication without use of contact adhesives, and with joints between panels designed to form weathertight seals.  Include accessories required for weathertight installation.

1. Panel Performance:

a. Flatwise Tensile Strength:  27 psi (186 kPa) when tested according to ASTM C 297.

b. Humid Aging:  Volume increase not greater than 6.0 percent and no delamination or metal corrosion when tested for 7 days at 140 deg F (60 deg C) and 100 percent relative humidity according to ASTM D 2126.

c. Heat Aging:  Volume increase not greater than 2.0 percent and no delamination, surface blistering, or permanent bowing when tested for 7 days at 200 deg F (93 deg C) according to ASTM D 2126.

d. Cold Aging:  Volume decrease not more than 1.0 percent and no delamination, surface blistering, or permanent bowing when tested for 7 days at minus 20 deg F (29 deg C) according to ASTM D 2126.

e. Fatigue:  No evidence of delamination, core cracking, or permanent bowing when tested to a 20-lbf/sq. ft. (958-kPa) positive and negative wind load and with deflection of L/180 for 2 million cycles.

f. Autoclave:  No delamination when exposed to 2-psi (13.8-kPa) pressure at a temperature of 212 deg F (100 deg C) for 2-1/2 hours.

2. Polyisocyanurate Insulation-Core Performance:

a. Density:  1.8 to 2.3 lb/cu. ft. (29 to 37 kg/cu. m) when tested according to ASTM D 1622.

b. Compressive Strength:  Minimum 20 psi (138 kPa) when tested according to ASTM D 1621.

c. Shear Strength:  24 psi (164 kPa) when tested according to ASTM C 273.

B. Wrapped-Edge, Laminated-Insulation-Core Metal Wall Panels <Insert drawing designation>:  Formed with flush exterior panel facing wrapped over panel edges; designed for independent installation by mechanically attaching [panels to supports using staggered, concealed side clips engaging panel edges] [through extended panel edges to supports using concealed fasteners]; with [sealant] [gasketed] joints.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  See Division 01 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. Architectural Specialty Products, Inc.; Series 500.

b. Benchmark Architectural Systems, Inc., a Metecno Group company; Designwall 1000.

c. Protean Construction Products, Inc.; FM-100 Panel.

d. <Insert manufacturer's name; product name or designation>.

2. Exterior Facing:

a. Material:  Zinc-coated (galvanized) steel sheet, [0.028-inch (0.71-mm)] [0.034-inch (0.86-mm)] [0.040-inch (1.02-mm)] [0.052-inch (1.32-mm)] <Insert dimension> nominal thickness.

b. Material:  Aluminum-zinc alloy-coated steel sheet, [0.028-inch (0.71-mm)] [0.034-inch (0.86-mm)] [0.040-inch (1.02-mm)] <Insert dimension> nominal thickness.

c. Material:  Aluminum sheet, [0.032 inch (0.81 mm)] [0.040 inch (1.02 mm)] [0.050 inch (1.27 mm)] [0.063 inch (1.60 mm)] [0.080 inch (2.03 mm)] <Insert dimension> thick.

Insert requirements for stainless-steel and copper sheet if required.  Verify availability with manufacturers.

d. Surface:  [Smooth, flat] [Embossed].

Retain anodized finish in first subparagraph below only if retaining aluminum sheet .

e. Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] [Clear anodized] [Color anodized] <Insert finish>.

1) Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

Not all combinations of interior and exterior facings are available.  Verify availability with manufacturers.

3. Interior Facing:

a. Material:  Zinc-coated (galvanized) steel sheet, [0.028-inch (0.71-mm)] [0.034-inch (0.86-mm)] [0.040-inch (1.02-mm)] <Insert dimension> nominal thickness.

b. Material:  Aluminum-zinc alloy-coated steel sheet, [0.028-inch (0.71-mm)] [0.034-inch (0.86-mm)] [0.040-inch (1.02-mm)] <Insert dimension> nominal thickness.

c. Material:  Aluminum sheet, [0.032 inch (0.81 mm)] [0.040 inch (1.02 mm)] [0.050 inch (1.27 mm)] <Insert dimension> thick.

d. Finish:  Manufacturer's standard primer or white polyester.

4. Core Material:  [Polyisocyanurate] [Extruded-polystyrene] [Expanded-polystyrene] board insulation.

Delete first subparagraph below if not required.  Backer board provides additional impact resistance.

a. Backer Board:  [0.125-inch- (3-mm-)] [0.250-inch- (6-mm-)] thick hardboard behind exterior facing for increased impact resistance.

Retain steel clips in first subparagraph below for steel wall panels; retain stainless-steel clips for aluminum panels.

5. Clips:  Manufacturer's standard one piece, formed from [zinc-coated (galvanized) steel] [aluminum-zinc alloy-coated steel] [stainless steel].

6. Gaskets:  Extruded, dry seal silicone.

7. Sealant:  Manufacturer's standard silicone.

8. Panel Thickness:  [1.0 inch (25 mm)] [2.0 inches (51 mm)] [3.0 inches (76 mm)] [4.0 inches (102 mm)] [5.0 inches (127 mm)] [6.0 inches (152 mm)] <Insert dimension>.

Coordinate R-value in subparagraph below with panel thickness selected in last subparagraph above.

9. Thermal-Resistance Value (R-Value):  <Insert R-value>.

C. Shiplap-Edge, Laminated-Insulation-Core Metal Wall Panels <Insert drawing designation>:  Formed with flush exterior panel facing and with shiplap edges; designed for sequential installation by mechanically attaching panels to supports using concealed clips and fasteners; with factory-applied [sealant] [gaskets] in side laps.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  See Division 01 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. Alply, Inc.; Classic Wall.

b. Architectural Specialty Products, Inc.; Series [HF Vertical] [SCR-DR Horizontal] Preinsulated Metal Siding.

c. Benchmark Architectural Systems, Inc., a Metecno Group company; Designwall [2000] [4000].

d. Industrial Building Panels, Inc.; 900 Series Thermaply Panels.

e. Protean Construction Products, Inc.; FM-200 Panel.

f. <Insert manufacturer's name; product name or designation>.

2. Exterior Facing:

a. Material:  Zinc-coated (galvanized) steel sheet, [0.028-inch (0.71-mm)] [0.034-inch (0.86-mm)] [0.040-inch (1.02-mm)] <Insert dimension> nominal thickness.

b. Material:  Aluminum-zinc alloy-coated steel sheet, [0.028-inch (0.71-mm)] [0.034-inch (0.86-mm)] [0.040-inch (1.02-mm)] <Insert dimension> nominal thickness.

c. Material:  Aluminum sheet, [0.032 inch (0.81 mm)] [0.040 inch (1.02 mm)] [0.050 inch (1.27 mm)] [0.063 inch (1.60 mm)] <Insert dimension> thick.

d. Surface:  [Smooth, flat] [Embossed].

Retain anodized finish in first subparagraph below only if retaining aluminum sheet .

e. Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] [Clear anodized] [Color anodized] <Insert finish>.

1) Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

Not all combinations of interior and exterior facings are available.  Verify availability with manufacturers.

3. Interior Facing:

a. Material:  Zinc-coated (galvanized) steel sheet, [0.028-inch (0.71-mm)] [0.034-inch (0.86-mm)] [0.040-inch (1.02-mm)] <Insert dimension> nominal thickness.

b. Material:  Aluminum-zinc alloy-coated steel sheet, [0.028-inch (0.71-mm)] [0.034-inch (0.86-mm)] [0.040-inch (1.02-mm)] <Insert dimension> nominal thickness.

c. Material:  Aluminum sheet, [0.032 inch (0.81 mm)] [0.040 inch (1.02 mm)] <Insert dimension> thick.

d. Finish:  Manufacturer's standard primer or white polyester.

4. Core Material:  [Polyisocyanurate] [Extruded-polystyrene] [Expanded-polystyrene] board insulation.

Delete first subparagraph below if not required.  Backer board provides additional impact resistance.

a. Backer Board:  [0.125-inch- (3-mm-)] [0.250-inch- (6-mm-)] thick hardboard behind exterior facing for increased impact resistance.

Retain steel clips in first subparagraph below for steel wall panels; retain stainless-steel clips for aluminum panels.

5. Clips:  Manufacturer's standard one piece, formed from [zinc-coated (galvanized) steel] [aluminum-zinc alloy-coated steel] [stainless steel].

6. Gaskets:  Extruded, dry seal silicone.

7. Sealant:  Manufacturer's standard silicone.

8. Panel Thickness:  [1.0 inch (25 mm)] [2.0 inches (51 mm)] [3.0 inches (76 mm)] [4.0 inches (102 mm)] [5.0 inches (127 mm)] [6.0 inches (152 mm)] <Insert dimension>.

Coordinate R-value in subparagraph below with panel thickness selected in last subparagraph above.

9. Thermal-Resistance Value (R-Value):  <Insert R-value>.

D. Framed-Edge, Laminated-Insulation-Core Metal Wall Panels <Insert drawing designation>:  Formed with flush exterior panel facing and integral, extruded edge members; designed for independent installation by mechanically attaching panels to supports through edge framing using concealed fasteners; with gasketed joints.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  See Division 01 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. Alply, Inc.; Snug-Seam.

b. Architectural Specialty Products, Inc.; Series MLW.

c. Protean Construction Products, Inc.; FM-210 Panel.

d. <Insert manufacturer's name; product name or designation>.

2. Exterior Facing:

a. Material:  Zinc-coated (galvanized) steel sheet, [0.028-inch (0.71-mm)] [0.034-inch (0.86-mm)] [0.040-inch (1.02-mm)] <Insert dimension> nominal thickness.

b. Material:  Aluminum-zinc alloy-coated steel sheet, [0.028-inch (0-71 mm)] [0.034-inch (0.86-mm)] [0.040-inch (1.02-mm)] <Insert dimension> nominal thickness.

c. Material:  Aluminum sheet, [0.032 inch (0.81 mm)] [0.040 inch (1.02 mm)] [0.050 inch (1.27 mm)] [0.063 inch (1.60 mm)] [0.080 inch (2.03 mm)] <Insert dimension> thick.

Insert requirements for stainless-steel and copper sheet if required. Verify availability with manufacturers.

d. Surface:  [Smooth, flat] [Embossed].

Retain anodized finish in first subparagraph below only if retaining aluminum sheet.

e. Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] [Clear anodized] [Color anodized] <Insert finish>.

1) Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

3. Interior Facing:

a. Material:  Zinc-coated (galvanized) steel sheet, [0.028-inch (0.71-mm)] [0.034-inch (0.86-mm)] [0.040-inch (1.02-mm)] <Insert dimension> nominal thickness.

b. Material:  Aluminum-zinc alloy-coated steel sheet, [0.028-inch (0.71-mm)] [0.034-inch (0.86-mm)] [0.040-inch (1.02-mm)] <Insert dimension> nominal thickness.

c. Material:  Aluminum sheet, [0.032 inch (0.81 mm)] [0.040 inch (1.02 mm)] <Insert dimension> thick.

d. Finish:  Manufacturer's standard primer or white polyester.

4. Core Material:  [Polyisocyanurate] [Extruded-polystyrene] [Expanded-polystyrene] board insulation.

Delete first subparagraph below if not required.  Backer board provides additional impact resistance.

a. Backer Board:  [0.125-inch- (3.18-mm-)] [0.250-inch- (6-mm-)] thick hardboard behind exterior facing for increased impact resistance.

5. Edge Members:  Extruded aluminum, not less than 0.063-inch (1.60-mm) wall thickness.

6. Gaskets:  Extruded, dry seal silicone.

7. Panel Thickness:  [1.0 inch (25 mm)] [2.0 inches (51 mm)] [3.0 inches (76 mm)] [4.0 inches (102 mm)] [5.0 inches (127 mm)] [6.0 inches (152 mm)] <Insert dimension>.

Coordinate R-value in subparagraph below with panel thickness selected in last subparagraph above.

8. Thermal-Resistance Value (R-Value):  <Insert R-value>.

If necessary, insert article for plywood-core, metal-faced panels such as "Series 4000" by Architectural Specialty Products.

2.7 HONEYCOMB-CORE METAL WALL PANELS

Refer to the tables at the end of the Evaluations for a list of manufacturers' products.  Use these tables in combination with manufacturers' catalogs or product data to insert series, type, model, and designations of other characteristics.

Copy this article and re-edit for each product.

Insert number to complete drawing designation.  Use these designations on Drawings to identify each product.

A. General:  Provide factory-formed and -assembled metal wall panels fabricated from two metal facing sheets and honeycomb-core material laminated or otherwise securely bonded to facing sheets during fabrication without use of contact adhesives or pinch rollers, and with joints between panels designed to form weathertight seals.  Include accessories required for weathertight installation.

1. Panel Performance:

a. Fatigue:  No evidence of delamination, core cracking, or permanent bowing when tested to a 20-lbf/sq. ft. (958-kPa) positive and negative wind load and with deflection of L/180 for 2 million cycles.

b. Autoclave:  No delamination when exposed to 2-psi (13.8-kPa) pressure at a temperature of 212 deg F (100 deg C) for 2-1/2 hours.

B. Wrapped-Edge, Honeycomb-Core Metal Wall Panels <Insert drawing designation>:  Formed with flush exterior panel facing wrapped over panel edges; designed for independent installation by mechanically attaching [panels to supports using staggered, concealed side clips engaging panel edges] [through extended panel edges to supports using concealed fasteners]; with [sealant] [gasketed] joints.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  See Division 01 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

Architectural Specialty Products manufactures aluminum honeycomb cores only; all other manufacturers listed offer both kraft-paper and aluminum honeycomb cores.

a. Architectural Specialty Products, Inc.; Series 500.

b. Copper Sales, Inc.; UNA-CORE Series [10 Calked Joint System] [30 Glazing Panel] [45 Spandrel Panel].

c. Industrial Building Panels, Inc.; Honeycomb 1000 Series.

d. Protean Construction Products, Inc.; HC-100 Panel.

e. <Insert manufacturer's name; product name or designation>.

2. Facings:  Fabricate panel with exterior and interior facings of same material and thickness.

a. Material:  Zinc-coated (galvanized) steel sheet, [0.028-inch (0.71-mm)] [0.034-inch (0.86-mm)] [0.040-inch (1.02-mm)] nominal thickness.

b. Material:  Aluminum-zinc alloy-coated steel sheet, [0.028-inch (0.71-mm)] [0.034-inch (0.86-mm)] [0.040-inch (1.02-mm)] nominal thickness.

c. Material:  Aluminum sheet, [0.032 inch (0.81 mm)] [0.040 inch (1.02 mm)] [0.050 inch (1.27 mm)] [0.063 inch (1.60 mm)] thick.

Insert requirements for stainless-steel sheet if required.  Verify availability with manufacturers.

Retain anodized finish in first subparagraph below only if retaining aluminum sheet .

d. Exterior Facing Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] [Clear anodized] [Color anodized] <Insert finish>.

1) Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

e. Interior Facing Finish:  Manufacturer's standard primer or polyester.

Retain one of first two subparagraphs below; aluminum cores are used for applications that require noncombustible construction.

3. Kraft-Paper Honeycomb Core:  Manufacturer's standard phenolic-resin impregnated paper, with not less than 15 percent resin content by weight and chemically treated for fire resistance; with maximum 1/2-inch (13-mm) cell size.

4. Aluminum Honeycomb Core:  Manufacturer's standard 0.003-inch- (0.08-mm-) thick, commercial grade aluminum with maximum 3/4-inch (19-mm) cell size.

Retain steel clips in first subparagraph below for steel wall panels; retain stainless-steel clips for aluminum panels.

5. Clips:  Manufacturer's standard one piece, formed from [zinc-coated (galvanized) steel] [aluminum-zinc alloy-coated steel] [stainless steel].

6. Gaskets:  Extruded, dry seal silicone.

7. Sealant:  Manufacturer's standard silicone.

Retain first option in subparagraph below only for glazed-in and spandrel panels; second and third options may be used for glazed-in and spandrel panels or wall panels; fourth and fifth options are available only for aluminum honeycomb-core metal wall panels.

8. Panel Thickness:  [0.25 inch (6 mm)] [1.0 inch (25 mm)] [2.0 inches (51 mm)] [3.0 inches (76 mm)] [4.0 inches (102 mm)] <Insert dimension>.

Indicate panel dimensions on Drawings.

C. Shiplap-Edge, Honeycomb-Core Metal Wall Panels <Insert drawing designation>:  Formed with flush exterior panel facing and with shiplap edges; designed for sequential installation by mechanically attaching panels to supports using concealed clips and fasteners; with factory-applied [sealant] [gaskets] in side laps.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  See Division 01 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

Architectural Specialty Products manufactures aluminum honeycomb cores only; all other manufacturers listed offer both kraft-paper and aluminum honeycomb cores.

a. Architectural Specialty Products, Inc.; Series 5000.

b. Benchmark Architectural Systems, Inc., a Metecno Group company; Designwall 3000.

c. Protean Construction Products, Inc.; HC-200 Panel.

d. <Insert manufacturer's name; product name or designation>.

2. Facings:  Fabricate panel with exterior and interior facings of same material and thickness.

a. Material:  Zinc-coated (galvanized) steel sheet, [0.028-inch (0.71-mm)] [0.034-inch (0.86-mm)] [0.040-inch (1.02-mm)] nominal thickness.

b. Material:  Aluminum-zinc alloy-coated steel sheet, [0.028-inch (0.71-mm)] [0.034-inch (0.86-mm)] [0.040-inch (1.02-mm)] nominal thickness.

c. Material:  Aluminum sheet, [0.032 inch (0.81 mm)] [0.040 inch (1.02 mm)] [0.050 inch (1.27 mm)] [0.063 inch (1.60 mm)] thick.

Retain anodized finish in first subparagraph below only if retaining aluminum sheet .

d. Exterior Facing Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] [Clear anodized] [Color anodized] <Insert finish>.

1) Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

e. Interior Facing Finish:  Manufacturer's standard primer or polyester.

Retain one of first two subparagraphs below; aluminum cores are used for applications that require noncombustible construction.

3. Kraft-Paper Honeycomb Core:  Manufacturer's standard phenolic-resin-impregnated paper, with not less than 15 percent resin content by weight and chemically treated for fire resistance; with maximum 1/2-inch (13-mm) cell size.

4. Aluminum Honeycomb Core:  Manufacturer's standard 0.003-inch- (0.08-mm-) thick, commercial grade aluminum with maximum 3/4-inch (19-mm) cell size.

Retain steel clips in first subparagraph below for steel wall panels; retain stainless-steel clips for aluminum panels.

5. Clips:  Manufacturer's standard one piece, formed from [zinc-coated (galvanized) steel] [aluminum-zinc alloy-coated steel] [stainless steel].

6. Gaskets:  Extruded, dry seal silicone.

7. Sealant:  Manufacturer's standard silicone.

8. Panel Thickness:  [1.0 inch (25 mm)] [1.25 inches (32 mm)] [2.0 inches (51 mm)] <Insert dimension>.

Indicate panel dimensions on Drawings.

D. Framed-Edge, Honeycomb-Core Metal Wall Panels <Insert drawing designation>:  Formed with flush exterior panel facing and integral, extruded edge members; designed for independent installation by mechanically attaching panels to supports through edge framing using concealed fasteners; with gasketed joints.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  See Division 01 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

Architectural Specialty Products manufactures aluminum honeycomb cores only; Copper Sales, Inc. offers both kraft-paper and aluminum honeycomb cores.

a. Architectural Specialty Products, Inc.; Series MLW.

b. Copper Sales, Inc.; UNA-CLAD Series 2000 Vertical Oriented Dry-Set System.

c. <Insert manufacturer's name; product name or designation>.

2. Facings:  Fabricate panel with exterior and interior facings of same material and thickness.

a. Material:  Zinc-coated (galvanized) steel sheet, [0.028-inch (0.71-mm)] <Insert dimension> nominal thickness.

b. Material:  Aluminum sheet, [0.040 inch (1.02 mm)] [0.063 inch (1.60 mm)] <Insert dimension> thick.

Insert requirements for stainless-steel sheet if required.  Verify availability with manufacturers.

Retain anodized finish in first subparagraph below only if retaining aluminum sheet .

c. Exterior Facing Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] [Clear anodized] [Color anodized] <Insert finish>.

1) Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

d. Interior Facing Finish:  Manufacturer's standard primer or polyester.

Retain one of first two subparagraphs below; aluminum cores are used for applications that require noncombustible construction.

3. Kraft-Paper Honeycomb Core:  Manufacturer's standard phenolic-resin-impregnated paper, with not less than 15 percent resin content by weight and chemically treated for fire resistance; with maximum 1/2-inch (13-mm) cell size.

4. Aluminum Honeycomb Core:  Manufacturer's standard 0.003-inch- (0.08-mm-) thick, commercial grade aluminum with maximum 3/4-inch (19-mm) cell size.

5. Edge Members:  Extruded aluminum, not less than 0.063-inch (1.6-mm) wall thickness.

6. Gaskets:  Extruded, dry seal silicone.

7. Panel Thickness:  [1.0 inch (25 mm)] [2.0 inches (51 mm)] [3.0 inches (76 mm)] <Insert dimension>.

Indicate panel dimensions on Drawings.

2.8 ACCESSORIES

Coordinate accessories retained in this article with those specified in Division 07 Section "Sheet Metal Flashing and Trim."

Revise first paragraph below if necessary.

A. Wall Panel Accessories:  Provide components required for a complete metal wall panel assembly including trim, copings, fasciae, mullions, sills, corner units, clips, flashings, sealants, gaskets, fillers, closure strips, and similar items.  Match material and finish of metal wall panels unless otherwise indicated.

1. Closures:  Provide closures at eaves and rakes, fabricated of same metal as metal wall panels.

2. Backing Plates:  Provide metal backing plates at panel end splices, fabricated from material recommended by manufacturer.

3. Closure Strips:  Closed-cell, expanded, cellular, rubber or crosslinked, polyolefin-foam or closed-cell laminated polyethylene; minimum 1-inch- (25-mm-) thick, flexible closure strips; cut or premolded to match metal wall panel profile.  Provide closure strips where indicated or necessary to ensure weathertight construction.

B. Flashing and Trim:  Formed from 0.018-inch- (0.46-mm-) minimum thickness, zinc-coated (galvanized) steel sheet or aluminum-zinc alloy-coated steel sheet prepainted with coil coating.  Provide flashing and trim as required to seal against weather and to provide finished appearance.  Locations include, but are not limited to, bases, drips, sills, jambs, corners, endwalls, framed openings, rakes, fasciae, parapet caps, soffits, reveals, and fillers.  Finish flashing and trim with same finish system as adjacent metal wall panels.

Insert requirements for explosion relief panels, including special fasteners, cables, and supports if required.  Verify availability with manufacturers.

2.9 FABRICATION

Insert unique general fabrication requirements, if any, to suit Project.

A. General:  Fabricate and finish metal wall panels and accessories at the factory to greatest extent possible, by manufacturer's standard procedures and processes, as necessary to fulfill indicated performance requirements demonstrated by laboratory testing.  Comply with indicated profiles and with dimensional and structural requirements.

B. Fabricate metal wall panels in a manner that eliminates condensation on interior side of panel and with joints between panels designed to form weathertight seals.

Retain first paragraph below for all insulated-core wall panels except honeycomb-core metal wall panels.

C. Provide panel profile, including major ribs and intermediate stiffening ribs, if any, for full length of panel.

Retain first paragraph below if gaskets or sealants are factory installed.

D. Fabricate metal wall panel joints with factory-installed captive gaskets or separator strips that provide a tight seal and prevent metal-to-metal contact, in a manner that will minimize noise from movements within panel assembly.

E. Honeycomb-Core Metal Wall Panels:  Fabricate panels using manufacturer's standard thermosetting structural adhesive in a lamination process that bonds panel under minimum 10-psi (69-kPa) pressure.  Use of contact adhesives with pinch-roll process is not acceptable.

1. Panel Bow Tolerance:  Not more than 0.5 percent of panel width or length.

F. Sheet Metal Accessories:  Fabricate flashing and trim to comply with recommendations in SMACNA's "Architectural Sheet Metal Manual" that apply to the design, dimensions, metal, and other characteristics of item indicated.

1. Form exposed sheet metal accessories that are without excessive oil canning, buckling, and tool marks and that are true to line and levels indicated, with exposed edges folded back to form hems.

2. Seams for Aluminum:  Fabricate nonmoving seams with flat-lock seams.  Form seams and seal with epoxy seam sealer.  Rivet joints for additional strength.

3. Seams for Other Than Aluminum:  Fabricate nonmoving seams in accessories with flat-lock seams.  Tin edges to be seamed, form seams, and solder.

4. Sealed Joints:  Form nonexpansion but movable joints in metal to accommodate elastomeric sealant to comply with SMACNA standards.

5. Conceal fasteners and expansion provisions where possible.  Exposed fasteners are not allowed on faces of accessories exposed to view.

6. Fabricate cleats and attachment devices from same material as accessory being anchored or from compatible, noncorrosive metal recommended by metal wall panel manufacturer.

a. Size:  As recommended by SMACNA's "Architectural Sheet Metal Manual" or metal wall panel manufacturer for application but not less than thickness of metal being secured.

2.10 GENERAL FINISH REQUIREMENTS

A. Comply with NAAMM's "Metal Finishes Manual for Architectural and Metal Products" for recommendations for applying and designating finishes.

B. Protect mechanical and painted finishes on exposed surfaces from damage by applying a strippable, temporary protective covering before shipping.

C. Appearance of Finished Work:  Variations in appearance of abutting or adjacent pieces are acceptable if they are within one-half of the range of approved Samples.  Noticeable variations in the same piece are not acceptable.  Variations in appearance of other components are acceptable if they are within the range of approved Samples and are assembled or installed to minimize contrast.

PART 3 -  EXECUTION

3.1 EXAMINATION

A. Examine substrates, areas, and conditions, with Installer present, for compliance with requirements for installation tolerances, metal wall panel supports, and other conditions affecting performance of work.

Retain one or both of first two subparagraphs below.

1. Examine wall framing to verify that girts, angles, channels, studs, and other structural panel support members and anchorage have been installed within alignment tolerances required by metal wall panel manufacturer.

2. Examine wall sheathing to verify that sheathing joints are supported by framing or blocking and that installation is within flatness tolerances required by metal wall panel manufacturer.

Retain first subparagraph below for systems that depend on weather-resistant sheathing paper to prevent air infiltration or water penetration.

3. Verify that weather-resistant sheathing paper has been installed over sheathing or backing substrate to prevent air infiltration or water penetration.

Retain subparagraph below if required.

4. For the record, prepare written report, endorsed by Installer, listing conditions detrimental to performance of work.

B. Examine roughing-in for components and systems penetrating metal wall panels to verify actual locations of penetrations relative to seam locations of metal wall panels before metal wall panel installation.

C. Proceed with installation only after unsatisfactory conditions have been corrected.

3.2 PREPARATION

A. Miscellaneous Framing:  Install subgirts, base angles, sills, furring, and other miscellaneous wall panel support members and anchorages according to ASTM C 754 and metal wall panel manufacturer's written recommendations.

3.3 METAL WALL PANEL INSTALLATION, GENERAL

A. General:  Install metal wall panels according to manufacturer's written instructions in orientation, sizes, and locations indicated on Drawings.  Install panels perpendicular to girts and subgirts unless otherwise indicated.  Anchor metal wall panels and other components of the Work securely in place, with provisions for thermal and structural movement.

1. Commence metal wall panel installation and install minimum of [300 sq. ft. (27.9 sq. m.)] <Insert size> in presence of factory-authorized representative.

2. Shim or otherwise plumb substrates receiving metal wall panels.

3. Flash and seal metal wall panels with weather closures at perimeter of all openings.  Fasten with self-tapping screws.  Do not begin installation until weather barrier and flashings that will be concealed by metal wall panels are installed.

4. Install screw fasteners in predrilled holes.

5. Locate and space fastenings in uniform vertical and horizontal alignment.

6. Install flashing and trim as metal wall panel work proceeds.

7. Locate panel splices over, but not attached to, structural supports.  Stagger panel splices and end laps to avoid a four-panel lap splice condition.

8. Apply elastomeric sealant continuously between metal base channel (sill angle) and concrete, and elsewhere as indicated or, if not indicated, as necessary for waterproofing.

9. Align bottom of metal wall panels and fasten with blind rivets, bolts, or self-tapping screws.  Fasten flashings and trim around openings and similar elements with self-tapping screws.

10. Provide weathertight escutcheons for pipe and conduit penetrating exterior walls.

B. Fasteners:

1. Steel Wall Panels:  Use stainless-steel fasteners for surfaces exposed to the exterior; use galvanized steel fasteners for surfaces exposed to the interior.

2. Aluminum Wall Panels:  Use aluminum or stainless-steel fasteners for surfaces exposed to the exterior; use aluminum or galvanized steel fasteners for surfaces exposed to the interior.

3. Copper Wall Panels:  Use copper, stainless-steel, or hardware-bronze fasteners.

4. Stainless-Steel Wall Panels:  Use stainless-steel fasteners.

C. Metal Protection:  Where dissimilar metals will contact each other or corrosive substrates, protect against galvanic action as recommended by metal wall panel manufacturer.

D. Joint Sealers:  Install gaskets, joint fillers, and sealants where indicated and where required for weathertight performance of metal wall panel assemblies.  Provide types of gaskets, fillers, and sealants indicated or, if not indicated, types recommended by metal wall panel manufacturer.

1. Seal metal wall panel end laps with double beads of tape or sealant, full width of panel.  Seal side joints where recommended by metal wall panel manufacturer.

Retain subparagraph below if joint-sealant work is part of this Section.

2. Prepare joints and apply sealants to comply with requirements in Division 07 Section "Joint Sealants."

3.4 INSULATED-CORE METAL WALL PANEL INSTALLATION

A. General:  Apply continuous ribbon of sealant to panel joint on concealed side of insulated-core metal wall panels as vapor seal; apply sealant to panel joint on exposed side of panels for weather seal.

1. Fasten insulated-core metal wall panels to supports with fasteners at each lapped joint at location and spacing and with fasteners recommended by manufacturer.

2. Lap ribbed or fluted sheets one full rib corrugation.  Apply panels and associated items for neat and weathertight enclosure.  Avoid "panel creep" or application not true to line.

3. Provide metal-backed washers under heads of exposed fasteners on weather side of insulated metal wall panels.

4. Locate and space exposed fasteners in uniform vertical and horizontal alignment.  Use proper tools to obtain controlled uniform compression for positive seal without rupture of washer.

5. Provide sealant tape at lapped joints of insulated metal wall panels and between panels and protruding equipment, vents, and accessories.

6. Apply a continuous ribbon of sealant tape to panel side laps and elsewhere as needed to make panels weathertight.

Retain subparagraph below if required; coordinate with products retained in Part 2.

7. Apply snap-on battens to exposed-fastener, insulated-core metal wall panel seams to conceal fasteners.

B. Foamed-Insulation-Core Metal Wall Panels:  Fasten metal wall panels to supports with concealed clips at each joint at location and spacing and with fasteners recommended by manufacturer.  Fully engage tongue and groove of adjacent panels.

1. Install clips to supports with self-tapping fasteners.

C. Laminated-Insulation-Core Metal Wall Panels:

Select one installation method from four subparagraphs below that corresponds to products selected in Part 2.

1. Wrapped-Edge Panels:  Mechanically attach wall panels to supports using staggered, concealed side clips engaging wrapped panel edges.  Install clips to supports with self-tapping fasteners.  Seal joints with [backer rod and sealant] [manufacturer's standard gaskets].

2. Wrapped-Edge Panels:  Mechanically attach wall panels through extended edge of panels to supports using self-tapping fasteners.  Seal joints with [backer rod and sealant] [manufacturer's standard gaskets].

3. Shiplap-Edge Panels:  Mechanically attach wall panels to supports using staggered, concealed side clips engaging tongue-and-groove panel edges.  Install clips to supports with self-tapping fasteners.

a. Horizontal Joints:  [Maintain reveal joint of consistent width] [Seal joints with backer rod and sealant] [Seal joints with manufacturer's standard gaskets].

b. Vertical Joints:  [Maintain reveal joint of consistent width] [Seal joints with backer rod and sealant] [Seal joints with manufacturer's standard gaskets].

4. Framed-Edge Panels:  Mechanically attach wall panels through integral, extruded edge members to supports using self-tapping fasteners.  Seal joints with manufacturer's standard gaskets.

D. Honeycomb-Core Metal Wall Panels:

Select one installation method from four subparagraphs below that corresponds to products selected in Part 2.

1. Wrapped-Edge Panels:  Mechanically attach wall panels to supports using staggered, concealed side clips engaging wrapped panel edges.  Install clips to supports with self-tapping fasteners.  Seal joints with [backer rod and sealant] [manufacturer's standard gaskets].

2. Wrapped-Edge Panels:  Mechanically attach wall panels through extended edge of panels to supports using self-tapping fasteners.  Seal joints with [backer rod and sealant] [manufacturer's standard gaskets].

3. Shiplap-Edge Panels:  Mechanically attach wall panels to supports using staggered, concealed side clips engaging tongue-and-groove panel edges.  Install clips to supports with self-tapping fasteners.

a. Horizontal Joints:  [Maintain reveal joint of consistent width] [Seal joints with backer rod and sealant] [Seal joints with manufacturer's standard gaskets].

b. Vertical Joints:  [Maintain reveal joint of consistent width] [Seal joints with backer rod and sealant] [Seal joints with manufacturer's standard gaskets].

4. Framed-Edge Panels:  Mechanically attach wall panels through integral, extruded edge members to supports using self-tapping fasteners.  Seal joints with manufacturer's standard gaskets.

3.5 ACCESSORY INSTALLATION

Revise first paragraph below to suit Project.  Delete items not required.

A. General:  Install accessories with positive anchorage to building and weathertight mounting and provide for thermal expansion.  Coordinate installation with flashings and other components.

1. Install components required for a complete metal wall panel assembly including trim, copings, corners, seam covers, flashings, sealants, gaskets, fillers, closure strips, and similar items.

B. Flashing and Trim:  Comply with performance requirements, manufacturer's written installation instructions, and SMACNA's "Architectural Sheet Metal Manual."  Provide concealed fasteners where possible, and set units true to line and level as indicated.  Install work with laps, joints, and seams that will be permanently watertight and weather resistant.

1. Install exposed flashing and trim that is without excessive oil canning, buckling, and tool marks and that is true to line and levels indicated, with exposed edges folded back to form hems.  Install sheet metal flashing and trim to fit substrates and to result in waterproof and weather-resistant performance.

2. Expansion Provisions:  Provide for thermal expansion of exposed flashing and trim.  Space movement joints at a maximum of 10 feet (3 m) with no joints allowed within 24 inches (605 mm) of corner or intersection.  Where lapped expansion provisions cannot be used or would not be sufficiently weather resistant and waterproof, form expansion joints of intermeshing hooked flanges, not less than 1 inch (25 mm) deep, filled with mastic sealant (concealed within joints).

3.6 FIELD QUALITY CONTROL

Retain first paragraph below to identify who shall perform tests and inspections.  If retaining second option, retain "Field quality-control reports" Paragraph in "Submittals" Article.

A. Testing Agency:  [Owner will engage] [Engage] a qualified testing agency to perform tests and inspections.

If retaining first paragraph below, indicate test areas on Drawings.

B. Water Penetration:  Test areas of installed system indicated on Drawings for compliance with system performance requirements according to ASTM E 1105 at minimum differential pressure of 20 percent of inward-acting, wind-load design pressure as defined by SEI/ASCE 7, but not less than 6.24 lbf/sq. ft. (299 Pa).

Retain first paragraph below for less expensive test to check system's resistance to water penetration.  Revise indicated test-area requirements to suit Project.

C. Water-Spray Test:  After completing the installation of 75-foot- (23-m-) by-2-story minimum area of metal wall panel assembly, test assembly for water penetration according to AAMA 501.2 in a 2-bay area directed by Architect.

Retain first paragraph below to require a factory-authorized service representative to perform inspections and tests.

D. Manufacturer's Field Service:  Engage a factory-authorized service representative to inspect and test completed metal wall panel installation, including accessories.

E. Remove and replace metal wall panels where tests and inspections indicate that they do not comply with specified requirements.

F. Additional tests and inspections, at Contractor's expense, will be performed to determine compliance of replaced or additional work with specified requirements.

3.7 CLEANING AND PROTECTION

A. Remove temporary protective coverings and strippable films, if any, as metal wall panels are installed unless otherwise indicated in manufacturer's written installation instructions.  On completion of metal wall panel installation, clean finished surfaces as recommended by metal wall panel manufacturer.  Maintain in a clean condition during construction.

B. After metal wall panel installation, clear weep holes and drainage channels of obstructions, dirt, and sealant.

C. Replace metal wall panels that have been damaged or have deteriorated beyond successful repair by finish touchup or similar minor repair procedures.

END OF SECTION 074216

	INSULATED-CORE METAL WALL PANELS
	074216 - 1



