Copyright 2012 AIA
MasterSpec Professional
02/12

Copyright 2012 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 055113 - METAL PAN STAIRS
TIPS:
To view non-printing Editor's Notes that provide guidance for editing, click on Masterworks/Single‑File Formatting/Toggle/Editor's Notes.
To read detailed research, technical information about products and materials, and coordination checklists, click on Masterworks/Supporting Information.

Revise this Section by deleting and inserting text to meet Project-specific requirements.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 SUMMARY

A. Section Includes:

1. Preassembled steel stairs with [concrete-filled] [precast concrete] [epoxy-resin-filled] [and] [abrasive-coating-finished, formed-metal] treads.

2. [Steel tube ]railings attached to metal stairs.

3. [Steel tube ]handrails attached to walls adjacent to metal stairs.

1.2 ACTION SUBMITTALS

A. Product Data: For metal pan stairs.

B. LEED Submittals:

1. Product Data for Credit MR 4: For products having recycled content, documentation indicating percentages by weight of postconsumer and preconsumer recycled content. Include statement indicating cost for each product having recycled content.

"Laboratory Test Reports for Credit IEQ 4.2" Subparagraph below applies to LEED for Schools.

2. Laboratory Test Reports for Credit IEQ 4.2: For primers, documentation indicating that products comply with the testing and product requirements of the California Department of Public Health's (formerly, the California Department of Health Services') "Standard Method for the Testing and Evaluation of Volatile Organic Chemical Emissions from Indoor Sources Using Environmental Chambers."

C. Shop Drawings: Include plans, elevations, sections, details, and attachments to other work.

Retain "Delegated-Design Submittal" Paragraph below if design services have been delegated to Contractor.

D. Delegated-Design Submittal: For stairs[ and railings], including analysis data signed and sealed by the qualified professional engineer responsible for their preparation.

PART 2 -  PRODUCTS

See Editing Instruction No. 1 in the Evaluations for cautions about named manufacturers and products. For an explanation of options and Contractor's product selection procedures, see Section 016000 "Product Requirements."

2.1 MANUFACTURERS

Retain "Manufacturers" Paragraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

A. Manufacturers: Subject to compliance with requirements, [provide products by the following] [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

Retain "Basis-of-Design Product" Paragraph and list of manufacturers below to identify a specific product or a comparable product from manufacturers listed. Retain option and delete insert note if manufacturer's name and model number are indicated on Drawings.

B. Basis-of-Design Product: Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

Local and regional manufacturers also fabricate metal stairs and may be inserted in list below.

1. Alfab, Inc.

2. American Stair, Inc.

3. Lapeyre Stair Inc.

4. Pacific Stair Corporation.

5. Worthington Metal Fabricators.

6. <Insert manufacturer's name>.

2.2 PERFORMANCE REQUIREMENTS

Retain "Delegated Design" Paragraph below if Contractor is required to assume responsibility for design.

A. Delegated Design: Engage a qualified professional engineer, as defined in Section 014000 "Quality Requirements," to design stairs[ and railings].

B. Structural Performance of Stairs: Metal stairs shall withstand the effects of gravity loads and the following loads and stresses within limits and under conditions indicated:

First three subparagraphs below are based on the International Building Code (IBC); revise to suit Project and to comply with requirements of authorities having jurisdiction.

1. Uniform Load: 100 lbf/sq. ft. (4.79 kN/sq. m).

2. Concentrated Load: 300 lbf (1.33 kN) applied on an area of 4 sq. in. (2580 sq. mm).

3. Uniform and concentrated loads need not be assumed to act concurrently.

4. Stair Framing: Capable of withstanding stresses resulting from railing loads in addition to loads specified above.

See Evaluations in Section 055213 "Pipe and Tube Railings" for information about performance requirements for railings.

C. Structural Performance of Railings: Railings shall withstand the effects of gravity loads and the following loads and stresses within limits and under conditions indicated:

"Handrails and Top Rails of Guards" and "Infill of Guards" subparagraphs below are examples only and are based on the IBC; revise to suit Project and to comply with requirements of authorities having jurisdiction. For some occupancy categories under certain circumstances, less-stringent provisions may apply.

1. Handrails and Top Rails of Guards:

a. Uniform load of 50 lbf/ft. (0.73 kN/m) applied in any direction.

b. Concentrated load of 200 lbf (0.89 kN) applied in any direction.

c. Uniform and concentrated loads need not be assumed to act concurrently.

2. Infill of Guards:

a. Concentrated load of 50 lbf (0.22 kN) applied horizontally on an area of 1 sq. ft. (0.093 sq. m).

b. Infill load and other loads need not be assumed to act concurrently.

Retain "Seismic Performance of Stairs" Paragraph below for projects requiring seismic design. Model building codes and ASCE/SEI 7 establish criteria for buildings subject to earthquake motions. Verify requirements of authorities having jurisdiction.

D. Seismic Performance of Stairs: Metal stairs shall withstand the effects of earthquake motions determined according to [ASCE/SEI 7] <Insert requirement>.

1. Component Importance Factor: 1.5.

2.3 METALS

A. Metal Surfaces, General: Provide materials with smooth, flat surfaces unless otherwise indicated. For components exposed to view in the completed Work, provide materials without seam marks, roller marks, rolled trade names, or blemishes.

Retain "Recycled Content of Steel Products" Paragraph below if required for LEED Credit MR 4. USGBC allows a default value of 25 percent to be used for steel without documentation; higher percentages can be claimed if they are supported by appropriate documentation. The Steel Recycling Institute indicates that hollow structural shapes and steel plates typically have 23 percent postconsumer recycled content and 1.5 percent preconsumer recycled content; rolled structural shapes typically have 57.5 percent postconsumer recycled content and 6.5 percent preconsumer recycled content.

B. Recycled Content of Steel Products: Postconsumer recycled content plus one-half of preconsumer recycled content not less than [25] <Insert number> percent.

Retain material types, qualities, and grades in remaining paragraphs below that are indicated in the Specifications or on Drawings. Insert or delete items to suit Project.

C. Steel Plates, Shapes, and Bars: ASTM A 36/A 36M.

Usually allow fabricator to use either type of tubing in "Steel Tubing" Paragraph below unless structural engineer of record has designed railings based on one tube type.

D. Steel Tubing: [ASTM A 500 (cold formed)] [or] [ASTM A 513].

Retain one of or both "Uncoated, Cold-Rolled Steel Sheet" and "Uncoated, Hot-Rolled Steel Sheet" paragraphs below. Cold-rolled sheet has smoother surface finish than hot-rolled sheet. Most manufacturers use hot-rolled sheet. Delete option in either paragraph to specify only structural steel if required. Revise grade, if necessary, to suit structural requirements; grades indicated are lowest in referenced standards.

E. Uncoated, Cold-Rolled Steel Sheet: ASTM A 1008/A 1008M,[ either commercial steel, Type B, or] structural steel, Grade 25 (Grade 170), unless another grade is required by design loads; exposed.

F. Uncoated, Hot-Rolled Steel Sheet: ASTM A 1011/A 1011M,[ either commercial steel, Type B, or] structural steel, Grade 30 (Grade 205), unless another grade is required by design loads.

G. Expanded-Metal, Carbon Steel: ASTM F 1267, [Type I (expanded)] [Type II (expanded and flattened)], Class 1 (uncoated).

Designations in "Style Designation" Subparagraph below indicate size. First option has openings approximately 3/4 by 1-1/2 inches (20 by 40 mm) and is 0.09 to 0.10 inch (2.3 to 2.5 mm) thick; second option has openings approximately 1 by 2-1/2 inches (25 by 65 mm) and is 0.13 to 0.142 inch (3.3 to 3.6 mm) thick.

1. Style Designation: [3/4 number 13] [1-1/2 number 10] <Insert designation>.

H. Perforated Metal: Cold-rolled steel sheet, ASTM A 1008/A 1008M, or hot-rolled steel sheet, ASTM A 1011/A 1011M, commercial steel Type B, [0.060 inch (1.52 mm)] <Insert dimension> thick, [with 1/4-inch (6.4-mm) holes 3/8 inch (9.5 mm) o.c. in staggered rows] [with 1/8-by-1-inch (3.2-by-25.4-mm) round end slotted holes in staggered rows] <Insert description>.

Retain "Basis-of-Design Product" Subparagraph below to identify a specific product or a comparable product from manufacturers listed. Delete insert note if manufacturer's name and model number are indicated on Drawings.

1. Basis-of-Design Product: Provide product with perforations matching <Insert manufacturer's name; product name or designation>.

Revise pattern and wire size in "Woven-Wire Mesh" Paragraph below if required.

I. Woven-Wire Mesh: Intermediate-crimp, [diamond] [square] pattern, 2-inch (50-mm) woven-wire mesh, made from 0.135-inch (3.5-mm) nominal diameter wire complying with ASTM A 510 (ASTM A 510M).

J. Aluminum Extrusions: ASTM B 221 (ASTM B 221M), Alloy 6063-T6.

2.4 ABRASIVE NOSINGS

A. Cast-Metal Units: Cast iron, with an integral abrasive, as-cast finish.

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, [provide products by the following] [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to identify a specific product or a comparable product from manufacturers listed. Retain option and delete insert note if manufacturer's name and model number are indicated on Drawings.

2. Basis-of-Design Product: Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. American Safety Tread Co., Inc.

b. Balco, Inc.

c. Barry Pattern & Foundry Co., Inc.

d. Granite State Casting Co.

e. Safe-T-Metal Company, Inc.

f. Wooster Products Inc.

g. <Insert manufacturer's name>.

B. Extruded Units: Aluminum units with abrasive filler in an epoxy-resin binder.

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, [provide products by the following] [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to identify a specific product or a comparable product from manufacturers listed. Retain option and delete insert note if manufacturer's name and model number are indicated on Drawings.

2. Basis-of-Design Product: Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. ACL Industries, Inc.

b. American Safety Tread Co., Inc.

c. Amstep Products.

d. Armstrong Products, Inc.

e. Balco, Inc.

f. Granite State Casting Co.

g. Wooster Products Inc.

h. <Insert manufacturer's name>.

Retain one of two subparagraphs below.

3. Provide ribbed units, with abrasive filler strips projecting 1/16 inch (1.5 mm) above aluminum extrusion.

4. Provide solid-abrasive-type units without ribs.

C. Provide anchors for embedding units in concrete, either integral or applied to units, as standard with manufacturer.

D. Apply bituminous paint to concealed surfaces of cast-metal units set into concrete.

E. Apply clear lacquer to concealed surfaces of extruded units set into concrete.

2.5 FASTENERS

A. Provide zinc-plated fasteners with coating complying with ASTM B 633 or ASTM F 1941 (ASTM F 1941M), Class Fe/Zn 12 for exterior use, and Class Fe/Zn 5 where built into exterior walls. Select fasteners for type, grade, and class required.

2.6 MISCELLANEOUS MATERIALS

Retain "Low-Emitting Materials" Paragraph below if required for LEED for Schools.

A. Low-Emitting Materials: Paints and coatings shall comply with the testing and product requirements of the California Department of Public Health's (formerly, the California Department of Health Services') "Standard Method for the Testing and Evaluation of Volatile Organic Chemical Emissions from Indoor Sources Using Environmental Chambers."

Retain "Shop Primers" or "Universal Shop Primer" Paragraph below. Second paragraph specifies a typical primer for painted finishes that provides minimum protection to steel.

B. Shop Primers: Provide primers that comply with [Section 099113 "Exterior Painting" and Section 099123 "Interior Painting."] [Section 099600 "High-Performance Coatings."] [Section 099113 "Exterior Painting," Section 099123 "Interior Painting," and Section 099600 "High-Performance Coatings."]

C. Universal Shop Primer: Fast-curing, lead- and chromate-free, universal modified-alkyd primer complying with MPI#79 and compatible with topcoat.

D. Bituminous Paint: Cold-applied asphalt emulsion complying with ASTM D 1187/D 1187M.

Retain "Concrete Materials and Properties" and "Welded Wire Reinforcement" paragraphs below if required for prefilled stair treads.

E. Concrete Materials and Properties: Comply with requirements in Section 033000 "Cast-in-Place Concrete" for normal-weight, air-entrained, ready-mix concrete with a minimum 28-day compressive strength of 3000 psi (20 MPa) unless otherwise indicated.

F. Welded Wire Reinforcement: ASTM A 185/A 185M, 6 by 6 inches (152 by 152 mm), W1.4 by W1.4, unless otherwise indicated.

2.7 PRECAST CONCRETE TREADS

A. Concrete Materials and Properties: Comply with requirements in Section 033000 "Cast-in-Place Concrete" for normal-weight, ready-mixed concrete with a minimum 28-day compressive strength of 5000 psi (35 MPa) and a total air content of not less than 4 percent or more than 6 percent.

B. Reinforcement: Galvanized, welded wire reinforcement, 2 by 2 inches (50 by 50 mm) by 0.062-inch- (1.6-mm-) diameter wire; comply with ASTM A 185/A 185M and ASTM A 82/A 82M, except for minimum wire size.

2.8 FABRICATION, GENERAL

A. Provide complete stair assemblies, including metal framing, hangers, struts,[ railings,] clips, brackets, bearing plates, and other components necessary to support and anchor stairs and platforms on supporting structure.

1. Join components by welding unless otherwise indicated.

2. Use connections that maintain structural value of joined pieces.

B. Preassembled Stairs: Assemble stairs in shop to greatest extent possible. Disassemble units only as necessary for shipping and handling limitations. Clearly mark units for reassembly and coordinated installation.

C. Cut, drill, and punch metals cleanly and accurately. Remove burrs and ease edges to a radius of approximately 1/32 inch (1 mm) unless otherwise indicated. Remove sharp or rough areas on exposed surfaces.

D. Form bent-metal corners to smallest radius possible without causing grain separation or otherwise impairing work.

E. Weld connections to comply with the following:

1. Use materials and methods that minimize distortion and develop strength and corrosion resistance of base metals.

2. Obtain fusion without undercut or overlap.

3. Remove welding flux immediately.

Delete first subparagraph below if appearance is not important or if economy is more important.

4. Weld exposed corners and seams continuously unless otherwise indicated.

5. At exposed connections, finish exposed welds to comply with NOMMA's "Voluntary Joint Finish Standards" for [Type 3 welds: partially dressed weld with spatter removed] [Type 4 welds: good quality, uniform undressed weld with minimal splatter].

F. Form exposed connections with hairline joints, flush and smooth, using concealed fasteners where possible. Locate joints where least conspicuous.

2.9 STEEL-FRAMED STAIRS

NAAMM standard in "NAAMM Stair Standard" Paragraph below includes only minimal requirements. First option is typical enclosed stair (welds are required to be smooth); second option is economy enclosed stair.

A. NAAMM Stair Standard: Comply with "Recommended Voluntary Minimum Standards for Fixed Metal Stairs" in NAAMM AMP 510, "Metal Stairs Manual," [Commercial] [Service] Class, unless more stringent requirements are indicated.

B. Stair Framing:

Steel plate stringers are less expensive than channels, except for longer spans, and allow railing posts to be welded to face of stringer. Allowing either plates or channels gives fabricator maximum flexibility.

1. Fabricate stringers of steel [plates] [or] [channels].

a. Provide closures for exposed ends of channel stringers.

2. Construct platforms of steel [plate] [or] [channel] headers and miscellaneous framing members as [needed to comply with performance requirements] [indicated].

3. Weld[ or bolt] stringers to headers; weld[ or bolt] framing members to stringers and headers.[ If using bolts, fabricate and join so bolts are not exposed on finished surfaces.]

4. Where stairs are enclosed by gypsum board[ shaft-wall] assemblies, provide hanger rods or struts to support landings from floor construction above or below. Locate hanger rods and struts where they do not encroach on required stair width and are within the fire-resistance-rated stair enclosure.

5. Where masonry walls support metal stairs, provide temporary supporting struts designed for erecting steel stair components before installing masonry.

Retain "Metal Pan Stairs" Paragraph below if concrete-filled, epoxy-resin-filled, or precast concrete tread metal pan stairs are required. Subtreads are sheet metal pans that are filled to form the treads; subplatforms are sheet metal decking that supports the concrete fill for landings.

C. Metal Pan Stairs: Form risers, subtread pans, and subplatforms to configurations shown from steel sheet of thickness [needed to comply with performance requirements, but not less than 0.067 inch (1.7 mm)] [indicated].

Abrasive-coating-finished, formed-metal stairs are noisy because the coating is thin and the steel sheet treads act similar to drum heads.

D. Abrasive-Coating-Finished, Formed-Metal Stairs: Form risers, treads, and platforms to configurations shown from steel sheet of thickness [needed to comply with performance requirements, but not less than 0.097 inch (2.5 mm)] [indicated].

2.10 STAIR RAILINGS

A. Steel Tube Railings: Fabricate railings to comply with requirements indicated for design, dimensions, details, finish, and member sizes, including wall thickness of tube, post spacings, and anchorage, but not less than that needed to withstand indicated loads.

1. Rails and Posts: [1-5/8-inch- (41-mm-) diameter] [1-1/2-inch- (38-mm-) square] top and bottom rails and 1-1/2-inch- (38-mm-) square posts.

Retain one infill configuration from five subparagraphs below or revise depending on style of railing used and code requirements. Delete all if configuration is indicated on Drawings.

2. Picket Infill: 1/2-inch- (13-mm-) [round] [square] pickets spaced less than 4 inches (100 mm) clear.

3. Expanded-Metal Infill: Expanded-metal panels edged with U-shaped channels made from steel sheet and not less than 0.043 inch (1.1 mm) thick. Orient expanded metal with long dimension of diamonds [parallel to top rail] [perpendicular to top rail] [vertical].

4. Perforated-Metal Infill: Perforated-metal panels edged with U-shaped channels made from metal sheet, of same metal as perforated metal, and not less than 0.043 inch (1.1 mm) thick. Orient perforated metal with pattern [parallel to top rail] [perpendicular to top rail] [horizontal] [vertical] [as indicated on Drawings].

Coordinate selection in "Mesh Infill" Subparagraph below with retained wire mesh pattern.

5. Mesh Infill: Woven wire mesh crimped into 1-by-1/2-by-1/8-inch (25-by-13-by-3-mm) steel channel frames. Orient wire mesh with [diamonds vertical] [wires perpendicular and parallel to top rail] [wires horizontal and vertical].

The IBC allows configurations in "Intermediate Rails Infill" Subparagraph below only for certain occupancies and applications. Verify required rail spacing before retaining.

6. Intermediate Rails Infill: [1-5/8-inch- (41-mm-) diameter] [1-1/2-inch- (38-mm-) square] intermediate rails spaced less than [12 inches (305 mm)] [21 inches (533 mm)] clear.

B. Welded Connections: Fabricate railings with welded connections. Cope components at connections to provide close fit, or use fittings designed for this purpose. Weld all around at connections, including at fittings.

1. Finish welds to comply with NOMMA's "Voluntary Joint Finish Standards" for [Type 1 welds: no evidence of a welded joint] [Type 2 welds: completely sanded joint, some undercutting and pinholes are okay] [Type 3 welds: partially dressed weld with spatter removed] [Type 4 welds: good quality, uniform undressed weld with minimal splatter] as shown in NAAMM AMP 521.

C. Form changes in direction of railings by bending[ or by inserting prefabricated elbow fittings].

Retain first paragraph below unless all bends are made with standard elbow fittings.

D. For changes in direction made by bending, use jigs to produce uniform curvature for each repetitive configuration required. Maintain cross section of member throughout entire bend without buckling, twisting, cracking, or otherwise deforming exposed surfaces of components.

E. Close exposed ends of railing members with prefabricated end fittings.

F. Provide wall returns at ends of wall-mounted handrails.

G. Connect posts to stair framing by direct welding.

H. Brackets, Flanges, Fittings, and Anchors: Provide wall brackets, end closures, flanges, miscellaneous fittings, and anchors for interconnecting components and for attaching to other work.

Retain "Fillers" Paragraph below if railings are supported from plaster or gypsum board walls.

I. Fillers: Provide fillers made from steel plate, or other suitably crush-resistant material, where needed to transfer wall bracket loads through wall finishes to structural supports. Size fillers to suit wall finish thicknesses.

2.11 FINISHES

A. Finish metal stairs after assembly.

B. Preparation for Shop Priming: Prepare uncoated ferrous-metal surfaces to comply with SSPC-SP 3, "Power Tool Cleaning."

C. Apply shop primer to uncoated surfaces of metal stair components, except those with galvanized finishes and those to be embedded in concrete or masonry unless otherwise indicated. Comply with SSPC-PA 1, "Paint Application Specification No. 1: Shop, Field, and Maintenance Painting of Steel," for shop painting.

PART 3 -  EXECUTION

3.1 INSTALLING METAL PAN STAIRS

A. Cutting, Fitting, and Placement: Perform cutting, drilling, and fitting required for installing metal stairs. Set units accurately in location, alignment, and elevation, measured from established lines and levels and free of rack.

Delete first paragraph below if other fastening methods are acceptable.

B. Install metal stairs by welding stair framing to steel structure or to weld plates cast into concrete unless otherwise indicated.

C. Fit exposed connections accurately together to form hairline joints. Weld connections that are not to be left as exposed joints.

D. Field Welding: Comply with requirements for welding in "Fabrication, General" Article.

E. Place and finish concrete fill for treads and platforms to comply with Section 033000 "Cast-in-Place Concrete."

1. Install abrasive nosings with anchors fully embedded in concrete.

F. Install precast concrete treads with adhesive supplied by manufacturer.

3.2 INSTALLING RAILINGS

A. Adjust railing systems before anchoring to ensure matching alignment at abutting joints. Space posts at spacing indicated or, if not indicated, as required by design loads. Plumb posts in each direction. Secure posts and rail ends to building construction as follows:

1. Anchor posts to steel by [welding] [or] [bolting] to steel supporting members.

2. Anchor handrail ends to concrete and masonry with steel round flanges welded to rail ends and anchored with postinstalled anchors and bolts.

B. Attach handrails to wall with wall brackets. Locate brackets as indicated or, if not indicated, at spacing required to support structural loads. Secure wall brackets to building construction as required to comply with performance requirements.

3.3 ADJUSTING AND CLEANING

A. Touchup Painting: Immediately after erection, clean field welds, bolted connections, and abraded areas of shop paint, and paint exposed areas with same material as used for shop painting to comply with SSPC-PA 1 for touching up shop-painted surfaces.

END OF SECTION 055113

	METAL PAN STAIRS
	055113 - 1



