Copyright 2012 AIA
MasterSpec Professional
02/12

Copyright 2012 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 055213 - PIPE AND TUBE RAILINGS
TIPS:
To view non-printing Editor's Notes that provide guidance for editing, click on Masterworks/Single‑File Formatting/Toggle/Editor's Notes.
To read detailed research, technical information about products and materials, and coordination checklists, click on Masterworks/Supporting Information.

Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect." Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 SUMMARY

A. Section Includes:

1. Steel [pipe] [and] [tube] railings.

2. Aluminum [pipe] [and] [tube] railings.

3. Stainless-steel [pipe] [and] [tube] railings.

B. Related Requirements:

Retain subparagraph below to cross-reference requirements Contractor might expect to find in this Section but are specified in other Sections.

Delete below if railings for metal stairs are specified in this Section.

1. Section 055112 "Metal Pan Stairs" for steel tube railings associated with metal pan stairs.

1.2 ACTION SUBMITTALS

A. Product Data: For the following:

1. Manufacturer's product lines of mechanically connected railings.

2. Railing brackets.

3. Grout, anchoring cement, and paint products.

B. LEED Submittals:

1. Product Data for Credit MR 4: For products having recycled content, documentation indicating percentages by weight of postconsumer and preconsumer recycled content. Include statement indicating cost for each product having recycled content.

"Laboratory Test Reports for Credit IEQ 4.2" Subparagraph below applies to LEED for Schools.

2. Laboratory Test Reports for Credit IEQ 4.2: For primers, documentation indicating that products comply with the testing and product requirements of the California Department of Public Health's (formerly, the California Department of Health Services') "Standard Method for the Testing and Evaluation of Volatile Organic Chemical Emissions from Indoor Sources Using Environmental Chambers."

C. Shop Drawings: Include plans, elevations, sections, details, and attachments to other work.

D. Samples: For each type of exposed finish required.

Retain "Delegated-Design Submittal" Paragraph below if design services have been delegated to Contractor.

E. Delegated-Design Submittal: For railings, including analysis data signed and sealed by the qualified professional engineer responsible for their preparation.

1.3 INFORMATIONAL SUBMITTALS

"Product Test Reports" Paragraph below may be used for verification of performance requirements if authorities having jurisdiction do not allow Contractor to provide engineering calculations.

A. Product Test Reports: For pipe and tube railings, for tests performed by a qualified testing agency, according to ASTM E 894 and ASTM E 935.

PART 2 -  PRODUCTS

See Editing Instruction No. 1 in the Evaluations for cautions about named manufacturers and products. For an explanation of options and Contractor's product selection procedures, see Section 016000 "Product Requirements."

2.1 MANUFACTURERS

Retain railing types required, and delete others from "Steel Pipe and Tube Railings," "Aluminum Pipe and Tube Railings," and "Stainless-Steel Pipe and Tube Railings" paragraphs below. Under each type, retain or insert only those manufacturers offering products that comply with requirements indicated on Drawings and retained in other parts of the Section Text.

A. Steel Pipe and Tube Railings:

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, [provide products by the following] [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to identify a specific product or a comparable product from manufacturers listed. Retain option and delete insert note if manufacturer's name and model number are indicated on Drawings.

2. Basis-of-Design Product: Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

Steel pipe railings are generally fabricated by local ironworks. If retaining companies listed below, add names of local fabricators to list.

a. Wagner, R & B, Inc.

b. <Insert manufacturer's name>.

B. Aluminum Pipe and Tube Railings:

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, [provide products by the following] [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to identify a specific product or a comparable product from manufacturers listed. Retain option and delete insert note if manufacturer's name and model number are indicated on Drawings.

2. Basis-of-Design Product: Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. ATR Technologies, Inc.

b. Blum, Julius & Co., Inc.

c. Braun, J. G., Company.

d. CraneVeyor Corp.

e. Hollaender Manufacturing Company.

f. Kee Industrial Products, Inc.

g. Moultrie Manufacturing Company.

h. Sterling Dula Architectural Products, Inc; Div. of Kane Manufacturing..

i. Superior Aluminum Products, Inc.

j. Thompson Fabricating, LLC.

k. Tri Tech, Inc.

l. Tubular Specialties Manufacturing, Inc.

m. Tuttle Railing Systems.

n. Wagner, R & B, Inc.

o. <Insert manufacturer's name>.

C. Stainless-Steel Pipe and Tube Railings:

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, [provide products by the following] [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to identify a specific product or a comparable product from manufacturers listed. Retain option and delete insert note if manufacturer's name and model number are indicated on Drawings.

2. Basis-of-Design Product: Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. Blum, Julius & Co., Inc.

b. Paragon Aquatics.

c. Stainless Fabricators, Inc.

d. Sterling Dula Architectural Products, Inc; Div. of Kane Manufacturing..

e. Tri Tech, Inc.

f. Tubular Specialties Manufacturing, Inc.

g. Tuttle Railing Systems.

h. Wagner, R & B, Inc.

i. <Insert manufacturer's name>.

2.2 PERFORMANCE REQUIREMENTS

Retain "Delegated Design" Paragraph below if Contractor is required to assume responsibility for design.

A. Delegated Design: Engage a qualified professional engineer, as defined in Section 014000 "Quality Requirements," to design railings, including attachment to building construction.

B. Structural Performance: Railings, including attachment to building construction, shall withstand the effects of gravity loads and the following loads and stresses within limits and under conditions indicated:

Subparagraphs below are based on the International Building Code; revise to suit Project and to comply with requirements of authorities having jurisdiction.

1. Handrails and Top Rails of Guards:

a. Uniform load of 50 lbf/ ft. (0.73 kN/m) applied in any direction.

b. Concentrated load of 200 lbf (0.89 kN) applied in any direction.

c. Uniform and concentrated loads need not be assumed to act concurrently.

2. Infill of Guards:

a. Concentrated load of 50 lbf (0.22 kN) applied horizontally on an area of 1 sq. ft. (0.093 sq. m).

b. Infill load and other loads need not be assumed to act concurrently.

2.3 METALS, GENERAL

A. Brackets, Flanges, and Anchors: Cast or formed metal of same type of material and finish as supported rails unless otherwise indicated.

1. Provide type of bracket with [flange tapped for concealed anchorage to threaded hanger bolt] [predrilled hole for exposed bolt anchorage] and that provides 1-1/2-inch (38-mm) clearance from inside face of handrail to finished wall surface.

2.4 STEEL AND IRON

Retain "Recycled Content of Steel Products" Paragraph below if required for LEED Credit MR 4. The U.S. Green Building Council allows a default value of 25 percent to be used for steel without documentation; higher percentages can be claimed if they are supported by appropriate documentation. The Steel Recycling Institute indicates that hollow structural shapes, pipe, and steel plates typically have 23 percent postconsumer recycled content and 1.5 percent preconsumer recycled content.

A. Recycled Content of Steel Products: Postconsumer recycled content plus one-half of preconsumer recycled content not less than [25] <Insert number> percent.

Retain material types, qualities, and grades in remaining paragraphs that are indicated in Specifications or on Drawings.

Usually allow fabricator to use either type of tubing in "Tubing" Paragraph below unless structural engineer of record has designed railings. If higher strength is required, consider specifying ASTM A 513, Type 5 tubing or perhaps ASTM A 513 tubing of a high-strength alloy, after verifying availability.

B. Tubing: [ASTM A 500 (cold formed)] [or] [ASTM A 513].

Primary difference between round steel tubing and steel pipe is in outside dimensions. Pipe sizes are normally indicated by use of NPS designator and weight class or schedule number; for tubing, OD and wall thickness are used. See Evaluations.

Type, grade, and weight in "Pipe" Paragraph below are typical default requirements; revise to suit Project.

C. Pipe: ASTM A 53/A 53M, Type F or Type S, Grade A, Standard Weight (Schedule 40), unless another grade and weight are required by structural loads.

Delete subparagraph below if railings are galvanized after fabrication or if not using galvanized railings.

1. Provide galvanized finish for exterior installations and where indicated.

D. Plates, Shapes, and Bars: ASTM A 36/A 36M.

E. Cast Iron: Either gray iron, ASTM A 48/A 48M, or malleable iron, ASTM A 47/A 47M, unless otherwise indicated.

F. Expanded Metal: ASTM F 1267, [Type I (expanded)] [Type II (expanded and flattened)], Class 1 (uncoated).

Designations in "Style Designation" Subparagraph below indicate size. 3/4 number 13 has openings approximately 3/4 by 1-1/2 inches (20 by 40 mm) and is 0.09 to 0.10 inch (2.3 to 2.5 mm) thick; 1-1/2 number 10 has openings approximately 1 by 2-1/2 inches (25 by 65 mm) and is 0.13 to 0.142 inch (3.3 to 3.6 mm) thick.

1. Style Designation: [3/4 number 13] [1-1/2 number 10] <Insert designation>.

G. Perforated Metal: Cold-rolled steel sheet, ASTM A 1008/A 1008M, or hot-rolled steel sheet, ASTM A 1011/A 1011M, commercial steel Type B, [0.060 inch (1.52 mm)] <Insert dimension> thick, [with 1/4-inch (6.4-mm) holes 3/8 inch (9.5 mm) o.c. in staggered rows] <Insert description>.

1. Basis-of-Design Product: Provide product with perforations matching [product indicated on Drawings] <Insert manufacturer's name; product name or designation>.

H. Woven-Wire Mesh: Intermediate-crimp, [diamond] [square] pattern, 2-inch (50-mm) woven-wire mesh, made from 0.134-inch- (3.42-mm-) diameter wire complying with ASTM A 510 (ASTM A 510M).

2.5 ALUMINUM

Retain material types, qualities, and grades in this article that are indicated in Specifications or on Drawings.

A. Aluminum, General: Provide alloy and temper recommended by aluminum producer and finisher for type of use and finish indicated, and with not less than the strength and durability properties of alloy and temper designated below for each aluminum form required.

Alloys and tempers in first six paragraphs below are typical for products listed when used in railings; revise to suit structural performance requirements.

Aluminum railings are usually made from round tubing rather than pipe. For round tube railings, usually retain first three paragraphs below if Contractor is required to design railings. For pipe railings, retain only second paragraph unless first paragraph is required for bars. For square tube railings, retain only first paragraph. Primary difference between round tubing and pipe is in OD. Pipe sizes are normally indicated by use of NPS designator and weight class or schedule number; for tubing, OD and wall thickness are used. See Evaluations.

Yield strength for Alloy 6063-T5/T52 is 15 to 16 ksi (105 to 110 MPa).

B. Extruded [Bars] [and] [Tubing]: ASTM B 221 (ASTM B 221M), Alloy 6063-T5/T52.

Yield strength for Alloy 6063-T6 is 25 ksi (172 MPa).

C. Extruded Structural [Pipe] [and] [Round Tubing]: ASTM B 429/B 429M, Alloy 6063-T6.

Yield strength for Alloy 6063-T832 is 35 to 36 ksi (240 to 250 MPa).

D. Drawn Seamless Tubing: ASTM B 210 (ASTM B 210M), Alloy 6063-T832.

Yield strength for Alloy 6061-T6 is 32 to 35 ksi (220 to 240 MPa). Note that 6061-T6 is not suitable for bending, is somewhat less corrosion resistant than 6063, and does not anodize as well as 6063; however, 6063 is not available in plate and sheet form.

E. Plate and Sheet: ASTM B 209 (ASTM B 209M), Alloy 6061-T6.

F. Die and Hand Forgings: ASTM B 247 (ASTM B 247M), Alloy 6061-T6.

G. Castings: ASTM B 26/B 26M, Alloy A356.0-T6.

H. Perforated Metal: Aluminum sheet, ASTM B 209 (ASTM B 209M), Alloy 6061-T6, [0.063 inch (1.60 mm)] <Insert dimension> thick, [with 1/4-inch (6.4-mm) holes 3/8 inch (9.5 mm) o.c. in staggered rows] <Insert description>.

1. Basis-of-Design Product: Provide product with perforations matching [product indicated on Drawings] <Insert manufacturer's name; product name or designation>.

I. Woven-Wire Mesh: Intermediate-crimp, [diamond] [square] pattern, 2-inch (50-mm) woven-wire mesh, made from 0.162-inch- (4.1-mm-) diameter wire complying with ASTM B 211 (ASTM B 211M), Alloy 6061-T94.

2.6 STAINLESS STEEL

Retain material types, qualities, and grades in this article that are indicated in Specifications or on Drawings. Type 304 stainless steel is usually standard; Type 316 or 316L provides better corrosion resistance in coastal environments and where subject to deicing salts. If welding is required, use Type 316L instead of Type 316.

Stainless-steel railings are usually made from tubing rather than pipe. Stainless-steel tubing is not annealed, pickled, or pressure tested, so it is less expensive than stainless-steel pipe. Primary difference between round stainless-steel tubing and stainless-steel pipe is in OD. Pipe sizes are typically indicated by use of NPS designator and weight class or schedule number; for tubing, OD and wall thickness are used. See Evaluations.

A. Tubing: ASTM A 554, [Grade MT 304] [Grade MT 316L].

B. Pipe: ASTM A 312/A 312M, [Grade TP 304] [Grade TP 316L].

Retain first option in "Castings" Paragraph below with Type 304; second option, with Type 316 or 316L.

C. Castings: ASTM A 743/A 743M, [Grade CF 8 or CF 20] [Grade CF 8M or CF 3M].

D. Plate and Sheet: ASTM A 240/A 240M or ASTM A 666, [Type 304] [Type 316L].

E. Expanded Metal: ASTM F 1267, [Type I (expanded)] [Type II (expanded and flattened)], Class 3 (corrosion-resistant steel), made from stainless-steel sheet, ASTM A 240/A 240M or ASTM A 666, [Type 304] [Type 316].

Designations in "Style Designation" Subparagraph below indicate size. 3/4 number 13 has openings approximately 3/4 by 1-1/2 inches (20 by 40 mm) and is 0.09 to 0.10 inch (2.3 to 2.5 mm) thick; 1-1/2 number 10 has openings approximately 1 by 2-1/2 inches (25 by 65 mm) and is 0.13 to 0.142 inch (3.3 to 3.6 mm) thick.

1. Style Designation: [3/4 number 13] [1-1/2 number 10] <Insert designation>.

F. Perforated Metal: Stainless-steel sheet, ASTM A 240/A 240M or ASTM A 666, [Type 304] [Type 316L], [0.062 inch (1.59 mm)] <Insert dimension> thick, [with 1/4-inch (6.4-mm) holes 3/8 inch (9.5 mm) o.c. in staggered rows] <Insert description>.

1. Basis-of-Design Product: Provide product with perforations matching [product indicated on Drawings] <Insert manufacturer's name; product name or designation>.

2.7 FASTENERS

A. General: Provide the following:

1. Ungalvanized-Steel Railings: Plated steel fasteners complying with ASTM B 633 or ASTM F 1941 (ASTM F 1941M), Class Fe/Zn 5 for zinc coating.

Many fasteners, such as small-diameter machine screws, are not available hot-dip galvanized.

2. Hot-Dip Galvanized Railings: Type 304 stainless-steel or hot-dip zinc-coated steel fasteners complying with ASTM A 153/A 153M or ASTM F 2329 for zinc coating.

3. Aluminum Railings: [Type 304] [Type 316] stainless-steel fasteners.

4. Stainless-Steel Railings: [Type 304] [Type 316] stainless-steel fasteners.

If retaining "Post-Installed Anchors" Paragraph below, indicate loads on Drawings and verify safety factors with Project's structural engineer.

B. Post-Installed Anchors: [Torque-controlled expansion anchors] [or] [chemical anchors] capable of sustaining, without failure, a load equal to 6 times the load imposed when installed in unit masonry and 4 times the load imposed when installed in concrete, as determined by testing according to ASTM E 488/E 488M, conducted by a qualified independent testing agency.

Material in "Material for Interior Locations" Subparagraph below protects against corrosion in an indoor atmosphere.

1. Material for Interior Locations: Carbon-steel components zinc-plated to comply with ASTM B 633 or ASTM F 1941 (ASTM F 1941M), Class Fe/Zn 5, unless otherwise indicated.

Alloy Group 1 (A1) refers to Type 304 and similar alloys, and Alloy Group 2 (A4) refers to Type 316 and similar alloys.

2. Material for Exterior Locations and Where Stainless Steel Is Indicated: Alloy [Group 1 (A1)] [Group 2 (A4)] stainless-steel bolts, ASTM F 593 (ASTM F 738M), and nuts, ASTM F 594 (ASTM F 836M).

2.8 MISCELLANEOUS MATERIALS

A. Welding Rods and Bare Electrodes: Select according to AWS specifications for metal alloy welded.

Retain "Low-Emitting Materials" Paragraph below if required for LEED for Schools.

B. Low-Emitting Materials: Paints and coatings shall comply with the testing and product requirements of the California Department of Public Health's (formerly, the California Department of Health Services') "Standard Method for the Testing and Evaluation of Volatile Organic Chemical Emissions from Indoor Sources Using Environmental Chambers."

C. Etching Cleaner for Galvanized Metal: Complying with MPI#25.

D. Galvanizing Repair Paint: High-zinc-dust-content paint complying with SSPC-Paint 20 and compatible with paints specified to be used over it.

Retain one or more of four primer paragraphs below. "Universal Shop Primer" Paragraph specifies a typical primer for painted finishes that provides minimum protection to steel. "Epoxy Zinc-Rich Primer" Paragraph specifies a typical primer for high-performance coating.

E. Shop Primers: Provide primers that comply with [Section 099113 "Exterior Painting" and Section 099123 "Interior Painting."] [Section 099600 "High-Performance Coatings."] [Section 099113 "Exterior Painting,"Section 099123 "Interior Painting," and Section 099600 "High-Performance Coatings."]

F. Universal Shop Primer: Fast-curing, lead- and chromate-free, universal modified-alkyd primer complying with MPI#79 and compatible with topcoat.

G. Epoxy Zinc-Rich Primer: Complying with MPI#20 and compatible with topcoat.

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, [provide products by the following] [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to identify a specific product or a comparable product from manufacturers listed. Retain option and delete insert note if manufacturer's name and model number are indicated on Drawings.

2. Basis-of-Design Product: Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. <Insert, in separate subparagraphs, manufacturer's name>.

H. Shop Primer for Galvanized Steel: Primer formulated for exterior use over zinc-coated metal and compatible with finish paint systems indicated.

I. Epoxy Intermediate Coat: Complying with MPI #77 and compatible with primer and topcoat.

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, [provide products by the following] [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to identify a specific product or a comparable product from manufacturers listed. Retain option and delete insert note if manufacturer's name and model number are indicated on Drawings.

2. Basis-of-Design Product: Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. <Insert, in separate subparagraphs, manufacturer's name>.

J. Polyurethane Topcoat: Complying with MPI #72 and compatible with undercoat.

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, [provide products by the following] [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to identify a specific product or a comparable product from manufacturers listed. Retain option and delete insert note if manufacturer's name and model number are indicated on Drawings.

2. Basis-of-Design Product: Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. <Insert, in separate subparagraphs, manufacturer's name>.

K. Bituminous Paint: Cold-applied asphalt emulsion complying with ASTM D 1187/D 1187M.

L. Nonshrink, Nonmetallic Grout: Factory-packaged, nonstaining, noncorrosive, nongaseous grout complying with ASTM C 1107/C 1107M. Provide grout specifically recommended by manufacturer for interior and exterior applications.

2.9 FABRICATION

A. Cut, drill, and punch metals cleanly and accurately. Remove burrs and ease edges to a radius of approximately 1/32 inch (1 mm) unless otherwise indicated. Remove sharp or rough areas on exposed surfaces.

B. Form work true to line and level with accurate angles and surfaces.

"Welded Connections" Paragraph below is generally applicable to exposed welding of steel and stainless steel.

C. Welded Connections: Cope components at connections to provide close fit, or use fittings designed for this purpose. Weld all around at connections, including at fittings.

1. Use materials and methods that minimize distortion and develop strength and corrosion resistance of base metals.

2. Obtain fusion without undercut or overlap.

3. Remove flux immediately.

4. At exposed connections, finish exposed surfaces smooth and blended so no roughness shows after finishing and welded surface matches contours of adjoining surfaces.

"Welded Connections for Aluminum Pipe" Paragraph below describes CraneVeyor's system.

D. Welded Connections for Aluminum Pipe: Fabricate railings to interconnect members with concealed internal welds that eliminate surface grinding, using manufacturer's standard system of sleeve and socket fittings.

E. Nonwelded Connections: Connect members with concealed mechanical fasteners and fittings. Fabricate members and fittings to produce flush, smooth, rigid, hairline joints.

F. Form changes in direction [by bending] [or] [by inserting prefabricated elbow fittings].

Retain first paragraph below if bending is allowed or required.

G. For changes in direction made by bending, use jigs to produce uniform curvature for each repetitive configuration required. Maintain cross section of member throughout entire bend without buckling, twisting, cracking, or otherwise deforming exposed surfaces of components.

H. Close exposed ends of railing members with prefabricated end fittings.

I. Provide wall returns at ends of wall-mounted handrails unless otherwise indicated.

J. Brackets, Flanges, Fittings, and Anchors: Provide wall brackets, flanges, miscellaneous fittings, and anchors to interconnect railing members to other work unless otherwise indicated.

Retain subparagraph below if any railings are supported from plaster or gypsum board walls.

1. At brackets and fittings fastened to plaster or gypsum board partitions, provide crush-resistant fillers or other means to transfer loads through wall finishes to structural supports and prevent bracket or fitting rotation and crushing of substrate.

K. Expanded-Metal Infill Panels: Fabricate infill panels from expanded metal made from same metal as railings in which they are installed.

1. Orient expanded metal with long dimension of diamonds [parallel to top rail] [perpendicular to top rail] [horizontal] [vertical] [as indicated on Drawings].

L. Perforated-Metal Infill Panels: Fabricate infill panels from perforated metal made from [steel] [galvanized steel] [aluminum] [stainless steel] [same metal as railings in which they are installed].

1. Orient perforated metal with pattern [parallel to top rail] [perpendicular to top rail] [horizontal] [vertical] [as indicated on Drawings].

M. Woven-Wire Mesh Infill Panels: Fabricate infill panels from woven-wire mesh crimped into 1-by-1/2-by-1/8-inch (25-by-13-by-3-mm) metal channel frames. Make wire mesh and frames from same metal as railings in which they are installed.

1. Orient wire mesh with [diamonds vertical] [diamonds perpendicular to top rail] [wires perpendicular and parallel to top rail] [wires horizontal and vertical] [as indicated on Drawings].

2.10 STEEL AND IRON FINISHES

A. Galvanized Railings:

Retain first subparagraph below and delete both options if all railings, both interior and exterior, are galvanized. Retain second option if only certain steel railings are galvanized; indicate locations of galvanized railings on Drawings.

1. Hot-dip galvanize [exterior] [indicated] steel railings, including hardware, after fabrication.

2. Comply with ASTM A 123/A 123M for hot-dip galvanized railings.

3. Comply with ASTM A 153/A 153M for hot-dip galvanized hardware.

B. Preparing Galvanized Railings for Shop Priming: After galvanizing, thoroughly clean railings of grease, dirt, oil, flux, and other foreign matter, and treat with etching cleaner.

Retain "Preparation for Shop Priming" Paragraph below for nongalvanized railings.

C. Preparation for Shop Priming: Prepare uncoated ferrous-metal surfaces to comply with [SSPC-SP 6/NACE No. 3, "Commercial Blast Cleaning."] [SSPC-SP 3, "Power Tool Cleaning."]

D. Primer Application: Apply shop primer to prepared surfaces of railings unless otherwise indicated. Comply with requirements in SSPC-PA 1, "Shop, Field, and Maintenance Painting of Steel," for shop painting. Primer need not be applied to surfaces to be embedded in concrete or masonry.

Delete subparagraph below if galvanized railings are shop primed.

1. Do not apply primer to galvanized surfaces.

If retaining "High-Performance Coating" Paragraph below, also retain "Primer Application" Paragraph.

E. High-Performance Coating: Apply epoxy intermediate and polyurethane topcoats to prime-coated surfaces. Comply with coating manufacturer's written instructions and with requirements in SSPC-PA 1, "Shop, Field, and Maintenance Painting of Steel," for shop painting. Apply at spreading rates recommended by coating manufacturer.

1. Color: [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range].

2.11 ALUMINUM FINISHES

Delete "Appearance of Finished Work" Paragraph below if no variable finishes, such as color-anodized aluminum, are used.

A. Appearance of Finished Work: Variations in appearance of abutting or adjacent pieces are acceptable if they are within one-half of the range of approved Samples. Noticeable variations in the same piece are unacceptable. Variations in appearance of other components are acceptable if they are within the range of approved Samples and are assembled or installed to minimize contrast.

Retain or revise finishes below to suit Project. If retaining more than one, indicate location of each on Drawings or by inserts. Revise mill finish if custom mechanical finish is required and availability is verified.

B. Mill Finish: AA-M12, nonspecular as fabricated.

Retain one of two options in "Clear Anodic Finish" Paragraph below. Second option is standard with many manufacturers; first option is heavy anodized. Verify availability with manufacturers.

C. Clear Anodic Finish: AAMA 611, [AA-M12C22A41] [AA-M12C22A31].

"Baked-Enamel or Powder-Coat Finish" Paragraph below references AAMA standard for pigmented organic coating on extrusions and panels.

D. Baked-Enamel or Powder-Coat Finish: AAMA 2603 except with a minimum dry film thickness of 1.5 mils (0.04 mm). Comply with coating manufacturer's written instructions for cleaning, conversion coating, and applying and baking finish.

1. Color and Gloss: [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range] <Insert color and gloss>.

2.12 STAINLESS-STEEL FINISHES

180-grit polished finish is similar to No. 4 finish but has a slightly finer texture.

A. 180-Grit Polished Finish: Oil-ground, uniform, directionally textured finish.

No. 4 finish is 120 to 150 grit.

B. Directional Satin Finish: No. 4.

Finish in "Dull Satin Finish" Paragraph below is a nondirectional finish produced from a No. 4 finish by brushing with an extremely fine abrasive to remove the grit lines without producing a reflective appearance.

C. Dull Satin Finish: No. 6.

PART 3 -  EXECUTION

3.1 INSTALLATION, GENERAL

A. Set railings accurately in location, alignment, and elevation; measured from established lines and levels and free of rack.

1. Do not weld, cut, or abrade surfaces of railing components that are coated or finished after fabrication and that are intended for field connection by mechanical or other means without further cutting or fitting.

Revise two subparagraphs below if closer tolerances are required. Both are from NAAMM's "Pipe Railing Systems Manual."

2. Set posts plumb within a tolerance of 1/16 inch in 3 feet (2 mm in 1 m).

3. Align rails so variations from level for horizontal members and variations from parallel with rake of steps and ramps for sloping members do not exceed 1/4 inch in 12 feet (6 mm in 3.5 m).

B. Control of Corrosion: Prevent galvanic action and other forms of corrosion by insulating metals and other materials from direct contact with incompatible materials.

1. Coat, with a heavy coat of bituminous paint, concealed surfaces of aluminum that are in contact with grout, concrete, masonry, wood, or dissimilar metals.

3.2 ANCHORING POSTS

Retain type(s) of anchorage in this article to suit Project.

Retain one of first two paragraphs below, or delete both if no posts in concrete. Coordinate with products selected in Part 2.

A. Use metal sleeves preset and anchored into concrete for installing posts. After posts are inserted into sleeves, fill annular space between post and sleeve with [nonshrink, nonmetallic grout] [or] [anchoring cement], mixed and placed to comply with anchoring material manufacturer's written instructions.

B. Form or core-drill holes not less than 5 inches (125 mm) deep and 3/4 inch (20 mm) larger than OD of post for installing posts in concrete. Clean holes of loose material, insert posts, and fill annular space between post and concrete with [nonshrink, nonmetallic grout] [or] [anchoring cement], mixed and placed to comply with anchoring material manufacturer's written instructions.

Revise paragraph below if posts are welded directly to supports.

C. Anchor posts to metal surfaces with oval flanges, angle type, or floor type as required by conditions, connected to posts and to metal supporting members.

3.3 ATTACHING RAILINGS

A. Attach railings to wall with wall brackets[, except where end flanges are used]. Locate brackets as indicated or, if not indicated, at spacing required to support structural loads.

B. Secure wall brackets and railing end flanges to building construction as follows:

1. For concrete and solid masonry anchorage, use drilled-in expansion shields and hanger or lag bolts.

2. For hollow masonry anchorage, use toggle bolts.

3. For wood stud partitions, use hanger or lag bolts set into studs or wood backing between studs. Coordinate with carpentry work to locate backing members.

Retain one of three subparagraphs below if using steel studs.

4. For steel-framed partitions, use hanger or lag bolts set into [fire-retardant-treated ]wood backing between studs. Coordinate with stud installation to locate backing members.

5. For steel-framed partitions, use self-tapping screws fastened to steel framing or to concealed steel reinforcements.

6. For steel-framed partitions, use toggle bolts installed through flanges of steel framing or through concealed steel reinforcements.

3.4 ADJUSTING AND CLEANING

A. Touchup Painting: Immediately after erection, clean field welds, bolted connections, and abraded areas of shop paint, and paint exposed areas with the same material as used for shop painting to comply with SSPC-PA 1 requirements for touching up shop-painted surfaces.

B. Galvanized Surfaces: Clean field welds, bolted connections, and abraded areas, and repair galvanizing to comply with ASTM A 780/A 780M.

END OF SECTION 055213

	PIPE AND TUBE RAILINGS
	055213 - 1



