Copyright 2010 AIA
MasterSpec Professional
02/10

Copyright 2010 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 071113 - BITUMINOUS DAMPPROOFING
TIPS:
To view non-printing Editor's Notes that provide guidance for editing, click on Masterworks/Single‑File Formatting/Toggle/Editor's Notes.
To read detailed research, technical information about products and materials, and coordination checklists, click on Masterworks/Supporting Information.

Revise this Section by deleting and inserting text to meet Project-specific requirements.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 SUMMARY

A. Section includes cold-applied, [cut-back-] [emulsified-]asphalt dampproofing.

1.2 ACTION SUBMITTALS

A. Product Data: For each type of product.

B. LEED Submittals:

"Product Data for Credit IEQ 4.2" Subparagraph below applies to LEED-NC, LEED-CI, and LEED-CS.

1. Product Data for Credit IEQ 4.2: For dampproofing, documentation including printed statement of VOC content.

"Laboratory Test Reports for Credit IEQ 4" Subparagraph below applies to LEED for Schools.

2. Laboratory Test Reports for Credit IEQ 4: For dampproofing, documentation indicating that products comply with the testing and product requirements of the California Department of Health Services' "Standard Practice for the Testing of Volatile Organic Emissions from Various Sources Using Small-Scale Environmental Chambers."

PART 2 -  PRODUCTS

See Editing Instruction No. 1 in the Evaluations for cautions about named manufacturers and products. For an explanation of options and Contractor's product selection procedures, see Section 016000 "Product Requirements."

2.1 MATERIALS, GENERAL

A. VOC Content: Products shall comply with VOC content limits of authorities having jurisdiction unless otherwise required.

2.2 COLD-APPLIED, CUT-BACK-ASPHALT DAMPPROOFING

Retain "Manufacturers" Paragraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

A. Manufacturers: Subject to compliance with requirements, [provide products by the following] [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

Before retaining list below, verify that manufacturers' products comply with local VOC regulations if any.

1. APOC, Inc.; a division of Gardner-Gibson.

2. BASF Construction Chemicals - Building Systems; Sonneborn Brand Products.

3. Brewer Company (The).

4. ChemMasters, Inc.

5. Euclid Chemical Company (The); an RPM company.

6. Henry Company.

7. Karnak Corporation.

8. Koppers Inc.

9. Malarkey Roofing Products.

10. Meadows, W. R., Inc.

11. <Insert manufacturer's name>.

Retain one of or both "Trowel Coats" and "Brush and Spray Coats" paragraphs below; coordinate with applications retained.

B. Trowel Coats: ASTM D 4586, Type I, Class 1, fibered.

In "Brush and Spray Coats" Paragraph below, only W. R. Meadows offers a nonfibered spray coat.

C. Brush and Spray Coats: ASTM D 4479, Type I, fibered[ or nonfibered].

Retain "VOC Content" Paragraph below if required for LEED-NC, LEED-CI, and LEED-CS Credit IEQ 4.2, which limits VOC content to 250 g/L for materials used inside the weatherproofing system. Before retaining first option below, verify availability of products that comply; see Table 1 at the end of the Evaluations.

D. VOC Content: [250] [300] <Insert value> g/L or less when calculated according to 40 CFR 59, Subpart D (EPA Method 24).

Retain "Low-Emitting Materials" Paragraph below for materials used inside the weatherproofing system if required for LEED for Schools.

E. Low-Emitting Materials: Dampproofing shall comply with the testing and product requirements of the California Department of Health Services' "Standard Practice for the Testing of Volatile Organic Emissions from Various Sources Using Small-Scale Environmental Chambers."

2.3 COLD-APPLIED, EMULSIFIED-ASPHALT DAMPPROOFING

Retain "Manufacturers" Paragraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

A. Manufacturers: Subject to compliance with requirements, [provide products by the following] [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

Before retaining list below, verify that manufacturers' products comply with local VOC regulations if any.

1. APOC, Inc.; a division of Gardner-Gibson.

2. BASF Construction Chemicals - Building Systems; Sonneborn Brand Products.

3. Brewer Company (The).

4. ChemMasters, Inc.

5. Euclid Chemical Company (The); an RPM company.

6. Gardner-Gibson, Inc.

7. Henry Company.

8. Karnak Corporation.

9. Koppers Inc.

10. Malarkey Roofing Products.

11. Meadows, W. R., Inc.

12. <Insert manufacturer's name>.

Retain one or more of "Trowel Coats," "Fibered Brush and Spray Coats," and "Brush and Spray Coats" paragraphs below; coordinate with applications retained.

B. Trowel Coats: ASTM D 1227, Type II, Class 1.

C. Fibered Brush and Spray Coats: ASTM D 1227, Type II, Class 1.

D. Brush and Spray Coats: ASTM D 1227, Type III, Class 1.

Retain "VOC Content" Paragraph below if required for LEED-NC, LEED-CI, and LEED-CS Credit IEQ 4.2, which limits VOC content to 250 g/L for materials used inside the weatherproofing system. Before retaining first option below, verify availability of products that comply; see Table 2 at the end of the Evaluations.

E. VOC Content: [Zero] [30 g/L or less] <Insert value>.

Retain "Low-Emitting Materials" Paragraph below for materials used inside the weatherproofing system if required for LEED for Schools.

F. Low-Emitting Materials: Dampproofing shall comply with the testing and product requirements of the California Department of Health Services' "Standard Practice for the Testing of Volatile Organic Emissions from Various Sources Using Small-Scale Environmental Chambers."

2.4 AUXILIARY MATERIALS

A. General: Furnish auxiliary materials recommended in writing by dampproofing manufacturer for intended use and compatible with bituminous dampproofing.

Product in "Cut-Back-Asphalt Primer" Paragraph below is solvent based. Delete if solvent release is not allowed due to VOC limitations.

B. Cut-Back-Asphalt Primer: ASTM D 41.

Product in "Emulsified-Asphalt Primer" Paragraph below is water based and generally contains few or no VOCs.

C. Emulsified-Asphalt Primer: ASTM D 1227, Type III, Class 1, except diluted with water as recommended in writing by manufacturer.

Retain subparagraph below for materials used inside the weatherproofing system if required for LEED for Schools.

1. Primer shall comply with the testing and product requirements of the California Department of Health Services' "Standard Practice for the Testing of Volatile Organic Emissions from Various Sources Using Small-Scale Environmental Chambers."

Retain "Asphalt-Coated Glass Fabric" Paragraph below if required for items such as flashings and corner protection stripping at internal and external corners, changes in plane, and construction joints; revise to suit Project.

D. Asphalt-Coated Glass Fabric: ASTM D 1668, Type I.

Retain protection-course type from one of four "Protection Course" paragraphs below if required for backfill locations. Verify acceptability of protection-course type with dampproofing manufacturer.

E. Protection Course: ASTM D 6506, 1/8-inch- (3-mm-) thick, semirigid sheets of fiberglass or mineral-reinforced-asphaltic core, pressure laminated between two asphalt-saturated fibrous liners.

F. Protection Course: Fan folded, with a core of extruded-polystyrene board insulation faced on [one side] [or] [both sides] with plastic film, nominal thickness 1/4 inch (6 mm), with a compressive strength of not less than 8 psi (55 kPa) per ASTM D 1621, and maximum water absorption by volume of 0.6 percent per ASTM C 272.

G. Protection Course: Extruded-polystyrene board insulation, unfaced, ASTM C 578, Type X, 1/2 inch (13 mm) thick.

H. Protection Course: Smooth-surfaced roll roofing complying with ASTM D 6380, Class S, Type III.

PART 3 -  EXECUTION

3.1 APPLICATION, GENERAL

A. Comply with manufacturer's written instructions for substrate preparation, dampproofing application, cure time between coats, and drying time before backfilling unless more stringent requirements are indicated.

1. Apply dampproofing to provide continuous plane of protection.

2. Apply additional coats if recommended in writing by manufacturer or to achieve a smooth surface and uninterrupted coverage.

B. Where dampproofing footings and foundation walls, apply from finished-grade line to top of footing; extend over top of footing and down a minimum of 6 inches (150 mm) over outside face of footing.

1. Extend dampproofing 12 inches (300 mm) onto intersecting walls and footings, but do not extend onto surfaces exposed to view when Project is completed.

2. Install flashings and corner protection stripping at internal and external corners, changes in plane, construction joints, cracks, and where shown as "reinforced," by embedding an 8-inch- (200-mm-) wide strip of asphalt-coated glass fabric in a heavy coat of dampproofing. Dampproofing coat for embedding fabric is in addition to other coats required.

C. Where dampproofing exterior face of inner wythe of exterior masonry cavity walls, lap dampproofing at least 1/4 inch (6 mm) onto flashing, masonry reinforcement, veneer ties, and other items that penetrate inner wythe.

1. Extend dampproofing over outer face of structural members and concrete slabs that interrupt inner wythe.

2. Lap dampproofing at least 1/4 inch (6 mm) onto shelf angles supporting veneer.

D. Where dampproofing interior face of above-grade, exterior [concrete] [and] [masonry] [single-wythe masonry] walls, continue dampproofing through intersecting walls by keeping vertical mortar joints at intersection temporarily open or by dampproofing wall before constructing intersecting walls.

3.2 COLD-APPLIED, CUT-BACK-ASPHALT DAMPPROOFING

If retaining this article, coordinate paragraphs below with applications required.

A. Concrete Foundations[ and Parged Masonry Foundation Walls]: Apply two brush or spray coats at not less than 1.25 gal./100 sq. ft. (0.5 L/sq. m) for first coat and 1 gal./100 sq. ft. (0.4 L/sq. m) for second coat or one trowel coat at not less than 4 gal./100 sq. ft. (1.6 L/sq. m).

B. Unparged Masonry Foundation Walls: Apply primer and two brush or spray coats at not less than 1.25 gal./100 sq. ft. (0.5 L/sq. m) for first coat and 1 gal./100 sq. ft. (0.4 L/sq. m) for second coat or primer and one trowel coat at not less than 4 gal./100 sq. ft. (1.6 L/sq. m).

C. Unexposed Face of Concrete Retaining Walls: Apply one brush or spray coat at not less than 1.25 gal./100 sq. ft. (0.5 L/sq. m).

D. Unexposed Face of Masonry Retaining Walls: Apply primer and one brush or spray coat at not less than 1.25 gal./100 sq. ft. (0.5 L/sq. m).

E. Concrete Backup for [Brick Veneer Assemblies] [Stone Veneer Assemblies] [and] [Dimension Stone Cladding]: Apply one brush or spray coat at not less than 1 gal./100 sq. ft. (0.4 L/sq. m).

F. Masonry Backup for [Brick Veneer Assemblies] [Stone Veneer Assemblies] [and] [Dimension Stone Cladding]: Apply primer and one brush or spray coat at not less than 1 gal./100 sq. ft. (0.4 L/sq. m).

G. Exterior Face of Inner Wythe of Cavity Walls: Apply primer and one brush or spray coat at not less than 1 gal./100 sq. ft. (0.4 L/sq. m).

3.3 COLD-APPLIED, EMULSIFIED-ASPHALT DAMPPROOFING

If retaining this article, coordinate paragraphs below with applications required.

A. Concrete Foundations[ and Parged Masonry Foundation Walls]: Apply two brush or spray coats at not less than 1.5 gal./100 sq. ft. (0.6 L/sq. m) for first coat and 1 gal./100 sq. ft. (0.4 L/sq. m) for second coat, one fibered brush or spray coat at not less than 3 gal./100 sq. ft. (1.2 L/sq. m), or one trowel coat at not less than 4 gal./100 sq. ft. (1.6 L/sq. m).

B. Unparged Masonry Foundation Walls: Apply primer and two brush or spray coats at not less than 1.5 gal./100 sq. ft. (0.6 L/sq. m) for first coat and 1 gal./100 sq. ft. (0.4 L/sq. m) for second coat, primer and one fibered brush or spray coat at not less than 3 gal./100 sq. ft. (1.2 L/sq. m,) or primer and one trowel coat at not less than 5 gal./100 sq. ft. (2 L/sq. m).

C. Unexposed Face of Concrete Retaining Walls: Apply one brush or spray coat at not less than 1.25 gal./100 sq. ft. (0.5 L/sq. m).

D. Unexposed Face of Masonry Retaining Walls: Apply primer and one brush or spray coat at not less than 1.25 gal./100 sq. ft. (0.5 L/sq. m).

E. Concrete Backup for [Brick Veneer Assemblies] [Stone Veneer Assemblies] [and] [Dimension Stone Cladding]: Apply one brush or spray coat at not less than 1 gal./100 sq. ft. (0.4 L/sq. m).

F. Masonry Backup for [Brick Veneer Assemblies] [Stone Veneer Assemblies] [and] [Dimension Stone Cladding]: Apply primer and one brush or spray coat at not less than 1 gal./100 sq. ft. (0.4 L/sq. m).

G. Exterior Face of Inner Wythe of Cavity Walls: Apply primer and one brush or spray coat at not less than 1 gal./100 sq. ft. (0.4 L/sq. m).

Retain one of or both "Interior Face of Exterior Concrete Walls" and "Interior Face of (Single-Wythe )Exterior Masonry Walls" paragraphs below to suit Project. Dampproofing the interior face of exterior concrete or masonry walls where the wall is furred and finished can result in moisture being trapped between the dampproofing membrane and wall finish.

H. Interior Face of Exterior Concrete Walls: Where above grade and indicated to be furred and finished, apply one brush or spray coat at not less than 1 gal./100 sq. ft. (0.4 L/sq. m).

I. Interior Face of [Single-Wythe ]Exterior Masonry Walls: Where above grade and indicated to be furred and finished, apply primer and one brush or spray coat at not less than 1 gal./100 sq. ft. (0.4 L/sq. m).

3.4 INSTALLATION OF PROTECTION COURSE

A. Where indicated, install protection course over completed-and-cured dampproofing. Comply with dampproofing-material and protection-course manufacturers' written instructions for attaching protection course.

END OF SECTION 071113

	BITUMINOUS DAMPPROOFING
	071113 - 1



