Copyright 2010 AIA
MasterSpec Professional
02/10

Copyright 2010 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 072729 - AIR-BARRIER COATINGS
TIPS:
To view non-printing Editor's Notes that provide guidance for editing, click on Masterworks/Single‑File Formatting/Toggle/Editor's Notes.
To read detailed research, technical information about products and materials, and coordination checklists, click on Masterworks/Supporting Information.

Revise this Section by deleting and inserting text to meet Project-specific requirements.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 SUMMARY

A. Section includes [vapor-retarding] [and] [vapor-permeable] air-barrier coatings.

1.2 PREINSTALLATION MEETINGS

A. Preinstallation Conference: Conduct conference at [Project site] <Insert location>.

1. Review air-barrier requirements and installation, special details, mockups, air-leakage and bond testing, air-barrier protection, and work scheduling that covers air barriers.

1.3 ACTION SUBMITTALS

A. Product Data: For each type of product.

B. LEED Submittals:

"Product Data for Credit IEQ 4.2" Subparagraph below applies to LEED-NC and LEED-CS.

1. Product Data for Credit IEQ 4.2: For air-barrier products, documentation including printed statement of VOC content.

"Laboratory Test Reports for Credit IEQ 4" Subparagraph below applies to LEED for Schools.

2. Laboratory Test Reports for Credit IEQ 4: For air barriers, documentation indicating that products comply with the testing and product requirements of the California Department of Health Services' "Standard Practice for the Testing of Volatile Organic Emissions from Various Sources Using Small-Scale Environmental Chambers."

C. Shop Drawings: For air-barrier assemblies.

1. Include details for substrate joints and cracks, counterflashing, penetrations, inside and outside corners, terminations, and tie-ins with adjoining construction.

1.4 INFORMATIONAL SUBMITTALS

A. Product certificates.

B. Product test reports.

1.5 QUALITY ASSURANCE

A. Installer Qualifications: An entity that employs installers and supervisors who are trained and approved by manufacturer.

B. Mockups: Build mockups to set quality standards for materials and execution.

1. Build integrated mockups of exterior wall assembly [as shown on Drawings] [, 150 sq. ft. (14 sq. m)] <Insert area or dimensions>, incorporating backup wall construction, external cladding, window, storefront, door frame and sill, insulation, ties and other penetrations, and flashing to demonstrate surface preparation, crack and joint treatment, application of air barriers, and sealing of gaps, terminations, and penetrations of air-barrier assembly.

a. Coordinate construction of mockups to permit inspection by Owner's testing agency of air barrier before external insulation and cladding are installed.

b. Include junction with roofing membrane[, building corner condition,] [and] [foundation wall intersection].

PART 2 -  PRODUCTS

See Editing Instruction No. 1 in the Evaluations in Section 072700 "Air Barriers" for cautions about named manufacturers and products. For an explanation of options and Contractor's product selection procedures, see Section 016000 "Product Requirements."

2.1 MATERIALS, GENERAL

Retain "VOC Content" Paragraph below if required for LEED-NC and LEED-CS Credit IEQ 4.2, which limits VOC content to 250 g/L for materials used inside the weatherproofing system. Retain below also as default requirement of authorities having jurisdiction.

A. VOC Content: [250] <Insert value> g/L or less when calculated according to 40 CFR 59, Subpart D (EPA Method 24) and complying with VOC content limits of authorities having jurisdiction.

Retain "Low-Emitting Materials" Paragraph below for materials used inside the weatherproofing system if required for LEED for Schools Credit IEQ 4.

B. Low-Emitting Materials: Air barriers shall comply with the testing and product requirements of the California Department of Health Services' "Standard Practice for the Testing of Volatile Organic Emissions from Various Sources Using Small-Scale Environmental Chambers."

2.2 PERFORMANCE REQUIREMENTS

Retain one of first two options in "General" Paragraph below depending on whether a vapor-retarding or -permeable air barrier is required. Consider retaining third option if air barrier serves as a primary or secondary drainage plane.

A. General: Air barrier shall be capable of performing as a continuous vapor-[retarding] [permeable] air barrier[ and as a liquid-water drainage plane flashed to discharge to the exterior incidental condensation or water penetration]. Air-barrier assemblies shall be capable of accommodating substrate movement and of sealing substrate expansion and control joints, construction material changes, penetrations, and transitions at perimeter conditions without deterioration and air leakage exceeding specified limits.

2.3 VAPOR-RETARDING, AIR-BARRIER COATING

Generally retain this article for an air-barrier coating located on the warm side of primary wall insulation. Air-barrier coatings have an installed thickness of about 20 mils (0.5 mm) or less. Additional coats can be applied according to some manufacturers to increase the total thickness to as much as 40 mils (1.0 mm).

A. Vapor-Retarding, Air-Barrier Coating: Synthetic polymer membrane.

Retain "Products" Subparagraph and list of manufacturers and products below to require specific products or a comparable product from other manufacturers.

1. Products: Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. Protective Coatings Technology, Inc.; Poly-Wall Airloc Flex.

b. Sto Corp.; VaporSeal in [two-] [three-]component assembly.

c. <Insert manufacturer's name; product name or designation>.

2. Physical and Performance Properties:

Air-permeance value in "Air Permeance" Subparagraph below is based on ABAA and energy-conservation requirements of the Massachusetts State Building Code, 780 CMR, Ch. 13. Revise to suit Project.

a. Air Permeance: Maximum [0.004 cfm/sq. ft. of surface area at 1.57-lbf/sq. ft. (0.02 L/s x sq. m of surface area at 75-Pa)] <Insert value> pressure difference; ASTM E 2178.

Vapor-permeance value in "Vapor Permeance" Subparagraph below is based on a Class II vapor retarder in the International Building Code.

b. Vapor Permeance: Maximum [0.1 perm (5.8 ng/Pa x s x sq. m)] <Insert value>; ASTM E 96/E 96M.

Elongation value in "Ultimate Elongation" Subparagraph below is based on Sto's "VaporSeal"; no elongation value is stated for other listed product.

c. Ultimate Elongation: Minimum [140] <Insert number> percent; ASTM D 412, Die C.

2.4 VAPOR-PERMEABLE, AIR-BARRIER COATING

Generally retain this article for an air-barrier coating located on the cold side of primary wall insulation. A separate vapor retarder may also be required at a different location within the wall. Air-barrier coatings have an installed thickness of about 20 mils (0.5 mm) or less. Additional coats can be applied according to some manufacturers to increase the total thickness to as much as 40 mils (1.0 mm).

A. Vapor-Permeable, Air-Barrier Coating: Synthetic polymer membrane.

Retain "Products" Subparagraph and list of manufacturers and products below to require specific products or a comparable product from other manufacturers.

1. Products: Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. Prosoco, Inc.; [R-Guard Spray Wrap in two-component, System II] [R-Guard Spray Wrap in three-component, System I] [R-Guard MVP in two-component, System II] [R-Guard MVP in three-component, System I] assembly.

b. Protective Coatings Technology, Inc.; Poly-Wall Airloc Flex VP.

c. Sto Corp.; [Emerald Coat] [or] [Gold Coat] in [two-] [three-]component assembly.

d. <Insert manufacturer's name; product name or designation>.

2. Physical and Performance Properties:

Air-permeance value in "Air Permeance" Subparagraph below is based on ABAA and energy-conservation requirements of the Massachusetts State Building Code, 780 CMR, Ch. 13. Revise to suit Project.

a. Air Permeance: Maximum [0.004 cfm/sq. ft. of surface area at 1.57-lbf/sq. ft. (0.02 L/s x sq. m of surface area at 75-Pa)] <Insert value> pressure difference; ASTM E 2178.

Vapor-permeance value in "Vapor Permeance" Subparagraph below is based on lowest stated value of listed products.

b. Vapor Permeance: Minimum [5.7 perms (327 ng/Pa x s x sq. m)] <Insert value>; ASTM E 96/E 96M.

Elongation value in "Ultimate Elongation" Subparagraph below is based on Protective Coatings Technology's "Poly-Wall Airloc Flex VP"; no elongation value is stated for other listed products.

c. Ultimate Elongation: Minimum [500] <Insert number> percent; ASTM D 412, Die C.

2.5 ACCESSORY MATERIALS

A. General: Accessory materials recommended by air-barrier manufacturer to produce a complete air-barrier assembly and compatible with primary air-barrier material.

Foam sealant in "Sprayed Polyurethane Foam Sealant" Paragraph below is used to fill gaps at penetrations and openings.

B. Sprayed Polyurethane Foam Sealant: One- or two-component, foamed-in-place, polyurethane foam sealant, 1.5- to 2.0-lb/cu. ft (24- to 32-kg/cu. m) density; flame-spread index of 25 or less according to ASTM E 162; with primer and noncorrosive substrate cleaner recommended by foam sealant manufacturer.

C. Termination Mastic: Air-barrier manufacturer's standard cold fluid-applied elastomeric liquid; trowel grade.

PART 3 -  EXECUTION

3.1 SURFACE PREPARATION

A. Mask off adjoining surfaces not covered by air barrier to prevent spillage and overspray affecting other construction.

B. Remove fins, ridges, mortar, and other projections and fill honeycomb, aggregate pockets, holes, and other voids in concrete with substrate-patching membrane.

C. Remove excess mortar from masonry ties, shelf angles, and other obstructions.

D. At changes in substrate plane, apply sealant or termination mastic beads at sharp corners and edges to form a smooth transition from one plane to another.

3.2 INSTALLATION

Revise this article to coordinate with drawing details. Place sheet or liquid-seal materials over a firm backing to provide structural support for achieving an effective and permanent air barrier.

A. General: Install air-barrier coating and accessory materials according to air-barrier manufacturer's written instructions to form a seal with adjacent construction and maintain a continuous air barrier.

1. Coordinate the installation of air barrier with installation of roofing membrane and base flashing to ensure continuity of air barrier with roofing membrane.

2. Install air-barrier assembly on roofing membrane or base flashing so that a minimum of 3 inches (75 mm) of coverage is achieved over each substrate.

B. Apply primer to substrates at required rate and allow it to dry. Limit priming to areas that will be covered by air-barrier coating material on same day. Reprime areas exposed for more than 24 hours.

Retain subparagraph below if using glass-fiber-surfaced gypsum sheathing.

1. Prime glass-fiber-surfaced gypsum sheathing with number of prime coats needed to achieve required bond, with adequate drying time between coats.

C. Connect and seal exterior wall air-barrier material continuously to roofing-membrane air barrier, concrete below-grade structures, floor-to-floor construction, exterior glazing and window systems, glazed curtain-wall systems, storefront systems, exterior louvers, exterior door framing, and other construction used in exterior wall openings, using accessory materials.

D. At end of each working day, seal top edge of air barrier to substrate with termination mastic.

E. Wall Openings: Prime concealed, perimeter frame surfaces of windows, curtain walls, storefronts, and doors. Apply transitions and flashing so that a minimum of 3 inches (75 mm) of coverage is achieved over each substrate. Maintain 3 inches (75 mm) of full contact over firm bearing to perimeter frames with not less than 1 inch (25 mm) of full contact.

F. Fill gaps in perimeter frame surfaces of windows, curtain walls, storefronts, and doors, and miscellaneous penetrations of air-barrier material with foam sealant.

G. Seal air-barrier assembly around masonry reinforcing or ties and penetrations with termination mastic.

H. Seal exposed edges of strips at seams, cuts, penetrations, and terminations not concealed by metal counterflashings or ending in reglets with termination mastic.

I. Repair punctures, voids, and deficient lapped seams in strips and transition strips. Slit and flatten fishmouths and blisters. Extend patches 6 inches (150 mm) beyond repaired areas in strip direction.

J. Air-Barrier Coating Material: Apply continuous unbroken air-barrier coating to substrates according to the following thickness. Apply an increased thickness of air-barrier coating in full contact around protrusions such as masonry ties.

Retain "Vapor-Retarding, Air-Barrier Coating" or "Vapor-Permeable, Air-Barrier Coating" Subparagraph below. If specifying a thickness dimension, verify thickness or thickness range recommended by manufacturers; recommended thickness varies with product and substrate.

1. Vapor-Retarding, Air-Barrier Coating: Total [dry film thickness as recommended in writing by manufacturer to meet performance requirements] [17-mil (0.4-mm) dry film thickness] [20-mil (0.5-mm) dry film thickness] <Insert dimension>, applied in [one coat] [two equal coats] [one or more equal coats].

2. Vapor-Permeable, Air-Barrier Coating: Total [dry film thickness as recommended in writing by manufacturer to meet performance requirements] [14-mil (0.4-mm) dry film thickness] <Insert dimension>, applied in [one coat] [two equal coats] [one or more equal coats].

3. Apply additional coats as needed to achieve void- and pinhole-free surface.

K. Do not cover air barrier until it has been tested and inspected by Owner's testing agency.

L. Correct deficiencies in or remove air barrier that does not comply with requirements; repair substrates and reapply air-barrier components.

3.3 FIELD QUALITY CONTROL

Coordinate test and inspection requirements in this article with Owner's testing agency.

A. Testing Agency: Owner will engage a qualified testing agency to perform tests and inspections.

B. Tests: As determined by Owner's testing agency from among the following tests:

Retain "Qualitative Air-Leakage Testing" Subparagraph below if testing to locate air-leakage sites is required and if quantitative air-leakage testing is required.

1. Qualitative Air-Leakage Testing: Air-barrier assemblies will be tested for evidence of air leakage according to [ASTM E 1186, smoke pencil with pressurization or depressurization] [ASTM E 1186, chamber pressurization or depressurization with smoke tracers] [ASTM E 1186, chamber depressurization using detection liquids].

Retain "Quantitative Air-Leakage Testing" Subparagraph below if testing to quantify air-leakage rate is required.

2. Quantitative Air-Leakage Testing: Air-barrier assemblies will be tested for air leakage according to [ASTM E 783] <Insert test>.

3. Adhesion Testing: Air-barrier assemblies will be tested for minimum air-barrier adhesion of [30 lbf/sq. in. (207 kPa)] <Insert value> according to ASTM D 4541 for each [600 sq. ft. (56 sq. m)] <Insert value> of installed air barrier or part thereof.

C. Air barriers will be considered defective if they do not pass tests and inspections.

1. Apply additional air-barrier material, according to manufacturer's written instructions, where inspection results indicate insufficient thickness.

2. Remove and replace deficient air-barrier components for retesting as specified above.

D. Repair damage to air barriers caused by testing; follow manufacturer's written instructions.

E. Protect air-barrier system from damage during application and remainder of construction period, according to manufacturer's written instructions.

1. Protect air barrier from exposure to UV light and harmful weather exposure as required by manufacturer. If exposed to these conditions for more than [30] [60] <Insert number> days, remove and replace air barrier or install additional, full-thickness, air-barrier application after repairing and preparing the overexposed membrane according to air-barrier manufacturer's written instructions.

2. Protect air barrier from contact with incompatible materials and sealants not approved by air-barrier manufacturer.

F. Remove masking materials after installation.

END OF SECTION 072729

	AIR-BARRIER COATINGS
	072729 - 1



