Copyright 2012 AIA
MasterSpec Professional
05/12

Copyright 2012 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 074646 - FIBER-CEMENT SIDING
TIPS:
To view non-printing Editor's Notes that provide guidance for editing, click on Masterworks/Single‑File Formatting/Toggle/Editor's Notes.
To read detailed research, technical information about products and materials, and coordination checklists, click on Masterworks/Supporting Information.

Revise this Section by inserting or deleting text to meet Project-specific requirements.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 SUMMARY

A. Section includes fiber-cement [siding] [and] [soffit].

1.2 ACTION SUBMITTALS

A. Product Data: For each type of product.

B. Samples: For fiber-cement [siding] [and] [soffit] including related accessories.

1.3 INFORMATIONAL SUBMITTALS

A. Product certificates.

B. Product test reports.

C. Research/evaluation reports.

D. Sample warranty.

1.4 CLOSEOUT SUBMITTALS

A. Maintenance data.

1.5 QUALITY ASSURANCE

A. Mockups: Build mockups to verify selections made under Sample submittals and to demonstrate aesthetic effects and to set quality standards for fabrication and installation.

Indicate portion of wall represented by mockup on Drawings or draw mockup as separate element.

1. Build mockup of typical wall area as shown on Drawings.

Retain subparagraph below if the intention is to make an exception to the default requirement in Section 014000 "Quality Requirements" for demolishing and removing mockups.

2. Subject to compliance with requirements, approved mockups may become part of the completed Work if undisturbed at time of Substantial Completion.

1.6 WARRANTY

When warranties are required, verify with Owner's counsel that warranties stated in this article are not less than remedies available to Owner under prevailing local laws.

A. Special Warranty: Manufacturer agrees to repair or replace products that fail in materials or workmanship within specified warranty period.

Verify available warranties and warranty periods for fiber-cement siding and soffit.

1. Warranty Period: [10] [25] [50] <Insert number> years from date of Substantial Completion.

PART 2 -  PRODUCTS

See Editing Instruction No. 1 in the Evaluations for cautions about named manufacturers and products. For an explanation of options and Contractor's product selection procedures, see Section 016000 "Product Requirements."

2.1 FIBER-CEMENT SIDING

A. General: ASTM C 1186, Type A, Grade II, fiber-cement board, noncombustible when tested according to ASTM E 136; with a flame-spread index of 25 or less when tested according to ASTM E 84.

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, [provide products by the following] [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to identify a specific product or a comparable product from manufacturers listed. Retain option and delete insert note if manufacturer's name and model number are indicated on Drawings.

2. Basis-of-Design Product: Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. CertainTeed Corporation.

Manufacturer in first subparagraph below makes only shingle-style siding.

b. GAF Materials Corporation.

c. James Hardie Building Products, Inc.

d. James Hardie Siding Products.

e. MaxiTile, Inc.

f. Nichiha Fiber Cement.

g. Norandex; Building Materials Distribution, Inc.

h. <Insert manufacturer's name>.

The International Building Code requires fiber-cement siding to be third-party tested and labeled according to ASTM C 1186.

B. Labeling: Provide fiber-cement siding that is tested and labeled according to ASTM C 1186 by a qualified testing agency acceptable to authorities having jurisdiction.

C. Nominal Thickness: Not less than 5/16 inch (8 mm).

Retain one or more of first four paragraphs below or revise to suit Project. "Horizontal Pattern" Paragraph includes some sizes advertised by manufacturers listed; verify availability before retaining. Widths are board sizes; exposure is 1-1/4 to 1-1/2 inches (32 to 38 mm) less.

D. Horizontal Pattern: Boards [5-1/4 inches (133 mm)] [6-1/4 to 6-1/2 inches (159 to 165 mm)] [7-1/4 to 7-1/2 inches (184 to 190 mm)] [8-1/4 to 8-1/2 inches (210 to 216 mm)] [9-1/4 to 9-1/2 inches (235 to 241 mm)] <Insert dimensions> wide in [plain] [beaded-edge] <Insert requirement> style.

1. Texture: [Smooth] [Rough sawn] [Wood grain] <Insert requirement>.

E. Vertical Pattern: 48-inch- (1200-mm-) wide sheets with wood-grain texture and grooves [8 inches (203 mm)] [12 inches (300 mm)] <Insert dimension> o.c.

F. Shingle Pattern: 48-inch- (1200-mm-) wide, [straight-edge notched] [staggered-edge notched] <Insert requirement> sheets with wood-grain texture.

G. Panel Texture: 48-inch- (1200-mm-) wide sheets with [smooth] [stucco] [wood-grain] <Insert requirement> texture.

Factory priming is generally offered as an optional feature by manufacturers listed.

H. Factory Priming: Manufacturer's standard acrylic primer.

2.2 FIBER-CEMENT SOFFIT

A. General: ASTM C 1186, Type A, Grade II, fiber-cement board, noncombustible when tested according to ASTM E 136; with a flame-spread index of 25 or less when tested according to ASTM E 84.

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, [provide products by the following] [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to identify a specific product or a comparable product from manufacturers listed. Retain option and delete insert note if manufacturer's name and model number are indicated on Drawings.

2. Basis-of-Design Product: Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. CertainTeed Corporation.

b. James Hardie Building Products, Inc.

c. James Hardie Siding Products.

d. MaxiTile, Inc.

e. Nichiha Fiber Cement.

f. Norandex; Building Materials Distribution, Inc.

g. <Insert manufacturer's name>.

B. Nominal Thickness: Not less than 5/16 inch (8 mm).

C. Pattern: [12-inch- (300-mm-)] [16-inch- (400-mm-)] [24-inch- (600-mm-)] <Insert dimension> wide sheets with [smooth] [wood-grain] <Insert requirement> texture.

Factory priming is generally offered as an optional feature by manufacturers listed.

D. Factory Priming: Manufacturer's standard acrylic primer.

2.3 ACCESSORIES

Retain "Siding Accessories, General" Paragraph below if using aluminum or vinyl siding.

A. Siding Accessories, General: Provide starter strips, edge trim, outside and inside corner caps, and other items as recommended by siding manufacturer for building configuration.

B. Flashing: Provide [aluminum] [stainless-steel] <Insert metal> flashing complying with Section 076200 "Sheet Metal Flashing and Trim" at window and door heads and where indicated.

1. Finish for Aluminum Flashing: [Siliconized polyester coating] [High-performance organic finish] [Factory-prime coating] <Insert finish>.

C. Fasteners:

1. For fastening to wood, use [siding nails] [ribbed bugle-head screws] of sufficient length to penetrate a minimum of 1 inch (25 mm) into substrate.

2. For fastening to metal, use ribbed bugle-head screws of sufficient length to penetrate a minimum of 1/4 inch (6 mm), or three screw-threads, into substrate.

3. For fastening fiber cement, use [hot-dip galvanized] [stainless-steel] fasteners.

D. Insect Screening for Soffit Vents: [Aluminum, 18-by-16 (1.4-by-1.6-mm) mesh] [PVC-coated, glass-fiber fabric, 18-by-14 or 18-by-16 (1.4-by-1.8- or 1.4-by-1.6-mm) mesh] <Insert requirement>.

E. Continuous Soffit Vents: Aluminum, hat-channel shape.

1. Net-Free Area: [4 sq. in./linear ft. (280 sq. cm/m)] [6 sq. in./linear ft. (420 sq. cm/m)] [8 sq. in./linear ft. (560 sq. cm/m)] <Insert dimension>.

2. Finish: [Mill finish] [White paint] [Brown paint] <Insert requirement>.

F. Round Soffit Vents: Stamped aluminum louvered vents, [2 inches (51 mm)] [2-1/2 inches (64 mm)] [3 inches (76 mm)] [4 inches (102 mm)] <Insert dimension> in diameter.

1. Finish: [Mill finish] [White paint] [Brown paint] <Insert requirement>.

PART 3 -  EXECUTION

3.1 INSTALLATION

A. General: Comply with manufacturer's written installation instructions applicable to products and applications indicated unless more stringent requirements apply.

1. Install fasteners no more than [24 inches (600 mm)] <Insert dimension> o.c.

B. Install joint sealants as specified in Section 079200 "Joint Sealants" and to produce a weathertight installation.

3.2 ADJUSTING AND CLEANING

A. Remove damaged, improperly installed, or otherwise defective materials and replace with new materials complying with specified requirements.

B. Clean finished surfaces according to manufacturer's written instructions and maintain in a clean condition during construction.

END OF SECTION 074646

	FIBER-CEMENT SIDING
	074646 - 1



