Copyright 2012 AIA
MasterSpec Professional
05/12

Copyright 2012 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 075113 - BUILT-UP ASPHALT ROOFING
TIPS:
To view non-printing Editor's Notes that provide guidance for editing, click on Masterworks/Single‑File Formatting/Toggle/Editor's Notes.
To read detailed research, technical information about products and materials, and coordination checklists, click on Masterworks/Supporting Information.

Revise this Section by deleting and inserting text to meet Project-specific requirements.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 SUMMARY

A. Section Includes:

1. Built-up asphalt roofing.

2. Roof insulation.

1.2 DEFINITIONS

A. Roofing Terminology: Definitions in ASTM D 1079 and glossary of NRCA's "The NRCA Roofing and Waterproofing Manual" apply to Work of this Section.

1.3 PREINSTALLATION MEETINGS

Retain "Preinstallation Roofing Conference" Paragraph below if Work of this Section is extensive or complex enough to justify a preinstallation conference.

A. Preinstallation Roofing Conference: Conduct conference at [Project site] <Insert location>.

1.4 ACTION SUBMITTALS

A. Product Data: For each type of product.

B. LEED Submittals:

"Product Test Reports for Credit SS 7.2" Subparagraph below applies to LEED-NC, LEED-CS, and LEED for Schools; coordinate with requirements for roof materials.

1. Product Test Reports for Credit SS 7.2: For roof materials, documentation indicating that roof materials comply with Solar Reflectance Index requirement.

"Product Data for Credit IEQ 4.1" Subparagraph applies to LEED-NC and LEED-CS; coordinate with requirements for adhesives and sealants.

2. Product Data for Credit IEQ 4.1: For adhesives and sealants used inside the weatherproofing system, documentation including printed statement of VOC content.

"Laboratory Test Reports for Credit IEQ 4.1" Subparagraph below applies to LEED for Schools.

3. Laboratory Test Reports for Credit IEQ 4.1: For adhesives and sealants used inside the weatherproofing system, documentation indicating that products comply with the testing and product requirements of the California Department of Public Health's (formerly, the California Department of Health Services') "Standard Method for the Testing and Evaluation of Volatile Organic Chemical Emissions from Indoor Sources Using Environmental Chambers."

C. Shop Drawings: For built-up roofing. Include plans, elevations, sections, details, and attachments to other work.

D. Samples for Verification: For [cap sheet] [and] [flashing sheet], of color required.

1.5 INFORMATIONAL SUBMITTALS

A. Research/Evaluation Reports: For components of built-up roofing, from ICC-ES.

B. Sample Warranties: For manufacturer's special warranties.

1.6 CLOSEOUT SUBMITTALS

A. Maintenance Data: For built-up roofing to include in maintenance manuals.

1.7 QUALITY ASSURANCE

A. Installer Qualifications: A qualified firm that is approved, authorized, or licensed by built-up roofing manufacturer to install manufacturer's product and that is eligible to receive manufacturer's special warranty.

1.8 WARRANTY

When warranties are required, verify with Owner's counsel that warranties stated in this article are not less than remedies available to Owner under prevailing local laws.

Retain "Special Warranty" Paragraph below if manufacturer's labor-and-materials warranty, covering roofing system, is required. Verify extent of coverage offered by manufacturers, because roof insulation, fasteners, and other roofing components may be excluded unless part of a built-up roofing manufacturer's roofing warranty. If inserting special provisions, retitle paragraph "Special Roofing Manufacturer's Warranty." Verify warranty availability, and coordinate selection of manufacturers accordingly.

A. Special Warranty: Manufacturer agrees to repair or replace components of built-up roofing that fail in materials or workmanship within specified warranty period.

Verify available roofing warranties and warranty periods with manufacturers.

1. Warranty Period: [10] [15] <Insert number> years from date of Substantial Completion.

PART 2 -  PRODUCTS

See Editing Instruction No. 1 in the Evaluations for cautions about named manufacturers and products. For an explanation of options and Contractor's product selection procedures, see Section 016000 "Product Requirements."

2.1 MANUFACTURERS

Retain "Manufacturers" Paragraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

A. Manufacturers: Subject to compliance with requirements, [provide products by the following] [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

1. Barrett Company.

2. Building Products of Canada Corp.

3. CertainTeed Corporation.

4. Ecology Commercial and Industrial Roofing Systems.

5. Fields Company, LLC.

6. Firestone Building Products.

7. GAF Materials Corporation.

8. IKO.

9. Johns Manville.

10. Malarkey Roofing Company.

11. Tamko Building Products, Inc.

12. Tremco Incorporated.

13. <Insert manufacturer's name>.

Retain "Source Limitations" Paragraph below if required to comply with FM Global, UL, or another building code, or to comply with provisions of manufacturer's special warranty. Consult manufacturer's literature because requirements vary.

B. Source Limitations: Obtain components including [roof insulation] [fasteners] <Insert products> for built-up roofing from [same manufacturer as built-up roofing] [or] [manufacturer approved by built-up roofing manufacturer].

2.2 PERFORMANCE REQUIREMENTS

A. Accelerated Weathering: Roofing system shall withstand 2000 hours of exposure when tested according to ASTM G 152, ASTM G 154, or ASTM G 155.

B. Impact Resistance: Roofing system shall resist impact damage when tested according to ASTM D 3746 or ASTM D4272.

Retain "Roofing System Design" Paragraph below if built-up roofing system is to be designed to withstand uplift pressure established by ASCE/SEI 7. Indicate dimensions of corners, perimeter, and field of roof on Drawings.

C. Roofing System Design: Tested by a qualified testing agency to resist the following uplift pressures:

1. Corner Uplift Pressure: <Insert lbf/sq. ft. (kPa/sq. m)>.

2. Perimeter Uplift Pressure: <Insert lbf/sq. ft. (kPa/sq. m)>.

3. Field-of-Roof Uplift Pressure: <Insert lbf/sq. ft. (kPa/sq. m)>.

Retain "Solar Reflectance Index," "Energy Star Listing," or "Energy Performance" Paragraph below if "cool-roof" performance is required. Verify availability of built-up roofing that complies before retaining.

Retain "Solar Reflectance Index" Paragraph below if required for LEED-NC, LEED-CS, or LEED for Schools Credit SS 7.2. Requirement is minimum for roofs with slopes of 2:12 or less; revise if using roofs with slopes steeper than 2:12.

D. Solar Reflectance Index: Not less than 78 when calculated according to ASTM E 1980, based on testing identical products by a qualified testing agency.

Retain "Energy Star Listing" Paragraph below for roofs that must comply with the DOE's ENERGY STAR requirements. The DOE's ENERGY STAR "Roof Products Qualified Product List" is available in PDF at www.energystar.gov.

E. Energy Star Listing: Roofing system shall be listed on the DOE's ENERGY STAR "Roof Products Qualified Product List" for low-slope roof products.

Usually retain "Energy Performance" Paragraph below for roofs that must comply with California Energy Commission's CEC-Title 24. Options are values required for low-slope roofs by prescriptive approach; revise if other values are required for building-envelope trade-off approach or whole-building performance approach. A list of products tested according to CRRC-1 with their test values is available in PDF at www.coolroofs.org.

F. Energy Performance: Roofing system shall have an initial solar reflectance of not less than [0.70] <Insert value> and an emissivity of not less than [0.75] <Insert value> when tested according to CRRC-1.

Retain one of three options in "Exterior Fire-Test Exposure" Paragraph below based on fire classification of roof assembly and roof covering. Delete paragraph if including exterior fire-test exposure in FM Global class designation.

G. Exterior Fire-Test Exposure: ASTM E 108 or UL 790, [Class A] [Class B] [Class C]; for application and roof slopes indicated; testing by a qualified testing agency. Identify products with appropriate markings of applicable testing agency.

Retain "Fire-Resistance Ratings" Paragraph below only if products specified are part of a fire-resistance-rated assembly. Indicate rating, testing agency, and testing agency's design designation on Drawings.

H. Fire-Resistance Ratings: Comply with fire-resistance-rated assembly designs indicated. Identify products with appropriate markings of applicable testing agency.

2.3 ROOFING MEMBRANE SHEET MATERIALS

Sheathing paper may be required as a slip sheet over wood-plank roof decks, usually under the base sheet. Delete "Sheathing Paper" Paragraph below if no wood-plank roof decks or if not required by manufacturer's specifications.

A. Sheathing Paper: Red-rosin type, minimum 3 lb/100 sq. ft. (0.16 kg/sq. m).

Retain one of four "Base Sheet" paragraphs below if required by manufacturer's specifications. Roof assembly identification matrices and roof assembly layout illustrations in NRCA's "The NRCA Roofing and Waterproofing Manual" require a base sheet. Coated base sheets separate built-up roofing from deck and support and cushion built-up roofing from rough or irregular deck, and they provide a strong first layer to the built-up roofing. On nailable roof decks, base sheets may also provide a base layer to adhere rigid insulation.

Retain first "Base Sheet" Paragraph below for SBS-modified asphalt-coated, glass-fiber base sheet. Retain ASTM D 4601, Type II option if required.

B. Base Sheet: [ASTM D 4601, Type II, ]SBS-modified asphalt-impregnated and -coated sheet, with glass-fiber-reinforcing mat, dusted with fine mineral surfacing on both sides.

SBS-modified bituminous base sheets are available in different weights from different manufacturers. Many products comfortably exceed minimum weight set by ASTM D 4601, Type II, which is 15.5 lb/100 sq. ft. (0.75 kg/sq. m). Verify functional requirements with roofing manufacturers because there are no other product standards.

1. Weight: [25 lb/100 sq. ft. (1.2 kg/sq. m)] [40 lb/100 sq. ft. (1.95 kg/sq. m)] [50 lb/100 sq. ft. (2.4 kg/sq. m)] [60 lb/100 sq. ft. (3.0 kg/sq. m)] [75 lb/100 sq. ft. (3.7 kg/sq. m)], minimum.

Retain first "Base Sheet" Paragraph below for coated glass-fiber base sheet, and retain one of two options. Type II is stronger and heavier than Type I. Both may be classified by UL as "Class G-2" coated base sheets.

C. Base Sheet: ASTM D 4601, [Type I] [Type II], nonperforated, asphalt-impregnated and -coated, glass-fiber sheet, dusted with fine mineral surfacing on both sides.

Retain first "Base Sheet" Paragraph below for coated, glass-fiber venting base sheet. Venting base sheets may be used over insulating concrete decks or over existing roofing before reroofing. Revise description if a proprietary, SBS-modified, asphalt-coated vented base sheet is required. Review other options with roofing manufacturer, and revise description to suit Project.

D. Base Sheet: ASTM D 4897/D 4897M, Type II, venting, nonperforated, heavyweight, asphalt-impregnated and -coated, glass-fiber base sheet with coarse granule surfacing or embossed venting channels on bottom surface.

E. Base Sheet: ASTM D 2626, asphalt-saturated and -coated organic felt, dusted with fine mineral surfacing on both sides.

Type VI ply sheet is stronger and a little heavier than Type IV and may be required to obtain long-term warranties. Type IV ply sheet is usually considered easier to install.

F. Ply Sheet: ASTM D 2178, [Type IV] [Type VI], asphalt-impregnated, glass-fiber felt.

Retain "Cap Sheet" Paragraph below if using traditional granule-surfaced asphaltic cap sheet. Manufacturers limit cap sheets to some western and southern regions of the U.S. Cap sheets add another ply to roofing membrane ply count and are used in place of roof coatings or flood coating and aggregate surfacing.

G. Cap Sheet: ASTM D 3909, asphalt-impregnated and -coated, glass-fiber cap sheet, with white coarse mineral-granule top surfacing and fine mineral surfacing on bottom surface.

2.4 BASE FLASHING SHEET MATERIALS

Retain one of three "Backer Sheet" paragraphs below if backer sheet is required behind exposed flashing sheet. Coordinate selection with warranty duration. Retain second or third paragraph if coated backer sheet is mechanically fastened over wood-sheathed parapet; although coated glass-fiber backer sheet is typical, coated organic backer sheet in third paragraph is also offered by some manufacturers.

A. Backer Sheet: ASTM D 2178, [Type IV] [Type VI], asphalt-impregnated, glass-fiber felt.

B. Backer Sheet: ASTM D 4601, [Type I] [Type II], asphalt-impregnated and -coated, glass-fiber sheet, dusted with fine mineral surfacing on both sides.

C. Backer Sheet: ASTM D 2626, asphalt-saturated and -coated organic felt, dusted with fine mineral surfacing on both sides.

Retain first "Granule-Surfaced Flashing Sheet" Paragraph below for SBS-modified asphalt flashing sheet.

D. Granule-Surfaced Flashing Sheet: [ASTM D 6164/D 6164, Grade G, Type I or II, polyester-reinforced] [ASTM D 6163, Grade G, Type I or II, glass-fiber-reinforced] [ASTM D 6162, Grade G, Type I or II, composite polyester-reinforced and glass-fiber-reinforced], SBS-modified asphalt sheet; granule-surfaced base flashing; suitable for application method specified, and as follows:

1. Granule Color: [White] [Gray] [Tan] <Insert color>.

Retain "Granule-Surfaced Flashing Sheet" Paragraph below for APP-modified asphalt flashing sheet.

E. Granule-Surfaced Flashing Sheet: [ASTM D 6222/D 6222M, Grade G, Type I or II, polyester-reinforced] [ASTM D 6223/D 6223M, Grade G, Type I or II, composite polyester-reinforced and glass-fiber-reinforced], APP-modified asphalt sheet; granule surfaced; suitable for application method specified, and as follows:

1. Granule Color: [White] [Gray] [Tan] <Insert color>.

2.5 ASPHALT MATERIALS

Retain "Asphalt Primer" Paragraph below if priming concrete roof deck.

A. Asphalt Primer: ASTM D 41/D 41M.

Retain one of three options in first "Roofing Asphalt" Paragraph below for traditional roofing asphalt. See roofing manufacturer's written instructions for requirements. "Steep" asphalt (Type III) and "extra steep" asphalt (Type IV) predominate.

B. Roofing Asphalt: ASTM D 312, [Type III] [Type IV] [Type III or IV as recommended by built-up roofing manufacturer for application] <Insert type>.

2.6 AUXILIARY BUILT-UP ROOFING MATERIALS

A. General: Auxiliary materials recommended by roofing manufacturer for intended use and compatible with built-up roofing.

1. Liquid-type auxiliary materials shall comply with VOC limits of authorities having jurisdiction.

Retain first subparagraph below if required for LEED-NC or LEED-CS Credit IEQ 4.1.

2. Adhesives and sealants that are not on the exterior side of weather barrier shall comply with the following limits for VOC content:

a. Plastic Foam Adhesives: 50 g/L.

b. Gypsum Board and Panel Adhesives: 50 g/L.

c. Multipurpose Construction Adhesives: 70 g/L.

d. Fiberglass Adhesives: 80 g/L.

e. Contact Adhesives: 80 g/L.

f. Other Adhesives: 250 g/L.

g. Nonmembrane Roof Sealants: 300 g/L.

h. Sealant Primers for Nonporous Substrates: 250 g/L.

i. Sealant Primers for Porous Substrates: 775 g/L.

Retain subparagraph below if required for LEED for Schools.

3. Adhesives and sealants that are not on the exterior side of weather barrier shall comply with the testing and product requirements of the California Department of Public Health's (formerly, the California Department of Health Services') "Standard Method for the Testing and Evaluation of Volatile Organic Chemical Emissions from Indoor Sources Using Environmental Chambers."

Retain "Cold-Applied Adhesive" Paragraph below if adhering base flashing in cold-applied adhesives.

B. Cold-Applied Adhesive: Roofing manufacturer's standard asphalt-based, one- or two-part, asbestos-free, cold-applied adhesive specially formulated for compatibility and use with built-up base flashings.

Retain "Asphalt Roofing Cement" Paragraph below if asphalt roofing cement is used to adhere flashings or integral metal sheet flashings and is acceptable to roofing manufacturer.

C. Asphalt Roofing Cement: ASTM D 4586, asbestos free, of consistency required by roofing manufacturer for application.

D. Fasteners: Factory-coated steel fasteners and metal or plastic plates complying with corrosion-resistance provisions in FM Global 4470, designed for fastening built-up roofing components to substrate; tested by manufacturer for required pullout strength, and acceptable to roofing manufacturer.

Retain "Aggregate Surfacing" Paragraph below if required. Retain one of two options for aggregate type.

E. Aggregate Surfacing: ASTM D 1863, No. 6 or No. 67, clean, dry, opaque, [water-worn gravel or crushed stone, free of sharp edges] [crushed slag, free of sharp edges].

2.7 SUBSTRATE BOARDS

Retain one or more of four "Substrate Board" paragraphs below if required, or delete this article. Substrate boards may serve as building-code-required thermal barriers, separating foam insulation from steel or wood deck. They may also be used over steel deck as part of fire-resistance-rated roofing or to provide a smooth substrate for a vapor retarder. Verify suitability for application. Roofing manufacturers do not recognize substrate boards to be part of roofing.

A. Substrate Board: ASTM C 1396/C 1396M, Type X gypsum board, 5/8 inch (16 mm) thick.

B. Substrate Board: ASTM C 1177/C 1177M, glass-mat, water-resistant gypsum substrate, [1/4 inch (6 mm)] [1/2 inch (13 mm)] [Type X, 5/8 inch (16 mm)] thick[, factory primed].

Retain "Products" Subparagraph and list of manufacturers and products below to require specific products or a comparable product from other manufacturers.

1. Products: Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. CertainTeed Corporation; [GlasRoc Sheathing] [GlasRoc Sheathing Type X].

b. Georgia-Pacific Corporation; [Dens Deck] [Dens Deck DuraGuard] [Dens Deck Prime].

c. National Gypsum Company; Gold Bond eXP Extended Exposure Sheathing.

d. Temple-Inland, Inc; GreenGlass Exterior Sheathing.

e. USG Corporation; Securock Glass Mat Roof Board.

f. <Insert manufacturer's name; product name or designation>.

C. Substrate Board: ASTM C 1278/C 1278M, cellulosic-fiber-reinforced, water-resistant gypsum substrate, [1/4 inch (6 mm)] [3/8 inch (10 mm)] [1/2 inch (13 mm)] [5/8 inch (16 mm)] thick.

Retain "Products" Subparagraph and list of manufacturers and products below to require specific products or a comparable product from other manufacturers.

1. Products: Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. USG Corporation; Securock Gypsum-Fiber Roof Board.

b. <Insert manufacturer's name; product name or designation>.

D. Substrate Board: ASTM C 728, perlite board, [3/4 inch (19 mm)] [1 inch (25 mm)] thick, seal coated.

E. Fasteners: Factory-coated steel fasteners and metal or plastic plates complying with corrosion-resistance provisions in FM Global 4470, designed for fastening substrate board to roof deck.

2.8 ROOF INSULATION

If retaining more than one insulation material in this article, indicate location of each on Drawings, or indicate where each layer is used in roofing. If allowing Contractor to select more than one insulation material, limit options to insulations that comply with Project requirements and limitations. Coordinate insulation selection and thicknesses indicated on Drawings with adjoining construction as well as HVAC design and energy program.

A. Extruded-Polystyrene Board Insulation: ASTM C 578, [Type IV, 1.6-lb/cu. ft. (26-kg/cu. m)] [Type X, 1.3-lb/cu. ft. (21-kg/cu. m)] minimum density, square edged.

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to identify a specific product or a comparable product from manufacturers listed. Retain option and delete insert note if manufacturer's name and model number are indicated on Drawings.

2. Basis-of-Design Product: Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. DiversiFoam Products.

b. Dow Chemical Company (The).

c. Owens Corning.

d. Pactiv Corporation.

e. <Insert manufacturer's name>.

Retain "Molded-Polystyrene Board Insulation" Paragraph below for noncomposite, unfaced, molded-polystyrene board insulation. Retain one of three options for density of insulation. Higher-density insulation offers improved compressive resistance, greater resistance to crushing under construction loads, better ability to span steel deck flutes, and more rigid substrate. However, costs increase as density increases.

B. Molded-Polystyrene Board Insulation: ASTM C 578 [Type II, 1.35-lb/cu. ft. (22-kg/cu. m)] [Type VIII, 1.15-lb/cu. ft. (18-kg/cu. m)] [Type IX, 1.8-lb/cu. ft. (29-kg/cu. m)] minimum density.

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to identify a specific product or a comparable product from manufacturers listed. Retain option and delete insert note if manufacturer's name and model number are indicated on Drawings.

2. Basis-of-Design Product: Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. Carlisle SynTec Incorporated.

b. DiversiFoam Products.

c. Dyplast Products.

d. <Insert manufacturer's name>.

Retain "Composite Molded-Polystyrene Board Insulation" Paragraph below for composite molded-polystyrene board insulation.

C. Composite Molded-Polystyrene Board Insulation: ASTM C 578, [Type II, 1.35-lb/cu. ft. (22-kg/cu. m)] [Type VIII, 1.15-lb/cu. ft. (18-kg/cu. m)] [Type IX, 1.8-lb/cu. ft. (29-kg/cu. m)] minimum density, with factory-applied facings, as follows:

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to identify a specific product or a comparable product from manufacturers listed. Retain option and delete insert note if manufacturer's name and model number are indicated on Drawings.

2. Basis-of-Design Product: Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. <Insert, in separate subparagraphs, manufacturer's name>.

Retain one of two "Facer" subparagraphs below, or revise to another board facer if required. Verify availability with manufacturers. If a field-installed cover board is required, see "Insulation Accessories" Article for options.

3. Facer: ASTM C 208, Type II, Grade 2, cellulosic-fiber insulation board, asphalt coated, 1/2 inch (13 mm) thick.

4. Facer: DOC PS 2, Exposure 1, oriented strand board, 7/16 inch (11 mm) thick.

Retain "Polyisocyanurate Board Insulation" Paragraph below for polyisocyanurate board insulation with felt or glass-fiber mat facers. Retain one of two options; second has higher compressive strength. Revise to Type I, Class 1 if aluminum-foil-faced insulation is required. Verify availability of options with insulation manufacturers. Retain first paragraph with "Composite Polyisocyanurate Board Insulation" Paragraph below if combining composite and noncomposite polyisocyanurate board insulation in two or more layers.

D. Polyisocyanurate Board Insulation: ASTM C 1289, [Type II, Class 1, Grade 2] [Type II, Class I, Grade 3], felt or glass-fiber mat facer on both major surfaces.

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to identify a specific product or a comparable product from manufacturers listed. Retain option and delete insert note if manufacturer's name and model number are indicated on Drawings.

2. Basis-of-Design Product: Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. Atlas Roofing Corporation.

b. Carlisle SynTec Incorporated.

c. Dyplast Products.

d. Firestone Building Products.

e. GAF Materials Corporation.

f. Hunter Panels.

g. Insulfoam LLC; a Carlisle company.

h. Johns Manville.

i. Rmax, Inc.

j. <Insert manufacturer's name>.

Retain "Composite Polyisocyanurate Board Insulation" Paragraph below for composite polyisocyanurate board insulation faced with factory-applied facing board on one surface and felt or glass-fiber mat facer on the other. Verify availability of facing board types and thicknesses with composite insulation manufacturers.

E. Composite Polyisocyanurate Board Insulation: ASTM C 1289, with factory-applied facing board on one major surface as indicated below by type, and felt or glass-fiber mat facer on the other surface.

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to identify a specific product or a comparable product from manufacturers listed. Retain option and delete insert note if manufacturer's name and model number are indicated on Drawings.

2. Basis-of-Design Product: Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. Atlas Roofing Corporation.

b. Firestone Building Products.

c. GAF Materials Corporation.

d. Homasote Company.

e. Hunter Panels.

f. Insulfoam LLC; a Carlisle company.

g. Johns Manville.

h. <Insert manufacturer's name>.

3. Type IV, cellulosic-fiber-insulating-board facer, Grade 2, 1/2 inch (13 mm) thick.

4. Type V, oriented strand board facer, 7/16 inch (11 mm) thick.

5. Type VII, glass mat faced gypsum board facer, 1/4 inch (6 mm) thick.

F. Perlite Board Insulation: ASTM C 728, rigid, mineral-aggregate thermal insulation board composed of expanded perlite, cellulosic fibers, binders, and waterproofing agents with top surface seal coated.

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to identify a specific product or a comparable product from manufacturers listed. Retain option and delete insert note if manufacturer's name and model number are indicated on Drawings.

2. Basis-of-Design Product: Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. GAF Materials Corporation.

b. Johns Manville.

c. <Insert manufacturer's name>.

G. Cellulosic-Fiber Board Insulation: ASTM C 208, Type II, Grade 2, fibrous-felted, rigid insulation boards of wood fiber or other cellulosic-fiber and water-resistant binders, asphalt impregnated, chemically treated for deterioration.

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to identify a specific product or a comparable product from manufacturers listed. Retain option and delete insert note if manufacturer's name and model number are indicated on Drawings.

2. Basis-of-Design Product: Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. GAF Materials Corporation.

b. Georgia-Pacific.

c. Homasote Company.

d. Huebert Fiberboard Inc.

e. Temple-Inland, Inc.

f. <Insert manufacturer's name>.

Retain "Tapered Insulation" Paragraph below if tapered insulation is required. Most commonly used insulations are available in tapered form; verify with manufacturers. With some exceptions, codes require roof slopes to be not less than 1/4 inch per 12 inches (1:48). Insulation is manufactured with tapers ranging from 1/8 to 1/2 inch per 12 inches (1:96 to 1:24).

H. Tapered Insulation: Provide factory-tapered insulation boards fabricated to slope of [1/4 inch per 12 inches (1:48)] <Insert slope> unless otherwise indicated.

Retain paragraph below with or without "Tapered Insulation" Paragraph above.

I. Provide preformed saddles, crickets, tapered edge strips, and other insulation shapes where indicated for sloping to drain. Fabricate to slopes indicated.

2.9 INSULATION ACCESSORIES

Retain "Fasteners" Paragraph below if insulation requires mechanical fastening.

A. Fasteners: Factory-coated steel fasteners and metal or plastic plates complying with corrosion-resistance provisions in FM Global 4470, designed for fastening roof insulation to substrate and acceptable to roofing manufacturer.

B. Insulation Adhesive: Insulation manufacturer's recommended adhesive formulated to attach roof insulation to substrate or to another insulation layer.

Retain one of two "Insulation Cant Strips" paragraphs below; delete both if using wood cants specified in Section 061000 "Rough Carpentry" or Section 061053 "Miscellaneous Rough Carpentry."

C. Insulation Cant Strips: ASTM C 728, perlite insulation board.

D. Insulation Cant Strips: ASTM C 208, Type II, Grade 1, cellulosic-fiber insulation board.

Retain one of four "Cover Board" paragraphs below if required. Cover or overlay boards are usually needed over noncomposite foam insulation.

E. Cover Board: ASTM C 208, Type II, Grade 2, cellulosic-fiber insulation board, 1/2 inch (13 mm) thick.

F. Cover Board: DOC PS 2, Exposure 1, oriented strand board, 7/16 inch (11 mm) thick.

G. Cover Board: ASTM C 1177/C 1177M, glass-mat, water-resistant gypsum substrate, [1/4 inch (6 mm)] [1/2 inch (13 mm)] [5/8 inch (16 mm)] thick[, factory primed].

Retain "Products" Subparagraph and list of manufacturers and products below to require specific products or a comparable product from other manufacturers.

1. Products: Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. CertainTeed Corporation; [GlasRoc Sheathing] [GlasRoc Sheathing Type X].

b. Georgia-Pacific Corporation; [Dens Deck] [Dens Deck DuraGuard] [Dens Deck Prime].

c. National Gypsum Company; Gold Bond eXP Extended Exposure Sheathing.

d. Temple-Inland, Inc; GreenGlass Exterior Sheathing.

e. USG Corporation; Securock Glass Mat Roof Board.

f. <Insert manufacturer's name; product name or designation>.

H. Cover Board: ASTM C 1278/C 1278M, cellulosic-fiber-reinforced, water-resistant gypsum substrate, [1/4 inch (6 mm)] [3/8 inch (10 mm)] [1/2 inch (13 mm)] [5/8 inch (16 mm)] thick.

Retain "Products" Subparagraph and list of manufacturers and products below to require specific products or a comparable product from other manufacturers.

1. Products: Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. USG Corporation; Securock Gypsum-Fiber Roof Board.

b. <Insert manufacturer's name; product name or designation>.

2.10 WALKWAYS

First option in "Walkway Pads" Paragraph below includes composition walkway pads produced by some roofing manufacturers and independently manufactured products. Verify requirements with roofing manufacturers, and revise description if required.

A. Walkway Pads: [Mineral-granule-surfaced, reinforced asphaltic composition] [Polymer-modified, reconstituted solid-rubber, surface-textured], slip-resisting pads, manufactured as a traffic pad for foot traffic and acceptable to roofing manufacturer, [3/8 inch (10 mm)] [1/2 inch (13 mm)] [3/4 inch (19 mm)] thick, minimum.

1. Pad Size: <Insert size>.

Retain "Walkway Cap-Sheet Strips" Paragraph below for SBS-modified, asphalt-coated cap-sheet strips used as walkways.

B. Walkway Cap-Sheet Strips: [ASTM D 6164/D 6164, Grade G, Type I or II, polyester-reinforced] [ASTM D 6163, Grade G, Type I or II, glass-fiber-reinforced] [ASTM D 6162, Grade G, Type I or II, composite polyester-reinforced and glass-fiber-reinforced], SBS-modified asphalt sheet; granule surfaced; suitable for application method specified, and as follows:

1. Granule Color: [White] [Gray] [Tan] <Insert color>.

PART 3 -  EXECUTION

3.1 INSTALLATION, GENERAL

A. Comply with built-up roofing manufacturer's written instructions.

B. Substrate-Joint Penetrations: Prevent roofing asphalt and adhesives from penetrating substrate joints, entering building, or damaging built-up roofing components or adjacent building construction.

3.2 SUBSTRATE BOARD INSTALLATION

A. Install substrate board with long joints in continuous straight lines, perpendicular to roof slopes with end joints staggered between rows. Tightly butt substrate boards together.

1. Fasten substrate board to top flanges of steel deck to resist uplift pressure at corners, perimeter, and field of roof according to built-up roofing manufacturer's written instructions.

3.3 INSULATION INSTALLATION

Roofing manufacturers require nailer strips for insulation-covered roof decks with slopes greater than 1 inch per 12 inches (1:12). Verify roofing manufacturer's backnailing requirements for reducing nailer-strip spacing as roof slope increases. Unless manufacturer's written instructions contain more stringent requirements, NRCA recommends spacing nailers approximately 16 feet (4.88 m) apart for slopes up to 3 inches per 12 inches (3:12) and 48 inches (1220 mm) apart for greater slopes. Delete nailer strips on lightweight insulating concrete decks or other noninsulated nailable decks.

A. Nailer Strips: Mechanically fasten 4-inch nominal- (89-mm actual-) width wood nailer strips of same thickness as insulation perpendicular to sloped roof deck at the following spacing:

1. [16 feet (4.88 m)] <Insert dimension> apart for roof slopes greater than 1 inch per 12 inches (1:12) but less than 3 inches per 12 inches (3:12).

2. [48 inches (1220 mm)] <Insert dimension> apart for roof slopes greater than 3 inches per 12 inches (3:12).

Insulation cant strips may be mechanically fastened or set in hot asphalt, depending on substrate and roofing manufacturer's written instructions.

B. Insulation Cant Strips: Install and secure preformed 45-degree insulation cant strips at junctures of built-up roofing with vertical surfaces or angle changes greater than 45 degrees.

Retain first paragraph below if tapered insulation is required.

C. Install tapered insulation under area of roofing to conform to slopes indicated.

Insulation manufacturers usually recommend thickness in first paragraph below as maximum thickness of single insulation layer.

D. Install insulation under area of roofing to achieve required thickness. Where overall insulation thickness is 2.7 inches (68 mm) or greater, install two or more layers with joints of each succeeding layer staggered from joints of previous layer a minimum of 6 inches (150 mm) in each direction.

Retain subparagraph below when a composite top layer is required over one or more layers of noncomposite molded polystyrene or polyisocyanurate board insulation.

1. Where installing composite and noncomposite board insulation in two or more layers, install noncomposite board insulation for bottom layer and intermediate layers, if applicable, and install composite board insulation for top layer.

E. Install tapered edge strips at perimeter edges of roof that do not terminate at vertical surfaces.

F. Adhered Insulation: Install each layer of insulation and adhere to substrate as follows:

Retain first two subparagraphs below for hot-asphalt application.

1. Prime surface of concrete deck with asphalt primer at rate of 3/4 gal./100 sq. ft. ((0.3 L/sq. m),) and allow primer to dry.

2. Set each layer of insulation in a solid mopping of hot roofing asphalt.

3. Set each layer of insulation in insulation adhesive, firmly pressing and maintaining insulation in place.

G. Mechanically Fastened Insulation: Install each layer of insulation and secure to deck using mechanical fasteners specifically designed and sized for fastening specified board-type roof insulation to deck type.

1. Fasten insulation to resist uplift pressure at corners, perimeter, and field of roof.

Retain "Mechanically Fastened and Adhered Insulation" Paragraph below if mechanically fastening the first layer of insulation and adhering the remaining layers. This application method is the most common.

H. Mechanically Fastened and Adhered Insulation: Install first layer of insulation to deck using mechanical fasteners specifically designed and sized for fastening specified board-type roof insulation to deck type.

1. Fasten first layer of insulation to resist uplift pressure at corners, perimeter, and field of roof.

Retain one of two subparagraphs below. Retain first subparagraph for hot-asphalt application, or retain second subparagraph for cold-adhesive application.

2. Set each subsequent layer of insulation in a solid mopping of hot roofing asphalt.

3. Set each subsequent layer of insulation in insulation adhesive, firmly pressing and maintaining insulation in place.

Retain paragraph below if cover boards will be field installed over roof insulation and immediately below built-up roofing. Joint taping protects molded- or extruded-polystyrene insulation against damage from hot roofing asphalt and minimizes offsets at joints between adjacent cover boards.

I. Install cover boards over insulation with long joints in continuous straight lines with end joints staggered between rows. Offset joints of insulation below a minimum of 6 inches (150 mm) in each direction. Loosely butt cover boards together[ and fasten to roof deck]. Tape joints if required by roofing manufacturer.

1. Fasten cover boards to resist uplift pressure at corners, perimeter, and field of roof.

2. Apply hot roofing asphalt to underside and immediately bond cover board to substrate.

3.4 BUILT-UP ROOFING INSTALLATION

A. Install roofing according to roofing manufacturer's written instructions and applicable recommendations of ARMA/NRCA's "Quality Control Guidelines for the Application of Built-up Roofing" and as follows:

Retain first paragraph below if roof slope exceeds minimum permitted by roofing manufacturer. Revise minimum roof slope to suit application.

B. Where roof slope exceeds [1/2 inch per 12 inches (1:24)] [3/4 inch per 12 inches (1:18)] <Insert slope>, install built-up roofing sheets parallel with slope.

C. Coordinate installation of roofing so insulation and other components of built-up roofing not permanently exposed are not subjected to precipitation or left uncovered at the end of the workday or when rain is forecast.

Retain first paragraph below if sheathing paper is required over wood decks by built-up roofing manufacturer.

D. Loosely lay one course of sheathing paper, lapping edges and ends a minimum of 2 inches (50 mm) and 6 inches (150 mm), respectively.

E. Install lapped base-sheet course, extending sheet over and terminating beyond cants. Attach base sheet as follows:

Retain appropriate installation method in subparagraphs below. Usually retain first for nailable substrate and third for nonnailable or insulated substrates. Mechanically fasten or spot or strip mop vented base sheets, because they vent laterally.

1. Mechanically fasten to substrate.

2. Spot or strip mop to substrate with hot roofing asphalt.

3. Adhere to substrate in a solid mopping of hot roofing asphalt.

Ply sheets may be applied directly to nonnailable deck, base sheet, or insulation. Retain number of ply sheets from options in first paragraph below.

F. Install [two] [three] [four] ply sheets starting at low point of roofing. Align ply sheets without stretching. Shingle side laps of ply sheets uniformly to achieve required number of plies throughout thickness of roofing membrane. Shingle in direction to shed water. Extend ply sheets over and terminate beyond cants.

1. Embed each ply sheet in a solid mopping of hot roofing asphalt applied at rate required by roofing manufacturer, to form a uniform membrane without ply sheets touching.

Retain "Cap Sheet" Paragraph below if surfacing roofing membrane with mineral-granule-surfaced cap sheet. Cap sheet usually counts as an additional ply in built-up roofing membrane ply count.

G. Cap Sheet: Install lapped granulated cap sheet starting at low point of roofing. Offset laps from laps of preceding ply sheets, and align cap sheet without stretching. Lap in direction to shed water. Extend cap sheet over and terminate beyond cants.

1. Embed cap sheet in a solid mopping of hot roofing asphalt applied at rate required by built-up roofing manufacturer.

Retain "Aggregate Surfacing" Paragraph below if surfacing roofing with aggregate.

H. Aggregate Surfacing: After installing and testing roofing, base flashing, and stripping, promptly apply flood coat to roof surface with 60 lb/100 sq. ft. (3.0 kg/sq. m) of hot roofing asphalt. While flood coat is hot and fluid, cast the following average weight of aggregate in a uniform course:

Aggregate weight in first option in "Aggregate Weight" Subparagraph below is for gravel or crushed stone; second is for slag. Coordinate with aggregate selected.

1. Aggregate Weight: [400 lb/100 sq. ft. (20 kg/sq. m)] [300 lb/100 sq. ft. (15 kg/sq. m)].

An interim glaze coat may be permitted if flood coating for aggregate surfacing is delayed.

2. If aggregate surfacing is delayed, promptly apply glaze coat of hot roofing asphalt at a rate of 10 lb/100 sq. ft. (0.5 kg/sq. m).

3.5 FLASHING AND STRIPPING INSTALLATION

A. Install base flashing over cant strips and other sloping and vertical surfaces, at roof edges, and at penetrations through roof; and secure to substrates according to built-up roofing manufacturer's written instructions.

B. Extend base flashing up walls or parapets a minimum of 8 inches (200 mm) above built-up roofing and 4 inches (100 mm) onto field of built-up roofing.

C. Mechanically fasten top of base flashing securely at terminations and perimeter of roofing.

D. Install stripping according to roofing manufacturer's written instructions, where metal flanges and edgings are set on built-up roofing.

Delete "Roof Drains" Paragraph below if no interior roof drains. NRCA recommends flashing size below, whereas some roofing manufacturers permit 27-inch- (685-mm-) square units.

E. Roof Drains: Set [30-by-30-inch (760-by-760-mm)] <Insert dimensions> metal flashing in bed of asphalt roofing cement on completed built-up roofing. Cover metal flashing with built-up roofing cap-sheet stripping, and extend a minimum of [4 inches (100 mm)] [6 inches (150 mm)] beyond edge of metal flashing onto field of built-up roofing. Clamp built-up roofing, metal flashing, and stripping into roof-drain clamping ring.

3.6 WALKWAY INSTALLATION

Retain "Walkway Pads" or "Walkway Cap-Sheet Strips" Paragraph below if walkways are required.

A. Walkway Pads: Install walkway pads, using units of size indicated or, if not indicated, of manufacturer's standard size, according to walkway pad manufacturer's written instructions.

Retain subparagraph below if applicable.

1. Set walkway pads in additional pour coat of hot roofing asphalt after sweeping away loose aggregate surfacing.

B. Walkway Cap-Sheet Strips: Install walkway cap-sheet strips, approximately 36 inches (900 mm) wide and in lengths not exceeding 10 feet (3 m), leaving a space of 6 inches (150 mm) between strips, over built-up roofing. Adhere in hot roofing asphalt.

END OF SECTION 075113

	BUILT-UP ASPHALT ROOFING
	075113 - 1



