Copyright 2010 AIA
MasterSpec Professional
11/10

Copyright 2010 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 076100 - SHEET METAL ROOFING
TIPS:
To view non-printing Editor's Notes that provide guidance for editing, click on Masterworks/Single‑File Formatting/Toggle/Editor's Notes.
To read detailed research, technical information about products and materials, and coordination checklists, click on Masterworks/Supporting Information.

Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect." Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 SUMMARY

A. Section includes custom-fabricated, [flat-seam] [standing-seam] [and] [batten-seam] sheet metal roofing.

1.2 PREINSTALLATION MEETINGS

A. Preinstallation Conference: Conduct conference at [Project site] <Insert location>.

1.3 ACTION SUBMITTALS

A. Product Data: For each type of product.

B. LEED Submittals:

1. Product Data for Credit MR 4: For products having recycled content, documentation indicating percentages by weight of postconsumer and preconsumer recycled content. Include statement indicating cost for each product having recycled content.

"Product Test Reports for Credit SS 7.2" Subparagraph below applies to LEED-NC, LEED-CS, and LEED for Schools; coordinate with requirements for roof finishes.

2. Product Test Reports for Credit SS 7.2: For roofing materials, documentation indicating that roofing materials comply with Solar Reflectance Index requirement.

C. Shop Drawings: For sheet metal roofing.

1. Show installation layouts, expansion joint locations, fixed points, and keyed details. Distinguish between shop- and field-assembled work.

2. Include pattern of seams and details of termination points, expansion joints, direction of expansion, roof penetrations, edge conditions, special conditions, and connections to adjoining work.

D. Samples: For each exposed product and for each color and texture specified.

1.4 INFORMATIONAL SUBMITTALS

A. Product test reports.

B. Sample warranties.

1.5 CLOSEOUT SUBMITTALS

A. Maintenance data.

1.6 QUALITY ASSURANCE

A. Mockups: Build mockups to verify selections made under Sample submittals to demonstrate aesthetic effects and to set quality standards for fabrication and installation.

1. Build mockup of typical roof area and eave as shown on Drawings, including[, underlayment,] attachments, and accessories.

a. Size: Approximately [12 feet (3.5 m) long by 6 feet (1.75 m)] [48 inches (1200 mm) square] [12 feet (3.5 m) square] <Insert dimension(s)>.

1.7 WARRANTY

If retaining "Special Warranty" Paragraph below, insert copy of local roofing contractor association's warranty form, or use another form as advised by Owner's counsel. Revise below to reflect scope of special warranty.

A. Special Warranty: Warranty in which Installer agrees to repair or replace components of sheet metal roofing that fail in materials or workmanship within specified warranty period.

Verify available warranties and warranty periods for sheet metal roofing.

1. Warranty Period: [Two] <Insert number> years from date of Substantial Completion.

Retain "Special Warranty on Finishes" Paragraph below only for coil-coated sheet metal. Delete if metal is left uncoated or field finished. Coordinate with finishes retained in Part 2.

B. Special Warranty on Finishes: Manufacturer agrees to repair finish or replace sheet metal roofing that shows evidence of deterioration of factory-applied finishes within specified warranty period.

Verify available warranties and warranty periods for sheet metal roofing finishes. A 20-year period is available for fluoropolymer finishes and is the maximum included with manufacturers' published data; a 10-year period is usually available for siliconized polyester.

1. Finish Warranty Period: [20] [10] <Insert number> years from date of Substantial Completion.

PART 2 -  PRODUCTS

See Editing Instruction No. 1 in the Evaluations for cautions about named manufacturers and products. For an explanation of options and Contractor's product selection procedures, see Section 016000 "Product Requirements."

2.1 PERFORMANCE REQUIREMENTS

A. General Performance: Sheet metal roofing system including, but not limited to, metal roof panels, cleats, anchors and fasteners, sheet metal flashing integral with sheet metal roofing, fascia panels, trim[, battens], underlayment, and accessories, shall comply with requirements without failure due to defective manufacture, fabrication, or installation, or due to other defects in construction. Sheet metal roofing shall remain watertight.

Retain one of or both "Sheet Metal Roofing Standard" and "Copper Roofing Standard" paragraphs below.

If SMACNA's "Architectural Sheet Metal Manual" is not standard office practice in the area of Project, substitute another standard in "Sheet Metal Roofing Standard" Paragraph below, such as NRCA's "The NRCA Roofing Manual."

B. Sheet Metal Roofing Standard: Comply with SMACNA's "Architectural Sheet Metal Manual" unless more stringent requirements are specified or indicated on Drawings.

C. Copper Roofing Standard: Comply with CDA's "Copper in Architecture Handbook." Conform to dimensions and profiles shown unless more stringent requirements are indicated.

Retain "Recycled Content of Steel-Sheet Roofing" and "Recycled Content of Copper-Sheet Roofing" paragraphs below to specify recycled content if required for LEED Credit MR 4. An alternative method of dealing with these credit requirements is to retain requirement in Section 018113.13 "Sustainable Design Requirements - LEED for New Construction and Major Renovations," Section 018113.19 "Sustainable Design Requirements - LEED for Core and Shell Development," or Section 018113.23 "Sustainable Design Requirements - LEED for Schools" that gives Contractor the option and responsibility to determine how these credit requirements will be met.

The USGBC allows a default value of 25 percent to be used for steel, without documentation; higher percentages can be claimed if they are supported by appropriate documentation. The Steel Recycling Institute indicates that steel sheet typically has 23 percent postconsumer recycled content and 1.5 percent preconsumer recycled content.

D. Recycled Content of Steel-Sheet Roofing: Postconsumer recycled content plus one-half of preconsumer recycled content not less than [25] <Insert number> percent.

Verify, with manufacturers, availability of appropriate documentation before retaining "Recycled Content of Copper-Sheet Roofing" Paragraph below; revise to suit Project.

E. Recycled Content of Copper-Sheet Roofing: Postconsumer recycled content plus one-half of preconsumer recycled content not less than [40] <Insert number> percent.

Retain "Solar Reflectance Index" Paragraph below if required for LEED-NC, LEED-CS, and LEED for Schools Credit SS 7.2. First option is minimum for roofs with slopes of 2:12 or less; second option is minimum for roofs with slopes steeper than 2:12. Before retaining, verify compliance of specified sheet metal material.

F. Solar Reflectance Index: Not less than [78] [29] when calculated according to ASTM E 1980 based on testing identical products by a qualified testing agency.

Retain "Energy Performance" Paragraph below as example for roofs that must comply with local "cool-roof" energy legislation; verify requirements with authorities having jurisdiction. Example and options below are for low-slope roofs that must comply with prescriptive approach of CCR Title 24 (California Building Standards Code). A list of coating products tested according to CRRC-1, along with their test values, is available in PDF at www.coolroofs.org. Before retaining, verify compliance of specified sheet metal material.

G. Energy Performance: Provide sheet metal roofing according to one of the following when tested according to CRRC-1:

1. Three-year, aged, solar reflectance of not less than [0.55] <Insert value> and emissivity of not less than [0.75] <Insert value>.

2. Three-year, aged, Solar Reflectance Index of not less than [64] <Insert value> when calculated according to ASTM E 1980.

H. Thermal Movements: Allow for thermal movements from ambient and surface temperature changes.

Differential values in "Temperature Change" Subparagraph below (for aluminum in particular) are suitable for most of the U.S.

1. Temperature Change: [120 deg F (67 deg C), ambient; 180 deg F (100 deg C), material surfaces] <Insert temperature change>.

2.2 ROOFING SHEET METALS

Finishes for roofing sheet metals are specified with materials in this article rather than in a separate "Finishes" Article.

A. General: Protect mechanical and other finishes on exposed surfaces from damage by applying strippable, temporary protective film before shipping.

B. Metallic-Coated Steel Sheet: Provide [zinc-coated (galvanized) steel sheet according to ASTM A 653/A 653M, G90 (Z275) coating designation] [or] [aluminum-zinc alloy-coated steel sheet according to ASTM A 792/A 792M, Class AZ50 (Class AZM150) coating designation,Grade 40 (Grade 275)]; with [smooth, flat] [embossed] surface; prepainted by coil-coating process to comply with ASTM A 755/A 755M.

1. Thickness: Nominal [0.022 inch (0.56 mm)] [0.028 inch (0.71 mm)] <Insert dimension> unless otherwise indicated.

Retain "Batten Caps" Subparagraph below for batten-seam sheet metal roofing.

a. Batten Caps: Nominal 0.028 inch (0.71 mm) thick.

2. Exposed Coil-Coated Finish:

Retain one fluoropolymer or siliconized-polyester finish from first three subparagraphs below.

a. Two-Coat Fluoropolymer: AAMA 621. Fluoropolymer finish containing not less than 70 percent PVDF resin by weight in color coat. Prepare, pretreat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturers' written instructions.

b. Three-Coat Fluoropolymer: AAMA 621. Fluoropolymer finish containing not less than 70 percent PVDF resin by weight in both color coat and clear topcoat. Prepare, pretreat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturers' written instructions.

c. Siliconized Polyester: Epoxy primer and silicone-modified, polyester-enamel topcoat; with dry film thickness of not less than 0.2 mil (0.005 mm) for primer and 0.8 mil (0.02 mm) for topcoat.

3. Color: [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range] <Insert color>.

C. Aluminum Sheet: ASTM B 209 (ASTM B 209M), alloy as standard with manufacturer for finish required, with temper as required to suit forming operations and performance required; with [smooth, flat] [embossed] surface.

1. Thickness: [0.032 inch (0.81 mm)] [0.040 inch (1.02 mm)] unless otherwise indicated.

Retain "Batten Caps" Subparagraph below for batten-seam sheet metal roofing.

a. Batten Caps: 0.050 inch (1.27 mm) thick.

Retain "As-Milled Finish," "Factory Prime Coating," or "Exposed Coil-Coated Finish" Subparagraph below.

Options in "As-Milled Finish" Subparagraph below are listed from most basic to better as-milled finish.

2. As-Milled Finish: [Mill] [One-side bright mill] [Standard one-side bright] [Standard two-side bright].

Retain "Factory Prime Coating" Subparagraph below for field painting aluminum sheet.

3. Factory Prime Coating: Where painting after installation is required, pretreat metal with white or light-colored, factory-applied, baked-on epoxy primer coat; minimum dry film thickness of 0.2 mil (0.005 mm).

4. Exposed Coil-Coated Finish:

Retain one fluoropolymer or siliconized-polyester finish from first three subparagraphs below.

a. Two-Coat Fluoropolymer: AAMA 620. Fluoropolymer finish containing not less than 70 percent PVDF resin by weight in color coat. Prepare, pretreat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturers' written instructions.

b. Three-Coat Fluoropolymer: AAMA 620. Fluoropolymer finish containing not less than 70 percent PVDF resin by weight in both color coat and clear topcoat. Prepare, pretreat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturers' written instructions.

c. Siliconized Polyester: Epoxy primer and silicone-modified, polyester-enamel topcoat; with dry film thickness of not less than 0.2 mil (0.005 mm) for primer and 0.8 mil (0.02 mm) for topcoat.

5. Color: [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range] <Insert color>.

D. Copper Sheet: ASTM B 370, cold-rolled copper sheet, H00 temper.

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, [provide products by the following] [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

a. Hussey Copper Ltd.

b. Revere Copper Products, Inc.

c. <Insert manufacturer's name>.

2. Weight (Thickness): [16 oz./sq. ft. (0.55 mm thick)] [20 oz./sq. ft. (0.70 mm thick)] <Insert weight (thickness)> unless otherwise indicated.

Retain "Batten Caps" Subparagraph below for batten-seam sheet metal roofing.

a. Batten Caps: 20 oz./sq. ft. (0.70 mm) thick.

Retain "Nonpatinated Exposed Finish" or "Prepatinated Copper-Sheet Finish" Subparagraph below. Retain first subparagraph for natural-color copper finish that weathers and changes color naturally over time.

3. Nonpatinated Exposed Finish: Mill.

Retain "Prepatinated Copper-Sheet Finish" Subparagraph below for prepatinated finishes, which reduce nonuniform weathering of exposed copper sheet.

4. Prepatinated Copper-Sheet Finish: [Dark brown] [Verdigris] <Insert color>, prepatinated according to ASTM B 882.

E. Stainless-Steel Sheet: ASTM A 240/A 240M, [Type 304] [Type 316], dead soft, fully annealed; with [smooth, flat] [embossed] surface.

1. Thickness: [0.016 inch (0.40 mm)] [0.019 inch (0.48 mm)] unless otherwise indicated.

Retain "Batten Caps" Subparagraph below for batten-seam sheet metal roofing.

a. Batten Caps: 0.019 inch (0.48 mm) thick.

2. Finish: [2D (dull, cold rolled)] [2B (bright, cold rolled)] [3 (coarse, polished directional satin)] [4 (polished directional satin)] <Insert finish>.

a. Polished Finishes: Grind and polish surfaces to produce uniform finish, free of cross scratches. Run grain of directional finishes with long dimension of each piece.

b. When polishing is completed, passivate and rinse surfaces. Remove embedded foreign matter and leave surfaces chemically clean.

2.3 UNDERLAYMENT MATERIALS

Retain applicable paragraphs in this article for sheet metal roofing applied directly over metal deck, solid sheathing, dissimilar metals, or corrosive substrates.

A. Felts: ASTM D 226/D 226M, Type II (No. 30), asphalt-saturated organic felts.

Before retaining "Synthetic Underlayment" Paragraph below, verify that it is acceptable to authorities having jurisdiction; revise to suit Project.

B. Synthetic Underlayment: Laminated or reinforced, woven polyethylene or polypropylene, synthetic roofing underlayment; bitumen free; slip resistant; suitable for high temperatures over 220 deg F (111 deg C); and complying with physical requirements of ASTM D 226/D 226M for Type I and Type II felts.

Retain "Products" Subparagraph and list of manufacturers and products below to require specific products or a comparable product from other manufacturers.

1. Products: Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. Atlas Roofing Corporation; Summit.

b. Engineered Coated Products; Nova-Seal II.

c. Kirsch Building Products, LLC; [Sharkskin Comp] [Sharkskin Ultra].

d. SDP Advanced Polymer Products Inc; Palisade.

e. <Insert manufacturer's name; product name or designation>.

C. Self-Adhering, High-Temperature Sheet: Minimum 30 mils (0.76 mm) thick, consisting of a slip-resistant polyethylene- or polypropylene-film top surface laminated to a layer of butyl- or SBS-modified asphalt adhesive, with release-paper backing; specifically designed to withstand high metal temperatures beneath metal roofing. Provide primer according to written recommendations of underlayment manufacturer.

Retain "Products" Subparagraph and list of manufacturers and products below to require specific products or a comparable product from other manufacturers.

1. Products: Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. Carlisle Residential, a division of Carlisle Construction Materials; WIP 300HT.

b. Grace Construction Products, a unit of W. R. Grace & Co.-Conn.; [Grace Ice and Water Shield HT] [Ultra].

c. Henry Company; Blueskin PE200 HT.

d. Kirsch Building Products, LLC; Sharkskin Ultra SA.

e. Metal-Fab Manufacturing, LLC; MetShield.

f. Owens Corning; WeatherLock Specialty Tile & Metal Underlayment.

g. Polyguard Products, Inc.; Deck Guard HT.

h. Protecto Wrap Company; Protecto Jiffy Seal Ice & Water Guard HT.

i. SDP Advanced Polymer Products Inc; Palisade SA-HT.

j. <Insert manufacturer's name; product name or designation>.

2. Thermal Stability: ASTM D 1970; stable after testing at 240 deg F (116 deg C) or higher.

3. Low-Temperature Flexibility: ASTM D 1970; passes after testing at minus 20 deg F (29 deg C) or lower.

D. Slip Sheet: Rosin-sized building paper, 3 lb/100 sq. ft. (0.16 kg/sq. m) minimum.

2.4 MISCELLANEOUS MATERIALS

A. General: Provide materials and types of fasteners, solder, protective coatings, sealants, and other miscellaneous items as required for complete roofing system and as recommended by primary sheet metal manufacturer unless otherwise indicated.

B. Wood Battens: Lumber according to requirements for nailers for roofing in [Section 061000 "Rough Carpentry."] [Section 061053 "Miscellaneous Rough Carpentry."]

C. Fasteners: Wood screws, annular-threaded nails, self-tapping screws, self-locking rivets and bolts, and other suitable fasteners designed to withstand design loads.

1. General:

a. Exposed Fasteners: Heads matching color of sheet metal roofing using plastic caps or factory-applied coating. Provide metal-backed EPDM or PVC sealing washers under heads of exposed fasteners bearing on weather side of roofing.

b. Fasteners for Flashing and Trim: Blind fasteners or self-drilling screws, gasketed; with hex-washer head.

c. Blind Fasteners: High-strength aluminum or stainless-steel rivets suitable for metal being fastened.

Retain applicable fastener subparagraphs below.

2. Fasteners for [Zinc-Coated (Galvanized)] [Aluminum-Zinc Alloy-Coated] Steel Sheet: Series 300 stainless steel or hot-dip galvanized steel according to ASTM A 153/A 153M or ASTM F 2329.

3. Fasteners for Aluminum Sheet: Aluminum or Series 300 stainless steel.

4. Fasteners for Copper Sheet: Copper, hardware bronze, or passivated Series 300 stainless steel.

5. Fasteners for Stainless-Steel Sheet: Series 300 stainless steel.

D. Solder:

Retain applicable materials in three subparagraphs below. Solder compositions with maximum lead content of 0.2 percent may be less preferred and are usually more expensive, but are considered to be "lead free" by ASTM B 32; verify, with sheet metal manufacturer, the acceptability of low-lead-content solder before retaining.

1. For Zinc-Coated (Galvanized) Steel: ASTM B 32, [Grade Sn50, 50 percent tin and 50 percent lead or Grade Sn60, 60 percent tin and 40 percent lead] [with maximum lead content of 0.2 percent].

2. For Copper: ASTM B 32, [Grade Sn50, 50 percent tin and 50 percent lead] [with maximum lead content of 0.2 percent].

3. For Stainless Steel: ASTM B 32, [Grade Sn60] [Grade Sn96], with acid flux of type recommended by stainless-steel sheet manufacturer.

E. Sealant Tape: Pressure-sensitive, 100 percent solids, polyisobutylene compound sealant tape with release-paper backing. Provide permanently elastic, nonsag, nontoxic, nonstaining tape 1/2 inch (13 mm) wide and 1/8 inch (3 mm) thick.

Revise "Elastomeric Sealant" Paragraph below if sealant of specific type, grade, class, and use is required.

F. Elastomeric Sealant: ASTM C 920, elastomeric [polyurethane] [polysulfide] [silicone] polymer sealant; of type, grade, class, and use classifications required to seal joints in sheet metal roofing and remain watertight.

Retain "Butyl Sealant" Paragraph below for expansion joints with limited movement.

G. Butyl Sealant: ASTM C 1311, single-component, solvent-release butyl rubber sealant; polyisobutylene plasticized; heavy bodied for hooked-type expansion joints with limited movement.

H. Bituminous Coating: Cold-applied asphalt emulsion according to ASTM D 1187.

2.5 ACCESSORIES

A. Sheet Metal Accessories: Provide components required for complete sheet metal roofing assembly including trim, copings, fasciae, corner units, clips, flashings, sealants, gaskets, fillers, metal closures, closure strips, and similar items. Match material and finish of sheet metal roofing unless otherwise indicated.

Retain "Cleats" Subparagraph below and indicate locations and sizes of cleats on Drawings.

1. Cleats: Intermittent and continuous attachment devices for mechanically seaming into joints and formed from the following materials and thicknesses unless otherwise indicated:

Retain applicable materials in first three subparagraphs below. Optional dimensions below are for intermittent cleats. Continuous cleats can be thinner. Revere recommends that cleats for copper roofing be same weight as roofing metal.

a. [Metallic-Coated Steel] [Aluminum] Roofing: [0.0250-inch- (0.64-mm-)] <Insert dimension> thick stainless steel.

b. Copper Roofing: [16-oz./sq. ft. (0.55-mm)] <Insert weight (thickness)> copper sheet.

c. Stainless-Steel Roofing: [0.0250-inch- (0.64-mm-)] <Insert dimension> thick stainless steel.

2. Expansion-Type Cleats: Cleats of a design that allows longitudinal movement of roof panels without stressing panel seams; of same material as other cleats.

3. Backing Plates: Plates at roofing splices, fabricated from material recommended by SMACNA.

4. Closure Strips: Closed-cell, expanded, cellular, rubber or crosslinked, polyolefin foam or closed-cell laminated polyethylene; minimum 1-inch- (25-mm-) thick, flexible-closure strips; cut or premolded to match sheet metal roofing profile. Provide closure strips where necessary to ensure weathertight construction.

5. Flashing and Trim: Formed from same material and with same finish as sheet metal roofing, minimum [0.018 inch (0.46 mm)] <Insert dimension> thick.

Consider retaining "Roof Curbs" Paragraph below for custom curbs matching roofing.

B. Roof Curbs: Fabricated from same material and finish as sheet metal roofing, minimum thickness [matching the sheet metal roofing] <Insert dimension>; with bottom of skirt profiled to match roof panel and seam profiles; with weatherproof top box and integral full-length cricket. Fabricate curb subframing of nominal [0.062-inch- (1.59-mm-)] <Insert dimension> thick, angle-, C- or Z-shaped, galvanized-steel or stainless-steel sheet. Fabricate curb and subframing to withstand indicated loads of size and height indicated. Coordinate dimensions with rough-in information or Shop Drawings of equipment to be supported.

Retain one of or both subparagraphs below if required.

1. Insulate curbs with [1-inch- (25-mm-)] <Insert dimension> thick, rigid insulation.

2. Install wood nailers at tops of curbs.

2.6 FABRICATION

A. General: Custom fabricate sheet metal roofing to comply with details shown and recommendations in SMACNA's "Architectural Sheet Metal Manual" that apply to design, dimensions (panel width and seam height), geometry, metal thickness, and other characteristics of installation. Fabricate sheet metal roofing and accessories in shop to greatest extent possible.

1. Flat-Seam Roofing: Form flat-seam panels from metal sheets [20 by 28 inches (510 by 710 mm)] <Insert dimensions> with 1/2-inch (13-mm) notched and folded edges.

2. Standing-Seam Roofing: Form standing-seam panels with finished seam height [of 1 inch (25 mm)] [of 1-1/2 inches (38 mm)] [as indicated] <Insert dimension>.

3. Batten-Seam Roofing: Form batten-seam panels with edges turned up [2-1/8 inches (54 mm)] [as indicated] <Insert dimension> and with 1/2-inch (13-mm) flange turned toward center of pan.

B. Form exposed sheet metal work to fit substrates with little oil canning; free of buckling and tool marks; true to line, levels, and slopes; and with exposed edges folded back to form hems.

1. Form and fabricate sheets, seams, strips, cleats, valleys, ridges, edge treatments, integral flashings, and other components of metal roofing to profiles, patterns, and drainage arrangements indicated on Drawings and as required for leakproof construction.

C. Sheet Metal Accessories: Custom fabricate flashings and trim to comply with recommendations in SMACNA's "Architectural Sheet Metal Manual" that apply to design, dimensions, metal, and other characteristics of item required. Obtain field measurements for accurate fit before shop fabrication.

PART 3 -  EXECUTION

3.1 EXAMINATION AND PREPARATION

A. Examine solid roof sheathing to verify that sheathing joints are supported by framing or blocking and that tops of fasteners are flush with surface.

B. Lay out panel arrangement and [nail battens to wood sheathing] [screw battens to wood sheathing] [screw battens to metal deck] before installation of sheet metal roofing.

1. Space fasteners not more than [18 inches (460 mm)] <Insert dimension> o.c.

3.2 UNDERLAYMENT INSTALLATION

A. Felt Underlayment: Install felt underlayment, wrinkle free, using adhesive to minimize use of mechanical fasteners under sheet metal roofing. Apply at locations indicated on Drawings in shingle fashion to shed water, with lapped joints of not less than 2 inches (50 mm).

B. Synthetic Underlayment: Install synthetic underlayment, wrinkle free, according to manufacturers' written instructions, using adhesive where possible to minimize use of mechanical fasteners under sheet metal. Apply at locations indicated on Drawings.

C. Self-Adhering Sheet Underlayment: Install self-adhering sheet underlayment, wrinkle free. Prime substrate if recommended by underlayment manufacturer. Comply with temperature restrictions of underlayment manufacturer for installation; use primer for installing underlayment at low temperatures. Apply at locations indicated on Drawings in shingle fashion to shed water, with end laps of not less than 6 inches (150 mm) staggered 24 inches (600 mm) between courses. Overlap side edges not less than 3-1/2 inches (90 mm). Roll laps and edges with roller. Cover underlayment within 14 days.

D. Apply slip sheet, wrinkle free, before installing sheet metal roofing and related flashing.

3.3 INSTALLATION, GENERAL

A. General: Install sheet metal roofing to comply with details shown and recommendations in SMACNA's "Architectural Sheet Metal Manual" that apply to installation characteristics required unless otherwise indicated on Drawings. Install fasteners, solder, protective coatings, separators, sealants, and other miscellaneous items as required for complete roofing system and as recommended by fabricator for sheet metal roofing.

1. Install sheet metal roofing true to line, levels, and slopes. Provide uniform, neat seams with minimum exposure of solder, welds, and sealant.

2. Anchor sheet metal roofing and other components of the Work securely in place, with provisions for thermal and structural movement.

3. Field cutting of sheet metal roofing by torch is not permitted.

4. Provide metal closures at [peaks] [rake edges] [rake walls] [eaves] [and] each side of ridge[ and hip] caps.

5. Flash and seal sheet metal roofing with closure strips at eaves, rakes, and perimeter of all openings. Fasten with self-tapping screws.

6. Locate and space fastenings in uniform vertical and horizontal alignment. Predrill panels for fasteners.

7. Install ridge[ and hip] caps as sheet metal roofing work proceeds.

8. Locate roofing splices over, but not attached to, structural supports. Stagger roofing splices and end laps to avoid four-panel lap splice condition. Install backing plates at roofing splices.

9. Lap metal flashing over sheet metal roofing to direct moisture to run over and off roofing.

Retain "Thermal Movement" Paragraph below to allow thermal movement for panels in a predetermined direction. Delete below for fixed panels.

B. Thermal Movement: Rigidly fasten metal roof panels to structure at only one location for each panel. Allow remainder of panel to move freely for thermal expansion and contraction.

1. Point of Fixity: Fasten each panel along single line of fixing located at [eave] [ridge] [center of panel length] [locations indicated on Drawings] <Insert location>.

2. Avoid attaching accessories through roof panels in manner that inhibits thermal movement.

C. Fasteners: Use fastener sizes that penetrate [wood blocking or sheathing not less than 1-1/4 inches (32 mm) for nails and not less than 3/4 inch (19 mm) for wood screws] [substrate not less than recommended by fastener manufacturer to achieve maximum pull-out resistance] <Insert size requirement>.

D. Metal Protection: Where dissimilar metals contact each other, or where metal contacts pressure-treated wood or other corrosive substrates, protect against galvanic action or corrosion by painting contact surfaces with bituminous coating, by applying self-adhering sheet underlayment to each contact surface, or by other permanent separation as recommended by sheet metal manufacturer or SMACNA.

1. Coat concealed side of [uncoated-aluminum] [and] [stainless-steel] sheet metal roofing with bituminous coating where roofing contacts wood, ferrous metal, or cementitious construction.

E. Conceal fasteners and expansion provisions where possible in exposed work and locate to minimize possibility of leakage. Cover and seal fasteners and anchors as required for a tight installation.

3.4 CUSTOM-FABRICATED SHEET METAL ROOFING INSTALLATION

A. Fabricate and install work with lines and corners of exposed units true and accurate. Form exposed faces flat and free of buckles, excessive waves, and avoidable tool marks, considering metal temper and reflectivity. Provide uniform, neat seams with minimum exposure of solder, welds, and sealant. Fold back sheet metal to form hem on concealed side of exposed edges unless otherwise indicated.

1. Install cleats to hold sheet metal panels in position. Attach each cleat with at least two fasteners to prevent rotation.

2. Space cleats not more than 12 inches (300 mm) o.c. Bend tabs over fastener head.

3. Provide expansion-type cleats for roof panels that exceed 30 feet (9.1 m) in length.

B. Seal joints as required for watertight construction. For roofing with 3:12 slopes or less, use cleats at transverse seams. Prepare joints and apply sealants to comply with requirements in Section 079200 "Joint Sealants."

C. Soldered Joints: Clean surfaces to be soldered, removing oils and foreign matter. Pre-tin edges of sheets with solder to a width of 1-1/2 inches (38 mm); however, reduce pre-tinning where pre-tinned surface would show in completed Work.

Retain metals in first subparagraph below that are specified in Part 2; revise to suit Project. Soldering requires removal of painted, coated, or lacquered finishes. Although unusual, zinc-coated (galvanized) steel, a type of metallic-coated steel, may be soldered.

1. Do not solder [metallic-coated steel] [and] [aluminum] sheet.

2. Do not use torches for soldering.

3. Heat surfaces to receive solder, and flow solder into joint. Fill joint completely. Completely remove flux and spatter from exposed surfaces.

4. Stainless-Steel Soldering: Tin edges of uncoated sheets, using solder for stainless steel and acid flux. Promptly remove acid flux residue from metal after tinning and soldering. Comply with solder manufacturer's recommended methods for cleaning and neutralization.

5. Copper Soldering: Tin edges of uncoated sheets, using solder for copper.

Retain "Rivets" Paragraph below if required for aluminum sheet.

D. Rivets: Rivet joints in uncoated aluminum where necessary for strength.

Retain one or more roofing types in paragraphs below to describe the seaming method(s) required.

E. Flat-Seam Roofing: Attach flat-seam metal panels to substrate with cleats, starting at eave and working upward toward ridge. After panels are in place, mallet seams tight and solder.

1. Attach roofing panels with cleats spaced not more than [24 inches (600 mm)] <Insert dimension> o.c. Lock and solder panels to base flashing.

2. Attach edge flashing to face of roof edge with continuous cleat fastened to roof substrate at [12-inch (300-mm)] <Insert dimension> o.c. spacing. Lock panels to edge flashing and [solder] [apply sealant].

F. Standing-Seam Roofing: Attach standing-seam metal panels to substrate with double-fastened cleats spaced at [12 inches (300 mm)] <Insert dimension> o.c. Install panels reaching from eave to ridge before moving to adjacent panels. Before panels are interlocked, apply continuous bead of sealant to top of flange of lower panel. Lock standing seams by folding over twice so cleat and panel edges are completely engaged.

1. Lock each panel to panel below with [soldered] [sealed] transverse seam.

2. [Leave seams upright] [Fold over seams] after locking at ridges and hips.

G. Batten-Seam Roofing: Attach batten-seam metal panels to substrate with cleats, starting at eave and working upward toward ridge. Hold cleats in place with battens and fold edges of cleats over to hold panels. After panels are in place and before batten cap is installed, apply continuous bead of sealant to top of upturned flanges of each panel. Install batten cap covering batten and panel edges, and fold batten cap and panel together so batten cap and panel edges are completely engaged in seams.

1. Hook each panel to panel below with [soldered] [sealed] transverse seam.

3.5 ACCESSORY INSTALLATION

Revise "General" Paragraph below to suit Project. Delete items not required.

A. General: Install accessories with positive anchorage to building and weathertight mounting, and provide for thermal expansion. Coordinate installation with flashings and other components.

1. Install components required for complete sheet metal roofing assembly including trim, copings, seam covers, flashings, sealants, gaskets, fillers, metal closures, closure strips, and similar items.

Retain subparagraph below if accessories specified in referenced Section are to be installed as part of the Work of this Section.

2. Install accessories integral to sheet metal roofing that are specified in Section 076200 "Sheet Metal Flashing and Trim" to comply with that Section's requirements.

B. Flashing and Trim: Comply with performance requirements, manufacturer's written installation instructions, and SMACNA's "Architectural Sheet Metal Manual." Provide concealed fasteners where possible, and install units true to line, levels, and slopes. Install work with laps, joints, and seams that are permanently watertight and weather resistant.

3.6 CLEANING AND PROTECTION

Retain first paragraph below for metal surfaces unless metal is painted, coated, or lacquered.

A. Clean exposed metal surfaces of substances that interfere with uniform oxidation and weathering.

Retain first paragraph below for soldered joints.

B. Clean and neutralize flux materials. Clean off excess solder.

C. Clean off excess sealants.

D. Remove temporary protective coverings and strippable films as sheet metal roofing is installed unless otherwise indicated in manufacturer's written installation instructions.

END OF SECTION 076100

	SHEET METAL ROOFING
	076100 - 1



