Copyright 2010 AIA
MasterSpec Professional
08/10

Copyright 2010 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 077253 - SNOW GUARDS
TIPS:
To view non-printing Editor's Notes that provide guidance for editing, click on Masterworks/Single‑File Formatting/Toggle/Editor's Notes.
To read detailed research, technical information about products and materials, and coordination checklists, click on Masterworks/Supporting Information.

Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect." Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 SUMMARY

A. Section Includes:

1. Pad-type, flat-mounted snow guards.

2. Pad-type, seam-mounted snow guards.

3. Rail-type, flat-mounted snow guards.

4. Rail-type, seam-mounted snow guards.

1.2 ACTION SUBMITTALS

A. Product Data: For each type of product.

B. Shop Drawings: Include roof plans showing layouts and attachment details of snow guards.

1. Include calculation of number and location of snow guards based on snow load, roof slope, roof type, components, spacings, and finish.

C. Samples.

1.3 INFORMATIONAL SUBMITTALS

Retain "Product test reports" Paragraph below if retaining "Structural Performance" Paragraph in "Performance Requirements" Article.

A. Product test reports.

PART 2 -  PRODUCTS

See Editing Instruction No. 1 in the Evaluations for cautions about named manufacturers and products. For an explanation of options and Contractor's product selection procedures, see Section 016000 "Product Requirements."

2.1 PERFORMANCE REQUIREMENTS

A. Performance Requirements: Provide snow guards that withstand exposure to weather and resist thermally induced movement without failure, rattling, or fastener disengagement due to defective manufacture, fabrication, installation, or other defects in construction.

Differential values in "Temperature Change" Subparagraph below (for aluminum in particular) are suitable for most of the U.S.

1. Temperature Change: [120 deg F (67 deg C), ambient; 180 deg F (100 deg C), material surfaces] <Insert temperature change>.

Retain "Structural Performance" Paragraph below if detailed design is assigned to manufacturer.

B. Structural Performance:

1. Snow Loads: [As indicated on Drawings] <Insert loading requirements>.

2.2 PAD-TYPE SNOW GUARDS

Flat-mounted metal systems may be recommended by manufacturers for slate, clay or concrete tile, wood shake, asphalt shingle, and metal roofing. Consult manufacturer's literature for specific applications.

A. Flat-Mounted Metal Snow Guard Pads:

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, [provide products by the following] [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to identify a specific product or a comparable product from manufacturers listed. Retain option and delete insert note if manufacturer's name and model number are indicated on Drawings.

2. Basis-of-Design Product: Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. Alpine SnowGuards; a division of Vermont Slate & Copper Services, Inc.

b. Berger Building Products.

c. PMC Industries, Inc.

d. Roofers Edge.

e. Sieger Snow Guards Inc.

f. Sno-Gem, Inc.

g. SnoGuard.

h. TRA-MAGE, Inc.

i. Zaleski Snow-Guards for Roofs, Inc.

j. <Insert manufacturer's name>.

3. Material: [Aluminum] [Cast aluminum] [Cast bronze] [Copper sheet] [Zinc sheet] [Zinc-tin-alloy-coated copper sheet] [Stainless-steel sheet] [Manufacturer's standard noncorrosive metal] <Insert material>.

Retain "Finish and Color" Subparagraph below for color-coated snow guards; otherwise, retain "Finish" Subparagraph.

4. Finish and Color: Powder coat; [color as selected by Architect from manufacturer's full range] <Insert color>.

5. Finish: [Mill] [Factory-primed black epoxy] <Insert finish>.

B. Seam-Mounted Metal Snow Guard Pads:

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, [provide products by the following] [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to identify a specific product or a comparable product from manufacturers listed. Retain option and delete insert note if manufacturer's name and model number are indicated on Drawings.

2. Basis-of-Design Product: Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. Alpine SnowGuards; a division of Vermont Slate & Copper Services, Inc.

b. Berger Building Products.

c. <Insert manufacturer's name>.

Retain "Material, Finish, and Color" Subparagraph below for color-coated snow guards; otherwise, retain "Material and Finish" Subparagraph.

3. Material, Finish, and Color: Cast aluminum; powder coat; [color as selected by Architect from manufacturer's full range] <Insert color>.

4. Material and Finish: [Cast aluminum; mill] [Cast aluminum; factory-primed black epoxy] [Cast bronze; polished] [Cast brass; polished] <Insert material and finish>.

2.3 RAIL-TYPE SNOW GUARDS

A. Flat-Mounted, Rail-Type Snow Guards:

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, [provide products by the following] [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to identify a specific product or a comparable product from manufacturers listed. Retain option and delete insert note if manufacturer's name and model number are indicated on Drawings.

2. Basis-of-Design Product: Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. Alpine SnowGuards; a division of Vermont Slate & Copper Services, Inc.

b. Berger Building Products.

c. Sieger Snow Guards Inc.

d. SnoGuard.

e. Snow Management Systems; a division of Contek, Inc.

f. TRA-MAGE, Inc.

g. <Insert manufacturer's name>.

3. Description: Units fabricated from metal baseplate anchored to [adjustable] [fixed] bracket and equipped with [two] [three] bars.

4. Brackets and Baseplate: [Aluminum] [Bronze or brass] [Stainless steel] <Insert material>.

5. Bars: [Aluminum; mill finished] [Aluminum; clear anodized] [Stainless steel; mill finished] <Insert material>.

B. Seam-Mounted, Rail-Type Snow Guards:

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, [provide products by the following] [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to identify a specific product or a comparable product from manufacturers listed. Retain option and delete insert note if manufacturer's name and model number are indicated on Drawings.

2. Basis-of-Design Product: Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. Alpine SnowGuards; a division of Vermont Slate & Copper Services, Inc.

b. LMCurbs.

c. Metal Roof Innovations, Ltd.; S-5! Attachment Solutions.

d. Snow Management Systems; a division of Contek, Inc.

e. TRA-MAGE, Inc.

f. <Insert manufacturer's name>.

Last option in "Description" Subparagraph below corresponds with proprietary "ColorGard" system by Metal Roof Innovations and is licensed through some other manufacturers.

3. Description: Snow guard rails fabricated from metal pipes, bars, or extrusions, anchored to brackets and equipped with [one rail] [two rails] [three rails] [one rail with color-matching inserts of material and finish used for metal roofing].

Retain one of three "Material and Finish" subparagraphs below.

4. Material and Finish: Aluminum; [mill] [clear anodized] <Insert finish>.

5. Material and Finish: Stainless steel; [mill] [No. 2B] [No. 4] <Insert finish>.

6. Material and Finish: Brass; [polished] <Insert finish>.

PART 3 -  EXECUTION

3.1 EXAMINATION

A. Examine substrates and conditions, with Installer present, for compliance with requirements for installation tolerances, snow guard attachment, and other conditions affecting performance of the Work.

3.2 INSTALLATION

A. Install snow guards according to manufacturer's written instructions.[ Space rows as recommended by manufacturer.]

Retain paragraph(s) below for roofing and snow guard types used for Project.

B. Attachment for Asphalt Shingle Roofing:

1. Flat-Mounted, Snow Guard Pads: [Mechanically anchored through predrilled holes concealed by the shingles] [Retrofit mechanical anchor and counterflashing sleeve system] <Insert attachment>.

2. Flat-Mounted, Rail-Type Snow Guards: [Mounting plates bolted or screwed to the roof in place of a shingle] <Insert requirement>.

C. Attachment for Wood Shingle and Shake Roofing:

1. Flat-Mounted, Snow Guard Pads: [Mechanically anchored through predrilled holes concealed by the shingles] [Retrofit mechanical anchor and counterflashing sleeve system] [Hook and mechanically anchored through predrilled holes concealed by shingles and shakes] <Insert attachment>.

2. Flat-Mounted, Rail-Type Snow Guards: [Mounting plates bolted or screwed to the roof in place of a shingle] <Insert requirement>.

D. Attachment for Slate Shingle Roofing:

1. Flat-Mounted, Snow Guard Pads: [Mechanically anchored through predrilled holes concealed by the shingles] [Retrofit strap and hook system] [Retrofit mechanical anchor and counterflashing sleeve system] [Hook and mechanically anchored through predrilled holes concealed by shingles and shakes] <Insert attachment>.

2. Flat-Mounted, Rail-Type Snow Guards: [Mounting plates bolted or screwed to the roof in place of a shingle] <Insert requirement>.

E. Attachment for Metal Shingle Roofing:

1. Flat-Mounted, Snow Guard Pads: [Mechanical anchor and counterflashing sleeve system] <Insert attachment>.

F. Attachment for Tile Roofing:

1. Flat-Mounted, Snow Guard Pads: [Hook and mechanically anchored through predrilled holes concealed by roof tiles] <Insert attachment>.

2. Flat-Mounted, Rail-Type Snow Guards: [Mounting plates bolted or screwed to the roof in place of a roof tile] <Insert requirement>.

G. Attachment for Copper Roofing:

1. Flat-Mounted, Snow Guard Pads: [Soldered] <Insert attachment>.

H. Attachment for Standing-Seam Metal Roofing:

1. Do not use fasteners that will penetrate metal roofing, or fastening methods that void metal roofing finish warranty.

2. Seam-Mounted Metal Snow Guard Pads: [Stainless-steel clamps attached to vertical ribs of standing-seam metal roof panels] <Insert attachment>.

3. Seam-Mounted, Rail-Type Snow Guards: [Stainless-steel clamps attached to vertical ribs of standing-seam metal roof panels] <Insert attachment>.

END OF SECTION 077253

	SNOW GUARDS
	077253 - 1



