Copyright 2010 AIA
MasterSpec Professional
08/10

Copyright 2010 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 084229.23 - SLIDING AUTOMATIC ENTRANCES
TIPS:
To view non-printing Editor's Notes that provide guidance for editing, click on Masterworks/Single‑File Formatting/Toggle/Editor's Notes.
To read detailed research, technical information about products and materials, and coordination checklists, click on Masterworks/Supporting Information.

Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect." Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 SUMMARY

A. Section includes [exterior] [and] [interior], sliding, power-operated automatic entrances.

1.2 PREINSTALLATION MEETINGS

A. Preinstallation Conference: Conduct conference at [Project site] <Insert location>.

1.3 ACTION SUBMITTALS

A. Product Data: For each type of product.

B. Shop Drawings: For automatic entrances.

1. Include plans, elevations, sections, hardware mounting heights, and attachment details.

2. Include diagrams for power, signal, and control wiring.

3. Indicate locations of activation and safety devices.

4. Include hardware schedule and indicate hardware types, functions, quantities, and locations.

C. Sample: For each exposed product and for each color and texture specified.

Retain "Delegated-Design Submittal" Paragraph below if design services have been delegated to Contractor.

D. Delegated-Design Submittal: For automatic entrances.

1.4 INFORMATIONAL SUBMITTALS

A. Product certificates.

B. Product test reports.

C. Field quality-control reports.

D. Sample warranties.

1.5 CLOSEOUT SUBMITTALS

A. Operation and maintenance data.

1.6 QUALITY ASSURANCE

A. Installer Qualifications: Manufacturer's authorized representative who is trained and approved for installation and maintenance of units required for this Project[ and who employs a Certified Inspector].

Retain "Certified Inspector Qualifications" Paragraph below if retaining option in "Installer Qualifications" Paragraph above or "Certified Inspector" Paragraph in "Field Quality Control" Article.

B. Certified Inspector Qualifications: Certified by AAADM.

1.7 WARRANTY

A. Special Warranty: Manufacturer agrees to repair or replace components of automatic entrances that fail in materials or workmanship within specified warranty period.

Verify available warranties and warranty periods for units and components.

1. Warranty Period: [Two] <Insert number> years from date of Substantial Completion.

B. Special Finish Warranty: Manufacturer agrees to repair or replace components on which finishes fail in materials or workmanship within specified warranty period.

1. Deterioration includes, but is not limited to, the following:

a. Color fading more than 5 Hunter units when tested according to ASTM D 2244.

b. Chalking in excess of a No. 8 rating when tested according to ASTM D 4214.

c. Cracking, checking, peeling, or failure of paint to adhere to bare metal.

Warranty periods offered by manufacturers vary depending on finish. Verify available warranties and warranty periods for units and components.

2. Warranty Period: [Five] [10] [20] <Insert number> years from date of Substantial Completion.

PART 2 -  PRODUCTS

See Editing Instruction No. 1 in the Evaluations for cautions about named manufacturers and products. For an explanation of options and Contractor's product selection procedures, see Section 016000 "Product Requirements."

2.1 AUTOMATIC ENTRANCE ASSEMBLIES

A. Electrical Components, Devices, and Accessories: Listed and labeled as defined in NFPA 70, by a qualified testing agency, and marked for intended location and application.

B. Power-Operated Door Standard: BHMA A156.10.

2.2 PERFORMANCE REQUIREMENTS

Retain "Delegated Design" Paragraph below if Contractor is required to assume responsibility for design.

A. Delegated Design: Engage a qualified professional engineer, as defined in Section 014000 "Quality Requirements," to design automatic entrances.

B. Wind Loads: <Insert loads>.

In windborne-debris regions of hurricane-prone areas, authorities having jurisdiction may require debris-impact and cyclic-pressure testing for glazed assemblies. Retain first option in "Windborne-Debris Impact Resistance" Paragraph below for entrances within 30 feet (9.1 m) of grade; retain second option for entrances more than 30 feet (9.1 m) above grade according to the IBC.

C. Windborne-Debris Impact Resistance: Automatic entrances shall pass [large-missile-impact] [small-missile-impact] and cyclic-pressure tests of [ASTM E 1996 according to the IBC] <Insert testing and code requirements> for [Wind Zone 1] [Wind Zone 2] [Wind Zone 3] [Wind Zone 4].

D. Thermal Movements: Allow for thermal movements from ambient and surface temperature changes.

Differential values in "Temperature Change" Subparagraph below (for aluminum in particular) are suitable for most of the U.S.

1. Temperature Change: [120 deg F (67 deg C), ambient; 180 deg F (100 deg C), material surfaces] <Insert temperature change>.

First option in "Air Infiltration" Paragraph below at a static-air-pressure difference of 1.57 lbf/sq. ft. (75 Pa) complies with ASHRAE/IESNA 90.1. ASTM E 283 requires using a static-air-pressure difference of 1.57 lbf/sq. ft. (75 Pa) unless otherwise indicated, which is equivalent to a 25-mph (40-km/h) wind. Static-air-pressure difference of 6.24 lbf/sq. ft. (300 Pa) is equivalent to a 50-mph (80-km/h) wind.

E. Air Infiltration: Maximum air leakage through fixed glazing and framing areas of [1.25 cfm/sq. ft. (6.4 L/s x sq. m)] <Insert value> of fixed entrance-system area when tested according to ASTM E 283 at a minimum static-air-pressure difference of [1.57 lbf/sq. ft. (75 Pa)] [6.24 lbf/sq. ft. (300 Pa)] <Insert value>.

2.3 SLIDING AUTOMATIC ENTRANCES

A. General: Provide manufacturer's standard automatic entrances including doors, sidelites, framing, headers, carrier assemblies, roller tracks, door operators, controls, and accessories required for a complete installation.

See the table at the end of the Evaluations for a list of manufacturers' products. Use this table in combination with manufacturers' catalogs or product data to insert series, type, model, and designations of other characteristics.

Copy "(All-Glass) (Sliding) (Telescoping) Automatic Entrance" Paragraph below and re-edit for each product.

Insert drawing designation for each product required. Use these designations on Drawings to identify each product.

B. [All-Glass] [Sliding] [Telescoping] Automatic Entrance <Insert drawing designation>:

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, [provide products by the following] [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to identify a specific product or a comparable product from manufacturers listed. Retain option and delete insert note if manufacturer's name and model number are indicated on Drawings.

2. Basis-of-Design Product: Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. [Single-] [and] [Biparting-]Sliding Units:

1) Besam Entrance Solutions; Subsidiary of ASSA ABLOY Entrance Systems.

2) DORMA Automatics; Division of DORMA Group North America.

3) Gildor Automatic Doors.

4) Horton Automatics; a division of Overhead Door Corporation.

5) Hunter Automatics Inc.

6) Nabco Entrances Inc.

7) record-usa.

8) Stanley Access Technologies, LLC; Division of Stanley Security Solutions.

9) Tormax Technologies, Inc.

10) <Insert manufacturer's name>.

b. [Single-] [and] [Biparting-]Telescoping Sliding Units:

1) Besam Entrance Solutions; Subsidiary of ASSA ABLOY Entrance Systems.

2) DORMA Automatics; Division of DORMA Group North America.

3) Gildor Automatic Doors.

4) Horton Automatics; a division of Overhead Door Corporation.

5) Nabco Entrances Inc.

6) record-usa.

7) Stanley Access Technologies, LLC; Division of Stanley Security Solutions.

8) Tormax Technologies, Inc.

9) <Insert manufacturer's name>.

Retain "Configuration" Subparagraph below. Indicate arrangement and location of doors, sidelites, and transoms on Drawings.

3. Configuration: [Single-] [Biparting-] [Single-telescoping-] [Biparting-telescoping-]sliding door(s) with [transom] [and] [pocketed] sidelite(s).

a. Traffic Pattern: [One] [Two] way.

b. Emergency Breakaway Capability: [As indicated on Drawings] [Sliding leaves only] [Sliding leaves and sidelite].

c. Mounting: [Between jambs] [Surface].

4. Operator Features:

Revise list below to suit Project. Consult manufacturers for availability and necessity of adjustability for specific applications.

a. Power opening and closing.

b. Drive System: [Chain] [or] [belt].

c. Adjustable opening and closing speeds.

d. Adjustable hold-open time between zero and 30 seconds.

e. Obstruction recycle.

f. On-off/hold-open switch to control electric power to operator[, key operated].

g. <Insert features required>.

5. Sliding-Door Carrier Assemblies and Overhead Roller Tracks: Carrier assembly that allows vertical adjustment; consisting of nylon- or delrin-covered, ball-bearing-center steel wheels operating on a continuous roller track, or ball-bearing-center steel wheels operating on a nylon- or delrin-covered, continuous roller track. Support doors from carrier assembly by cantilever and pivot assembly.

a. Rollers: Minimum of two ball-bearing roller wheels and two antirise rollers for each active leaf.

6. Sliding-Door Threshold: Threshold members and bottom-guide-track system with stainless-steel, ball-bearing-center roller wheels.

Retain "Configuration" Subparagraph below, or delete and indicate sill configuration on Drawings.

a. Configuration: [Saddle-type] [No] threshold across door opening and [surface-mounted] [recessed] guide-track system at sidelites.

7. Controls: Activation and safety devices [as indicated on Drawings and ]according to BHMA standards.

Retain option in "Controls" Subparagraph above or retain one activation device and one safety device from "Activation Device" and "Safety Device" subparagraphs below; revise to suit Project.

Motion sensor is the most common activation device, and wall push-plate switch is often used for clean rooms.

a. Activation Device: [Motion sensor mounted on each side of door header to detect pedestrians in activating zone] [Push-plate switch] [Push-plate switch on each side of door] to activate door operator.

b. Safety Device: [Two photoelectric beams mounted in sidelite jambs on each side of door] [Presence sensor mounted to underside of door header and two photoelectric beams mounted in sidelite jambs on one side of the door] [Presence sensor mounted on each side of door header and two photoelectric beams mounted in sidelite jambs on one side of the door] to detect pedestrians in presence zone and to prevent door from closing.

Presence sensor in "Sidelite Safety Device" Subparagraph below is safety device offered by some manufacturers; it is optional feature and in addition to other safety devices.

c. Sidelite Safety Device: Presence sensor, mounted above each sidelite on side of door opening through which doors travel, to detect obstructions and to prevent door from opening.

Revise "Finish" Subparagraph below if different finish is required for components of automatic entrances. If more than one finish is required, indicate location of each on Drawings, in schedules, or by inserts.

8. Finish: Finish framing, door(s), and header with [Class I, clear anodic finish] [Class II, clear anodic finish] [Class I, color anodic finish] [Class II, color anodic finish] [baked-enamel or powder-coat finish] [high-performance organic finish (two-coat fluoropolymer)] [high-performance organic finish (three-coat fluoropolymer)] [finish matching adjacent curtain wall] [finish matching adjacent storefront].

Delete "Color" Subparagraph below only for clear anodic finishes. Color anodic finishes may vary in color range and availability among manufacturers.

a. Color: [Light bronze] [Medium bronze] [Dark bronze] [Black] [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from full range of industry colors and color densities] <Insert color>.

2.4 ENTRANCE COMPONENTS

A. Framing Members: Extruded aluminum, minimum 0.125 inch (3.2 mm) thick and reinforced as required to support imposed loads.

1. Nominal Size: [As indicated on Drawings] [1-3/4 by 4-1/2 inches (45 by 115 mm)] [1-3/4 by 6 inches (45 by 150 mm)] <Insert dimensions>.

Retain "Extruded Glazing Stops and Applied Trim" Subparagraph below for separately framed sidelites or transoms.

2. Extruded Glazing Stops and Applied Trim: Minimum 0.062-inch (1.6-mm) wall thickness.

Retain "Stile and Rail Doors" Paragraph below for stile and rail doors.

B. Stile and Rail Doors: 1-3/4-inch- (45-mm-) thick, glazed doors with minimum 0.125-inch- (3.2-mm-) thick, extruded-aluminum tubular stile and rail members. Mechanically fasten corners with reinforcing brackets that are welded, or incorporate concealed tie-rods that span full length of top and bottom rails.

1. Glazing Stops and Gaskets: Snap-on, extruded-aluminum stops and preformed gaskets.

2. Stile Design: [As indicated on Drawings] [Thin stile, less than 1-3/4-inch (45-mm) nominal width] [Narrow stile, 2-1/8-inch (55-mm) nominal width] [Medium stile, 3-1/2-inch (90-mm) nominal width] [Wide stile, more than 4-inch (100-mm) nominal width].

Last option in "Rail Design" Subparagraph below is required for manual doors along an accessible route but is not required for automatic doors.

3. Rail Design: [As indicated on Drawings] [5-inch (125-mm) nominal height] [6-1/2-inch (165-mm) nominal height] [10-inch (254-mm) nominal height].

Retain "Muntin Bars" Subparagraph below if required. Many manufacturers include muntins as standard.

4. Muntin Bars: Horizontal tubular rail member for each door; match stile design and finish.

Retain "All-Glass Sliding Doors" Paragraph below for all-glass sliding doors.

C. All-Glass Sliding Doors: Fabricated from 13-mm-thick tempered glass, with polished vertical edges and minimum 0.125-inch- (3.2-mm-) thick, extruded-aluminum top and bottom rails.

1. Rail Design: [3-1/2-inch (90-mm)] [5-inch (125-mm)] nominal height.

D. [Sidelite(s)] [and] [Transom]: 1-3/4-inch- (45-mm-) deep [sidelite(s)] [and] [transom] with minimum 0.125-inch- (3.2-mm-) thick, extruded-aluminum tubular stile and rail members matching door design.

Retain one of two "Glazing Stops and Gaskets" subparagraphs below; second is for all-glass sliding doors.

1. Glazing Stops and Gaskets: Same materials and design as for stile and rail door.

2. Glazing Stops and Gaskets: Snap-on, extruded-aluminum stops and preformed gaskets.

Retain "Muntin Bars" Subparagraph below if required for sidelites.

3. Muntin Bars: Horizontal tubular rail members for each sidelite; match stile design.

E. Headers: Fabricated from minimum 0.125-inch- (3.2-mm-) thick extruded aluminum and extending full width of automatic entrance units to conceal door operators and controls. Provide hinged or removable access panels for service and adjustment of door operators and controls. Secure panels to prevent unauthorized access.

1. Mounting: [Surface mounted] [Concealed, with one side of header flush with framing].

F. Signage: As required by cited BHMA standard.

First option in "Application Process" Subparagraph below is most common.

1. Application Process: [Decals] [Silk-screened] [Door manufacturer's standard process] <Insert requirement>.

2.5 MATERIALS

A. Aluminum: Alloy and temper recommended by manufacturer for type of use and finish indicated.

1. Extrusions: ASTM B 221 (ASTM B 221M).

2. Sheet: ASTM B 209 (ASTM B 209M).

B. Steel Reinforcement: Reinforcement with corrosion-resistant primer complying with SSPC-PS Guide No. 12.00 applied immediately after surface preparation and pretreatment. Use surface preparation methods according to recommendations in SSPC-SP COM and prepare surfaces according to applicable SSPC standard.

C. Stainless-Steel Bars: ASTM A 276 or ASTM A 666, [Type 304] [Type 316] <Insert type>.

D. Stainless-Steel Tubing: ASTM A 554, [Grade MT 304] [Grade MT 316] <Insert grade>.

Retain "Expanded Aluminum Mesh" or "Polycarbonate Sheet" Paragraph below for guide-rail infill panel if required. Revise to suit Project or insert another material if required.

E. Expanded Aluminum Mesh: [Expanded] [Expanded and flattened] aluminum sheet according to the geometry of ASTM F 1267.

F. Polycarbonate Sheet: ASTM C 1349, Appendix X1, Type II, coated, mar-resistant, UV-stabilized polycarbonate with coating on both surfaces.

G. Glazing: As specified in [Section 088000 "Glazing."] [Section 088853 "Security Glazing."]

H. Sealants and Joint Fillers: As specified in Section 079200 "Joint Sealants."

I. Nonmetallic, Shrinkage-Resistant Grout: Premixed, nonmetallic, noncorrosive, nonstaining grout; complying with ASTM C 1107/C 1107M; of consistency suitable for application.

J. Bituminous Coating: Cold-applied asphalt emulsion complying with ASTM D 1187.

K. Fasteners and Accessories: Corrosion-resistant, nonstaining, nonbleeding fasteners and accessories compatible with adjacent materials.

2.6 DOOR OPERATORS AND CONTROLS

A. General: Provide operators and controls, which include activation and safety devices, according to BHMA standards, for condition of exposure, and for long-term, maintenance-free operation under normal traffic load for type of occupancy indicated.

B. Door Operators: Provide door operators of size recommended by manufacturer for door size, weight, and movement.

1. Door Operator Performance: Door operators shall open and close doors and maintain them in fully closed position when subjected to Project's design wind loads.

2. Electromechanical Operators: Concealed, self-contained, overhead unit powered by fractional-horsepower, permanent-magnet dc motor; with closing speed controlled mechanically by gear train and dynamically by braking action of electric motor; with solid-state microprocessor controller; UL 325; and with manual operation with power off.

Retain one or more activation and safety devices in this article. Coordinate with devices retained, if any, in "Sliding Automatic Entrances" Article.

C. Motion Sensors: Self-contained, K-band-frequency, microwave-scanner units; fully enclosed by its plastic housing; adjustable to provide detection-field sizes and functions required by BHMA A156.10.

1. Provide capability for switching between bidirectional and unidirectional detection.

2. For one-way traffic, sensor on egress side shall not be active when doors are fully closed.

D. Presence Sensors: Self-contained, active-infrared scanner units; adjustable to provide detection-field sizes and functions required by BHMA A156.10. Sensors shall remain active at all times.

E. Photoelectric Beams: Pulsed infrared, sender-receiver assembly for recessed mounting. Beams shall not be active when doors are fully closed.

F. Push-Plate Switch: Momentary-contact door-control switch with flat push-plate actuator[ with contrasting-colored, engraved message].

1. Configuration: [Round] [Square] [Rectangular] push plate with [4-by-4-inch (100-by-100-mm)] [2-by-4-inch (50-by-100-mm)] junction box.

a. Mounting: [As indicated on Drawings] [Recess mounted, semiflush in wall] [Recess mounted in door jamb] [Surface mounted on wall] [Surface mounted on post].

2. Push-Plate Material: [Stainless steel] [Plastic] as selected by Architect from manufacturer's full range.

3. Message: [Plain face with no message.] ["Push to Open."] [International symbol of accessibility.] [International symbol of accessibility and "Push to Open."]

If required, insert another type of sensing device, switch, or access-control device.

G. Electrical Interlocks: Unless units are equipped with self-protecting devices or circuits, provide electrical interlocks to prevent activation of operator when door is locked, latched, or bolted.

2.7 HARDWARE

Before editing this article, verify requirements for accessible entrances, emergency-exit doors, and other requirements of authorities having jurisdiction.

If various door and hardware combinations are needed, insert requirements in "Sliding Automatic Entrances" Article.

A. General: Provide units in sizes and types recommended by automatic entrance and hardware manufacturers for entrances and uses indicated. Finish exposed parts to match door finish[ unless otherwise indicated].

B. Breakaway Device for Power-Operated Doors: Device that allows door to swing out in direction of egress to full 90 degrees from any operating position. Interrupt powered operation of door operator while in breakaway mode.

C. Deadlocks: Deadbolt operated by exterior cylinder and interior thumb turn, with minimum 1-inch- (25-mm-) long throw bolt; BHMA A156.5, Grade 1.

1. Cylinders: [BHMA A156.5, Grade 1, six-pin mortise type.] [As specified in Section 087100 "Door Hardware."] [As specified in Section 087111 "Door Hardware (Descriptive Specification)."]

a. Keying: [No master] [Integrate into building master] key system.

Retain first option in "Deadbolts" Subparagraph below for stile and rail doors; retain second option for all-glass sliding doors.

2. Deadbolts: [Laminated-steel hook] [Steel], mortise type, BHMA A156.5, Grade 1.

Retain "Two-Point Locking for Stile and Rail Sliding Doors" Subparagraph below if required. Delete if exit devices are required. Verify requirements of authorities having jurisdiction.

3. Two-Point Locking for Stile and Rail Sliding Doors: Mechanism in stile of active door leaf that automatically extends second lockbolt into [overhead carrier assembly] [threshold].

D. Dustproof Strikes for All-Glass Sliding Doors: [Recessed, floor-type, BHMA A156.16, Grade 1, to receive deadbolt.] [As specified in Section 087100 "Door Hardware."] [As specified in Section 087111 "Door Hardware (Descriptive Specification)."]

E. Weather Stripping: Replaceable components.

1. Sliding Type: AAMA 701, made of wool, polypropylene, or nylon woven pile with nylon-fabric or aluminum-strip backing.

2.8 FABRICATION

A. General: Factory fabricate automatic entrance components to designs, sizes, and thicknesses indicated and to comply with indicated standards.

B. Framing: Provide automatic entrances as prefabricated assemblies. Complete fabrication, assembly, finishing, hardware application, and other work before shipment to Project site.

1. Provide components with concealed fasteners and anchor and connection devices.

2. Fabricate components with accurately fitted joints with ends coped or mitered to produce hairline joints free of burrs and distortion.

3. Fabricate exterior components to drain condensation and water passing joints within system to the exterior.

4. Provide anchorage and alignment brackets for concealed support of assembly from building structure.

5. Allow for thermal expansion of exterior units.

C. Doors: Factory fabricated and assembled in profiles indicated. Reinforce as required to support imposed loads and for installing hardware.

D. Door Operators: Factory fabricated and installed in headers, including adjusting and testing.

E. Glazing: Fabricate framing with minimum glazing edge clearances for thickness and type of glazing indicated, according to GANA's "Glazing Manual."

Insert requirements for factory glazing if available from manufacturers. Automatic entrances are generally field glazed.

F. Hardware: Factory install hardware to greatest extent possible; remove only as required for final finishing operation and for delivery to and installation at Project site. Cut, drill, and tap for factory-installed hardware before applying finishes.

1. Provide sliding-type weather stripping, mortised into door, at perimeter of doors[ and breakaway sidelites].

G. Controls:

1. General: Factory install activation and safety devices in doors and headers as required by BHMA A156.10 for type of door and direction of travel.

2.9 ALUMINUM FINISHES

If retaining more than one finish in paragraphs below, indicate location of each on Drawings or by inserts.

Retain one of two options in "Clear Anodic Finish" Paragraph below. Verify availability with manufacturers.

A. Clear Anodic Finish: AAMA 611, [AA-M12C22A41, Class I, 0.018 mm] [AA-M12C22A31, Class II, 0.010 mm] or thicker.

Retain one of two options in "Color Anodic Finish" Paragraph below. Verify availability with manufacturers.

B. Color Anodic Finish: AAMA 611, [AA-M12C22A42/A44, Class I, 0.018 mm] [AA-M12C22A32/A34, Class II, 0.010 mm] or thicker.

"Baked-Enamel or Powder-Coat Finish" Paragraph below references AAMA standard for pigmented organic coating on extrusions and panels.

C. Baked-Enamel or Powder-Coat Finish: AAMA 2603 except with a minimum dry film thickness of 1.5 mils (0.04 mm). Comply with coating manufacturer's written instructions for cleaning, conversion coating, and applying and baking finish.

Retain one of two "High-Performance Organic Finish" paragraphs below; if both are required, indicate location of each system on Drawings, in schedules, or by inserts. Retain AAMA 2604 or AAMA 2605 for high- or superior-performance organic coatings, respectively, on extrusions and panels. If specific products are required, name coating manufacturers and products.

D. High-Performance Organic Finish: Two-coat fluoropolymer finish complying with [AAMA 2604] [AAMA 2605] and containing not less than [50] [70] percent PVDF resin by weight in color coat. Prepare, pretreat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturers' written instructions.

E. High-Performance Organic Finish: Three-coat fluoropolymer finish complying with AAMA 2605 and containing not less than [50] [70] percent PVDF resin by weight in both color coat and clear topcoat. Prepare, pretreat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturers' written instructions.

PART 3 -  EXECUTION

3.1 INSTALLATION

A. General: Install automatic entrances according to manufacturer's written instructions and cited BHMA standard for direction of pedestrian travel, including signage, controls, wiring, and connection to the building's power supply.

1. Do not install damaged components. Fit frame joints to produce hairline joints free of burrs and distortion. Rigidly secure nonmovement joints. Seal joints watertight.

2. Where aluminum will contact dissimilar metals, protect against galvanic action by painting contact surfaces with primer or by applying sealant or tape recommended by manufacturer for this purpose.

3. Where aluminum will contact concrete or masonry, protect against corrosion by painting contact surfaces with bituminous coating.

B. Entrances: Install automatic entrances plumb and true in alignment with established lines and grades without warp or rack of framing members and doors. Anchor securely in place.

Retain first subparagraph below for field-installed hardware items.

1. Install surface-mounted hardware using concealed fasteners to greatest extent possible.

2. Set headers, carrier assemblies, tracks, operating brackets, and guides level and true to location with anchorage for permanent support.

3. Install components to drain water passing joints, condensation occurring within framing members, and moisture migrating within system to exterior.

4. Level recesses for recessed thresholds using nonshrink grout.

C. Door Operators: Connect door operators to electrical power distribution system.

Retain "Access-Control Devices" Paragraph below only if access-control devices are inserted in Part 2.

D. Access-Control Devices: Connect access-control devices to access-control system as specified in Section 281300 "Access Control."

E. Controls: Install and adjust activation and safety devices according to manufacturer's written instructions and cited BHMA standard for direction of pedestrian travel. Connect control wiring according to Section 260519 "Low-Voltage Electrical Power Conductors and Cables."

Retain "Glazing" Paragraph below unless factory glazing is required in Part 2.

F. Glazing: Install glazing as specified in [Section 088000 "Glazing."] [Section 088853 "Security Glazing."]

G. Sealants: Comply with requirements specified in Section 079200 "Joint Sealants" to provide weathertight installation.

1. Set [thresholds, ] [bottom-guide-track system, ]framing members and flashings in full sealant bed.

2. Seal perimeter of framing members with sealant.

H. Signage: Apply signage on both sides of each door[ and breakaway sidelite] as required by cited BHMA standard for direction of pedestrian travel.

I. Wiring within Automatic Entrance Enclosures: Bundle, lace, and train conductors to terminal points with no excess and without exceeding manufacturer's written limitations on bending radii. Provide and use lacing bars and distribution spools.

3.2 FIELD QUALITY CONTROL

Retain "Certified Inspector" and "Perform the following tests and inspections" paragraphs below to identify who shall perform tests and inspections. If retaining second option in "Certified Inspector" Paragraph or if retaining "Perform the following tests and inspections" Paragraph, retain "Field quality-control reports" Paragraph in "Informational Submittals" Article.

A. Certified Inspector: [Owner will engage] [Engage] a Certified Inspector to test and inspect components, assemblies, and installations, including connections.

Retain "Perform the following tests and inspections" Paragraph below to require Contractor to perform tests and inspections.

B. Perform the following tests and inspections[ with the assistance of a factory-authorized service representative]:

1. Test and inspect each automatic entrance, using AAADM inspection forms, to determine compliance of installed systems with applicable BHMA standards.

See Section 014000 "Quality Requirements" for retesting and reinspecting requirements and Section 017300 "Execution" for requirements for correcting the Work.

C. Automatic entrances will be considered defective if they do not pass tests and inspections.

D. Prepare test and inspection reports.

3.3 ADJUSTING

A. Adjust hardware, moving parts, door operators, and controls to function smoothly, and lubricate as recommended by manufacturer; comply with requirements of applicable BHMA standards.

B. Readjust door operators and controls after repeated operation of completed installation equivalent to three days' use by normal traffic (100 to 300 cycles).

3.4 DEMONSTRATION

A. Engage a factory-authorized service representative to train Owner's maintenance personnel to adjust, operate, and maintain automatic entrances.

END OF SECTION 084229.23

	SLIDING AUTOMATIC ENTRANCES
	084229.23 - 1



