Copyright 2011 AIA
MasterSpec Professional
11/11

Copyright 2011 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 085413 - FIBERGLASS WINDOWS
TIPS:
To view non-printing Editor's Notes that provide guidance for editing, click on Masterworks/Single‑File Formatting/Toggle/Editor's Notes.
To read detailed research, technical information about products and materials, and coordination checklists, click on Masterworks/Supporting Information.

Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect." Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

PART 1 -  GENERAL

1.1 SUMMARY

A. Section includes fiberglass-framed windows.

1.2 ACTION SUBMITTALS

A. Product Data: For each type of product.

B. Shop Drawings: Include plans, elevations, sections, hardware, accessories, insect screens, operational clearances, and details of installation, including anchor, flashing, and sealant installation.

C. Samples: For each exposed product and for each color specified, [2 by 4 inches (50 by 100 mm)] <Insert dimensions> in size.

D. Product Schedule: For fiberglass windows. Use same designations indicated on Drawings.

1.3 INFORMATIONAL SUBMITTALS

A. Product test reports.

B. Sample warranties.

1.4 QUALITY ASSURANCE

Coordinate "Mockups" Paragraph below with Section 072700 "Air Barriers" for building and preconstruction testing of integrated wall mockups that include windows; insert additional requirements if applicable.

A. Mockups: Build mockups to verify selections made under Sample submittals and to demonstrate aesthetic effects and set quality standards for materials and execution.

1.5 WARRANTY

A. Manufacturer's Warranty: Manufacturer agrees to repair or replace fiberglass windows that fail in materials or workmanship within specified warranty period.

Verify available warranties and warranty periods for units and components. Some manufacturers might insist that warranty periods begin on date of manufacture or sale.

1. Warranty Period:

a. Window: [10] <Insert number> years from date of Substantial Completion.

Warranty period for glazing units varies by type.

b. Glazing Units: [Five] [10] [20] <Insert number> years from date of Substantial Completion.

PART 2 -  PRODUCTS

See Editing Instruction No. 1 in the Evaluations in Section 085000 "Windows" for cautions about named manufacturers and products. For an explanation of options and Contractor's product selection procedures, see Section 016000 "Product Requirements."

2.1 MANUFACTURERS

Retain "Manufacturers" Paragraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

A. Manufacturers: Subject to compliance with requirements, [provide products by the following] [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

Retain "Basis-of-Design Product" Paragraph and list of manufacturers below to identify a specific product or a comparable product from manufacturers listed. Retain option and delete insert note if manufacturer's name and model number are indicated on Drawings.

B. Basis-of-Design Product: Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

Retain manufacturers in list below after verifying availability and suitability of products for applications indicated. Insert other manufacturers if required.

1. Duxton Windows and Doors.

2. Fibertec Window and Door Manufacturing.

3. Inline Fiberglass Ltd.

4. Milgard Windows, Inc.

5. Pella Corporation.

6. Serious Materials Inc.

7. Thermotech Windows Ltd.

8. <Insert manufacturer's name>.

2.2 WINDOW PERFORMANCE REQUIREMENTS

See the Evaluations in Section 085000 "Windows" for discussions of performance requirements. Coordinate performance requirements with types of window operation (e.g., casement or double hung), glass type, and other variables. If performance requirements vary among types of windows, insert language to differentiate requirements among window types or show requirements in a schedule on Drawings.

A. Product Standard: AAMA/WDMA/CSA 101/I.S.2/A440.

1. Minimum Performance Class: [R] [LC] [CW] [As indicated on Drawings] <Insert class>.

AAMA/WDMA/CSA 101/I.S.2/A440 establishes a gateway Performance Grade for windows to qualify for each Performance Class. The gateway Performance Grade is 15 for Class R, 25 for Class LC, and 30 for Class CW. For a particular project, the minimum Performance Grade for windows is typically based on the design pressure.

2. Minimum Performance Grade: [15] [20] [25] [30] [35] [40] [45] [As indicated on Drawings] <Insert grade>.

Retain "Thermal Transmittance" Paragraph below if required to comply with requirements of authorities having jurisdiction. Options below are based on Energy Star requirements effective January 2010. First option is for Northern Climate Zone, second is for North-Central Climate Zone, third is for South-Central Climate Zone, and fourth is for Southern Climate Zone.

B. Thermal Transmittance: NFRC 100 maximum whole-window U-factor of [0.30 Btu/sq. ft. x h x deg F (1.71 W/sq. m x K)] [0.32 Btu/sq. ft. x h x deg F (1.83 W/sq. m x K)] [0.35 Btu/sq. ft. x h x deg F (2.0 W/sq. m x K)] [0.60 Btu/sq. ft. x h x deg F (3.43 W/sq. m x K)] <Insert value>.

Options in "Solar Heat-Gain Coefficient (SHGC)" Paragraph below are based on Energy Star requirements effective January 2010. First option is for North-Central Climate Zone, second is for South-Central climate zone, and third is for Southern Climate zone.

C. Solar Heat-Gain Coefficient (SHGC): NFRC 200 maximum whole-window SHGC of [0.40] [0.30] [0.27] <Insert value>.

Insert rating requirements for sound transmission class or outside-inside transmission class if required.

For projects in hurricane-prone locations, insert windborne-debris-resistance requirements.

2.3 FIBERGLASS WINDOWS

A. Operating Types: [As indicated on Drawings] <Insert types>.

AAMA/WDMA/CSA 101/I.S.2/A440 includes requirements for fiberglass and other materials and window components. If more stringent requirements apply, insert them in this article.

B. Frames and Sashes: Pultruded fiberglass complying with AAMA/WDMA/CSA 101/I.S.2/A440 and with exposed exterior fiberglass surfaces finished with manufacturer's standard enamel coating complying with [AAMA 613] [AAMA 623].

1. Exterior Color: [Color selected by Architect from manufacturer's full range] <Insert color>.

2. Interior Finish: [Matching exterior color and finish] [Matching exterior finish, in color selected by Architect from manufacturer's full range] [Wood veneer clad, maple] [Wood veneer clad, oak] <Insert finish>.

Retain "Glass" or "Insulating-Glass Units" Paragraph below to suit Project, or revise if other type of glazing unit is necessary.

C. Glass: Clear annealed glass, ASTM C 1036, Type 1, Class 1, q3.

1. Kind: Fully tempered [where indicated on Drawings] <Insert requirements>.

D. Insulating-Glass Units: ASTM E 2190.

1. Glass: ASTM C 1036, Type 1, Class 1, q3.

a. Tint: [Clear] [Gray] [Bronze] [Green] <Insert tint>.

b. Kind: Fully tempered [where indicated on Drawings] <Insert requirements>.

2. Lites: [Two] [Three].

3. Filling: Fill space between glass lites with [air] [argon].

4. Low-E Coating: [Pyrolytic on second surface] [Sputtered on second surface] [Sputtered on third surface] [Sputtered on second or third surface] <Insert coating>.

Insert requirements for integral louver blinds if needed.

E. Glazing System: Manufacturer's standard factory-glazing system that produces weathertight seal.

Nonmagnetic stainless steel, Series 300, or a superior corrosion-resistant-coated metal may be required to meet specific customer or regional needs and for protection against corrosive environments, such as in urban, coastal, or industrial areas.

F. Hardware, General: Manufacturer's standard corrosion-resistant hardware sized to accommodate sash weight and dimensions.

1. Exposed Hardware Color and Finish: [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range] <Insert color and finish>.

G. Projected Window Hardware:

1. Gear-Type Rotary Operators: Complying with AAMA 901 when tested according to ASTM E 405, Method A. Provide operators that function without requiring the removal of interior screens or using screen wickets.

a. Type and Style: [Match Architect's sample] [As selected by Architect from manufacturer's full range of types and styles] <Insert requirements>.

2. Hinges: Manufacturer's standard type for sash weight and size indicated.

3. Single-Handle Locking System: Operates positive-acting arms that pull sash into locked position. Provide one arm on sashes up to 27-1/2 inches (700 mm) tall and two arms on taller sashes.

4. Limit Devices: Limit clear opening to [4 inches (100 mm)] [6 inches (150 mm)] <Insert dimension> for ventilation; with custodial key release.

H. Hung Window Hardware:

1. Counterbalancing Mechanism: AAMA 902.

2. Locks and Latches: Operated from the inside only.

3. Tilt Hardware: Releasing tilt latch allows sash to pivot about horizontal axis.

I. Horizontal-Sliding Window Hardware:

1. Sill Cap/Track: Designed to comply with performance requirements indicated and to drain to the exterior.

2. Locks and Latches: Operated from the inside only.

3. Roller Assemblies: Low-friction design.

J. Weather Stripping: Provide full-perimeter weather stripping for each operable sash unless otherwise indicated.

K. Fasteners: Noncorrosive and compatible with window members, trim, hardware, anchors, and other components.

Generally retain "Exposed Fasteners" Subparagraph below. Revise if exposed fasteners are permitted.

1. Exposed Fasteners: Do not use exposed fasteners to the greatest extent possible. For application of hardware, use fasteners that match finish hardware being fastened.

2.4 ACCESSORIES

Retain "Dividers (False Muntins)" Paragraph below if dividers are required. Indicate divider patterns on Drawings or insert requirements. Revise if muntins (true divided lites) are required.

A. Dividers (False Muntins): Provide divider grilles in designs indicated for each sash lite.

1. Quantity and Type: [One per sash, removable from exposed surface of interior lite] [Two per sash, removable from exposed surfaces of interior and permanently located at exterior lite] [One permanently located between insulating-glass lites] <Insert requirements>.

2. Material: [Manufacturer's standard] <Insert material>.

3. Pattern: [As indicated on Drawings] <Insert pattern>.

4. Profile: [As selected by Architect from manufacturer's full range] <Insert profile>.

5. Color: [As selected by Architect from manufacturer's full range] <Insert color>.

B. Jamb Extensions: [Stain-grade Pacific Hemlock] <Insert description>.

Insert requirements for mullion covers and trim pieces, such as brick molds, if needed.

2.5 INSECT SCREENS

A. General: Fabricate insect screens to integrate with window frame. Provide screen for each operable exterior sash. Screen wickets are not permitted.

1. Type and Location: [Full, inside for project-out] [Full, outside for project-in] [Full, outside for double-hung] [Half, outside for single-hung] [Full, outside for sliding] [Half, outside for sliding] sashes.

B. Aluminum Frames: Complying with SMA 1004 or SMA 1201.

1. Finish for Interior Screens: Baked-on organic coating in [color selected by Architect from manufacturer's full range] <Insert color>.

2. Finish for Exterior Screens: [Baked-on organic coating in color selected by Architect from manufacturer's full range] [Matching color and finish of cladding] <Insert finish>.

Usually retain first option in "Glass-Fiber Mesh Fabric" Paragraph. Second option is suitable for areas plagued by small insects such as no-see-ums and is also suitable for use as a solar screen that blocks up to 65 percent of incident solar heat and glare.

C. Glass-Fiber Mesh Fabric: [18-by-14 (1.1-by-1.4-mm) or 18-by-16 (1.0-by-1.1-mm)] [20-by-20 (0.85-by-0.85-mm) or 20-by-30 (0.85-by-0.42-mm)] <Insert type> mesh complying with ASTM D 3656.

1. Mesh Color: [Manufacturer's standard] <Insert color>.

2.6 FABRICATION

A. Fabricate fiberglass windows in sizes indicated. Include a complete system for installing and anchoring windows.

B. Glaze fiberglass windows in the factory.

C. Weather strip each operable sash to provide weathertight installation.

D. Provide mullions and cover plates, matching window units, complete with anchors for support to structure and installation of window units. Allow for erection tolerances and provide for movement of window units due to thermal expansion and building deflections. Provide mullions and cover plates capable of withstanding design wind loads of window units.

E. Complete fabrication, assembly, finishing, hardware application, and other work in the factory to greatest extent possible. Disassemble components only as necessary for shipment and installation. Allow for scribing, trimming, and fitting at Project site.

PART 3 -  EXECUTION

3.1 INSTALLATION

A. Comply with manufacturer's written instructions for installing windows, hardware, accessories, and other components. For installation procedures and requirements not addressed in manufacturer's written instructions, comply with installation requirements in ASTM E 2112.

B. Install windows level, plumb, square, true to line, without distortion, anchored securely in place to structural support, and in proper relation to wall flashing and other adjacent construction to produce weathertight construction.

C. Adjust operating sashes and hardware for a tight fit at contact points and weather stripping for smooth operation and weathertight closure.

D. Clean exposed surfaces immediately after installing windows. Remove excess sealants, glazing materials, dirt, and other substances.

E. Remove and replace sashes if glass has been broken, chipped, cracked, abraded, or damaged during construction period.

END OF SECTION 085413

	FIBERGLASS WINDOWS
	085413 - 1



