Copyright 2011 AIA
MasterSpec Professional
02/11

Copyright 2011 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 092216 - NON-STRUCTURAL METAL FRAMING
TIPS:
To view non-printing Editor's Notes that provide guidance for editing, click on Masterworks/Single‑File Formatting/Toggle/Editor's Notes.
To read detailed research, technical information about products and materials, and coordination checklists, click on Masterworks/Supporting Information.

Revise this Section by deleting and inserting text to meet Project-specific requirements.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 SUMMARY

A. Section Includes:

1. Non-load-bearing steel framing systems for interior gypsum board assemblies.

2. Suspension systems for interior gypsum ceilings and soffits.

1.2 ACTION SUBMITTALS

A. Product Data: For each type of product.

B. LEED Submittals:

1. Product Data for Credit MR 4: For products having recycled content, documentation indicating percentages by weight of postconsumer and preconsumer recycled content. Include statement indicating costs for each product having recycled content.

PART 2 -  PRODUCTS

See Editing Instruction No. 1 in the Evaluations for cautions about named manufacturers and products. For an explanation of options and Contractor's product selection procedures, see SECTION 016000 "Product Requirements."

2.1 PERFORMANCE REQUIREMENTS

Retain "Fire-Test-Response Characteristics" Paragraph below if framing is part of fire-resistance-rated assemblies. Indicate design designations of specific assemblies on Drawings.

A. Fire-Test-Response Characteristics: Provide materials and construction identical to those tested according to ASTM E 119.

Retain "STC-Rated Assemblies" Paragraph below where framing is part of STC-rated assemblies.

B. STC-Rated Assemblies: Provide materials and construction identical to those tested in assembly indicated according to ASTM E 90 and classified according to ASTM E 413.

2.2 FRAMING SYSTEMS

Retain "Recycled Content of Steel Products" Paragraph below to specify recycled content if required for LEED-NC, LEED-CI, or LEED-CS Credit MR 4 or LEED Schools Credit MR 4.

A. Recycled Content of Steel Products: Postconsumer recycled content plus one-half of preconsumer recycled content is not less than [25] <Insert number> percent.

B. Steel Studs and Runners: ASTM C 645.[ Use either steel studs and runners or dimpled steel studs and runners of equivalent minimum base-metal thickness.]

1. Minimum Base-Metal Thickness: [As indicated on Drawings] [0.018 inch (0.45 mm)] [0.027 inch (0.68 mm)] [0.033 inch (0.84 mm)].

2. Depth: [As indicated on Drawings] [3-5/8 inches (92 mm)] [6 inches (152 mm)] [4 inches (102 mm)] [2-1/2 inches (64 mm)] [1-5/8 inches (41 mm)].

Retain "Slip-Type Head Joints" Paragraph and one or all of the following types of head joints.

C. Slip-Type Head Joints: Where indicated, provide[ one of] the following in thickness not less than indicated for studs and in width to accommodate depth of studs:

If retaining "Single Long-Leg Runner System" Subparagraph below, indicate type of bridging required on Drawings or by inserts.

1. Single Long-Leg Runner System: ASTM C 645 top runner with 2-inch- (51-mm-) deep flanges, installed with studs friction fit into top runner and with continuous bridging located within 12 inches (305 mm) of the top of studs to provide lateral bracing.

2. Double-Runner System: ASTM C 645 top runners, inside runner with 2-inch- (51-mm-) deep flanges and fastened to studs, and outer runner sized to friction fit inside runner.

3. Deflection Track: Steel sheet top runner manufactured to prevent cracking of finishes due to deflection of structure above.

Retain "Products" Subparagraph and list of manufacturers and products below to require specific products or a comparable product from other manufacturers.

a. Products: Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

1) Dietrich Metal Framing; SLP-TRK Slotted Deflection Track.

2) MBA Building Supplies; [FlatSteel Deflection Track] [Slotted Deflecto Track].

3) Steel Network Inc. (The); [VertiClip SLD] [VertiTrack VTD] Series.

4) Superior Metal Trim; Superior Flex Track System (SFT).

5) Telling Industries; [Vertical Slip Track] [Vertical Slip Track II].

6) <Insert manufacturer's name; product name or designation>.

"Firestop Tracks" Paragraph below specifies firestop tracks for isolating partition framing from structure above in specific fire-resistance-rated assemblies. Products listed may need additional materials to achieve a fire-resistance rating; verify with manufacturer. If retaining, revise to coordinate with rated assemblies and indicate design designations of assemblies on Drawings.

D. Firestop Tracks: Manufactured to allow partition heads to expand and contract with movement of the structure while maintaining continuity of fire-resistance-rated assembly indicated; in thickness not less than indicated for studs and in width to accommodate depth of studs.

Retain "Products" Subparagraph and list of manufacturers and products below to require specific products or a comparable product from other manufacturers.

1. Products: Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. Fire Trak Corp.; Fire Trak System[ attached to studs with Fire Trak Posi Klip].

b. Grace Construction Products; FlameSafe FlowTrak System.

c. Metal-Lite, Inc.; The System.

d. <Insert manufacturer's name; product name or designation>.

Retain "Flat Strap and Backing Plate" Paragraph below for fixture attachment.

E. Flat Strap and Backing Plate: Steel sheet for blocking and bracing in length and width indicated.

1. Minimum Base-Metal Thickness: [As indicated on Drawings] [0.018 inch (0.45 mm)] [0.027 inch (0.68 mm)] [0.033 inch (0.84 mm)] <Insert thickness>.

Retain "Cold-Rolled Channel Bridging" Paragraph below for channel bridging for fixture attachment or lateral bracing.

F. Cold-Rolled Channel Bridging: Steel, 0.053-inch (1.34-mm) minimum base-metal thickness, with minimum 1/2-inch- (13-mm-) wide flanges.

1. Depth: [As indicated on Drawings] [1-1/2 inches (38 mm)] <Insert depth>.

2. Clip Angle: Not less than 1-1/2 by 1-1/2 inches (38 by 38 mm), 0.068-inch- (1.72-mm-) thick, galvanized steel.

G. Hat-Shaped, Rigid Furring Channels: ASTM C 645.

1. Minimum Base-Metal Thickness: [As indicated on Drawings] [0.018 inch (0.45 mm)] [0.033 inch (0.84 mm)] <Insert thickness>.

2. Depth: [As indicated on Drawings] [7/8 inch (22.2 mm)] [1-1/2 inches (38.1 mm)].

H. Resilient Furring Channels: 1/2-inch- (13-mm-) deep, steel sheet members designed to reduce sound transmission.

1. Configuration: [Asymmetrical] [or] [hat shaped].

I. Cold-Rolled Furring Channels: 0.053-inch (1.34-mm) uncoated-steel thickness, with minimum 1/2-inch- (13-mm-) wide flanges.

1. Depth: [As indicated on Drawings] [3/4 inch (19 mm)] <Insert depth>.

2. Furring Brackets: Adjustable, corrugated-edge type of steel sheet with minimum uncoated-steel thickness of 0.033 inch (0.8 mm).

3. Tie Wire: ASTM A 641/A 641M, Class 1 zinc coating, soft temper, 0.062-inch- (1.59-mm-) diameter wire, or double strand of 0.048-inch- (1.21-mm-) diameter wire.

J. Z-Shaped Furring: With slotted or nonslotted web, face flange of [1-1/4 inches (31.8 mm)] <Insert depth>, wall attachment flange of 7/8 inch (22 mm), minimum uncoated-metal thickness of 0.018 inch (0.45 mm), and depth required to fit insulation thickness indicated.

2.3 SUSPENSION SYSTEMS

Retain this article for suspended or furred ceilings or soffits.

A. Tie Wire: ASTM A 641/A 641M, Class 1 zinc coating, soft temper, 0.062-inch- (1.59-mm-) diameter wire, or double strand of 0.048-inch- (1.21-mm-) diameter wire.

B. Hanger Attachments to Concrete:

Retain "Anchors" or "Powder-Actuated Fasteners" Subparagraph below for hanger attachment to concrete decks.

1. Anchors: Capable of sustaining a load equal to [5] <Insert number> times that imposed as determined by ASTM E 488.

a. Type: [Cast-in-place anchor, designed for attachment to concrete forms] [Postinstalled, chemical anchor] [Postinstalled, expansion anchor].

2. Powder-Actuated Fasteners: Capable of sustaining, a load equal to [10] <Insert number> times that imposed as determined by ASTM E 1190.

Retain "Wire Hangers" or "Flat Hangers" Paragraph below.

C. Wire Hangers: ASTM A 641/A 641M, Class 1 zinc coating, soft temper, 0.16 inch (4.12 mm) in diameter.

D. Flat Hangers: Steel sheet, [in size indicated on Drawings] [1 by 3/16 inch (25 by 5 mm) by length indicated] <Insert size>.

E. Carrying Channels: Cold-rolled, commercial-steel sheet with a base-metal thickness of 0.053 inch (1.34 mm) and minimum 1/2-inch- (13-mm-) wide flanges.

1. Depth: [As indicated on Drawings] [2-1/2 inches (64 mm)] [2 inches (51 mm)] [1-1/2 inches (38 mm)].

F. Furring Channels (Furring Members):

Retain applicable subparagraph below or, if more than one is required, indicate locations of each on Drawings.

1. Cold-Rolled Channels: 0.053-inch (1.34-mm) uncoated-steel thickness, with minimum 1/2-inch- (13-mm-) wide flanges, 3/4 inch (19 mm) deep.

2. Steel Studs and Runners: ASTM C 645.[ Use either steel studs and runners or dimpled steel studs and runners of equivalent minimum base-metal thickness.]

a. Minimum Base-Metal Thickness: [As indicated on Drawings] [0.018 inch (0.45 mm)] [0.027 inch (0.68 mm)] [0.033 inch (0.84 mm)].

b. Depth: [As indicated on Drawings] [1-5/8 inches (41 mm)] [2-1/2 inches (64 mm)] [3-5/8 inches (92 mm)].

3. Hat-Shaped, Rigid Furring Channels: ASTM C 645, 7/8 inch (22 mm) deep.

a. Minimum Base-Metal Thickness: [As indicated on Drawings] [0.018 inch (0.45 mm)] [0.033 inch (0.84 mm)] <Insert thickness>.

4. Resilient Furring Channels: 1/2-inch- (13-mm-) deep members designed to reduce sound transmission.

a. Configuration: [Asymmetrical] [or] [hat shaped].

2.4 AUXILIARY MATERIALS

A. Fasteners for Metal Framing: Of type, material, size, corrosion resistance, holding power, and other properties required to fasten steel members to substrates.

B. Isolation Strip at Exterior Walls: Provide[asphalt saturated organic felt] [or] [foam gasket].

PART 3 -  EXECUTION

3.1 INSTALLATION, GENERAL

A. Installation Standard: ASTM C 754.

Standards listed in "Gypsum Plaster Assemblies," "Portland Cement Plaster Assemblies," "Gypsum Veneer Plaster Assemblies," and "Gypsum Board Assemblies" subparagraphs below include framing installation requirements not in ASTM C 754. Retain applicable subparagraphs to suit Project.

1. Gypsum Plaster Assemblies: Also comply with requirements in ASTM C 841 that apply to framing installation.

2. Portland Cement Plaster Assemblies: Also comply with requirements in ASTM C 1063 that apply to framing installation.

3. Gypsum Veneer Plaster Assemblies: Also comply with requirements in ASTM C 844 that apply to framing installation.

4. Gypsum Board Assemblies: Also comply with requirements in ASTM C 840 that apply to framing installation.

B. Install supplementary framing, and blocking to support fixtures, equipment services, heavy trim, grab bars, toilet accessories, furnishings, or similar construction.

C. Install bracing at terminations in assemblies.

D. Do not bridge building control and expansion joints with non-load-bearing steel framing members. Frame both sides of joints independently.

3.2 INSTALLING FRAMED ASSEMBLIES

A. Install framing system components according to spacings indicated, but not greater than spacings required by referenced installation standards for assembly types.

B. Where studs are installed directly against exterior masonry walls or dissimilar metals at exterior walls, install isolation strip between studs and exterior wall.

C. Install studs so flanges within framing system point in same direction.

D. Install tracks (runners) at floors and overhead supports. Extend framing full height to structural supports or substrates above suspended ceilings, except where partitions are indicated to terminate at suspended ceilings. Continue framing around ducts penetrating partitions above ceiling.

1. Slip-Type Head Joints: Where framing extends to overhead structural supports, install to produce joints at tops of framing systems that prevent axial loading of finished assemblies.

2. Door Openings: Screw vertical studs at jambs to jamb anchor clips on door frames; install runner track section (for cripple studs) at head and secure to jamb studs.

a. Install two studs at each jamb unless otherwise indicated.

Retain first subparagraph below if control joints are required at heads of doors.

b. Install cripple studs at head adjacent to each jamb stud, with a minimum 1/2-inch (13-mm) clearance from jamb stud to allow for installation of control joint in finished assembly.

c. Extend jamb studs through suspended ceilings and attach to underside of overhead structure.

3. Other Framed Openings: Frame openings other than door openings the same as required for door openings unless otherwise indicated. Install framing below sills of openings to match framing required above door heads.

4. Fire-Resistance-Rated Partitions: Install framing to comply with fire-resistance-rated assembly indicated and support closures and to make partitions continuous from floor to underside of solid structure.

a. Firestop Track: Where indicated, install to maintain continuity of fire-resistance-rated assembly indicated.

5. Sound-Rated Partitions: Install framing to comply with sound-rated assembly indicated.

6. Curved Partitions:

a. Bend track to uniform curve and locate straight lengths so they are tangent to arcs.

b. Begin and end each arc with a stud, and space intermediate studs equally along arcs. On straight lengths of no fewer than two studs at ends of arcs, place studs 6 inches (150 mm) o.c.

E. Direct Furring:

1. Screw to wood framing.

2. Attach to concrete or masonry with stub nails, screws designed for masonry attachment, or powder-driven fasteners spaced 24 inches (610 mm) o.c.

F. Z-Furring Members:

1. Erect insulation vertically and hold in place with Z-furring members spaced [24 inches (610 mm)] [600 mm] o.c.

2. Except at exterior corners, securely attach narrow flanges of furring members to wall with concrete stub nails, screws designed for masonry attachment, or powder-driven fasteners spaced 24 inches (610 mm) o.c.

3. At exterior corners, attach wide flange of furring members to wall with short flange extending beyond corner; on adjacent wall surface, screw-attach short flange of furring channel to web of attached channel. At interior corners, space second member no more than 12 inches (305 mm) from corner and cut insulation to fit.

"Installation Tolerance" Paragraph below is based on recommendation in GA-216 for wood framing and in ASTM C 840 for metal framing.

G. Installation Tolerance: Install each framing member so fastening surfaces vary not more than 1/8 inch (3 mm) from the plane formed by faces of adjacent framing.

3.3 INSTALLING SUSPENSION SYSTEMS

A. Install suspension system components according to spacings indicated, but not greater than spacings required by referenced installation standards for assembly types.

B. Isolate suspension systems from building structure where they abut or are penetrated by building structure to prevent transfer of loading imposed by structural movement.

C. Suspend hangers from building structure as follows:

1. Install hangers plumb and free from contact with insulation or other objects within ceiling plenum that are not part of supporting structural or suspension system.

a. Splay hangers only where required to miss obstructions and offset resulting horizontal forces by bracing, countersplaying, or other equally effective means.

2. Where width of ducts and other construction within ceiling plenum produces hanger spacings that interfere with locations of hangers, install supplemental suspension members and hangers in the form of trapezes or equivalent devices.

Retain applicable construction types below.

3. Do not attach hangers to steel roof deck.

4. Do not attach hangers to permanent metal forms. Furnish cast-in-place hanger inserts that extend through forms.

5. Do not attach hangers to rolled-in hanger tabs of composite steel floor deck.

6. Do not connect or suspend steel framing from ducts, pipes, or conduit.

Furring channels must be wire tied to supports in most fire-resistance-rated assemblies.

D. Fire-Resistance-Rated Assemblies: Wire tie furring channels to supports.

E. Seismic Bracing: Sway-brace suspension systems [with hangers used for support] <Insert requirements>.

Example tolerance in "Installation Tolerances" Paragraph below is based on ASTM C 636 for acoustical ceilings.

F. Installation Tolerances: Install suspension systems that are level to within [1/8 inch in 12 feet (3 mm in 3.6 m)] <Insert dimensions> measured lengthwise on each member that will receive finishes and transversely between parallel members that will receive finishes.

END OF SECTION 092216

	NON-STRUCTURAL METAL FRAMING
	092216 - 1



