Copyright 2011 AIA
MasterSpec Professional
02/11

Copyright 2011 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 096313 - BRICK FLOORING
TIPS:
To view non-printing Editor's Notes that provide guidance for editing, click on Masterworks/Single‑File Formatting/Toggle/Editor's Notes.
To read detailed research, technical information about products and materials, and coordination checklists, click on Masterworks/Supporting Information.

Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect." Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 SUMMARY

A. Section Includes:

1. Brick flooring set on thickset mortar bed.

2. Brick flooring set in thin-set mortar directly on concrete.

B. Related Sections:

Retain Section in subparagraph below that contains requirements Contractor might expect to find in this Section but are specified in other Sections.

1. Section 321400 "Unit Paving" for brick pavers installed in pavement applications (exterior) rather than as flooring (interior).

1.2 ACTION SUBMITTALS

Retain one of two paragraphs below. If retaining second paragraph, revise list to coordinate with products retained in Part 2.

A. Product Data: For materials other than water and aggregates.

Retain option in paragraph below if flooring is grouted and grout color approval is required.

B. Samples: For each type of brick indicated[ and for grout and accessories involving color selection].

1.3 PROJECT CONDITIONS

A. Environmental Limitations: Do not set brick flooring when air temperature or material temperature is below 40 deg F (4.4 deg C). Maintain minimum ambient temperature of 40 deg F (4.4 deg C) during installation and for 48 hours after completion.

PART 2 -  PRODUCTS

2.1 BRICK PAVERS

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers. Retain first paragraph and list of manufacturers below. See SECTION 016000 "Product Requirements."

A. Manufacturers: Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

1. Acme Brick Company.

2. Belden Brick Company (The).

3. Boral Bricks, Inc.

4. Endicott Clay Products Co.

5. General Shale Brick.

6. Glen-Gery Corporation.

7. Hastings Pavement Company, Inc.

8. Interstate Brick Co.; Division of Pacific Coast Building Products, Inc.

9. I-XL Industries Ltd.

10. Pine Hall Brick.

11. Redland Brick Inc.; Subsidiary of Belden Brick Company (The).

12. Whitacre-Greer.

13. <Insert manufacturer's name>.

Retain one weather class, traffic type, and application in first paragraph below. Class SX is for exposure to freezing weather, and Class MX is for exterior uses that do not expose brick to freezing. Class NX is for interior locations. Type I is for exposure to extensive abrasion, such as sidewalks and driveways in public spaces; Type II is for exposure to intermediate abrasion, such as heavily traveled residential sidewalks and residential driveways; Type III is for exposure to low abrasion, such as floors and patios in single-family homes. Application PS is normal tolerance; Application PX is exceptionally close dimensional tolerances; Application PA is nonuniform sized for characteristic architectural effects. If retaining Application PA, specify tolerances.

B. Brick Pavers: Light-traffic paving brick; ASTM C 902, [Class SX] [Class MX] [Class NX], [Type I] [Type II] [Type III], [Application PS] [Application PX] [Application PA]. Provide brick without frogs or cores in surfaces exposed to view in the completed Work.

Retain first paragraph below and retain applicable options or delete and show dimensions on Drawings. Verify availability of sizes with manufacturers.

C. Size: Actual dimensions as follows:

1. Thickness: [1-1/4 inches (32 mm)] [1-5/8 inches (41 mm)] [2-1/4 inches (57 mm)].

2. Face Dimensions: [3-5/8 by 7-5/8 inches (92 by 194 mm)] [4 by 8 inches (102 by 203 mm)] [3-5/8 by 11-5/8 inches (92 by 295 mm)] [7-5/8 by 7-5/8 inches (194 by 194 mm)].

See Evaluations for discussion of slip resistance and values of static coefficient of friction. If retaining first paragraph below, verify that brick retained for flooring complies with requirements.

D. Static Coefficient of Friction: <Insert required static coefficient of friction> as determined by testing according to ASTM C 1028.

Retain one option in first paragraph below. If retaining first option, indicate colors and textures in a separate schedule.

E. Colors and Textures: [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range].

Generally retain paragraph below if latex-modified mortar or grout is used. Temporary protective coating prevents staining.

F. Temporary Protective Coating: Precoat exposed surfaces of brick pavers[ at factory] with a temporary protective coating that is compatible with brick, mortar, and grout products.

2.2 MORTAR SETTING-BED MATERIALS

A. Portland Cement: ASTM C 150, Type I or II.

Retain first paragraph below if portland cement-lime mortar is retained under mortar mixes.

B. Hydrated Lime: ASTM C 207, Type S.

Revise first paragraph below for latex-modified portland cement mortar bed if latex-additive manufacturer requires coarser aggregate complying with ASTM C 33.

C. Aggregate: ASTM C 144.

Retain first paragraph below for thickset applications if latex additive is required to improve flexibility and other properties of mortar setting bed or if latex additive is used for mortar-bed bond coat.

D. Latex Additive: [Manufacturer's standard] [acrylic resin] [or] [styrene-butadiene-rubber] water emulsion, recommended by latex-additive manufacturer for use with field-mixed portland cement and aggregate mortar bed, and not containing a retarder.

Retain first paragraph below for work over wood subfloor or for isolation of portland cement setting bed from concrete subfloor. See Evaluations.

E. Cleavage Membrane: Asphalt-saturated felt, ASTM D 226, Type I (No. 15); or polyethylene sheeting, ASTM D 4397, 4.0 mils (0.1 mm) thick.

Retain first paragraph below for reinforced mortar bed (always used when cleavage membrane is used). Revise if thicker wire is required. ASTM A 82/A 82M specifies minimum wire size of 0.08 inch (2 mm).

F. Reinforcing Wire Fabric: Galvanized, welded wire fabric, 2 by 2 inches (50.8 by 50.8 mm) by 0.062 inch (1.57 mm) in diameter; comply with ASTM A 185/A 185M.

Retain paragraph below for thin-set applications and for thickset applications if cured mortar-bed installation method is specified. Paragraph can also be used for bond coat with wet-set method.

G. Thin-Set Mortar: Latex-portland cement mortar complying with ANSI A118.4.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers. Retain one of first two subparagraphs and list of manufacturers below. See Section 016000 "Product Requirements."

1. Manufacturers: Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product: Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. Boiardi Products; a QEP company.

b. Bostik, Inc.

c. C-Cure.

d. Custom Building Products.

e. Jamo Inc.

f. Laticrete International, Inc.

g. MAPEI Corporation.

h. Mer-Krete System, ParexLahabra, Inc.

i. ProSpec.

j. Southern Grouts & Mortars, Inc.

k. Summitville Tiles, Inc.

l. TEC, Specialty Construction Brands, Inc.

m. <Insert manufacturer's name>.

2.3 GROUT MATERIALS

Delete this article if Project does not include grouted joints.

Grout in first paragraph below is a Project-site mix of portland cement and fine sand; delete if only factory-prepared products are allowed.

A. Sand-Portland Cement Grout: ANSI A108.10, composed of white or gray cement and white or colored aggregate as required to produce color indicated.

Retain subparagraph below if job-mixed pigmented grout is used. See Evaluations.

1. Colored Mortar Pigments for Grout: Natural and synthetic iron and chromium oxides, compounded for use in mortar and grout mixes. Use only pigments that have proved, through testing and experience, to be satisfactory for use in portland cement grout.

Retain one of first two paragraphs below if packaged grout is used instead of job-mixed grout.

B. Standard Cement Grout: ANSI A118.6, sanded.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers. Retain one of first two subparagraphs and list of manufacturers below. See Section 016000 "Product Requirements."

1. Manufacturers: Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product: Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. Boiardi Products; a QEP company.

b. Bostik, Inc.

c. C-Cure.

d. Custom Building Products.

e. Jamo Inc.

f. Laticrete International, Inc.

g. MAPEI Corporation.

h. Mer-Krete System, ParexLahabra, Inc.

i. ProSpec.

j. Southern Grouts & Mortars, Inc.

k. Summitville Tiles, Inc.

l. TEC, Specialty Construction Brands, Inc.

m. <Insert manufacturer's name>.

C. Polymer-Modified Tile Grout: ANSI A118.7, sanded.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers. Retain one of first two subparagraphs and list of manufacturers below. See Section 016000 "Product Requirements."

1. Manufacturers: Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product: Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. Boiardi Products; a QEP company.

b. Bostik, Inc.

c. C-Cure.

d. Custom Building Products.

e. Jamo Inc.

f. Laticrete International, Inc.

g. MAPEI Corporation.

h. ProSpec.

i. Southern Grouts & Mortars, Inc.

j. Summitville Tiles, Inc.

k. TEC, Specialty Construction Brands, Inc.

l. <Insert manufacturer's name>.

Retain one option in paragraph below. If retaining first option, indicate colors and textures in a separate schedule.

D. Colors: [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range].

2.4 MISCELLANEOUS MATERIALS

A. Expansion- and Control-Joint-Filler Strips: ASTM D 1752, cork or self-expanding cork.

Delete "Sealer" Paragraph below if not required.

B. Sealer: Acrylic-based, slip-resistant, water-emulsion floor finish complying with ASTM D 4078 and specifically recommended by sealer manufacturer for use indicated.

C. Floor Wax: Formulated for use over sealer indicated, acceptable to sealer manufacturer, and specifically recommended by floor-wax manufacturer for use indicated.

Subparagraph below is standard criterion for slip resistance of floor polishes.

1. Slip Resistance: Provide floor wax with static coefficient of friction of at least 0.5 when tested according to ASTM D 2047.

2.5 MIXES

Coordinate mixes in this article with materials and products retained in articles specifying mortar setting-bed and joint materials and their installation.

A. General: Comply with referenced standards and with manufacturers' written instructions. Discard mortars and grout when they have reached their initial set.

Retain one of first two paragraphs below for thickset applications. See Evaluations.

BIA Technical Notes 14 indicates that either option in first paragraph is suitable for interior applications; Type S is preferred for reinforced applications where maximum tensile-bond strength is needed.

B. Portland Cement-Lime Setting-Bed Mortar: [Type S] [Type N] complying with ASTM C 270, Proportion Specification.

C. Latex-Modified Portland Cement Setting-Bed Mortar: Comply with directions of liquid-latex manufacturer and as necessary to produce stiff mixture with a moist surface when bed is ready to receive brick.

Retain first paragraph below for thickset applications if mortar bed is installed directly over concrete. Latex additive can be used in the mortar-bed bond coat with either latex-modified or unmodified portland cement-lime setting-bed mortar; mortar-bed bond coat mixed with water should only be used with unmodified portland cement-lime setting-bed mortar.

D. Mortar-Bed Bond Coat: Mix neat cement and [latex additive] [water] to a creamy consistency.

Retain one of first two paragraphs below with either latex-modified portland cement mortar or unmodified portland cement-lime mortar if wet set installation method is specified. See Evaluations.

E. Latex-Modified Portland Cement Bond Coat: Proportion and mix portland cement, aggregate, and liquid latex for bond coat to comply with directions of liquid-latex manufacturer.

Retain first paragraph below if thin-set application or cured mortar-bed installation method is specified. See Evaluations.

F. Thin-Set Mortar: Proportion and mix thin-set mortar ingredients per manufacturer's directions.

Retain one of two paragraphs below if brick is laid with grouted joints.

G. Job-Mixed Portland Cement Grout: Proportion and mix job-mixed portland cement and aggregate grout to match setting-bed mortar, except omit hydrated lime and use enough water to produce a pourable mixture.

H. Packaged Grout Mix: Proportion and mix grout ingredients according to grout manufacturer's written instructions.

PART 3 -  EXECUTION

3.1 INSTALLATION, GENERAL

A. Remove substances from subfloor that could impair mortar bond, including curing and sealing compounds, form oil, and laitance.

B. Mix bricks from several pallets or cubes, as they are placed, to produce uniform blend of colors and textures.

C. Cut bricks with motor-driven masonry saw equipment to provide clean, sharp, unchipped edges. Use full units without cutting where possible.

Retain one of five patterns in first paragraph below, or revise to suit Project.

D. Joint Pattern: [Running bond] [Herringbone] [Basket weave] [As indicated] [Match existing brick flooring joint pattern].

Retain one of first two paragraphs below. Retain first if brick flooring is set with hand-tight joints; retain second if joints are grouted. Below are examples only. Retain tolerance to suit manufacturing tolerances of pavers; Application PA brick pavers will require large tolerances.

E. Hand-Tight Joints: Set brick with hand-tight joints[ where indicated].

F. Spaced Joint Widths: Provide nominal [3/8-inch (10-mm)] [1/2-inch (13-mm)] joint width with variations not exceeding plus or minus [1/16 inch (1.6 mm)] [1/8 inch (3 mm)] [unless otherwise indicated].

G. Finished-Surface Tolerances: Do not exceed 1/16-inch (1.6-mm) brick-to-brick offset from flush (lippage) nor 1/8 inch in 24 inches (3 mm in 600 mm) and 1/4 inch in 10 feet (6 mm in 3 m) from level, or indicated slope, for finished surface of brick flooring.

H. Expansion and Control Joints: Provide joint filler as backing for sealant-filled joints where indicated. Install joint filler before setting brick flooring.

3.2 THICKSET BRICK FLOORING

Retain this article for brick flooring set in a portland cement mortar bed with a minimum thickness of 3/4 to 1-1/4 inches (19 to 32 mm).

Retain first paragraph below for mortar bed bonded to concrete subfloor. Delete if brick is installed over cleavage membrane or waterproofing.

A. Apply mortar bed to concrete subfloors to comply with the following requirements:

1. Saturate concrete subfloor with clean water several hours before placing setting bed. Remove surface water about one hour before placing setting bed.

2. Apply mortar-bed bond coat over surface of concrete subfloor about 15 minutes before placing mortar bed. Do not exceed 1/16-inch (1.6-mm) thickness for bond coat. Limit area of bond coat to avoid its drying out before placing setting bed.

3. Apply mortar bed immediately after applying mortar-bed bond coat. Spread and screed setting bed to uniform thickness at elevations required for accurate setting of brick to finished elevations indicated.

Retain one of two subparagraphs below, or retain both for Contractor's option. Cure time in second subparagraph is considered minimum for mortar bed under tile, with longer cure considered desirable. Revise if longer cure is required.

4. Brick Wet Set on Workable Mortar Bed: Mix and place only that amount of mortar bed that can be covered with brick before initial set. Cut back, bevel edge, and discard setting-bed material that has reached initial set before placing brick.

5. Brick Set on Cured Mortar Bed: Cure mortar bed for not less than 20 hours at 70 deg F (21 deg C).

Retain first paragraph below for mortar bed applied over cleavage membrane or waterproofing. Delete if bonded mortar bed is the only method required.

B. Apply mortar bed over [cleavage membrane] [waterproofing] to comply with the following requirements:

Delete first subparagraph below if mortar bed is installed directly over waterproofing or protection course and cleavage membrane is not required.

1. Place cleavage membrane over subfloor surfaces indicated to receive brick flooring, lapped at least 4 inches (100 mm) at joints.

2. Place reinforcing wire fabric over membrane, lapped at joints by at least one full mesh and supported so mesh becomes embedded in the middle of setting bed. Hold edges back from vertical surfaces approximately 1/2 inch (13 mm).

3. Place mortar bed over cleavage membrane with reinforcing wire fabric fully embedded in middle of setting bed. Spread and screed setting bed to uniform thickness at elevations required for accurate setting of brick to finished elevations indicated.

Retain one of two subparagraphs below, or retain both for Contractor's option. Cure time in second subparagraph is considered minimum for mortar bed under tile, with longer cure considered desirable. Revise if longer cure is required.

4. Brick Wet Set on Workable Mortar Bed: Mix and place only that amount of mortar bed that can be covered with brick before initial set. Cut back, bevel edge, and discard setting-bed material that has reached initial set before placing brick.

5. Brick Set on Cured Mortar Bed: Cure mortar bed for not less than 20 hours at 70 deg F (21 deg C).

Retain three paragraphs below for Contractor's option to use either wet-set method or cured-bed method. Otherwise, delete first paragraph and retain one of two remaining paragraphs.

C. Install brick either in workable mortar bed or over cured mortar bed at Contractor's option.

D. Install brick in workable mortar bed to comply with the following requirements:

1. Wet brick before laying if the initial rate of absorption exceeds 30 g/30 sq. in. (30 g/194 sq. cm) per minute when tested per ASTM C 67. Allow brick to absorb the water so it is damp but not wet at the time of laying.

2. Place brick before initial set of mortar takes place. Immediately before placing brick on setting bed, apply uniform 1/16-inch- (1.6-mm-) thick bond coat to mortar bed or to back of each brick with a flat trowel.

3. Tamp or beat brick with a wooden block or rubber mallet to obtain full contact with setting bed and to bring finished surfaces within indicated tolerances. Set each brick in a single operation before initial set of mortar; do not return to areas already set and disturb bricks for purposes of realigning finished surfaces or adjusting joints.

E. Install brick over cured mortar bed to comply with the following requirements:

1. Wet brick before laying if the initial rate of absorption exceeds 30 g/30 sq. in. (30 g/194 sq. cm) per minute when tested per ASTM C 67. Allow brick to absorb the water so it is damp but not wet at the time of laying.

2. Apply thin-set mortar to setting bed with notched trowel complying with manufacturer's specifications for notch depth and configuration and in heavy enough layer to provide a minimum mortar-bed thickness of 3/32 to 1/8 inch (2.5 to 3 mm) after bricks are fully embedded. Key the mortar into setting bed with flat side of trowel and comb with notched side of trowel in one direction. Apply only as much mortar as can be covered with brick before initial set (15 to 30 minutes).

3. Place brick while thin-set mortar is still tacky and before initial set takes place. Immediately before placing brick on setting bed, apply skim coat of thin-set mortar to back of brick. Place brick by sliding in direction perpendicular to combed ridges and tamp or beat brick with a small beating block to obtain full contact with setting bed and to bring finished surfaces within indicated tolerances; do not return to areas already set and disturb bricks for purposes of realigning finished surfaces or adjusting joints.

3.3 THIN-SET BRICK FLOORING

Retain this article for brick flooring installed directly over concrete in a thin-set mortar bed, i.e., one that is typically 3/32 to 1/8 inch (2.5 to 3 mm) thick. See Evaluations.

A. Install brick flooring on concrete subfloor with thin-set mortar to comply with the following requirements:

1. Wet brick before laying if the initial rate of absorption exceeds 30 g/30 sq. in. (30 g/194 sq. cm) per minute when tested per ASTM C 67. Allow brick to absorb the water so it is damp but not wet at the time of laying.

2. Apply thin-set mortar to subfloor with notched trowel complying with manufacturer's specifications for notch depth and configuration and in heavy enough layer to provide a minimum mortar-bed thickness of 3/32 to 1/8 inch (2.5 to 3 mm) after bricks are fully embedded. Key the mortar into substrate with flat side of trowel and comb with notched side of trowel in one direction. Apply only as much mortar as can be covered with brick before initial set (15 to 30 minutes).

3. Place brick while mortar is still tacky and before initial set takes place. Immediately before placing brick, apply skim coat of thin-set mortar to back of brick. Place brick by sliding in direction perpendicular to combed ridges, and tamp or beat brick with a small beating block to obtain full contact with mortar and to bring finished surfaces within indicated tolerances; do not return to areas already set and disturb bricks for purposes of realigning finished surfaces or adjusting joints.

3.4 JOINT TREATMENT

A. Hand-Tight Joints: Sweep dry mixture of portland cement and sand into joints, then fog surface with water to set mixture.

Retain three paragraphs below for grouted joints.

B. Grouted Joints: Grout brick joints complying with ANSI A108.10.

C. Grout joints as soon as possible after initial set of setting bed. Force grout into joints, taking care not to smear grout on adjoining brick and other surfaces. After initial set of grout, finish joints by tooling to produce a slightly concave polished joint, free from drying cracks.

D. Cure grout by maintaining it in a damp condition for seven days unless otherwise recommended by grout manufacturer.

3.5 CLEANING AND PROTECTION

A. Cleaning: Remove excess mortar and grout from exposed brick surfaces; wash and scrub clean.

Retain subparagraph below if protective coating is used.

1. Remove protective coating as recommended by protective coating manufacturer and as acceptable to brick and grout manufacturers. Trap and remove coating to prevent it from clogging drains.

Retain paragraph below if sealer and wax are used.

B. Sealing and Waxing: After floor has been cleaned and is thoroughly dry, seal and wax traffic surface of brick flooring in a manner that results in a clear, uniform appearance. Apply sealer and wax in the number of coats and by application methods that comply with written directions of manufacturer of each product. Do not apply wax until sealer has dried.

END OF SECTION 096313

	BRICK FLOORING
	096313 - 1



