Copyright 2010 AIA
MasterSpec Professional
02/10

Copyright 2010 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 098436 - SOUND-ABSORBING CEILING UNITS
TIPS:
To view non-printing Editor's Notes that provide guidance for editing, click on Masterworks/Single‑File Formatting/Toggle/Editor's Notes.
To read detailed research, technical information about products and materials, and coordination checklists, click on Masterworks/Supporting Information.

Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect." Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 SUMMARY

A. Section includes shop-fabricated, fabric-wrapped, sound-absorbing panels tested for acoustical performance.

1.2 PREINSTALLATION MEETINGS

A. Preinstallation Conference: Conduct conference at [Project site] <Insert location>.

1.3 ACTION SUBMITTALS

A. Product Data: For each type of product.

B. LEED Submittals:

1. Product Data for Credit MR 4: For products having recycled content, documentation indicating percentages by weight of postconsumer and preconsumer recycled content. Include statement indicating cost for each product having recycled content.

"Product Certificates for Credit MR 5, Option 1" Subparagraph below applies to LEED-CI.

2. Product Certificates for Credit MR 5, Option 1: For products and materials required to comply with requirements for regionally manufactured materials. Include statement indicating cost, location of manufacturer, and distance to Project for each regionally manufactured material.

"Laboratory Test Reports for Credit IEQ 4" Subparagraph below applies to LEED for Schools.

3. Laboratory Test Reports for Credit IEQ 4: For sound-absorbing ceiling units, documentation indicating that products comply with the testing and product requirements of the California Department of Health Services' "Standard Practice for the Testing of Volatile Organic Emissions from Various Sources Using Small-Scale Environmental Chambers."

C. Shop Drawings: For sound-absorbing ceiling units. Include mounting devices and details.

D. Samples: For each exposed product and for each color and texture specified.

1.4 INFORMATIONAL SUBMITTALS

Retain "Coordination Drawings" Paragraph below for situations where limited space necessitates maximum utilization for efficient installation of different components or if coordination is required for installation of products and materials by separate installers.

A. Coordination Drawings: Reflected ceiling plans and other details, drawn to scale and coordinated with each other, using input from installers of the items involved.

B. Product certificates.

1.5 CLOSEOUT SUBMITTALS

A. Maintenance data.

PART 2 -  PRODUCTS

See Editing Instruction No. 1 in the Evaluations for cautions about named manufacturers and products. For an explanation of options and Contractor's product selection procedures, see Section 016000 "Product Requirements."

2.1 MANUFACTURERS

Retain "Manufacturers" Paragraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

A. Manufacturers: Subject to compliance with requirements, [provide products by the following] [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

Retain "Basis-of-Design Product" Paragraph and list of manufacturers below to identify a specific product or a comparable product from manufacturers listed.

B. Basis-of-Design Product: Subject to compliance with requirements, provide product indicated or comparable product by one of the following:

1. Acoustical Panel Systems (APS, Inc.).

2. Acoustical Solutions, Inc.

3. AVL Systems, Inc.

4. Benton Brothers Solutions, Inc.

5. Conwed Designscape; an Owens Corning company.

6. Decoustics Limited; a CertainTeed Ceilings company.

7. Essi Acoustical Products.

8. Golterman & Sabo.

9. Kinetics Noise Control, Inc.

10. Lamvin, Inc.

11. MBI Products Company, Inc.

12. Panel Solutions, Inc.

13. Perdue Acoustics.

14. Proudfoot Company, Inc. (The).

15. Sound Concepts Canada, Inc.

16. Sound Management Group LLC.

17. Wall Technology, Inc.; an Owens Corning company.

18. Working Walls, Inc.

19. <Insert manufacturer's name>.

2.2 PERFORMANCE REQUIREMENTS

"General Requirements for Sound-Absorbing Ceiling Units" Paragraph below applies to LEED for Schools Credit IEQ 4.

A. General Requirements for Sound-Absorbing Ceiling Units: Provide sound-absorbing panels that comply with the testing and product requirements of the California Department of Health Services' "Standard Practice for the Testing of Volatile Organic Emissions from Various Sources Using Small-Scale Environmental Chambers."

Revise "Fire-Test-Response Characteristics" Paragraph below as required by governing code for sound-absorbing unit location, occupancy classification, and whether sprinklered or not.

B. Fire-Test-Response Characteristics: Provide sound-absorbing ceiling units meeting the following requirements as determined by testing identical products by UL or another testing and inspecting agency acceptable to authorities having jurisdiction:

1. Surface-Burning Characteristics: Comply with ASTM E 84; testing by a qualified testing agency. Identify products with appropriate markings of applicable testing agency.

a. Flame-Spread Index: [25] <Insert value> or less.

b. Smoke-Developed Index: [450] <Insert value> or less.

Retain first option in "Fire Growth Contribution" Subparagraph below for textile-finishes; retain last option for finishes other than textiles.

2. Fire Growth Contribution: Comply with acceptance criteria of local code and authorities having jurisdiction when tested according to [NFPA 265] [NFPA 286].

2.3 SOUND-ABSORBING CEILING UNITS

Copy "Sound-Absorbing Ceiling Panel <Insert drawing designation>" Paragraph below and re-edit for each type of panel. The paragraph is intended as a guide if Project requires units of varying sizes or characteristics. Insert drawing designation for each product required. Use these designations on Drawings to identify each product.

A. Sound-Absorbing Ceiling Panel <Insert drawing designation>: Manufacturer's standard panel construction consisting of facing material [laminated to front face, edges, and back edge border of core] [stretched over front face of edge-framed core and bonded or attached to edges and back of frame] <Insert description>.

Retain "Basis-of-Design Product" Subparagraph below if retaining "Basis-of-Design Product" Paragraph above.

1. Basis-of-Design Product: [Indicated on Drawings] <Insert manufacturer's name; product name or designation>.

2. Mounting: Back mounted with manufacturer's standard [metal clips] [suspension system] [suspension system with stiffening, back-support angles] <Insert requirement>, secured to substrate.

3. Core: [Manufacturer's standard] [Glass-fiber board] [Mineral-fiber board] [Cementitious-fiber board] <Insert requirement>.

Option in "Edge Construction" Subparagraph below is most common and is used with glass- and mineral-fiber board cores. Metal- and PVC-framed options are also available but may be less desirable for suspended panels in seismic areas.

4. Edge Construction: Manufacturer's standard [chemically hardened core with no frame] <Insert requirement>.

5. Edge Profile: [Chamfered (beveled)] [Eased (small radius)] [Mitered (beveled to a point)] [Radiused (bullnosed)] [Square] [Custom profile as indicated on Drawings] <Insert profile>.

6. Corner Detail in Elevation: [Square] [Round, radius as indicated on Drawings] [Custom as indicated on Drawings] <Insert description> with continuous edge profile indicated.

7. Reveals between Panels: [Recessed] [Flush] [Projecting] reveals [as selected by Architect from manufacturer's full range] [as indicated on Drawings] <Insert requirement>.

Generally indicate facing material on Drawings or insert, in "Facing Material" Subparagraph below, drawing designation of facing material specified in "Materials" Article.

8. Facing Material: [Owner-furnished material] [As indicated on Drawings] <Insert drawing designation>.

Verify with manufacturer that NRC or SAA range retained in "Acoustical Performance" Subparagraph below is possible and practical for products. Manufacturers generally report NRC values only. Replace range with a single minimum value if required for Project's acoustical design.

9. Acoustical Performance: Sound absorption [NRC] [or] [SAA] of [0.50 to 0.90] [0.60 to 0.70] [0.65 to 0.75] [not less than 0.65] <Insert range or single value> according to ASTM C 423 for [Type A] [Type J] <Insert mounting> mounting according to ASTM E 795.

10. Nominal [Core] [Overall Panel] Thickness: [3/4 inch (19 mm)] [1 inch (25 mm)] [1-1/2 inches (38 mm)] [2 inches (51 mm)] [As indicated on Drawings] <Insert dimension>.

2.4 MATERIALS

A. General:

Retain "Recycled Content of Sound-Absorbing Ceiling Units" Subparagraph below to specify recycled content if applying for LEED Credit MR 4. An alternative method of dealing with these credit requirements is to retain requirement in Section 018113.13 "Sustainable Design Requirements - LEED for New Construction and Major Renovations," Section 018113.16 "Sustainable Design Requirements - LEED for Commercial Interiors," Section 018113.19 "Sustainable Design Requirements - LEED for Core and Shell Development," Section 018113.23 "Sustainable Design Requirements - LEED for Schools" that gives Contractor the option and responsibility to determine how these credit requirements will be met.

1. Recycled Content of Sound-Absorbing Ceiling Units: Postconsumer recycled content plus one-half of preconsumer recycled content not less than <Insert number> percent.

Retain "Regional Materials" Subparagraph below for LEED-CI Credit MR 5, Option 1.

2. Regional Materials: Sound-absorbing ceiling units shall be manufactured within 500 miles (800 km) of Project site.

Copy "Facing Material <Insert drawing designation>" Paragraph below and re-edit for each facing material required.

Insert drawing designation for facing material required. Use these designations on Drawings to identify each facing material.

B. Facing Material <Insert drawing designation>: Fabric from same dye lot; color and pattern [as selected by Architect from manufacturer's full range] [as indicated on Drawings] <Insert requirement>.

1. Applied Treatments: [Stain resistance] <Insert treatment>.

Insert additional requirements in "Mounting Devices" Paragraph below if manufacturer's standard devices may be unacceptable.

C. Mounting Devices: Concealed on back of unit, recommended by manufacturer to support weight of unit.

2.5 FABRICATION

A. General: Use manufacturer's standard construction except as otherwise indicated, with facing material applied to face, edges, and back border of dimensionally stable core and with rigid edges to reinforce panel perimeter against warpage and damage.

B. Measure each area and establish layout of panels and joints of sizes indicated on Drawings within a given area.

C. [Glass-Fiber Board] [and] [Mineral-Fiber Board] Cores: Chemically harden core edges and areas of core where mounting devices are attached.

D. Facing Material: Apply fabric facing fully covering visible surfaces of unit; with material stretched straight, on the grain, tight, square, and free from puckers, ripples, wrinkles, sags, blisters, seams, adhesive, or other visible distortions or foreign matter.

1. Fabrics with Directional or Repeating Patterns or Directional Weave: Mark fabric top and attach fabric in same direction so pattern or weave matches adjacent units.

E. Dimensional Tolerances of Finished Units: Plus or minus 1/16 inch (1.6 mm).

PART 3 -  EXECUTION

3.1 INSTALLATION

Revise first paragraph below to suit Project if installation is not squarely aligned to walls and other units.

A. Install sound-absorbing ceiling units in locations indicated with edges in alignment with walls and other units, faces flush, and scribed to fit adjoining work accurately at borders and at penetrations.

B. Comply with sound-absorbing ceiling unit manufacturer's written instructions for installation of units using type of mounting devices indicated. Mount units securely to supporting substrate.

C. Align fabric pattern and grain with adjacent units.

D. Clip loose threads; remove pills and extraneous materials.

E. Clean panels on completion of installation to remove dust and other foreign materials according to manufacturer's written instructions.

END OF SECTION 098436

	SOUND-ABSORBING CEILING UNITS
	098436 - 1



