Copyright 2010 AIA
MasterSpec Professional
02/10

Copyright 2010 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 099300 - STAINING AND TRANSPARENT FINISHING
TIPS:
To view non-printing Editor's Notes that provide guidance for editing, click on Masterworks/Single‑File Formatting/Toggle/Editor's Notes.
To read detailed research, technical information about products and materials, and coordination checklists, click on Masterworks/Supporting Information.

Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect." Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 SUMMARY

If this Section specifies only stains or transparent finishes, revise Section title to accurately reflect its content.

A. Section includes surface preparation and application of wood finishes[.][ on the following substrates:]

Revise lists below to suit Project.

1. Exterior Substrates:

a. Exposed glued-laminated beams and columns.

b. Exposed dimension lumber (rough carpentry).

c. Dressed lumber (finish carpentry).

d. Exposed wood panel products.

e. Wood decks and stairs.

f. Wood shingles and shakes (excluding roofs).

2. Interior Substrates:

a. Exposed glued-laminated beams and columns.

b. Exposed dimension lumber (rough carpentry).

c. Dressed lumber (finish carpentry).

d. Exposed wood panel products.

1.2 DEFINITIONS

Retain terms that remain after this Section has been edited for a project.

A. Gloss Level 1: Not more than 5 units at 60 degrees and 10 units at 85 degrees, according to ASTM D 523.

B. Gloss Level 4: 20 to 35 units at 60 degrees and not less than 35 units at 85 degrees, according to ASTM D 523.

C. Gloss Level 5: 35 to 70 units at 60 degrees, according to ASTM D 523.

D. Gloss Level 6: 70 to 85 units at 60 degrees, according to ASTM D 523.

E. Gloss Level 7: More than 85 units at 60 degrees, according to ASTM D 523.

1.3 ACTION SUBMITTALS

A. Product Data: For each type of product indicated. Include preparation requirements and application instructions.

B. LEED Submittals:

"Product Data for Credit EQ 4.2" Subparagraph below applies to LEED-NC, LEED-CI, and LEED-CS. Coordinate with requirements for stains and coatings.

1. Product Data for Credit EQ 4.2: For interior stains and coatings, documentation including printed statement of VOC content.

"Laboratory Test Reports for Credit EQ 4" Subparagraph below applies to LEED for Schools.

2. Laboratory Test Reports for Credit EQ 4: For interior stains and coatings, documentation indicating that products comply with the testing and product requirements of the California Department of Health Services "Standard Practice for the Testing of Volatile Organic Emissions from Various Sources Using Small-Scale Environmental Chambers."

C. Samples: For each type of finish system and in each color and gloss of finish indicated.

D. Product List: For each product indicated, include printout of current "MPI Approved Products List" for each product category specified in Part 2, with the product proposed for use highlighted.

1.4 MAINTENANCE MATERIAL SUBMITTALS

A. Furnish extra materials[, from the same product run,] that match products installed and that are packaged with protective covering for storage and identified with labels describing contents.

Retain "Stains and Transparent Finishes" Subparagraph below for projects that require only limited quantities of extra materials. If necessary, replace percentage with a specific number of gallons (liters) or cases and include an expanded description of the quantity of each material and color.

1. Stains and Transparent Finishes: [5] <Insert number> percent, but not less than [1 gal. (3.8 L)] <Insert number> of each material and color applied.

1.5 QUALITY ASSURANCE

A. Mockups: Apply mockups of each finish system indicated and each color selected to verify preliminary selections made under sample submittals and to demonstrate aesthetic effects and set quality standards for materials and execution.

1. Architect will select one surface to represent surfaces and conditions for application of each type of finish system and substrate.

a. Vertical and Horizontal Surfaces: Provide samples of at least 100 sq. ft. (9 sq. m).

b. Other Items: Architect will designate items or areas required.

2. Final approval of stain color selections will be based on mockups.

a. If preliminary stain color selections are not approved, apply additional mockups of additional stain colors selected by Architect at no added cost to Owner.

PART 2 -  PRODUCTS

See Editing Instruction No. 1 in the Evaluations for cautions about named manufacturers and products. For an explanation of options and Contractor's product selection procedures, see Section 016000 "Product Requirements."

2.1 MANUFACTURERS

Retain "Products" Paragraph below and lists of manufacturers and products in other Part 2 articles to require specific products or a comparable product from other manufacturers.

See lists of products currently approved by MPI in its "MPI Approved Products List" (available at www.paintinfo.com). See "Writing Guide" Article in the Evaluations for further discussion.

A. Products: Subject to compliance with requirements, [provide product] [provide one of the products] [available products that may be incorporated into the Work include, but are not limited to products] listed in other Part 2 articles for the category indicated.

2.2 MATERIALS, GENERAL

A. MPI Standards: Provide products that comply with MPI standards indicated and that are listed in its "MPI Approved Products List."

B. Material Compatibility:

Systems could fail if materials used for individual coats are incompatible. MPI's finish systems take product compatibility into consideration.

1. Provide materials for use within each finish system that are compatible with one another and substrates indicated, under conditions of service and application as demonstrated by manufacturer, based on testing and field experience.

2. For each coat in a finish system, provide products recommended in writing by manufacturers of topcoat for use in finish system and on substrate indicated.

Retain option in "VOC Content" Paragraph below if required for LEED-NC, LEED-CI, or LEED-CS Credit EQ 4.2; coordinate with products selected. For names of products that comply, see products listed as complying with LEED VOC limits on "MPI Approved Products List" (available at www.paintinfo.com).

C. VOC Content: Products shall comply with VOC limits of authorities having jurisdiction[ and, for interior stains and finishes applied at project site, the following VOC limits, exclusive of colorants added to a tint base, when calculated according to 40 CFR 59, Subpart D (EPA Method 24)].

1. Clear Wood Finishes, Varnishes: VOC not more than 350 g/L.

2. Shellacs, Clear: VOC not more than 730 g/L.

3. Stains: VOC not more than 250 g/L.

"Primers, Sealers, and Undercoaters" Subparagraph below applies to primers used under solid hide stains on interior wood substrates.

4. Primers, Sealers, and Undercoaters: 200 g/L.

Retain "Low-Emitting Materials" Paragraph below if required for LEED for Schools.

D. Low-Emitting Materials: Interior stains and finishes shall comply with the testing and product requirements of the California Department of Health Services' "Standard Practice for the Testing of Volatile Organic Emissions from Various Sources Using Small-Scale Environmental Chambers."

E. Stain Colors: [As selected by Architect from manufacturer's full range] [Match Architect's samples] [As indicated in a color schedule] <Insert requirements>.

Manufacturers' names and product designations can be inserted into subsequent articles. Products in these articles are specified by reference to MPI product categories and MPI numbers. Note that each product category below is unique within this Section and is identical to that used in the schedules at the end of Part 3.

If retaining subsequent articles, first revise Exterior Wood Finish Schedule and Interior Wood Finish Schedule in Part 3; then retain, delete, and insert appropriate products in subsequent articles to correspond to products specified in the schedules.

2.3 WOOD FILLERS

A. Wood Filler Paste:[ MPI #91.]

1. <Insert, in separate subparagraphs, manufacturer's name; product name or designation>.

2.4 PRIMERS AND SEALERS

A. Primer, Latex for Exterior Wood:[ MPI #6.]

1. <Insert, in separate subparagraphs, manufacturer's name; product name or designation>.

B. Primer, Alkyd for Exterior Wood:[ MPI #5.]

1. <Insert, in separate subparagraphs, manufacturer's name; product name or designation>.

C. Primer, Oil for Exterior Wood:[ MPI #7.]

1. <Insert, in separate subparagraphs, manufacturer's name; product name or designation>.

D. Preservative, for Exterior Wood:[ MPI #37.]

1. <Insert, in separate subparagraphs, manufacturer's name; product name or designation>.

E. Alkyd, Sanding Sealer, Clear:[ MPI #102.]

1. <Insert, in separate subparagraphs, manufacturer's name; product name or designation>.

F. Shellac:[ MPI #88.]

1. <Insert, in separate subparagraphs, manufacturer's name; product name or designation>.

2.5 STAINS

A. Stain, Exterior, Water Based, Solid Hide:[ MPI #16.]

1. <Insert, in separate subparagraphs, manufacturer's name; product name or designation>.

B. Stain, Exterior, Solvent Based, Solid Hide:[ MPI #14.]

1. <Insert, in separate subparagraphs, manufacturer's name; product name or designation>.

C. Stain, Exterior, Solvent Based, Semi-Transparent:[ MPI #13.]

1. <Insert, in separate subparagraphs, manufacturer's name; product name or designation>.

D. Stain, for Exterior Wood Decks:[ MPI #33.]

1. <Insert, in separate subparagraphs, manufacturer's name; product name or designation>.

E. Stain, Semi-Transparent, for Interior Wood:[ MPI #90.]

1. <Insert, in separate subparagraphs, manufacturer's name; product name or designation>.

2.6 WATER-BASED VARNISHES

A. Varnish, Water Based, Clear, Satin (Gloss Level 4):[ MPI #128.]

1. <Insert, in separate subparagraphs, manufacturer's name; product name or designation>.

B. Varnish, Water Based, Clear, Semi-Gloss (Gloss Level 5):[ MPI #129.]

1. <Insert, in separate subparagraphs, manufacturer's name; product name or designation>.

C. Varnish, Water Based, Clear, Gloss (Gloss Level 6):[ MPI #130.]

1. <Insert, in separate subparagraphs, manufacturer's name; product name or designation>.

2.7 SOLVENT-BASED VARNISHES

A. Varnish, with UV Inhibitor, Exterior, Semi-Gloss (Gloss Level 5):[ MPI #30.]

1. <Insert, in separate subparagraphs, manufacturer's name; product name or designation>.

B. Varnish, with UV Inhibitor, Exterior, Gloss (Gloss Level 6):[ MPI #29.]

1. <Insert, in separate subparagraphs, manufacturer's name; product name or designation>.

C. Varnish, Marine Spar, Exterior, Gloss (Gloss Level 7):[ MPI #28.]

1. <Insert, in separate subparagraphs, manufacturer's name; product name or designation>.

D. Varnish, Interior, Flat (Gloss Level 1):[ MPI #73.]

1. <Insert, in separate subparagraphs, manufacturer's name; product name or designation>.

E. Varnish, Interior, Semi-Gloss (Gloss Level 5):[ MPI #74.]

1. <Insert, in separate subparagraphs, manufacturer's name; product name or designation>.

F. Varnish, Interior, Gloss (Gloss Level 6):[ MPI #75.]

1. <Insert, in separate subparagraphs, manufacturer's name; product name or designation>.

2.8 POLYURETHANE VARNISHES

A. Varnish, Interior, Polyurethane, Oil-Modified, Satin (Gloss Level 4):[ MPI #57.]

1. <Insert, in separate subparagraphs, manufacturer's name; product name or designation>.

B. Varnish, Interior, Polyurethane, Oil-Modified, Gloss (Gloss Level 6):[ MPI #56.]

1. <Insert, in separate subparagraphs, manufacturer's name; product name or designation>.

C. Varnish, Polyurethane, Moisture-Cured, Gloss (Gloss Level 6):[ MPI #31.]

1. <Insert, in separate subparagraphs, manufacturer's name; product name or designation>.

D. Varnish, Aliphatic Polyurethane, Two-Component (Gloss Level 6 or 7):[ MPI #78.]

1. <Insert, in separate subparagraphs, manufacturer's name; product name or designation>.

2.9 OIL FINISH

A. Danish Oil:[ MPI #92.]

1. <Insert, in separate subparagraphs, manufacturer's name; product name or designation>.

PART 3 -  EXECUTION

3.1 EXAMINATION

A. Examine substrates and conditions, with Applicator present, for compliance with requirements for maximum moisture content and other conditions affecting performance of the Work.

B. Maximum Moisture Content of Exterior Wood Substrates: 15 percent, when measured with an electronic moisture meter.

Coordinate requirement in "Maximum Moisture Content of Interior Wood Substrates" Paragraph below with Sections where wood substrates are specified. Maximum moisture content of interior wood substrates will depend on the type of wood substrates that are to be finished. Kiln-dried finish lumber is available with maximum moisture content of 15 percent for some species and 12 percent for others. Kiln-dried softwood moldings are generally limited to 15 percent moisture content and hardwood moldings to 9 percent. For woodwork, the Architectural Woodwork Institute recommends a maximum moisture content of 13 percent for damp coastal areas, 10 percent for the rest of the U.S., except 9 percent for dry southwestern U.S.

C. Maximum Moisture Content of Interior Wood Substrates: [15] [13] [10] [9] percent, when measured with an electronic moisture meter.

D. Verify suitability of substrates, including surface conditions and compatibility with existing finishes and primers.

E. Proceed with finish application only after unsatisfactory conditions have been corrected.

1. Beginning finish application constitutes Contractor's acceptance of substrates and conditions.

3.2 PREPARATION

For renovation projects, consult "MPI Maintenance Repainting Manual" and revise first paragraph below and finish systems specified in the Exterior Wood-Finish-System Schedule and Interior Wood-Finish-System Schedule at the end of Part 3.

A. Comply with manufacturer's written instructions and recommendations in "MPI Architectural Painting Specification Manual" applicable to substrates indicated.

B. Remove hardware, covers, plates, and similar items already in place that are removable. If removal is impractical or impossible because of size or weight of item, provide surface-applied protection before surface preparation and finishing.

1. After completing finishing operations, use workers skilled in the trades involved to reinstall items that were removed. Remove surface-applied protection if any.

C. Clean and prepare surfaces to be finished according to manufacturer's written instructions for each particular substrate condition and as specified.

1. Remove dust, dirt, oil, and grease by washing with a detergent solution; rinse thoroughly with clean water and allow to dry. Remove grade stamps and pencil marks by sanding lightly. Remove loose wood fibers by brushing.

2. Remove mildew by scrubbing with a commercial wash formulated for mildew removal and as recommended by stain manufacturer.

3.3 APPLICATION

A. Apply finishes according to manufacturer's written instructions and recommendations in "MPI Manual."

B. Apply finishes to produce surface films without cloudiness, holidays, lap marks, brush marks, runs, ropiness, or other surface imperfections.

3.4 CLEANING AND PROTECTION

A. Protect work of other trades against damage from finish application. Correct damage by cleaning, repairing, replacing, and refinishing, as approved by Architect, and leave in an undamaged condition.

B. At completion of construction activities of other trades, touch up and restore damaged or defaced finished wood surfaces.

3.5 EXTERIOR WOOD-FINISH-SYSTEM SCHEDULE

Finish systems in this article are based on "MPI Architectural Painting Specification Manual" (hereafter, "MPI Manual"). For renovation projects, consult "MPI Maintenance Repainting Manual" and revise finish systems accordingly.

Copy and re-edit paragraph below as needed to describe each combination of wood substrate and finish.

A. Wood substrates, nontraffic surfaces, including [wood trim] [architectural woodwork] [doors] [windows] [wood siding] [wood fences] [wood-based panel products] [glued-laminated construction] [exposed joists] [exposed beams] [wood shingles and shakes (excluding roofs)] <Insert description>.

"Solid Hide, Water-Based Stain System" Subparagraph below corresponds to MPI EXT 6.2B and MPI EXT 6.6D.

1. Solid Hide, Water-Based Stain System:

Retain one of two "Prime Coat" subparagraphs below.

a. Prime Coat: Primer, alkyd for exterior wood[, MPI #5].

b. Prime Coat: Primer, oil for exterior wood[, MPI #7].

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

c. Intermediate Coat: Stain, exterior, water based, solid hide, matching topcoat.

d. Topcoat: Stain, exterior, water based, solid hide[, MPI #16].

"Solid Hide, Water-Based Stain System" Subparagraph below corresponds to MPI EXT 6.4A.

2. Solid Hide, Water-Based Stain System:

Retain one of three "Prime Coat" subparagraphs below.

a. Prime Coat: Primer, latex for exterior wood[, MPI #6].

b. Prime Coat: Primer, alkyd for exterior wood[, MPI #5].

c. Prime Coat: Primer, oil for exterior wood[, MPI #7].

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

d. Intermediate Coat: Stain, exterior, water based, solid hide, matching topcoat.

e. Topcoat: Stain, exterior, water based, solid hide[, MPI #16].

"Solid Hide, Solvent-Based Stain System" Subparagraph below corresponds to MPI EXT 6.1C, MPI EXT 6.2D, MPI EXT 6.3C, MPI EXT 6.4C, and MPI EXT 6.6C.

3. Solid Hide, Solvent-Based Stain System:

Retain one of two "Prime Coat" subparagraphs below.

a. Prime Coat: Primer, alkyd for exterior wood[, MPI #5].

b. Prime Coat: Primer, oil for exterior wood[, MPI #7].

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system. "MPI Manual" does not include a Custom Grade system for MPI EXT 6.1C.

c. Intermediate Coat: Stain, exterior, solvent based, solid hide, matching topcoat.

d. Topcoat: Stain, exterior, solvent based, solid hide[, MPI #14].

"Semitransparent Stain System" Subparagraph below corresponds to MPI EXT 6.2L, MPI EXT 6.3D, MPI EXT 6.4D, and MPI EXT 6.6F.

4. Semitransparent Stain System:

a. Prime Coat: Stain, exterior, solvent based, semi-transparent, matching topcoat.

b. Topcoat: Stain, exterior, solvent based, semi-transparent[, MPI #13].

"Varnish over Semitransparent Stain System" Subparagraph below corresponds to MPI EXT 6.1D, MPI EXT 6.2E, MPI EXT 6.3E, and MPI EXT 6.4J.

5. Varnish over Semitransparent Stain System:

a. Stain Coat: Stain, exterior, solvent based, semi-transparent[, MPI #13].

b. First Intermediate Coat: Varnish matching topcoat.

For a Premium Grade system, "MPI Manual" requires second intermediate coat; delete second intermediate coat for a Custom Grade system.

c. Second Intermediate Coat: Varnish matching topcoat.

Retain one of three "Topcoat" subparagraphs below.

d. Topcoat: Varnish, with UV Inhibitor, Exterior, Semi-Gloss (Gloss Level 5)[, MPI #30].

e. Topcoat: Varnish, with UV Inhibitor, Exterior, Gloss (Gloss Level 6)[, MPI #29].

f. Topcoat: Varnish, Marine Spar, Exterior, Gloss (Gloss Level 7)[, MPI #28].

"Varnish System" Subparagraph below corresponds to MPI EXT 6.1K, MPI EXT 6.2K, MPI EXT 6.3F, and MPI EXT 6.4H.

6. Varnish System:

a. Prime Coat: Varnish matching topcoat.

b. First Intermediate Coat: Varnish matching topcoat.

For a Premium Grade system, "MPI Manual" requires second intermediate coat; delete second intermediate coat for a Custom Grade system.

c. Second Intermediate Coat: Varnish matching topcoat.

Retain one of three "Topcoat" subparagraphs below.

d. Topcoat: Varnish, with UV Inhibitor, Exterior, Semi-Gloss (Gloss Level 5)[, MPI #30].

e. Topcoat: Varnish, with UV Inhibitor, Exterior, Gloss (Gloss Level 6)[, MPI #29].

f. Topcoat: Varnish, Marine Spar, Exterior, Gloss (Gloss Level 7)[, MPI #28].

"Clear, Two-Component Polyurethane Varnish over Stain System" Subparagraph below corresponds to MPI EXT 6.1E.

7. Clear, Two-Component Polyurethane Varnish over Stain System:

a. Stain Coat: Stain, exterior, solvent based, semi-transparent[, MPI #13].

b. First Intermediate Coat: Varnish, aliphatic polyurethane, two-component, matching topcoat.

For a Premium Grade system, "MPI Manual" requires second intermediate coat; delete second intermediate coat for a Custom Grade system.

c. Second Intermediate Coat: Varnish, aliphatic polyurethane, two-component, matching topcoat.

d. Topcoat: Varnish, aliphatic polyurethane, two-component (Gloss Level 6 or 7)[, MPI #78].

"Clear, Two-Component Polyurethane Varnish System" Subparagraph below corresponds to MPI EXT 6.1H, MPI EXT 6.2H, and MPI EXT 6.3H.

8. Clear, Two-Component Polyurethane Varnish System:

a. Prime Coat: Varnish, aliphatic polyurethane, two-component, matching topcoat.

For a Premium Grade system, "MPI Manual" requires intermediate coat and does not include a Custom Grade system.

b. Intermediate Coat: Varnish, aliphatic polyurethane, two-component, matching topcoat.

c. Topcoat: Varnish, aliphatic polyurethane, two-component (Gloss Level 6 or 7)[, MPI #78].

B. Wood substrates, traffic surfaces, including wood [decks] [and] [stairs].

"Deck Stain over Wood Preservative System" Subparagraph below corresponds to MPI EXT 6.5D.

1. Deck Stain over Wood Preservative System:

a. Preservative Coat: Preservative, for exterior wood[, MPI #37].

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat: Stain, for exterior wood decks, matching topcoat.

c. Top coat: Stain, for exterior wood decks[, MPI #33].

"Deck Stain System" Subparagraph below corresponds to MPI EXT 6.5F.

2. Deck Stain System:

a. Prime Coat: Stain, for exterior wood decks, matching topcoat.

b. Top coat: Stain, for exterior wood decks[, MPI #33].

3.6 INTERIOR WOOD-FINISH-SYSTEM SCHEDULE

Finish systems in this article are based on "MPI Architectural Painting Specification Manual" (hereafter, "MPI Manual"). For renovation projects, consult "MPI Maintenance Repainting Manual" and revise finish systems accordingly.

Copy and re-edit paragraph below as needed to describe each combination of wood substrate and finish.

A. Wood substrates, nontraffic surfaces, including [wood trim] [architectural woodwork] [doors] [windows] [wood-based panel products] [glued-laminated construction] [exposed joists] [exposed beams] <Insert description>.

"Solid-Color Latex Stain System" Subparagraph below corresponds to MPI INT 6.6E.

1. Solid-Color Latex Stain System:

a. Prime Coat: Primer, latex for exterior wood[, MPI #6].

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat: Stain, exterior, water based, solid hide, matching topcoat.

c. Topcoat: Stain, exterior, water based, solid hide[, MPI #16].

"Solid-Color Latex Stain System" Subparagraph below corresponds to MPI INT 6.1T.

2. Solid-Color Latex Stain System:

Retain one of two "Prime Coat" subparagraphs below.

a. Prime Coat: Primer, alkyd for exterior wood[, MPI #5].

b. Prime Coat: Primer, oil for exterior wood[, MPI #7].

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

c. Intermediate Coat: Stain, exterior, water based, solid hide, matching topcoat.

d. Topcoat: Stain, exterior, water based, solid hide[, MPI #16].

"Solid-Color, Solvent-Based Stain System" Subparagraph below corresponds to MPI INT 6.1H and MPI INT 6.6D.

3. Solid-Color, Solvent-Based Stain System:

a. Prime Coat: Stain, exterior, solvent based, solid hide, matching topcoat.

b. Topcoat: Stain, exterior, solvent based, solid hide[, MPI #14].

"Semitransparent Stain System" Subparagraph below corresponds to MPI INT 6.1G and MPI INT 6.6C.

4. Semitransparent Stain System:

a. Prime Coat: Stain, semi-transparent, matching topcoat.

b. Topcoat: Stain, semi-transparent, for interior wood[, MPI #90].

"Semitransparent Stain System" Subparagraph below corresponds to MPI INT 6.3C and MPI INT 6.4C.

5. Semitransparent Stain System:

a. Prime Coat: Stain, exterior, solvent based, semi-transparent, matching topcoat.

b. Topcoat: Stain, exterior, solvent based, semi-transparent[, MPI #13].

"Water-Based Varnish over Stain System" Subparagraph below corresponds to MPI INT 6.1R, MPI INT 6.2M, MPI INT 6.3W, and MPI INT 6.4U.

6. Water-Based Varnish over Stain System:

a. Stain Coat: Stain, semi-transparent, for interior wood[, MPI #90].

b. First Intermediate Coat: Water-based varnish matching topcoat.

For a Premium Grade system, "MPI Manual" requires second intermediate coat; delete second intermediate coat for a Custom Grade system.

c. Second Intermediate Coat: Water-based varnish matching topcoat.

Retain one of three "Topcoat" subparagraphs below.

d. Topcoat: Varnish, water based, clear, satin (Gloss Level 4)[, MPI #128].

e. Topcoat: Varnish, water based, clear, semi-gloss (Gloss Level 5)[, MPI #129].

f. Topcoat: Varnish, water based, clear, gloss (Gloss Level 6)[, MPI #130].

"Water-Based Varnish System" Subparagraph below corresponds to MPI INT 6.1F, MPI INT 6.3Q, and MPI INT 6.4M.

7. Water-Based Varnish System:

a. Prime Coat: Water-based varnish matching topcoat.

b. Intermediate Coat: Water-based varnish matching topcoat.

Retain one of three "Topcoat" subparagraphs below.

c. Topcoat: Varnish, water based, clear, satin (Gloss Level 4)[, MPI #128].

d. Topcoat: Varnish, water based, clear, semi-gloss (Gloss Level 5)[, MPI #129].

e. Topcoat: Varnish, water based, clear, gloss (Gloss Level 6)[, MPI #130].

"Alkyd Varnish over Stain System" Subparagraph below corresponds to MPI INT 6.1K.

8. Alkyd Varnish over Stain System:

a. Stain Coat: Stain, semi-transparent, for interior wood[, MPI #90].

b. First Intermediate Coat: Varnish matching topcoat.

For a Premium Grade system, "MPI Manual" requires second intermediate coat; delete second intermediate coat for a Custom Grade system.

c. Second Intermediate Coat: Varnish matching topcoat.

Retain one of three "Topcoat" subparagraphs below.

d. Topcoat: Varnish, interior, flat (Gloss Level 1)[, MPI #73].

e. Topcoat: Varnish, interior, semi-gloss (Gloss Level 5)[, MPI #74].

f. Topcoat: Varnish, interior, gloss (Gloss Level 6)[, MPI #75].

"Alkyd Varnish over Stain System" Subparagraph below corresponds to MPI INT 6.1P, MPI INT 6.2K, MPI INT 6.3D, and MPI INT 6.4D.

9. Alkyd Varnish over Stain System:

a. Stain Coat: Stain, semi-transparent, for interior wood[, MPI #90].

b. First Intermediate Coat: Alkyd, sanding sealer, clear[, MPI #102].

For a Premium Grade system, "MPI Manual" requires second intermediate coat; delete second intermediate coat for a Custom Grade system.

c. Second Intermediate Coat: Varnish matching topcoat.

Retain one of three "Topcoat" subparagraphs below.

d. Topcoat: Varnish, interior, flat (Gloss Level 1)[, MPI #73].

e. Topcoat: Varnish, interior, semi-gloss (Gloss Level 5)[, MPI #74].

f. Topcoat: Varnish, interior, gloss (Gloss Level 6)[, MPI #75].

"Alkyd Varnish System" Subparagraph below corresponds to MPI INT 6.1C, MPI INT 6.2P, MPI INT 6.3J, and MPI INT 6.4G.

10. Alkyd Varnish System:

a. Prime Coat: Alkyd, sanding sealer, clear[, MPI #102].

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat: Varnish matching topcoat.

Retain one of three "Topcoat" subparagraphs below.

c. Topcoat: Varnish, interior, flat (Gloss Level 1)[, MPI #73].

d. Topcoat: Varnish, interior, semi-gloss (Gloss Level 5)[, MPI #74].

e. Topcoat: Varnish, interior, gloss (Gloss Level 6)[, MPI #75].

"Polyurethane Varnish over Stain System" Subparagraph below corresponds to MPI INT 6.1J, MPI INT 6.2J, MPI INT 6.3E, and MPI INT 6.4E.

11. Polyurethane Varnish over Stain System:

a. Stain Coat: Stain, semi-transparent, for interior wood[, MPI #90].

b. First Intermediate Coat: Polyurethane varnish matching topcoat.

For a Premium Grade system, "MPI Manual" requires second intermediate coat; delete second intermediate coat for a Custom Grade system.

c. Second Intermediate Coat: Polyurethane varnish matching topcoat.

Retain one of two "Topcoat" subparagraphs below.

d. Topcoat: Varnish, interior, polyurethane, oil-modified, satin (Gloss Level 4)[, MPI #57].

e. Topcoat: Varnish, interior, polyurethane, oil-modified, gloss (Gloss Level 6)[, MPI #56].

"Polyurethane Varnish System" Subparagraph below corresponds to MPI INT 6.1D, MPI INT 6.2H, MPI INT 6.3K, and MPI INT 6.4J.

12. Polyurethane Varnish System:

a. Prime Coat: Polyurethane varnish matching topcoat.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat: Polyurethane varnish matching topcoat.

Retain one of two "Topcoat" subparagraphs below.

c. Topcoat: Varnish, interior, polyurethane, oil-modified, satin (Gloss Level 4)[, MPI #57].

d. Topcoat: Varnish, interior, polyurethane, oil-modified, gloss (Gloss Level 6)[, MPI #56].

"Moisture-Cured Clear Polyurethane over Stain System" Subparagraph below corresponds to MPI INT 6.1S, MPI INT 6.2N, MPI INT 6.3Y, and MPI INT 6.4V.

13. Moisture-Cured Clear Polyurethane over Stain System:

a. Stain Coat: Stain, semi-transparent, for interior wood[, MPI #90].

b. First Intermediate Coat: Moisture-cured polyurethane matching topcoat.

For a Premium Grade system, "MPI Manual" requires second intermediate coat; delete second intermediate coat for a Custom Grade system.

c. Second Intermediate Coat: Moisture-cured polyurethane matching topcoat.

d. Topcoat: Varnish, polyurethane, moisture-cured, gloss (Gloss Level 6)[, MPI #31].

"Moisture-Cured Clear Polyurethane System" Subparagraph below corresponds to MPI INT 6.3X.

14. Moisture-Cured Clear Polyurethane System:

a. Prime Coat: Moisture-cured polyurethane matching topcoat.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat: Moisture-cured polyurethane matching topcoat.

c. Topcoat: Varnish, polyurethane, moisture-cured, gloss (Gloss Level 6)[, MPI #31].

"Clear, Two-Component Polyurethane System" Subparagraph below corresponds to MPI INT 6.3Z.

15. Clear, Two-Component Polyurethane System:

a. Prime Coat: Two-component polyurethane matching topcoat.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat: Two-component polyurethane matching topcoat.

c. Topcoat: Varnish, aliphatic polyurethane, two-component (Gloss Level 6 or Gloss Level 7)[, MPI #78].

"Danish Oil System" Subparagraph below corresponds to MPI INT 6.3M and MPI INT 6.4K.

16. Danish Oil System:

a. Prime Coat: Danish oil[, MPI #92].

b. Topcoat: Danish oil[, MPI #92].

END OF SECTION 099300

	STAINING AND TRANSPARENT FINISHING
	099300 - 1



