Copyright 2010 AIA
MasterSpec Professional
02/10

Copyright 2010 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 099600 - HIGH-PERFORMANCE COATINGS
TIPS:
To view non-printing Editor's Notes that provide guidance for editing, click on Masterworks/Single‑File Formatting/Toggle/Editor's Notes.
To read detailed research, technical information about products and materials, and coordination checklists, click on Masterworks/Supporting Information.

Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect." Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 SUMMARY

A. Section includes surface preparation and application of high-performance coating systems[.][ on the following substrates:]

Revise lists below to suit Project.

1. Exterior Substrates:

a. Concrete, [vertical] [and] [horizontal] surfaces.

b. Clay masonry.

c. Concrete masonry units (CMU).

d. Steel.

e. Galvanized metal.

f. Aluminum (not anodized or otherwise coated).

g. Wood.

2. Interior Substrates:

a. Concrete, [vertical] [and] [horizontal] surfaces.

b. Clay masonry.

c. Concrete masonry units (CMU).

d. Steel.

e. Galvanized metal.

f. Aluminum (not anodized or otherwise coated).

g. Wood.

h. Gypsum board.

1.2 DEFINITIONS

Retain terms that remain after this Section has been edited for a project.

A. Gloss Level 6: 70 to 85 units at 60 degrees, according to ASTM D 523.

B. Gloss Level 7: More than 85 units at 60 degrees, according to ASTM D 523.

1.3 ACTION SUBMITTALS

A. Product Data: For each type of product indicated. Include preparation requirements and application instructions.

B. LEED Submittals:

"Product Data for Credit EQ 4.2" Subparagraph below applies to LEED-NC, LEED-CI, and LEED-CS. Coordinate with requirements for coatings.

1. Product Data for Credit EQ 4.2: For interior coatings, documentation including printed statement of VOC content.

"Laboratory Test Reports for Credit EQ 4" Subparagraph below applies to LEED for Schools.

2. Laboratory Test Reports for Credit EQ 4: For interior coatings, documentation indicating that products comply with the testing and product requirements of the California Department of Health Services "Standard Practice for the Testing of Volatile Organic Emissions from Various Sources Using Small-Scale Environmental Chambers."

C. Samples: For each type of coating system and in each color and gloss of topcoat indicated.

D. Product List: For each product indicated, include printout of current "MPI Approved Products List" for each product category specified in Part 2, with the proposed product highlighted.

1.4 MAINTENANCE MATERIAL SUBMITTALS

A. Furnish extra materials[, from the same product run,] that match products installed and that are packaged with protective covering for storage and identified with labels describing contents.

Retain "Coatings" Subparagraph below for projects that require only limited quantities of extra materials. If necessary, replace percentage with a specific number of gallons (liters) or cases and include an expanded description of the quantity of each material and color.

1. Coatings: [5] <Insert number> percent, but not less than [1 gal. (3.8 L)] <Insert number> of each material and color applied.

1.5 QUALITY ASSURANCE

A. Mockups: Apply mockups of each coating system indicated to verify preliminary selections made under sample submittals and to demonstrate aesthetic effects and set quality standards for materials and execution.

1. Architect will select one surface to represent surfaces and conditions for application of each coating system specified in Part 3.

a. Wall and Ceiling Surfaces: Provide samples of at least 100 sq. ft. (9 sq. m).

b. Other Items: Architect will designate items or areas required.

2. Final approval of color selections will be based on mockups.

a. If preliminary color selections are not approved, apply additional mockups of additional colors selected by Architect at no added cost to Owner.

PART 2 -  PRODUCTS

See Editing Instruction No. 1 in the Evaluations for cautions about named manufacturers and products. For an explanation of options and Contractor's product selection procedures, see Section 016000 "Product Requirements."

2.1 MANUFACTURERS

Retain "Products" Paragraph below and lists of manufacturers and products in other Part 2 articles to require specific products or a comparable product from other manufacturers.

See lists of products currently approved by MPI in its "MPI Approved Products List" (available at www.paintinfo.com). See "Writing Guide" Article in the Evaluations for further discussion.

A. Products: Subject to compliance with requirements, [provide product] [provide one of the products] [available products that may be incorporated into the Work include, but are not limited to products] listed in other Part 2 articles for the paint category indicated.

2.2 HIGH-PERFORMANCE COATINGS, GENERAL

A. MPI Standards: Provide products that comply with MPI standards indicated and are listed in "MPI Approved Products List."

B. Material Compatibility:

Systems could fail if coatings are incompatible. MPI's coating systems match primers and topcoats, taking compatibility into consideration.

1. Provide materials for use within each coating system that are compatible with one another and substrates indicated, under conditions of service and application as demonstrated by manufacturer, based on testing and field experience.

2. For each coat in a coating system, provide products recommended in writing by manufacturers of topcoat for use in coating system and on substrate indicated.

If retaining subparagraph below, coordinate products retained, if any, in other Part 2 articles, to ensure that one manufacturer can provide products for an entire system.

3. Provide products of same manufacturer for each coat in a coating system.

Retain option in "VOC Content" Paragraph below if required for LEED-NC, LEED-CI, or LEED-CS Credit EQ 4.2; coordinate with products selected. For names of products that comply, see products listed as complying with LEED VOC limits on "MPI Approved Products List" (available at www.paintinfo.com).

C. VOC Content: Products shall comply with VOC limits of authorities having jurisdiction[ and, for interior coatings applied at project site, the following VOC limits, exclusive of colorants added to a tint base, when calculated according to 40 CFR 59, Subpart D (EPA Method 24)].

1. Flat Paints and Coatings: 50 g/L.

2. Nonflat Paints and Coatings: 150 g/L.

3. Primers, Sealers, and Undercoaters: 200 g/L.

4. Anti-Corrosive and Anti-Rust Paints Applied to Ferrous Metals: 250 g/L.

5. Zinc-Rich Industrial Maintenance Primers: 340 g/L.

6. Pre-Treatment Wash Primers: 420 g/L.

7. Floor Coatings: 100 g/L.

8. Shellacs, Clear: 730 g/L.

9. Shellacs, Pigmented: 550 g/L.

Retain "Low-Emitting Materials" Paragraph below if required for LEED for Schools.

D. Low-Emitting Materials: Interior coatings shall comply with the testing and product requirements of the California Department of Health Services' "Standard Practice for the Testing of Volatile Organic Emissions from Various Sources Using Small-Scale Environmental Chambers."

Color selection is often limited because some coating materials yellow or degrade under some environmental conditions.

E. Colors: [As selected by Architect from manufacturer's full range] [Match Architect's samples] [As indicated in color schedule] <Insert requirements>.

Manufacturers' names and product designations can be inserted into subsequent articles. Coatings in these articles are specified by reference to MPI paint categories and MPI numbers. Note that each coating category below is unique within this Section and is identical to that used in the schedules at the end of Part 3.

If retaining subsequent articles, first revise Exterior High-Performance Coating Schedule and Interior High-Performance Coating Schedule in Part 3. Then retain, delete, and insert appropriate products in subsequent articles to correspond to coating systems specified in the schedules.

2.3 BLOCK FILLERS

A. Block Filler, Latex, Interior/Exterior:[ MPI #4.]

1. <Insert, in separate subparagraphs, manufacturer's name; product name or designation>.

B. Block Filler, Epoxy:[ MPI #116.]

1. <Insert, in separate subparagraphs, manufacturer's name; product name or designation>.

2.4 INTERIOR PRIMERS/SEALERS

A. Primer Sealer, Latex, Interior:[ MPI #50.]

1. <Insert, in separate subparagraphs, manufacturer's name; product name or designation>.

B. Wood-Knot Sealer: White shellac or other sealer recommended in writing by manufacturer for this purpose.

1. <Insert, in separate subparagraphs, manufacturer's name; product name or designation>.

2.5 METAL PRIMERS

A. Primer, Zinc-Rich, Inorganic:[ MPI #19.]

1. <Insert, in separate subparagraphs, manufacturer's name; product name or designation>.

B. Primer, Zinc-Rich, Epoxy:[ MPI #20.]

1. <Insert, in separate subparagraphs, manufacturer's name; product name or designation>.

C. Primer, Rust-Inhibitive, Water Based:[ MPI #107.]

1. <Insert, in separate subparagraphs, manufacturer's name; product name or designation>.

D. Primer, Epoxy, Anti-Corrosive, for Metal:[ MPI #101.]

1. <Insert, in separate subparagraphs, manufacturer's name; product name or designation>.

E. Primer, Vinyl Wash:[ MPI #80.]

1. <Insert, in separate subparagraphs, manufacturer's name; product name or designation>.

2.6 EPOXY COATINGS

A. Epoxy, Gloss:[ MPI #77.]

1. <Insert, in separate subparagraphs, manufacturer's name; product name or designation>.

B. Epoxy-Modified Latex, Interior, Gloss (Gloss Level 6):[ MPI #115.]

1. <Insert, in separate subparagraphs, manufacturer's name; product name or designation>.

C. Epoxy, High-Build, Low Gloss:[ MPI #108.]

1. <Insert, in separate subparagraphs, manufacturer's name; product name or designation>.

D. Epoxy Deck Coating (Slip-Resistant):[ MPI #82.]

1. <Insert, in separate subparagraphs, manufacturer's name; product name or designation>.

2.7 POLYURETHANE COATINGS

A. Polyurethane, Two-Component, Pigmented, Gloss (Gloss Level 6):[ MPI #72.]

1. <Insert, in separate subparagraphs, manufacturer's name; product name or designation>.

B. Varnish, Aliphatic Polyurethane, Two-Component (Gloss Level 6 or 7):[ MPI #78.]

1. <Insert, in separate subparagraphs, manufacturer's name; product name or designation>.

PART 3 -  EXECUTION

3.1 EXAMINATION

A. Examine substrates and conditions, with Applicator present, for compliance with requirements for maximum moisture content and other conditions affecting performance of the Work.

1. Maximum Moisture Content of Substrates: When measured with an electronic moisture meter as follows:

Percentages in "Concrete," "Masonry (Clay and CMU)," "Wood," and "Gypsum Board" subparagraphs below are based on "MPI Architectural Painting Specification Manual."

a. Concrete: 12 percent.

b. Masonry (Clay and CMU): 12 percent.

c. Wood: 15 percent.

d. Gypsum Board: 12 percent.

B. Verify suitability of substrates, including surface conditions and compatibility with existing finishes and primers.

C. Proceed with coating application only after unsatisfactory conditions have been corrected.

1. Beginning coating application constitutes Contractor's acceptance of substrates and conditions.

3.2 PREPARATION

For renovation projects, consult "MPI Maintenance Repainting Manual" and revise first paragraph below and coating systems specified in the Exterior High-Performance Coating Schedule and Interior High-Performance Coating Schedule.

A. Comply with manufacturer's written instructions and recommendations in "MPI Architectural Painting Specification Manual" applicable to substrates indicated.

B. Clean substrates of substances that could impair bond of coatings, including dust, dirt, oil, grease, and incompatible paints and encapsulants.

Coordination of shop-applied prime coats with high-performance coatings is critical.

1. Remove incompatible primers and reprime substrate with compatible primers or apply tie coat as required to produce coating systems indicated.

3.3 APPLICATION

A. Apply high-performance coatings according to manufacturer's written instructions and recommendations in "MPI Architectural Painting Specification Manual."

B. Apply coatings to produce surface films without cloudiness, spotting, holidays, laps, brush marks, runs, sags, ropiness, or other surface imperfections. Produce sharp glass lines and color breaks.

3.4 CLEANING AND PROTECTION

A. Protect work of other trades against damage from coating operation. Correct damage by cleaning, repairing, replacing, and recoating, as approved by Architect, and leave in an undamaged condition.

B. At completion of construction activities of other trades, touch up and restore damaged or defaced coated surfaces.

3.5 EXTERIOR HIGH-PERFORMANCE COATING SCHEDULE

Coating systems in this article are based on "MPI Architectural Painting Specification Manual." For renovation projects, consult "MPI Maintenance Repainting Manual" and revise coating systems accordingly.

Coordinate substrates and coating systems retained in this article with products retained in Part 2.

A. Concrete Substrates, Vertical Surfaces:

"Epoxy System" Subparagraph below corresponds to MPI EXT 3.1D.

1. Epoxy System:

a. Prime Coat: Epoxy, gloss[, MPI #77].

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat: Epoxy, gloss[, MPI #77].

c. Topcoat: Epoxy, gloss[, MPI #77].

B. Concrete Substrates, Horizontal Surfaces:

"Epoxy Slip-Resistant Deck Coating System" Subparagraph below corresponds to MPI EXT 3.2C, Premium Grade system.

1. Epoxy Slip-Resistant Deck Coating System:

a. Topcoat: Epoxy deck coating (slip-resistant)[, MPI #82].

C. Clay-Masonry Substrates:

"Epoxy System" Subparagraph below corresponds to MPI EXT 4.1D. MPI recommends this system for smooth brick.

1. Epoxy System:

a. Prime Coat: Epoxy, gloss[, MPI #77].

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat: Epoxy, gloss[, MPI #77].

c. Topcoat: Epoxy, gloss[, MPI #77].

"Pigmented Polyurethane over Epoxy System" Subparagraph below corresponds to MPI EXT 4.1J, which requires intermediate coat for a Premium Grade system and does not include a Custom Grade system.

2. Pigmented Polyurethane over Epoxy System:

a. Prime Coat: Epoxy, gloss[, MPI #77].

b. Intermediate Coat: Epoxy, gloss[, MPI #77].

c. Topcoat: Polyurethane, two-component, pigmented, gloss (Gloss Level 6)[, MPI #72].

3. Pigmented Polyurethane System:

a. Prime Coat: As recommended in writing by topcoat manufacturer.

b. Intermediate Coat: As recommended in writing by topcoat manufacturer.

c. Topcoat: Polyurethane, two-component, pigmented, gloss (Gloss Level 6)[, MPI #72].

D. CMU Substrates:

"Epoxy System" Subparagraph below corresponds to MPI EXT 4.2E.

1. Epoxy System:

a. Block Filler: Block filler, epoxy[, MPI #116].

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat: Epoxy, gloss[, MPI #77].

c. Topcoat: Epoxy, gloss[, MPI #77].

"Pigmented Polyurethane over High-Build Epoxy System" Subparagraph below corresponds to MPI EXT 4.2G, which requires intermediate coat for a Premium Grade system and does not include a Custom Grade system.

2. Pigmented Polyurethane over High-Build Epoxy System:

a. Block Filler: Block filler, epoxy[, MPI #116].

b. Intermediate Coat: Epoxy, high-build, low gloss[, MPI #108].

c. Topcoat: Polyurethane, two-component, pigmented, gloss (Gloss Level 6)[, MPI #72].

E. Steel Substrates:

Retain one of two "High-Build Epoxy System" subparagraphs below; system corresponds to MPI EXT 5.1F, Premium Grade.

1. High-Build Epoxy System:

a. Prime Coat: Primer, epoxy, anti-corrosive, for metal[, MPI #101].

b. Intermediate Coat: Epoxy, high-build, low gloss[, MPI #108].

c. Topcoat: Epoxy, gloss[, MPI #77].

2. High-Build Epoxy System:

a. Prime Coat: Primer, epoxy, as recommended in writing by topcoat manufacturer.

b. Intermediate Coat: Epoxy, high-build, low gloss[, MPI #108].

c. Topcoat: Epoxy, gloss[, MPI #77].

Retain one of two "Pigmented Polyurethane over Epoxy System" subparagraphs below; system corresponds to MPI EXT 5.1H.

3. Pigmented Polyurethane over Epoxy System:

a. Prime Coat: Primer, epoxy, anti-corrosive, for metal[, MPI #101].

b. Intermediate Coat: Epoxy, gloss[, MPI #77].

c. First Topcoat: Polyurethane, two-component, pigmented, gloss (Gloss Level 6)[, MPI #72].

For a Premium Grade system, "MPI Manual" requires second topcoat; delete second topcoat for a Custom Grade system.

d. Second Topcoat: Polyurethane, two-component, pigmented, gloss (Gloss Level 6)[, MPI #72].

4. Pigmented Polyurethane over Epoxy System:

a. Prime Coat: Primer, epoxy, as recommended in writing by topcoat manufacturer.

b. Intermediate Coat: As recommended in writing by topcoat manufacturer.

c. First Topcoat: Polyurethane, two-component, pigmented, gloss (Gloss Level 6)[, MPI #72].

Retain one of two "Pigmented Polyurethane over Epoxy Zinc-Rich Primer System" subparagraphs below; system in first subparagraph corresponds to MPI EXT 5.1P, which requires intermediate coat for a Premium Grade system and does not include a Custom Grade system.

5. Pigmented Polyurethane over Epoxy Zinc-Rich Primer System:

a. Prime Coat: Primer, zinc-rich, epoxy[, MPI #20].

b. Intermediate Coat: Epoxy, gloss[, MPI #77].

c. First Topcoat: Polyurethane, two-component, pigmented, gloss (Gloss Level 6)[, MPI #72].

6. Pigmented Polyurethane over Epoxy Zinc-Rich Primer System:

a. Prime Coat: Primer, zinc-rich, epoxy[, MPI #20].

b. Intermediate Coat: As recommended in writing by topcoat manufacturer.

c. First Topcoat: Polyurethane, two-component, pigmented, gloss (Gloss Level 6)[, MPI #72].

Retain one of two "Pigmented Polyurethane over High-Build Epoxy System" subparagraphs below; system in first subparagraph corresponds to MPI EXT 5.1J, which requires intermediate coat for a Premium Grade system and does not include a Custom Grade system.

7. Pigmented Polyurethane over High-Build Epoxy System:

a. Prime Coat: Primer, epoxy, anti-corrosive, for metal[, MPI #101].

b. Intermediate Coat: Epoxy, high-build, low gloss[, MPI #108].

c. Topcoat: Polyurethane, two-component, pigmented, gloss (Gloss Level 6)[, MPI #72].

8. Pigmented Polyurethane over High-Build Epoxy System:

a. Prime Coat: Primer, epoxy, as recommended in writing by topcoat manufacturer.

b. Intermediate Coat: Epoxy, high-build, low gloss[, MPI #108].

c. Topcoat: Polyurethane, two-component, pigmented, gloss (Gloss Level 6)[, MPI #72].

"Pigmented Polyurethane over Epoxy Zinc-Rich Primer and High-Build Epoxy System" Subparagraph below corresponds to MPI EXT 5.1G.

9. Pigmented Polyurethane over Epoxy Zinc-Rich Primer and High-Build Epoxy System:

a. Prime Coat: Primer, zinc-rich, epoxy[, MPI #20].

b. Intermediate Coat: Epoxy, high-build, low gloss[, MPI #108].

c. First Topcoat: Polyurethane, two-component, pigmented, gloss (Gloss Level 6)[, MPI #72].

For a Premium Grade system, "MPI Manual" requires second topcoat; delete second topcoat for a Custom Grade system.

d. Second Topcoat: Polyurethane, two-component, pigmented, gloss (Gloss Level 6)[, MPI #72].

"Pigmented Polyurethane over Inorganic Zinc-Rich Primer and High-Build Epoxy System" Subparagraph below corresponds to MPI EXT 5.1L, which requires intermediate coat for a Premium Grade system and does not include a Custom Grade system.

10. Pigmented Polyurethane over Inorganic Zinc-Rich Primer and High-Build Epoxy System:

a. Prime Coat: Primer, zinc-rich, inorganic[, MPI #19].

b. Intermediate Coat: Epoxy, high-build, low gloss[, MPI #108].

c. Topcoat: Polyurethane, two-component, pigmented, gloss (Gloss Level 6)[, MPI #72].

Galvanized-metal substrates should not be chromate passivated. If galvanized metal is chromate passivated, consult manufacturers for appropriate surface preparation and primers.

F. Galvanized-Metal Substrates:

Retain one of two "Epoxy System" subparagraphs below; system in first subparagraph corresponds to MPI EXT 5.3C. MPI recommends this system for high-contact and -traffic areas.

1. Epoxy System:

a. Prime Coat: Primer, epoxy, anti-corrosive, for metal[, MPI #101].

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat: Epoxy, gloss[, MPI #77].

c. Topcoat: Epoxy, gloss[, MPI #77].

2. Epoxy System:

a. Prime Coat: Primer, epoxy, as recommended in writing by topcoat manufacturer.

b. Intermediate Coat: Epoxy, gloss[, MPI #77].

c. Topcoat: Epoxy, gloss[, MPI #77].

Retain one of two "Pigmented Polyurethane System" subparagraphs below; system in first subparagraph corresponds to MPI EXT 5.3L.

3. Pigmented Polyurethane System:

a. Prime Coat: Primer, epoxy, anti-corrosive, for metal[, MPI #101].

b. Intermediate Coat: Polyurethane, two-component, pigmented, gloss (Gloss Level 6)[, MPI #72].

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

c. Topcoat: Polyurethane, two-component, pigmented, gloss (Gloss Level 6)[, MPI #72].

4. Pigmented Polyurethane System:

a. Prime Coat: Primer, epoxy, as recommended in writing by topcoat manufacturer.

b. Intermediate Coat: Polyurethane, two-component, pigmented, gloss (Gloss Level 6)[, MPI #72].

c. Topcoat: Polyurethane, two-component, pigmented, gloss (Gloss Level 6)[, MPI #72].

Retain one of two "Pigmented Polyurethane over Vinyl Wash and Epoxy Primer System" subparagraphs below; system in first subparagraph corresponds to MPI EXT 5.3D.

5. Pigmented Polyurethane over Vinyl Wash and Epoxy Primer System:

a. Prime Coat: Primer, vinyl wash[, MPI #80].

b. Intermediate Coat: Primer, epoxy, anti-corrosive, for metal[, MPI #101].

c. First Topcoat: Polyurethane, two-component, pigmented, gloss (Gloss Level 6)[, MPI #72].

For a Premium Grade system, "MPI Manual" requires second topcoat; delete second topcoat for a Custom Grade system.

d. Second Topcoat: Polyurethane, two-component, pigmented, gloss (Gloss Level 6)[, MPI #72].

6. Pigmented Polyurethane over Vinyl Wash and Epoxy Primer System:

a. Prime Coat: Primer, vinyl wash[, MPI #80].

b. Intermediate Coat: Primer, epoxy, as recommended in writing by topcoat manufacturer.

c. First Topcoat: Polyurethane, two-component, pigmented, gloss (Gloss Level 6)[, MPI #72].

d. Second Topcoat: Polyurethane, two-component, pigmented, gloss (Gloss Level 6)[, MPI #72].

G. Aluminum (Not Anodized or Otherwise Coated) Substrates:

"Epoxy System" Subparagraph below corresponds to MPI EXT 5.4E.

1. Epoxy System:

a. Prime Coat: Primer, vinyl wash[, MPI #80].

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat: Epoxy, gloss[, MPI #77].

c. Topcoat: Epoxy, gloss[, MPI #77].

Retain one of two "Pigmented Polyurethane System" subparagraphs below; system in first subparagraph corresponds to MPI EXT 5.4B. MPI recommends these systems for high-contact and -traffic areas.

2. Pigmented Polyurethane System:

a. Prime Coat: Primer, vinyl wash[, MPI #80].

b. Intermediate Coat: Primer, epoxy, anti-corrosive, for metal[, MPI #101].

c. First Topcoat: Polyurethane, two-component, pigmented, gloss (Gloss Level 6)[, MPI #72].

For a Premium Grade system, "MPI Manual" requires second topcoat; delete second topcoat for a Custom Grade system.

d. Second Topcoat: Polyurethane, two-component, pigmented, gloss (Gloss Level 6)[, MPI #72].

3. Pigmented Polyurethane System:

a. Prime Coat: Primer, vinyl wash[, MPI #80].

b. Intermediate Coat: Primer, epoxy, as recommended in writing by topcoat manufacturer.

c. First Topcoat: Polyurethane, two-component, pigmented, gloss (Gloss Level 6)[, MPI #72].

d. Second Topcoat: Polyurethane, two-component, pigmented, gloss (Gloss Level 6)[, MPI #72].

H. Wood Substrates:

"Pigmented Polyurethane System" Subparagraph below corresponds to MPI EXT 6.1J, MPI EXT 6.2J, and MPI EXT 6.3H, which require intermediate coat for a Premium Grade system and do not include a Custom Grade system.

1. Pigmented Polyurethane System:

a. Prime Coat: Polyurethane, two-component, pigmented, gloss (Gloss Level 6)[, MPI #72].

b. Intermediate Coat: Polyurethane, two-component, pigmented, gloss (Gloss Level 6)[, MPI #72].

c. Topcoat: Polyurethane, two-component, pigmented, gloss (Gloss Level 6)[, MPI #72].

3.6 INTERIOR HIGH-PERFORMANCE COATING SCHEDULE

Coating systems in this article are based on "MPI Architectural Painting Specification Manual." For renovation projects, consult "MPI Maintenance Repainting Manual" and revise coating systems accordingly.

Coordinate substrates and coating systems retained in this article with products retained in Part 2.

A. Concrete Substrates, Vertical Surfaces:

"Epoxy System" Subparagraph below corresponds to MPI INT 3.1F. MPI recommends this system for smooth concrete.

1. Epoxy System:

a. Prime Coat: Epoxy, gloss[, MPI #77].

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat: Epoxy, gloss[, MPI #77].

c. Topcoat: Epoxy, gloss[, MPI #77].

"Epoxy-Modified Latex System" Subparagraph below corresponds to MPI INT 3.1G. MPI recommends this system for smooth concrete.

2. Epoxy-Modified Latex System:

a. Prime Coat: Epoxy-modified latex, interior, gloss (Gloss Level 6)[, MPI #115].

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat: Epoxy-modified latex, interior, gloss (Gloss Level 6)[, MPI #115].

c. Topcoat: Epoxy-modified latex, interior, gloss (Gloss Level 6)[, MPI #115].

B. Concrete Substrates, Horizontal Surfaces.

"Epoxy System" Subparagraph below corresponds to MPI INT 3.2C. MPI recommends this system for smooth concrete.

1. Epoxy System:

a. Prime Coat: Epoxy, gloss[, MPI #77].

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat: Epoxy, gloss[, MPI #77].

c. Topcoat: Epoxy, gloss[, MPI #77].

Retain one of two "Pigmented Polyurethane System" subparagraphs below; system in first subparagraph corresponds to MPI INT 3.2D.

2. Pigmented Polyurethane System:

a. Prime Coat: Epoxy, gloss[, MPI #77].

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat: Polyurethane, two-component, pigmented, gloss (Gloss Level 6)[, MPI #72].

c. Topcoat: Polyurethane, two-component, pigmented, gloss (Gloss Level 6)[, MPI #72].

3. Pigmented Polyurethane System:

a. Prime Coat: Epoxy, as recommended in writing by topcoat manufacturer.

b. Intermediate Coat: Polyurethane, two-component, pigmented, gloss (Gloss Level 6)[, MPI #72].

c. Topcoat: Polyurethane, two-component, pigmented, gloss (Gloss Level 6)[, MPI #72].

"Clear Two-Component Polyurethane System" Subparagraph below corresponds to MPI INT 3.2K.

4. Clear Two-Component Polyurethane System:

a. Prime Coat: Varnish, aliphatic polyurethane, two-component (Gloss Level 6 or 7)[, MPI #78].

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat: Varnish, aliphatic polyurethane, two-component (Gloss Level 6 or 7)[, MPI #78].

c. Topcoat: Varnish, aliphatic polyurethane, two-component (Gloss Level 6 or 7)[, MPI #78].

C. Clay-Masonry Substrates:

"Epoxy System" Subparagraph below corresponds to MPI INT 4.1F. MPI recommends this system for smooth brick.

1. Epoxy System:

a. Prime Coat: Epoxy, gloss[, MPI #77].

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat: Epoxy, gloss[, MPI #77].

c. Topcoat: Epoxy, gloss[, MPI #77].

"Epoxy-Modified Latex System" Subparagraph below corresponds to MPI INT 4.1G. MPI recommends this system for smooth brick.

2. Epoxy-Modified Latex System:

a. Prime Coat: Epoxy-modified latex, interior, gloss (Gloss Level 6)[, MPI #115].

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat: Epoxy-modified latex, interior, gloss (Gloss Level 6)[, MPI #115].

c. Topcoat: Epoxy-modified latex, interior, gloss (Gloss Level 6)[, MPI #115].

"Clear Two-Component Polyurethane System" Subparagraph below corresponds to MPI INT 4.1K.

3. Clear Two-Component Polyurethane System:

a. Prime Coat: Varnish, aliphatic polyurethane, two-component (Gloss Level 6 or 7)[, MPI #78].

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat: Varnish, aliphatic polyurethane, two-component (Gloss Level 6 or 7)[, MPI #78].

c. Topcoat: Varnish, aliphatic polyurethane, two-component (Gloss Level 6 or 7)[, MPI #78].

D. CMU Substrates:

1. Epoxy System:

Retain one of two "Block Filler" subparagraphs below; first corresponds to MPI INT 4.2F; second to MPI INT 4.2G. MPI recommends these systems for dry environments.

a. Block Filler: Block filler, latex, interior/exterior[, MPI #4].

b. Block Filler: Block filler, epoxy[, MPI #116].

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

c. Intermediate Coat: Epoxy, gloss[, MPI #77].

d. Topcoat: Epoxy, gloss[, MPI #77].

"Epoxy-Modified Latex System" Subparagraph below corresponds to MPI INT 4.2J. MPI recommends this system for wet environments.

2. Epoxy-Modified Latex System:

a. Block Filler: Block filler, latex, interior/exterior[, MPI #4].

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat: Epoxy-modified latex, interior, gloss (Gloss Level 6)[, MPI #115].

c. Topcoat: Epoxy-modified latex, interior, gloss (Gloss Level 6)[, MPI #115].

E. Steel Substrates:

"High-Build Epoxy System" Subparagraph below corresponds to MPI INT 5.1P.

1. High-Build Epoxy System:

a. Prime Coat: Primer, zinc-rich, epoxy[, MPI #20].

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat: Epoxy, high-build, low gloss[, MPI #108].

Retain one of two "Topcoat" subparagraphs below. Retain first for a Premium Grade system; retain second for a Custom Grade system.

c. Topcoat: Epoxy, gloss[, MPI #77].

d. Topcoat: Epoxy, high-build, low gloss[, MPI #108].

Retain one of two "Epoxy System" subparagraphs below; system in first subparagraph corresponds to MPI INT 5.1L.

2. Epoxy System:

a. Prime Coat: Primer, epoxy, anti-corrosive, for metal[, MPI #101].

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat: Epoxy, gloss[, MPI #77].

c. Topcoat: Epoxy, gloss[, MPI #77].

3. Epoxy System:

a. Prime Coat: Primer, epoxy, as recommended in writing by topcoat manufacturer.

b. Intermediate Coat: Epoxy, gloss[, MPI #77].

c. Topcoat: Epoxy, gloss[, MPI #77].

Retain one of two "Epoxy-Modified Latex System" subparagraphs below; system in first subparagraph corresponds to MPI INT 5.1K.

4. Epoxy-Modified Latex System:

a. Prime Coat: Primer, rust-inhibitive, water based[, MPI #107].

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat: Epoxy-modified latex, interior, gloss (Gloss Level 6)[, MPI #115].

c. Topcoat: Epoxy-modified latex, interior, gloss (Gloss Level 6)[, MPI #115].

5. Epoxy-Modified Latex System:

a. Prime Coat: Primer, rust-inhibitive, as recommended in writing by topcoat manufacturer.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat: Epoxy-modified latex, interior, gloss (Gloss Level 6)[, MPI #115].

c. Topcoat: Epoxy-modified latex, interior, gloss (Gloss Level 6)[, MPI #115].

Retain one of two "Pigmented Polyurethane System" subparagraphs below; system in first subparagraph corresponds to MPI INT 5.1F.

6. Pigmented Polyurethane System:

a. Prime Coat: Primer, epoxy, anti-corrosive, for metal[, MPI #101].

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat: Polyurethane, two-component, pigmented, gloss (Gloss Level 6)[, MPI #72].

c. Topcoat: Polyurethane, two-component, pigmented, gloss (Gloss Level 6)[, MPI #72].

7. Pigmented Polyurethane System:

a. Prime Coat: Primer, epoxy, as recommended in writing by topcoat manufacturer.

b. Intermediate Coat: Polyurethane, two-component, pigmented, gloss (Gloss Level 6)[, MPI #72].

c. Topcoat: Polyurethane, two-component, pigmented, gloss (Gloss Level 6)[, MPI #72].

Retain one of two "Pigmented Polyurethane over Inorganic Zinc-Rich Primer System" subparagraphs below; system in first subparagraph corresponds to MPI INT 5.1H, which requires intermediate coat for a Premium Grade system and does not include a Custom Grade system.

8. Pigmented Polyurethane over Inorganic Zinc-Rich Primer System:

a. Prime Coat: Primer, zinc-rich, inorganic[, MPI #19].

b. Intermediate Coat: Epoxy, gloss[, MPI #77].

c. Topcoat: Polyurethane, two-component, pigmented, gloss (Gloss Level 6)[, MPI #72].

9. Pigmented Polyurethane over Inorganic Zinc-Rich Primer System:

a. Prime Coat: Primer, zinc-rich, inorganic[, MPI #19].

b. Intermediate Coat: As recommended in writing by topcoat manufacturer.

c. Topcoat: Polyurethane, two-component, pigmented, gloss (Gloss Level 6)[, MPI #72].

Retain one of two "Pigmented Polyurethane over Epoxy Zinc-Rich Primer System" subparagraphs below; system in first subparagraph corresponds to MPI INT 5.1J, which requires intermediate coat for a Premium Grade system and does not include a Custom Grade system.

10. Pigmented Polyurethane over Epoxy Zinc-Rich Primer System:

a. Prime Coat: Primer, zinc-rich, epoxy[, MPI #20].

b. Intermediate Coat: Epoxy, gloss[, MPI #77].

c. Topcoat: Polyurethane, two-component, pigmented, gloss (Gloss Level 6)[, MPI #72].

11. Pigmented Polyurethane over Epoxy Zinc-Rich Primer System:

a. Prime Coat: Primer, zinc-rich, epoxy[, MPI #20].

b. Intermediate Coat: As recommended in writing by topcoat manufacturer.

c. Topcoat: Polyurethane, two-component, pigmented, gloss (Gloss Level 6)[, MPI #72].

Retain one of two "Pigmented Polyurethane over High-Build Epoxy System" subparagraphs below; system in first paragraph corresponds to MPI INT 5.1G, which requires high-build epoxy intermediate coat for a Premium Grade system and does not include a Custom Grade system.

12. Pigmented Polyurethane over High-Build Epoxy System:

a. Prime Coat: Primer, epoxy, anti-corrosive, for metal[, MPI #101].

b. Intermediate Coat: Epoxy, high-build, low gloss[, MPI #108].

c. Topcoat: Polyurethane, two-component, pigmented, gloss (Gloss Level 6)[, MPI #72].

13. Pigmented Polyurethane over High-Build Epoxy System:

a. Prime Coat: Primer, epoxy, as recommended in writing by topcoat manufacturer.

b. Intermediate Coat: Epoxy, high-build, low gloss[, MPI #108].

c. Topcoat: Polyurethane, two-component, pigmented, gloss (Gloss Level 6)[, MPI #72].

Galvanized-metal substrates should not be chromate passivated. If galvanized metal is chromate passivated, consult manufacturers for appropriate primers.

F. Galvanized-Metal Substrates:

Retain one of two "Epoxy System" subparagraphs below; system in first paragraph corresponds to MPI INT 5.3D.

1. Epoxy System:

a. Prime Coat: Primer, epoxy, anti-corrosive, for metal[, MPI #101].

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat: Epoxy, gloss[, MPI #77].

c. Topcoat: Epoxy, gloss[, MPI #77].

2. Epoxy System:

a. Prime Coat: Primer, epoxy, as recommended in writing by topcoat manufacturer.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat: Epoxy, gloss[, MPI #77].

c. Topcoat: Epoxy, gloss[, MPI #77].

3. Pigmented Polyurethane System:

a. Prime Coat: Primer, epoxy, as recommended in writing by topcoat manufacturer.

b. Intermediate Coat: Polyurethane, two-component, pigmented, gloss (Gloss Level 6)[, MPI #72].

c. Topcoat: Polyurethane, two-component, pigmented, gloss (Gloss Level 6)[, MPI #72].

G. Aluminum (Not Anodized or Otherwise Coated) Substrates:

"Epoxy System" Subparagraph below corresponds to MPI INT 5.4B.

1. Epoxy System:

a. Prime Coat: Primer, vinyl wash[, MPI #80].

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat: Epoxy, gloss[, MPI #77].

c. Topcoat: Epoxy, gloss[, MPI #77].

Retain one of two "Pigmented Polyurethane System" subparagraphs below; system in first subparagraph corresponds to MPI INT 5.4C, which requires intermediate coat for a Premium Grade system and does not include a Custom Grade system.

2. Pigmented Polyurethane System:

a. Prime Coat: Primer, vinyl wash[, MPI #80].

b. Intermediate Coat: Epoxy, gloss[, MPI #77].

c. Topcoat: Polyurethane, two-component, pigmented, gloss (Gloss Level 6)[, MPI #72].

3. Pigmented Polyurethane System:

a. Prime Coat: As recommended in writing by topcoat manufacture.

b. Intermediate Coat: As recommended in writing by topcoat manufacture.

c. Topcoat: Polyurethane, two-component, pigmented, gloss (Gloss Level 6)[, MPI #72].

H. Wood Substrates:

"Epoxy System" Subparagraph below corresponds to MPI INT 6.1L and MPI INT 6.3L.

1. Epoxy System:

a. Prime Coat: Epoxy, gloss[, MPI #77].

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat: Epoxy, gloss[, MPI #77].

c. Topcoat: Epoxy, gloss[, MPI #77].

"Pigmented Polyurethane System" Subparagraph below corresponds to MPI INT 6.1E, which requires intermediate coat for a Premium Grade system and does not include a Custom Grade system.

2. Pigmented Polyurethane System:

a. Prime Coat: Polyurethane, two-component, pigmented, gloss (Gloss Level 6)[, MPI #72].

b. Intermediate Coat: Polyurethane, two-component, pigmented, gloss (Gloss Level 6)[, MPI #72].

c. Topcoat: Polyurethane, two-component, pigmented, gloss (Gloss Level 6)[, MPI #72].

I. [Gypsum Board] [Plaster] Substrates:

"Epoxy System" Subparagraph below corresponds to MPI INT 9.2E.

1. Epoxy System:

a. Prime Coat: Primer sealer, latex, interior[, MPI #50].

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat: Epoxy, gloss[, MPI #77].

c. Topcoat: Epoxy, gloss[, MPI #77].

"Epoxy-Modified Latex System" Subparagraph below corresponds to MPI INT 9.2F.

2. Epoxy-Modified Latex System:

a. Prime Coat: Primer sealer, latex, interior[, MPI #50].

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat: Epoxy-modified latex, interior, gloss (Gloss Level 6)[, MPI #115].

c. Topcoat: Epoxy-modified latex, interior, gloss (Gloss Level 6)[, MPI #115].

END OF SECTION 099600

	HIGH-PERFORMANCE COATINGS
	099600 - 1



