Copyright 2010 AIA
MasterSpec Professional
02/10

Copyright 2010 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 101416 - PLAQUES
TIPS:
To view non-printing Editor's Notes that provide guidance for editing, click on Masterworks/Single‑File Formatting/Toggle/Editor's Notes.
To read detailed research, technical information about products and materials, and coordination checklists, click on Masterworks/Supporting Information.

Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect." Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 SUMMARY

A. Section includes plaques.

1.2 ACTION SUBMITTALS

A. Product Data: For each type of product.

B. LEED Submittals:

"Product Certificates for Credit MR 5" Subparagraph below applies to LEED-CI.

1. Product Certificates for Credit MR 5: For products and materials required to comply with requirements for regionally manufactured materials. Include statement indicating cost for each regionally manufactured material.

First subparagraph below applies to LEED-CI Credit MR 5, Option 1.

a. Include statement indicating location of manufacturer and distance to Project for each regionally manufactured material.

"Product Data for Credit IEQ 4.1" Subparagraph below applies to LEED-NC and LEED-CI; coordinate with requirements for adhesives.

2. Product Data for Credit IEQ 4.1: For adhesives, documentation including printed statement of VOC content.

"Laboratory Test Reports for Credit IEQ 4.1" Subparagraph below applies to LEED for Schools.

3. Laboratory Test Reports for Credit IEQ 4.1: For adhesives, documentation indicating that products comply with the testing and product requirements of the California Department of Health Services' "Standard Practice for the Testing of Volatile Organic Emissions from Various Sources Using Small-Scale Environmental Chambers."

C. Shop Drawings: For plaques.

1. Include fabrication and installation details and attachments to other work.

2. Show plaque mounting heights, locations of supplementary supports to be provided by others, and accessories.

3. Show message list, typestyles, graphic elements, and layout for each plaque at least [half size] <Insert scale>.

D. Samples: For each exposed product and for each color and texture specified.

E. Plaque Schedule: Use same designations specified or indicated on Drawings or in a plaque or sign schedule.

1.3 INFORMATIONAL SUBMITTALS

A. Sample warranty.

1.4 CLOSEOUT SUBMITTALS

A. Maintenance data.

1.5 WARRANTY

A. Special Warranty: Manufacturer agrees to repair or replace components of plaques that fail in materials or workmanship within specified warranty period.

Verify available warranties and warranty periods for units and components.

1. Warranty Period: [Five] <Insert number> years from date of Substantial Completion.

PART 2 -  PRODUCTS

See Editing Instruction No. 1 in the Evaluations for cautions about named manufacturers and products. For an explanation of options and Contractor's product selection procedures, see Section 016000 "Product Requirements."

2.1 PLAQUES, GENERAL

Retain "Regional Materials" Paragraph below for LEED-CI Credit MR 5, Option 1; before retaining, verify availability of plaques that comply.

A. Regional Materials: Plaques shall be manufactured within 500 miles (800 km) of Project site.

2.2 PERFORMANCE REQUIREMENTS

A. Accessibility Standard: Comply with applicable provisions in [the U.S. Architectural & Transportation Barriers Compliance Board's ADA-ABA Accessibility Guidelines for Buildings and Facilities] [and] [ICC A117.1] for signs.

2.3 PLAQUES

Retain this article for one-piece, flat or curved, solid-material plaques for decorative, informational, and memorial uses.

Copy "Cast Plaque" and "Etched Plaque" paragraphs below and re-edit for each product.

Insert number to complete drawing designation for each product required. Use these designations on Drawings to identify each product.

A. Cast Plaque <Insert drawing designation>: Plaque with background texture, border, and characters having uniform faces, sharp corners, and precisely formed lines and profiles; and as follows:

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, [provide products by the following] [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to identify a specific product or a comparable product from manufacturers listed. Retain option and delete insert note if manufacturer's name and model number are indicated on Drawings.

2. Basis-of-Design Product: Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. Ace Sign Systems, Inc.

b. Allen Markings International.

c. APCO Graphics, Inc.

d. A. R. K. Ramos Signage Systems.

e. Diskey Sign Company.

f. Erie Landmark Company; Division of Paul W. Zimmerman Foundries.

g. Gemini Incorporated.

h. Matthews International Corporation; Bronze Division.

i. Metal Arts; Division of L & H Mfg. Co.

j. Metallic Arts.

k. Nelson-Harkins Industries.

l. Southwell Company (The).

m. <Insert manufacturer's name>.

3. Plaque Material: Cast [aluminum] [brass] [bronze] [zinc] <Insert material>.

4. Plaque Thickness: [0.153 inch (3.89 mm)] [0.25 inch (6.35 mm)] [0.50 inch (12.7 mm)] <Insert dimension>.

5. Finishes:

Retain "Integral Metal Finish," "Integral Aluminum Finish," "Baked-Enamel or Powder-Coat Finish," and "Overcoat" subparagraphs below as required.

Retain "Integral Metal Finish" Subparagraph below for integral finishes on metals other than aluminum.

a. Integral Metal Finish: [Mill] [Antique oxidized] [Mill finish raised surface with dark oxidized background] [As indicated by manufacturer's designation] [Match Architect's sample] [As selected by Architect from full range of industry finishes] <Insert finish>.

Retain "Integral Aluminum Finish" Subparagraph below for integral finishes on aluminum. Some manufacturers do not recommend anodized finishes on sand-cast aluminum.

b. Integral Aluminum Finish: [Clear anodized] [Light bronze anodized] [Medium bronze anodized] [Match Architect's sample] [Anodized color as selected by Architect from full range of industry colors and color densities] <Insert finish>.

Retain "Baked-Enamel or Powder-Coat Finish" Subparagraph below for applied finish on metals; revise to suit Project.

c. Baked-Enamel or Powder-Coat Finish: Manufacturer's standard, in color [as indicated by manufacturer's designation] [matching Architect's sample] [as selected by Architect from manufacturer's full range] <Insert color>.

Retain "Overcoat" Subparagraph below if required.

d. Overcoat: [Manufacturer's standard baked-on clear coating] <Insert requirement>.

6. Background Texture: [Smooth] [Pebble] [Leatherette] [Matte] [Stipple] [Match Architect's sample] [As selected by Architect from manufacturer's full range] <Insert description>.

7. Integrally Cast Border Style: [As indicated] [Square cut without border] [Square single line, polished] [Square double line, polished] [Plain bevel, brushed] [Plain bevel, polished] [Projected bevel] [Raised flat band] [Double-raised line border] <Insert description>.

Retain one option in "Mounting" Subparagraph below; revise to suit Project.

8. Mounting: [As indicated] [Concealed studs] [Rosette-head through fasteners] [Countersunk flathead through fasteners] [Adhesive] <Insert requirement>.

B. Etched Plaque <Insert drawing designation>: Chemically etched or photochemically engraved metal sheet or plate with texture, border, and characters having uniform faces, sharp corners, and precisely formed lines and profiles; and as follows:

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, [provide products by the following] [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to identify a specific product or a comparable product from manufacturers listed. Retain option and delete insert note if manufacturer's name and model number are indicated on Drawings.

2. Basis-of-Design Product: Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. Ace Sign Systems, Inc.

b. Advance Corporation; Braille-Tac Division.

c. Allen Markings International.

d. APCO Graphics, Inc.

e. A. R. K. Ramos Signage Systems.

f. Diskey Sign Company.

g. Dixie Graphics.

h. Erie Landmark Company; Division of Paul W. Zimmerman Foundries.

i. Gemini Incorporated.

j. Matthews International Corporation; Bronze Division.

k. Metal Arts; Division of L & H Mfg. Co.

l. Metallic Arts.

m. Mohawk Sign Systems.

n. Nelson-Harkins Industries.

o. Steel Art Company.

p. <Insert manufacturer's name>.

3. Plaque Material: Sheet or plate [aluminum] [brass] [bronze] [copper] [stainless steel] [zinc] <Insert material>.

4. Plaque Thickness: [0.064 inch (1.63 mm)] [0.125 inch (3.18 mm)] [0.153 inch (3.89 mm)] [0.250 inch (6.35 mm)] <Insert dimension>.

5. Finishes:

Retain "Integral Metal Finish," "Integral Aluminum Finish," "Integral Stainless-Steel Finish, "Baked-Enamel or Powder-Coat Finish," and "Overcoat" subparagraphs below as required.

Retain "Integral Metal Finish" Subparagraph below for integral finishes on metals other than aluminum and stainless steel.

a. Integral Metal Finish: [Mill] [Antique oxidized] [Mill finish raised surface with dark oxidized background] [As indicated by manufacturer's designation] [Match Architect's sample] [As selected by Architect from full range of industry finishes] <Insert finish>.

Retain "Integral Aluminum Finish" Subparagraph below for integral finishes on aluminum.

b. Integral Aluminum Finish: [Clear anodized] [Light bronze anodized] [Medium bronze anodized] [Match Architect's sample] [Anodized color as selected by Architect from full range of industry colors and color densities] <Insert finish>.

Retain "Integral Stainless-Steel Finish" Subparagraph below for integral finishes on stainless steel.

c. Integral Stainless-Steel Finish: [No. 4] [No. 8] [Match Architect's sample] [As selected by Architect from full range of industry finishes] <Insert description>.

Retain "Baked-Enamel or Powder-Coat Finish" Subparagraph below for applied finish on metals; revise to suit Project.

d. Baked-Enamel or Powder-Coat Finish: Manufacturer's standard, in color [as indicated by manufacturer's designation] [matching Architect's sample] [as selected by Architect from manufacturer's full range] <Insert color>.

Retain "Overcoat" Subparagraph below if required.

e. Overcoat: [Manufacturer's standard baked-on clear coating] <Insert requirement>.

6. Integral Edge Style: [As indicated] [Square cut, polished] [Plain bevel, brushed] <Insert description>.

Retain one option in "Mounting" Subparagraph below; revise to suit Project.

7. Mounting: [As indicated] [Concealed studs] [Rosette-head through fasteners] [Countersunk flatheads through fasteners] [Adhesive] <Insert requirement>.

2.4 MATERIALS

Alloy UNS No. C85200 in "Brass Castings" Paragraph below has 3 percent lead content. Verify availability of lead-free alloy with plaque manufacturer before retaining first option.

A. Brass Castings: [Lead-free alloy] [Alloy UNS No. C85200 (high-copper yellow brass)] <Insert requirement>.

Alloy UNS No. C26000 (yellow brass) in "Brass Sheet (Yellow Brass)" Paragraph below has maximum 0.07 percent lead content. Verify availability of lead-free alloy with plaque manufacturer before retaining first option.

B. Brass Sheet (Yellow Brass): [Lead-free alloy] [Alloy UNS No. C26000 (yellow brass)] <Insert requirement>.

Alloy UNS No. C86500 in "Bronze Castings" Paragraph below has no listed lead content. Verify availability of lead-free alloy with plaque manufacturer before retaining first option.

C. Bronze Castings: [Lead-free alloy] [Alloy UNS No. C86500 (No. 1 manganese bronze)] <Insert requirement>.

Alloy UNS No. C22000 in "Bronze Plate" Paragraph below has a maximum 0.05 percent lead content. Verify availability of lead-free alloy with plaque manufacturer before retaining first option.

D. Bronze Plate: [Lead-free alloy] [Alloy UNS No. C22000 (commercial bronze)] <Insert requirement>.

Generally retain one option in "Stainless-Steel Sheet" Paragraph below.

E. Stainless-Steel Sheet: [Type 304] [Type 316].

2.5 ACCESSORIES

A. Fasteners and Anchors: Manufacturer's standard as required for secure anchorage of plaques, noncorrosive and compatible with each material joined, and complying with the following:

1. Use concealed fasteners and anchors unless indicated to be exposed.

2. For exterior exposure, furnish [nonferrous-metal] [stainless-steel] [or] [hot-dip galvanized] <Insert requirement> devices unless otherwise indicated.

3. Exposed Metal-Fastener Components, General:

a. Fabricated from same basic metal and finish of fastened metal unless otherwise indicated.

4. Plaque Mounting Fasteners:

a. Concealed Studs: Concealed (blind), threaded studs welded or brazed to back of plaque, screwed into back of plaque, or screwed into tapped lugs cast integrally into back of plaque, unless otherwise indicated.

b. Through Fasteners: Exposed metal fasteners matching plaque finish, with type of head indicated, installed in predrilled holes.

Retain first "Adhesives" Paragraph below if required for LEED-NC or LEED-CI Credit IEQ 4.1. VOC content limit is that for multipurpose construction adhesives. Revise VOC content limit based on application; see Section 018113.13 "Sustainable Design Requirements - LEED for New Construction and Major Renovations" or Section 018113.16 "Sustainable Design Requirements - LEED for Commercial Interiors" for a list of adhesive types and corresponding VOC content limits.

B. Adhesives: As recommended by plaque manufacturer and with a VOC content of [70] <Insert value> g/L or less for adhesives used inside the weatherproofing system and applied on-site when calculated according to 40 CFR 59, Subpart D (EPA Method 24).

Retain "Adhesives" Paragraph below if required for LEED for Schools Credit IEQ 4.1.

C. Adhesives: As recommended by plaque manufacturer and that comply with the testing and product requirements of the California Department of Health Services' "Standard Practice for the Testing of Volatile Organic Emissions from Various Sources Using Small-Scale Environmental Chambers."

D. Bituminous Paint: Cold-applied asphalt emulsion complying with ASTM D 1187.

2.6 FABRICATION

A. General: Provide manufacturer's standard plaques according to requirements indicated.

1. Provide welds and brazes behind finished surfaces without distorting or discoloring exposed side. Clean exposed welded and brazed connections of flux, and dress exposed and contact surfaces.

2. Conceal connections if possible; otherwise, locate connections where they are inconspicuous.

3. Provide rebates, lugs, and brackets necessary to assemble components and to attach to existing work. Drill and tap for required fasteners. Use concealed fasteners where possible; use exposed fasteners that match plaque finish.

4. Castings: Fabricate castings free of warp, cracks, blowholes, pits, scale, sand holes, and other defects that impair appearance or strength. Grind, wire brush, sandblast, and buff castings to remove seams, gate marks, casting flash, and other casting marks before finishing.

B. Surface-Engraved Graphics: Machine engrave characters and other graphic devices into panel surface indicated to produce precisely formed copy, incised to uniform depth.

1. Engraved Metal: Fill engraved graphics with manufacturer's standard baked enamel.

C. Brackets: Fabricate brackets, fittings, and hardware for bracket-mounted plaques to suit plaque construction and mounting conditions indicated. Modify manufacturer's standard brackets as required.

1. Aluminum Brackets: Factory finish brackets with baked-enamel or powder-coat finish [to match plaque-background color] [to match Architect's sample] <Insert requirement> color unless otherwise indicated.

2. Stainless-Steel Brackets: Factory finish brackets [to match plaque background] [to match Architect's sample] [with No. 4] <Insert finish> finish unless otherwise indicated.

PART 3 -  EXECUTION

3.1 INSTALLATION

Retain mounting methods in this article that coordinate with mounting requirements in plaque-description paragraphs retained in Part 2.

A. General: Install plaques using mounting methods indicated and according to manufacturer's written instructions.

1. Install plaques level, plumb, true to line, and at locations and heights indicated, with plaque surfaces free of distortion and other defects in appearance.

2. Install plaques so they do not protrude or obstruct according to the accessibility standard.

3. Before installation, verify that plaque surfaces are clean and free of materials or debris that would impair installation.

4. Corrosion Protection: Coat concealed surfaces of exterior aluminum in contact with grout, concrete, masonry, wood, or dissimilar metals, with a heavy coat of bituminous paint.

B. Mounting Methods:

1. Concealed Studs: Using a template, drill holes in substrate aligning with studs on back of plaque. Remove loose debris from hole and substrate surface.

a. Masonry Substrates: Fill holes with adhesive. Leave recess space in hole for displaced adhesive. Place plaque in position and push until flush to surface, embedding studs in holes. Temporarily support plaque in position until adhesive fully sets.

b. Thin or Hollow Surfaces: Place plaque in position and flush to surface, install washers and nuts on studs projecting through opposite side of surface, and tighten.

2. Through Fasteners: Drill holes in substrate using predrilled holes in plaque as template. Countersink holes in plaque if required. Place plaque in position and flush to surface. Install through fasteners and tighten.

3. Brackets: Remove loose debris from substrate surface and install bracket supports in position so that plaque is correctly located and aligned.

4. Adhesive: Clean bond-breaking materials from substrate surface and remove loose debris. Apply linear beads or spots of adhesive symmetrically to back of plaque and of suitable quantity to support weight of plaque after cure without slippage. Keep adhesive away from edges to prevent adhesive extrusion as plaque is applied and to prevent visibility of cured adhesive at plaque edges. Place plaque in position, and push to engage adhesive. Temporarily support plaque in position until adhesive fully sets.

C. Remove temporary protective coverings and strippable films as plaques are installed.

END OF SECTION 101416

	PLAQUES
	101416 - 1



