Copyright 2012 AIA
MasterSpec Professional
02/12

Copyright 2012 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 105143 - WIRE MESH STORAGE LOCKERS
TIPS:
To view non-printing Editor's Notes that provide guidance for editing, click on Masterworks/Single‑File Formatting/Toggle/Editor's Notes.
To read detailed research, technical information about products and materials, and coordination checklists, click on Masterworks/Supporting Information.

Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect." Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 SUMMARY

A. Section includes wire mesh storage lockers.

1.2 ACTION SUBMITTALS

A. Product Data: For each type of product.

B. LEED Submittals:

1. Product Data for Credit MR 4: For products having recycled content, documentation indicating percentages by weight of postconsumer and preconsumer recycled content. Include statement indicating cost for each product having recycled content.

"Laboratory Test Reports for Credit IEQ 4.2" Subparagraph below applies to LEED for Schools.

2. Laboratory Test Reports for Credit IEQ 4.2: For paints and coatings, documentation indicating that products comply with the testing and product requirements of the California Department of Public Health's (formerly, the California Department of Health Services') "Standard Method for the Testing and Evaluation of Volatile Organic Chemical Emissions from Indoor Sources Using Environmental Chambers."

C. Shop Drawings: Include plans, elevations, sections, details, and attachments.

PART 2 -  PRODUCTS

See Editing Instruction No. 1 in the Evaluations for cautions about named manufacturers and products. For an explanation of options and Contractor's product selection procedures, see Section 016000 "Product Requirements."

2.1 MANUFACTURERS

Retain "Manufacturers" Paragraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

A. Manufacturers: Subject to compliance with requirements, [provide products by the following] [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

Retain "Basis-of-Design Product" Paragraph and list of manufacturers below to identify a specific product or a comparable product from manufacturers listed. Retain option and delete insert note if manufacturer's name and model number are indicated on Drawings.

B. Basis-of-Design Product: Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

1. American Wire Inc.

2. California Wire Products Corporation.

3. Folding Guard Corporation.

4. Jesco Industries, Inc.

5. Kenco Wire & Iron Products Inc.

6. King Wire Partitions, Inc.

7. Newark Wire Works Inc.

8. SpaceGuard Products.

9. Standard Wire & Steel Works.

10. WireCrafters LLC.

11. <Insert manufacturer's name>.

2.2 MATERIALS

Retain "Recycled Content of Steel Products" Paragraph below to specify recycled content if required for LEED Credit MR 4. An alternative method of dealing with these credit requirements is to retain requirement in Section 018113.13 "Sustainable Design Requirements - LEED for New Construction and Major Renovations," Section 018113.16 "Sustainable Design Requirements - LEED for Commercial Interiors," or Section 018113.19 "Sustainable Design Requirements - LEED for Core and Shell Development" that gives Contractor the option and responsibility to determine how these credit requirements will be met.

A. Recycled Content of Steel Products: Postconsumer recycled content plus one-half of preconsumer recycled content not less than [25] <Insert number> percent.

B. Steel Wire: ASTM A 510 (ASTM A 510M).

C. Steel Plates, Channels, Angles, and Bars: ASTM A 36/A 36M.

D. Steel Sheet: Cold-rolled steel sheet, ASTM A 1008/A 1008M, Commercial Steel (CS), Type B.

E. Metallic-Coated Steel Sheet: ASTM A 653/A 653M, Commercial Steel (CS), Type B, with G60 (Z180) zinc (galvanized) or A60 (ZF180) zinc-iron-alloy (galvannealed) coating designation.

F. Seismic Bracing: Angles with legs not less than 1-1/4 inch (32 mm) wide, formed from 0.040-inch- (1.0-mm-) thick, metallic-coated steel sheet; with bolted connections and 1/4-inch- (6-mm-) diameter bolts.

Retain "Low-Emitting Coatings" Paragraph below if required for LEED for Schools. Note that below applies to shop finishes as well as shop primers.

G. Low-Emitting Coatings: Paints and coatings shall comply with the testing and product requirements of the California Department of Public Health's (formerly, the California Department of Health Services') "Standard Method for the Testing and Evaluation of Volatile Organic Chemical Emissions from Indoor Sources Using Environmental Chambers."

Retain one of or both "Shop Primers" and "Universal Shop Primer" paragraphs below. Retain first paragraph if primers are specified in another Section. Retain second for a typical shop primer for painted finishes that provides minimum protection to steel. If retaining second paragraph, indicate location of each primer on Drawings or in a schedule.

H. Shop Primers: Provide primers that comply with Section 099123 "Interior Painting."

I. Universal Shop Primer: Fast-curing, lead- and chromate-free, universal modified-alkyd primer, complying with MPI#79.

Retain "Galvanizing Repair Paint" Paragraph below for galvanized fabrications.

J. Galvanizing Repair Paint: High-zinc-dust-content paint for regalvanizing welds in steel, complying with SSPC-Paint 20.

2.3 WIRE MESH STORAGE LOCKERS

A. Unit Sizes:

1. Width: [36 inches (914 mm)] [48 inches (1219 mm)] <Insert dimension>.

2. Depth: [36 inches (914 mm)] [48 inches (1219 mm)] [60 inches (1524 mm)] <Insert dimension>.

3. Height: [90 inches (2286 mm)] <Insert dimension>.

B. Mesh: 0.135-inch- (3.5-mm-) diameter, intermediate-crimp steel wire woven into [1-1/2-inch (38-mm) diamond] [1-by-2-inch (25-by-50-mm) rectangular] mesh.

C. Wall Panels: 1-1/4-by-1-1/4-by-1/8-inch (32-by-32-by-3-mm) steel angle framing on top, bottom, and back sides, and 3-by-1/8-inch (76-by-3-mm) cold-rolled steel flat bar framing on front side, with wire mesh welded to framing.

1. Horizontal Panel Stiffeners: 1-1/4-by-1-1/4-by-1/8-inch (32-by-32-by-3-mm) steel angles or 3/4-by-1/4-inch (19-by-6-mm) hot-rolled steel flat bars.

Retain "Backs" Paragraph below if lockers are placed back to back.

D. Backs: [0.028-inch- (0.71-mm-)] [0.034-inch- (0.86-mm-)] thick, metallic-coated steel sheet. Required for back-to-back units only.

E. Doors: Fabricated from same mesh as wall panels, with framing fabricated from 1-1/4-by-1-1/4-by-1/8-inch (32-by-32-by-3-mm) steel angles on four sides with wire mesh welded to framing. Include padlock hasp.

1. Horizontal Stiffeners for Single-Tier Doors: 3/4-by-1/4-inch (19-by-6-mm) steel flat bars.

2. Hinges: Full-surface type, 2-1/2-by-2-1/2-inch (64-by-64-mm) steel, 1-1/2 pairs per single-tier door; bolted, riveted, or welded to door and jamb framing.

F. Finish for Uncoated Ferrous Steel: [Hot-dip galvanized] [Shop primed for field painting] [Enamel or powder-coated finish] unless otherwise indicated.

1. Color: [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

2.4 FABRICATION

A. General: Fabricate wire mesh storage lockers from components of sizes not less than those indicated. Use larger size components as recommended by wire mesh manufacturer. Furnish bolts, hardware, and accessories required for complete installation with manufacturer's standard finishes.

1. Fabricate wire mesh storage lockers to be readily disassembled.

Retain one of four options in "Welding" Subparagraph below; options are listed with best appearance and highest cost first.

2. Welding: Weld corner joints of framing and [grind smooth, leaving no evidence of joint] [finish sand] [remove spatter] [leave as applied].

B. Wire Mesh Storage Lockers: Fabricate initial storage locker with front and two sides. Fabricate additional storage lockers as add-on units designed to share one side with initial storage locker.

1. Fabricate wall panel and door framing with slotted holes for connecting adjacent panels.

2. Prehang doors in factory.

2.5 STEEL AND IRON FINISHES

A. Galvanizing: Hot-dip galvanize items as indicated to comply with ASTM A 153/A 153M for steel and iron hardware and with ASTM A 123/A 123M for other steel and iron products.

B. Preparation for Shop Priming: Prepare surfaces to comply with [SSPC-SP 6/NACE No. 3, "Commercial Blast Cleaning."] [SSPC-SP 3, "Power Tool Cleaning."]

Retain "Shop Priming" or "Enamel or Powder-Coat Finish" Paragraph below or insert another. Paint finish options for wire mesh units vary widely. For exact finish, insert names of coating manufacturers and products.

C. Shop Priming: Apply shop primer to uncoated surfaces of wire mesh units unless otherwise indicated. Comply with SSPC-PA 1, "Paint Application Specification No. 1: Shop, Field, and Maintenance Painting of Steel," for shop painting.

D. Enamel or Powder-Coat Finish: Immediately after cleaning and pretreating, apply manufacturer's standard enamel or powder-coat finish, suitable for use indicated, with a minimum dry film thickness of [2 mils (0.05 mm)] <Insert dimension>.

1. Color and Gloss: [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range] <Insert color and gloss>.

PART 3 -  EXECUTION

3.1 WIRE MESH STORAGE LOCKERS ERECTION

A. Anchor wire mesh storage lockers to floor with 3/8-inch- (9.5-mm-) diameter expansion anchors at 12 inches (305 mm) o.c. through bottom panel framing. Shim panel framing as required to achieve level and plumb installation.

B. Anchor wire mesh storage lockers to walls at 12 inches (305 mm) o.c. through back corner panel framing.

C. Attach adjacent wire mesh storage lockers to each other through side panel framing.

D. Install doors complete with door hardware.

3.2 ADJUSTING AND CLEANING

A. Adjust doors to operate smoothly and easily without binding or warping. Adjust hardware to function smoothly. Confirm that hasps engage accurately and securely without forcing or binding.

Retain "Touchup Painting" Paragraph below if touchup painting is included in this Section. Delete if no painted wire mesh items.

B. Touchup Painting: Immediately after erection, clean field welds, bolted connections, and abraded areas. Paint uncoated and abraded areas with the same material as used for shop painting to comply with SSPC-PA 1 for touching up shop-painted surfaces.

C. Galvanized Surfaces: Clean field welds, bolted connections, and abraded areas and repair galvanizing to comply with ASTM A 780/A 780M.

END OF SECTION 105143
	WIRE MESH STORAGE LOCKERS
	105143 - 1



