Copyright 2012 AIA
MasterSpec Professional
02/12

Copyright 2012 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 111313 - LOADING DOCK BUMPERS
TIPS:
To view non-printing Editor's Notes that provide guidance for editing, click on Masterworks/Single‑File Formatting/Toggle/Editor's Notes.
To read detailed research, technical information about products and materials, and coordination checklists, click on Masterworks/Supporting Information.

Revise this Section by deleting and inserting text to meet Project-specific requirements.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 SUMMARY

A. Section includes loading dock bumpers.

1.2 ACTION SUBMITTALS

A. Product Data: For each type of loading dock bumper.

B. Shop Drawings: For dock bumpers. Include plans, elevations, sections, details, and attachments to other work.

PART 2 -  PRODUCTS

See Editing Instruction No. 1 in the Evaluations for cautions about named manufacturers and products. For an explanation of options and Contractor's product selection procedures, see Section 016000 "Product Requirements."

2.1 DOCK BUMPERS

A. General: Surface-mounted bumpers; of type, size, and construction indicated; designed to absorb kinetic energy and minimize damage to loading dock structure.

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, [provide products by the following] [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to identify a specific product or a comparable product from manufacturers listed. Retain option and delete insert note if manufacturer's name and model number are indicated on Drawings.

2. Basis-of-Design Product: Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. American Floor Products Company, Inc.

b. Beacon Industries, Inc.

c. Chalfant Sewing Fabricators, Inc.

d. Durable Corporation.

e. Hugger Dock Equipment Company.

f. Kelley; 4Front Engineered Solutions, Inc.

g. Pioneer Dock Equipment.

h. Rite-Hite Holding Corporation.

i. Rotary Products Inc.

j. Serco; 4Front Engineered Solutions, Inc.

k. Super Seal Mfg. Ltd.

l. Vestil Manufacturing Corp.

m. <insert crap>

B. Laminated-Tread Dock Bumper: Fabricated from multiple, uniformly thick plies cut from fabric-reinforced rubber tires.

1. Thickness: [4-1/2 inches (114 mm)] [6 inches (152 mm)] [As indicated on Drawings] <Insert dimension>.

2. Horizontal Style: [6 inches (152 mm)] [10 inches (250 mm)] [12 inches (305 mm)] high by [length indicated on Drawings] <Insert dimension>.

3. Vertical Style: 8 inches (203 mm) wide by [20 inches (508 mm) high] [24 inches (610 mm) high] [36 inches (914 mm) high] [height indicated on Drawings] <Insert dimension>.

C. Molded-Rubber Dock Bumpers: Fabricated from molded-rubber compound reinforced with nylon, rayon, or polyester cord; with Type A Shore durometer hardness of 80, plus or minus 5, when tested according to ASTM D 2240.

1. Configuration: [T shape] [Inverted-L shape] [Square] [Rectangular] [As indicated on Drawings] <Insert configuration>.

2. Thickness: [2 inches (50 mm)] [3 inches (76 mm)] [4 inches (102 mm)] [6 inches (152 mm)] [As indicated on Drawings] <Insert dimension>.

D. Materials: ASTM 36/A 36M for steel plates, shapes, and bars. Hot-dip galvanize according to ASTM A 123/A 123M.

PART 3 -  EXECUTION

3.1 INSTALLATION

A. Attach dock bumpers to face of loading dock in a manner that complies with requirements indicated for spacing, arrangement, and position relative to top of platform and anchorage.

"Welded Attachment" Subparagraph below is not applicable to molded-rubber bumpers.

1. Welded Attachment: Plug-weld anchor holes in contact with steel inserts and fillet weld at other locations.

2. Bolted Attachment: Attach dock bumpers to preset anchor bolts embedded in concrete or to cast-in-place inserts or threaded studs welded to embedded-steel plates or angles. If preset anchor bolts, cast-in-place inserts, or threaded studs welded to embedded-steel plates or angles are not provided, attach dock bumpers by drilling and anchoring with expansion anchors and bolts.

3. Screw Attachment: Attach dock bumpers to wood construction with lag bolts as indicated.

B. After completing installation of exposed, factory-finished dock bumpers, inspect exposed finishes and repair damaged finishes.

END OF SECTION 111313

	LOADING DOCK BUMPERS
	111313 - 1



