Copyright 2011 AIA
MasterSpec Professional
02/11

Copyright 2011 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 122200 - CURTAINS AND DRAPES
TIPS:
To view non-printing Editor's Notes that provide guidance for editing, click on Masterworks/Single‑File Formatting/Toggle/Editor's Notes.
To read detailed research, technical information about products and materials, and coordination checklists, click on Masterworks/Supporting Information.

Revise this Section by deleting and inserting text to meet Project-specific requirements.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 SUMMARY

A. Section includes [draperies] [and] [drapery tracks].

1.2 ACTION SUBMITTALS

A. Product Data: For the following:

1. Tracks: Include maximum weights of draperies that can be supported.

2. Fabrics[ and textile treatments].

B. LEED Submittals:

"Product Data for Credit MR 4.1( and Credit MR 4.2)" Subparagraph below applies to LEED-NC, LEED-CI, and LEED for Schools; retain only if fabrics contain recycled content.

1. Product Data for Credit MR 4.1[ and Credit MR 4.2]: For products having recycled content, documentation indicating percentages by weight of postconsumer and preconsumer recycled content. Include statement indicating cost for each product having recycled content.

"Product Data for Credit MR 6" Subparagraph below applies to LEED-NC, LEED-CI, and LEED for Schools; retain only if fabrics contain natural content.

2. Product Data for Credit MR 6: For products having rapidly renewable content, documentation showing compliance.

C. Shop Drawings:

1. Tracks: Show installation and anchorage details and locations of controls.

2. Draperies: Show sizes, locations, and details of installation.

"Samples" Paragraph below assumes manufacturer's standard-size Samples are acceptable. Revise to suit Project.

D. Samples: For each exposed product and for each color and texture specified

1.3 INFORMATIONAL SUBMITTALS

A. Product certificate for each fabric treated with flame retardant.

1.4 CLOSEOUT SUBMITTAL

A. Maintenance data.

1.5 FIELD CONDITIONS

A. Field Measurements: Verify dimensions by field measurements before drapery fabrication, and indicate measurements on Shop Drawings.

PART 2 -  PRODUCTS

See Editing Instruction No. 1 in the Evaluations for cautions about named manufacturers and products. For an explanation of options and Contractor's product selection procedures, see SECTION 016000 "Product Requirements."

2.1 DRAPERY TRACKS

If more than one type of manually operated track is required, copy and re-edit "Manually Operated Track <Insert drawing designation>" Paragraph below and insert a unique drawing designation for each track. Use these designations on Drawings and schedules to identify each product.

A. Manually Operated Track <Insert drawing designation>:

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, [provide products by the following] [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

a. Forest Group USA, Inc.

b. Kirsch.

c. Silent Gliss USA Inc.

d. Springs Window Fashions.

e. <Insert manufacturer's name>.

Retain "Corded Window Covering Product Standard" Subparagraph below if pull-cord-operated tracks are specified.

2. Corded Window Covering Product Standard: Provide drapery tracks operated by pull cords complying with WCMA A 100.1.

3. Construction: Extruded aluminum, slotted for mounting at interval of not more than 24 inches (610 mm) o.c.[, and bendable to radii indicated.]

a. Support Capability: [Weight of drapery indicated] [30 lb (14 kg)] [45 lb (20 kg)] [60 lb (27 kg)] [80 lb (36 kg)] [140 lb (64 kg)] [210 lb (95 kg)] <Insert weight> mounted on track length indicated.

b. Finish: [Manufacturer's standard] [White baked enamel] [Clear anodic coating] <Insert finish>.

4. Mounting Brackets: Aluminum, of type suitable for fastening track to surface indicated and designed to support weight of track assembly and drapery plus force applied to operate track.

a. Mounting Surface: [As indicated on Drawings] [Wall] [Ceiling] [Drapery pocket] <Insert description>.

b. Size: [Adjustable] <Insert dimension>.

5. Installation Fasteners: Sized to support track assembly and drapery, and fabricated from metal compatible with track, brackets, and supporting construction. Provide two fasteners to fasten each bracket to supporting construction.

6. Operation: [Baton] [Cord] [Cord tension pulley].

Retain "Pulley Mounting Location" Subparagraph below for cord-tension-pulley operation; delete for baton or cord operation.

a. Pulley Mounting Location: [Wall] [Baseboard] [Floor].

b. Draw: [One way, stack as indicated on Drawings] [One way, stack left] [One way, stack right] [Two way, center opening].

c. Operating Hardware Location: [On stack side] [Left] [Right] [As indicated on Drawings].

7. Carriers: [Rollers] [Rollers with hooks] [Rollers with snaps] [Slides] [Slides with hooks] [Coordinate with drapery headings indicated] <Insert description>.

In "Master Carriers" Subparagraph below, retain butt type for one-way draw draperies and butt or overlap for two-way, center-opening draperies.

a. Master Carriers: [Butt] [Overlap].

8. End Stops: [Manufacturer's standard] [Manufacturer's standard with track end cap].

9. Pulleys: [Standard] [Heavy] duty.

10. Accessories: <Insert accessories>.

2.2 DRAPERIES

A. Fire-Test-Response Characteristics: For fabrics treated with fire retardants, provide products that pass NFPA 701 as determined by testing of fabrics that were treated using treatment-application method intended for use for this Project by a testing and inspecting agency acceptable to authorities having jurisdiction.

Retain "Manufacturers" Paragraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

B. Manufacturers: Subject to compliance with requirements, [provide products by the following] [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

1. Barjan Manufacturing Ltd.

2. Contract Shading Systems.

3. County Draperies, Inc.

4. Creative Draperies Inc.

5. DFB Sales Inc.

6. Fabricut.

7. Fabtex.

8. Quiltcraft Industries, Inc.

Standard Textile specializes in healthcare fabrics.

9. Standard Textile Co., Inc.

10. Wesco Fabrics, Inc.

11. <Insert manufacturer's name>.

C. Source Limitations: Obtain each color and pattern of drapery fabric and trim from one dye lot.

If more than one type of drapery is required, copy and re-edit "Drapery <Insert drawing designation>" Paragraph below and insert a unique drawing designation for each drapery. Coordinate these designations with Drawings and schedules.

D. Drapery <Insert drawing designation>:

1. Heading:

Retain one of "Pinch (French) Pleats," "Stack Pleats," "Roll Pleats," "Accordion Pleats," and "<Insert heading description>" subparagraphs below. See "Drapery Construction" Article in the Evaluations for a discussion and illustrations of headings; see "Drapery Terminology" Article in the Evaluations for a discussion of fullness. Option for three-fold pleats in "Pinch (French) Pleats" Subparagraph below is most common.

a. Pinch (French) Pleats: [100] [150] [200] [250] percent fullness; [two] [three] [four] [five]-fold (fingers) each pleat.

b. Stack Pleats: [60] [80] [100] [120] percent fullness.

c. Roll Pleats: [60] [80] [100] [120] percent fullness.

d. Accordion Pleats: [40] [80] [100] [120] percent fullness.

e. <Insert heading description>: <Insert number> percent fullness.

f. Pleat Spacing: <Insert dimension>.

g. Heading Accessories:

Retain applicable accessories in first four subparagraphs below. Coordinate with pleat style and track requirements.

1) Nonwoven buckram.

2) Woven snap tape, [7/8 inch (22 mm) wide, with nickel-plated snaps at 4 inches (102 mm) o.c.] <Insert description>.

3) Hooks.

4) <Insert accessory>.

2. Drapery Fabric:

a. Manufacturer: <Insert manufacturer's name>.

b. Designation: <Insert manufacturer's designation>.

c. Pattern: <Insert pattern name>.

d. Color: <Insert colorway designation>.

e. Fiber Content: <Insert description>.

Retain "Recycled Content of Drapery Fabric" Subparagraph below to specify recycled content if applying for LEED Credit MR 4.1 and Credit MR 4.2. An alternative method of dealing with these credit requirements is to retain requirement in Section 018113.13 "Sustainable Design Requirements - LEED for New Construction and Major Renovations," Section 018113.16 "Sustainable Design Requirements - LEED for Commercial Interiors," Section 018113.19 "Sustainable Design Requirements - LEED for Core and Shell Development," Section 018113.23 "Sustainable Design Requirements - LEED for Schools" that gives Contractor the option and responsibility to determine how these credit requirements will be met.

f. Recycled Content of Drapery Fabric: Postconsumer recycled content plus one-half of preconsumer recycled content not less than <Insert number> percent.

See "Textile Treatments" and "Drapery Flame-Resistance Testing" articles in the Evaluations for a discussion of textile treatments. Inherently flame-resistant fabrics are available.

g. Textile Treatments: [Stain repellent] [Flame retardant, polymer type] [Stain repellent; and flame retardant, polymer type] <Insert requirements>.

3. Lining Fabric:

a. Lining Type: [Blackout] [Thermal reflective] [Water resistant] <Insert description>.

Retain "Manufacturer" Subparagraph below if required.

b. Manufacturer: [Selected by fabricator for use with drapery fabric indicated] <Insert manufacturer's name>.

Retain "Manufacturer's Designation" Subparagraph below unless fabricator selects lining fabric.

c. Manufacturer's Designation: <Insert manufacturer's designation>.

d. Color: <Insert description or colorway designation>.

e. Fiber Content: <Insert description>.

Retain "Recycled Content of Lining Fabric" Subparagraph below to specify recycled content if applying for LEED Credit MR 4.1 and Credit MR 4.2. An alternative method of dealing with these credit requirements is to retain requirement in Section 018113.13 "Sustainable Design Requirements - LEED for New Construction and Major Renovations," Section 018113.16 "Sustainable Design Requirements - LEED for Commercial Interiors," Section 018113.19 "Sustainable Design Requirements - LEED for Core and Shell Development," Section 018113.23 "Sustainable Design Requirements - LEED for Schools" that gives Contractor the option and responsibility to determine how these credit requirements will be met.

f. Recycled Content of Lining Fabric: Postconsumer recycled content plus one-half of preconsumer recycled content not less than <Insert number> percent.

g. Textile Treatments: [Stain repellent] [Flame retardant, polymer type] [Stain repellent; and flame retardant, polymer type] <Insert requirements>.

4. Textile Trim: <Insert description for each type of trim required; include manufacturers, products, and colors>.

5. Tiebacks: <Insert description; include manufacturer's name, product name or designation, and color>.

Retain first option in "Hem Weights" Subparagraph below for opaque fabrics; retain second option for sheer or light-colored fabrics.

6. Hem Weights: [1-inch- (25-mm-) square lead weights] [Tape type (string weights)].

"Drapery Fabrication" Article below is an example only; revise to suit Project.

2.3 DRAPERY FABRICATION

A. Fabricate draperies in heading styles and fullnesses indicated. Fabricate headings to stand erect. If less than a full width of fabric is required to produce panel of specified fullness, use equal widths of not less than one-half width of fabric located at ends of panel.

1. One-Way-Stacking Draperies: Add 5 inches (127 mm) to overall width for returns.

2. Center-Opening Draperies: Add 10 inches (254 mm) to overall width for overlap.

B. Seams: Sew vertical seams with twin-needle sewing machine with selvage trimmed and overlocked. Join widths so that patterns match and vertical seams lay flat and straight without puckering. Horizontal seams are not acceptable.

C. Side Hems: Double-turned, 1-1/2-inch- (38-mm-) wide hems consisting of three layers of fabric, and blindstitched so that stitches are not visible on face of drapery.

D. Bottom Hems: Double-turned, 4-inch- (102-mm-) wide hems consisting of three layers of fabric, and weighted and blindstitched so that weights and stitches are not visible on face of drapery.

E. Linings: Equal to widths of drapery fabric and joined to drapery fabric at top by inside invisible seam, and hand stitched at side hems and shadowed with 1-1/2-inch (38-mm) return of face fabric.

1. Bottom Hem: [Hem separately from] [Blind stitch to] drapery fabric.

PART 3 -  EXECUTION

3.1 DRAPERY TRACK INSTALLATION

A. Install track systems according to manufacturer's written instructions, level and plumb, and at height and location in relation to adjoining openings as indicated on Drawings.

B. Isolate metal parts of tracks and brackets from concrete, masonry, and mortar to prevent galvanic action. Use tape or another method recommended in writing by track manufacturer.

3.2 DRAPERY INSTALLATION

A. Where draperies abut overhead construction, hang draperies so that clearance between headings and overhead construction is 1/4 inch (6.4 mm).

B. Where draperies extend to floor, install so that bottom hems clear finished floor by not more than 1 inch (25 mm) and not less than 1/2 inch (13 mm).

C. Where draperies extend to windowsill, install so that bottom hems hang above sill line and clear sill line by not more than 1/2 inch (13 mm).

D. After hanging draperies, test and adjust each track to produce unencumbered, smooth operation.

E. Steam and dress down draperies as required to produce crease- and wrinkle-free installation.

F. Remove and replace draperies that are stained or soiled.

END OF SECTION 122200

	CURTAINS AND DRAPES
	122200 - 1



