Copyright 2010 AIA
MasterSpec Professional
02/10

Copyright 2010 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 122413 - ROLLER WINDOW SHADES
TIPS:
To view non-printing Editor's Notes that provide guidance for editing, click on Masterworks/Single‑File Formatting/Toggle/Editor's Notes.
To read detailed research, technical information about products and materials, and coordination checklists, click on Masterworks/Supporting Information.

Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect." Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 SUMMARY

A. Section includes [manually] [motor-] operated roller shades[ for skylights].

1.2 ACTION SUBMITTALS

A. Product Data: For each type of product.

1. Include styles, material descriptions, construction details, dimensions of individual components and profiles, features, finishes, and operating instructions for roller shades.

B. Shop Drawings: Show fabrication and installation details for roller shades, including shadeband materials, their orientation to rollers, and their seam and batten locations.

1. Motor-Operated Shades: Include details of installation and diagrams for power, signal, and control wiring.

C. Samples: For each exposed product and for each color and texture specified.

D. Roller-Shade Schedule: Use same designations indicated on Drawings.

1.3 INFORMATIONAL SUBMITTALS

A. Product certificates.

B. Product test reports.

1.4 CLOSEOUT SUBMITTALS

A. Maintenance data.

1.5 QUALITY ASSURANCE

A. Installer Qualifications: Fabricator of products.

B. Mockups: Build mockups to verify selections made under Sample submittals, to demonstrate aesthetic effects, and to set quality standards for materials and execution.

1. Approval of mockups does not constitute approval of deviations from the Contract Documents contained in mockups unless Architect specifically approves such deviations in writing.

Retain subparagraph below if the intention is to make an exception to the default requirement in Section 014000 "Quality Requirements" for demolishing and removing mockups.

2. Subject to compliance with requirements, approved mockups may become part of the completed Work if undisturbed at time of Substantial Completion.

PART 2 -  PRODUCTS

See Editing Instruction No. 1 in the Evaluations for cautions about named manufacturers and products. For an explanation of options and Contractor's product selection procedures, see Section 016000 "Product Requirements."

2.1 MANUFACTURERS

Retain "Manufacturers" Paragraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

A. Manufacturers: Subject to compliance with requirements, [provide products by the following] [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

Retain "Basis-of-Design Product" Paragraph and list of manufacturers below to identify a specific product or a comparable product from manufacturers listed. Retain option and delete insert note if manufacturer's name and model number are indicated on Drawings.

B. Basis-of-Design Product: Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

1. BTX Window Automation, Inc.

2. DFB Sales.

3. Draper Inc.

4. Hunter Douglas Contract.

5. Lutron Electronics Co., Inc.

6. MechoShade Systems, Inc.

7. Nysan Solar Control Inc.; Hunter Douglas Company.

8. OEM Shades Inc.

9. Shade Techniques, LLC.

10. Silent Gliss USA, Inc.

11. SM Automatic, Inc.

12. <Insert manufacturer's name>.

2.2 ROLLER SHADES

Retain "Motorized Operating Mechanisms," "Chain-and-Clutch Operating Mechanisms," "Crank-and-Gear Operating Mechanisms," or "Spring Operating Mechanisms" Paragraph below or, if more than one type of operating mechanism is required, show locations of each on Drawings or in a window-treatment schedule.

A. Motorized Operating Mechanisms: Provide factory-assembled shade-operator systems of size and capacity and with features, characteristics, and accessories suitable for conditions indicated and recommended by manufacturer for use with shades indicated.

1. Electrical Components: Listed and labeled as defined in NFPA 70, by a qualified testing agency, and marked for intended location and application.

If required, insert manufacturers' description of optional motor that is available (e.g., "quiet operation" motor, etc.) in "Electric Motors" Subparagraph below.

2. Electric Motors: [Manufacturer's standard] <Insert description> for operating roller shades.

a. Electrical Characteristics: Single phase, [24] [110] [220] <Insert value> V, 60 Hz.

3. Remote Controls: [Keyed] [Individual wall-switch] [Group wall-switch] [Individual/group wall-switch] <Insert type> control stations.

If retaining "Crank-Operator Override" Subparagraph below, verify availability with manufacturers.

4. Crank-Operator Override: Crank and gearbox operate shades in event of power outage or motor failure.

5. Limit Switches: Adjustable switches, interlocked with motor controls and set to stop shade movement automatically at fully raised and fully lowered positions.

B. Chain-and-Clutch Operating Mechanisms: With continuous-loop bead chain and clutch that stops shade movement when bead chain is released; permanently adjusted and lubricated.

1. Bead Chains: [Manufacturer's standard] [Nickel-plated metal] [Stainless steel] [Plastic] <Insert description>.

a. Loop Length: [Full length of roller shade] [As indicated on Drawings] <Insert length>.

b. Limit Stops: Provide upper and lower ball stops.

c. Chain-Retainer Type: [Clip, jamb mount] [Chain tensioner, jamb mounted] [Chain tensioner, sill mounted] <Insert description>.

Retain "Spring Lift-Assist Mechanisms" Subparagraph below for heavy roller shades; verify availability with manufacturers and manufacturers' weight-limit recommendations. MechoShade's literature states that lift-assist mechanisms are required for shades with single rollers where shadebands weigh more than 10 lb (4.5 kg).

2. Spring Lift-Assist Mechanisms: Manufacturer's standard for balancing roller-shade weight and lifting heavy roller shades.

a. Provide for shadebands that weigh more than [10 lb (4.5 kg)] <Insert value> or for shades as recommended by manufacturer, whichever criteria are more stringent.

C. Crank-and-Gear Operating Mechanisms: Sealed gearbox drive system controlled by crank handle.

1. Crank-Handle Type: [Detachable] [Permanently mounted].

2. Crank-Handle Length: [6 feet (1.8 m)] [10 feet (3 m)] [Manufacturer's standard] [As indicated on Drawings] <Insert length>.

D. Spring Operating Mechanisms: Roller contains spring sized to accommodate shade size indicated. Provide with positive locking mechanism that can stop shade movement at each half-turn of roller and with manufacturer's standard pull.

1. Pole: Manufacturer's standard type in length required to make operation convenient from floor level and with hook for engaging pull.

E. Rollers: Corrosion-resistant steel or extruded-aluminum tubes of diameters and wall thicknesses required to accommodate operating mechanisms and weights and widths of shadebands indicated without deflection. Provide with permanently lubricated drive-end assemblies and idle-end assemblies designed to facilitate removal of shadebands for service.

Coordinate option retained in "Roller Mounting Configuration" Subparagraph below with available space. Side-by-side double-roller mounting is wider than offset double-roller mounting; offset mounting is taller than side-by-side mounting.

1. Roller Mounting Configuration: [Single roller] [Double roller, side by side] [Double roller, offset with outside roller over and inside roller under] <Insert requirements>.

If drive-end locations or directions of shadeband roll differ for inside and outside rollers in double-roller configurations, insert requirements in "Roller Drive-End Location" and "Direction of Shadeband Roll" subparagraphs below.

2. Roller Drive-End Location: [Right side of inside face of shade] [Left side of inside face of shade] [As indicated on Drawings] <Insert requirements>.

Coordinate direction of roll with fascia, headbox, or shade-pocket design.

3. Direction of Shadeband Roll: [Regular, from back of roller] [Reverse, from front of roller].

4. Shadeband-to-Roller Attachment: [Manufacturer's standard method] [Adhesive strip] [Removable spline fitting integral channel in tube] <Insert description>.

Types and sizes of mounting hardware vary among manufacturers. Revise "Mounting Hardware" Paragraph below if specific types of hardware (e.g., extended brackets, slim-profile, or one-piece, double-roller brackets) are required. Where hardware dimensions are critical, indicate installation conditions and size constraints on Drawings.

F. Mounting Hardware: Brackets or endcaps, corrosion resistant and compatible with roller assembly, operating mechanism, installation accessories, and mounting location and conditions indicated.

If retaining "Roller-Coupling Assemblies" Paragraph below, indicate locations and quantities of rollers joined with coupling assemblies on Drawings or in a window-treatment schedule.

G. Roller-Coupling Assemblies: Coordinated with operating mechanism and designed to join up to three inline rollers into a multiband shade that is operated by one roller drive-end assembly.

H. Shadebands:

Coordinate option retained in "Shadeband Material" Subparagraph below with requirements specified in "Shadeband Materials" Article. Typically for double-roller configurations, light-filtering shadebands are installed on the inside rollers and light-blocking shadebands are installed on the outside rollers.

1. Shadeband Material: [Light-filtering fabric] [Light-blocking fabric] [Light-filtering fabric on inside roller, light-blocking fabric on outside roller] <Insert requirements>.

Revise "Shadeband Bottom (Hem) Bar" Subparagraph below if wood bar is acceptable for roller shades with spring operating systems.

2. Shadeband Bottom (Hem) Bar: Steel or extruded aluminum.

Bottom bars vary among manufacturers; insert requirements for specific type and shape in "Type" Subparagraph below. If hem bars are different for inside and outside shadebands in double-roller configurations, revise "Type" and "Color and Finish" subparagraphs below.

Methods of sealing light gaps at bottoms of shades vary among manufacturers. Exposed bottom bars with integral light seals are available from MechoShade.

a. Type: [Enclosed in sealed pocket of shadeband material] [Exposed with endcaps] [Exposed with endcaps and integral light seal where bottom (sill) channels are indicated] <Insert description>.

Retain "Color and Finish" Subparagraph below for exposed bottom bars.

b. Color and Finish: [As selected by Architect from manufacturer's full range] <Insert color and finish>.

I. Installation Accessories:

Retain "Front Fascia" or "Exposed Headbox" Subparagraph below for exposed roller enclosures. Retain "Exposed Headbox" Subparagraph for light-blocking shades.

1. Front Fascia: Aluminum extrusion that conceals front and underside of roller and operating mechanism and attaches to roller endcaps without exposed fasteners.

Shapes and heights of fasciae vary among manufacturers.

a. Shape: [L-shaped] [Curved] <Insert requirements>.

b. Height: Manufacturer's standard height required to conceal roller and shadeband when shade is fully open, but not less than [4 inches (102 mm)] [3 inches (76 mm)] <Insert dimension>.

2. Exposed Headbox: Rectangular, extruded-aluminum enclosure including front fascia, top and back covers, endcaps, and removable bottom closure.

a. Height: Manufacturer's standard height required to enclose roller and shadeband when shade is fully open, but not less than [4 inches (102 mm)] [3 inches (76 mm)] [height indicated on Drawings] <Insert dimension>.

If retaining "Endcap Covers" Subparagraph below, verify availability with manufacturers. Depending on manufacturer and manual operating system, endcaps might be required for mounting shades or attaching fasciae or headboxes.

3. Endcap Covers: To cover exposed endcaps.

Retain "Recessed Shade Pocket" Subparagraph below for roller enclosure installed above the ceiling.

4. Recessed Shade Pocket: Rectangular, extruded-aluminum enclosure designed for recessed ceiling installation; with front, top, and back formed as one piece, end plates, and removable bottom closure panel.

a. Height: Manufacturer's standard height required to enclose roller and shadeband when shade is fully open, but not less than [6 inches (152 mm)] [5 inches (127 mm)] [4 inches (102 mm)] [height indicated on Drawings] <Insert dimension>.

b. Provide pocket with lip at lower edge to support acoustical ceiling panel.

5. Closure Panel and Wall Clip: Removable aluminum panel designed for installation at bottom of site-constructed ceiling recess or pocket and for snap-in attachment to wall clip without fasteners.

Widths of closure panels vary among manufacturers.

a. Closure-Panel Width: [As indicated on Drawings] [2 inches (51 mm)] <Insert dimension>.

Retain "Side Channels" and "Bottom (Sill) Channel or Angle" subparagraphs below for light-blocking shades.

6. Side Channels: With light seals and designed to eliminate light gaps at sides of shades as shades are drawn down. Provide side channels with shadeband guides or other means of aligning shadebands with channels at tops.

Methods of sealing light gaps at bottoms of shades vary among manufacturers. Shadeband bottom bars fit into bottom channels or butt against bottom angles to seal light leaks.

7. Bottom (Sill) Channel or Angle: With light seals and designed to eliminate light gaps at bottoms of shades when shades are closed.

8. Installation Accessories Color and Finish: [As selected from manufacturer's full range] <Insert color and finish>.

2.3 SKYLIGHT ROLLER SHADES

Retain "Motorized Operating System" or "Manual Operating Mechanisms" Paragraph below or, if more than one type of operating mechanism is required, show locations of each on Drawings or in a window-treatment schedule.

A. Motorized Operating System: Provide factory-assembled shade-operator system of size and capacity and with features, characteristics, and accessories suitable for conditions indicated and recommended by manufacturer for use with shades indicated.

1. System Type: [Two-roller, two-motor system, one for shadeband roll-up, one for cable take-up] [Single-motor, two-roller system, with motor in drive roller and spring in take-up roller] [Single motor and roller, gravity drop] <Insert description>.

2. Electrical Components: Listed and labeled as defined in NFPA 70, by a qualified testing agency, and marked for intended location and application.

If required, insert manufacturers' description of alternative motor that is available (e.g., "quiet operation" motor, etc.) in "Electric Motor" Subparagraph below.

3. Electric Motor: [Manufacturer's standard] <Insert description> tubular, enclosed in roller.

a. Electrical Characteristics: Single phase, [24] [110] [220] <Insert value> V, 60 Hz.

4. Remote Controls: [Keyed] [Individual wall-switch] [Group wall-switch] [Individual/group wall-switch] <Insert type> control stations.

If retaining "Crank-Operator Override" Subparagraph below, verify availability with manufacturers.

5. Crank-Operator Override: Crank and gearbox operate shades in event of power outage or motor failure.

6. Limit Switches: Adjustable switches, interlocked with motor controls and set to stop shade movement automatically at fully raised and fully lowered positions.

B. Manual Operating Mechanisms: Manufacturer's complete system and accessories suitable for conditions indicated, recommended by manufacturer for use with shade indicated, and as required for reliable operation without malfunction.

Manually operated, skylight roller shades are available from a limited number of manufacturers. Retaining "Chain-and-Clutch Operating Mechanisms," "Crank-and-Gear Operating Mechanisms," or "Spring Operating Mechanisms" Subparagraph below further limits competition among manufacturers. If more than one type of manual operating mechanism is acceptable, revise text accordingly.

1. Chain-and-Clutch Operating Mechanisms: [Two] [Single]-roller system with continuous-loop bead chain and clutch in drive roller that stops shade movement when bead chain is released; permanently adjusted and lubricated.

a. Loop Length: [Full length of roller shade] [As indicated on Drawings] <Insert length>.

b. Limit Stops: Provide upper and lower ball stops.

c. Chain-Retainer Type: [Clip, jamb mount] [Chain tensioner, jamb mounted] [Chain tensioner, sill mounted] <Insert description>.

2. Crank-and-Gear Operating Mechanisms: Two-roller systems with sealed gearbox drive systems controlled by detachable crank handles in drive rollers and with springs in opposing rollers to hold shadebands taught.

a. Crank-Handle Length: [6 feet (1.8 m)] [10 feet (3 m)] [Manufacturer's standard] [As indicated on Drawings] <Insert length>.

3. Spring Operating Mechanisms: Single, drive-roller system with spring sized to accommodate shade size indicated. Provide with positive locking mechanism that can stop shade movement at each half-turn of roller and with manufacturer's standard pull.

a. Pole: Manufacturer's standard type in length required to make operation convenient from floor level and with hook for engaging pull.

C. Rollers: Corrosion-resistant steel or extruded-aluminum tubes of diameters and wall thicknesses required to accommodate operating mechanisms and weights and widths of shadebands indicated without deflection. Provide with permanently lubricated drive-end assemblies and idle-end assemblies designed to facilitate removal of shadebands for service.

1. Roller Drive-End Location: [Right side of inside face of shade] [Left side of inside face of shade] [As indicated on Drawings] <Insert requirements>.

Coordinate direction of roll with fascia, headbox, or shade-pocket design.

2. Direction of Shadeband Roll: [Regular, from back of roller] [Reverse, from front of roller].

3. Shadeband-to-Roller Attachment: [Manufacturer's standard method] [Adhesive strip] <Insert description>.

D. Shadeband Retention System: Manufacturer's standard system for guiding shadeband through range of travel and holding shadeband taut with edges of shadeband supported by side channels or angles.

Types and sizes of mounting hardware vary among manufacturers. Revise "Mounting Hardware" Paragraph below if specific types of hardware are required. Where hardware dimensions are critical, indicate installation conditions and size constraints on Drawings.

E. Mounting Hardware: Corrosion resistant and compatible with operating mechanism, installation accessories, and mounting location and conditions indicated.

F. Shadebands:

Coordinate option retained in "Shadeband Material" Subparagraph below with requirements specified in "Shadeband Materials" Article.

1. Shadeband Material: [Light-filtering fabric] [Light-blocking fabric] <Insert requirements>.

2. Shadeband Bottom (Hem) Bar: Manufacturer's standard for operating mechanism indicated.

a. Color and Finish of Exposed Bottom Bar: [As selected by Architect from manufacturer's full range] <Insert color and finish>.

G. Installation Accessories:

1. Exposed Headboxes and Bottom Boxes: Rectangular, extruded-aluminum enclosure including front fasciae, top and back covers, endcaps, and removable closures.

a. Height: Manufacturer's standard height required to enclose roller and shadeband when shade is fully open, but not less than [height indicated on Drawings] <Insert dimension>.

2. Channels or Angles: Manufacturer's standard design for operating mechanism indicated and shadeband take-up and support.

3. Installation Accessories Color and Finish: [As selected from manufacturer's full range] <Insert color and finish>.

2.4 SHADEBAND MATERIALS

A. Shadeband Material Flame-Resistance Rating: Comply with [NFPA 701] <Insert requirement>. Testing by a qualified testing agency. Identify products with appropriate markings of applicable testing agency.

If more than one light-filtering or light-blocking shadeband fabric is required, copy and re-edit applicable paragraph below and insert a unique designation for each fabric.

B. Light-Filtering Fabric: Woven fabric, stain and fade resistant.

1. Source: [Roller-shade manufacturer] <Insert source for custom fabrics>.

2. Type: [PVC-coated fiberglass] [PVC-coated polyester] [Woven PVC-coated fiberglass and PVC-coated polyester] [Woven polyester and PVC-coated polyester] [Acrylic-coated fiberglass] [PVC-coated fiberglass with silver backing] <Insert description>.

3. Weave: [Mesh] [Basketweave] <Insert description>.

4. Thickness: <Insert thickness>.

5. Weight: <Insert oz./sq. yd. (g/sq. m)>.

6. Roll Width: [36 inches (914 mm)] [48 inches (1229 mm)] [60 inches (1524 mm)] [72 inches (1829 mm)] [84 inches (2134 mm)] <Insert dimension>.

Coordinate requirements retained in "Orientation on Shadeband" Subparagraph below with requirements in "Roller-Shade Fabrication" Article. See "Shadebands" Article in the Evaluations for a discussion of up-the-bolt and railroaded fabrics.

7. Orientation on Shadeband: [Up the bolt] [Railroaded] [As indicated on Drawings] <Insert requirements>.

8. Openness Factor: [1] [3] [5] [10] [11] [22] <Insert number> percent.

9. Color: [As indicated on Drawings] [Match Architect's sample] [As selected by Architect from manufacturer's full range] <Insert color>.

C. Light-Blocking Fabric: Opaque fabric, stain and fade resistant.

1. Source: [Roller-shade manufacturer] <Insert source for custom fabrics>.

2. Type: [Fiberglass textile with PVC film bonded to both sides] [Fiberglass with acrylic backing] [Acrylic-coated fiberglass] [Polyester-cotton blend] [Polyester with foamed-acrylic backing] [PVC-coated fiberglass with bonded PVC film] <Insert description>.

3. Thickness: <Insert thickness>.

4. Weight: <Insert oz./sq. yd. (g/sq. m)>.

5. Roll Width: [36 inches (914 mm)] [48 inches (1229 mm)] [60 inches (1524 mm)] [72 inches (1829 mm)] [84 inches (2134 mm)] <Insert dimension>.

Coordinate requirements retained in "Orientation on Shadeband" Subparagraph below with requirements in "Roller-Shade Fabrication" Article. See "Shadebands" Article in the Evaluations for a discussion of up-the-bolt and railroaded fabrics.

6. Orientation on Shadeband: [Up the bolt] [Railroaded] [As indicated on Drawings] <Insert requirements>.

7. Features: [Washable] [Antistatic treatment] <Insert requirements>.

Outside face of light-blocking fabrics are often white.

8. Color: [As indicated on Drawings] [Match Architect's sample] [As selected by Architect from manufacturer's full range] <Insert color>.

If required, insert requirements for dual-fabric shadebands made of two layers of different, loosely layered material.

2.5 ROLLER-SHADE FABRICATION

A. Product Safety Standard: Fabricate roller shades to comply with WCMA A 100.1, including requirements for flexible, chain-loop devices; lead content of components; and warning labels.

B. Unit Sizes: Fabricate units in sizes to fill window and other openings as follows, measured at 74 deg F (23 deg C):

Retain "Between (Inside) Jamb Installation" or "Outside of Jamb Installation" Subparagraph below. Alternatively, retain both subparagraphs and show locations of each on Drawings or in a window-treatment schedule. Coordinate clearance requirements with distance between shades and glass, glass type, and placement of heating/cooling air supplies to avoid heat buildup and possible damage to glass.

If retaining "Between (Inside) Jamb Installation" Subparagraph, see "Product Characteristics" Article in the Evaluations for a discussion of GANA recommendations.

1. Between (Inside) Jamb Installation: Width equal to jamb-to-jamb dimension of opening in which shade is installed less 1/4 inch (6 mm) per side or 1/2-inch (13-mm) total, plus or minus 1/8 inch (3.1 mm). Length equal to head-to-sill or -floor dimension of opening in which shade is installed less 1/4 inch (6 mm), plus or minus 1/8 inch (3.1 mm).

If retaining "Outside of Jamb Installation" Subparagraph below, indicate locations of shades relative to openings and widths and lengths of shades on Drawings or in a window-treatment schedule.

2. Outside of Jamb Installation: Width and length as indicated, with terminations between shades of end-to-end installations at centerlines of mullion or other defined vertical separations between openings.

C. Shadeband Fabrication: Fabricate shadebands without battens or seams to extent possible except as follows:

1. Vertical Shades: Where width-to-length ratio of shadeband is equal to or greater than [1:4] <Insert ratio>, provide battens and seams at uniform spacings along shadeband length to ensure shadeband tracking and alignment through its full range of movement without distortion of the material.

2. Skylight Shades: Provide battens and seams at uniform spacings along shadeband as required to ensure shadeband tracking and alignment through its full range of movement without distortion or sag of material.

Coordinate requirements in "Railroaded Materials" Subparagraph below with requirements in "Shadeband Materials" Article and with requirements indicated on Drawings or in a window-treatment schedule.

3. Railroaded Materials: Railroad material where material roll width is less than the required width of shadeband and where indicated. Provide battens and seams as required by railroaded material to produce shadebands with full roll-width panel(s) plus, if required, one partial roll-width panel located at top of shadeband.

PART 3 -  EXECUTION

3.1 ROLLER-SHADE INSTALLATION

Retain option in first paragraph below for motorized operators.

A. Examine substrates, areas, and conditions, with Installer present, for compliance with requirements for installation tolerances, operational clearances, [accurate locations of connections to building electrical system, ]and other conditions affecting performance of the Work.

B. Proceed with installation only after unsatisfactory conditions have been corrected.

C. Install roller shades level, plumb, and aligned with adjacent units, according to manufacturer's written instructions.

Coordinate requirements for distance between roller shades and glass with glass type and placement of heating/cooling air supplies to avoid heat buildup and possible damage to glass. Generally, retain option in "Opaque Shadebands" Subparagraph below. See "Product Characteristics" Article in the Evaluations.

1. Opaque Shadebands: Located so shadeband is not closer than [2 inches (50 mm)] <Insert dimension> to interior face of glass. Allow clearances for window operation hardware.

Retain "Electrical Connections" Paragraph below for motor-operated roller shades.

D. Electrical Connections: Connect motor-operated roller shades to building electrical system.

E. Adjust and balance roller shades to operate smoothly, easily, safely, and free from binding or malfunction throughout entire operational range.

F. Clean roller-shade surfaces after installation, according to manufacturer's written instructions.

END OF SECTION 122413

	ROLLER WINDOW SHADES
	122413 - 1



