Copyright 2010 AIA
MasterSpec Professional
02/10

Copyright 2010 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 126600 - TELESCOPING STANDS
TIPS:
To view non-printing Editor's Notes that provide guidance for editing, click on Masterworks/Single‑File Formatting/Toggle/Editor's Notes.
To read detailed research, technical information about products and materials, and coordination checklists, click on Masterworks/Supporting Information.

Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect." Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 SUMMARY

A. Section Includes:

1. [Wall-attached] [Recessed] telescoping stands.

2. [Floor-attached] [Floor-attached, reverse-fold], freestanding telescoping stands.

1.2 PERFORMANCE REQUIREMENTS

Retain first paragraph below if Contractor is required to assume responsibility for design.

A. Delegated Design: Design telescoping stands, including comprehensive engineering analysis by a qualified professional engineer, using performance requirements and design criteria indicated.

Coordinate requirements of safety standard retained in paragraph below with requirements of authorities having jurisdiction in effect for Project. See "Model Code Requirements and Safety Standards" Article in the Evaluations. Safety standards establish minimum design-load requirements for support system, seatboards, footrests, guards, and rails. Verify that these design loads are consistent with Project requirements. If more stringent requirements apply, revise paragraph to suit Project.

B. Structural Performance: Telescoping stands shall withstand the effects of gravity loads and loads and stresses within limits and under conditions indicated according to [ICC 300] [NFPA 102] <Insert requirement>.

1.3 ACTION SUBMITTALS

A. Product Data: For each type of product indicated.

B. LEED Submittals:

First option in "Certificates for (Credit MR 6) (Credit MR 7)" Subparagraph below applies to LEED-CS; second applies to LEED-NC, LEED-CI, and LEED for Schools.

1. Certificates for [Credit MR 6] [Credit MR 7]: Chain-of-custody certificates certifying that wood and wood-based materials comply with forest certification requirements. Include evidence that manufacturer is certified for chain of custody by an FSC-accredited certification body. Include statement indicating cost for each certified wood product.

"Laboratory Test Reports for Credit IEQ 4" Subparagraph below applies to LEED for Schools.

2. Laboratory Test Reports for Credit IEQ 4: For composite wood products, documentation indicating that products comply with the testing and product requirements of the California Department of Health Services' "Standard Practice for the Testing of Volatile Organic Emissions from Various Sources Using Small-Scale Environmental Chambers."

C. Shop Drawings: For telescoping stands in both stacked and extended positions. Include plans, elevations, sections, details, and attachments to other work.

1. Wiring Diagrams: For power, signal, and control wiring.

D. Samples: For each exposed product and for each color and texture specified, 6-inch- (150-mm-) square in size.

Paragraph below is defined in Section 013300 "Submittal Procedures" as a "Delegated-Design Submittal." Retain if Work of this Section is required to withstand specific design loads and design responsibilities have been delegated to Contractor or if structural data are required as another way to verify compliance with performance requirements. Professional engineer qualifications are specified in Section 014000 "Quality Requirements."

E. Delegated-Design Submittal: For telescoping stands indicated to comply with performance requirements and design criteria, including analysis data signed and sealed by the qualified professional engineer responsible for their preparation.

1.4 INFORMATIONAL SUBMITTALS

A. Welding certificates.

1.5 CLOSEOUT SUBMITTALS

A. Operation and maintenance data.

1.6 QUALITY ASSURANCE

A. Welding Qualifications: Qualify procedures and personnel according to AWS D1.1/D1.1M, "Structural Welding Code - Steel," and AWS D1.3, "Structural Welding Code - Sheet Steel."

B. Electrical Components, Devices, and Accessories: Listed and labeled as defined in NFPA 70, by a qualified testing agency, and marked for intended location and application.

Coordinate safety standard retained in first paragraph below with codes in effect for Project. See "Model Code Requirements and Safety Standards" Article in the Evaluations.

C. Standard: Provide telescoping stands to comply with [ICC 300] [NFPA 102].

Revise first paragraph below if authorities having jurisdiction impose more stringent requirements. See "Accessibility" Article in the Evaluations.

D. Regulatory Requirements: Comply with applicable provisions in [the U.S. Architectural & Transportation Barriers Compliance Board's ADA-ABA Accessibility Guidelines] [and] [ICC/ANSI A117.1].

E. Preinstallation Conference: Conduct conference at [Project site] <Insert location>.

PART 2 -  PRODUCTS

2.1 MATERIALS

A. Wood:

Retain "Certified Wood" Subparagraph below if wood components are required to be certified for LEED. Verify availability with telescoping seating manufacturers.

1. Certified Wood: Fabricate stands with wood components produced from wood obtained from forests certified by an FSC-accredited certification body to comply with FSC STD-01-001, "FSC Principles and Criteria for Forest Stewardship."

2. Lumber: Kiln dried, surfaced four sides; southern pine complying with SPIB's "Standard Grading Rules for Southern Pine Lumber" for [C&Btr Finish (C and better)] [B&B Finish (B and better)] grade-of-finish requirements.

Retain second option in "Plywood" Subparagraph below if required for LEED for Schools Credit IEQ 4.

3. Plywood: APA-grade trademarked, DOC PS 1[.][ that complies with the testing and product requirements of the California Department of Health Services' "Standard Practice for the Testing of Volatile Organic Emissions from Various Sources Using Small-Scale Environmental Chambers."]

B. Steel:

1. Structural-Steel Shapes, Plates, and Bars: ASTM A 36/A 36M.

2. Galvanized-Steel Sheet: ASTM A 653/A 653M, G90 (Z275) coating designation.

3. Uncoated Steel Sheet: ASTM A 1008/A 1008M, Designation CS (cold-rolled commercial steel), or ASTM A 1011/A 1011M, Designation CS (hot-rolled commercial steel).

4. Tubing: ASTM A 500, cold formed; ASTM A 501, hot formed; or ASTM A 513, mechanical.

C. Extruded Aluminum: ASTM B 221 (ASTM B 221M), alloy as standard for manufacturer.

Retain paragraph below for plastic seats.

D. Polyethylene Plastic: High-density polyethylene; molded, color-pigmented, textured, impact-resistant, structural formulation.

2.2 TELESCOPING STANDS

A. General: Operable systems of multiple-tiered seating on interconnected folding platforms that close, without being dismantled, into a nested stack for storing. Stand units permit opening and closing of adjacent rows, allow individual and collective rows to be locked open for use, and close with vertical faces of upper skirts on the same vertical plane.

Retain applicable stand types from four paragraphs below. If retaining more than one type, indicate location of each on Drawings.

B. Wall-Attached Telescoping Stands <Insert drawing designation>: Forward-folding system, in which the bleachers open in the forward direction by initially moving the front row away from the stack to the fully extended position, and the rear of bleacher understructure is permanently attached to wall construction.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers. Retain one of first two subparagraphs and list of manufacturers below. See Section 016000 "Product Requirements."

1. Manufacturers: Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product: Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. Hussey Seating Company.

b. Interkal LLC.

c. Irwin Telescopic Seating Company.

d. Kodiak Industries Ltd.

e. <Insert manufacturer's name>.

3. Operation: [Manual] [Automatic, friction-type, integral power unit] [Automatic, nonfriction-type, integral power unit] [Automatic, power assisted by portable, manually guided, electrically powered unit].

Retain first three subparagraphs below if retaining integral power unit in last subparagraph above. Coordinate requirements and verify, with manufacturers, availability of options.

a. Limit Switches: Automatically stop integral power system when telescoping stands reach fully opened or closed positions.

b. Motion Monitor: Flashing light with self-contained warning horn, rated at 85 dB at 10 feet (3 m), mounted under telescoping seating for audio and visual warning during integral power operation.

c. Transformer: As required to coordinate current characteristics of motor and control station with building electrical system.

d. Remote Control: [Manufacturer's standard, wall-attached] [Portable pendant control] system.

For recessed stands, detail recesses on Drawings. Depths of recesses must be coordinated with depths of telescoping stands. Rear of understructure can be attached to wall, soffit, or floor construction; indicate attachment requirements on Drawings or insert in first paragraph below.

C. Recessed Telescoping Stands <Insert drawing designation>: Forward-folding system, in which the bleachers open in the forward direction by initially moving the front row away from the stack to the fully extended position, and the rear of bleacher understructure permanently attaches to building construction so that closed stands are recessed in opening.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers. Retain one of first two subparagraphs and list of manufacturers below. See Section 016000 "Product Requirements."

1. Manufacturers: Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product: Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. Hussey Seating Company.

b. Interkal LLC.

c. Irwin Telescopic Seating Company.

d. Kodiak Industries Ltd.

e. <Insert manufacturer's name>.

3. Operation: [Manual] [Automatic, friction-type, integral power unit] [Automatic, nonfriction-type, integral power unit] [Automatic, power assisted by portable, manually guided, electrically powered unit].

Retain first three subparagraphs below if retaining integral power unit in last subparagraph above. Coordinate requirements and verify, with manufacturers, availability of options.

a. Limit Switches: Automatically stop integral power system when telescoping stands reach fully opened or closed positions.

b. Motion Monitor: Flashing light with self-contained warning horn, rated at 85 dB at 10 feet (3 m), mounted under telescoping seating for audio and visual warning during integral power operation.

c. Transformer: As required to coordinate current characteristics of motor and control station with building electrical system.

d. Remote Control: [Manufacturer's standard, wall-attached] [Portable pendant control] system.

D. Floor-Attached, Freestanding Telescoping Stands <Insert drawing designation>: Forward-folding system, in which the bleachers open in the forward direction, by initially moving the front row away from the stack to the fully extended position, and the rear of bleacher understructure permanently attaches to floor construction.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers. Retain one of first two subparagraphs and list of manufacturers below. See Section 016000 "Product Requirements."

1. Manufacturers: Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product: Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. Hussey Seating Company.

b. Interkal LLC.

c. Irwin Telescopic Seating Company.

d. Kodiak Industries Ltd.

e. <Insert manufacturer's name>.

3. Operation: [Manual] [Automatic, friction-type, integral power unit] [Automatic, nonfriction-type, integral power unit] [Automatic, power assisted by portable, manually guided, electrically powered unit].

Retain first three subparagraphs below if retaining integral power unit in last subparagraph above. Coordinate requirements and verify, with manufacturers, availability of options.

a. Limit Switches: Automatically stop integral power system when telescoping stands reach fully opened or closed positions.

b. Motion Monitor: Flashing light with self-contained warning horn, rated at 85 dB at 10 feet (3 m), mounted under telescoping seating for audio and visual warning during integral power operation.

c. Transformer: As required to coordinate current characteristics of motor and control station with building electrical system.

d. Remote Control: [Manufacturer's standard, wall-attached] [Portable pendant control] system.

Option in paragraph below may be called "aisle recovery."

E. Floor-Attached Reverse-Fold, Freestanding Telescoping Stands <Insert drawing designation>: Reverse-opening system, in which the bleachers open in the backward direction, by initially moving the last row away from the stack to the fully extended position, and the front of bleacher understructure permanently attaches to floor construction.[ Front-row anchorage allows stands to move 36 inches (914 mm) or more for additional aisle space when stands are open.]

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers. Retain one of first two subparagraphs and list of manufacturers below. See Section 016000 "Product Requirements."

1. Manufacturers: Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product: Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. Hussey Seating Company.

b. Interkal LLC.

c. Irwin Telescopic Seating Company.

d. Kodiak Industries Ltd.

e. <Insert manufacturer's name>.

3. Operation: [Manual] [Automatic, friction-type, integral power unit] [Automatic, nonfriction-type, integral power unit] [Automatic, power assisted by portable, manually guided, electrically powered unit].

Retain first three subparagraphs below if retaining integral power unit in last subparagraph above. Coordinate requirements and verify, with manufacturers, availability of options.

a. Limit Switches: Automatically stop integral power system when telescoping stands reach fully opened or closed positions.

b. Motion Monitor: Flashing light with self-contained warning horn, rated at 85 dB at 10 feet (3 m), mounted under telescoping seating for audio and visual warning during integral power operation.

c. Transformer: As required to coordinate current characteristics of motor and control station with building electrical system.

d. Remote Control: [Manufacturer's standard, wall-attached] [Portable pendant control] system.

2.3 COMPONENTS

Retain first paragraph below for benches.

A. Benches: Seats and skirts.

1. Material: [Lumber with transparent finish] [Molded polyethylene plastic with contour surfaces] [Steel sheet with vinyl-clad finish] <Insert material>.

Delete first subparagraph below for transparent finish lumber.

a. Color: [As selected by Architect from manufacturer's standard] <Insert color>.

2. Bench Height: [Not less than 16 inches (406 mm) or more than 18 inches (457 mm)] <Insert height>.

Coordinate depth in first subparagraph below with seat material specified, row spacing, and requirements of authorities having jurisdiction.

3. Bench Depth: [10 inches (254 mm)] [12 inches (305 mm)] <Insert dimension>.

Folding backrests typically require greater row spacing because most fold backward. Verify requirements with manufacturers.

4. Backs: Folding backrests permanently attached to bench units.

a. Material: [Lumber with transparent finish] [Molded polyethylene plastic with contour support surface in color matching seat] <Insert material>.

b. Operation: [Manual] [Automatic].

To comply with accessibility requirements, retain first paragraph below and indicate number and locations of wheelchair-accessible seating on Drawings.

B. Wheelchair-Accessible Seating: Locate [seating cutouts] [retractable truncated benches] [removable modular chairs] [aisle seats without armrests, with folding armrests, or with removable armrests] <Insert requirements> to provide wheelchair-accessible seating at locations indicated on Drawings.

1. Equip tiers adjacent to wheelchair-accessible seating with front rails as required by referenced safety standard.

2. Equip cutouts with full-width front closure panels that match decking construction and finish and that extend from underside of tiers adjacent to cutouts to 1-1/2 inches (38 mm) from finished floor.

C. Deck: [Aluminum] [Plywood, 5/8 inch (16 mm) thick] [Plywood, 3/4 inch (19 mm) thick] [Manufacturer's standard laminated panel] <Insert requirement>.

1. Finish: [Mill] [Clear anodized] [Color anodized] [Polyethylene textured overlay bonded to substrate with exterior glue] [Transparent] [Paint] [Manufacturer's standard carpet bonded to substrate] [Manufacturer's standard] <Insert requirements>.

Delete subparagraph below for transparent or clear-anodized finish.

a. Color: [As selected by Architect from manufacturer's standard colors] <Insert color>.

D. Risers: Steel sheet with manufacturer's standard, rust-inhibiting coating or hot-dip galvanized finish.

E. Safety Rails: Structural steel, finished with manufacturer's standard powder coat system.

1. [Removable] [Folding] [Self-storing] mid-aisle handrails located at centerline of each vertical aisle with seating on both sides.

2. End rails (guards) that are [telescoping and self-storing] [removable].

3. Back rails (guards) along rear of units where required by referenced safety standard.

4. [Removable] [Fixed] front rails (guards) along front of units where required by referenced safety standard.

5. [Removable] [Fixed] rails around accessible seating cutouts and truncations.

6. Removable, programming-support front rails to allow seating in upper rows while lower rows remain in the stored position.

7. Color: [Black] <Insert color>.

F. Understructure: Structural steel.

1. Finish: [Manufacturer's standard] [Water-based acrylic] [Alkyd-enamel, two-coat system,] [Epoxy-resin-based, textured, powder coat system,] <Insert finish> rust-inhibiting finish.

2. Color: [Manufacturer's standard] <Insert color>.

G. Support Column Wheels: Nonmarring, soft, rubber-face wheel assembly under each support column.

1. Include wheels of size, number, and design required to support stands and operate smoothly without damaging the flooring surface, but no fewer than four per column or less than 3-1/2 inches (89 mm) in diameter and 1 inch (25.4 mm) wide.

H. Fasteners: Vibration proof, in manufacturer's standard size and material.

2.4 ACCESSORIES

A. Steps:

1. Slip-resistant, abrasive tread [nosings] [surfaces] at vertical aisles.

Intermediate steps provide an equal depth and height foot surface between rows. They are designed to comply with code requirements.

2. Intermediate aisle steps, fully enclosed, at each vertical aisle.

3. Transitional top step, fully enclosed, at each vertical aisle where last row of telescoping stands is adjacent to a cross aisle.

4. Removable front steps, fully enclosed, at each vertical aisle, that engage with front row to prevent accidental separation or movement and are equipped with a minimum of four skid-resistant feet.

B. Stairs: Portable access-stair units equipped with handrails, with no fewer than four full-swiveling, nonmarring wheels and a locking mechanism to prevent movement during use.

C. Ramps: Portable access-ramp units, slope [as indicated on Drawings] [to comply with requirements of authorities having jurisdiction], equipped with handrails, with no fewer than four full-swiveling, nonmarring wheels and a locking mechanism to prevent movement during use.

D. Closure Panels and Void Fillers:

Retain first subparagraph below for safety and appearance.

1. Aisle closures at foot level that produce flush vertical face at aisles when system is stored.

End panels are designed to deter access behind units in the stored position.

2. End panels covering exposed ends of stands in the stored position.

Back panels are designed to deter access behind back exposed units.

3. Back panels covering rear of freestanding units. Panels extend full height and width of unit.

4. Panels at cutouts and truncations for accessible seating.

5. Rear fillers including supports for closing openings between top row and rear wall of adjoining construction.

6. Gap fillers for closing openings between stand units or between stand units and adjoining construction.

2.5 FABRICATION

A. Fabricate understructure from structural-steel members in size, spacing, and form required to support design loads specified in referenced safety standard.

B. Weld understructure to comply with applicable AWS standards.

C. Round corners and edges of components and exposed fasteners to reduce snagging and pinching hazards.

D. Form exposed sheet metal with flat, flush surfaces, level and true in line, and without cracking and grain separation.

E. Seating Supports: Fabricate supports to withstand, without damage to components, the forces imposed by use of stands without failure or other conditions that might impair the usefulness of seating units.

1. Cantilever bench seat supports to produce toe space uninterrupted by vertical bracing.

PART 3 -  EXECUTION

3.1 INSTALLATION

A. Install telescoping stands to comply with referenced safety standard and manufacturer's written instructions.

B. On completion of installation, lubricate, test, and adjust each telescoping stand unit so that it operates according to manufacturer's written operating instructions.

C. Clean installed telescoping stands on exposed and semiexposed surfaces. Touch up shop-applied finishes or replace components as required to restore damaged or soiled areas.

3.2 DEMONSTRATION

A. Engage a factory-authorized service representative to train Owner's maintenance personnel to adjust, operate, and maintain telescoping stands.

END OF SECTION 126600

	TELESCOPING STANDS
	126600 - 1



