Copyright 2012 AIA
MasterSpec Professional
02/12

Copyright 2012 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 329113 - SOIL PREPARATION
TIPS:
To view non-printing Editor's Notes that provide guidance for editing, click on Masterworks/Single‑File Formatting/Toggle/Editor's Notes.
To read detailed research, technical information about products and materials, and coordination checklists, click on Masterworks/Supporting Information.

Revise this Section by deleting and inserting text to meet Project-specific requirements.

PART 1 -  GENERAL

1.1 SUMMARY

A. Section includes planting soils specified by composition of the mixes.

B. Related Requirements:

Retain subparagraphs below to cross-reference requirements Contractor might expect to find in this Section but are specified in other Sections.

1. Section 311000 "Site Clearing" for topsoil stripping and stockpiling.

2. Section 329700 "Vegetated Roof Assemblies" for growing media (soil).

1.2 DEFINITIONS

Retain terms that remain after this Section has been edited for a project.

A. Duff Layer: A surface layer of soil, typical of forested areas, that is composed of mostly decayed leaves, twigs, and detritus.

B. Imported Soil: Soil that is transported to Project site for use.

C. Manufactured Soil: Soil produced by blending soils, sand, stabilized organic soil amendments, and other materials to produce planting soil.

D. Planting Soil: Existing, on-site soil; imported soil; or manufactured soil that has been modified as specified with soil amendments and perhaps fertilizers to produce a soil mixture best for plant growth.

E. Subgrade: Surface or elevation of subsoil remaining after excavation is complete, or the top surface of a fill or backfill before planting soil is placed.

F. Subsoil: Soil beneath the level of subgrade; soil beneath the topsoil layers of a naturally occurring soil profile, typified by less than 1 percent organic matter and few soil organisms.

G. Surface Soil: Soil that is present at the top layer of the existing soil profile. In undisturbed areas, surface soil is typically called "topsoil"; but in disturbed areas such as urban environments, the surface soil can be subsoil.

H. USCC: U.S. Composting Council.

1.3 PREINSTALLATION MEETINGS

A. Preinstallation Conference: Conduct conference at [Project site] <Insert location>.

1.4 ACTION SUBMITTALS

A. Product Data: For each type of product.

B. LEED Submittals:

"Product Certificates for Credit MR 5" Subparagraph below applies to LEED-NC, LEED-CS, and LEED for Schools.

1. Product Certificates for Credit MR 5: For products and materials required to comply with requirements for regional materials, certificates indicating location of material manufacturer and point of extraction, harvest, or recovery for each raw material. Include statement indicating distance to Project, cost for each regional material, and fraction by weight that is considered regional.

C. Samples: For each bulk-supplied material in sealed containers labeled with content, source, and date obtained; providing an accurate representation of composition, color, and texture.

1.5 INFORMATIONAL SUBMITTALS

A. Field quality-control reports.

1.6 QUALITY ASSURANCE

Retain "Testing Agency Qualifications" Paragraph below if Contractor or manufacturer selects testing agency or if Contractor is required to provide services of a qualified testing agency in "Field Quality Control" Article.

A. Testing Agency Qualifications: An independent, state-operated, or university-operated laboratory; experienced in soil science, soil testing, and plant nutrition; with the experience and capability to conduct the testing indicated; and that specializes in types of tests to be performed.

PART 2 -  PRODUCTS

2.1 MATERIALS

Retain "Regional Materials" Paragraph below for LEED-NC, LEED-CS, and LEED for Schools Credit MR 5.1; before retaining, verify availability of materials that comply.

A. Regional Materials: [Imported soil] [manufactured planting soil] [and] [soil amendments and fertilizers] shall be manufactured within 500 miles (800 km) of Project site from materials that have been extracted, harvested, or recovered, as well as manufactured, within 500 miles (800 km) of Project site.

2.2 PLANTING SOILS SPECIFIED BY COMPOSITION

This article is organized around two types of soil sources used to produce planting soils: existing, on-site soil and imported soil. Manufactured planting soil produced off-site or on-site by an intensive blending process is also included as a type of planting-soil mix.

Copy paragraphs below and re-edit for each type of planting-soil mix required to suit Project. Insert drawing designation. Use these designations on Drawings to identify each product.

Retain first "Planting-Soil Type" Paragraph below if amending existing, on-site surface soil for use as planting soil. Required soil modifications designed to produce planting soil should be based on testing the unaltered soil and on the testing laboratory's recommendations before bidding if possible.

A. Planting-Soil Type <Insert drawing designation>: Existing, on-site surface soil, with the duff layer, if any, retained[; and stockpiled on-site]; modified to produce viable planting soil. Blend existing, on-site surface soil with the following soil amendments and fertilizers in the following quantities to produce planting soil:

Revise "Ratio of Loose Compost to Soil" Subparagraph below to suit Project if compost is not fully blended into the mix but is surface applied and lightly tilled.

1. Ratio of Loose Compost to Soil: [1:4] [1:3] [1:2] <Insert ratio> by volume.

2. Ratio of Loose [Sphagnum] [Muck] Peat to Soil: <Insert ratio> by volume.

3. Ratio of Loose Wood Derivatives Soil: <Insert ratio> by volume.

Revise "Weight of Lime" Subparagraph below if a specific type of liming material (ground dolomitic limestone, calcitic limestone, mollusk shells, or other type) is required.

4. Weight of Lime: <Insert weight> per [1000 sq. ft. (100 sq. m)] <Insert area> per [6 inches (150 mm)] <Insert dimension> of soil depth.

5. Weight of [Sulfur] [Iron Sulfate]: <Insert weight> per [1000 sq. ft. (100 sq. m)] <Insert area> per [6 inches (150 mm)] <Insert dimension> of soil depth.

6. Weight of Agricultural Gypsum: <Insert weight> per [1000 sq. ft. (100 sq. m)] <Insert area> per [6 inches (150 mm)] <Insert dimension> of soil depth.

7. Weight of Superphosphate: <Insert weight> per [1000 sq. ft. (100 sq. m)] <Insert area> per [6 inches (150 mm)] <Insert dimension> of soil depth.

8. Weight of Commercial Fertilizer: <Insert weight> per [1000 sq. ft. (100 sq. m)] <Insert area> per [6 inches (150 mm)] <Insert dimension> of soil depth.

9. Weight of Slow-Release Fertilizer: <Insert weight> per [1000 sq. ft. (100 sq. m)] <Insert area> per [6 inches (150 mm)] <Insert dimension> of soil depth.

Retain first "Planting-Soil Type" Paragraph below if topsoil is imported, amended, and used as planting soil. Required soil modifications designed to produce planting soil should be based on testing the unaltered soil and on the testing laboratory's recommendations before bidding if possible.

B. Planting-Soil Type <Insert drawing designation>: Imported, naturally formed soil from off-site sources and consisting of [sandy loam] [loam] [silt loam] [loamy sand] [or] [sand] soil <Insert soil texture> according to USDA textures; and modified to produce viable planting soil.

1. Sources: Take imported, unamended soil from sources that are naturally well-drained sites where topsoil occurs at least 4 inches (100 mm) deep, not from [agricultural land, ]bogs, or marshes; and that do not contain undesirable organisms; disease-causing plant pathogens; or obnoxious weeds and invasive plants including, but not limited to, quackgrass, Johnsongrass, poison ivy, nutsedge, nimblewill, Canada thistle, bindweed, bentgrass, wild garlic, ground ivy, perennial sorrel, and bromegrass.

First option in "Additional Properties of Imported Soil before Amending" Subparagraph below generally requires a range of values that are amendable and approximate regional soil conditions from where soil is taken.

2. Additional Properties of Imported Soil before Amending: Soil reaction of [pH 6 to 7] <Insert range> and minimum of [2] [4] [6] <Insert number> percent organic-matter content, friable, and with sufficient structure to give good tilth and aeration.

3. Unacceptable Properties: Clean soil of the following:

a. Unacceptable Materials: Concrete slurry, concrete layers or chunks, cement, plaster, building debris, oils, gasoline, diesel fuel, paint thinner, turpentine, tar, roofing compound, acid, and other extraneous materials that are harmful to plant growth.

b. Unsuitable Materials: Stones, roots, plants, sod, clay lumps, and pockets of coarse sand that exceed a combined maximum of [8] <Insert number> percent by dry weight of the imported soil.

Second option in "Large Materials" Subparagraph below allows generally acceptable soil clods to remain. Revise subparagraph to suit required soil structure, texture, and appearance.

c. Large Materials: Stones, clods, roots, clay lumps, and pockets of coarse sand exceeding [2 inches (50 mm)] [3 inches (75 mm)] <Insert dimension> in any dimension.

4. Amended Soil Composition: Blend imported, unamended soil with the following soil amendments and fertilizers in the following quantities to produce planting soil:

Revise "Ratio of Loose Compost to Soil" Subparagraph below to suit Project if compost is not fully blended into the mix but is surface applied and lightly tilled.

a. Ratio of Loose Compost to Soil: [1:4] [1:3] [1:2] <Insert ratio> by volume.

b. Ratio of Loose [Sphagnum] [Muck] Peat to Soil: <Insert ratio> by volume.

c. Ratio of Loose Wood Derivatives to Soil: <Insert ratio> by volume.

Revise "Weight of Lime" Subparagraph below if a specific type of liming material (ground dolomitic limestone, calcitic limestone, mollusk shells, or other type) is required.

d. Weight of Lime: <Insert weight> per [1000 sq. ft. (100 sq. m)] <Insert area> per [6 inches (150 mm)] <Insert dimension> of soil depth.

e. Weight of [Sulfur] [Iron Sulfate]: <Insert weight> per [1000 sq. ft. (100 sq. m)] <Insert area> per [6 inches (150 mm)] <Insert dimension> of soil depth.

f. Weight of Agricultural Gypsum: <Insert weight> per [1000 sq. ft. (100 sq. m)] <Insert area> per [6 inches (150 mm)] <Insert dimension> of soil depth.

g. Weight of Superphosphate: <Insert weight> per [1000 sq. ft. (100 sq. m)] <Insert area> per [6 inches (150 mm)] <Insert dimension> of soil depth.

h. Weight of Commercial Fertilizer: <Insert weight> per [1000 sq. ft. (100 sq. m)] <Insert area> per [6 inches (150 mm)] <Insert dimension> of soil depth.

i. Weight of Slow-Release Fertilizer: <Insert weight> per [1000 sq. ft. (100 sq. m)] <Insert area> per [6 inches (150 mm)] <Insert dimension> of soil depth.

Retain "Planting-Soil Type" Paragraph below for manufactured planting soil produced on-site soil or off-site for use as planting soil. Revise paragraph if existing, on-site soil will be used in the manufacturing process.

C. Planting-Soil Type <Insert drawing designation>: Manufactured soil consisting of manufacturer's basic [topsoil,] [sandy loam according to USDA textures,] <Insert soil texture or manufacturer's base-soil designation> blended in a manufacturing facility with sand, stabilized organic soil amendments, and other materials to produce viable planting soil.

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, [provide products by the following] [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to identify a specific product or a comparable product from manufacturers listed. Retain option and delete insert note if manufacturer's name and model number are indicated on Drawings.

2. Basis-of-Design Product: Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. <Insert manufacturer's name>.

First option in "Additional Properties of Manufacturer's Basic Soil before Amending" Subparagraph below, generally requires a range of pH values that approximate local soil-manufacturers' products.

3. Additional Properties of Manufacturer's Basic Soil before Amending: Soil reaction of [pH 6 to 7] <Insert range> and minimum of [2] [4] [6] <Insert number> percent organic-matter content, friable, and with sufficient structure to give good tilth and aeration.

4. Unacceptable Properties: Manufactured soil shall not contain the following:

a. Unacceptable Materials: Concrete slurry, concrete layers or chunks, cement, plaster, building debris, oils, gasoline, diesel fuel, paint thinner, turpentine, tar, roofing compound, acid, and other extraneous materials that are harmful to plant growth.

b. Unsuitable Materials: Stones, roots, plants, sod, clay lumps, and pockets of coarse sand that exceed a combined maximum of [5] <Insert number> percent by dry weight of the manufactured soil.

c. Large Materials: Stones, clods, roots, clay lumps, and pockets of coarse sand exceeding [1-1/2 inches (38 mm)] [2 inches (50 mm)] <Insert dimension> in any dimension.

Required soil modifications designed to produce planting soil should be based on testing of manufacturer's basic soil and on testing laboratory's recommendations.

5. Blend manufacturer's basic soil with the following soil amendments and fertilizers in the following quantities to produce planting soil:

Revise "Ratio of Loose Compost to Soil" Subparagraph below to suit Project if compost is not fully blended into the mix but is surface applied and lightly tilled.

a. Ratio of Loose Compost to Soil: [1:4] [1:3] [1:2] <Insert ratio> by volume.

b. Ratio of Loose [Sphagnum] [Muck] Peat to Soil: <Insert ratio> by volume.

c. Ratio of Loose Wood Derivatives Soil: <Insert ratio> by volume.

d. Volume of Sand: <Insert volume> per [cu. yd. (cu. m)] <Insert value>.

e. Volume of Perlite: <Insert volume> per [cu. yd. (cu. m)] <Insert value>.

Revise "Weight of Lime" Subparagraph below if a specific type of liming material (ground dolomitic limestone, calcitic limestone, mollusk shells, or other type) is required.

f. Weight of Lime: <Insert weight> per [cu. yd. (cu. m)] <Insert value>.

g. Weight of [Sulfur] [Iron Sulfate]: <Insert weight> per [cu. yd. (cu. m)] <Insert value>.

h. Weight of Agricultural Gypsum: <Insert weight> per [cu. yd. (cu. m)] <Insert value>.

i. Weight of Superphosphate: <Insert weight> per [cu. yd. (cu. m)] <Insert value>.

j. Weight of Commercial Fertilizer: <Insert weight> per [cu. yd. (cu. m)] <Insert value>.

k. Weight of Slow-Release Fertilizer: <Insert weight> per [cu. yd. (cu. m)] <Insert value>.

2.3 INORGANIC SOIL AMENDMENTS

A. Lime: ASTM C 602, agricultural liming material containing a minimum of 80 percent calcium carbonate equivalent and as follows:

Retain one of two "Class" subparagraphs below.

1. Class: T, with a minimum of 99 percent passing through a No. 8 (2.36-mm) sieve and a minimum of 75 percent passing through a No. 60 (0.25-mm) sieve.

2. Class: O, with a minimum of 95 percent passing through a No. 8 (2.36-mm) sieve and a minimum of 55 percent passing through a No. 60 (0.25-mm) sieve.

Retain first option in "Form" Subparagraph below if magnesium is required; retain second or third option if magnesium is already present in the soil. Revise subparagraph to a pelleted form of limestone with a water-soluble binder that speeds breakdown if required.

3. Form: Provide lime in form of ground [dolomitic limestone] [calcitic limestone] [mollusk shells] <Insert material>.

Retain one of or both "Sulfur" and "Iron Sulfate" paragraphs below if required.

B. Sulfur: Granular, biodegradable, and containing a minimum of 90 percent elemental sulfur, with a minimum of 99 percent passing through a No. 6 (3.35-mm) sieve and a maximum of 10 percent passing through a No. 40 (0.425-mm) sieve.

C. Iron Sulfate: Granulated ferrous sulfate containing a minimum of 20 percent iron and 10 percent sulfur.

D. Perlite: Horticultural perlite, soil amendment grade.

E. Agricultural Gypsum: Minimum 90 percent calcium sulfate, finely ground with 90 percent passing through a No. 50 (0.30-mm) sieve.

F. Sand: Clean, washed, natural or manufactured, free of toxic materials, and according to [ASTM C 33/C 33M] <Insert requirement>.

2.4 ORGANIC SOIL AMENDMENTS

A. Compost: Well-composted, stable, and weed-free organic matter produced by composting feedstock, and bearing USCC's "Seal of Testing Assurance," and as follows:

Retain one or more subparagraphs below if requiring properties varying from USCC's requirements for its "Seal of Testing Assurance." Insert other requirements varying from USCC's requirements to suit Project.

USCC permits compost to be produced from several feedstocks or raw materials, specifically including, but not limited to, agricultural, food, or industrial residuals; biosolids; yard trimmings; or source-separated municipal solid waste.

1. Feedstock: [Limited to leaves] [May include sewage sludge] [May include animal waste] <Insert requirement>.

USCC reaction range requirement is pH of 5.0 to 8.5.

2. Reaction: [pH of 5.5 to 8] <Insert range>.

USCC soluble-salt concentration requirement is less than 10 dS/m.

3. Soluble-Salt Concentration: Less than [4] <Insert value> dS/m.

USCC moisture-content requirement is 30 to 60 percent.

4. Moisture Content: [35 to 55] <Insert number range> percent by weight.

USCC organic-matter requirement is 30 to 65 percent.

5. Organic-Matter Content: [30 to 40] [50 to 60] <Insert number range> percent of dry weight.

USCC particle-size requirement is 3/4 inch (19 mm).

6. Particle Size: Minimum of 98 percent passing through a [4-inch (100-mm)] [2-inch (50-mm)] [1-inch (25-mm)] [1/2-inch (13-mm)] sieve.

Retain "Sphagnum Peat" or "Muck Peat" Paragraph below, or both, if required.

B. Sphagnum Peat: Partially decomposed sphagnum peat moss, finely divided or of granular texture with 100 percent passing through a [1/2-inch (13-mm)] <Insert dimension> sieve, a pH of 3.4 to 4.8, and a soluble-salt content measured by electrical conductivity of [maximum 5] <Insert value or range> dS/m.

C. Muck Peat: Partially decomposed moss peat, native peat, or reed-sedge peat, finely divided or of granular texture with 100 percent passing through a [1/2-inch (13-mm)] <Insert dimension> sieve, a pH of 6 to 7.5, a soluble-salt content measured by electrical conductivity of [maximum 5] <Insert value or range> dS/m, having a water-absorbing capacity of 1100 to 2000 percent, and containing no sand.

D. Wood Derivatives: Shredded and composted, nitrogen-treated sawdust, ground bark, or wood waste; of uniform texture and free of chips, stones, sticks, soil, or toxic materials.

E. Manure: Well-rotted, unleached, stable or cattle manure containing not more than 25 percent by volume of straw, sawdust, or other bedding materials; free of toxic substances, stones, sticks, soil, weed seed, debris, and material harmful to plant growth.

2.5 FERTILIZERS

Retain one or more of "Superphosphate," "Commercial Fertilizer," and "Slow-Release Fertilizer" paragraphs below. Revise descriptions, insert additional types, and name proprietary products if required.

Note that use of phosphate-containing fertilizers may be limited or disallowed in some jurisdictions.

A. Superphosphate: Commercial, phosphate mixture, soluble; a minimum of [20] [33] [50] percent available phosphoric acid.

B. Commercial Fertilizer: Commercial-grade complete fertilizer of neutral character, consisting of fast- and slow-release nitrogen, 50 percent derived from natural organic sources of urea formaldehyde, phosphorous, and potassium in the following composition:

Retain one of two "Composition" subparagraphs below; compositions are examples only. Insert a "Products" Subparagraph in lieu of both "Composition" subparagraphs if a list of locally available commercial fertilizers is known and preferred over specifying fertilizer composition.

1. Composition: [1 lb/1000 sq. ft. (0.5 kg/100 sq. m)] <Insert value> of actual nitrogen, 4 percent phosphorous, and 2 percent potassium, by weight.

2. Composition: Nitrogen, phosphorous, and potassium in amounts recommended in soil reports from a qualified testing agency.

C. Slow-Release Fertilizer: Granular or pelleted fertilizer consisting of 50 percent water-insoluble nitrogen, phosphorus, and potassium in the following composition:

Retain one of two "Composition" subparagraphs below; compositions are examples only.

1. Composition: 20 percent nitrogen, 10 percent phosphorous, and 10 percent potassium, by weight.

2. Composition: Nitrogen, phosphorous, and potassium in amounts recommended in soil reports from a qualified testing agency.

PART 3 -  EXECUTION

3.1 GENERAL

A. Place planting soil and fertilizers according to requirements in other Specification Sections.

B. Verify that no foreign or deleterious material or liquid such as paint, paint washout, concrete slurry, concrete layers or chunks, cement, plaster, oils, gasoline, diesel fuel, paint thinner, turpentine, tar, roofing compound, or acid has been deposited in planting soil.

3.2 PREPARATION OF UNAMENDED, ON-SITE SOIL BEFORE AMENDING

Retain "Excavation" Paragraph below if Contractor is required to perform soil excavation and stockpiling.

A. Excavation: Excavate soil from designated area(s) to a depth of [6 inches (150 mm)] <Insert dimension> and stockpile until amended.

B. Unacceptable Materials: Clean soil of concrete slurry, concrete layers or chunks, cement, plaster, building debris, oils, gasoline, diesel fuel, paint thinner, turpentine, tar, roofing compound, acid, and other extraneous materials that are harmful to plant growth.

C. Unsuitable Materials: Clean soil to contain a maximum of [8] <Insert number> percent by dry weight of stones, roots, plants, sod, clay lumps, and pockets of coarse sand.

Procedure in "Screening" Paragraph below is costly. Second option allows generally acceptable soil clods to remain. Revise paragraph to suit required soil structure, texture, and appearance.

D. Screening: Pass unamended soil through a [2-inch (50-mm)] [3-inch (75-mm)] <Insert dimension> sieve to remove large materials.

3.3 PLACING AND MIXING PLANTING SOIL OVER EXPOSED SUBGRADE

Generally retain this article if existing, on-site soil or imported soil will be amended and applied to areas that have been stripped of existing soils or that have poor existing soils regarded as subgrade.

A. General: Apply and mix unamended soil with amendments on-site to produce required planting soil. Do not apply materials or till if existing soil or subgrade is frozen, muddy, or excessively wet.

B. Subgrade Preparation: Till subgrade to a minimum depth of [4 inches (100 mm)] [6 inches (150 mm)] [8 inches (200 mm)] [12 inches (300 mm)] [18 inches (450 mm)] <Insert dimension>. Remove stones larger than [1-1/2 inches (38 mm)] [2 inches (50 mm)] [3 inches (75 mm)] <Insert dimension> in any dimension and sticks, roots, rubbish, and other extraneous matter and legally dispose of them off Owner's property.

C. Mixing: Spread unamended soil to total depth [of 4 inches (100 mm)] [of 6 inches (150 mm)] [of 8 inches (200 mm)] [of 12 inches (300 mm)] [indicated on Drawings] <Insert dimension>, but not less than required to meet finish grades after mixing with amendments and natural settlement. Do not spread if soil or subgrade is frozen, muddy, or excessively wet.

Retain option in "Amendments" Subparagraph below if applying compost component of planting-soil mix to surface and lightly tilling in lieu of blending compost throughout planting-soil mix.

1. Amendments: Apply soil amendments[, except compost,] and fertilizer, if required, evenly on surface, and thoroughly blend them with unamended soil to produce planting soil.

Retain first subparagraph below if liming or sulfur is required.

a. Mix [lime] [and] [sulfur] with dry soil before mixing fertilizer.

b. Mix fertilizer with planting soil no more than seven days before planting.

2. Lifts: Apply and mix unamended soil and amendments in lifts not exceeding [8 inches (200 mm)] [12 inches (300 mm)] <Insert dimension> in loose depth for material compacted by compaction equipment, and not more than [4 inches (100 mm)] [6 inches (150 mm)] in loose depth for material compacted by hand-operated tampers.

Retain last option in "Compaction" Paragraph below if more than one compaction value is required for different locations.

D. Compaction: Compact each blended lift of planting soil to [75 to 82] <Insert number range> percent of maximum Standard Proctor density according to ASTM D 698 and tested in-place[ except where a different compaction value is indicated on Drawings].

E. Finish Grading: Grade planting soil to a smooth, uniform surface plane with loose, uniformly fine texture. Roll and rake, remove ridges, and fill depressions to meet finish grades.

3.4 PLACING MANUFACTURED PLANTING SOIL OVER EXPOSED SUBGRADE

Generally retain this article if manufactured planting soil is applied to areas that have been stripped of existing soils or that have poor existing soils regarded as subgrade.

A. General: Apply manufactured soil on-site in its final, blended condition. Do not apply materials or till if existing soil or subgrade is frozen, muddy, or excessively wet.

B. Subgrade Preparation: Till subgrade to a minimum depth of [4 inches (100 mm)] [6 inches (150 mm)] [8 inches (200 mm)] [12 inches (300 mm)] [18 inches (450 mm)] <Insert dimension>. Remove stones larger than [1-1/2 inches (38 mm)] [2 inches (50 mm)] [3 inches (75 mm)] <Insert dimension> in any dimension and sticks, roots, rubbish, and other extraneous matter and legally dispose of them off Owner's property.

C. Application: Spread planting soil to total depth [of 4 inches (100 mm)] [of 6 inches (150 mm)] [of 8 inches (200 mm)] [of 12 inches (300 mm)] [indicated on Drawings] <Insert dimension>, but not less than required to meet finish grades after natural settlement. Do not spread if soil or subgrade is frozen, muddy, or excessively wet.

1. Lifts: Apply planting soil in lifts not exceeding [8 inches (200 mm)] [12 inches (300 mm)] <Insert dimension> in loose depth for material compacted by compaction equipment, and not more than [4 inches (100 mm)] [6 inches (150 mm)] in loose depth for material compacted by hand-operated tampers.

Retain last option in "Compaction" Paragraph below if more than one compaction value is required for different locations.

D. Compaction: Compact each lift of planting soil to [75 to 82] <Insert number range> percent of maximum Standard Proctor density according to ASTM D 698[ except where a different compaction value is indicated on Drawings].

E. Finish Grading: Grade planting soil to a smooth, uniform surface plane with loose, uniformly fine texture. Roll and rake, remove ridges, and fill depressions to meet finish grades.

3.5 BLENDING PLANTING SOIL IN PLACE

Generally retain this article if existing, unamended, on-site surface soil is amended without excavating to produce planting soil.

A. General: Mix amendments with in-place, unamended soil to produce required planting soil. Do not apply materials or till if existing soil or subgrade is frozen, muddy, or excessively wet.

B. Preparation: Till unamended, existing soil in planting areas to a minimum depth [of 4 inches (100 mm)] [of 6 inches (150 mm)] [of 8 inches (200 mm)] [of 12 inches (300 mm)] [of 18 inches (450 mm)] [indicated on Drawings] <Insert depth>. Remove stones larger than [1-1/2 inches (38 mm)] [2 inches (50 mm)] [3 inches (75 mm)] <Insert dimension> in any dimension and sticks, roots, rubbish, and other extraneous matter and legally dispose of them off Owner's property.

Retain option in "Mixing" Paragraph below if applying compost component of planting-soil mix to surface and lightly tilling in lieu of blending compost throughout planting-soil mix.

C. Mixing: Apply soil amendments[, except compost,] and fertilizer, if required, evenly on surface, and thoroughly blend them into full depth of unamended, in-place soil to produce planting soil.

Retain first subparagraph below if liming or sulfur is required.

1. Mix [lime] [and] [sulfur] with dry soil before mixing fertilizer.

2. Mix fertilizer with planting soil no more than seven days before planting.

Retain last option in "Compaction" Paragraph below if more than one compaction value is required for different locations.

D. Compaction: Compact blended planting soil to [75 to 82] <Insert number range> percent of maximum Standard Proctor density according to ASTM D 698[ except where a different compaction value is indicated on Drawings].

E. Finish Grading: Grade planting soil to a smooth, uniform surface plane with loose, uniformly fine texture. Roll and rake, remove ridges, and fill depressions to meet finish grades.

3.6 APPLYING COMPOST TO SURFACE OF PLANTING SOIL

Generally retain this article if applying a separate compost layer or applying the compost component of a planting-soil mix to surface of in-place planting soil in lieu of blending compost throughout the planting-soil mix.

A. Application: Apply [compost component of planting-soil mix] [4 inches (100 mm) of compost] [6 inches (150 mm) of compost] <Insert depth> to surface of in-place planting soil. Do not apply materials or till if existing soil or subgrade is frozen, muddy, or excessively wet.

B. Finish Grading: Grade surface to a smooth, uniform surface plane with loose, uniformly fine texture. Roll and rake, remove ridges, and fill depressions to meet finish grades.

3.7 FIELD QUALITY CONTROL

Retain "Testing Agency" and "Perform the following tests( and inspections)" paragraphs below to identify who shall perform tests and inspections. If retaining second option in "Testing Agency" Paragraph, or if retaining "Perform the following tests( and inspections)" Paragraph, retain "Field quality-control reports" Paragraph in "Informational Submittals" Article.

A. Testing Agency: [Owner will engage] [Engage] a qualified testing agency to perform tests and inspections.

Retain "Perform the following tests( and inspections)" Paragraph below to require Contractor to perform tests and inspections.

B. Perform the following tests[ and inspections]:

1. Compaction: Test planting-soil compaction after placing each lift and at completion using a densitometer or soil-compaction meter calibrated to a reference test value based on laboratory testing according to ASTM D 698. Space tests at no less than one for each [1000 sq. ft. (100 sq. m)] [2000 sq. ft. (200 sq. m)] <Insert dimension> of in-place soil or part thereof.

2. <Insert name of test>: <Insert requirement>.

3. <Insert name of inspection>: <Insert requirement>.

See Section 014000 "Quality Requirements" for retesting and reinspecting requirements and Section 017300 "Execution" for requirements for correcting the Work.

C. Soil will be considered defective if it does not pass tests[ and inspections].

D. Prepare test[ and inspection] reports.

E. Label each sample and test report with the date, location keyed to a site plan or other location system, visible conditions when and where sample was taken, and sampling depth.

3.8 PROTECTION AND CLEANING

Revise "Protection Zone" Paragraph below to suit Project. Delete if referenced Section is not used.

A. Protection Zone: Identify protection zones according to Section 015639 "Temporary Tree and Plant Protection."

B. Protect areas of in-place soil from additional compaction, disturbance, and contamination. Prohibit the following practices within these areas except as required to perform planting operations:

Revise subparagraphs below to suit Project.

1. Storage of construction materials, debris, or excavated material.

2. Parking vehicles or equipment.

3. Vehicle traffic.

4. Foot traffic.

5. Erection of sheds or structures.

6. Impoundment of water.

7. Excavation or other digging unless otherwise indicated.

C. Remove surplus soil and waste material including excess subsoil, unsuitable materials, trash, and debris and legally dispose of them off Owner's property unless otherwise indicated.

Retain subparagraph below if required; revise to suit Project.

1. Dispose of excess subsoil and unsuitable materials on-site where directed by Owner.

END OF SECTION 329113

	SOIL PREPARATION
	329113 - 1



