
SECTION 06200PRIVATE 


FINISH CARPENTRY

Provisions of the contract including General and Supplementary General Conditions and the General Requirements apply to the work of this section.

PART 1
GENERAL

.1

SECTION INCLUDES


A.
Finish carpentry items, other than shop prefabricated casework.


B.
Hardware and attachment accessories.

.2

PRODUCTS FURNISHED BUT NOT INSTALLED UNDER THIS SECTION


A.
Section 04300 – Unit Masonry: Installation of attachment accessories.

.3

RELATED SECTIONS


A.
Section 06114 ‑ Wood blocking and Curbing, Grounds and support framing.


B.
Section 06410 ‑ Custom Casework: Shop fabricated custom cabinet work.


C.
Section 08211 ‑ Flush Wood Doors.

D. Section 09900 ‑ Painting: Painting and finishing of finish carpentry items.

E. Reference to General Conditions.

.4

REFERENCES


A.
ANSI A135.4 ‑ Basic Hardboard.


B.
ANSI A208.1 ‑ Mat Formed Wood Particleboard.


C.
ASTM E84 ‑ Test Method for Surface Burning Characteristics of Building Materials.


D.
AWI ‑ Quality Standards.


E.
AWPA (American Wood Preservers Association) C2 ‑ Lumber, Timbers, Bridge Ties and Mine Ties ‑ Preservative Treatment by Pressure Processes.


F.
FS MMM‑A‑130 ‑ Adhesive, Contact.


G.
HPMA (Hardwood Plywood Manufacturer's Association) HP ‑ American Standard for Hardwood and Decorative Plywood.


H.
NEMA (National Electric Manufacturers Association) LD3 ‑ High Pressure Decorative Laminates.


I.
NHLA (National Hardwood Lumber Association).


J.
NWWDA (National Wood Window and Door Association) I.S.4 ‑ Water Repellant Preservative Treatment for Millwork.


K.
PS 1 ‑ Construction and Industrial Plywood.


L.
PS 20 ‑ American Softwood Lumber Standard.

.5

QUALITY ASSURANCE


A.
Perform work in accordance with AWI Custom quality.

.6

REGULATORY REQUIREMENTS


A.
Conform to applicable code for requirements.

.7

DELIVERY, STORAGE, AND HANDLING


A.
Deliver, store, protect and handle products to site under provisions of Section 01600.


B.
Protect work from moisture damage.

.8

COORDINATION


A.
Coordinate work under provisions of Section 01039.


B.
Coordinate the work with rough‑in, installation of associated and adjacent components.

PART 2
PRODUCTS

.1

LUMBER MATERIALS


A.
Softwood Lumber:   Graded in accordance with AWI Custom;  Redwood species, maximum moisture content of 6 percent; with grain, of quality suitable for transparent finish.


B.
Hardwood Lumber:  Graded in accordance with AWI Custom; Birch species, sawn, maximum moisture content of 6 percent; with grain, of quality suitable for transparent finish.

.2`
SHEET MATERIALS


A.
Softwood Plywood:  PS 1 Grade C‑D; Graded in accordance with AWI Custom; veneer core.

.3

PLASTIC LAMINATE MATERIALS


A.
Plastic Laminate:  AWI, 0.030 inch commercial quality; color, pattern, and surface texture as selected.


B.
Laminate Backing Sheet: NEMA ld-3 BK20 backing grade, undecorated plastic laminate.

.4

ADHESIVE


A.
Adhesive:  FS MMM‑A‑130 contact adhesive. Type recommended by [AWI to suit application.

.5

FASTENERS


A.
Fasteners:  Of size and type to suit application; unfinished finish in concealed locations and painted finish in exposed locations.


B.
Concealed Joint Fasteners:  Threaded steel.

.6

ACCESSORIES


A.
Lumber for Shimming, Blocking, and  Softwood lumber of S.Y.P. species.


B.
Wood Filler: Solvent base, tinted to match surface finish color.

.7

FABRICATION


A.
When necessary to cut and fit on site, provide materials with ample allowance for cutting.  Provide trim for scribing and site cutting.


B.
Apply plastic laminate finish in full-uninterrupted sheets consistent with manufactured sizes.  Fit corners and joints hairline; secure with concealed fasteners.  Locate counter butt joints minimum 2 feet (600 mm) from sink cutouts.


C.
Apply laminate backing sheet to reverse side of plastic laminate finished surfaces.

.8

SHOP FINISHING


A.
Sand work smooth and set exposed nails and screws.


B.
Apply wood filler in exposed nail and screw indentations.


C.
On items to receive transparent finishes, use wood filler which matches surrounding surfaces and of types recommended for applied finishes.

PART 3
EXECUTION

.1

EXAMINATION


A.
Verify adequacy of backing and support framing.


B.
Verify mechanical, electrical, and building items affecting work of this section are placed and ready to receive this work.

.2

INSTALLATION


A.
Install work in accordance with AWI Custom Quality Standard.


B.
Set and secure materials and components in place plumb and level.


C.
Carefully scribe work abutting other components, with maximum gaps of 1/32 inch (1 mm).  Do not use additional overlay trim to conceal larger gaps.

.3

PREPARATION FOR SITE FINISHING


A.
Site Finishing: Refer to Section 09900.


B.
Before installation, prime paint surfaces of items or assemblies to be in contact with cementitious materials.

.4

ERECTION TOLERANCES


A.
Maximum Variation from True Position: 1/16 inch (1.5 mm).


B.
Maximum Offset from True Alignment with Abutting Materials: 1/32 inch (0.7 mm).


END OF SECTION
PAGE  
Error! Main Document Only.
Section 06200 Page 4 of 4      

