
SECTION 07110PRIVATE 






   SHEET MEMBRANE WATERPROOFING

Provisions of the contract including General and Supplementary General Conditions and the General Requirements apply to the work of this section.

1 PART 1 GENERAL


.1

SECTION INCLUDES



A.
Loose laid elastomeric sheet membrane waterproofing.


.2
seq level2 \h \r0 
ELATED SECTIONS



A.
Section 02223 ‑ Backfilling.


.3
seq level2 \h \r0 
REFERENCES



A.
ASTM D4551 ‑ Poly (Vinyl Chloride) (PVC) Plastic Flexible Concealed Water‑Containment Membrane.



B.
ASTM E96 ‑ Water Vapor Transmission of Materials.



C.
Reference of General Conditions


.4seq level2 \h \r0 

SYSTEM DESCRIPTION



A.
Waterproofing System: Capable of resisting water and preventing moisture migration to interior.


.5
seq level2 \h \r0 
SUBMITTALS



A.
Submit under provisions of Section 01300.



B.
Manufacturer's Installation Instructions:  Indicate special procedures and perimeter conditions requiring special attention.


.6
seq level2 \h \r0 
QUALITY ASSURANCE



A.
Perform Work in accordance with NRCA Waterproofing Manual.



B.
Maintain one-copy copies of each document on site.


.7
seq level2 \h \r0 
QUALIFICATIONS



A.
Membrane Manufacturer: Company specializing in waterproofing sheet membranes with three years experience.



B.
Applicator:  Company specializing in performing the work of this section with minimum 3 years experience.


.8
seq level2 \h \r0 
WARRANTY

seq level2 \h \r0 


A.
Provide five-year warranty under provisions of Section 01700.



B.
Warranty:  Include coverage for waterproofing failing to resist penetration of water, except where such failures are the result of structural failures of building.  Hairline cracking of concrete due to temperature change of shrinkage is not considered a structural failure.





seq level0 \h \r1 

seq level1 \h \r11 

seq level2 \h \r1 

seq level3 \h \r0 

seq level4 \h \r0 

seq level5 \h \r0 

seq level6 \h \r0 

seq level7 \h \r0 
2

seq level1 \h \r0 

seq level2 \h \r0  PART 2 PRODUCTS


.1 
MEMBRANE MATERIALS



A.
Plastic Membrane:  PVC conforming to ASTM D4551.



B.
Seaming Materials:
A recommended by membrane manufacturer.


.2
seq level2 \h \r0 
ADHESIVE MATERIALS



A.
Adhesives:
As recommended by membrane manufacturer.


.3
seq level2 \h \r0 
ACCESSORIES



A.
Sealant:
 As specified in Section 07900, As recommended by membrane manufacturer.

3

seq level1 \h \r0 

seq level2 \h \r0  PART 3 EXECUTION


.1

EXAMINATION



A.
Verify substrate surfaces are durable; free of matter detrimental to adhesion or application of waterproofing system.



B.
Verify items which penetrate surfaces to receive waterproofing are securely installed.


.2
seq level2 \h \r0 
PREPARATION



A.
Protect adjacent surfaces not designated to receive waterproofing.


.3
seq level2 \h \r0 
INSTALLATION ‑ LOOSE LAID



A.
Install membrane waterproofing in accordance with manufacturer's instructions.



B.
Roll out membrane.
Minimize wrinkles and bubbles.


.4
seq level2 \h \r0 
FIELD QUALITY CONTROL



A.
Field inspection and testing will be performed under provisions of Section 01400.


.5
seq level2 \h \r0 
PROTECTION OF FINISHED WORK

A.
Protect finished Work under provisions of Section 01500.



B.
Do not permit traffic over unprotected or uncovered membrane.


END OF SECTION
PAGE  
Section 07110 Page 1 of 3

